## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-03 00:00:00 | 2.589 | 30.58 | 3.881 | 47.2 | 4.1527 | 44.4624 | 4.382 | 34.74 | 7.893 | 981.389 | 29.9231 | 2.5901
2020-11-03 00:15:00 | 2.005 | 35.33 | 3.323 | 49.5 | 3.5556 | 46.629 | 3.835 | 40.35 | 8.18 | 981.389 | 27.6003 | 1.2932
2020-11-03 00:30:00 | 2.382 | 37.39 | 3.556 | 53.15 | 3.8049 | 50.0673 | 4.469 | 42.14 | 8.29 | 981.389 | 26.3706 | 2.1172
2020-11-03 00:45:00 | 2.395 | 40.94 | 3.492 | 54.25 | 3.7364 | 51.1035 | 4.431 | 46.98 | 8.08 | 981.538 | 27.4637 | 1.3708
2020-11-03 01:00:00 | 2.934 | 46.61 | 3.927 | 59.49 | 4.2019 | 56.0396 | 4.084 | 53.93 | 8.07 | 981.389 | 26.4389 | 1.3264
2020-11-03 01:15:00 | 3.212 | 63.18 | 2.955 | 79.57 | 3.1618 | 74.9549 | 2.556 | 66.24 | 7.895 | 981.389 | 26.4389 | 2.9596
2020-11-03 01:30:00 | 3.074 | 63.68 | 3.627 | 78.21 | 3.8809 | 73.6738 | 2.454 | 70.35 | 7.93 | 981.389 | 25.0726 | 2.0913
2020-11-03 01:45:00 | 1.905 | 82.1 | 2.922 | 94.5 | 3.1265 | 89.019 | 1.798 | 84.4 | 8.05 | 981.389 | 24.1161 | 2.2612
2020-11-03 02:00:00 | 1.467 | 72.63 | 2.252 | 96.5 | 2.4096 | 90.903 | 1.689 | 76 | 7.978 | 981.241 | 23.228 | 1.223
2020-11-03 02:15:00 | 1.556 | 69.16 | 1.803 | 83.1 | 1.9292 | 78.2802 | 2.292 | 65.34 | 8.55 | 981.389 | 21.1785 | 0.5727
2020-11-03 02:30:00 | 2.791 | 65.52 | 2.753 | 88.5 | 2.9457 | 83.367 | 1.757 | 64.66 | 8.83 | 981.389 | 19.7438 | 0.84981
2020-11-03 02:45:00 | 2.732 | 76.8 | 2.635 | 94.2 | 2.8194 | 88.7364 | 1.435 | 77.56 | 9.1 | 981.389 | 18.6507 | 1.0382
2020-11-03 03:00:00 | 1.426 | 101.6 | 2.035 | 121.4 | 2.1774 | 114.359 | 1.177 | 101.8 | 9.29 | 981.389 | 18.1042 | 1.6996
2020-11-03 03:15:00 | 2.372 | 141.1 | 3.257 | 157.3 | 3.485 | 148.177 | 2.437 | 138.6 | 8.98 | 981.389 | 20.0854 | 2.2539
2020-11-03 03:30:00 | 1.187 | 138.1 | 2.056 | 154.3 | 2.1999 | 145.351 | 1.509 | 142.9 | 9.02 | 981.092 | 19.2656 | 5.3797
2020-11-03 03:45:00 | 1.247 | 142.3 | 2.047 | 155.1 | 2.1903 | 146.104 | 0.68 | 142.5 | 8.17 | 981.389 | 22.4082 | 7.0091
2020-11-03 04:00:00 | 3.639 | 146.7 | 4.545 | 161.2 | 4.8632 | 151.85 | 2.992 | 152.3 | 7.915 | 981.389 | 25.8241 | 9.3516
2020-11-03 04:15:00 | 2.688 | 146.1 | 3.835 | 163.8 | 4.1034 | 154.3 | 3.371 | 152.2 | 7.535 | 981.092 | 25.5508 | 6.8281
2020-11-03 04:30:00 | 2.098 | 133.9 | 2.182 | 154 | 2.3347 | 145.068 | 0.264 | 146.4 | 8.34 | 980.795 | 20.2903 | 4.7405
2020-11-03 04:45:00 | 0 | 67.31 | 0 | 157.9 | 0 | 148.742 | 0.08 | 145.7 | 8.75 | 980.795 | 18.719 | 2.5568
2020-11-03 05:00:00 | 0.112 | 10.94 | 0 | 109 | 0 | 102.678 | 0 | 144.6 | 8.92 | 980.795 | 19.2656 | 2.9337
2020-11-03 05:15:00 | 0 | 10.93 | 0 | 109 | 0 | 102.678 | 0 | 144.6 | 8.72 | 980.795 | 19.4022 | 2.967
2020-11-03 05:30:00 | 0 | 10.93 | 0 | 109 | 0 | 102.678 | 0 | 144.6 | 8.64 | 980.795 | 20.6319 | 3.4325
2020-11-03 05:45:00 | 1.331 | 171.8 | 1.771 | 171.9 | 1.895 | 161.93 | 0.131 | 144.6 | 8.21 | 980.795 | 21.2468 | 2.7231
2020-11-03 06:00:00 | 1.564 | 171.8 | 1.167 | 171.9 | 1.2487 | 161.93 | 0 | 144.6 | 8.46 | 980.795 | 20.0512 | 2.9781
2020-11-03 06:15:00 | 1.992 | 169.6 | 2.298 | 173.5 | 2.4589 | 163.437 | 0.449 | 144.9 | 8.39 | 980.795 | 20.9052 | 3.3512
2020-11-03 06:30:00 | 2.288 | 161.8 | 2.387 | 168.9 | 2.5541 | 159.104 | 0.344 | 165.5 | 8.01 | 981.092 | 20.4953 | 3.3734
2020-11-03 06:45:00 | 2.311 | 160.6 | 2.75 | 169.9 | 2.9425 | 160.046 | 1.118 | 166.8 | 8.28 | 981.389 | 20.4953 | 4.4449
2020-11-03 07:00:00 | 2.719 | 160.7 | 3.106 | 165.2 | 3.3234 | 155.618 | 1.522 | 170.3 | 8.2 | 981.389 | 21.2464 | 4.1087
2020-11-03 07:15:00 | 3.131 | 153.1 | 3.661 | 166.4 | 3.9173 | 156.749 | 3.267 | 161.5 | 7.701 | 981.835 | 22.4691 | 4.153
2020-11-03 07:30:00 | 3.779 | 152.7 | 4.665 | 165.5 | 4.9916 | 155.901 | 3.746 | 163.8 | 7.583 | 981.991 | 21.9908 | 2.9005
2020-11-03 07:45:00 | 4.139 | 165.7 | 4.545 | 176.9 | 4.8632 | 166.64 | 3.993 | 174 | 7.796 | 982.277 | 22.6038 | 2.5347
2020-11-03 08:00:00 | 3.618 | 167.9 | 3.985 | 179.7 | 4.264 | 169.277 | 3.46 | 174.5 | 8.13 | 982.824 | 21.9192 | 1.8179
2020-11-03 08:15:00 | 4.091 | 163.2 | 3.891 | 173.9 | 4.1634 | 163.814 | 2.796 | 170.2 | 8.63 | 983.098 | 22.393 | 3.6875
2020-11-03 08:30:00 | 5.012 | 167.1 | 4.492 | 176.3 | 4.8064 | 166.075 | 3.588 | 174.8 | 8.97 | 983.168 | 22.0174 | 2.8007
2020-11-03 08:45:00 | 4.374 | 156.7 | 3.873 | 163.4 | 4.1441 | 153.923 | 2.885 | 166.9 | 9.63 | 983.462 | 21.3347 | 0.61334
2020-11-03 09:00:00 | 4.277 | 185.8 | 3.929 | 199.1 | 4.204 | 187.552 | 3.333 | 192.3 | 9.9 | 983.759 | 20.0686 | 0.98283
2020-11-03 09:15:00 | 4.075 | 188.1 | 3.811 | 204.3 | 4.0778 | 192.451 | 2.857 | 192.8 | 10.36 | 983.907 | 19.4536 | 0.39535
2020-11-03 09:30:00 | 2.954 | 167.4 | 2.901 | 187.1 | 3.1041 | 176.248 | 2.22 | 170.9 | 10.78 | 984.056 | 18.6344 | 0.13301
2020-11-03 09:45:00 | 4.862 | 192.5 | 4.366 | 202.7 | 4.6716 | 190.943 | 3.557 | 196.7 | 10.92 | 984.145 | 20.8156 | 0.48402
2020-11-03 10:00:00 | 3.639 | 190.9 | 3.515 | 200.7 | 3.7611 | 189.059 | 2.514 | 207.5 | 10.92 | 983.905 | 21.7028 | -0.30298
2020-11-03 10:15:00 | 3.312 | 188 | 3.142 | 192 | 3.3619 | 180.864 | 2.681 | 201.5 | 10.87 | 984.052 | 21.6004 | -0.31406
2020-11-03 10:30:00 | 2.817 | 190.5 | 2.632 | 199.4 | 2.8162 | 187.835 | 1.972 | 194.3 | 11.6 | 984.052 | 21.5663 | -0.27342
2020-11-03 10:45:00 | 3.613 | 183.6 | 3.535 | 198.1 | 3.7824 | 186.61 | 2.865 | 194.2 | 11.53 | 984.052 | 18.9715 | -0.26972
2020-11-03 11:00:00 | 4.221 | 186.2 | 3.689 | 197.5 | 3.9472 | 186.045 | 2.714 | 191.1 | 11.89 | 984.052 | 20.4701 | -0.26972
2020-11-03 11:15:00 | 2.951 | 183.2 | 2.929 | 189.1 | 3.134 | 178.132 | 1.349 | 196.9 | 12.21 | 983.755 | 20.2296 | -0.29928
2020-11-03 11:30:00 | 4.394 | 173.6 | 4.297 | 186 | 4.5978 | 175.212 | 3.552 | 181.9 | 12.27 | 983.755 | 21.6274 | -0.28081
2020-11-03 11:45:00 | 1.542 | 100.2 | 1.974 | 139.1 | 2.1122 | 131.032 | 1.244 | 111.6 | 12.86 | 983.903 | 19.9216 | -0.29189
2020-11-03 12:00:00 | 3.049 | 260.1 | 3.712 | 275.6 | 3.9718 | 259.615 | 4.143 | 262.6 | 12.33 | 983.606 | 19.2393 | -0.29189
2020-11-03 12:15:00 | 2.205 | 247.6 | 2.293 | 255.8 | 2.4535 | 240.964 | 1.641 | 257.5 | 12.19 | 983.458 | 19.2393 | 0.059118
2020-11-03 12:30:00 | 3.554 | 254 | 3.955 | 264.2 | 4.2318 | 248.876 | 3.277 | 253.8 | 12.28 | 983.458 | 19.1711 | 0.43599
2020-11-03 12:45:00 | 3.848 | 254.8 | 3.893 | 264.9 | 4.1655 | 249.536 | 3.865 | 257.1 | 12.33 | 983.161 | 18.6597 | 0.90893
2020-11-03 13:00:00 | 3.71 | 256.8 | 4.09 | 262.7 | 4.3763 | 247.463 | 4.497 | 257.9 | 12.55 | 983.161 | 17.9436 | 2.7305
2020-11-03 13:15:00 | 3.853 | 279.5 | 4.333 | 291.8 | 4.6363 | 274.876 | 3.955 | 275.1 | 13.11 | 983.458 | 18.7291 | 2.3351
2020-11-03 13:30:00 | 3.646 | 266.9 | 3.471 | 281.9 | 3.714 | 265.55 | 2.91 | 265 | 12.58 | 982.864 | 18.4935 | 1.6553
2020-11-03 13:45:00 | 3.922 | 251 | 4.047 | 261.4 | 4.3303 | 246.239 | 4.385 | 254.4 | 12.84 | 983.013 | 18.596 | 0.85351
2020-11-03 14:00:00 | 3.179 | 245.9 | 3.413 | 243.1 | 3.6519 | 229 | 3.443 | 248.3 | 12.78 | 982.864 | 18.6314 | 0.13671
2020-11-03 14:15:00 | 3.851 | 265.1 | 4.166 | 279 | 4.4576 | 262.818 | 4.123 | 266.3 | 12.87 | 982.864 | 19.6207 | 0.059118
2020-11-03 14:30:00 | 2.56 | 275.2 | 2.992 | 283.3 | 3.2014 | 266.869 | 2.729 | 274.1 | 13.09 | 982.864 | 19.5865 | -0.16996
2020-11-03 14:45:00 | 3.317 | 231.2 | 3.446 | 244.8 | 3.6872 | 230.602 | 3.514 | 232.7 | 12.91 | 982.864 | 19.2453 | -0.30667
2020-11-03 15:00:00 | 3.69 | 228.3 | 3.965 | 236.8 | 4.2425 | 223.066 | 3.326 | 231.6 | 13.29 | 982.419 | 18.6995 | -0.18844
2020-11-03 15:15:00 | 3.611 | 224.6 | 3.822 | 232.5 | 4.0895 | 219.015 | 3.662 | 234.5 | 12.88 | 981.974 | 19.7918 | -0.2882
2020-11-03 15:30:00 | 3.526 | 224.7 | 3.387 | 238.9 | 3.6241 | 225.044 | 3.239 | 230 | 12.86 | 981.974 | 20.099 | -0.26972
2020-11-03 15:45:00 | 2.278 | 237 | 2.439 | 257.3 | 2.6097 | 242.377 | 1.617 | 241 | 13.14 | 982.27 | 19.9966 | -0.28081
2020-11-03 16:00:00 | 3.945 | 236.3 | 4.026 | 245.3 | 4.3078 | 231.073 | 3.748 | 237.5 | 12.92 | 981.825 | 20.6791 | -0.26972
2020-11-03 16:15:00 | 2.513 | 232.8 | 2.607 | 240 | 2.7895 | 226.08 | 2.48 | 238.4 | 12.65 | 981.41 | 21.1568 | -0.28081
2020-11-03 16:30:00 | 2.829 | 235.1 | 3.213 | 244.2 | 3.4379 | 230.036 | 3.122 | 240 | 12.52 | 981.074 | 21.5691 | -0.28081
2020-11-03 16:45:00 | 2.28 | 234.4 | 2.528 | 247.7 | 2.705 | 233.333 | 2.312 | 238.4 | 12.33 | 980.789 | 22.0475 | -0.26972
2020-11-03 17:00:00 | 1.613 | 202 | 1.609 | 193.7 | 1.7216 | 182.465 | 1.836 | 212.9 | 12.01 | 980.492 | 22.8024 | -0.28081
2020-11-03 17:15:00 | 2.543 | 215.5 | 2.901 | 227.6 | 3.1041 | 214.399 | 2.974 | 220.9 | 12.05 | 980.195 | 22.8025 | -0.26972
2020-11-03 17:30:00 | 1.479 | 197.1 | 2.262 | 202.4 | 2.4203 | 190.661 | 2.773 | 205.5 | 11.85 | 980.244 | 23.2804 | -0.26972
2020-11-03 17:45:00 | 2.74 | 189.9 | 3.252 | 204.4 | 3.4796 | 192.545 | 3.254 | 194.6 | 11.87 | 979.933 | 22.9398 | -0.26972
2020-11-03 18:00:00 | 2.839 | 193.1 | 3.842 | 205.8 | 4.1109 | 193.864 | 3.786 | 199.1 | 11.87 | 980.228 | 22.804 | -0.2882
2020-11-03 18:15:00 | 2.707 | 197.7 | 3.497 | 209.4 | 3.7418 | 197.255 | 3.404 | 202.3 | 11.96 | 980.223 | 22.6684 | -0.23278
2020-11-03 18:30:00 | 1.96 | 199 | 2.779 | 214.2 | 2.9735 | 201.776 | 3.071 | 205.8 | 11.96 | 980.361 | 22.6005 | -0.24016
2020-11-03 18:45:00 | 2.487 | 205.9 | 3.183 | 214.5 | 3.4058 | 202.059 | 3.211 | 212.7 | 11.98 | 980.376 | 22.7376 | -0.25864
2020-11-03 19:00:00 | 2.633 | 209.4 | 3.231 | 219.6 | 3.4572 | 206.863 | 3.15 | 215.8 | 12.18 | 980.383 | 22.8741 | -0.25864
2020-11-03 19:15:00 | 1.897 | 204.3 | 2.71 | 213.4 | 2.8997 | 201.023 | 3.519 | 213.7 | 11.91 | 980.321 | 23.3523 | -0.24016
2020-11-03 19:30:00 | 2.025 | 189.6 | 2.385 | 199.1 | 2.552 | 187.552 | 2.753 | 200.9 | 11.69 | 980.119 | 23.8311 | -0.24016
2020-11-03 19:45:00 | 2.205 | 174.6 | 2.853 | 184.6 | 3.0527 | 173.893 | 2.737 | 182.2 | 11.66 | 980.036 | 23.5575 | -0.31037
2020-11-03 20:00:00 | 2.681 | 159.1 | 3.377 | 171.2 | 3.6134 | 161.27 | 3.285 | 167.3 | 11.77 | 980.049 | 23.8319 | 1.6405
2020-11-03 20:15:00 | 4.068 | 160.5 | 4.609 | 176.2 | 4.9316 | 165.98 | 4.869 | 165.4 | 11.45 | 980.198 | 23.7633 | 4.5299
2020-11-03 20:30:00 | 5.138 | 155.8 | 5.167 | 168.7 | 5.5287 | 158.915 | 5.528 | 163.6 | 10.82 | 980.198 | 25.7433 | 9.7876
2020-11-03 20:45:00 | 4.652 | 155.7 | 5.455 | 169.1 | 5.8369 | 159.292 | 5.839 | 162.5 | 10.65 | 980.198 | 25.9511 | 13.2349
2020-11-03 21:00:00 | 5.49 | 155.4 | 5.811 | 169.3 | 6.2178 | 159.481 | 5.941 | 161.2 | 10.67 | 980.495 | 26.5661 | 14.2288
2020-11-03 21:15:00 | 5.464 | 156.3 | 6.066 | 169.1 | 6.4906 | 159.292 | 5.928 | 163.1 | 10.46 | 980.198 | 27.2494 | 14.7646
2020-11-03 21:30:00 | 5.863 | 159.9 | 6.061 | 171.8 | 6.4853 | 161.836 | 6.443 | 167.8 | 10.4 | 980.198 | 27.6592 | 16.213
2020-11-03 21:45:00 | 5.732 | 158.7 | 6.141 | 169.8 | 6.5709 | 159.952 | 6.46 | 168.1 | 10.12 | 980.198 | 28.069 | 15.522
2020-11-03 22:00:00 | 5.753 | 156.8 | 6.228 | 167.4 | 6.664 | 157.691 | 6.42 | 167.1 | 9.99 | 979.901 | 28.8885 | 16.4753
2020-11-03 22:15:00 | 5.549 | 157.3 | 6.159 | 166.8 | 6.5901 | 157.126 | 6.743 | 168.4 | 9.83 | 980.198 | 28.9568 | 14.8422
2020-11-03 22:30:00 | 5.518 | 156.7 | 6.302 | 166.6 | 6.7431 | 156.937 | 6.427 | 169 | 9.87 | 980.198 | 28.2739 | 15.8361
2020-11-03 22:45:00 | 5.689 | 160.7 | 6.327 | 170.3 | 6.7699 | 160.423 | 7.161 | 173 | 10.12 | 979.901 | 28.2056 | 17.2032
2020-11-03 23:00:00 | 5.5 | 160.7 | 6.205 | 171 | 6.6394 | 161.082 | 6.741 | 170.2 | 9.91 | 979.901 | 28.6836 | 18.0419
2020-11-03 23:15:00 | 5.592 | 151.5 | 6.46 | 163.3 | 6.9122 | 153.829 | 6.669 | 161.3 | 9.55 | 979.901 | 29.0934 | 20.5396
2020-11-03 23:30:00 | 6.069 | 149.1 | 6.782 | 160.4 | 7.2567 | 151.097 | 7.359 | 160.3 | 9.58 | 979.322 | 29.5032 | 22.3095
2020-11-03 23:45:00 | 6.483 | 152.7 | 7.087 | 166.8 | 7.5831 | 157.126 | 7.78 | 161.4 | 9.68 | 979.649 | 29.1617 | 25.2062