## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-04 00:00:00 | 6.639 | 155.1 | 7.639 | 165.9 | 8.1737 | 156.278 | 7.912 | 162.6 | 9.57 | 979.349 | 29.2983 | 25.221
2020-11-04 00:15:00 | 6.59 | 151.3 | 7.125 | 163 | 7.6238 | 153.546 | 7.904 | 160.8 | 9.35 | 979.208 | 30.4251 | 27.6042
2020-11-04 00:30:00 | 6.46 | 153.5 | 6.826 | 167.7 | 7.3038 | 157.973 | 8.08 | 162.1 | 9.41 | 979.199 | 30.1861 | 29.2484
2020-11-04 00:45:00 | 7.456 | 152.9 | 7.723 | 165.4 | 8.2636 | 155.807 | 8.06 | 160.9 | 9.29 | 979.583 | 30.6642 | 30.6709
2020-11-04 01:00:00 | 6.011 | 154.5 | 6.496 | 170.1 | 6.9507 | 160.234 | 7.935 | 163.3 | 9.01 | 979.581 | 31.6203 | 31.1586
2020-11-04 01:15:00 | 6.846 | 154.5 | 7.618 | 168.2 | 8.1513 | 158.444 | 7.978 | 163.9 | 8.87 | 979.458 | 32.5764 | 35.3929
2020-11-04 01:30:00 | 7.267 | 156.9 | 7.833 | 170.3 | 8.3813 | 160.423 | 8.74 | 163 | 8.93 | 979.309 | 32.7813 | 32.995
2020-11-04 01:45:00 | 7.77 | 157.1 | 8.11 | 169.8 | 8.6777 | 159.952 | 8.25 | 164.6 | 8.95 | 979.309 | 32.9179 | 33.6527
2020-11-04 02:00:00 | 7.109 | 154.4 | 7.941 | 167.5 | 8.4969 | 157.785 | 8.59 | 162.4 | 9.01 | 979.309 | 33.6691 | 34.3214
2020-11-04 02:15:00 | 6.935 | 152.6 | 7.404 | 165.8 | 7.9223 | 156.184 | 8.36 | 161.4 | 8.8 | 979.012 | 35.1716 | 33.6194
2020-11-04 02:30:00 | 6.261 | 154.5 | 7.038 | 168.7 | 7.5307 | 158.915 | 8.47 | 164.1 | 8.92 | 979.161 | 35.3082 | 35.7255
2020-11-04 02:45:00 | 8.2 | 158.6 | 8.74 | 170.6 | 9.3518 | 160.705 | 9.02 | 166.5 | 9.03 | 978.863 | 36.5375 | 40.9721
2020-11-04 03:00:00 | 7.037 | 153.1 | 7.414 | 169.1 | 7.933 | 159.292 | 8.72 | 160.2 | 8.78 | 978.566 | 37.2887 | 46.7213
2020-11-04 03:15:00 | 6.91 | 149.9 | 7.171 | 164.5 | 7.673 | 154.959 | 8.53 | 157.9 | 8.54 | 978.418 | 38.1765 | 48.9456
2020-11-04 03:30:00 | 6.121 | 146.7 | 7.089 | 165.5 | 7.5852 | 155.901 | 8.31 | 153.2 | 8.24 | 978.12 | 40.0216 | 52.0604
2020-11-04 03:45:00 | 7.41 | 151.2 | 7.864 | 168.4 | 8.4145 | 158.633 | 8.93 | 156.1 | 8.18 | 978.12 | 40.5036 | 56.4905
2020-11-04 04:00:00 | 7.451 | 151.5 | 7.772 | 170.1 | 8.316 | 160.234 | 8.89 | 155.9 | 8.08 | 977.972 | 40.3053 | 58.519
2020-11-04 04:15:00 | 6.161 | 155.2 | 6.693 | 177.9 | 7.1615 | 167.582 | 7.95 | 155.9 | 8.03 | 977.823 | 38.7352 | 58.966
2020-11-04 04:30:00 | 6.881 | 153.7 | 7.687 | 169.8 | 8.2251 | 159.952 | 8.49 | 156.7 | 8.21 | 977.823 | 37.9155 | 56.1432
2020-11-04 04:45:00 | 6.057 | 156.2 | 6.238 | 179.7 | 6.6747 | 169.277 | 7.342 | 157.2 | 8.24 | 977.823 | 37.2329 | 46.5255
2020-11-04 05:00:00 | 7.326 | 156.5 | 7.207 | 180.9 | 7.7115 | 170.408 | 8.74 | 156 | 8.26 | 977.675 | 36.8912 | 51.3288
2020-11-04 05:15:00 | 7.453 | 158.3 | 7.797 | 172.9 | 8.3428 | 162.872 | 8.46 | 162 | 8.32 | 977.823 | 36.8902 | 50.9667
2020-11-04 05:30:00 | 7.157 | 155.4 | 6.657 | 175.3 | 7.123 | 165.133 | 8.46 | 156.4 | 8.29 | 977.675 | 37.505 | 51.3066
2020-11-04 05:45:00 | 6.481 | 148.7 | 6.736 | 170.8 | 7.2075 | 160.894 | 8.36 | 151.7 | 8.08 | 977.823 | 37.6078 | 47.8002
2020-11-04 06:00:00 | 8 | 153.2 | 8.02 | 171.9 | 8.5814 | 161.93 | 8.58 | 154.2 | 8.18 | 977.823 | 39.6229 | 52.1749
2020-11-04 06:15:00 | 6.087 | 148.3 | 7.051 | 168 | 7.5446 | 158.256 | 8.84 | 152.9 | 7.849 | 977.823 | 39.2817 | 47.985
2020-11-04 06:30:00 | 6.963 | 155 | 6.854 | 173.1 | 7.3338 | 163.06 | 8.07 | 153.9 | 7.96 | 977.823 | 38.6329 | 52.8732
2020-11-04 06:45:00 | 7.147 | 153.6 | 7.225 | 175.8 | 7.7307 | 165.604 | 8.3 | 156 | 7.962 | 977.823 | 38.5991 | 52.4594
2020-11-04 07:00:00 | 7.203 | 153.7 | 7.877 | 169.7 | 8.4284 | 159.857 | 8.79 | 158 | 8 | 977.823 | 38.7322 | 51.5246
2020-11-04 07:15:00 | 7.734 | 151 | 8.16 | 168.8 | 8.7312 | 159.01 | 9.45 | 155.2 | 8.25 | 978.418 | 37.9036 | 55.9252
2020-11-04 07:30:00 | 8.25 | 150.5 | 8.4 | 166.8 | 8.988 | 157.126 | 9.05 | 154.1 | 8.38 | 978.286 | 37.5619 | 58.9402
2020-11-04 07:45:00 | 8.41 | 145.2 | 9.19 | 164.2 | 9.8333 | 154.676 | 10.3 | 151.1 | 8.6 | 978.419 | 36.5375 | 61.3566
2020-11-04 08:00:00 | 7.686 | 148 | 8.11 | 168.6 | 8.6777 | 158.821 | 9.82 | 152.6 | 8.85 | 978.713 | 35.3736 | 67.9778
2020-11-04 08:15:00 | 9.58 | 148.8 | 9.94 | 166.3 | 10.6358 | 156.655 | 10.87 | 151.7 | 9.11 | 978.069 | 34.7565 | 71.4029
2020-11-04 08:30:00 | 11.04 | 148.6 | 11.56 | 166.2 | 12.3692 | 156.56 | 11.72 | 154.8 | 9.47 | 978.45 | 34.9551 | 66.4887
2020-11-04 08:45:00 | 9.32 | 150.4 | 9.65 | 169.9 | 10.3255 | 160.046 | 10.41 | 156.3 | 9.29 | 978.485 | 36.4909 | 66.4629
2020-11-04 09:00:00 | 10.48 | 152.4 | 10.64 | 167.3 | 11.3848 | 157.597 | 10.54 | 159.2 | 9.22 | 978.454 | 38.5732 | 71.8668
2020-11-04 09:15:00 | 10.39 | 158 | 10.42 | 169.7 | 11.1494 | 159.857 | 9.28 | 165.3 | 9.51 | 978.414 | 36.525 | 67.0282
2020-11-04 09:30:00 | 11.22 | 158.5 | 10.97 | 172.2 | 11.7379 | 162.212 | 10.52 | 166.2 | 10.09 | 978.265 | 34.7158 | 66.7363
2020-11-04 09:45:00 | 11.01 | 157.9 | 10.61 | 173.8 | 11.3527 | 163.72 | 10.12 | 166.1 | 10.47 | 978.413 | 35.4327 | 64.9804
2020-11-04 10:00:00 | 9.99 | 159.1 | 9.89 | 174.1 | 10.5823 | 164.002 | 9.42 | 162.3 | 10.48 | 978.71 | 37.276 | 62.9011
2020-11-04 10:15:00 | 11.04 | 163.2 | 11.11 | 176 | 11.8877 | 165.792 | 10.59 | 168.8 | 10.81 | 978.71 | 33.4494 | 63.3075
2020-11-04 10:30:00 | 9.78 | 153 | 9.75 | 170.3 | 10.4325 | 160.423 | 9.08 | 160.9 | 11.55 | 978.71 | 34.7779 | 52.367
2020-11-04 10:45:00 | 10.01 | 153.1 | 10.1 | 168.8 | 10.807 | 159.01 | 9.55 | 158.2 | 11.38 | 978.562 | 36.3137 | 54.632
2020-11-04 11:00:00 | 10.81 | 156.8 | 10.54 | 168.7 | 11.2778 | 158.915 | 9.31 | 162 | 11.59 | 978.413 | 37.2351 | 55.2453
2020-11-04 11:15:00 | 10.21 | 149.7 | 10.53 | 165.6 | 11.2671 | 155.995 | 9.87 | 157.6 | 12.01 | 978.116 | 35.0853 | 54.2247
2020-11-04 11:30:00 | 8.41 | 163.3 | 8.14 | 183.5 | 8.7098 | 172.857 | 8.04 | 162.5 | 12.71 | 977.819 | 33.1727 | 51.1025
2020-11-04 11:45:00 | 9.49 | 175.4 | 8.83 | 194 | 9.4481 | 182.748 | 7.803 | 179.1 | 13.11 | 977.497 | 30.3366 | 49.7363
2020-11-04 12:00:00 | 8.69 | 172.4 | 8.19 | 189.7 | 8.7633 | 178.697 | 7.533 | 172.1 | 13.47 | 977.545 | 27.7427 | 53.4127
2020-11-04 12:15:00 | 9.37 | 175.9 | 8.82 | 193.5 | 9.4374 | 182.277 | 7.897 | 174.7 | 13.85 | 977.521 | 27.1285 | 58.87
2020-11-04 12:30:00 | 11.33 | 180.1 | 10.64 | 196.8 | 11.3848 | 185.386 | 9.54 | 179.1 | 13.58 | 977.075 | 26.7872 | 55.988
2020-11-04 12:45:00 | 9.34 | 179.5 | 8.65 | 197.5 | 9.2555 | 186.045 | 7.456 | 176.5 | 14 | 976.927 | 26.2413 | 56.406
2020-11-04 13:00:00 | 9.34 | 164.1 | 9.15 | 176.6 | 9.7905 | 166.357 | 7.716 | 170.9 | 14.16 | 977.224 | 26.0365 | 55.3968
2020-11-04 13:15:00 | 8.88 | 173.5 | 8.58 | 188.7 | 9.1806 | 177.755 | 7.556 | 177.3 | 14.65 | 976.927 | 25.1152 | 55.0998
2020-11-04 13:30:00 | 8.75 | 169.9 | 9.51 | 188.7 | 10.1757 | 177.755 | 8.92 | 174.5 | 14.43 | 976.63 | 25.0124 | 59.4529
2020-11-04 13:45:00 | 8.58 | 168.8 | 8.31 | 190.2 | 8.8917 | 179.168 | 8.18 | 168.3 | 14.42 | 976.63 | 25.9339 | 58.615
2020-11-04 14:00:00 | 9.94 | 160.4 | 9.54 | 174.8 | 10.2078 | 164.662 | 8.99 | 165.2 | 14.55 | 976.63 | 26.855 | 62.1953
2020-11-04 14:15:00 | 11.53 | 151.5 | 11.48 | 166.8 | 12.2836 | 157.126 | 11.01 | 157.8 | 14.44 | 976.333 | 26.6161 | 54.6985
2020-11-04 14:30:00 | 10.44 | 151.6 | 10.88 | 168.1 | 11.6416 | 158.35 | 10.39 | 158.1 | 14.36 | 976.333 | 26.4114 | 60.5548
2020-11-04 14:45:00 | 11.31 | 152.7 | 11.44 | 167.8 | 12.2408 | 158.068 | 10.6 | 159 | 14.3 | 976.333 | 26.4801 | 59.2821
2020-11-04 15:00:00 | 10.27 | 153.9 | 9.98 | 168 | 10.6786 | 158.256 | 9.05 | 158.7 | 14.29 | 975.739 | 26.5484 | 65.5951
2020-11-04 15:15:00 | 12.43 | 152.6 | 12.17 | 168.2 | 13.0219 | 158.444 | 11.46 | 159.5 | 14.29 | 975.739 | 25.7976 | 71.8905
2020-11-04 15:30:00 | 11.65 | 152.9 | 12.04 | 169.3 | 12.8828 | 159.481 | 11.52 | 157.5 | 14.34 | 975.294 | 26.3777 | 68.3743
2020-11-04 15:45:00 | 11.39 | 156 | 11.66 | 170.4 | 12.4762 | 160.517 | 11.68 | 159.2 | 14.13 | 975.48 | 27.0261 | 60.8489
2020-11-04 16:00:00 | 11.23 | 151.1 | 11.58 | 166.5 | 12.3906 | 156.843 | 11.57 | 158.4 | 14.1 | 975.849 | 27.0944 | 59.8491
2020-11-04 16:15:00 | 10.7 | 154.7 | 10.72 | 170.8 | 11.4704 | 160.894 | 11.02 | 160.6 | 14.01 | 975.706 | 27.6417 | 60.795
2020-11-04 16:30:00 | 11.37 | 153.5 | 11.04 | 167.8 | 11.8128 | 158.068 | 10.37 | 159.8 | 13.84 | 975.443 | 28.3617 | 65.9371
2020-11-04 16:45:00 | 11.93 | 154.1 | 11.78 | 168.7 | 12.6046 | 158.915 | 12.01 | 159.9 | 13.72 | 974.85 | 28.7363 | 74.7948
2020-11-04 17:00:00 | 11.14 | 156.5 | 11.21 | 170 | 11.9947 | 160.14 | 11.49 | 162.8 | 13.53 | 974.701 | 28.5321 | 78.2605
2020-11-04 17:15:00 | 12.76 | 148.8 | 13.02 | 164.1 | 13.9314 | 154.582 | 13.02 | 154.9 | 13.46 | 974.553 | 29.7646 | 79.4613
2020-11-04 17:30:00 | 11.4 | 147.7 | 11.53 | 164.8 | 12.3371 | 155.242 | 12.39 | 152.7 | 12.96 | 974.404 | 30.7902 | 80.9245
2020-11-04 17:45:00 | 12.19 | 147.9 | 12.68 | 165.5 | 13.5676 | 155.901 | 12.42 | 153.9 | 12.85 | 974.85 | 31.8143 | 84.2668
2020-11-04 18:00:00 | 11.51 | 147.7 | 12.18 | 164.9 | 13.0326 | 155.336 | 12.92 | 150.9 | 12.64 | 974.553 | 31.8826 | 81.8687
2020-11-04 18:15:00 | 11.19 | 148.4 | 11.6 | 166.7 | 12.412 | 157.031 | 12.81 | 152.5 | 12.63 | 974.85 | 31.234 | 81.6561
2020-11-04 18:30:00 | 11.95 | 146.7 | 12.22 | 164 | 13.0754 | 154.488 | 12.66 | 152.7 | 12.6 | 974.85 | 31.0633 | 80.5292
2020-11-04 18:45:00 | 12.15 | 144.6 | 12.78 | 161.1 | 13.6746 | 151.756 | 14.1 | 151.6 | 12.62 | 974.998 | 31.2681 | 86.6499
2020-11-04 19:00:00 | 12.06 | 146.7 | 12.84 | 161.9 | 13.7388 | 152.51 | 13.63 | 152.6 | 12.59 | 975.295 | 31.746 | 82.565
2020-11-04 19:15:00 | 11.42 | 146.7 | 12.2 | 165.3 | 13.054 | 155.713 | 12.92 | 152.9 | 12.54 | 975.303 | 31.746 | 82.2953
2020-11-04 19:30:00 | 11.47 | 147.4 | 11.97 | 165.2 | 12.8079 | 155.618 | 12.7 | 153.5 | 12.33 | 975.147 | 31.746 | 82.8089
2020-11-04 19:45:00 | 11.9 | 145.1 | 12.08 | 164.5 | 12.9256 | 154.959 | 13.1 | 150.6 | 12.34 | 975.147 | 31.8484 | 81.6044
2020-11-04 20:00:00 | 11.85 | 146.2 | 12.44 | 162.3 | 13.3108 | 152.887 | 13.29 | 151.8 | 12.29 | 975.473 | 32.3605 | 81.8076
2020-11-04 20:15:00 | 11.8 | 144.7 | 12.58 | 162.2 | 13.4606 | 152.792 | 13.07 | 151.3 | 12.23 | 975.153 | 33.5893 | 79.4946
2020-11-04 20:30:00 | 11.05 | 146.2 | 11.4 | 163.2 | 12.198 | 153.734 | 12.52 | 151.5 | 11.94 | 975.458 | 34.2721 | 78.1074
2020-11-04 20:45:00 | 10.44 | 148.2 | 11.18 | 165.5 | 11.9626 | 155.901 | 11.99 | 151.8 | 11.95 | 975.505 | 34.0672 | 83.3947
2020-11-04 21:00:00 | 11.33 | 149.5 | 11.08 | 167.1 | 11.8556 | 157.408 | 11.29 | 155.9 | 11.98 | 975.479 | 33.3845 | 82.1976
2020-11-04 21:15:00 | 10.06 | 149.3 | 10.56 | 167.9 | 11.2992 | 158.162 | 11.3 | 154.1 | 11.89 | 975.788 | 33.7942 | 75.2788
2020-11-04 21:30:00 | 10.55 | 149.3 | 10.94 | 165.6 | 11.7058 | 155.995 | 11.58 | 154.5 | 11.87 | 976.114 | 33.5211 | 74.3386
2020-11-04 21:45:00 | 10.44 | 148.4 | 10.87 | 165.3 | 11.6309 | 155.713 | 11.83 | 152.7 | 11.79 | 975.779 | 33.4528 | 77.5437
2020-11-04 22:00:00 | 10.49 | 147.5 | 10.98 | 165 | 11.7486 | 155.43 | 12 | 153.6 | 11.78 | 976.088 | 32.9067 | 74.8596
2020-11-04 22:15:00 | 10.52 | 150 | 10.23 | 167.4 | 10.9461 | 157.691 | 10.96 | 155.6 | 11.78 | 975.911 | 32.6677 | 74.296
2020-11-04 22:30:00 | 10.22 | 151.7 | 10.37 | 169 | 11.0959 | 159.198 | 11 | 155.6 | 11.68 | 976.077 | 33.3845 | 75.8515
2020-11-04 22:45:00 | 10.03 | 148.7 | 10.68 | 165.2 | 11.4276 | 155.618 | 11.82 | 154.6 | 11.51 | 976.047 | 34.0673 | 77.1188
2020-11-04 23:00:00 | 9.88 | 152.8 | 10.54 | 169.1 | 11.2778 | 159.292 | 11.04 | 158.4 | 11.51 | 976.069 | 34.2723 | 77.0782
2020-11-04 23:15:00 | 9.55 | 147.5 | 10.07 | 167.2 | 10.7749 | 157.502 | 11.04 | 155.4 | 11.5 | 976.05 | 33.7274 | 75.7924
2020-11-04 23:30:00 | 9.74 | 148.3 | 10.12 | 167 | 10.8284 | 157.314 | 11.58 | 153.9 | 11.41 | 976.053 | 33.7967 | 76.6331
2020-11-04 23:45:00 | 9.29 | 150 | 9.58 | 168.6 | 10.2506 | 158.821 | 10.52 | 155.1 | 11.13 | 975.803 | 35.0951 | 75.6298