## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-05 00:00:00 | 9.79 | 147.3 | 10.22 | 165.5 | 10.9354 | 155.901 | 11.37 | 152.4 | 11.11 | 975.908 | 34.7563 | 70.4644
2020-11-05 00:15:00 | 10.05 | 148.1 | 10.37 | 165 | 11.0959 | 155.43 | 11.42 | 153 | 10.99 | 975.748 | 35.1658 | 70.6602
2020-11-05 00:30:00 | 9.37 | 150.4 | 9.67 | 168.5 | 10.3469 | 158.727 | 10.8 | 153.8 | 10.88 | 975.966 | 35.3017 | 67.8337
2020-11-05 00:45:00 | 8.46 | 146 | 8.67 | 165.9 | 9.2769 | 156.278 | 10.24 | 149.7 | 10.68 | 976.034 | 35.9167 | 69.1195
2020-11-05 01:00:00 | 8.28 | 148.1 | 9.3 | 165.9 | 9.951 | 156.278 | 10.7 | 151.5 | 10.68 | 976.038 | 36.1222 | 70.7267
2020-11-05 01:15:00 | 9.51 | 147.5 | 10.16 | 163.1 | 10.8712 | 153.64 | 11.17 | 150.8 | 10.51 | 975.73 | 36.6678 | 66.7769
2020-11-05 01:30:00 | 8.6 | 144.1 | 8.69 | 165.9 | 10.1329 | 156.089 | 10.37 | 149.4 | 10.33 | 975.735 | 37.4207 | 68.1477
2020-11-05 01:45:00 | 7.614 | 145.1 | 7.958 | 166.4 | 8.5151 | 156.749 | 9.62 | 148.4 | 10.24 | 975.742 | 38.2426 | 68.4692
2020-11-05 02:00:00 | 7.51 | 146.8 | 7.37 | 169 | 7.8859 | 159.198 | 8.67 | 148.3 | 10.23 | 975.89 | 38.6525 | 68.8998
2020-11-05 02:15:00 | 8.5 | 145.7 | 8.61 | 164.3 | 9.2127 | 154.771 | 9.88 | 149.9 | 10.17 | 975.742 | 38.8594 | 63.0378
2020-11-05 02:30:00 | 9.92 | 142.2 | 10.1 | 158.2 | 10.807 | 149.024 | 10.78 | 146.2 | 10.42 | 975.445 | 40.3616 | 65.0145
2020-11-05 02:45:00 | 9.85 | 142.2 | 10.2 | 159.7 | 10.914 | 150.437 | 10.91 | 147.2 | 10.59 | 975.445 | 41.1805 | 65.2419
2020-11-05 03:00:00 | 10.75 | 143.4 | 10.71 | 159.3 | 11.4597 | 150.061 | 10.73 | 148.5 | 10.61 | 975.148 | 41.5908 | 63.3704
2020-11-05 03:15:00 | 9.75 | 139.5 | 10.11 | 158.1 | 10.8177 | 148.93 | 10.28 | 144.7 | 10.68 | 975.593 | 42.8161 | 63.2447
2020-11-05 03:30:00 | 9.19 | 140.8 | 9.38 | 157.4 | 10.0366 | 148.271 | 10.35 | 147.1 | 10.53 | 975.445 | 44.3161 | 62.2175
2020-11-05 03:45:00 | 9.14 | 139.2 | 9.43 | 155.5 | 10.0901 | 146.481 | 9.79 | 143.5 | 10.6 | 975.148 | 44.4527 | 61.6559
2020-11-05 04:00:00 | 9.3 | 140.3 | 9.78 | 156.8 | 10.4646 | 147.706 | 10.5 | 145.7 | 10.63 | 975.445 | 44.3176 | 62.5537
2020-11-05 04:15:00 | 9.42 | 142.2 | 9.67 | 158.6 | 10.3469 | 149.401 | 10.17 | 147.2 | 10.65 | 975.148 | 45.341 | 64.0058
2020-11-05 04:30:00 | 9.32 | 141.9 | 9.3 | 160.5 | 9.951 | 151.191 | 10.13 | 146.7 | 10.61 | 975.437 | 46.5694 | 61.7335
2020-11-05 04:45:00 | 8.63 | 140.2 | 9.2 | 159.6 | 9.844 | 150.343 | 9.61 | 145.6 | 10.83 | 975.734 | 46.706 | 59.7346
2020-11-05 05:00:00 | 9.22 | 141.2 | 9.41 | 157.6 | 10.0687 | 148.459 | 9.85 | 145.9 | 10.84 | 975.4 | 46.569 | 63.3224
2020-11-05 05:15:00 | 9.34 | 137.1 | 9.82 | 155.4 | 10.5074 | 146.387 | 10.15 | 144.1 | 11.09 | 975.531 | 45.4082 | 63.4442
2020-11-05 05:30:00 | 9.24 | 139.4 | 9.52 | 156.4 | 10.1864 | 147.329 | 9.74 | 145 | 11.15 | 975.495 | 45.6139 | 62.4244
2020-11-05 05:45:00 | 8.31 | 142.3 | 8.8 | 160.5 | 9.416 | 151.191 | 9.41 | 147.3 | 11.34 | 975.531 | 46.192 | 53.712
2020-11-05 06:00:00 | 8.18 | 138.4 | 8.79 | 157.4 | 9.4053 | 148.271 | 8.59 | 145.9 | 11.14 | 975.648 | 46.4958 | 56.899
2020-11-05 06:15:00 | 8.61 | 138.6 | 8.59 | 153.7 | 9.1913 | 144.785 | 8.65 | 144.7 | 11.21 | 975.62 | 46.7681 | 59.9119
2020-11-05 06:30:00 | 7.589 | 134.3 | 8.26 | 151 | 8.8382 | 142.242 | 9.15 | 141.1 | 11.19 | 975.455 | 47.4165 | 63.6474
2020-11-05 06:45:00 | 8.46 | 134.7 | 9.33 | 150.3 | 9.9831 | 141.583 | 8.73 | 142.3 | 11.14 | 976.058 | 47.6203 | 57.61
2020-11-05 07:00:00 | 7.607 | 141.2 | 7.777 | 157.2 | 8.3214 | 148.082 | 8.02 | 145.3 | 11.22 | 976.337 | 48.336 | 45.7163
2020-11-05 07:15:00 | 7.379 | 140.3 | 7.595 | 158.2 | 8.1266 | 149.024 | 8.34 | 146 | 11.14 | 976.528 | 48.8139 | 48.4616
2020-11-05 07:30:00 | 8.18 | 142.2 | 8.32 | 158 | 8.9024 | 148.836 | 8.27 | 147.9 | 11.3 | 976.809 | 48.9504 | 52.0899
2020-11-05 07:45:00 | 8.83 | 145.4 | 9.04 | 161.3 | 9.6728 | 151.945 | 8.85 | 151.9 | 11.2 | 977.08 | 49.565 | 52.925
2020-11-05 08:00:00 | 8.83 | 145.3 | 8.78 | 163.3 | 9.3946 | 153.829 | 9.57 | 152.4 | 11.11 | 977.276 | 50.3849 | 58.0497
2020-11-05 08:15:00 | 10.01 | 145.9 | 10.17 | 161.5 | 10.8819 | 152.133 | 10.78 | 150 | 11.13 | 977.393 | 50.7254 | 54.4325
2020-11-05 08:30:00 | 10.02 | 143 | 10.37 | 160.2 | 11.0959 | 150.908 | 11.1 | 149.2 | 11.12 | 977.557 | 51.3398 | 53.0838
2020-11-05 08:45:00 | 9.82 | 145.1 | 10.12 | 161.1 | 10.8284 | 151.756 | 10.78 | 149.1 | 11.13 | 977.413 | 51.886 | 46.4294
2020-11-05 09:00:00 | 8.6 | 148.6 | 9.04 | 167.9 | 9.6728 | 158.162 | 9.9 | 151.2 | 11.18 | 977.422 | 52.2956 | 48.9198
2020-11-05 09:15:00 | 9.24 | 143.8 | 9.44 | 161.5 | 10.1008 | 152.133 | 10.1 | 148.9 | 11.22 | 977.661 | 52.5687 | 49.9543
2020-11-05 09:30:00 | 8.26 | 148.9 | 8.81 | 166.2 | 9.4267 | 156.56 | 8.42 | 150.9 | 11.43 | 977.59 | 52.0908 | 44.1645
2020-11-05 09:45:00 | 8.3 | 141.7 | 8.23 | 160.8 | 8.8061 | 151.474 | 8.51 | 148.5 | 11.46 | 977.537 | 52.7735 | 42.9969
2020-11-05 10:00:00 | 7.556 | 141.6 | 7.969 | 159.2 | 8.5268 | 149.966 | 8.05 | 145.7 | 11.67 | 977.671 | 52.4322 | 43.8874
2020-11-05 10:15:00 | 9.01 | 140.3 | 8.58 | 158.4 | 9.1806 | 149.213 | 8.98 | 145.1 | 11.71 | 977.226 | 52.4322 | 42.4873
2020-11-05 10:30:00 | 8.84 | 140.8 | 9.12 | 158.4 | 9.7584 | 149.213 | 9.29 | 148.3 | 11.95 | 977.819 | 51.374 | 39.3427
2020-11-05 10:45:00 | 9.2 | 143 | 9.3 | 160.5 | 9.951 | 151.191 | 9.4 | 146.6 | 11.96 | 977.671 | 52.6029 | 50.1264
2020-11-05 11:00:00 | 10.67 | 141.8 | 10.6 | 160.6 | 11.342 | 151.285 | 10.59 | 147.1 | 12.17 | 977.226 | 52.5687 | 51.6901
2020-11-05 11:15:00 | 10.9 | 142.4 | 11.12 | 158.6 | 11.8984 | 149.401 | 10.98 | 147.7 | 12.23 | 977.226 | 52.9783 | 54.9128
2020-11-05 11:30:00 | 10.86 | 144.6 | 10.92 | 163.1 | 11.6844 | 153.64 | 11.39 | 149.5 | 12.36 | 976.929 | 51.6129 | 52.1181
2020-11-05 11:45:00 | 8.79 | 144.7 | 9.07 | 162.3 | 9.7049 | 152.887 | 9.24 | 150.7 | 12.76 | 976.929 | 50.2475 | 42.96
2020-11-05 12:00:00 | 8.92 | 147.1 | 8.75 | 168.6 | 9.3625 | 158.821 | 8.74 | 150.2 | 12.85 | 976.632 | 51.2645 | 45.2064
2020-11-05 12:15:00 | 7.635 | 160.2 | 7.721 | 178.1 | 8.2615 | 167.77 | 7.657 | 161.7 | 12.91 | 976.929 | 51.2626 | 50.6961
2020-11-05 12:30:00 | 10.63 | 145.1 | 10.51 | 159.1 | 11.2457 | 149.872 | 9.28 | 152.3 | 12.85 | 976.335 | 51.8748 | 54.7317
2020-11-05 12:45:00 | 10.77 | 146.9 | 10.55 | 166.5 | 11.2885 | 156.843 | 10.48 | 150.2 | 12.87 | 976.335 | 51.7732 | 61.4371
2020-11-05 13:00:00 | 10.61 | 146.5 | 11.2 | 163.7 | 11.984 | 154.205 | 10.75 | 150.6 | 12.99 | 976.038 | 51.3623 | 61.6005
2020-11-05 13:15:00 | 10.7 | 149.4 | 10.84 | 166.9 | 11.5988 | 157.22 | 10.08 | 152.5 | 13.21 | 975.889 | 51.6711 | 55.6333
2020-11-05 13:30:00 | 8.13 | 149.8 | 8.34 | 168.1 | 8.9238 | 158.35 | 8.66 | 152.6 | 13.35 | 976.038 | 51.3982 | 50.4116
2020-11-05 13:45:00 | 9.33 | 145.1 | 9.6 | 161.7 | 10.272 | 152.321 | 8.94 | 150.1 | 13.57 | 975.592 | 49.5213 | 56.2392
2020-11-05 14:00:00 | 9.3 | 138.1 | 9.91 | 154.7 | 10.6037 | 145.727 | 10.13 | 142.3 | 13.59 | 975.444 | 47.7814 | 55.8919
2020-11-05 14:15:00 | 8.37 | 146.3 | 8.53 | 162.9 | 9.1271 | 153.452 | 8.6 | 151.5 | 13.58 | 975.444 | 48.6677 | 53.2559
2020-11-05 14:30:00 | 7.801 | 136.9 | 8.47 | 155.8 | 9.0629 | 146.764 | 8.53 | 139.9 | 13.49 | 974.998 | 49.485 | 51.2032
2020-11-05 14:45:00 | 8.88 | 135.5 | 9.13 | 151.5 | 9.7691 | 142.713 | 9.48 | 139.7 | 13.37 | 975.147 | 49.4879 | 44.3936
2020-11-05 15:00:00 | 7.451 | 135.1 | 7.861 | 153.2 | 8.4113 | 144.314 | 8.5 | 139.2 | 13.31 | 975.147 | 49.761 | 45.853
2020-11-05 15:15:00 | 8.73 | 135.4 | 8.54 | 154.1 | 9.1378 | 145.162 | 8.71 | 139.9 | 13.44 | 975.444 | 49.6249 | 49.4186
2020-11-05 15:30:00 | 8.07 | 136.3 | 8.12 | 152.3 | 8.6884 | 143.467 | 8.65 | 141.3 | 13.41 | 975.295 | 51.1957 | 47.863
2020-11-05 15:45:00 | 7.676 | 137.6 | 7.856 | 155.4 | 8.4059 | 146.387 | 7.553 | 141.2 | 13.41 | 975.147 | 51.4688 | 44.6596
2020-11-05 16:00:00 | 8.31 | 136.2 | 8.47 | 154.9 | 9.0629 | 145.916 | 8.27 | 139.1 | 13.45 | 975.147 | 51.8114 | 43.5696
2020-11-05 16:15:00 | 8.72 | 135.2 | 8.91 | 152.3 | 9.5337 | 143.467 | 9.13 | 141 | 13.41 | 974.85 | 52.2936 | 49.7364
2020-11-05 16:30:00 | 9.14 | 133.8 | 9.51 | 149.3 | 10.1757 | 140.641 | 9.31 | 139.7 | 13.41 | 974.85 | 53.1131 | 54.8085
2020-11-05 16:45:00 | 10.61 | 136.5 | 10.87 | 153.3 | 11.6309 | 144.409 | 11.02 | 141 | 13.46 | 974.85 | 53.5238 | 60.5622
2020-11-05 17:00:00 | 9.79 | 136.3 | 9.84 | 151.4 | 10.5288 | 142.619 | 9.9 | 141.7 | 13.44 | 974.85 | 53.7972 | 64.3975
2020-11-05 17:15:00 | 9.17 | 139.8 | 9.81 | 154.3 | 10.4967 | 145.351 | 9.95 | 145.8 | 13.49 | 975.147 | 53.7293 | 64.342
2020-11-05 17:30:00 | 10.73 | 142.4 | 11.03 | 159.2 | 11.8021 | 149.966 | 10.79 | 149 | 13.45 | 974.85 | 54.7533 | 72.2194
2020-11-05 17:45:00 | 11.33 | 146.3 | 11.38 | 162 | 12.1766 | 152.604 | 11.9 | 149.9 | 13.26 | 974.998 | 56.3233 | 74.4807
2020-11-05 18:00:00 | 10.75 | 144.6 | 10.9 | 162.4 | 11.663 | 152.981 | 11.15 | 150.4 | 13.09 | 974.85 | 57.1087 | 76.4927
2020-11-05 18:15:00 | 10.75 | 145.5 | 11.16 | 162.4 | 11.9412 | 152.981 | 12.17 | 150.6 | 13 | 975.147 | 58.0986 | 73.557
2020-11-05 18:30:00 | 10.94 | 146.1 | 11.26 | 161 | 12.0482 | 151.662 | 11.93 | 150.4 | 12.98 | 975.444 | 58.7814 | 67.6822
2020-11-05 18:45:00 | 10.1 | 140.9 | 10.25 | 157 | 10.9675 | 147.894 | 10.01 | 145.3 | 12.96 | 975.444 | 58.9862 | 71.6024
2020-11-05 19:00:00 | 9.75 | 139.4 | 10.08 | 155.3 | 10.7856 | 146.293 | 9.95 | 145 | 13.03 | 975.741 | 56.3236 | 69.0973
2020-11-05 19:15:00 | 9.3 | 139.7 | 9.71 | 155.8 | 10.3897 | 146.764 | 10.1 | 144.5 | 13.03 | 975.889 | 56.938 | 72.3192
2020-11-05 19:30:00 | 9.59 | 138.6 | 10.13 | 156.8 | 10.8391 | 147.706 | 10.27 | 143.7 | 12.97 | 975.889 | 57.7573 | 67.1169
2020-11-05 19:45:00 | 9.8 | 139.5 | 10.2 | 154.7 | 10.914 | 145.727 | 10.09 | 144.2 | 12.99 | 976.038 | 57.9621 | 63.3629
2020-11-05 20:00:00 | 10.05 | 138.2 | 10.58 | 154.9 | 11.3206 | 145.916 | 10.44 | 143.6 | 12.96 | 976.038 | 58.3717 | 61.3086
2020-11-05 20:15:00 | 10.3 | 140 | 10.2 | 155.5 | 10.914 | 146.481 | 10.58 | 147 | 12.94 | 976.038 | 59.2934 | 54.7798
2020-11-05 20:30:00 | 10.79 | 144.2 | 10.98 | 160.9 | 11.7486 | 151.568 | 11.23 | 149.9 | 12.82 | 976.186 | 60.1468 | 50.8669
2020-11-05 20:45:00 | 10.28 | 144.8 | 10.28 | 161.7 | 10.9996 | 152.321 | 10.38 | 150.5 | 12.79 | 976.335 | 60.4199 | 42.8233
2020-11-05 21:00:00 | 9.24 | 145.9 | 9.19 | 162.3 | 9.8333 | 152.887 | 9.69 | 151.1 | 12.67 | 976.186 | 61.5805 | 44.8887
2020-11-05 21:15:00 | 9.53 | 144.9 | 10.36 | 159.8 | 11.0852 | 150.532 | 10.42 | 150.7 | 12.54 | 976.335 | 61.9901 | 38.5188
2020-11-05 21:30:00 | 8.12 | 149.5 | 8.41 | 167.2 | 8.9987 | 157.502 | 8.88 | 153.7 | 12.48 | 976.632 | 63.0142 | 29.5662
2020-11-05 21:45:00 | 8.07 | 150.7 | 8.37 | 167.3 | 8.9559 | 157.597 | 8.06 | 153.5 | 12.44 | 976.038 | 63.219 | 28.7681
2020-11-05 22:00:00 | 7.435 | 145.7 | 8.08 | 163.5 | 8.6456 | 154.017 | 8.55 | 151 | 12.31 | 976.335 | 64.243 | 32.038
2020-11-05 22:15:00 | 7.042 | 150.1 | 7.756 | 167.2 | 8.2989 | 157.502 | 8.65 | 152.5 | 12.22 | 976.186 | 65.0623 | 32.1119
2020-11-05 22:30:00 | 7.423 | 150.8 | 7.636 | 167.3 | 8.1705 | 157.597 | 8.16 | 155.6 | 12.22 | 976.038 | 65.1647 | 32.7179
2020-11-05 22:45:00 | 5.998 | 151.2 | 6.427 | 169.1 | 6.8769 | 159.292 | 7.036 | 160.3 | 12.16 | 976.04 | 65.6085 | 35.3153
2020-11-05 23:00:00 | 6.062 | 151.4 | 6.335 | 174.6 | 6.7785 | 164.473 | 7.306 | 152.9 | 12.1 | 976.038 | 65.6085 | 35.0419
2020-11-05 23:15:00 | 6.2 | 166.5 | 6.031 | 178.2 | 6.4532 | 167.864 | 5.475 | 169.3 | 12.14 | 976.336 | 66.2912 | 41.3268
2020-11-05 23:30:00 | 7.17 | 159.9 | 7.069 | 175 | 7.5638 | 164.85 | 6.906 | 164.8 | 12.09 | 976.335 | 66.9398 | 40.1075
2020-11-05 23:45:00 | 6.33 | 154.4 | 6.739 | 171.1 | 7.2107 | 161.176 | 7.645 | 160.4 | 11.91 | 976.335 | 67.4518 | 35.6146