## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-06 00:00:00 | 7.341 | 163.7 | 7.516 | 172.7 | 8.0421 | 162.683 | 6.555 | 172 | 12.09 | 976.192 | 68.2028 | 40.1667
2020-11-06 00:15:00 | 8.14 | 156.8 | 8.36 | 172.1 | 8.9452 | 162.118 | 8.74 | 160.5 | 11.98 | 976.08 | 68.6124 | 44.4157
2020-11-06 00:30:00 | 6.639 | 162.4 | 6.69 | 180 | 7.1583 | 169.56 | 7.174 | 166.4 | 12.14 | 976.046 | 69.2268 | 47.0391
2020-11-06 00:45:00 | 7.098 | 163.6 | 6.974 | 180.5 | 7.4622 | 170.031 | 7.153 | 168 | 11.99 | 976.07 | 70.6605 | 45.3764
2020-11-06 01:00:00 | 9.03 | 158.9 | 9.29 | 171.2 | 9.9403 | 161.27 | 8.65 | 164.7 | 11.75 | 975.616 | 71.6163 | 46.9081
2020-11-06 01:15:00 | 6.772 | 158.2 | 6.882 | 176 | 7.3637 | 165.792 | 6.865 | 163.9 | 11.89 | 975.797 | 72.3673 | 40.2332
2020-11-06 01:30:00 | 7.665 | 162.5 | 7.616 | 179.9 | 8.1491 | 169.466 | 7.535 | 161.9 | 12.06 | 975.797 | 71.7529 | 37.3179
2020-11-06 01:45:00 | 8.95 | 156.6 | 9.2 | 170.6 | 9.844 | 160.705 | 8.77 | 164.6 | 11.93 | 975.503 | 72.538 | 38.5446
2020-11-06 02:00:00 | 6.715 | 159.9 | 6.923 | 177.3 | 7.4076 | 167.017 | 6.893 | 165.5 | 11.96 | 975.39 | 73.1183 | 34.6207
2020-11-06 02:15:00 | 7.479 | 152 | 7.992 | 166.9 | 8.5514 | 157.22 | 8.85 | 158.1 | 11.8 | 974.893 | 73.7327 | 40.1925
2020-11-06 02:30:00 | 7.344 | 152.4 | 7.843 | 168.7 | 8.392 | 158.915 | 8.53 | 158.6 | 11.69 | 974.914 | 74.2789 | 40.8982
2020-11-06 02:45:00 | 7.936 | 149 | 8.33 | 165.3 | 8.9131 | 155.713 | 8.8 | 153.4 | 11.65 | 974.646 | 75.0299 | 44.8406
2020-11-06 03:00:00 | 8.2 | 150.3 | 8.55 | 167.2 | 9.1485 | 157.502 | 9.56 | 155.1 | 11.55 | 974.293 | 76.1222 | 47.2608
2020-11-06 03:15:00 | 7.484 | 155.3 | 7.485 | 174.7 | 8.009 | 164.567 | 8.48 | 160.1 | 11.47 | 974.314 | 76.2929 | 41.5042
2020-11-06 03:30:00 | 8.52 | 158.5 | 8.61 | 170.3 | 9.2127 | 160.423 | 8.12 | 164.9 | 11.66 | 974.286 | 75.4395 | 46.9024
2020-11-06 03:45:00 | 9.19 | 158.7 | 9.32 | 172.4 | 9.9724 | 162.401 | 9.31 | 164.6 | 11.74 | 974.268 | 75.0981 | 48.469
2020-11-06 04:00:00 | 8.4 | 153.5 | 8.9 | 168.2 | 9.523 | 158.444 | 9.41 | 159.7 | 11.49 | 974.356 | 77.078 | 48.9826
2020-11-06 04:15:00 | 7.908 | 151.3 | 8.5 | 167.4 | 9.095 | 157.691 | 9.18 | 157.5 | 11.32 | 973.893 | 78.068 | 49.0195
2020-11-06 04:30:00 | 9.06 | 153.7 | 9.45 | 167.7 | 10.1115 | 157.973 | 9.91 | 158.8 | 11.35 | 973.726 | 78.1021 | 60.6324
2020-11-06 04:45:00 | 9.65 | 152.2 | 10.31 | 166.4 | 11.0317 | 156.749 | 11.05 | 158.3 | 11.28 | 973.698 | 77.625 | 69.5111
2020-11-06 05:00:00 | 8.94 | 150 | 9.39 | 165.1 | 10.0473 | 155.524 | 10.36 | 155.9 | 11.13 | 973.379 | 77.968 | 69.1195
2020-11-06 05:15:00 | 9.98 | 151.9 | 10.79 | 167.3 | 11.5453 | 157.597 | 11.36 | 158.9 | 11.13 | 973.742 | 77.7665 | 64.3938
2020-11-06 05:30:00 | 9.49 | 153.5 | 9.97 | 169.1 | 10.6679 | 159.292 | 10.59 | 159.4 | 11.05 | 973.837 | 78.9981 | 53.6196
2020-11-06 05:45:00 | 8.73 | 160.8 | 9.34 | 174.8 | 9.9938 | 164.662 | 8.68 | 164.5 | 11.24 | 974.404 | 77.0898 | 51.9495
2020-11-06 06:00:00 | 8.64 | 154.1 | 9.18 | 167.8 | 9.8226 | 158.068 | 9.74 | 161.7 | 10.97 | 974.155 | 79.345 | 51.1514
2020-11-06 06:15:00 | 7.377 | 159.2 | 7.8 | 171.7 | 8.346 | 161.741 | 7.815 | 166.7 | 11.03 | 974.482 | 79.074 | 35.7809
2020-11-06 06:30:00 | 7.734 | 159.9 | 7.851 | 173.7 | 8.4006 | 163.625 | 6.878 | 166.3 | 11.38 | 974.802 | 78.116 | 36.2723
2020-11-06 06:45:00 | 8.41 | 158.1 | 8.99 | 171.6 | 9.6193 | 161.647 | 9.28 | 165.6 | 10.98 | 974.39 | 79.6847 | 41.1458
2020-11-06 07:00:00 | 7.898 | 157.7 | 8.6 | 172.2 | 9.202 | 162.212 | 8.97 | 164.5 | 10.97 | 974.872 | 79.5775 | 36.9854
2020-11-06 07:15:00 | 7.946 | 165.4 | 8.17 | 178.5 | 8.7419 | 168.147 | 7.91 | 173 | 11.22 | 975.161 | 77.8297 | 31.8828
2020-11-06 07:30:00 | 6.976 | 159 | 7.329 | 172 | 7.842 | 162.024 | 7.191 | 167.1 | 11.24 | 974.914 | 76.2246 | 33.0097
2020-11-06 07:45:00 | 8.47 | 162.8 | 8.42 | 174.3 | 9.0094 | 164.191 | 7.377 | 172.4 | 11.68 | 975.594 | 72.9135 | 27.9146
2020-11-06 08:00:00 | 7.553 | 162 | 7.941 | 175 | 8.4969 | 164.85 | 7.782 | 170.9 | 11.79 | 976.038 | 71.1043 | 22.6272
2020-11-06 08:15:00 | 7.76 | 163.8 | 8.09 | 172.6 | 8.6563 | 162.589 | 7.459 | 175.5 | 12.2 | 976.038 | 68.8149 | 22.11
2020-11-06 08:30:00 | 6.394 | 163.5 | 6.499 | 178.7 | 6.9539 | 168.335 | 6.43 | 172 | 12.72 | 976.335 | 66.2787 | 22.0434
2020-11-06 08:45:00 | 6.174 | 163.2 | 6.087 | 178.1 | 6.5131 | 167.77 | 5.719 | 172.5 | 12.82 | 976.929 | 64.7778 | 6.8724
2020-11-06 09:00:00 | 4.216 | 182 | 4.093 | 193.5 | 4.3795 | 182.277 | 3.97 | 189.2 | 13.82 | 977.124 | 59.8545 | 2.749
2020-11-06 09:15:00 | 3.519 | 204.2 | 3.172 | 210 | 3.394 | 197.82 | 2.761 | 210.2 | 14.52 | 977.225 | 58.4883 | 0.41752
2020-11-06 09:30:00 | 3.904 | 208.1 | 3.967 | 214.8 | 4.2447 | 202.342 | 4.53 | 214.8 | 14.73 | 977.224 | 53.7653 | 0.15149
2020-11-06 09:45:00 | 3.917 | 212 | 3.627 | 215.5 | 3.8809 | 203.001 | 3.312 | 219.2 | 15 | 977.521 | 55.6714 | -0.38796
2020-11-06 10:00:00 | 3.187 | 259.3 | 3.275 | 269.2 | 3.5042 | 253.586 | 3.137 | 264.4 | 14.57 | 977.817 | 57.8544 | -0.27711
2020-11-06 10:15:00 | 2.668 | 278.5 | 3.006 | 296.6 | 3.2164 | 279.397 | 2.564 | 280.9 | 15 | 977.761 | 52.8057 | -0.28081
2020-11-06 10:30:00 | 2.304 | 261.4 | 2.482 | 265.6 | 2.6557 | 250.195 | 1.899 | 271 | 15.78 | 977.519 | 54.2296 | -0.31037
2020-11-06 10:45:00 | 5.319 | 307.7 | 6.005 | 319.5 | 6.4253 | 300.969 | 5.442 | 308.2 | 15.67 | 977.506 | 50.7486 | 4.3821
2020-11-06 11:00:00 | 4.693 | 307.3 | 5.622 | 322.1 | 6.0155 | 303.418 | 5.775 | 306.9 | 15.55 | 977.218 | 47.7428 | 6.769
2020-11-06 11:15:00 | 4.175 | 314.2 | 4.594 | 323.8 | 4.9156 | 305.02 | 4.217 | 318.9 | 16.25 | 977.013 | 42.7629 | 5.1469
2020-11-06 11:30:00 | 3.288 | 348.7 | 3.223 | 350.4 | 3.4486 | 330.077 | 3.132 | 348.6 | 16.68 | 976.534 | 38.2611 | 4.2306
2020-11-06 11:45:00 | 1.586 | 1.946 | 2.869 | 7.781 | 3.0698 | 7.3297 | 3.623 | 8.33 | 17.17 | 976.496 | 35.1236 | 3.2921
2020-11-06 12:00:00 | 2.527 | 17.63 | 3.353 | 344.9 | 3.5877 | 324.896 | 4.219 | 27.36 | 17.69 | 976.627 | 32.873 | 3.5286
2020-11-06 12:15:00 | 3.737 | 335.9 | 3.893 | 328.1 | 4.1655 | 309.07 | 3.435 | 356.7 | 17.87 | 976.33 | 32.016 | 3.4362
2020-11-06 12:30:00 | 1.741 | 27.28 | 2.493 | 28.3 | 2.6675 | 26.6586 | 3.687 | 25.13 | 18.01 | 976.775 | 30.0716 | 1.4595
2020-11-06 12:45:00 | 2.907 | 340 | 3.399 | 325.5 | 3.6369 | 306.621 | 3.176 | 358 | 17.97 | 977.072 | 32.5605 | 0.5764
2020-11-06 13:00:00 | 2.995 | 302.6 | 3.244 | 307.5 | 3.4711 | 289.665 | 2.15 | 310.3 | 17.88 | 976.627 | 32.4241 | 0.4286
2020-11-06 13:15:00 | 2.119 | 356.2 | 2.208 | 356.5 | 2.3626 | 335.823 | 1.357 | 354.4 | 18.1 | 976.33 | 29.0147 | 0.092371
2020-11-06 13:30:00 | 2.911 | 287 | 3.303 | 303 | 3.5342 | 285.426 | 3.272 | 292.1 | 17.97 | 976.478 | 28.5047 | 0.21061
2020-11-06 13:45:00 | 3.669 | 310.7 | 4.052 | 315 | 4.3356 | 296.73 | 3.919 | 311.6 | 18.48 | 976.33 | 26.8026 | 0.65029
2020-11-06 14:00:00 | 2.324 | 289.7 | 2.669 | 298.1 | 2.8558 | 280.81 | 2.541 | 295.7 | 17.98 | 976.33 | 27.2122 | -0.099761
2020-11-06 14:15:00 | 1.386 | 296.2 | 1.707 | 307.5 | 1.8265 | 289.665 | 1.847 | 300.7 | 18.07 | 976.33 | 27.0077 | -0.23647
2020-11-06 14:30:00 | 2.12 | 287.6 | 2.592 | 300.8 | 2.7734 | 283.354 | 2.03 | 288.6 | 18.24 | 976.478 | 25.9164 | -0.23647
2020-11-06 14:45:00 | 2.572 | 287.3 | 3.004 | 303.3 | 3.2143 | 285.709 | 2.158 | 281.9 | 18.02 | 976.33 | 25.5072 | -0.19583
2020-11-06 15:00:00 | 3.151 | 273.3 | 3.282 | 292.8 | 3.5117 | 275.818 | 2.469 | 270.7 | 17.87 | 976.36 | 26.0187 | -0.2882
2020-11-06 15:15:00 | 1.305 | 285.7 | 2.022 | 295.6 | 2.1635 | 278.455 | 1.654 | 291.1 | 18.17 | 976.169 | 25.439 | -0.30298
2020-11-06 15:30:00 | 2.87 | 267.1 | 3.292 | 275.2 | 3.5224 | 259.238 | 3.32 | 271.6 | 17.8 | 976.294 | 26.0542 | -0.26972
2020-11-06 15:45:00 | 2.222 | 272.7 | 2.301 | 279 | 2.4621 | 262.818 | 1.955 | 276.8 | 17.66 | 976.034 | 26.4323 | -0.24386
2020-11-06 16:00:00 | 3.322 | 251.5 | 3.604 | 263.7 | 3.8563 | 248.405 | 3.364 | 254.3 | 17.35 | 975.589 | 25.3755 | -0.20691
2020-11-06 16:15:00 | 2.817 | 261 | 3.252 | 269.9 | 3.4796 | 254.246 | 3.254 | 266 | 17.25 | 975.186 | 25.0382 | -0.24755
2020-11-06 16:30:00 | 2.084 | 251.3 | 2.561 | 260.1 | 2.7403 | 245.014 | 2.666 | 256.9 | 16.96 | 975.139 | 25.7206 | -0.28081
2020-11-06 16:45:00 | 2.01 | 256.9 | 2.753 | 265.3 | 2.9457 | 249.913 | 2.984 | 259.2 | 16.9 | 974.552 | 25.2434 | -0.25864
2020-11-06 17:00:00 | 2.222 | 252.2 | 2.697 | 259.1 | 2.8858 | 244.072 | 2.307 | 255.7 | 16.95 | 974.552 | 25.1805 | -0.26972
2020-11-06 17:15:00 | 2.012 | 254.4 | 2.679 | 263.6 | 2.8665 | 248.311 | 2.274 | 259.1 | 16.82 | 974.7 | 25.0128 | -0.25864
2020-11-06 17:30:00 | 2.053 | 244.9 | 2.584 | 257.3 | 2.7649 | 242.377 | 2.169 | 248.8 | 16.73 | 974.552 | 25.0469 | -0.25864
2020-11-06 17:45:00 | 2.51 | 225.4 | 2.835 | 238.3 | 3.0335 | 224.479 | 2.582 | 232.8 | 16.66 | 974.864 | 24.6374 | -0.25864
2020-11-06 18:00:00 | 2.283 | 214.4 | 2.669 | 230.3 | 2.8558 | 216.943 | 2.686 | 218.4 | 16.65 | 975.207 | 24.5692 | -0.26972
2020-11-06 18:15:00 | 2.239 | 219 | 2.492 | 231.7 | 2.6664 | 218.261 | 2.439 | 218.5 | 16.78 | 975.326 | 25.1841 | -0.26972
2020-11-06 18:30:00 | 0.007 | 195.5 | 1.201 | 201.7 | 1.2851 | 190.001 | 1.561 | 204.6 | 16.51 | 975.515 | 25.7641 | -0.28081
2020-11-06 18:45:00 | 2.837 | 173.1 | 3.257 | 183.2 | 3.485 | 172.574 | 3.05 | 183.8 | 16.01 | 975.294 | 27.0974 | -0.092371
2020-11-06 19:00:00 | 3.161 | 166.5 | 3.916 | 173.6 | 4.1901 | 163.531 | 3.71 | 178.7 | 15.79 | 975.144 | 32.1501 | 0.32515
2020-11-06 19:15:00 | 2.388 | 169.8 | 3.99 | 177.8 | 4.2693 | 167.488 | 4.492 | 179.5 | 15.69 | 975.146 | 32.4232 | 0.59487
2020-11-06 19:30:00 | 3.194 | 162.5 | 3.461 | 170.1 | 3.7033 | 160.234 | 4.151 | 170.2 | 15.71 | 974.998 | 32.5597 | 1.0493
2020-11-06 19:45:00 | 3.141 | 160.4 | 3.699 | 164.8 | 3.9579 | 155.242 | 4.354 | 170.8 | 15.36 | 975.295 | 35.7672 | 1.3745
2020-11-06 20:00:00 | 3.605 | 162.2 | 4.103 | 166.3 | 4.3902 | 156.655 | 4.143 | 171.1 | 15.06 | 975.443 | 39.7952 | 2.4792
2020-11-06 20:15:00 | 3.478 | 163.9 | 4.387 | 175.9 | 4.6941 | 165.698 | 4.904 | 171.1 | 15.05 | 975.146 | 38.6346 | 3.6283
2020-11-06 20:30:00 | 4.106 | 167.1 | 4.993 | 180.1 | 5.3425 | 169.654 | 4.861 | 172.9 | 15.28 | 974.998 | 36.4494 | 8.125
2020-11-06 20:45:00 | 5.679 | 163.4 | 5.875 | 177.8 | 6.2862 | 167.488 | 6.203 | 171.3 | 15.58 | 975.295 | 35.4258 | 12.1597
2020-11-06 21:00:00 | 5.206 | 160.8 | 5.583 | 172.4 | 5.9738 | 162.401 | 6.099 | 169.1 | 15.53 | 975.295 | 38.3267 | 16.9667
2020-11-06 21:15:00 | 6.064 | 157.4 | 6.808 | 170.3 | 7.2846 | 160.423 | 7.27 | 165.6 | 15.25 | 975.295 | 40.7503 | 21.6555
2020-11-06 21:30:00 | 6.024 | 161 | 6.486 | 174.5 | 6.94 | 164.379 | 7.25 | 169.4 | 15.27 | 975.146 | 40.8527 | 25.2764
2020-11-06 21:45:00 | 5.515 | 159.4 | 6.399 | 172.8 | 6.8469 | 162.778 | 6.746 | 168.2 | 15.35 | 975.443 | 41.023 | 22.679
2020-11-06 22:00:00 | 5.37 | 159.6 | 6.225 | 171.5 | 6.6608 | 161.553 | 6.486 | 167.3 | 15.19 | 975.443 | 40.7503 | 21.988
2020-11-06 22:15:00 | 5.768 | 164.2 | 6.194 | 176.7 | 6.6276 | 166.451 | 6.356 | 173.7 | 15.34 | 975.443 | 40.7501 | 22.2245
2020-11-06 22:30:00 | 5.725 | 159.3 | 6.322 | 170.7 | 6.7645 | 160.799 | 6.827 | 168 | 15.19 | 975.443 | 40.0677 | 26.0043
2020-11-06 22:45:00 | 6.549 | 160.8 | 7.278 | 171 | 7.7875 | 161.082 | 7.818 | 169.9 | 15.19 | 975.443 | 40.2034 | 25.9046
2020-11-06 23:00:00 | 6.036 | 159.5 | 6.795 | 170.4 | 7.2706 | 160.517 | 7.543 | 169.6 | 15.13 | 975.443 | 39.6584 | 24.6188
2020-11-06 23:15:00 | 5.421 | 162.1 | 6.205 | 173 | 6.6394 | 162.966 | 7.1 | 170.9 | 15.18 | 975.443 | 40.2043 | 23.6396
2020-11-06 23:30:00 | 5.773 | 170.5 | 5.545 | 184 | 5.9332 | 173.328 | 5.444 | 179.2 | 15.35 | 975.443 | 40.5459 | 20.5027
2020-11-06 23:45:00 | 4.221 | 172.8 | 5.412 | 185.3 | 5.7908 | 174.553 | 5.903 | 183 | 15.17 | 975.443 | 42.7295 | 17.2697