## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-07 00:00:00 | 5.145 | 186.2 | 5.42 | 195.3 | 5.7994 | 183.973 | 5.668 | 193.3 | 15.2 | 975.443 | 42.5932 | 17.0037
2020-11-07 00:15:00 | 5.332 | 196.6 | 5.448 | 205.4 | 5.8294 | 193.487 | 6.084 | 205.4 | 15.39 | 975.74 | 42.8664 | 13.4566
2020-11-07 00:30:00 | 4.9 | 223 | 5.369 | 225.5 | 5.7448 | 212.421 | 6.522 | 234.6 | 15.45 | 975.74 | 40.4776 | 17.1182
2020-11-07 00:45:00 | 4.354 | 226 | 4.908 | 229.9 | 5.2516 | 216.566 | 5.997 | 233.7 | 15.42 | 976.037 | 37.7474 | 16.9593
2020-11-07 01:00:00 | 3.751 | 224.6 | 4.351 | 231.9 | 4.6556 | 218.45 | 5.653 | 231.4 | 15.27 | 976.037 | 38.0884 | 15.777
2020-11-07 01:15:00 | 4.211 | 228.7 | 4.913 | 235.7 | 5.2569 | 222.029 | 6.226 | 235.4 | 15.2 | 975.74 | 38.0878 | 17.1293
2020-11-07 01:30:00 | 5.309 | 237.1 | 5.98 | 246 | 6.3986 | 231.732 | 6.318 | 242.2 | 15.47 | 976.037 | 36.3818 | 14.4505
2020-11-07 01:45:00 | 4.663 | 240.6 | 5.284 | 247.2 | 5.6539 | 232.862 | 6.15 | 248.2 | 15.16 | 975.74 | 36.1433 | 15.0454
2020-11-07 02:00:00 | 4.586 | 255.4 | 5.535 | 260.2 | 5.9225 | 245.108 | 6.196 | 262.7 | 15 | 975.889 | 34.1631 | 18.101
2020-11-07 02:15:00 | 5.035 | 270.1 | 6.005 | 282.3 | 6.4253 | 265.927 | 8.06 | 275.8 | 15.08 | 976.037 | 29.1467 | 23.8576
2020-11-07 02:30:00 | 4.885 | 275.6 | 6.322 | 282.1 | 6.7645 | 265.738 | 8.31 | 281.2 | 14.97 | 975.889 | 27.6449 | 23.3588
2020-11-07 02:45:00 | 3.197 | 280.5 | 4.198 | 290.6 | 4.4919 | 273.745 | 5.465 | 285.7 | 14.56 | 975.443 | 29.7603 | 21.0606
2020-11-07 03:00:00 | 3.508 | 283 | 4.364 | 295.2 | 4.6695 | 278.078 | 5.933 | 286.6 | 14.64 | 975.443 | 29.4883 | 22.3538
2020-11-07 03:15:00 | 4.647 | 287.2 | 5.524 | 300.2 | 5.9107 | 282.788 | 6.944 | 292.9 | 14.59 | 975.443 | 29.2153 | 22.6716
2020-11-07 03:30:00 | 4.612 | 301.4 | 6.24 | 313.8 | 6.6768 | 295.6 | 8.17 | 304.2 | 14.71 | 975.443 | 25.7362 | 22.3095
2020-11-07 03:45:00 | 5.017 | 301.6 | 6.23 | 315.6 | 6.6661 | 297.295 | 7.227 | 303.4 | 15.14 | 975.889 | 23.8922 | 14.3656
2020-11-07 04:00:00 | 3.442 | 297.9 | 4.722 | 310.3 | 5.0525 | 292.303 | 6.751 | 300.5 | 14.71 | 976.037 | 25.5989 | 11.3321
2020-11-07 04:15:00 | 3.851 | 296.9 | 5.054 | 307.4 | 5.4078 | 289.571 | 7.217 | 299.4 | 14.81 | 976.037 | 22.2535 | 10.1645
2020-11-07 04:30:00 | 4.68 | 298.6 | 5.604 | 312 | 5.9963 | 293.904 | 6.888 | 301.1 | 14.95 | 976.037 | 22.1861 | 5.9487
2020-11-07 04:45:00 | 2.799 | 279.3 | 3.868 | 293.2 | 4.1388 | 276.194 | 5.032 | 283.3 | 14.47 | 976.037 | 24.3703 | 5.0287
2020-11-07 05:00:00 | 3.2 | 279 | 4.006 | 289.2 | 4.2864 | 272.426 | 5.546 | 286.6 | 14.34 | 976.037 | 23.8253 | 6.1224
2020-11-07 05:15:00 | 3.222 | 272.3 | 3.781 | 283.6 | 4.0457 | 267.151 | 4.871 | 278.9 | 14.03 | 976.037 | 25.7382 | 10.1239
2020-11-07 05:30:00 | 3.56 | 278.3 | 4.78 | 286.5 | 5.1146 | 269.883 | 7.023 | 284.5 | 14.41 | 976.037 | 21.2323 | 13.815
2020-11-07 05:45:00 | 3.297 | 274.6 | 4.195 | 285.2 | 4.4886 | 268.658 | 6.078 | 281.5 | 14.48 | 976.334 | 20.4813 | 14.5836
2020-11-07 06:00:00 | 3.312 | 277.1 | 4.637 | 284.7 | 4.9616 | 268.187 | 6.687 | 282.1 | 14.42 | 976.631 | 20.2082 | 18.4299
2020-11-07 06:15:00 | 4.014 | 280 | 5.854 | 289.3 | 6.2638 | 272.521 | 7.925 | 284.5 | 14.23 | 976.631 | 20.8227 | 19.143
2020-11-07 06:30:00 | 3.736 | 292.3 | 4.566 | 305.7 | 4.8856 | 287.969 | 6.374 | 294.1 | 14.1 | 976.631 | 23.1439 | 16.8005
2020-11-07 06:45:00 | 4.073 | 290.1 | 5.507 | 304.3 | 5.8925 | 286.651 | 8.15 | 290.7 | 13.8 | 976.928 | 21.7785 | 15.0122
2020-11-07 07:00:00 | 4.369 | 291.8 | 5.755 | 303.1 | 6.1578 | 285.52 | 7.869 | 296 | 14.06 | 977.225 | 21.3001 | 15.947
2020-11-07 07:15:00 | 4.936 | 293.1 | 5.89 | 306.8 | 6.3023 | 289.006 | 8.4 | 294.5 | 14.41 | 977.671 | 21.2283 | 14.2621
2020-11-07 07:30:00 | 4.706 | 292.2 | 5.509 | 306.2 | 5.8946 | 288.44 | 6.83 | 293.8 | 14.15 | 978.116 | 21.843 | 9.4625
2020-11-07 07:45:00 | 3.051 | 329.6 | 3.124 | 346.9 | 3.3427 | 326.78 | 3.788 | 325.5 | 13.99 | 978.173 | 24.6375 | 3.85
2020-11-07 08:00:00 | 2.227 | 318.1 | 2.683 | 334.7 | 2.8708 | 315.287 | 5.016 | 313.4 | 14.06 | 978.263 | 21.3615 | 3.3217
2020-11-07 08:15:00 | 2.642 | 328.8 | 3.126 | 341.4 | 3.3448 | 321.599 | 3.85 | 320.9 | 14.57 | 978.708 | 22.9241 | 1.5297
2020-11-07 08:30:00 | 2.573 | 321.4 | 2.868 | 335.8 | 3.0688 | 316.324 | 3.55 | 315.6 | 14.88 | 979.005 | 25.209 | 0.76853
2020-11-07 08:45:00 | 2.777 | 329.9 | 3.083 | 346.7 | 3.2988 | 326.591 | 3.051 | 328.1 | 15.03 | 979.085 | 22.4459 | 0.40643
2020-11-07 09:00:00 | 2.748 | 328.2 | 2.96 | 339 | 3.1672 | 319.338 | 3.052 | 335 | 15.38 | 979.152 | 21.2826 | 0.72419
2020-11-07 09:15:00 | 2.49 | 1.167 | 2.771 | 8.17 | 2.965 | 7.6961 | 3.132 | 352.6 | 15.72 | 979.299 | 20.6667 | 0.47294
2020-11-07 09:30:00 | 2.929 | 346.2 | 2.997 | 342.6 | 3.2068 | 322.729 | 2.69 | 349.8 | 16.32 | 979.32 | 20.9037 | 0.74636
2020-11-07 09:45:00 | 3.373 | 359.8 | 2.817 | 353.4 | 3.0142 | 332.903 | 2.806 | 358.4 | 16.33 | 979.297 | 21.1765 | 1.3634
2020-11-07 10:00:00 | 1.99 | 12.18 | 3.284 | 25.15 | 3.5139 | 23.6913 | 2.11 | 14.19 | 16.69 | 979 | 21.7875 | 1.7846
2020-11-07 10:15:00 | 0.843 | 21.37 | 2.95 | 31.96 | 3.1565 | 30.1063 | 3.844 | 17 | 16.97 | 979.297 | 22.6728 | 1.622
2020-11-07 10:30:00 | 1.668 | 17.44 | 2.614 | 37.3 | 2.797 | 35.1366 | 3.216 | 16.55 | 17.49 | 979.593 | 22.5706 | 1.9213
2020-11-07 10:45:00 | 3.269 | 354.9 | 3.855 | 8.49 | 4.1249 | 7.9976 | 4.222 | 356.5 | 17.32 | 979.297 | 21.4762 | 5.7233
2020-11-07 11:00:00 | 3.996 | 323.2 | 4.238 | 336.3 | 4.5347 | 316.795 | 4.245 | 325.5 | 17.35 | 979.297 | 20.8627 | 11.5094
2020-11-07 11:15:00 | 5.684 | 311.8 | 6.381 | 323.7 | 6.8277 | 304.925 | 6.578 | 314.8 | 17.24 | 979.148 | 19.1609 | 20.2219
2020-11-07 11:30:00 | 5.061 | 335.4 | 5.481 | 345.7 | 5.8647 | 325.649 | 5.118 | 333.3 | 17.33 | 978.703 | 19.7409 | 23.1667
2020-11-07 11:45:00 | 4.913 | 349.4 | 4.985 | 1.609 | 5.3339 | 1.5157 | 5.297 | 341.8 | 17.43 | 978.703 | 20.9001 | 20.3955
2020-11-07 12:00:00 | 5.748 | 315.1 | 6.197 | 321.7 | 6.6308 | 303.041 | 5.954 | 320.1 | 17.41 | 978.852 | 22.0605 | 18.6442
2020-11-07 12:15:00 | 2.936 | 359.3 | 3.844 | 7.656 | 4.1131 | 7.2119 | 4.581 | 350.7 | 17.52 | 978.703 | 17.084 | 20.6357
2020-11-07 12:30:00 | 4.844 | 304.5 | 5.839 | 318 | 6.2477 | 299.556 | 5.974 | 305.6 | 17.4 | 978.703 | 16.3682 | 16.915
2020-11-07 12:45:00 | 6.583 | 291 | 7.135 | 302.8 | 7.6345 | 285.238 | 7.036 | 293.8 | 17.28 | 978.852 | 17.0503 | 18.0182
2020-11-07 13:00:00 | 5.817 | 306.3 | 6.251 | 312.5 | 6.6886 | 294.375 | 5.862 | 307.2 | 17.63 | 978.861 | 17.4254 | 18.3523
2020-11-07 13:15:00 | 4.509 | 296.2 | 5.113 | 303.3 | 5.4709 | 285.709 | 5.078 | 301.1 | 17.36 | 978.939 | 17.2213 | 14.7055
2020-11-07 13:30:00 | 4.09 | 317.7 | 4.504 | 338.8 | 4.8193 | 319.15 | 4.864 | 318.8 | 17.82 | 978.927 | 17.255 | 10.7853
2020-11-07 13:45:00 | 2.429 | 357 | 3.05 | 12.27 | 3.2635 | 11.5583 | 2.825 | 341.6 | 17.69 | 979.707 | 16.3002 | 13.4012
2020-11-07 14:00:00 | 5.023 | 302 | 6.519 | 317.8 | 6.9753 | 299.368 | 6.758 | 304 | 17.75 | 979.523 | 16.5388 | 13.1647
2020-11-07 14:15:00 | 5.597 | 303.4 | 6.639 | 315 | 7.1037 | 296.73 | 6.114 | 307.9 | 17.57 | 979.399 | 16.8802 | 12.4479
2020-11-07 14:30:00 | 6.049 | 308.4 | 6.304 | 319 | 6.7453 | 300.498 | 6.048 | 308.1 | 17.42 | 979.447 | 16.8141 | 13.9554
2020-11-07 14:45:00 | 5.6 | 309.4 | 5.9 | 321.9 | 6.313 | 303.23 | 5.885 | 311.4 | 17.55 | 979.151 | 16.7803 | 15.9913
2020-11-07 15:00:00 | 5.033 | 308.5 | 6.394 | 323.1 | 6.8416 | 304.36 | 5.987 | 308.2 | 17.58 | 979.151 | 17.1896 | 18.7292
2020-11-07 15:15:00 | 2.517 | 316.1 | 3.105 | 332.3 | 3.3224 | 313.027 | 3.355 | 312.9 | 17.51 | 979.299 | 17.2237 | 15.0195
2020-11-07 15:30:00 | 4.305 | 307.8 | 5.034 | 321.5 | 5.3864 | 302.853 | 4.02 | 309.8 | 17.49 | 979.151 | 17.2578 | 15.5136
2020-11-07 15:45:00 | 3.327 | 314.8 | 3.791 | 324.8 | 4.0564 | 305.962 | 3.595 | 313.6 | 17.3 | 979.151 | 17.6672 | 11.7829
2020-11-07 16:00:00 | 3.2 | 306.6 | 4.208 | 319 | 4.5026 | 300.498 | 3.35 | 310.5 | 17.16 | 979.311 | 17.9421 | 8.1915
2020-11-07 16:15:00 | 2.206 | 322.6 | 2.243 | 333.2 | 2.4 | 313.874 | 2.261 | 317.6 | 16.82 | 978.937 | 18.3524 | 7.5892
2020-11-07 16:30:00 | 2.776 | 302.4 | 3.285 | 314.4 | 3.5149 | 296.165 | 3.853 | 303.7 | 16.53 | 979.004 | 19.2393 | 6.0115
2020-11-07 16:45:00 | 2.16 | 284.5 | 2.592 | 294.5 | 2.7734 | 277.419 | 3.229 | 284.6 | 16.15 | 978.559 | 19.6499 | 5.6383
2020-11-07 17:00:00 | 3.343 | 291 | 4.244 | 304.9 | 4.5411 | 287.216 | 5.108 | 292.6 | 16.05 | 978.411 | 19.4846 | 7.2641
2020-11-07 17:15:00 | 3.432 | 300 | 3.965 | 313 | 4.2425 | 294.846 | 4.693 | 304 | 15.95 | 978.732 | 19.7236 | 6.7948
2020-11-07 17:30:00 | 3.22 | 320.7 | 2.855 | 331.4 | 3.0549 | 312.179 | 2.452 | 317.8 | 15.92 | 978.977 | 19.8605 | 5.5386
2020-11-07 17:45:00 | 2.788 | 344.8 | 3.377 | 0.264 | 3.6134 | 0.24869 | 3.942 | 347.3 | 15.71 | 979.007 | 20.3411 | 3.0815
2020-11-07 18:00:00 | 3.128 | 338.7 | 3.794 | 352.4 | 4.0596 | 331.961 | 3.338 | 337.6 | 15.73 | 979.304 | 20.2048 | 2.0433
2020-11-07 18:15:00 | 2.579 | 341.2 | 3.333 | 354.5 | 3.5663 | 333.939 | 3.096 | 340.7 | 15.67 | 979.453 | 19.7611 | 0.55053
2020-11-07 18:30:00 | 3.054 | 351.5 | 3.395 | 6.274 | 3.6326 | 5.9101 | 3.196 | 354.7 | 15.77 | 979.453 | 20.2045 | 0.39165
2020-11-07 18:45:00 | 2.967 | 351.2 | 3.267 | 7.227 | 3.4957 | 6.8078 | 3.842 | 353.7 | 15.73 | 979.601 | 20.5449 | -0.24755
2020-11-07 19:00:00 | 1.56 | 6.281 | 2.797 | 29.02 | 2.9928 | 27.3368 | 2.681 | 4.06 | 15.6 | 979.453 | 20.8181 | -0.27342
2020-11-07 19:15:00 | 1.759 | 5.907 | 2.863 | 26.04 | 3.0634 | 24.5297 | 2.668 | 5.209 | 15.5 | 979.601 | 20.5453 | -0.18474
2020-11-07 19:30:00 | 2.006 | 6.613 | 2.587 | 19.54 | 2.7681 | 18.4067 | 3.71 | 72.18 | 15.56 | 979.601 | 19.9314 | -0.15888
2020-11-07 19:45:00 | 2.316 | 16.27 | 2.566 | 17.41 | 2.7456 | 16.4002 | 3.69 | 3.961 | 15.47 | 979.601 | 20.0681 | -0.19583
2020-11-07 20:00:00 | 2.76 | 2.82 | 2.835 | 14.49 | 3.0335 | 13.6496 | 3.904 | 355.3 | 15.5 | 979.601 | 19.9317 | -0.23278
2020-11-07 20:15:00 | 2.393 | 6.055 | 3.229 | 21.88 | 3.455 | 20.611 | 2.531 | 8.14 | 15.43 | 979.601 | 19.9317 | -0.18474
2020-11-07 20:30:00 | 2.561 | 8.77 | 3.489 | 28.41 | 3.7332 | 26.7622 | 3.41 | 12.99 | 15.32 | 979.75 | 19.9317 | -0.18474
2020-11-07 20:45:00 | 1.583 | 8.73 | 2.822 | 28.8 | 3.0195 | 27.1296 | 2.48 | 12.98 | 15.33 | 979.898 | 19.4536 | -0.27711
2020-11-07 21:00:00 | 1.713 | 11.36 | 2.727 | 30.21 | 2.9179 | 28.4578 | 2.238 | 13.97 | 15.49 | 980.195 | 19.3859 | -0.25864
2020-11-07 21:15:00 | 1.546 | 21.39 | 2.61 | 40.54 | 2.7927 | 38.1887 | 3.193 | 24.98 | 15.29 | 980.195 | 19.3866 | -0.26972
2020-11-07 21:30:00 | 1.333 | 18.52 | 2.595 | 41.02 | 2.7767 | 38.6408 | 2.941 | 20.97 | 15.29 | 980.195 | 19.1478 | -0.26972
2020-11-07 21:45:00 | 1.117 | 23.63 | 2.612 | 42.21 | 2.7948 | 39.7618 | 2.786 | 23.55 | 15.29 | 980.195 | 19.1147 | -0.25864
2020-11-07 22:00:00 | 1.387 | 17.74 | 2.49 | 37.43 | 2.6643 | 35.2591 | 2.444 | 19.41 | 15.38 | 980.344 | 18.9096 | -0.25864
2020-11-07 22:15:00 | 1.378 | 13.98 | 2.403 | 36.7 | 2.5712 | 34.5714 | 2.432 | 17.75 | 15.43 | 980.64 | 18.8418 | -0.26972
2020-11-07 22:30:00 | 2.16 | 6.65 | 2.937 | 24.72 | 3.1426 | 23.2862 | 2.101 | 10 | 15.41 | 980.789 | 18.7731 | -0.25864
2020-11-07 22:45:00 | 2.612 | 40.33 | 2.82 | 16.6 | 3.0174 | 15.6372 | 3.109 | 2.318 | 15.38 | 981.086 | 18.7719 | -0.25864
2020-11-07 23:00:00 | 3.332 | 356.1 | 3.313 | 10.88 | 3.5449 | 10.249 | 3.651 | 4.435 | 15.38 | 981.383 | 18.9427 | -0.25864
2020-11-07 23:15:00 | 2.469 | 341.4 | 2.837 | 18.7 | 3.0356 | 17.6154 | 3.14 | 340.8 | 15.16 | 981.383 | 19.2153 | -0.25864
2020-11-07 23:30:00 | 2.027 | 339.2 | 2.531 | 358.3 | 2.7082 | 337.519 | 3.432 | 337.5 | 14.98 | 981.383 | 19.864 | -0.26972
2020-11-07 23:45:00 | 2.87 | 348.2 | 3.438 | 0.298 | 3.6787 | 0.28072 | 3.687 | 347.8 | 14.73 | 981.68 | 20.0696 | -0.18474