## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-08 00:00:00 | 2.885 | 347.2 | 3.512 | 4.117 | 3.7578 | 3.8782 | 3.942 | 348.1 | 14.66 | 981.68 | 20.4111 | -0.092371
2020-11-08 00:15:00 | 3.202 | 350.1 | 3.645 | 5.87 | 3.9002 | 5.5295 | 4.367 | 349.1 | 14.56 | 981.977 | 21.2317 | 0.17735
2020-11-08 00:30:00 | 4.216 | 339.7 | 4.09 | 357.8 | 4.3763 | 337.048 | 5.386 | 342.8 | 12.39 | 981.383 | 27.1719 | 18.7334
2020-11-08 00:45:00 | 4.612 | 5.922 | 5.688 | 23.3 | 6.0862 | 21.9486 | 5.709 | 5.408 | 11.78 | 981.383 | 27.9229 | 21.1715
2020-11-08 01:00:00 | 4.701 | 7.519 | 6.575 | 23.84 | 7.0352 | 22.4573 | 6.114 | 13.29 | 11.55 | 981.383 | 28.3666 | 23.8318
2020-11-08 01:15:00 | 4.594 | 18.4 | 6.739 | 32.68 | 7.2107 | 30.7846 | 6.832 | 23.21 | 11.15 | 981.271 | 29.0835 | 28.4577
2020-11-08 01:30:00 | 4.88 | 23.58 | 7.104 | 38.16 | 7.6013 | 35.9467 | 7.54 | 30.06 | 11.12 | 981.393 | 28.0605 | 35.4151
2020-11-08 01:45:00 | 3.945 | 36.38 | 6.534 | 48.71 | 6.9914 | 45.8848 | 7.385 | 42.98 | 10.97 | 981.577 | 28.61 | 45.9676
2020-11-08 02:00:00 | 4.829 | 39.1 | 8.69 | 52.68 | 9.2983 | 49.6246 | 8.98 | 44.14 | 11.16 | 981.731 | 25.6748 | 48.214
2020-11-08 02:15:00 | 6.984 | 40.14 | 10.53 | 54.49 | 11.2671 | 51.3296 | 11.12 | 45.08 | 11.16 | 981.318 | 21.9871 | 42.1951
2020-11-08 02:30:00 | 5.962 | 28.49 | 9.05 | 41.63 | 9.6835 | 39.2155 | 8.98 | 34.84 | 11.08 | 981.782 | 20.4849 | 38.4855
2020-11-08 02:45:00 | 5.518 | 30.09 | 8.64 | 45.51 | 9.2448 | 42.8704 | 8.71 | 35.77 | 10.97 | 981.942 | 19.3923 | 35.4447
2020-11-08 03:00:00 | 5.439 | 32.47 | 8.64 | 49.11 | 9.2448 | 46.2616 | 8.64 | 38.33 | 10.81 | 981.661 | 18.6414 | 33.5196
2020-11-08 03:15:00 | 6.092 | 34.41 | 9.81 | 48.62 | 10.4967 | 45.8 | 10.2 | 39.37 | 10.93 | 981.676 | 18.9143 | 35.1712
2020-11-08 03:30:00 | 6.432 | 35.49 | 9.03 | 52.43 | 9.6621 | 49.3891 | 8.62 | 38.98 | 10.83 | 981.683 | 18.6421 | 32.7918
2020-11-08 03:45:00 | 5.229 | 29.78 | 8.28 | 40.19 | 8.8596 | 37.859 | 8.25 | 36.58 | 10.47 | 981.831 | 18.9839 | 33.8965
2020-11-08 04:00:00 | 5.339 | 32.44 | 8.52 | 50.07 | 9.1164 | 47.1659 | 9 | 37.87 | 10.6 | 981.832 | 17.6191 | 29.4368
2020-11-08 04:15:00 | 3.833 | 27.5 | 7.856 | 37.49 | 8.4059 | 35.3156 | 7.93 | 35.12 | 10.4 | 981.98 | 19.0534 | 24.9661
2020-11-08 04:30:00 | 4.637 | 24.08 | 7.774 | 35.79 | 8.3182 | 33.7142 | 7.851 | 30 | 10.22 | 981.98 | 21.1027 | 23.1113
2020-11-08 04:45:00 | 5.023 | 21.59 | 8.05 | 33.75 | 8.6135 | 31.7925 | 7.983 | 28.05 | 9.89 | 981.683 | 22.3322 | 25.2025
2020-11-08 05:00:00 | 5.538 | 21.92 | 8.24 | 35.38 | 8.8168 | 33.328 | 8.3 | 26.99 | 9.55 | 981.683 | 23.7664 | 24.5929
2020-11-08 05:15:00 | 5.247 | 24.28 | 7.736 | 36.78 | 8.2775 | 34.6468 | 7.655 | 30.46 | 9.21 | 981.683 | 23.2201 | 23.1445
2020-11-08 05:30:00 | 4.379 | 23.25 | 7.214 | 37.07 | 7.719 | 34.9199 | 7.578 | 30.1 | 9.25 | 981.87 | 22.0591 | 13.9998
2020-11-08 05:45:00 | 3.746 | 21.25 | 6.608 | 33.33 | 7.0706 | 31.3969 | 6.649 | 27.25 | 9.16 | 982.062 | 21.3761 | 9.7876
2020-11-08 06:00:00 | 4.359 | 18.67 | 6.023 | 31.61 | 6.4446 | 29.7766 | 6.18 | 24.77 | 9.04 | 982.323 | 22.6737 | 7.4082
2020-11-08 06:15:00 | 3.925 | 23.64 | 6.133 | 36.52 | 6.5623 | 34.4018 | 6.134 | 29.01 | 8.65 | 982.279 | 24.825 | 7.5005
2020-11-08 06:30:00 | 4.091 | 21.35 | 6.008 | 33.74 | 6.4286 | 31.7831 | 5.844 | 28.4 | 8.32 | 982.578 | 26.225 | 7.6779
2020-11-08 06:45:00 | 3.978 | 19.97 | 5.709 | 30.28 | 6.1086 | 28.5238 | 5.882 | 26.08 | 7.926 | 982.578 | 26.9769 | 9.9207
2020-11-08 07:00:00 | 3.733 | 18.18 | 5.565 | 27.87 | 5.9546 | 26.2535 | 6.142 | 26.23 | 7.8 | 982.875 | 29.2311 | 9.9022
2020-11-08 07:15:00 | 3.576 | 18.19 | 5.87 | 28.95 | 6.2809 | 27.2709 | 6.089 | 25.81 | 7.919 | 983.469 | 29.7764 | 9.784
2020-11-08 07:30:00 | 3.371 | 12.53 | 5.177 | 24.04 | 5.5394 | 22.6457 | 5.816 | 21.93 | 7.978 | 983.578 | 33.2594 | 9.0302
2020-11-08 07:45:00 | 3.646 | 15.13 | 5.66 | 26.51 | 6.0562 | 24.9724 | 5.882 | 23.37 | 7.842 | 984.06 | 34.8301 | 6.7061
2020-11-08 08:00:00 | 3.377 | 11.69 | 4.947 | 24.03 | 5.2933 | 22.6363 | 5.169 | 19.17 | 8.1 | 984.505 | 35.8505 | 6.6064
2020-11-08 08:15:00 | 2.533 | 8 | 4.555 | 23.77 | 4.8739 | 22.3913 | 4.146 | 15.25 | 8.48 | 984.478 | 36.2546 | 5.1284
2020-11-08 08:30:00 | 4.461 | 6.172 | 4.709 | 18.03 | 5.0386 | 16.9843 | 4.393 | 6.701 | 8.59 | 984.857 | 36.6616 | 3.7761
2020-11-08 08:45:00 | 4.637 | 5.16 | 4.545 | 14.92 | 4.8632 | 14.0546 | 3.677 | 7.756 | 8.79 | 984.95 | 37.276 | 3.8205
2020-11-08 09:00:00 | 4.997 | 6.206 | 4.402 | 16.35 | 4.7101 | 15.4017 | 4.176 | 5.653 | 8.86 | 985.244 | 37.5491 | 4.9104
2020-11-08 09:15:00 | 5.245 | 11.17 | 5.246 | 18.49 | 5.6132 | 17.4176 | 4.698 | 8.67 | 9.15 | 985.392 | 36.8656 | 5.424
2020-11-08 09:30:00 | 4.413 | 3.047 | 4.325 | 20.78 | 4.6277 | 19.5748 | 4.543 | 0.719 | 9.46 | 985.541 | 36.1434 | 5.6642
2020-11-08 09:45:00 | 3.756 | 6.741 | 4.543 | 30.28 | 4.861 | 28.5238 | 4.51 | 7.087 | 9.69 | 985.541 | 34.7435 | 5.2762
2020-11-08 10:00:00 | 4.231 | 10.37 | 4.74 | 31.69 | 5.0718 | 29.852 | 4.558 | 6.875 | 9.98 | 985.838 | 34.3343 | 5.7085
2020-11-08 10:15:00 | 3.954 | 8.24 | 5.519 | 25.08 | 5.9053 | 23.6254 | 4.673 | 0.767 | 10.34 | 985.838 | 33.1387 | 7.8035
2020-11-08 10:30:00 | 4.297 | 13.46 | 5.66 | 30.04 | 6.0562 | 28.2977 | 5.241 | 12.53 | 10.61 | 985.779 | 32.9982 | 8.9711
2020-11-08 10:45:00 | 4.057 | 11.46 | 5.489 | 35.95 | 5.8732 | 33.8649 | 4.673 | 1.599 | 10.72 | 985.628 | 31.7011 | 10.4047
2020-11-08 11:00:00 | 4.559 | 10.5 | 5.857 | 29.14 | 6.267 | 27.4499 | 5.123 | 2.721 | 11.01 | 985.264 | 29.3465 | 13.5712
2020-11-08 11:15:00 | 4.066 | 20.67 | 6.056 | 39.09 | 6.4799 | 36.8228 | 5.276 | 8.61 | 11.27 | 985.24 | 26.2754 | 15.4297
2020-11-08 11:30:00 | 3.912 | 13.27 | 5.88 | 37.26 | 6.2916 | 35.0989 | 4.94 | 2.435 | 11.48 | 985.239 | 25.7294 | 18.8844
2020-11-08 11:45:00 | 4.829 | 11.73 | 6.759 | 34.92 | 7.2321 | 32.8946 | 5.788 | 4.311 | 11.77 | 985.239 | 23.5114 | 20.8833
2020-11-08 12:00:00 | 5.168 | 357.9 | 5.834 | 25.95 | 6.2424 | 24.4449 | 6.15 | 356.1 | 11.63 | 985.091 | 20.2696 | 24.4488
2020-11-08 12:15:00 | 6.187 | 12.37 | 8.56 | 30.14 | 9.1592 | 28.3919 | 6.789 | 13.6 | 11.33 | 984.942 | 21.9417 | 28.5833
2020-11-08 12:30:00 | 4.913 | 15.17 | 7.866 | 36.1 | 8.4166 | 34.0062 | 6.916 | 13.06 | 11.81 | 984.965 | 19.3141 | 30.2017
2020-11-08 12:45:00 | 5.942 | 10.62 | 7.309 | 29.58 | 7.8206 | 27.8644 | 6.45 | 10.68 | 11.41 | 985.153 | 21.1909 | 27.97
2020-11-08 13:00:00 | 6.761 | 10.95 | 8.51 | 32.15 | 9.1057 | 30.2853 | 6.921 | 10.06 | 11.29 | 985.07 | 21.1227 | 24.9476
2020-11-08 13:15:00 | 5.589 | 12.82 | 6.688 | 29.3 | 7.1562 | 27.6006 | 6.353 | 3.611 | 11.68 | 985.148 | 21.9077 | 21.0791
2020-11-08 13:30:00 | 6.141 | 12.65 | 6.928 | 34.31 | 7.413 | 32.32 | 6.137 | 3.765 | 11.65 | 984.907 | 22.4877 | 18.1269
2020-11-08 13:45:00 | 6.248 | 7.45 | 6.524 | 23.37 | 6.9807 | 22.0145 | 6.957 | 4.433 | 11.66 | 984.915 | 22.1812 | 18.8548
2020-11-08 14:00:00 | 4.442 | 9.49 | 5.911 | 26.89 | 6.3248 | 25.3304 | 5.704 | 4.352 | 11.9 | 984.946 | 21.8743 | 18.8031
2020-11-08 14:15:00 | 2.633 | 18.84 | 6.041 | 33.82 | 6.4639 | 31.8584 | 5.694 | 20.17 | 11.83 | 985.312 | 21.6346 | 14.6353
2020-11-08 14:30:00 | 2.927 | 14.7 | 4.791 | 33.23 | 5.1264 | 31.3027 | 4.265 | 8.11 | 11.99 | 985.25 | 21.7028 | 10.8074
2020-11-08 14:45:00 | 4.857 | 4.91 | 5.299 | 21.46 | 5.6699 | 20.2153 | 5.475 | 358.1 | 11.91 | 984.942 | 21.1568 | 8.9452
2020-11-08 15:00:00 | 3.961 | 1.29 | 4.486 | 17.87 | 4.8 | 16.8335 | 4.418 | 0.135 | 11.62 | 984.942 | 21.8393 | 5.8305
2020-11-08 15:15:00 | 3.442 | 5.536 | 4.694 | 24.99 | 5.0226 | 23.5406 | 4.81 | 4.954 | 11.7 | 984.942 | 21.498 | 5.642
2020-11-08 15:30:00 | 3.164 | 357.7 | 3.346 | 15.8 | 3.5802 | 14.8836 | 3.817 | 352.2 | 11.49 | 984.645 | 21.9417 | 4.6666
2020-11-08 15:45:00 | 3.289 | 5.204 | 4.034 | 18.65 | 4.3164 | 17.5683 | 4.128 | 358.9 | 11.5 | 984.567 | 22.1123 | 5.7233
2020-11-08 16:00:00 | 4.821 | 355.7 | 4.392 | 11.79 | 4.6994 | 11.1062 | 5.281 | 1.65 | 11.31 | 984.348 | 22.3867 | 5.1728
2020-11-08 16:15:00 | 3.84 | 350.1 | 4.106 | 11.36 | 4.3934 | 10.7011 | 4.945 | 349.6 | 11.19 | 984.056 | 22.4232 | 6.1371
2020-11-08 16:30:00 | 3.054 | 342.4 | 3.612 | 13.03 | 3.8648 | 12.2743 | 5.07 | 342.4 | 10.84 | 983.759 | 23.4812 | 7.1052
2020-11-08 16:45:00 | 2.855 | 352.1 | 3.328 | 8.74 | 3.561 | 8.2331 | 3.916 | 353.2 | 10.55 | 983.313 | 23.8266 | 6.6396
2020-11-08 17:00:00 | 3.963 | 347.5 | 4.525 | 4.724 | 4.8418 | 4.45 | 5.345 | 351.1 | 10.53 | 983.25 | 24.3045 | 7.1606
2020-11-08 17:15:00 | 3.281 | 346.5 | 3.909 | 4.67 | 4.1826 | 4.3991 | 4.836 | 349.3 | 10.21 | 983.241 | 25.2644 | 6.3182
2020-11-08 17:30:00 | 3.275 | 359.4 | 3.875 | 12.61 | 4.1463 | 11.8786 | 5.248 | 359.3 | 9.86 | 983.314 | 26.5632 | 5.7972
2020-11-08 17:45:00 | 2.837 | 12.8 | 3.732 | 28.05 | 3.9932 | 26.4231 | 3.998 | 9.04 | 9.71 | 983.168 | 26.5664 | 5.8896
2020-11-08 18:00:00 | 2.967 | 17.45 | 4.466 | 35.5 | 4.7786 | 33.441 | 4.367 | 19.14 | 9.66 | 983.168 | 25.6104 | 3.5471
2020-11-08 18:15:00 | 3.123 | 10.17 | 4.034 | 24.94 | 4.3164 | 23.4935 | 3.865 | 12.12 | 9.71 | 983.329 | 25.6787 | 3.6062
2020-11-08 18:30:00 | 2.584 | 16.1 | 3.819 | 32.33 | 4.0863 | 30.4549 | 4.219 | 21.18 | 9.54 | 983.388 | 25.4396 | 2.4718
2020-11-08 18:45:00 | 2.559 | 34.39 | 3.436 | 48.69 | 3.6765 | 45.866 | 3.764 | 38.72 | 9.59 | 983.603 | 24.6543 | 1.526
2020-11-08 19:00:00 | 2.153 | 23.01 | 3.221 | 37.51 | 3.4465 | 35.3344 | 3.736 | 27.83 | 9.73 | 983.439 | 23.6981 | 1.2341
2020-11-08 19:15:00 | 2.081 | 43.3 | 2.702 | 57.88 | 2.8911 | 54.523 | 2.944 | 46.94 | 9.73 | 983.469 | 23.6981 | 0.43599
2020-11-08 19:30:00 | 2.194 | 34.81 | 2.426 | 53.14 | 2.5958 | 50.0579 | 3.191 | 43.36 | 9.79 | 983.172 | 23.2884 | 0.21061
2020-11-08 19:45:00 | 2.334 | 36.49 | 3.142 | 54.99 | 3.3619 | 51.8006 | 2.612 | 40.57 | 9.74 | 983.172 | 22.9469 | -0.044338
2020-11-08 20:00:00 | 1.471 | 27.91 | 2.543 | 39.99 | 2.721 | 37.6706 | 2.977 | 36.11 | 9.59 | 983.172 | 23.0836 | -0.24386
2020-11-08 20:15:00 | 1.77 | 7.459 | 2.901 | 29.12 | 2.4375 | 39.4133 | 1.841 | 13.81 | 9.74 | 983.172 | 21.8543 | -0.25864
2020-11-08 20:30:00 | 1.54 | 13.37 | 2.72 | 36.37 | 2.9104 | 34.2605 | 1.945 | 13.79 | 9.91 | 983.172 | 21.889 | -0.28081
2020-11-08 20:45:00 | 1.151 | 345.5 | 1.884 | 6.622 | 2.0159 | 6.2379 | 1.764 | 347.5 | 9.89 | 983.172 | 20.6935 | -0.26972
2020-11-08 21:00:00 | 0.019 | 31.11 | 0.888 | 43.64 | 0.95016 | 41.1089 | 0.187 | 14.92 | 9.89 | 983.172 | 21.3081 | -0.26972
2020-11-08 21:15:00 | 0.022 | 21.69 | 1.623 | 43.6 | 1.7366 | 41.0712 | 1.311 | 14.92 | 10.2 | 983.172 | 20.8323 | -0.25864
2020-11-08 21:30:00 | 0 | 5.511 | 1.112 | 42.92 | 1.1898 | 40.4306 | 0.868 | 10.76 | 10.2 | 983.172 | 20.2185 | -0.25864
2020-11-08 21:45:00 | 0.443 | 1.853 | 0.913 | 42.72 | 0.97691 | 40.2422 | 0.8 | 9.17 | 10.09 | 983.321 | 20.9712 | -0.26972
2020-11-08 22:00:00 | 0 | 1.853 | 0.03 | 42.73 | 0.0321 | 40.2517 | 0 | 9.17 | 9.94 | 983.172 | 21.3479 | -0.25864
2020-11-08 22:15:00 | 0 | 1.854 | 0.019 | 42.73 | 0.02033 | 40.2517 | 0 | 9.17 | 9.99 | 983.024 | 21.1098 | -0.25864
2020-11-08 22:30:00 | 0.16 | 24.68 | 0.57 | 42.74 | 0.6099 | 40.2611 | 0 | 9.17 | 9.94 | 982.578 | 21.1099 | -0.25864
2020-11-08 22:45:00 | 0 | 24.78 | 0.049 | 42.74 | 0.05243 | 40.2611 | 0 | 9.17 | 9.94 | 982.578 | 20.8027 | -0.25864
2020-11-08 23:00:00 | 0 | 24.78 | 0 | 42.73 | 0 | 40.2517 | 0 | 9.17 | 9.82 | 982.281 | 21.0418 | -0.25864
2020-11-08 23:15:00 | 0 | 24.78 | 0 | 42.73 | 0 | 40.2517 | 0 | 9.17 | 9.86 | 981.984 | 19.4364 | -0.26972
2020-11-08 23:30:00 | 0 | 24.77 | 0 | 42.73 | 0 | 40.2517 | 0 | 9.17 | 9.58 | 981.984 | 18.9923 | -0.25864
2020-11-08 23:45:00 | 0.007 | 229 | 1.47 | 41.28 | 1.5729 | 38.8858 | 0.247 | 305.1 | 9.72 | 982.281 | 20.427 | -0.25864