## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-09 00:00:00 | 1.721 | 212.7 | 1.843 | 216.8 | 1.972 | 204.226 | 1.314 | 222.1 | 9.81 | 982.429 | 19.4022 | -0.25864
2020-11-09 00:15:00 | 1.655 | 212.7 | 1.848 | 216.3 | 1.9774 | 203.755 | 1.418 | 217.1 | 9.81 | 982.578 | 18.924 | -0.25864
2020-11-09 00:30:00 | 2.416 | 212.7 | 2.492 | 216.9 | 2.6664 | 204.32 | 1.828 | 226.5 | 9.81 | 982.578 | 18.5823 | -0.25864
2020-11-09 00:45:00 | 2.666 | 210.2 | 2.756 | 217.5 | 2.9489 | 204.885 | 2.625 | 213.9 | 9.9 | 982.578 | 18.5112 | -0.25864
2020-11-09 01:00:00 | 2.939 | 204 | 3.269 | 214.4 | 3.4978 | 201.965 | 3.063 | 211.6 | 10 | 982.578 | 18.5082 | -0.25864
2020-11-09 01:15:00 | 2.538 | 204.1 | 3.091 | 211.5 | 3.3074 | 199.233 | 2.485 | 216.2 | 10.06 | 982.578 | 18.9175 | -0.25864
2020-11-09 01:30:00 | 2.385 | 206.4 | 2.845 | 210.8 | 3.0442 | 198.574 | 2.528 | 216.1 | 10.06 | 982.28 | 19.4639 | -0.28081
2020-11-09 01:45:00 | 2.342 | 203.5 | 2.485 | 210.3 | 2.6589 | 198.103 | 2.363 | 209 | 10.33 | 982.573 | 18.5761 | -0.25864
2020-11-09 02:00:00 | 2.382 | 173.4 | 2.464 | 180.5 | 2.6365 | 170.031 | 1.927 | 199.3 | 10.33 | 982.189 | 18.5078 | -0.30298
2020-11-09 02:15:00 | 1.396 | 177.5 | 2.178 | 182.1 | 2.3305 | 171.538 | 1.813 | 185.3 | 10.73 | 981.952 | 17.8931 | 0.38426
2020-11-09 02:30:00 | 1.859 | 187.1 | 2.426 | 192.7 | 2.5958 | 181.523 | 2.06 | 197.4 | 10.47 | 981.865 | 17.6541 | 1.6701
2020-11-09 02:45:00 | 1.729 | 187.5 | 1.904 | 192.8 | 2.0373 | 181.618 | 1.227 | 202.3 | 10.61 | 981.794 | 16.4589 | 2.0728
2020-11-09 03:00:00 | 1.376 | 161.4 | 1.815 | 170.4 | 1.9421 | 160.517 | 0.676 | 194.5 | 10.71 | 981.651 | 16.4589 | 2.2982
2020-11-09 03:15:00 | 1.388 | 186.3 | 2.055 | 186.8 | 2.1989 | 175.966 | 1.461 | 194.8 | 10.83 | 981.378 | 15.9809 | 2.2021
2020-11-09 03:30:00 | 1.68 | 185.9 | 1.477 | 167.1 | 1.5804 | 157.408 | 0.537 | 194.8 | 10.77 | 981.316 | 15.9126 | 3.0113
2020-11-09 03:45:00 | 1.836 | 177.1 | 1.298 | 167.7 | 1.3889 | 157.973 | 0 | 194.8 | 11.12 | 981.316 | 14.6833 | 2.7785
2020-11-09 04:00:00 | 1.121 | 173 | 1.349 | 167.5 | 1.4434 | 157.785 | 0.405 | 194.8 | 11.36 | 981.375 | 14.6833 | 3.1997
2020-11-09 04:15:00 | 1.565 | 166 | 1.537 | 168.2 | 1.6446 | 158.444 | 0.915 | 195.2 | 11.22 | 981.316 | 14.9223 | 1.9102
2020-11-09 04:30:00 | 0.738 | 248.1 | 1.835 | 240 | 1.9634 | 226.08 | 1.803 | 252.9 | 11.27 | 981.357 | 14.2735 | 3.7687
2020-11-09 04:45:00 | 3.475 | 206.7 | 4.254 | 224.4 | 4.5518 | 211.385 | 3.909 | 208.1 | 9.71 | 981.247 | 19.942 | 6.2147
2020-11-09 05:00:00 | 3.853 | 166 | 4.591 | 174.7 | 4.9124 | 164.567 | 3.96 | 181.1 | 8.5 | 981.223 | 23.3567 | 6.8761
2020-11-09 05:15:00 | 2.995 | 149.7 | 4.1 | 161.7 | 4.387 | 152.321 | 3.807 | 160.8 | 8.47 | 981.229 | 23.2884 | 5.0582
2020-11-09 05:30:00 | 4.08 | 161.7 | 4.517 | 167.7 | 4.8332 | 157.973 | 3.354 | 175.2 | 8.49 | 981.092 | 22.4701 | 3.983
2020-11-09 05:45:00 | 3.57 | 155.5 | 3.975 | 165 | 4.2533 | 155.43 | 3.817 | 170.2 | 9.04 | 981.092 | 20.4251 | 2.664
2020-11-09 06:00:00 | 3.498 | 173.3 | 3.694 | 173.9 | 3.9526 | 163.814 | 3.259 | 184.3 | 9.79 | 981.092 | 18.9908 | 1.5962
2020-11-09 06:15:00 | 2.778 | 171.7 | 3.382 | 169.8 | 3.6187 | 159.952 | 3.045 | 188.9 | 10.01 | 981.092 | 18.2712 | 1.9028
2020-11-09 06:30:00 | 1.506 | 154.1 | 2.722 | 169.3 | 2.9125 | 159.481 | 3.168 | 171.5 | 9.91 | 981.389 | 18.7133 | 2.7933
2020-11-09 06:45:00 | 2.645 | 156.5 | 3.712 | 169.7 | 3.9718 | 159.857 | 3.899 | 168.8 | 9.79 | 981.538 | 19.3273 | 7.6299
2020-11-09 07:00:00 | 3.335 | 146.3 | 4.187 | 163.6 | 4.4801 | 154.111 | 4.797 | 150.7 | 9.14 | 981.731 | 21.2395 | 11.3395
2020-11-09 07:15:00 | 4.254 | 149.5 | 5.356 | 162.2 | 5.7309 | 152.792 | 5.052 | 159.9 | 8.74 | 981.98 | 22.9461 | 11.7459
2020-11-09 07:30:00 | 4.507 | 147.9 | 5.374 | 160.1 | 5.7502 | 150.814 | 4.785 | 160.4 | 8.94 | 982.183 | 23.0794 | 11.7311
2020-11-09 07:45:00 | 3.193 | 149.2 | 4.157 | 161.8 | 4.448 | 152.416 | 4.026 | 159.2 | 9.58 | 982.354 | 20.6865 | 8.9452
2020-11-09 08:00:00 | 2.395 | 158.8 | 3.154 | 172.6 | 3.3748 | 162.589 | 3.438 | 170.9 | 10.46 | 982.577 | 19.0135 | 5.9709
2020-11-09 08:15:00 | 3.148 | 164.3 | 3.477 | 173 | 3.7204 | 162.966 | 3.094 | 185.3 | 11.12 | 983.165 | 18.0907 | 5.0841
2020-11-09 08:30:00 | 3.314 | 163.9 | 3.512 | 180.9 | 3.7578 | 170.408 | 3.241 | 173.3 | 11.31 | 983.462 | 19.7952 | 5.7898
2020-11-09 08:45:00 | 3.593 | 159.8 | 3.694 | 171.6 | 3.9526 | 161.647 | 2.834 | 167.9 | 11.47 | 983.258 | 21.5664 | 4.2528
2020-11-09 09:00:00 | 3.557 | 171 | 3.147 | 184.4 | 3.3673 | 173.705 | 2.503 | 182.1 | 12.45 | 983.458 | 17.9492 | 3.8131
2020-11-09 09:15:00 | 2.908 | 168.7 | 2.648 | 182 | 2.8334 | 171.444 | 2.404 | 174.8 | 12.52 | 983.458 | 17.1959 | 3.0039
2020-11-09 09:30:00 | 3.376 | 155.6 | 3.021 | 170.2 | 3.2325 | 160.328 | 1.864 | 165.3 | 12.98 | 983.755 | 16.033 | 2.3019
2020-11-09 09:45:00 | 3.743 | 197.3 | 3.341 | 209.5 | 3.5749 | 197.349 | 2.755 | 195.2 | 13.07 | 983.458 | 16.5444 | 1.2747
2020-11-09 10:00:00 | 2.829 | 196.7 | 2.717 | 213.6 | 2.9072 | 201.211 | 1.999 | 200.1 | 13.36 | 983.428 | 16.0328 | 1.7292
2020-11-09 10:15:00 | 3.605 | 191.4 | 3.505 | 203.6 | 3.7504 | 191.791 | 2.312 | 197.6 | 13.64 | 983.458 | 18.2159 | 0.83873
2020-11-09 10:30:00 | 4.006 | 192.2 | 3.745 | 201.3 | 4.0072 | 189.625 | 2.633 | 202.4 | 13.79 | 983.397 | 16.5785 | 0.099761
2020-11-09 10:45:00 | 3.986 | 187 | 3.776 | 201.2 | 4.0403 | 189.53 | 3.247 | 200 | 14 | 983.176 | 16.8514 | -0.10715
2020-11-09 11:00:00 | 3.978 | 193.3 | 3.719 | 200 | 3.9793 | 188.4 | 2.926 | 207 | 13.79 | 983.045 | 19.0346 | -0.3621
2020-11-09 11:15:00 | 4.234 | 192.9 | 4.042 | 202.3 | 4.3249 | 190.567 | 3.185 | 205.7 | 13.57 | 982.794 | 20.3991 | -0.26972
2020-11-09 11:30:00 | 4.055 | 190.4 | 3.5 | 193.3 | 3.745 | 182.089 | 2.678 | 218.9 | 13.78 | 982.864 | 19.7169 | -0.25864
2020-11-09 11:45:00 | 1.873 | 257 | 2.194 | 258.4 | 2.3476 | 243.413 | 1.756 | 264.4 | 13.87 | 982.864 | 19.9215 | -0.25864
2020-11-09 12:00:00 | 2.257 | 256.8 | 2.454 | 267.4 | 2.6258 | 251.891 | 2.185 | 260.2 | 13.32 | 982.518 | 21.6954 | -0.25864
2020-11-09 12:15:00 | 2.241 | 241.3 | 2.592 | 246.5 | 2.7734 | 232.203 | 2.014 | 246.6 | 13.37 | 982.715 | 21.0131 | -0.25864
2020-11-09 12:30:00 | 2.691 | 253.3 | 2.794 | 261.2 | 2.9896 | 246.05 | 2.218 | 261 | 13.43 | 982.567 | 21.3202 | -0.25864
2020-11-09 12:45:00 | 1.923 | 239.3 | 2.219 | 253.4 | 2.3743 | 238.703 | 1.411 | 257.1 | 14.83 | 982.864 | 19.6145 | -0.26972
2020-11-09 13:00:00 | 3.026 | 246.6 | 3.277 | 255.5 | 3.5064 | 240.681 | 2.847 | 254.1 | 14.45 | 982.864 | 20.8767 | -0.26972
2020-11-09 13:15:00 | 2.723 | 300.4 | 2.96 | 310 | 3.1672 | 292.02 | 1.785 | 301.5 | 14.76 | 982.694 | 20.5015 | -0.25864
2020-11-09 13:30:00 | 1.659 | 310.1 | 1.674 | 337.5 | 1.7912 | 317.925 | 1.749 | 307.3 | 14.66 | 982.582 | 21.1155 | -0.25864
2020-11-09 13:45:00 | 1.031 | 182.6 | 1.319 | 221.3 | 1.4113 | 208.465 | 0.671 | 203.5 | 15.31 | 982.773 | 19.444 | -0.25864
2020-11-09 14:00:00 | 2.469 | 258.4 | 2.403 | 265.8 | 2.5712 | 250.384 | 1.737 | 267.5 | 15.56 | 982.564 | 20.9416 | -0.26972
2020-11-09 14:15:00 | 1.762 | 247.5 | 1.808 | 283.3 | 1.9346 | 266.869 | 0.636 | 248.4 | 14.98 | 982.712 | 19.9186 | -0.26972
2020-11-09 14:30:00 | 2.05 | 165.5 | 2.523 | 177 | 2.6996 | 166.734 | 2.194 | 169.9 | 15.26 | 982.712 | 20.3626 | -0.26972
2020-11-09 14:45:00 | 2.921 | 188.5 | 2.843 | 205.6 | 3.042 | 193.675 | 2.282 | 197.6 | 15.55 | 982.564 | 20.1228 | -0.26972
2020-11-09 15:00:00 | 2.085 | 205.6 | 2.139 | 214.1 | 2.2887 | 201.682 | 1.535 | 209.7 | 15.49 | 982.119 | 20.2947 | -0.25864
2020-11-09 15:15:00 | 1.945 | 176 | 1.919 | 193.4 | 2.0533 | 182.183 | 1.255 | 192.1 | 15.55 | 982.013 | 20.8083 | -0.2845
2020-11-09 15:30:00 | 2.763 | 186.5 | 2.825 | 200.4 | 3.0227 | 188.777 | 2.533 | 191 | 15.23 | 981.754 | 22.4458 | -0.28081
2020-11-09 15:45:00 | 3.345 | 147.6 | 3.055 | 160.5 | 3.2689 | 151.191 | 2.406 | 159.3 | 14.63 | 981.962 | 22.9234 | -0.22539
2020-11-09 16:00:00 | 3.868 | 152.6 | 3.901 | 164.4 | 4.1741 | 154.865 | 3.16 | 159.3 | 14.22 | 981.676 | 25.243 | -0.2845
2020-11-09 16:15:00 | 2.768 | 172.1 | 2.771 | 177.3 | 2.965 | 167.017 | 2.531 | 174.2 | 14 | 981.083 | 25.7568 | -0.19952
2020-11-09 16:30:00 | 3.202 | 168.8 | 3.364 | 180.4 | 3.5995 | 169.937 | 3.234 | 173.2 | 13.66 | 980.489 | 26.6848 | 1.3117
2020-11-09 16:45:00 | 3.662 | 156.9 | 3.827 | 169.4 | 4.0949 | 159.575 | 3.379 | 162.9 | 13.42 | 980.317 | 27.5752 | 1.3191
2020-11-09 17:00:00 | 3.539 | 156.6 | 4.169 | 168.7 | 4.4608 | 158.915 | 3.949 | 163.4 | 13.25 | 980.195 | 27.645 | 1.3264
2020-11-09 17:15:00 | 3.948 | 160 | 4.471 | 174.9 | 4.784 | 164.756 | 4.352 | 167.7 | 13.18 | 980.195 | 27.8542 | 1.8253
2020-11-09 17:30:00 | 3.812 | 162.3 | 3.97 | 176.3 | 4.2479 | 166.075 | 3.55 | 168 | 13.25 | 980.195 | 27.3767 | 1.8363
2020-11-09 17:45:00 | 4.027 | 161.3 | 4.32 | 175.9 | 4.6224 | 165.698 | 4.347 | 166.6 | 12.95 | 980.195 | 28.0253 | 2.7083
2020-11-09 18:00:00 | 4.308 | 163.5 | 4.233 | 177.1 | 4.5293 | 166.828 | 3.919 | 168.6 | 12.86 | 980.195 | 28.0594 | 3.1295
2020-11-09 18:15:00 | 3.692 | 163 | 3.791 | 177.6 | 4.0564 | 167.299 | 4.018 | 168 | 12.75 | 980.195 | 28.2301 | 2.6898
2020-11-09 18:30:00 | 3.095 | 170.9 | 3.275 | 183 | 3.5042 | 172.386 | 3.486 | 172.8 | 12.76 | 980.375 | 28.6056 | 1.3966
2020-11-09 18:45:00 | 3.268 | 176.6 | 3.584 | 187.8 | 3.8349 | 176.908 | 3.949 | 180.4 | 12.75 | 980.728 | 29.0835 | 1.5666
2020-11-09 19:00:00 | 2.878 | 174.5 | 3.494 | 187.3 | 3.7386 | 176.437 | 4.041 | 182.3 | 12.71 | 980.859 | 29.1859 | 1.223
2020-11-09 19:15:00 | 3.22 | 174.9 | 3.765 | 184.1 | 4.0286 | 173.422 | 3.967 | 179.5 | 12.77 | 980.855 | 28.8786 | 0.96066
2020-11-09 19:30:00 | 2.732 | 174.5 | 3.53 | 184 | 3.7771 | 173.328 | 3.891 | 182.4 | 12.56 | 980.978 | 29.4931 | 1.2673
2020-11-09 19:45:00 | 2.339 | 173.7 | 3.052 | 183.5 | 3.2656 | 172.857 | 3.687 | 183.5 | 12.5 | 980.819 | 29.4931 | 0.58379
2020-11-09 20:00:00 | 2.181 | 170.6 | 3.165 | 179.1 | 3.3866 | 168.712 | 3.598 | 176.5 | 12.5 | 980.802 | 29.5615 | 0.37687
2020-11-09 20:15:00 | 2.089 | 172 | 3.395 | 181.5 | 3.6326 | 170.973 | 3.547 | 177.6 | 12.47 | 980.805 | 29.2204 | 0.24016
2020-11-09 20:30:00 | 1.369 | 165.7 | 2.592 | 176.4 | 2.7734 | 166.169 | 3.224 | 171.9 | 12.31 | 980.832 | 29.7696 | 0.70941
2020-11-09 20:45:00 | 2.021 | 167.6 | 3.489 | 177.4 | 3.7332 | 167.111 | 3.972 | 176.1 | 11.99 | 980.972 | 30.5902 | 0.69094
2020-11-09 21:00:00 | 1.935 | 166 | 3.292 | 173.7 | 3.5224 | 163.625 | 4.179 | 175.3 | 12.21 | 980.97 | 30.7277 | 0.73897
2020-11-09 21:15:00 | 1.961 | 165.1 | 3.208 | 173.6 | 3.4326 | 163.531 | 3.944 | 172.7 | 12.25 | 981.204 | 31.0687 | 1.3228
2020-11-09 21:30:00 | 1.575 | 172.7 | 3.039 | 182.9 | 3.2517 | 172.292 | 4.245 | 181.5 | 12.24 | 981.632 | 30.9321 | 1.3634
2020-11-09 21:45:00 | 1.525 | 165.9 | 2.904 | 171.4 | 3.1073 | 161.459 | 3.608 | 176.2 | 12.39 | 981.313 | 30.659 | 0.22908
2020-11-09 22:00:00 | 0.541 | 167.7 | 2.094 | 175.3 | 2.2406 | 165.133 | 3.618 | 177.5 | 12.41 | 981.657 | 31.2735 | 0.6429
2020-11-09 22:15:00 | 1.802 | 160.7 | 3.009 | 167.1 | 3.2196 | 157.408 | 3.55 | 173.5 | 12.32 | 981.666 | 30.9321 | 0.53206
2020-11-09 22:30:00 | 2.262 | 163.2 | 2.927 | 174 | 3.1319 | 163.908 | 3.053 | 169.3 | 12.57 | 981.671 | 30.5908 | -0.025864
2020-11-09 22:45:00 | 2.449 | 174 | 2.883 | 183.4 | 3.0848 | 172.763 | 2.877 | 182.9 | 12.53 | 981.458 | 30.7272 | -0.073897
2020-11-09 23:00:00 | 3.044 | 164.8 | 3.415 | 176.7 | 3.654 | 166.451 | 2.74 | 176.3 | 12.61 | 981.599 | 31.1368 | -0.036949
2020-11-09 23:15:00 | 2.849 | 168.5 | 3.346 | 181.2 | 3.5802 | 170.69 | 2.944 | 180.9 | 12.57 | 981.71 | 30.9313 | -0.12193
2020-11-09 23:30:00 | 2.944 | 166.7 | 3.321 | 179.2 | 3.5535 | 168.806 | 2.992 | 179.5 | 12.51 | 981.481 | 30.693 | 0.096066
2020-11-09 23:45:00 | 1.873 | 160.3 | 2.681 | 172.1 | 2.8687 | 162.118 | 3.264 | 167.8 | 12.42 | 981.454 | 30.862 | 0.91632