## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-10 00:00:00 | 3.358 | 154.2 | 3.985 | 164.8 | 4.264 | 155.242 | 4.054 | 163.1 | 12 | 981.317 | 30.7255 | 1.707
2020-11-10 00:15:00 | 2.51 | 153.4 | 3.431 | 160.6 | 3.6712 | 151.285 | 3.616 | 164.3 | 11.91 | 981.407 | 31.5811 | 1.2267
2020-11-10 00:30:00 | 2.378 | 164.5 | 3.448 | 171.7 | 3.6894 | 161.741 | 3.636 | 174.7 | 11.97 | 981.321 | 31.0687 | 1.1491
2020-11-10 00:45:00 | 2.201 | 164.2 | 3.139 | 170.5 | 3.3587 | 160.611 | 3.476 | 174.6 | 12.04 | 981.488 | 30.9669 | 1.5445
2020-11-10 01:00:00 | 1.034 | 157.6 | 2.444 | 164.4 | 2.6151 | 154.865 | 3.224 | 169.4 | 11.98 | 981.65 | 31.4101 | 1.9989
2020-11-10 01:15:00 | 2.056 | 151.1 | 3.262 | 161.8 | 3.4903 | 152.416 | 3.443 | 160.4 | 11.91 | 981.681 | 31.4786 | 1.7366
2020-11-10 01:30:00 | 3.447 | 154.4 | 3.727 | 162.3 | 3.9879 | 152.887 | 2.951 | 168.5 | 12.13 | 981.533 | 30.7275 | 2.4349
2020-11-10 01:45:00 | 2.924 | 150.3 | 3.855 | 165.3 | 4.1249 | 155.713 | 2.964 | 155.9 | 12.19 | 981.525 | 31.2057 | 3.6542
2020-11-10 02:00:00 | 2.51 | 143.3 | 3.515 | 159.2 | 3.7611 | 149.966 | 3.453 | 151 | 12.04 | 981.682 | 31.0006 | 3.7318
2020-11-10 02:15:00 | 2.88 | 138.6 | 3.996 | 150.6 | 4.2757 | 141.865 | 3.084 | 144.3 | 12.03 | 981.234 | 30.3175 | 4.1308
2020-11-10 02:30:00 | 3.235 | 140.4 | 3.702 | 155.1 | 3.9611 | 146.104 | 2.146 | 145.6 | 12.23 | 981.205 | 29.4982 | 3.6025
2020-11-10 02:45:00 | 2.791 | 141.1 | 3.604 | 152.8 | 3.8563 | 143.938 | 2.556 | 143.7 | 12.45 | 980.979 | 29.0884 | 4.2786
2020-11-10 03:00:00 | 3.072 | 139.5 | 3.349 | 154.1 | 3.5834 | 145.162 | 2.427 | 141.9 | 12.5 | 980.973 | 28.4737 | 3.717
2020-11-10 03:15:00 | 1.623 | 140.1 | 2.814 | 158.1 | 3.011 | 148.93 | 3.147 | 146.1 | 12.5 | 980.887 | 28.9518 | 4.8587
2020-11-10 03:30:00 | 2.61 | 135.4 | 3.63 | 150.3 | 3.8841 | 141.583 | 3.02 | 141 | 12.18 | 980.927 | 29.3616 | 5.3391
2020-11-10 03:45:00 | 2.536 | 139 | 3.349 | 154.3 | 3.5834 | 145.351 | 2.414 | 145.4 | 12.34 | 980.988 | 29.1567 | 7.3749
2020-11-10 04:00:00 | 2.334 | 127.1 | 3.014 | 141 | 3.225 | 132.822 | 2.893 | 134.3 | 12.34 | 980.925 | 28.7475 | 8.173
2020-11-10 04:15:00 | 2.524 | 138.7 | 3.321 | 159.4 | 3.5535 | 150.155 | 4.365 | 143.3 | 11.68 | 980.926 | 31.9226 | 9.88
2020-11-10 04:30:00 | 4.098 | 137.1 | 5.161 | 153.8 | 5.5223 | 144.88 | 5.579 | 143.4 | 10.99 | 981.053 | 32.5031 | 10.1424
2020-11-10 04:45:00 | 5.127 | 137.1 | 5.829 | 155.7 | 6.237 | 146.669 | 6.407 | 143.7 | 10.49 | 981.089 | 33.4586 | 12.0341
2020-11-10 05:00:00 | 3.34 | 139.3 | 3.957 | 161 | 4.234 | 151.662 | 4.912 | 144.7 | 10.13 | 981.089 | 33.7354 | 11.2767
2020-11-10 05:15:00 | 4.162 | 135.6 | 5.126 | 148.5 | 5.4848 | 139.887 | 4.474 | 143.2 | 10.88 | 981.089 | 32.4739 | 8.8787
2020-11-10 05:30:00 | 3.802 | 135.9 | 4.816 | 148.8 | 5.1531 | 140.17 | 4.591 | 144.7 | 11.27 | 981.386 | 32.1325 | 8.2802
2020-11-10 05:45:00 | 2.071 | 153.2 | 3.057 | 178.4 | 3.271 | 168.053 | 4.627 | 154.4 | 10.34 | 981.683 | 34.0789 | 7.8479
2020-11-10 06:00:00 | 3.498 | 147.2 | 4.192 | 163.2 | 4.4854 | 153.734 | 4.507 | 155.1 | 10.72 | 981.683 | 33.2252 | 7.2419
2020-11-10 06:15:00 | 3.256 | 149.4 | 4.734 | 165.5 | 5.0654 | 155.901 | 5.144 | 159.3 | 10.37 | 981.832 | 33.3618 | 7.9809
2020-11-10 06:30:00 | 4.604 | 149.4 | 5.68 | 162.1 | 6.0776 | 152.698 | 5.348 | 159.3 | 10.73 | 981.98 | 32.03 | 10.013
2020-11-10 06:45:00 | 4.303 | 144.4 | 5.65 | 158.5 | 6.0455 | 149.307 | 4.983 | 156.2 | 11.27 | 982.277 | 30.3227 | 9.5068
2020-11-10 07:00:00 | 4.739 | 139.8 | 5.512 | 152.8 | 5.8978 | 143.938 | 4.303 | 149.5 | 11.83 | 982.574 | 28.9525 | 11.9898
2020-11-10 07:15:00 | 4.364 | 131.8 | 5.253 | 145.6 | 5.6207 | 137.155 | 5.289 | 137.5 | 11.66 | 982.63 | 28.5384 | 12.7177
2020-11-10 07:30:00 | 3.863 | 125.4 | 4.663 | 138.5 | 4.9894 | 130.467 | 5.024 | 132.6 | 12.03 | 983.175 | 28.2642 | 14.8126
2020-11-10 07:45:00 | 4.195 | 127.2 | 4.292 | 145.1 | 4.5924 | 136.684 | 4.986 | 133.7 | 12.33 | 983.759 | 28.7421 | 13.065
2020-11-10 08:00:00 | 3.537 | 130.1 | 3.487 | 152.2 | 3.7311 | 143.372 | 3.977 | 134.4 | 12.41 | 984.056 | 27.7133 | 11.9344
2020-11-10 08:15:00 | 4.338 | 139.9 | 4.246 | 158 | 4.5432 | 148.836 | 3.753 | 144.8 | 12.89 | 984.353 | 27.0645 | 12.8691
2020-11-10 08:30:00 | 4.918 | 147.6 | 5.069 | 165.8 | 5.4238 | 156.184 | 5.093 | 152 | 12.68 | 984.474 | 26.7532 | 13.8631
2020-11-10 08:45:00 | 5.625 | 139.1 | 5.532 | 156.9 | 5.9192 | 147.8 | 5.241 | 142.5 | 12.63 | 984.646 | 27.5721 | 11.3949
2020-11-10 09:00:00 | 5.429 | 143.4 | 5.284 | 161.7 | 5.6539 | 152.321 | 4.864 | 146.8 | 12.93 | 984.645 | 27.7768 | 8.8861
2020-11-10 09:15:00 | 4.849 | 139 | 4.619 | 155.8 | 4.9423 | 146.764 | 4.321 | 146.5 | 13.02 | 984.645 | 26.9549 | 6.8355
2020-11-10 09:30:00 | 4.854 | 143.2 | 4.476 | 163.7 | 4.7893 | 154.205 | 4.031 | 145.9 | 13.31 | 984.942 | 26.3354 | 5.5718
2020-11-10 09:45:00 | 5.605 | 148.7 | 5.512 | 164.5 | 5.8978 | 154.959 | 4.963 | 153.8 | 13.26 | 984.942 | 27.8363 | 5.7307
2020-11-10 10:00:00 | 5.727 | 150.1 | 5.445 | 168.2 | 5.8262 | 158.444 | 4.95 | 155.4 | 13.27 | 984.794 | 27.2898 | 4.6925
2020-11-10 10:15:00 | 5.12 | 147.8 | 4.959 | 160.6 | 5.3061 | 151.285 | 4.528 | 156.5 | 13.6 | 984.942 | 27.5627 | 4.589
2020-11-10 10:30:00 | 5.122 | 146.6 | 4.98 | 158.8 | 5.3286 | 149.59 | 3.947 | 153 | 13.61 | 985.091 | 28.0403 | 4.807
2020-11-10 10:45:00 | 5.334 | 159.1 | 5.264 | 176.2 | 5.6325 | 165.98 | 4.726 | 163.8 | 14.41 | 985.091 | 27.665 | 5.461
2020-11-10 11:00:00 | 4.841 | 143.7 | 4.819 | 154.6 | 5.1563 | 145.633 | 3.797 | 152.5 | 14.18 | 984.942 | 28.2449 | 5.5201
2020-11-10 11:15:00 | 4.754 | 139.5 | 4.658 | 154.4 | 4.9841 | 145.445 | 4.196 | 150.2 | 14.76 | 985.085 | 28.3814 | 5.2134
2020-11-10 11:30:00 | 5.625 | 146.2 | 5.389 | 161.4 | 5.7662 | 152.039 | 4.708 | 153.6 | 14.57 | 984.918 | 28.3132 | 4.6851
2020-11-10 11:45:00 | 4.612 | 188.9 | 4.397 | 203.1 | 4.7048 | 191.32 | 3.799 | 184.5 | 14.85 | 984.629 | 27.0169 | 4.8772
2020-11-10 12:00:00 | 5.85 | 138.6 | 5.788 | 153.8 | 6.1932 | 144.88 | 4.744 | 149 | 15.1 | 984.485 | 27.7674 | 6.2812
2020-11-10 12:15:00 | 5.339 | 149.9 | 4.995 | 162.7 | 5.3446 | 153.263 | 4.207 | 155 | 14.81 | 984.568 | 27.8356 | 4.3304
2020-11-10 12:30:00 | 4.79 | 155.4 | 4.791 | 169.8 | 5.1264 | 159.952 | 4.331 | 166.8 | 15.25 | 984.162 | 26.4029 | 4.2897
2020-11-10 12:45:00 | 5.222 | 139.5 | 5.09 | 153.5 | 5.4463 | 144.597 | 4.087 | 146.5 | 15.17 | 984.597 | 27.2898 | 3.632
2020-11-10 13:00:00 | 4.691 | 157.7 | 4.635 | 176.6 | 4.9595 | 166.357 | 4.102 | 162.5 | 15.68 | 984.608 | 26.5393 | 3.1037
2020-11-10 13:15:00 | 4.006 | 172 | 4.07 | 193.4 | 4.3549 | 182.183 | 3.282 | 170.2 | 15.79 | 984.344 | 25.9935 | 2.4829
2020-11-10 13:30:00 | 4.9 | 149.1 | 4.642 | 164.9 | 4.9669 | 155.336 | 4.181 | 154.8 | 15.73 | 984.268 | 25.4136 | 3.451
2020-11-10 13:45:00 | 5.015 | 183.9 | 4.228 | 197.5 | 4.524 | 186.045 | 3.068 | 180.7 | 15.83 | 984.04 | 25.4136 | 4.4708
2020-11-10 14:00:00 | 4.675 | 166.5 | 4.952 | 182.5 | 5.2986 | 171.915 | 4.367 | 174.9 | 15.96 | 984.051 | 26.0618 | 3.6985
2020-11-10 14:15:00 | 4.854 | 165.1 | 4.499 | 181.5 | 4.8139 | 170.973 | 3.842 | 168.1 | 15.68 | 984.348 | 26.8804 | 4.7294
2020-11-10 14:30:00 | 4.895 | 139.7 | 4.699 | 158.6 | 5.0279 | 149.401 | 4.115 | 144.1 | 15.67 | 984.337 | 27.4262 | 4.2269
2020-11-10 14:45:00 | 5.337 | 145 | 5.133 | 164.6 | 5.4923 | 155.053 | 4.563 | 148.7 | 15.41 | 984.048 | 27.972 | 6.2665
2020-11-10 15:00:00 | 5.37 | 155.8 | 5.302 | 172.7 | 5.6731 | 162.683 | 4.8 | 159.7 | 15.41 | 984.051 | 28.1767 | 8.3282
2020-11-10 15:15:00 | 5.526 | 150.3 | 5.294 | 165.2 | 5.6646 | 155.618 | 4.52 | 157.1 | 15.35 | 983.903 | 28.859 | 5.4351
2020-11-10 15:30:00 | 4.471 | 151.4 | 4.369 | 168.5 | 4.6748 | 158.727 | 4.151 | 155.7 | 15.21 | 983.606 | 29.1666 | 4.4043
2020-11-10 15:45:00 | 4.086 | 153 | 4.297 | 169.7 | 4.5978 | 159.857 | 4.166 | 159.2 | 15.19 | 983.458 | 28.5866 | 4.9659
2020-11-10 16:00:00 | 4.086 | 153.9 | 4.103 | 169.3 | 4.3902 | 159.481 | 3.985 | 157.8 | 14.98 | 983.161 | 29.7505 | 5.0102
2020-11-10 16:15:00 | 3.565 | 144.7 | 3.896 | 160.9 | 4.1687 | 151.568 | 3.919 | 148.8 | 14.77 | 982.864 | 30.4384 | 7.8257
2020-11-10 16:30:00 | 3.983 | 139.4 | 4.336 | 159.3 | 4.6395 | 150.061 | 4.13 | 142.4 | 14.57 | 982.597 | 29.8925 | 9.13
2020-11-10 16:45:00 | 4.405 | 139.3 | 4.663 | 154.7 | 4.9894 | 145.727 | 5.202 | 147 | 14.4 | 982.56 | 29.3843 | 11.6868
2020-11-10 17:00:00 | 4.394 | 141.6 | 4.579 | 155.5 | 4.8995 | 146.481 | 5.294 | 145.1 | 14.33 | 982.422 | 29.6244 | 14.3397
2020-11-10 17:15:00 | 5.158 | 132 | 5.42 | 146.7 | 5.7994 | 138.191 | 5.961 | 139.1 | 14.37 | 982.571 | 28.5316 | 13.5675
2020-11-10 17:30:00 | 4.394 | 135.6 | 4.665 | 150.9 | 4.9916 | 142.148 | 5.345 | 142.4 | 14.39 | 982.571 | 28.3958 | 11.1437
2020-11-10 17:45:00 | 4.338 | 134.9 | 4.903 | 149.9 | 5.2462 | 141.206 | 5.22 | 141.4 | 14.48 | 982.571 | 28.5336 | 12.7435
2020-11-10 18:00:00 | 4.387 | 140 | 4.645 | 153.3 | 4.9702 | 144.409 | 5.141 | 147.2 | 14.43 | 982.571 | 28.569 | 13.3236
2020-11-10 18:15:00 | 3.897 | 140.3 | 4.873 | 158.2 | 5.2141 | 149.024 | 5.49 | 147.1 | 14.47 | 982.868 | 28.878 | 12.9246
2020-11-10 18:30:00 | 4.349 | 142.7 | 4.995 | 157.2 | 5.3446 | 148.082 | 5.719 | 148.4 | 14.28 | 982.868 | 29.1506 | 15.1526
2020-11-10 18:45:00 | 5.15 | 139.6 | 5.545 | 156.6 | 5.9332 | 147.517 | 6.28 | 145.7 | 14.41 | 983.165 | 29.2198 | 17.787
2020-11-10 19:00:00 | 4.872 | 141.6 | 5.44 | 156.2 | 5.8208 | 147.14 | 6.85 | 147.3 | 14.41 | 983.165 | 30.0388 | 19.8228
2020-11-10 19:15:00 | 5.038 | 140.3 | 5.808 | 160.6 | 6.2146 | 151.285 | 6.369 | 144.5 | 14.49 | 983.165 | 30.7209 | 21.5336
2020-11-10 19:30:00 | 6.355 | 141.7 | 6.657 | 157.9 | 7.123 | 148.742 | 7.339 | 147.5 | 14.37 | 983.165 | 31.7448 | 26.2888
2020-11-10 19:45:00 | 5.84 | 146.9 | 6.245 | 165.7 | 6.6822 | 156.089 | 7.41 | 150.6 | 14.03 | 983.165 | 32.905 | 28.0439
2020-11-10 20:00:00 | 6.103 | 145.3 | 6.716 | 163.2 | 7.1861 | 153.734 | 7.566 | 150.1 | 13.8 | 983.165 | 34.6812 | 28.2693
2020-11-10 20:15:00 | 5.748 | 154.2 | 5.622 | 169.3 | 6.0155 | 159.481 | 5.987 | 162.4 | 13.55 | 983.165 | 36.525 | 30.5157
2020-11-10 20:30:00 | 6.82 | 148.7 | 7.102 | 161.2 | 7.5991 | 151.85 | 6.229 | 159.1 | 13.38 | 983.165 | 37.4808 | 36.8819
2020-11-10 20:45:00 | 6.575 | 155.2 | 7.061 | 170.7 | 7.5553 | 160.799 | 7.612 | 162.1 | 13.29 | 983.165 | 38.4366 | 41.6557
2020-11-10 21:00:00 | 7.984 | 149.4 | 8.47 | 165.3 | 9.0629 | 155.713 | 9.15 | 154.3 | 13.18 | 983.165 | 39.1193 | 46.4257
2020-11-10 21:15:00 | 7.88 | 148.2 | 8.79 | 164.4 | 9.4053 | 154.865 | 10.27 | 155.3 | 13.1 | 983.165 | 39.6655 | 51.968
2020-11-10 21:30:00 | 8.45 | 150 | 8.91 | 166.6 | 9.5337 | 156.937 | 10.29 | 155.6 | 13.04 | 983.313 | 39.4607 | 56.2614
2020-11-10 21:45:00 | 8.84 | 150.7 | 9.9 | 165 | 10.593 | 155.43 | 10.3 | 156.4 | 13.05 | 983.165 | 39.3241 | 58.434
2020-11-10 22:00:00 | 9.24 | 152.4 | 9.38 | 169 | 10.0366 | 159.198 | 9.76 | 158.1 | 13.17 | 983.313 | 38.9145 | 61.2864
2020-11-10 22:15:00 | 9.37 | 151.3 | 9.53 | 168.1 | 10.1971 | 158.35 | 10.71 | 156.4 | 13.08 | 983.165 | 39.7337 | 57.782
2020-11-10 22:30:00 | 8.59 | 151.4 | 8.85 | 168.6 | 9.4695 | 158.821 | 10.27 | 156.2 | 13.06 | 983.165 | 40.4847 | 55.6538
2020-11-10 22:45:00 | 7.773 | 147.8 | 8.25 | 165.3 | 8.8275 | 155.713 | 9.94 | 152.5 | 12.7 | 983.016 | 40.3482 | 53.8708
2020-11-10 23:00:00 | 7.721 | 148.4 | 8.52 | 166.9 | 9.1164 | 157.22 | 10.31 | 152.3 | 12.79 | 983.016 | 39.4265 | 54.4715
2020-11-10 23:15:00 | 8.43 | 150.8 | 9.12 | 167.8 | 9.7584 | 158.068 | 10.6 | 155.5 | 12.91 | 983.165 | 38.4366 | 52.7217
2020-11-10 23:30:00 | 8.46 | 147.2 | 9.06 | 167.6 | 9.6942 | 157.879 | 10.42 | 152.4 | 12.79 | 982.868 | 38.7779 | 50.4441
2020-11-10 23:45:00 | 7.609 | 154 | 8.02 | 173.9 | 8.5814 | 163.814 | 8.73 | 155.5 | 12.71 | 983.016 | 39.5289 | 46.773