## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-11 00:00:00 | 6.779 | 149.3 | 7.314 | 166.4 | 7.826 | 156.749 | 8.66 | 155.8 | 12.69 | 982.868 | 38.9828 | 43.8541
2020-11-11 00:15:00 | 6.621 | 150 | 6.933 | 169.9 | 7.4183 | 160.046 | 8.61 | 152.8 | 12.52 | 982.719 | 39.7337 | 47.4714
2020-11-11 00:30:00 | 7.693 | 149.1 | 7.984 | 169 | 8.5429 | 159.198 | 9.54 | 152.9 | 12.66 | 982.586 | 39.9386 | 46.943
2020-11-11 00:45:00 | 7.801 | 146.7 | 8.47 | 165.1 | 9.0629 | 155.524 | 9.73 | 150.9 | 12.5 | 983.179 | 40.5189 | 47.1795
2020-11-11 01:00:00 | 8.04 | 145.8 | 7.976 | 164.4 | 8.5343 | 154.865 | 9.17 | 150.5 | 12.31 | 983.038 | 41.2357 | 52.092
2020-11-11 01:15:00 | 9.61 | 144.4 | 9.76 | 162.5 | 10.4432 | 153.075 | 10.3 | 150.3 | 12.29 | 982.926 | 41.3722 | 47.9517
2020-11-11 01:30:00 | 9.17 | 143.4 | 9.59 | 161.3 | 10.2613 | 151.945 | 10.3 | 149.4 | 12.47 | 982.604 | 39.5289 | 52.5629
2020-11-11 01:45:00 | 8.66 | 144.4 | 9.08 | 162.5 | 9.7156 | 153.075 | 10.04 | 150.1 | 12.48 | 982.894 | 39.1193 | 53.3683
2020-11-11 02:00:00 | 9.77 | 143.8 | 9.59 | 160.2 | 10.2613 | 150.908 | 10.05 | 151.4 | 12.43 | 982.953 | 38.9145 | 49.3631
2020-11-11 02:15:00 | 8.24 | 145.7 | 9.04 | 161 | 9.6728 | 151.662 | 8.67 | 152.6 | 12.48 | 983.047 | 39.7337 | 51.9643
2020-11-11 02:30:00 | 7.479 | 145.9 | 7.416 | 160.4 | 7.9351 | 151.097 | 7.752 | 152.5 | 12.33 | 982.575 | 39.9386 | 53.7859
2020-11-11 02:45:00 | 6.537 | 150.2 | 6.713 | 165.3 | 7.1829 | 155.713 | 7.55 | 154.7 | 12.15 | 982.799 | 40.5871 | 49.9802
2020-11-11 03:00:00 | 6.419 | 148.6 | 6.69 | 167.5 | 7.1583 | 157.785 | 7.803 | 154.5 | 11.99 | 982.663 | 41.5771 | 52.3338
2020-11-11 03:15:00 | 7.313 | 148.2 | 7.104 | 165.6 | 7.6013 | 155.995 | 7.67 | 152.1 | 12.1 | 982.617 | 42.6011 | 54.2145
2020-11-11 03:30:00 | 8.24 | 142.9 | 8.74 | 159.4 | 9.3518 | 150.155 | 8.85 | 148.5 | 11.95 | 982.645 | 43.2838 | 53.941
2020-11-11 03:45:00 | 8.63 | 141.2 | 8.78 | 158.1 | 9.3946 | 148.93 | 9.18 | 146.6 | 11.96 | 982.601 | 43.7617 | 54.6394
2020-11-11 04:00:00 | 7.252 | 140.2 | 7.774 | 156.1 | 8.3182 | 147.046 | 8.95 | 146.5 | 11.94 | 982.49 | 44.308 | 53.579
2020-11-11 04:15:00 | 7.836 | 138.8 | 8.3 | 155.6 | 8.881 | 146.575 | 8.73 | 146.2 | 11.93 | 982.631 | 43.9666 | 57.9832
2020-11-11 04:30:00 | 8.05 | 138.7 | 8.35 | 157 | 8.9345 | 147.894 | 9.04 | 145 | 11.82 | 982.617 | 44.1717 | 57.2997
2020-11-11 04:45:00 | 9.02 | 143.4 | 9.15 | 157.6 | 9.7905 | 148.459 | 9.14 | 148.6 | 11.68 | 982.448 | 44.9914 | 62.3268
2020-11-11 05:00:00 | 8.06 | 142.1 | 8.3 | 158.1 | 8.881 | 148.93 | 9 | 146.6 | 11.51 | 982.312 | 45.7419 | 62.672
2020-11-11 05:15:00 | 9.19 | 142 | 9.57 | 160.2 | 10.2399 | 150.908 | 10 | 146.9 | 11.68 | 982.317 | 45.8114 | 64.4603
2020-11-11 05:30:00 | 9.14 | 141.3 | 9.8 | 157.7 | 10.486 | 148.553 | 10.25 | 146.9 | 11.56 | 982.653 | 46.3569 | 66.4961
2020-11-11 05:45:00 | 9.46 | 143 | 9.31 | 158.5 | 9.9617 | 149.307 | 10.4 | 148.6 | 11.7 | 982.613 | 46.4938 | 70.5531
2020-11-11 06:00:00 | 9.32 | 144.1 | 9.5 | 160 | 10.165 | 150.72 | 10.42 | 147.8 | 11.58 | 982.651 | 47.1098 | 66.6846
2020-11-11 06:15:00 | 9.79 | 140.3 | 10.41 | 159.7 | 11.1387 | 150.437 | 11.22 | 147 | 11.69 | 982.917 | 47.281 | 71.1369
2020-11-11 06:30:00 | 9.9 | 141.7 | 10.01 | 159.2 | 10.7107 | 149.966 | 11.03 | 147.6 | 11.64 | 982.917 | 47.1111 | 71.7133
2020-11-11 06:45:00 | 9.66 | 142.3 | 10.69 | 159.9 | 11.4383 | 150.626 | 11.28 | 147.3 | 11.71 | 983.237 | 46.6294 | 74.3181
2020-11-11 07:00:00 | 10.34 | 139.4 | 10.98 | 155.2 | 11.7486 | 146.198 | 11.18 | 146.6 | 11.81 | 983.25 | 46.3561 | 75.748
2020-11-11 07:15:00 | 8.83 | 140.7 | 9.43 | 160.6 | 10.0901 | 151.285 | 10.47 | 145.8 | 11.81 | 983.376 | 45.8099 | 73.0951
2020-11-11 07:30:00 | 10.12 | 139.8 | 10.18 | 157.2 | 10.8926 | 148.082 | 11.05 | 145.8 | 11.7 | 983.759 | 45.7416 | 78.2404
2020-11-11 07:45:00 | 9.1 | 139.5 | 9.88 | 155.8 | 10.5716 | 146.764 | 10.48 | 145 | 11.77 | 984.056 | 45.0589 | 75.8256
2020-11-11 08:00:00 | 10.27 | 140.5 | 10.32 | 157.2 | 11.0424 | 148.082 | 10.91 | 145.8 | 11.96 | 984.056 | 45.1272 | 72.9215
2020-11-11 08:15:00 | 10.06 | 140 | 10.78 | 157 | 11.5346 | 147.894 | 10.99 | 146.1 | 11.96 | 984.353 | 45.874 | 68.1329
2020-11-11 08:30:00 | 9.86 | 144.4 | 10.21 | 159.2 | 10.9247 | 149.966 | 11.06 | 148.7 | 12.01 | 984.501 | 46.552 | 65.0219
2020-11-11 08:45:00 | 11.04 | 143.2 | 11.17 | 160.3 | 11.9519 | 151.003 | 11.08 | 148.6 | 12.14 | 984.798 | 46.8933 | 63.8454
2020-11-11 09:00:00 | 10.28 | 143.4 | 10.82 | 158.3 | 11.5774 | 149.119 | 11.64 | 150.5 | 12.15 | 984.947 | 47.7814 | 63.5587
2020-11-11 09:15:00 | 10.68 | 144 | 11 | 160 | 11.77 | 150.72 | 11.26 | 150.1 | 12.35 | 984.947 | 47.372 | 64.8113
2020-11-11 09:30:00 | 9.46 | 142.1 | 9.6 | 160.7 | 10.272 | 151.379 | 9.73 | 149.8 | 12.76 | 985.095 | 47.1643 | 67.2373
2020-11-11 09:45:00 | 10.89 | 141.2 | 10.88 | 159.2 | 11.6416 | 149.966 | 10.05 | 146.8 | 12.93 | 984.786 | 47.2616 | 68.798
2020-11-11 10:00:00 | 9.91 | 145.7 | 10.17 | 159.5 | 10.8819 | 150.249 | 9.68 | 150.5 | 13.33 | 984.659 | 46.2037 | 61.8776
2020-11-11 10:15:00 | 10.71 | 144.8 | 10.97 | 161.4 | 11.7379 | 152.039 | 10.73 | 150.5 | 13.48 | 984.645 | 45.5895 | 60.8673
2020-11-11 10:30:00 | 10.82 | 141.8 | 10.78 | 158.1 | 11.5346 | 148.93 | 10.42 | 150.1 | 13.85 | 984.645 | 45.2824 | 61.7097
2020-11-11 10:45:00 | 11.93 | 143.3 | 11.68 | 157.8 | 12.4976 | 148.648 | 10.56 | 150.4 | 14 | 984.794 | 44.0879 | 60.2925
2020-11-11 11:00:00 | 9.72 | 142.1 | 9.86 | 158.6 | 10.5502 | 149.401 | 9.49 | 149 | 14.82 | 984.794 | 44.5593 | 52.9455
2020-11-11 11:15:00 | 8.61 | 144.8 | 9.12 | 161.1 | 9.7584 | 151.756 | 8.27 | 151 | 15.01 | 984.794 | 43.8698 | 49.958
2020-11-11 11:30:00 | 9.89 | 141.5 | 10.31 | 157 | 11.0317 | 147.894 | 9.45 | 148.5 | 15.09 | 984.645 | 43.6642 | 51.925
2020-11-11 11:45:00 | 10.13 | 142.7 | 10.1 | 157.5 | 10.807 | 148.365 | 9 | 150.5 | 15.16 | 984.349 | 43.3567 | 54.0356
2020-11-11 12:00:00 | 10.69 | 140.3 | 10.64 | 156.4 | 11.3848 | 147.329 | 10.26 | 148 | 15.27 | 984.349 | 43.3229 | 57.5198
2020-11-11 12:15:00 | 9.92 | 148.7 | 9.6 | 161.5 | 10.272 | 152.133 | 9.18 | 154.7 | 15.2 | 983.903 | 44.2437 | 57.0321
2020-11-11 12:30:00 | 9.81 | 149.2 | 10.3 | 163.2 | 11.021 | 153.734 | 9.44 | 155.7 | 15.47 | 984.349 | 43.9366 | 51.9084
2020-11-11 12:45:00 | 8.67 | 149.7 | 8.93 | 167 | 9.5551 | 157.314 | 8.48 | 155.2 | 16.13 | 984.2 | 42.2315 | 55.951
2020-11-11 13:00:00 | 9.35 | 146.3 | 9.47 | 168 | 10.1329 | 158.256 | 9.18 | 152.7 | 16.02 | 984.052 | 41.344 | 53.1725
2020-11-11 13:15:00 | 9.55 | 152.4 | 9.66 | 167.8 | 10.3362 | 158.068 | 9.41 | 157.5 | 15.97 | 984.052 | 40.2183 | 54.4066
2020-11-11 13:30:00 | 10 | 141.9 | 10.35 | 157.3 | 11.0745 | 148.177 | 9.93 | 149 | 16.09 | 984.052 | 39.7408 | 48.4173
2020-11-11 13:45:00 | 9.85 | 150.4 | 10.04 | 166.7 | 10.7428 | 157.031 | 10.01 | 155.4 | 16.11 | 984.052 | 38.2739 | 47.8076
2020-11-11 14:00:00 | 9.25 | 150 | 9.43 | 166.9 | 10.0901 | 157.22 | 8.78 | 155.1 | 16.32 | 983.903 | 37.387 | 46.5514
2020-11-11 14:15:00 | 9.53 | 145.9 | 9.21 | 165.1 | 9.8547 | 155.524 | 9 | 151.4 | 16.21 | 983.755 | 36.2954 | 46.7028
2020-11-11 14:30:00 | 9.56 | 141.3 | 9.94 | 156.9 | 10.6358 | 147.8 | 9.53 | 146.4 | 16.44 | 983.755 | 36.6365 | 49.4592
2020-11-11 14:45:00 | 9.16 | 147.8 | 8.87 | 162.7 | 9.4909 | 153.263 | 8.74 | 152.7 | 16.36 | 983.755 | 37.1141 | 52.7476
2020-11-11 15:00:00 | 9.9 | 142.9 | 9.84 | 159.6 | 10.5288 | 150.343 | 9.75 | 148.8 | 16.33 | 983.458 | 37.1141 | 48.9936
2020-11-11 15:15:00 | 9.49 | 143.9 | 9.94 | 158.9 | 10.6358 | 149.684 | 9.42 | 149.6 | 16.27 | 983.161 | 37.5235 | 48.9308
2020-11-11 15:30:00 | 8.5 | 142.8 | 9.01 | 157.3 | 9.6407 | 148.177 | 9.48 | 149.3 | 16.16 | 982.864 | 37.5928 | 50.6009
2020-11-11 15:45:00 | 8.57 | 141 | 9.24 | 157.6 | 9.8868 | 148.459 | 9.59 | 146.4 | 16.04 | 982.716 | 37.9369 | 53.6011
2020-11-11 16:00:00 | 7.734 | 143.8 | 8.05 | 160 | 8.6135 | 150.72 | 8.24 | 149.9 | 15.89 | 982.419 | 37.7408 | 54.3834
2020-11-11 16:15:00 | 8.26 | 147.4 | 8.51 | 167.5 | 9.1057 | 157.785 | 7.955 | 150.3 | 15.69 | 982.27 | 38.3211 | 57.3941
2020-11-11 16:30:00 | 10.68 | 148.4 | 10.72 | 166.9 | 11.4704 | 157.22 | 10.57 | 152.7 | 15.67 | 981.677 | 36.8538 | 67.6674
2020-11-11 16:45:00 | 11.97 | 149.4 | 12 | 166.2 | 12.84 | 156.56 | 11.77 | 153.7 | 15.57 | 981.466 | 37.8775 | 67.3644
2020-11-11 17:00:00 | 11.08 | 147.2 | 11.43 | 164.5 | 12.2301 | 154.959 | 11.54 | 152.7 | 15.38 | 981.636 | 38.323 | 69.4246
2020-11-11 17:15:00 | 11.79 | 147.1 | 12.29 | 163.8 | 13.1503 | 154.3 | 12.31 | 152 | 15.36 | 981.678 | 38.4972 | 73.6457
2020-11-11 17:30:00 | 12.1 | 149.2 | 12.41 | 165.9 | 13.2787 | 156.278 | 12.77 | 154 | 15.22 | 981.68 | 38.7709 | 75.3933
2020-11-11 17:45:00 | 12.07 | 149.1 | 12.71 | 165.7 | 13.5997 | 156.089 | 13.05 | 154.4 | 15.16 | 981.68 | 38.6348 | 78.5988
2020-11-11 18:00:00 | 13.68 | 148.1 | 13.84 | 164.4 | 14.8088 | 154.865 | 14.23 | 154.4 | 15.15 | 981.828 | 38.9078 | 76.2748
2020-11-11 18:15:00 | 13.86 | 149.9 | 14.29 | 165.3 | 15.2903 | 155.713 | 14.53 | 154.9 | 14.99 | 981.383 | 40.6483 | 80.3444
2020-11-11 18:30:00 | 14.57 | 148.4 | 15.03 | 164.1 | 16.0821 | 154.582 | 14.9 | 154.1 | 14.87 | 981.828 | 42.0477 | 82.7867
2020-11-11 18:45:00 | 14.09 | 148.4 | 14.24 | 164.9 | 15.2368 | 155.336 | 14.37 | 153.5 | 14.82 | 981.68 | 42.9338 | 86.1084
2020-11-11 19:00:00 | 15.12 | 148 | 15.23 | 165.3 | 16.2961 | 155.713 | 14.99 | 151.7 | 14.67 | 981.828 | 43.8907 | 87.592
2020-11-11 19:15:00 | 11.82 | 145.1 | 11.79 | 161.4 | 12.6153 | 152.039 | 12.22 | 150.8 | 14.36 | 981.68 | 44.7089 | 87.9328
2020-11-11 19:30:00 | 12.35 | 144.6 | 12.33 | 163.7 | 13.1931 | 154.205 | 13.08 | 149.2 | 14.31 | 981.977 | 44.8443 | 90.0619
2020-11-11 19:45:00 | 12.33 | 145.2 | 12.9 | 161.6 | 13.803 | 152.227 | 13 | 149.6 | 14.19 | 981.977 | 45.1194 | 89.5704
2020-11-11 20:00:00 | 13.62 | 144.1 | 13.34 | 158.9 | 14.2738 | 149.684 | 13.89 | 149.6 | 14.29 | 981.68 | 43.7883 | 88.244
2020-11-11 20:15:00 | 13.51 | 142.9 | 14.03 | 158.7 | 15.0121 | 149.495 | 15.19 | 147.9 | 14.22 | 981.68 | 43.686 | 88.4915
2020-11-11 20:30:00 | 12.35 | 143.1 | 12.66 | 160.1 | 13.5462 | 150.814 | 13.17 | 148 | 14.01 | 981.977 | 44.3003 | 88.7539
2020-11-11 20:45:00 | 13.78 | 139.1 | 14 | 157.1 | 14.98 | 147.988 | 14.83 | 144.6 | 14 | 981.383 | 43.6189 | 91.2146
2020-11-11 21:00:00 | 13.35 | 141.2 | 13.96 | 158.4 | 14.9372 | 149.213 | 14.68 | 147.3 | 13.81 | 981.68 | 43.8265 | 90.8784
2020-11-11 21:15:00 | 14.38 | 142.4 | 14.99 | 158.4 | 16.0393 | 149.213 | 15.98 | 146.9 | 13.73 | 981.68 | 43.6231 | 90.6087
2020-11-11 21:30:00 | 13.17 | 142.9 | 13.47 | 158.5 | 14.4129 | 149.307 | 13.92 | 148.8 | 13.6 | 981.977 | 44.1712 | 89.7626
2020-11-11 21:45:00 | 12.84 | 142.2 | 13.06 | 159.6 | 13.9742 | 150.343 | 13.09 | 147.7 | 13.33 | 981.531 | 44.6493 | 90.1875
2020-11-11 22:00:00 | 12.71 | 142.8 | 13.52 | 158.3 | 14.4664 | 149.119 | 14.18 | 147.7 | 13.29 | 981.68 | 45.0589 | 90.6678
2020-11-11 22:15:00 | 15.28 | 141.3 | 15.3 | 158 | 16.371 | 148.836 | 16.16 | 146.7 | 13.32 | 981.383 | 44.2055 | 89.8217
2020-11-11 22:30:00 | 14.53 | 141.7 | 15.08 | 157.8 | 16.1356 | 148.648 | 15.57 | 146.8 | 13.25 | 981.086 | 43.079 | 90.6419
2020-11-11 22:45:00 | 14.54 | 142.7 | 15.12 | 158 | 16.1784 | 148.836 | 15.52 | 147.9 | 13.14 | 981.383 | 42.9425 | 88.9903
2020-11-11 23:00:00 | 14.32 | 142.6 | 14.99 | 158.5 | 16.0393 | 149.307 | 15.91 | 147.6 | 13.06 | 981.086 | 42.7377 | 90.0619
2020-11-11 23:15:00 | 15.83 | 141.4 | 16.38 | 157.8 | 17.5266 | 148.648 | 17.08 | 147.1 | 13.15 | 980.789 | 42.3963 | 89.1049
2020-11-11 23:30:00 | 14.72 | 142.3 | 15.27 | 158.4 | 16.3389 | 149.213 | 16.13 | 147.9 | 13.07 | 980.789 | 43.0107 | 88.9645
2020-11-11 23:45:00 | 15.49 | 140.6 | 15.82 | 157.2 | 16.9274 | 148.082 | 16.11 | 146.8 | 13.09 | 981.383 | 43.6935 | 89.6259