## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-12 00:00:00 | 15.82 | 140.7 | 16.15 | 157.3 | 17.2805 | 148.177 | 16.19 | 146.8 | 13.03 | 981.234 | 44.5468 | 87.4164
2020-11-12 00:15:00 | 14.26 | 139.6 | 14.65 | 156 | 15.6755 | 146.952 | 15.67 | 145.8 | 12.78 | 981.383 | 45.605 | 87.8819
2020-11-12 00:30:00 | 14.34 | 139.9 | 14.52 | 156.3 | 15.5364 | 147.235 | 15.43 | 145.5 | 12.77 | 981.383 | 46.2878 | 87.675
2020-11-12 00:45:00 | 15.36 | 139.8 | 15.47 | 155.9 | 16.5529 | 146.858 | 15.81 | 145.9 | 12.82 | 980.789 | 46.3219 | 89.4337
2020-11-12 01:00:00 | 14.65 | 137.7 | 15.32 | 155 | 16.3924 | 146.01 | 15.8 | 143.5 | 12.8 | 980.937 | 46.595 | 87.4036
2020-11-12 01:15:00 | 14.22 | 139.5 | 14.84 | 155.3 | 15.8788 | 146.293 | 15.29 | 143.9 | 12.77 | 980.789 | 46.9705 | 88.2662
2020-11-12 01:30:00 | 13.66 | 139.2 | 14.41 | 154.9 | 15.4187 | 145.916 | 15.21 | 144.8 | 12.73 | 981.086 | 47.4484 | 88.0186
2020-11-12 01:45:00 | 13.48 | 139.3 | 14.22 | 155.2 | 15.2154 | 146.198 | 15.14 | 145.4 | 12.67 | 980.937 | 47.5849 | 87.76
2020-11-12 02:00:00 | 14.44 | 138.5 | 15.27 | 154.4 | 16.3389 | 145.445 | 15.62 | 143.7 | 12.74 | 980.789 | 48.2676 | 88.1758
2020-11-12 02:15:00 | 13.98 | 138 | 14.41 | 153.5 | 15.4187 | 144.597 | 14.45 | 143.9 | 12.68 | 980.64 | 49.1551 | 89.1012
2020-11-12 02:30:00 | 12.62 | 139.4 | 13.1 | 157.1 | 14.017 | 147.988 | 13.86 | 144.7 | 12.43 | 980.195 | 50.0768 | 86.6109
2020-11-12 02:45:00 | 12.7 | 137.8 | 12.69 | 154 | 13.5783 | 145.068 | 13.21 | 143.6 | 12.4 | 980.492 | 50.7254 | 87.8782
2020-11-12 03:00:00 | 13.75 | 139 | 14.25 | 154.7 | 15.2475 | 145.727 | 14.26 | 144.7 | 12.28 | 980.195 | 51.8177 | 88.8389
2020-11-12 03:15:00 | 13.4 | 140.3 | 13.49 | 157.8 | 14.4343 | 148.648 | 14.05 | 144.9 | 12.16 | 980.227 | 53.0466 | 89.0901
2020-11-12 03:30:00 | 12.49 | 139.7 | 12.94 | 157 | 13.8458 | 147.894 | 13.5 | 146.1 | 12.13 | 980.109 | 53.7293 | 87.9927
2020-11-12 03:45:00 | 13.24 | 140.3 | 13.89 | 156.7 | 14.8623 | 147.611 | 14.75 | 145.8 | 11.97 | 980.286 | 54.5486 | 86.3301
2020-11-12 04:00:00 | 11.95 | 140.6 | 12.71 | 157.9 | 13.5997 | 148.742 | 13.36 | 146.6 | 11.88 | 979.979 | 54.7534 | 83.1821
2020-11-12 04:15:00 | 13.71 | 142 | 13.64 | 155.6 | 14.5948 | 146.575 | 13.38 | 148 | 11.94 | 980.269 | 55.675 | 84.3082
2020-11-12 04:30:00 | 12.76 | 142.4 | 12.64 | 160.4 | 13.5248 | 151.097 | 13.09 | 147.1 | 11.8 | 980.11 | 56.5967 | 85.8924
2020-11-12 04:45:00 | 11.63 | 142.5 | 11.9 | 159.8 | 12.733 | 150.532 | 12.72 | 147.2 | 11.7 | 979.928 | 57.0063 | 83.4296
2020-11-12 05:00:00 | 12 | 143.6 | 12.23 | 159.5 | 13.0861 | 150.249 | 13.21 | 148.7 | 11.63 | 979.667 | 57.8597 | 84.4789
2020-11-12 05:15:00 | 10.88 | 143.5 | 11.4 | 160.5 | 12.198 | 151.191 | 12.17 | 148.9 | 11.68 | 980.201 | 58.645 | 82.8237
2020-11-12 05:30:00 | 11.47 | 145.4 | 11.71 | 161.7 | 12.5297 | 152.321 | 12.19 | 150.2 | 11.43 | 980.216 | 59.328 | 83.6291
2020-11-12 05:45:00 | 12.48 | 141.2 | 13.02 | 156.7 | 13.9314 | 147.611 | 13.38 | 146.6 | 11.47 | 980.514 | 59.3971 | 81.3199
2020-11-12 06:00:00 | 10.61 | 143.6 | 11.25 | 160.7 | 12.0375 | 151.379 | 12.95 | 148.6 | 11.47 | 980.664 | 60.2861 | 82.2362
2020-11-12 06:15:00 | 11.2 | 141.8 | 11.52 | 157.6 | 12.3264 | 148.459 | 11.79 | 148.8 | 11.49 | 980.201 | 60.4543 | 83.8213
2020-11-12 06:30:00 | 11.67 | 140.2 | 12.25 | 156.8 | 13.1075 | 147.706 | 13.03 | 145.8 | 11.46 | 980.381 | 61.037 | 81.996
2020-11-12 06:45:00 | 12.38 | 141 | 12.83 | 158 | 13.7281 | 148.836 | 13.14 | 147.3 | 11.51 | 980.387 | 61.5141 | 82.9197
2020-11-12 07:00:00 | 12.01 | 140.7 | 12.39 | 156.1 | 13.2573 | 147.046 | 12.86 | 147.5 | 11.49 | 980.716 | 61.5812 | 83.0121
2020-11-12 07:15:00 | 11.89 | 142.7 | 12.28 | 158.5 | 13.1396 | 149.307 | 13.35 | 148.3 | 11.48 | 980.872 | 62.1267 | 80.4109
2020-11-12 07:30:00 | 11.87 | 144.1 | 12.37 | 160 | 13.2359 | 150.72 | 13.04 | 149.3 | 11.62 | 981.413 | 62.1608 | 80.3887
2020-11-12 07:45:00 | 11.43 | 147.5 | 11.72 | 160.4 | 12.5404 | 151.097 | 12.32 | 152.7 | 11.7 | 981.387 | 62.3315 | 80.3814
2020-11-12 08:00:00 | 11.87 | 145.8 | 12.05 | 161.1 | 12.8935 | 151.756 | 13.13 | 150.4 | 11.85 | 981.977 | 62.6728 | 77.4329
2020-11-12 08:15:00 | 11.7 | 146.5 | 11.91 | 162 | 12.7437 | 152.604 | 11.95 | 151.7 | 11.86 | 981.977 | 63.3555 | 73.8082
2020-11-12 08:30:00 | 11.74 | 145.6 | 12.09 | 160 | 12.9363 | 150.72 | 12.41 | 151.9 | 11.92 | 981.977 | 63.6969 | 73.6457
2020-11-12 08:45:00 | 12.27 | 144.3 | 12.26 | 159.3 | 13.1182 | 150.061 | 12.15 | 151.1 | 11.94 | 982.125 | 64.2363 | 68.5283
2020-11-12 09:00:00 | 11.01 | 143.2 | 10.91 | 159.8 | 11.6737 | 150.532 | 11.64 | 148.7 | 11.96 | 982.571 | 64.2319 | 65.3979
2020-11-12 09:15:00 | 11.13 | 145.9 | 11.42 | 161.6 | 12.2194 | 152.227 | 11.09 | 151 | 12.22 | 982.422 | 63.2763 | 76.3713
2020-11-12 09:30:00 | 11.06 | 145.3 | 11.32 | 160.6 | 12.1124 | 151.285 | 11.04 | 151.4 | 12.52 | 982.571 | 62.9352 | 72.8978
2020-11-12 09:45:00 | 10.42 | 148.5 | 10.58 | 163.2 | 11.3206 | 153.734 | 9.76 | 155.1 | 12.94 | 982.483 | 61.561 | 73.0751
2020-11-12 10:00:00 | 9.48 | 153.9 | 9.99 | 170.5 | 10.6893 | 160.611 | 9.63 | 161.7 | 13.71 | 982.454 | 59.3073 | 73.0365
2020-11-12 10:15:00 | 12.81 | 154 | 12.3 | 165.4 | 13.161 | 155.807 | 11.37 | 159.2 | 13.8 | 982.567 | 59.6144 | 68.8007
2020-11-12 10:30:00 | 9.99 | 151.4 | 10.24 | 166.9 | 10.9568 | 157.22 | 9.91 | 156.1 | 14.52 | 982.567 | 58.9661 | 65.4996
2020-11-12 10:45:00 | 8.76 | 164.3 | 8.92 | 181.7 | 9.5444 | 171.161 | 8.01 | 163.9 | 14.46 | 982.27 | 58.9289 | 53.6676
2020-11-12 11:00:00 | 8.89 | 154.7 | 9.06 | 169.4 | 9.6942 | 159.575 | 8.45 | 161.9 | 14.47 | 982.567 | 59.4333 | 46.2358
2020-11-12 11:15:00 | 6.894 | 173.7 | 6.407 | 191.3 | 6.8555 | 180.205 | 6.292 | 177.1 | 14.89 | 982.419 | 55.6738 | 39.5111
2020-11-12 11:30:00 | 6.797 | 175.2 | 6.729 | 193.8 | 7.2 | 182.56 | 5.949 | 177.2 | 14.97 | 982.419 | 56.6957 | 38.2306
2020-11-12 11:45:00 | 8.92 | 152.9 | 8.97 | 168 | 9.5979 | 158.256 | 7.887 | 159.3 | 14.92 | 982.27 | 56.4217 | 33.5529
2020-11-12 12:00:00 | 8.05 | 153.8 | 8.19 | 168.9 | 8.7633 | 159.104 | 7.685 | 159.5 | 15.05 | 982.122 | 54.3749 | 33.7118
2020-11-12 12:15:00 | 6.963 | 164.5 | 6.698 | 182.7 | 7.1669 | 172.103 | 6.147 | 166.4 | 15.67 | 982.27 | 53.2151 | 28.3099
2020-11-12 12:30:00 | 5.206 | 171.4 | 5.197 | 183.7 | 5.5608 | 173.045 | 5.755 | 174.9 | 15.8 | 982.27 | 52.9422 | 30.1093
2020-11-12 12:45:00 | 6.723 | 138.2 | 7.043 | 156 | 7.536 | 146.952 | 6.331 | 145 | 15.97 | 982.543 | 51.7824 | 29.9319
2020-11-12 13:00:00 | 7.808 | 150.8 | 7.861 | 167.9 | 8.4113 | 158.162 | 7.818 | 154.3 | 15.81 | 982.255 | 50.0768 | 30.4218
2020-11-12 13:15:00 | 8.2 | 146.2 | 8.38 | 162.2 | 8.9666 | 152.792 | 8.3 | 152.7 | 16.33 | 982.27 | 48.6441 | 32.3188
2020-11-12 13:30:00 | 8.92 | 135.6 | 9.25 | 151.4 | 9.8975 | 142.619 | 8.12 | 142.8 | 16.24 | 982.264 | 48.6099 | 34.0739
2020-11-12 13:45:00 | 8.62 | 139.2 | 8.57 | 155.6 | 9.1699 | 146.575 | 8.15 | 146.1 | 16.36 | 982.27 | 46.8702 | 28.9048
2020-11-12 14:00:00 | 7.624 | 143.6 | 7.583 | 159 | 8.1138 | 149.778 | 6.812 | 147.9 | 16.58 | 982.27 | 47.416 | 24.4857
2020-11-12 14:15:00 | 6.961 | 141.8 | 7.24 | 156.8 | 7.7468 | 147.706 | 6.842 | 148.5 | 16.99 | 982.662 | 45.8127 | 25.8676
2020-11-12 14:30:00 | 7.744 | 150.1 | 7.465 | 163.7 | 7.9875 | 154.205 | 6.534 | 161.3 | 16.83 | 982.662 | 44.4824 | 19.8746
2020-11-12 14:45:00 | 7.732 | 141 | 7.716 | 156.2 | 8.2561 | 147.14 | 6.845 | 149.1 | 16.83 | 982.696 | 43.1861 | 19.7305
2020-11-12 15:00:00 | 5.63 | 156.1 | 5.762 | 169.9 | 6.1653 | 160.046 | 4.907 | 163.2 | 16.94 | 982.558 | 42.845 | 17.0997
2020-11-12 15:15:00 | 5.321 | 148.5 | 5.335 | 165.4 | 5.7085 | 155.807 | 5.292 | 154.1 | 16.75 | 982.554 | 44.1412 | 13.0982
2020-11-12 15:30:00 | 5.743 | 152.9 | 5.698 | 168.7 | 6.0969 | 158.915 | 5.76 | 157 | 16.63 | 982.419 | 44.38 | 11.9011
2020-11-12 15:45:00 | 6.386 | 155.8 | 6.337 | 172.8 | 6.7806 | 162.778 | 6.308 | 159.3 | 16.5 | 982.419 | 44.8917 | 8.4538
2020-11-12 16:00:00 | 5.569 | 157 | 5.527 | 172.7 | 5.9139 | 162.683 | 5.141 | 162.7 | 16.41 | 981.973 | 45.7108 | 7.4192
2020-11-12 16:15:00 | 4.91 | 150.1 | 5.182 | 167 | 5.5447 | 157.314 | 4.854 | 156.2 | 16.24 | 981.825 | 46.1227 | 4.0459
2020-11-12 16:30:00 | 3.294 | 152 | 3.29 | 164 | 3.5203 | 154.488 | 3.537 | 157.2 | 16.06 | 981.676 | 47.7724 | 3.6431
2020-11-12 16:45:00 | 2.275 | 146.9 | 2.653 | 157.8 | 2.8387 | 148.648 | 3.354 | 151.4 | 15.79 | 981.676 | 48.2511 | 1.611
2020-11-12 17:00:00 | 1.647 | 137.3 | 2.142 | 154.4 | 2.2919 | 145.445 | 2.103 | 147.2 | 15.72 | 981.726 | 49.0019 | 0.37318
2020-11-12 17:15:00 | 2.594 | 114 | 2.981 | 127.6 | 3.1897 | 120.199 | 2.786 | 122.5 | 15.87 | 982.265 | 49.211 | -0.025864
2020-11-12 17:30:00 | 2.127 | 124.5 | 2.827 | 132.5 | 3.0249 | 124.815 | 2.681 | 125.7 | 15.7 | 982.571 | 50.2381 | -0.13671
2020-11-12 17:45:00 | 3.151 | 128 | 3.349 | 139.4 | 3.5834 | 131.315 | 3.236 | 133.6 | 15.74 | 982.719 | 50.3754 | 0.096066
2020-11-12 18:00:00 | 4.08 | 124 | 4.177 | 139.3 | 4.4694 | 131.221 | 3.794 | 127.5 | 15.77 | 982.868 | 50.1024 | 0.46186
2020-11-12 18:15:00 | 4.433 | 127 | 4.504 | 142 | 4.8193 | 133.764 | 4.09 | 128.7 | 15.75 | 982.868 | 48.6004 | 1.9546
2020-11-12 18:30:00 | 3.779 | 134.9 | 4.287 | 150.4 | 4.5871 | 141.677 | 4.357 | 139.8 | 15.62 | 983.165 | 50.0339 | 2.1134
2020-11-12 18:45:00 | 3.621 | 128.6 | 3.927 | 142.1 | 4.2019 | 133.858 | 3.606 | 132.9 | 15.68 | 983.165 | 49.6246 | 1.5038
2020-11-12 19:00:00 | 3.718 | 138.7 | 3.914 | 152.9 | 4.188 | 144.032 | 3.621 | 136.8 | 15.63 | 983.165 | 50.785 | 1.2415
2020-11-12 19:15:00 | 3.08 | 150.7 | 3.927 | 165.1 | 4.2019 | 155.524 | 4.061 | 145.5 | 15.47 | 983.165 | 51.058 | 1.1195
2020-11-12 19:30:00 | 2.947 | 147.8 | 3.86 | 159.8 | 4.1302 | 150.532 | 4.219 | 145.8 | 15.35 | 983.462 | 51.0575 | 0.67246
2020-11-12 19:45:00 | 2.145 | 154.3 | 3.328 | 162.7 | 3.561 | 153.263 | 3.626 | 146 | 15.36 | 983.759 | 51.3298 | 0.055423
2020-11-12 20:00:00 | 1.956 | 150.2 | 3.078 | 162.2 | 3.2935 | 152.792 | 3.425 | 146.1 | 15.31 | 983.61 | 51.9433 | -0.25494
2020-11-12 20:15:00 | 2.002 | 155.5 | 2.958 | 170.8 | 3.1651 | 160.894 | 3.257 | 147.1 | 15.3 | 983.61 | 51.9772 | -0.26233
2020-11-12 20:30:00 | 2.15 | 160.1 | 2.929 | 170.6 | 3.134 | 160.705 | 3.112 | 147.5 | 15.2 | 983.61 | 53.5818 | -0.25864
2020-11-12 20:45:00 | 1.143 | 157.1 | 2.413 | 173.2 | 2.5819 | 163.154 | 2.192 | 147.5 | 15.22 | 983.759 | 54.195 | -0.26972
2020-11-12 21:00:00 | 0.329 | 177.8 | 1.622 | 194 | 1.7355 | 182.748 | 0.355 | 147.3 | 15.22 | 983.759 | 54.743 | -0.24016
2020-11-12 21:15:00 | 0 | 204.5 | 0.026 | 199.2 | 0.02782 | 187.646 | 0 | 147.2 | 14.88 | 983.907 | 55.1551 | -0.24016
2020-11-12 21:30:00 | 0.13 | 204.5 | 0.011 | 199.2 | 0.01177 | 187.646 | 0 | 147.1 | 14.62 | 983.759 | 55.4997 | -0.25864
2020-11-12 21:45:00 | 2.18 | 15.88 | 2.292 | 355.4 | 2.4524 | 334.787 | 0.823 | 23.66 | 14.55 | 984.056 | 55.7091 | -0.24016
2020-11-12 22:00:00 | 2.528 | 352.9 | 2.919 | 0.186 | 3.1233 | 0.17521 | 1.477 | 356.6 | 14.62 | 984.056 | 56.1188 | -0.24016
2020-11-12 22:15:00 | 2.505 | 353 | 3.088 | 6.04 | 3.3042 | 5.6897 | 2.526 | 356.5 | 14.67 | 984.204 | 55.2991 | -0.25864
2020-11-12 22:30:00 | 2.64 | 27.72 | 3.029 | 16.9 | 3.241 | 15.9198 | 3.458 | 356.3 | 14.62 | 984.056 | 53.9334 | -0.25864
2020-11-12 22:45:00 | 2.109 | 4.873 | 2.983 | 18.46 | 3.1918 | 17.3893 | 2.134 | 7.192 | 14.6 | 984.353 | 54.4091 | -0.25864
2020-11-12 23:00:00 | 2.4 | 9.7 | 3.234 | 26.63 | 3.4604 | 25.0855 | 2.085 | 11.66 | 14.56 | 984.204 | 53.7275 | -0.26972
2020-11-12 23:15:00 | 2.464 | 6.154 | 3.666 | 27.29 | 3.9226 | 25.7072 | 2.523 | 10.22 | 14.57 | 984.353 | 52.9087 | -0.18844
2020-11-12 23:30:00 | 2.543 | 5.162 | 3.656 | 26.25 | 3.9119 | 24.7275 | 2.783 | 9.58 | 14.65 | 984.353 | 52.5327 | 0.34362
2020-11-12 23:45:00 | 1.908 | 18 | 3.796 | 31.19 | 4.0617 | 29.381 | 4.112 | 21.45 | 14.57 | 984.353 | 53.3146 | 1.659