## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-14 00:00:00 | 6.738 | 126.8 | 7.746 | 140.9 | 8.2882 | 132.728 | 8.42 | 133.8 | 12.79 | 983.462 | 66.0864 | 25.5905
2020-11-14 00:15:00 | 6.851 | 126.7 | 7.232 | 143.8 | 7.7382 | 135.46 | 7.856 | 132.3 | 12.97 | 983.462 | 66.7008 | 22.3243
2020-11-14 00:30:00 | 6.667 | 130.5 | 7.179 | 145.9 | 7.6815 | 137.438 | 7.362 | 136.4 | 12.77 | 983.462 | 67.4176 | 20.2071
2020-11-14 00:45:00 | 5.972 | 128 | 6.499 | 144.8 | 6.9539 | 136.402 | 6.97 | 133.4 | 12.6 | 983.313 | 68.4076 | 19.7859
2020-11-14 01:00:00 | 5.791 | 126.1 | 6.161 | 142.8 | 6.5923 | 134.518 | 6.448 | 132.5 | 12.41 | 983.313 | 69.8071 | 17.9052
2020-11-14 01:15:00 | 5.383 | 130 | 5.499 | 145.9 | 5.8839 | 137.438 | 6.224 | 135 | 12.26 | 982.883 | 69.5682 | 21.7183
2020-11-14 01:30:00 | 6.241 | 132 | 6.879 | 145.6 | 7.3605 | 137.155 | 6.725 | 140.6 | 12.39 | 983.175 | 68.8172 | 17.9976
2020-11-14 01:45:00 | 5.002 | 134.1 | 5.64 | 154.1 | 6.0348 | 145.162 | 5.918 | 139.7 | 12.32 | 982.898 | 68.9196 | 17.835
2020-11-14 02:00:00 | 4.752 | 136.8 | 5.34 | 153.1 | 5.7138 | 144.22 | 6.134 | 142.3 | 12.4 | 982.882 | 68.3393 | 15.5775
2020-11-14 02:15:00 | 3.71 | 137.7 | 4.072 | 158 | 4.357 | 148.836 | 5.335 | 144.2 | 12.14 | 982.924 | 72.299 | 14.2325
2020-11-14 02:30:00 | 3.92 | 137 | 4.573 | 155.2 | 4.8931 | 146.198 | 5.238 | 139.1 | 11.98 | 982.619 | 73.9375 | 18.489
2020-11-14 02:45:00 | 4.109 | 129 | 4.412 | 148 | 4.7208 | 139.416 | 4.866 | 132.5 | 11.8 | 982.682 | 76.1222 | 19.058
2020-11-14 03:00:00 | 4.862 | 141.5 | 5.386 | 157.3 | 5.763 | 148.177 | 5.518 | 144.9 | 11.64 | 982.61 | 76.9415 | 14.7498
2020-11-14 03:15:00 | 4.469 | 143.7 | 4.814 | 161.4 | 5.151 | 152.039 | 5.574 | 145.3 | 11.48 | 982.619 | 79.4675 | 17.5542
2020-11-14 03:30:00 | 4.259 | 138.3 | 4.586 | 155.9 | 4.907 | 146.858 | 4.91 | 143.4 | 11.14 | 982.434 | 79.7426 | 18.2451
2020-11-14 03:45:00 | 3.174 | 142.7 | 3.653 | 161.8 | 3.9087 | 152.416 | 5.045 | 144 | 11.09 | 982.459 | 81.0118 | 18.0863
2020-11-14 04:00:00 | 4.563 | 136.1 | 5.202 | 157.3 | 5.5661 | 148.177 | 5.635 | 140.9 | 11.21 | 982.142 | 79.2775 | 22.9745
2020-11-14 04:15:00 | 4.55 | 135.2 | 5.049 | 151.4 | 5.4024 | 142.619 | 5.875 | 138.5 | 11.53 | 982.333 | 78.1803 | 15.9839
2020-11-14 04:30:00 | 4.172 | 143 | 4.443 | 161.7 | 4.754 | 152.321 | 5.444 | 144.5 | 11.49 | 982.371 | 79.7513 | 18.3153
2020-11-14 04:45:00 | 4.116 | 133.3 | 4.589 | 146.1 | 4.9102 | 137.626 | 4.787 | 138.8 | 11.42 | 982.182 | 80.0905 | 21.2749
2020-11-14 05:00:00 | 5.388 | 133.3 | 5.514 | 149 | 5.9 | 140.358 | 5.747 | 138.3 | 11.43 | 982.322 | 80.8743 | 22.3871
2020-11-14 05:15:00 | 5.993 | 136.5 | 6.294 | 152.4 | 6.7346 | 143.561 | 6.43 | 139.1 | 11.41 | 982.348 | 81.66 | 20.8315
2020-11-14 05:30:00 | 6.284 | 136.5 | 6.504 | 151 | 6.9593 | 142.242 | 6.883 | 138.6 | 11.35 | 982.374 | 81.7241 | 24.8626
2020-11-14 05:45:00 | 7.106 | 136.6 | 7.34 | 155.2 | 7.8538 | 146.198 | 7.051 | 139 | 11.38 | 982.19 | 82.1398 | 28.369
2020-11-14 06:00:00 | 6.202 | 140.3 | 6.419 | 157.4 | 6.8683 | 148.271 | 6.69 | 140.5 | 11.23 | 982.327 | 84.0487 | 29.2114
2020-11-14 06:15:00 | 6.435 | 140.1 | 6.933 | 158.8 | 7.4183 | 149.59 | 7.68 | 141 | 11.09 | 982.694 | 84.3955 | 23.3625
2020-11-14 06:30:00 | 6.332 | 140.9 | 6.481 | 158.7 | 6.9347 | 149.495 | 6.858 | 141.1 | 10.87 | 982.774 | 86.0032 | 23.7763
2020-11-14 06:45:00 | 4.859 | 146 | 5.376 | 162.2 | 5.7523 | 152.792 | 6.562 | 145.7 | 10.87 | 982.8 | 86.9922 | 26.8763
2020-11-14 07:00:00 | 7.64 | 140.4 | 7.698 | 156.4 | 8.2369 | 147.329 | 7.963 | 141.9 | 11.09 | 982.773 | 87.1988 | 42.2912
2020-11-14 07:15:00 | 7.64 | 139.5 | 8.07 | 152.6 | 8.6349 | 143.749 | 8.17 | 141.2 | 11.2 | 983.006 | 88.8366 | 39.2023
2020-11-14 07:30:00 | 6.422 | 143.2 | 6.632 | 158 | 7.0962 | 148.836 | 7.217 | 140.4 | 11.06 | 983.091 | 89.9862 | 42.4612
2020-11-14 07:45:00 | 7.139 | 141.7 | 7.289 | 159.6 | 7.7992 | 150.343 | 7.879 | 143 | 10.97 | 982.925 | 90.461 | 41.5264
2020-11-14 08:00:00 | 6.059 | 135.7 | 6.376 | 156.3 | 6.8223 | 147.235 | 6.743 | 136.2 | 11.07 | 983.2 | 91.1091 | 34.4433
2020-11-14 08:15:00 | 7.729 | 137.6 | 7.979 | 158.7 | 8.5375 | 149.495 | 8.28 | 138.2 | 11.13 | 983.217 | 91.1419 | 31.3397
2020-11-14 08:30:00 | 6.547 | 140.7 | 7.061 | 159.8 | 7.5553 | 150.532 | 7.581 | 139.3 | 11.2 | 983.345 | 90.8346 | 27.316
2020-11-14 08:45:00 | 7.908 | 139.9 | 8.1 | 160.1 | 8.667 | 150.814 | 7.838 | 142.2 | 11.27 | 983.493 | 90.6298 | 24.1126
2020-11-14 09:00:00 | 8.02 | 143.4 | 8.11 | 161.5 | 8.6777 | 152.133 | 8.1 | 143.2 | 11.11 | 983.462 | 92.2342 | 25.7937
2020-11-14 09:15:00 | 8.36 | 142.7 | 8.6 | 157.4 | 9.202 | 148.271 | 8.52 | 143.4 | 11.14 | 983.462 | 91.3808 | 34.883
2020-11-14 09:30:00 | 9.81 | 148.4 | 10.02 | 163.5 | 10.7214 | 154.017 | 9.31 | 147.8 | 11.23 | 983.165 | 90.8346 | 35.6479
2020-11-14 09:45:00 | 8.8 | 144.6 | 9.05 | 161.4 | 9.6835 | 152.039 | 8.6 | 145.1 | 11.54 | 983.165 | 89.0937 | 35.6516
2020-11-14 10:00:00 | 8.96 | 143 | 9.02 | 158.7 | 9.6514 | 149.495 | 8.73 | 146.3 | 11.96 | 983.462 | 86.6345 | 31.432
2020-11-14 10:15:00 | 8.28 | 146.2 | 8.54 | 162.9 | 9.1378 | 153.452 | 8.29 | 147 | 12.28 | 983.61 | 84.5723 | 32.2671
2020-11-14 10:30:00 | 7.29 | 139.6 | 7.703 | 157.6 | 8.2422 | 148.459 | 7.324 | 143.4 | 12.43 | 983.61 | 82.7289 | 26.5401
2020-11-14 10:45:00 | 7.367 | 137.3 | 7.792 | 153.9 | 8.3374 | 144.974 | 7.808 | 142.2 | 12.61 | 983.759 | 81.467 | 20.8759
2020-11-14 11:00:00 | 7.063 | 139.3 | 7.519 | 154.2 | 8.0453 | 145.256 | 6.636 | 146.4 | 13.05 | 983.759 | 79.0098 | 21.7183
2020-11-14 11:15:00 | 8.23 | 154.9 | 8.13 | 170.5 | 8.6991 | 160.611 | 7.37 | 157.4 | 13.06 | 983.462 | 79.172 | 22.3058
2020-11-14 11:30:00 | 6.534 | 143.2 | 6.552 | 157.7 | 7.0106 | 148.553 | 5.814 | 150.8 | 13.24 | 983.011 | 77.5636 | 20.3401
2020-11-14 11:45:00 | 6.212 | 141.7 | 6.532 | 160.5 | 6.9892 | 151.191 | 6.473 | 147.1 | 13.3 | 982.882 | 75.6185 | 15.2265
2020-11-14 12:00:00 | 6.47 | 148.8 | 6.545 | 163.2 | 7.0031 | 153.734 | 5.752 | 153.3 | 13.32 | 982.573 | 78.8262 | 16.7007
2020-11-14 12:15:00 | 6.069 | 145.8 | 6.041 | 163 | 6.4639 | 153.546 | 5.793 | 149.1 | 13.36 | 982.27 | 77.3588 | 18.2525
2020-11-14 12:30:00 | 5.495 | 145.6 | 5.637 | 161.5 | 6.0316 | 152.133 | 5.215 | 148.5 | 13.13 | 982.013 | 78.5532 | 15.389
2020-11-14 12:45:00 | 6.547 | 157 | 6.527 | 169.2 | 6.9839 | 159.386 | 6.073 | 162.3 | 13.73 | 982.193 | 77.12 | 18.4077
2020-11-14 13:00:00 | 5.674 | 184.1 | 5.478 | 202.9 | 5.8615 | 191.132 | 5.34 | 178.2 | 13.55 | 981.706 | 77.8024 | 18.1639
2020-11-14 13:15:00 | 6.899 | 190.4 | 6.465 | 208 | 6.9176 | 195.936 | 5.177 | 185.8 | 13.31 | 981.677 | 78.2802 | 21.2564
2020-11-14 13:30:00 | 6.692 | 185.2 | 6.562 | 199.6 | 7.0213 | 188.023 | 5.075 | 185.8 | 13.47 | 981.677 | 76.9152 | 20.6616
2020-11-14 13:45:00 | 5.926 | 170.8 | 5.601 | 190 | 5.9931 | 178.98 | 4.609 | 171.8 | 13.55 | 981.546 | 77.2565 | 15.4925
2020-11-14 14:00:00 | 4.869 | 189.5 | 4.793 | 202.5 | 5.1285 | 190.755 | 3.501 | 186.4 | 13.61 | 981.677 | 76.4034 | 11.8974
2020-11-14 14:15:00 | 4.017 | 156.7 | 4.215 | 175.6 | 4.51 | 165.415 | 4.199 | 160.3 | 13.79 | 981.677 | 74.0829 | 12.2964
2020-11-14 14:30:00 | 4.617 | 191.6 | 4.374 | 203.1 | 4.6802 | 191.32 | 3.096 | 187 | 14.01 | 981.677 | 73.9123 | 9.5881
2020-11-14 14:45:00 | 4.839 | 161.4 | 5.021 | 175.3 | 5.3725 | 165.133 | 4.135 | 164 | 14.18 | 981.677 | 73.1616 | 10.6855
2020-11-14 15:00:00 | 4.223 | 154.9 | 4.361 | 173.2 | 4.6663 | 163.154 | 4.393 | 157.1 | 14.1 | 981.677 | 72.3426 | 10.8333
2020-11-14 15:15:00 | 5.72 | 152.2 | 5.762 | 167.7 | 6.1653 | 157.973 | 5.495 | 155.9 | 13.87 | 981.677 | 73.0251 | 9.1891
2020-11-14 15:30:00 | 3.331 | 162.8 | 3.368 | 178.8 | 3.6038 | 168.43 | 2.671 | 164.5 | 13.95 | 981.528 | 71.9331 | 5.5238
2020-11-14 15:45:00 | 3.853 | 156.3 | 3.988 | 172.4 | 4.2672 | 162.401 | 3.601 | 161 | 14.04 | 981.251 | 72.6156 | 3.9646
2020-11-14 16:00:00 | 2.753 | 168.7 | 2.791 | 176.8 | 2.9864 | 166.546 | 2.337 | 169.8 | 13.78 | 981.345 | 73.2298 | 4.1826
2020-11-14 16:15:00 | 3.447 | 154 | 3.829 | 171.9 | 4.097 | 161.93 | 4.316 | 157.4 | 13.6 | 981.086 | 73.514 | 4.7109
2020-11-14 16:30:00 | 4.024 | 156.2 | 4.32 | 171.6 | 4.6224 | 161.647 | 4.14 | 153.9 | 13.45 | 980.789 | 74.128 | 6.0928
2020-11-14 16:45:00 | 2.773 | 144.7 | 3.316 | 164.3 | 3.5481 | 154.771 | 3.97 | 150.2 | 13.24 | 980.492 | 75.5628 | 6.2628
2020-11-14 17:00:00 | 3.955 | 146.5 | 4.65 | 160.5 | 4.9755 | 151.191 | 5.264 | 151 | 13.24 | 980.195 | 74.9271 | 6.9722
2020-11-14 17:15:00 | 3.907 | 147.7 | 4.568 | 162.2 | 4.8878 | 152.792 | 5.172 | 150.8 | 13.25 | 980.344 | 74.552 | 7.2234
2020-11-14 17:30:00 | 4.744 | 144.6 | 5.205 | 160.3 | 5.5694 | 151.003 | 5.755 | 146.6 | 13.38 | 980.195 | 73.9375 | 8.6718
2020-11-14 17:45:00 | 4.877 | 142.3 | 5.305 | 159.2 | 5.6764 | 149.966 | 6.453 | 144.9 | 13.28 | 980.195 | 74.2789 | 14.3027
2020-11-14 18:00:00 | 5.72 | 141 | 6.537 | 159.3 | 6.9946 | 150.061 | 7.306 | 143.6 | 13.26 | 980.195 | 73.2548 | 21.4966
2020-11-14 18:15:00 | 5.702 | 138.5 | 6.294 | 153.2 | 6.7346 | 144.314 | 6.853 | 142.7 | 13.53 | 980.344 | 72.0259 | 16.6859
2020-11-14 18:30:00 | 5.707 | 138.5 | 6.529 | 153.4 | 6.986 | 144.503 | 6.832 | 144.3 | 13.56 | 980.344 | 72.4014 | 20.4657
2020-11-14 18:45:00 | 6.659 | 137.6 | 6.956 | 152.7 | 7.4429 | 143.843 | 7.316 | 141.2 | 13.66 | 980.344 | 71.6163 | 28.3469
2020-11-14 19:00:00 | 6.973 | 134.7 | 7.007 | 150.5 | 7.4975 | 141.771 | 7.673 | 141.4 | 13.66 | 980.195 | 71.4798 | 25.4058
2020-11-14 19:15:00 | 7.096 | 137.6 | 7.327 | 154.5 | 7.8399 | 145.539 | 7.507 | 141 | 13.71 | 980.195 | 71.4115 | 23.2295
2020-11-14 19:30:00 | 6.529 | 134.6 | 6.67 | 153.3 | 7.1369 | 144.409 | 6.692 | 140.1 | 13.6 | 980.492 | 71.0019 | 27.1682
2020-11-14 19:45:00 | 6.971 | 137.3 | 7.345 | 151.5 | 7.8591 | 142.713 | 7.963 | 139.5 | 13.6 | 980.195 | 70.3874 | 37.8167
2020-11-14 20:00:00 | 7.114 | 135.3 | 7.641 | 151.1 | 8.1759 | 142.336 | 8.31 | 140.5 | 13.75 | 980.195 | 68.8172 | 34.8461
2020-11-14 20:15:00 | 7.796 | 139.1 | 8.17 | 154.3 | 8.7419 | 145.351 | 8.48 | 142.8 | 13.75 | 980.344 | 67.8614 | 32.6513
2020-11-14 20:30:00 | 7.19 | 137.9 | 7.721 | 153.4 | 8.2615 | 144.503 | 8.08 | 142.2 | 13.6 | 980.492 | 67.7249 | 32.7474
2020-11-14 20:45:00 | 7.481 | 141 | 7.969 | 156.5 | 8.5268 | 147.423 | 8.86 | 144.1 | 13.52 | 980.492 | 68.2028 | 27.7409
2020-11-14 21:00:00 | 7.66 | 141.3 | 7.889 | 155 | 8.4412 | 146.01 | 8.31 | 145.6 | 13.46 | 980.344 | 69.022 | 26.3406
2020-11-14 21:15:00 | 7.374 | 139.8 | 7.744 | 157.9 | 8.2861 | 148.742 | 8.32 | 145.5 | 13.25 | 980.492 | 70.4557 | 31.0404
2020-11-14 21:30:00 | 7.556 | 139 | 8.11 | 155.4 | 8.6777 | 146.387 | 8.78 | 143.6 | 13.15 | 980.492 | 70.3874 | 35.2156
2020-11-14 21:45:00 | 8.16 | 138.8 | 8.4 | 154.3 | 8.988 | 145.351 | 8.51 | 142.6 | 13.2 | 980.492 | 69.9778 | 36.1541
2020-11-14 22:00:00 | 7.665 | 138.2 | 7.989 | 153.8 | 8.5482 | 144.88 | 8.44 | 144.7 | 13.14 | 980.492 | 70.2509 | 37.8943
2020-11-14 22:15:00 | 7.287 | 139.5 | 7.866 | 155.7 | 8.4166 | 146.669 | 8.13 | 143.7 | 13.09 | 980.492 | 70.7288 | 30.8261
2020-11-14 22:30:00 | 5.602 | 142.4 | 6.015 | 160.9 | 6.436 | 151.568 | 6.995 | 146.3 | 12.9 | 980.492 | 72.7086 | 27.5525
2020-11-14 22:45:00 | 5.638 | 140.6 | 5.982 | 156.6 | 6.4007 | 147.517 | 6.893 | 144.2 | 12.91 | 980.492 | 72.6404 | 22.9524
2020-11-14 23:00:00 | 5.919 | 144.3 | 6.32 | 158.2 | 6.7624 | 149.024 | 7.112 | 147.5 | 12.8 | 980.492 | 73.6986 | 22.2873
2020-11-14 23:15:00 | 5.74 | 141.2 | 6.419 | 156.7 | 6.8683 | 147.611 | 7.377 | 145.1 | 12.8 | 980.64 | 73.3914 | 20.3919
2020-11-14 23:30:00 | 5.85 | 139.5 | 6.302 | 156.5 | 6.7431 | 147.423 | 7.449 | 143.7 | 12.95 | 980.789 | 73.7327 | 18.005
2020-11-14 23:45:00 | 6.016 | 136.9 | 6.222 | 154.1 | 6.6575 | 145.162 | 6.916 | 140.8 | 13 | 980.789 | 73.5279 | 17.1478