## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-15 00:00:00 | 6.192 | 136.7 | 6.57 | 154.4 | 7.0299 | 145.445 | 6.891 | 140.3 | 12.96 | 980.789 | 73.801 | 14.9826
2020-11-15 00:15:00 | 4.913 | 137.5 | 5.082 | 156.5 | 5.4377 | 147.423 | 5.19 | 141.3 | 12.95 | 980.937 | 73.6644 | 10.3751
2020-11-15 00:30:00 | 4.982 | 132.8 | 5.412 | 150.1 | 5.7908 | 141.394 | 5.956 | 139.9 | 12.78 | 980.789 | 73.5962 | 11.6535
2020-11-15 00:45:00 | 5.692 | 134 | 6.22 | 149.5 | 6.6554 | 140.829 | 6.598 | 138.7 | 12.92 | 980.804 | 73.2548 | 15.3114
2020-11-15 01:00:00 | 5.171 | 134.8 | 5.486 | 151.3 | 5.87 | 142.525 | 5.921 | 138.5 | 12.81 | 980.789 | 74.8251 | 18.9139
2020-11-15 01:15:00 | 5.661 | 138.1 | 6.143 | 154.3 | 6.573 | 145.351 | 6.84 | 142.1 | 12.74 | 980.789 | 74.6885 | 22.5829
2020-11-15 01:30:00 | 5.086 | 138.6 | 5.481 | 153.2 | 5.8647 | 144.314 | 6.106 | 141.2 | 12.56 | 980.665 | 75.6102 | 24.9402
2020-11-15 01:45:00 | 5.183 | 139.1 | 5.729 | 154.3 | 6.13 | 145.351 | 6.257 | 139.3 | 12.36 | 980.352 | 76.6001 | 28.369
2020-11-15 02:00:00 | 5.316 | 138.7 | 5.801 | 156.2 | 6.2071 | 147.14 | 6.364 | 140.3 | 12.32 | 980.195 | 77.6242 | 28.1067
2020-11-15 02:15:00 | 5.344 | 132.4 | 5.813 | 150.6 | 6.2199 | 141.865 | 6.356 | 136.8 | 12.31 | 980.196 | 76.4294 | 29.2151
2020-11-15 02:30:00 | 6.031 | 132.1 | 7.079 | 149.3 | 7.5745 | 140.641 | 7.805 | 136.8 | 12.24 | 979.908 | 77.6924 | 34.4914
2020-11-15 02:45:00 | 6.751 | 131.7 | 7.153 | 150 | 7.6537 | 141.3 | 7.26 | 136.9 | 12.18 | 979.911 | 77.9314 | 36.1097
2020-11-15 03:00:00 | 6.953 | 131.6 | 7.36 | 149 | 7.8752 | 140.358 | 7.82 | 135.4 | 12.12 | 979.618 | 78.4776 | 42.7494
2020-11-15 03:15:00 | 6.915 | 133.7 | 7.34 | 148.8 | 7.8538 | 140.17 | 7.538 | 138.7 | 12.07 | 979.642 | 79.2627 | 45.2766
2020-11-15 03:30:00 | 6.807 | 134.1 | 7.191 | 150.2 | 7.6944 | 141.488 | 7.533 | 136.5 | 11.93 | 979.635 | 80.4574 | 44.6781
2020-11-15 03:45:00 | 6.989 | 137.5 | 6.969 | 150.9 | 7.4568 | 142.148 | 6.975 | 140.9 | 11.84 | 979.702 | 80.867 | 48.7904
2020-11-15 04:00:00 | 6.498 | 133.4 | 7.11 | 149.2 | 7.6077 | 140.546 | 8.1 | 137.9 | 11.85 | 979.688 | 80.9012 | 46.5846
2020-11-15 04:15:00 | 6.922 | 134.4 | 7.56 | 150.4 | 8.0892 | 141.677 | 7.861 | 138.3 | 11.69 | 979.633 | 81.1743 | 48.8274
2020-11-15 04:30:00 | 6.246 | 137.8 | 6.759 | 151.3 | 7.2321 | 142.525 | 6.909 | 140 | 11.71 | 979.643 | 82.0959 | 46.6918
2020-11-15 04:45:00 | 5.942 | 134.5 | 6.187 | 150.6 | 6.6201 | 141.865 | 7.095 | 137.7 | 11.75 | 979.622 | 82.4373 | 45.8715
2020-11-15 05:00:00 | 5.046 | 140.6 | 5.499 | 156 | 5.8839 | 146.952 | 6.022 | 141.7 | 11.69 | 979.634 | 83.8034 | 46.156
2020-11-15 05:15:00 | 5.145 | 139 | 5.596 | 156.6 | 5.9877 | 147.517 | 5.88 | 142.4 | 11.43 | 979.616 | 84.487 | 47.5896
2020-11-15 05:30:00 | 5.638 | 134.8 | 6.187 | 149.9 | 6.6201 | 141.206 | 6.781 | 141 | 11.46 | 979.665 | 84.5254 | 45.7126
2020-11-15 05:45:00 | 5.653 | 140.1 | 6.028 | 155.5 | 6.45 | 146.481 | 7.013 | 140.4 | 11.51 | 979.631 | 84.4542 | 44.8554
2020-11-15 06:00:00 | 5.643 | 133 | 5.903 | 151.4 | 6.3162 | 142.619 | 6.825 | 133.5 | 11.49 | 979.639 | 84.596 | 47.5822
2020-11-15 06:15:00 | 6.412 | 132 | 6.565 | 147 | 7.0245 | 138.474 | 6.794 | 132.9 | 11.41 | 979.701 | 85.7225 | 45.8198
2020-11-15 06:30:00 | 5.939 | 131.1 | 6.532 | 144.2 | 6.9892 | 135.836 | 6.639 | 133.1 | 11.46 | 979.646 | 85.7537 | 47.0502
2020-11-15 06:45:00 | 6.33 | 131.7 | 6.754 | 141.8 | 7.2268 | 133.576 | 6.453 | 134.5 | 11.37 | 979.842 | 86.8448 | 47.4492
2020-11-15 07:00:00 | 6.994 | 128.1 | 7.744 | 139.6 | 8.2861 | 131.503 | 7.199 | 132.2 | 11.39 | 980.242 | 86.501 | 47.8372
2020-11-15 07:15:00 | 7.28 | 126.2 | 8.23 | 139 | 8.8061 | 130.938 | 8.65 | 131.3 | 11.51 | 980.37 | 86.4315 | 42.3466
2020-11-15 07:30:00 | 7.895 | 129.6 | 8.58 | 141.2 | 9.1806 | 133.01 | 8.78 | 137 | 11.7 | 980.422 | 84.8609 | 42.8417
2020-11-15 07:45:00 | 7.816 | 130.5 | 8.69 | 143.1 | 9.2983 | 134.8 | 9.03 | 137.3 | 11.96 | 980.79 | 83.9051 | 38.6776
2020-11-15 08:00:00 | 7.43 | 128.6 | 8.24 | 141.6 | 8.8168 | 133.387 | 8.35 | 136.2 | 12.17 | 981.086 | 83.0859 | 38.371
2020-11-15 08:15:00 | 8.02 | 129.4 | 8.78 | 140.6 | 9.3946 | 132.445 | 9.11 | 139.6 | 12.38 | 981.235 | 80.9681 | 36.7896
2020-11-15 08:30:00 | 8.17 | 133.7 | 8.9 | 146.2 | 9.523 | 137.72 | 8.58 | 142.9 | 12.78 | 981.532 | 78.9757 | 28.9233
2020-11-15 08:45:00 | 8.09 | 135.1 | 8.86 | 148.2 | 9.4802 | 139.604 | 8.14 | 142.4 | 12.99 | 981.68 | 79.1126 | 28.0291
2020-11-15 09:00:00 | 7.341 | 140 | 7.588 | 153.9 | 8.1192 | 144.974 | 7.487 | 144.1 | 13.06 | 981.935 | 77.8049 | 23.2554
2020-11-15 09:15:00 | 6.391 | 141.6 | 6.923 | 154.1 | 7.4076 | 145.162 | 7.219 | 146.7 | 13.3 | 981.69 | 76.4375 | 22.1949
2020-11-15 09:30:00 | 6.332 | 142.9 | 6.757 | 161.1 | 7.23 | 151.756 | 7.224 | 147.8 | 13.52 | 982.122 | 76.8807 | 18.2525
2020-11-15 09:45:00 | 6.435 | 145.7 | 6.862 | 163 | 7.3423 | 153.546 | 7.156 | 152.7 | 13.7 | 981.974 | 76.8456 | 16.6268
2020-11-15 10:00:00 | 6.815 | 146.5 | 6.816 | 165.1 | 7.2931 | 155.524 | 6.575 | 148.5 | 13.43 | 982.122 | 76.9008 | 18.5962
2020-11-15 10:15:00 | 5.909 | 146.6 | 5.959 | 163.3 | 6.3761 | 153.829 | 6.119 | 151 | 13.82 | 982.27 | 75.9364 | 18.6183
2020-11-15 10:30:00 | 6.429 | 148.2 | 6.286 | 163.3 | 6.726 | 153.829 | 5.938 | 152.1 | 13.83 | 981.974 | 75.7303 | 15.9876
2020-11-15 10:45:00 | 6.238 | 146.6 | 6.1 | 161.9 | 6.527 | 152.51 | 5.325 | 151.8 | 14.31 | 981.974 | 74.7763 | 14.5244
2020-11-15 11:00:00 | 4.522 | 146.7 | 4.581 | 163.8 | 4.9017 | 154.3 | 4.031 | 149.9 | 14.65 | 982.27 | 72.3863 | 9.5216
2020-11-15 11:15:00 | 4.303 | 149.3 | 4.377 | 163.3 | 4.6834 | 153.829 | 3.853 | 161.9 | 15.07 | 981.974 | 70.6465 | 9.88
2020-11-15 11:30:00 | 4.693 | 135.4 | 4.671 | 151 | 4.998 | 142.242 | 4.023 | 143.2 | 15.21 | 982.019 | 68.5997 | 8.9304
2020-11-15 11:45:00 | 4.042 | 187 | 4.348 | 205.3 | 4.6524 | 193.393 | 3.792 | 188.3 | 15.73 | 981.555 | 65.4955 | 8.0695
2020-11-15 12:00:00 | 5.492 | 183.2 | 5.123 | 198.6 | 5.4816 | 187.081 | 4.869 | 184.7 | 15.86 | 981.387 | 66.6553 | 8.5425
2020-11-15 12:15:00 | 5.462 | 157.6 | 5.412 | 169.3 | 5.7908 | 159.481 | 4.731 | 168.2 | 15.73 | 981.378 | 67.5422 | 7.4636
2020-11-15 12:30:00 | 4.033 | 188.5 | 4.655 | 202.3 | 4.9809 | 190.567 | 4.14 | 184.6 | 15.67 | 981.159 | 67.3376 | 7.4931
2020-11-15 12:45:00 | 4.739 | 149.7 | 4.747 | 165.5 | 5.0793 | 155.901 | 4.095 | 154.6 | 15.76 | 981.361 | 62.9712 | 8.4464
2020-11-15 13:00:00 | 6.052 | 180.9 | 5.826 | 195.4 | 6.2338 | 184.067 | 5.286 | 180.4 | 16.06 | 981.631 | 60.9927 | 7.338
2020-11-15 13:15:00 | 4.703 | 184.4 | 4.695 | 202.9 | 5.0236 | 191.132 | 4.1 | 181.2 | 16.05 | 981.155 | 62.9712 | 6.0854
2020-11-15 13:30:00 | 4.629 | 193.1 | 4.543 | 210 | 4.861 | 197.82 | 3.771 | 194.4 | 16.06 | 981.031 | 62.0843 | 5.4277
2020-11-15 13:45:00 | 5.235 | 136.3 | 5.366 | 153.6 | 5.7416 | 144.691 | 4.889 | 140.7 | 15.91 | 980.786 | 65.0862 | 4.9141
2020-11-15 14:00:00 | 3.751 | 185.5 | 3.783 | 199.8 | 4.0478 | 188.212 | 3.56 | 190.9 | 15.99 | 981.083 | 63.2441 | 3.7651
2020-11-15 14:15:00 | 3.856 | 150.5 | 3.973 | 171 | 4.2511 | 161.082 | 3.817 | 152.3 | 16.18 | 980.786 | 60.9245 | 1.6811
2020-11-15 14:30:00 | 3.927 | 148.9 | 4.154 | 165.9 | 4.4448 | 156.278 | 3.784 | 151.9 | 15.88 | 980.637 | 62.0847 | 1.3966
2020-11-15 14:45:00 | 3.565 | 141.2 | 3.84 | 158.9 | 4.1088 | 149.684 | 3.547 | 144.3 | 15.87 | 980.489 | 61.6075 | 1.6479
2020-11-15 15:00:00 | 3.741 | 136.5 | 4.021 | 151.5 | 4.3025 | 142.713 | 3.792 | 141.3 | 16.02 | 980.489 | 60.7289 | 1.0198
2020-11-15 15:15:00 | 3.302 | 129.3 | 3.62 | 148.2 | 3.8734 | 139.604 | 3.427 | 136 | 15.99 | 980.489 | 60.8008 | 1.0235
2020-11-15 15:30:00 | 3.935 | 143.8 | 3.819 | 163.9 | 4.0863 | 154.394 | 3.585 | 149.3 | 16.03 | 980.192 | 60.259 | 0.52097
2020-11-15 15:45:00 | 2.868 | 137.9 | 3.16 | 156.8 | 3.3812 | 147.706 | 2.936 | 140.1 | 15.91 | 980.044 | 59.9214 | 0.32884
2020-11-15 16:00:00 | 1.765 | 107.6 | 2.513 | 127.9 | 2.6889 | 120.482 | 2.353 | 115.7 | 15.84 | 980.044 | 61.5253 | -0.1404
2020-11-15 16:15:00 | 1.875 | 114.8 | 2.255 | 129.2 | 2.4129 | 121.706 | 2.129 | 117.9 | 15.76 | 979.895 | 61.9007 | -0.33993
2020-11-15 16:30:00 | 1.681 | 119 | 2.628 | 132.2 | 2.812 | 124.532 | 2.447 | 119.4 | 15.7 | 979.895 | 62.0713 | -0.26972
2020-11-15 16:45:00 | 1.249 | 95.3 | 1.917 | 114.9 | 2.0512 | 108.236 | 1.948 | 102.9 | 15.69 | 980.028 | 62.0031 | -0.25864
2020-11-15 17:00:00 | 1.655 | 87.9 | 2.428 | 103.5 | 2.598 | 97.497 | 2.691 | 97.2 | 15.69 | 980.118 | 62.3102 | -0.25864
2020-11-15 17:15:00 | 2.857 | 99.5 | 3.323 | 115.4 | 3.5556 | 108.707 | 3.509 | 104.1 | 15.63 | 980.044 | 63.2665 | -0.25864
2020-11-15 17:30:00 | 2.788 | 105.1 | 3.502 | 119.2 | 3.7471 | 112.286 | 3.82 | 110.4 | 15.6 | 980.176 | 63.8183 | -0.21061
2020-11-15 17:45:00 | 1.865 | 101.8 | 2.733 | 114.8 | 2.9243 | 108.142 | 2.877 | 107.5 | 15.5 | 980.344 | 63.7494 | -0.22539
2020-11-15 18:00:00 | 2.219 | 96.2 | 2.822 | 111.2 | 3.0195 | 104.75 | 2.918 | 101.5 | 15.6 | 980.492 | 63.6158 | -0.2143
2020-11-15 18:15:00 | 1.413 | 95.7 | 2.18 | 111 | 2.3326 | 104.562 | 2.521 | 102.2 | 15.54 | 980.789 | 63.2745 | -0.25864
2020-11-15 18:30:00 | 1.951 | 97.5 | 2.638 | 109.5 | 2.8227 | 103.149 | 2.877 | 108.1 | 15.59 | 980.789 | 63.0714 | -0.25864
2020-11-15 18:45:00 | 2.594 | 104.2 | 3.3 | 117.4 | 3.531 | 110.591 | 3.478 | 110 | 15.52 | 980.789 | 63.2739 | -0.25864
2020-11-15 19:00:00 | 2.765 | 111.4 | 3.285 | 124.2 | 3.5149 | 116.996 | 2.872 | 119 | 15.43 | 980.789 | 63.6841 | -0.22539
2020-11-15 19:15:00 | 2.74 | 106.9 | 3.257 | 120.4 | 3.485 | 113.417 | 3.585 | 113.5 | 15.35 | 980.789 | 64.6405 | -0.044338
2020-11-15 19:30:00 | 3.24 | 105.3 | 4.18 | 124.6 | 4.4726 | 117.373 | 4.693 | 108.8 | 15.24 | 980.64 | 63.9582 | 2.0654
2020-11-15 19:45:00 | 3.861 | 108.9 | 4.169 | 127.5 | 4.4608 | 120.105 | 4.436 | 111 | 15.22 | 980.492 | 63.2762 | 6.5805
2020-11-15 20:00:00 | 4.397 | 108.5 | 4.97 | 127.5 | 5.3179 | 120.105 | 5.312 | 111.7 | 15.3 | 980.789 | 62.184 | 6.1482
2020-11-15 20:15:00 | 4.54 | 120.6 | 5.072 | 139.4 | 5.427 | 131.315 | 5.455 | 122.7 | 15.38 | 980.789 | 60.9541 | 5.5755
2020-11-15 20:30:00 | 4.326 | 121.5 | 4.939 | 141.6 | 5.2847 | 133.387 | 5.205 | 126 | 15.39 | 980.789 | 61.2959 | 3.8722
2020-11-15 20:45:00 | 3.92 | 131.5 | 4.103 | 144.6 | 4.3902 | 136.213 | 4.334 | 135.3 | 15.3 | 980.789 | 61.228 | 3.9018
2020-11-15 21:00:00 | 4.637 | 130.8 | 4.729 | 146.2 | 5.06 | 137.72 | 4.851 | 135.1 | 14.95 | 980.789 | 59.1114 | 6.6914
2020-11-15 21:15:00 | 4.836 | 124.5 | 4.985 | 140.5 | 5.3339 | 132.351 | 4.861 | 128.8 | 14.97 | 980.789 | 58.9078 | 7.0387
2020-11-15 21:30:00 | 3.81 | 126.9 | 3.955 | 140.2 | 4.2318 | 132.068 | 3.901 | 132.8 | 14.95 | 980.789 | 60.4436 | 5.3945
2020-11-15 21:45:00 | 4.655 | 128.8 | 4.844 | 142.9 | 5.1831 | 134.612 | 4.79 | 134.3 | 14.61 | 980.789 | 61.7065 | 2.7379
2020-11-15 22:00:00 | 3.105 | 149.3 | 3.448 | 172.8 | 3.6894 | 162.778 | 3.779 | 153.7 | 14.5 | 981.086 | 63.2764 | 2.3758
2020-11-15 22:15:00 | 3.008 | 155.8 | 3.316 | 176.7 | 3.5481 | 166.451 | 3.506 | 156.4 | 14.3 | 980.789 | 63.7538 | 3.0963
2020-11-15 22:30:00 | 2.505 | 139.3 | 3.333 | 156 | 3.5663 | 146.952 | 4.054 | 146.3 | 14.17 | 980.789 | 62.5232 | 2.5827
2020-11-15 22:45:00 | 1.746 | 144.8 | 2.496 | 166.1 | 2.6707 | 156.466 | 3.595 | 145.5 | 14.3 | 980.789 | 62.8666 | 1.3228
2020-11-15 23:00:00 | 1.649 | 150.3 | 3.07 | 163.1 | 3.2849 | 153.64 | 3.509 | 157 | 14.61 | 981.086 | 61.3653 | 0.22169
2020-11-15 23:15:00 | 2.824 | 165.6 | 3.525 | 175.1 | 3.7717 | 164.944 | 3.407 | 172.3 | 14.65 | 981.086 | 61.7766 | 0.41382
2020-11-15 23:30:00 | 2.607 | 160.6 | 3.019 | 164.8 | 3.2303 | 155.242 | 3.163 | 169.8 | 14.68 | 981.086 | 61.4336 | -0.26603
2020-11-15 23:45:00 | 3.411 | 147.4 | 3.755 | 161.6 | 4.0179 | 152.227 | 3.45 | 153.1 | 14.73 | 980.789 | 60.6813 | -0.29189