## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-16 00:00:00 | 3.143 | 144.9 | 3.604 | 157.7 | 3.8563 | 148.553 | 3.736 | 148.9 | 14.71 | 980.789 | 60.1343 | -0.13671
2020-11-16 00:15:00 | 2.396 | 152.5 | 3.249 | 167.1 | 3.4764 | 157.408 | 3.117 | 151.7 | 14.77 | 980.789 | 59.6584 | 1.7624
2020-11-16 00:30:00 | 1.306 | 130.7 | 3.103 | 141.1 | 3.3202 | 132.916 | 3.224 | 140.8 | 14.9 | 980.789 | 61.1598 | 3.318
2020-11-16 00:45:00 | 3.823 | 103.1 | 4.369 | 115.9 | 4.6748 | 109.178 | 3.924 | 111.5 | 14.4 | 980.789 | 62.8986 | 5.7048
2020-11-16 01:00:00 | 3.616 | 104.6 | 4.18 | 118.1 | 4.4726 | 111.25 | 4.645 | 112.5 | 14.24 | 980.789 | 64.9134 | 4.6703
2020-11-16 01:15:00 | 4.479 | 117.2 | 5.274 | 129.8 | 5.6432 | 122.272 | 5.032 | 123.8 | 14.41 | 981.086 | 62.7295 | 6.1778
2020-11-16 01:30:00 | 5.487 | 121.4 | 5.757 | 137.8 | 6.16 | 129.808 | 5.663 | 127 | 14.52 | 981.086 | 63.0034 | 8.8418
2020-11-16 01:45:00 | 4.583 | 115.8 | 4.875 | 136.7 | 5.2162 | 128.771 | 4.907 | 119.5 | 14.29 | 980.937 | 65.323 | 13.8372
2020-11-16 02:00:00 | 4.696 | 116.1 | 4.86 | 137.8 | 5.2002 | 129.808 | 5.373 | 118.4 | 14.02 | 980.789 | 65.9385 | 9.6583
2020-11-16 02:15:00 | 2.744 | 106.1 | 3.356 | 124 | 3.5909 | 116.808 | 3.56 | 115.5 | 13.79 | 980.789 | 65.4607 | 15.3706
2020-11-16 02:30:00 | 5.477 | 99.2 | 5.931 | 115.3 | 6.3462 | 108.613 | 5.956 | 106.8 | 14.07 | 980.789 | 63.0054 | 15.8804
2020-11-16 02:45:00 | 5.342 | 101 | 6.02 | 115.6 | 6.4414 | 108.895 | 6.162 | 107.1 | 13.87 | 980.789 | 63.4159 | 9.0819
2020-11-16 03:00:00 | 3.736 | 105.1 | 4.103 | 117.3 | 4.3902 | 110.497 | 4.767 | 113.2 | 13.78 | 980.789 | 63.9294 | 12.6955
2020-11-16 03:15:00 | 3.521 | 107.6 | 4.448 | 123.4 | 4.7594 | 116.243 | 5.258 | 112.1 | 14.13 | 980.789 | 61.3713 | 14.942
2020-11-16 03:30:00 | 4.208 | 102.6 | 4.65 | 116 | 4.9755 | 109.272 | 5.35 | 108.5 | 14.24 | 980.789 | 60.2767 | 8.6792
2020-11-16 03:45:00 | 2.582 | 112 | 3.037 | 122.2 | 3.2496 | 115.112 | 3.043 | 116.1 | 14.04 | 980.789 | 63.005 | 7.5744
2020-11-16 04:00:00 | 4.239 | 88.9 | 4.76 | 105.4 | 5.0932 | 99.2868 | 5.055 | 95.6 | 13.8 | 980.789 | 63.555 | 12.2373
2020-11-16 04:15:00 | 4.989 | 100.2 | 5.785 | 113.3 | 6.1899 | 106.729 | 5.847 | 104.8 | 13.86 | 980.789 | 62.533 | 11.6794
2020-11-16 04:30:00 | 4.29 | 99.7 | 5.494 | 112.3 | 5.8786 | 105.787 | 5.694 | 106.7 | 13.88 | 980.789 | 62.6717 | 13.3421
2020-11-16 04:45:00 | 4.08 | 103.5 | 5.294 | 115.7 | 5.6646 | 108.989 | 5.625 | 107.6 | 13.87 | 980.789 | 61.1016 | 16.8079
2020-11-16 05:00:00 | 3.424 | 101.6 | 4.492 | 115.3 | 4.8064 | 108.613 | 4.581 | 109.5 | 14.09 | 980.789 | 62.3997 | 15.7622
2020-11-16 05:15:00 | 3.741 | 106.6 | 4.612 | 122.3 | 4.9348 | 115.207 | 4.739 | 109.4 | 13.77 | 980.64 | 63.9017 | 18.1971
2020-11-16 05:30:00 | 4.124 | 103.3 | 4.678 | 121.3 | 5.0055 | 114.265 | 5.335 | 105.8 | 13.59 | 980.64 | 61.2391 | 20.0335
2020-11-16 05:45:00 | 4.4 | 100.5 | 5.767 | 111.5 | 6.1707 | 105.033 | 5.742 | 107.1 | 13.66 | 980.789 | 60.215 | 21.6777
2020-11-16 06:00:00 | 4.144 | 107.5 | 5.044 | 117.2 | 5.3971 | 110.402 | 5.144 | 110.6 | 13.67 | 980.789 | 60.3516 | 26.9687
2020-11-16 06:15:00 | 5.837 | 99.8 | 6.9 | 111.4 | 7.383 | 104.939 | 6.636 | 105 | 13.73 | 980.789 | 60.0444 | 23.998
2020-11-16 06:30:00 | 5.132 | 97.6 | 6.113 | 111 | 6.5409 | 104.562 | 6.827 | 104.3 | 13.85 | 980.789 | 60.3516 | 25.5499
2020-11-16 06:45:00 | 4.29 | 102.6 | 5.113 | 113.3 | 5.4709 | 106.729 | 5.396 | 109.4 | 13.79 | 980.789 | 59.8737 | 24.8441
2020-11-16 07:00:00 | 4.379 | 109.4 | 5.772 | 125.2 | 6.176 | 117.938 | 6.687 | 109.5 | 13.91 | 981.234 | 58.9833 | 19.9669
2020-11-16 07:15:00 | 3.565 | 116.6 | 4.182 | 136.9 | 4.4747 | 128.96 | 5.831 | 118.6 | 13.92 | 981.383 | 58.7037 | 21.1604
2020-11-16 07:30:00 | 5.543 | 112.6 | 6.228 | 138.7 | 6.664 | 130.655 | 7.049 | 115.7 | 13.92 | 981.383 | 58.4293 | 21.3747
2020-11-16 07:45:00 | 4.446 | 106.4 | 5.218 | 127.9 | 5.5833 | 120.482 | 6.56 | 115.2 | 13.84 | 981.68 | 58.3594 | 16.734
2020-11-16 08:00:00 | 5.196 | 116.7 | 5.445 | 138.3 | 5.8262 | 130.279 | 6.351 | 118.8 | 13.82 | 981.977 | 56.6547 | 18.09
2020-11-16 08:15:00 | 5.201 | 119.6 | 6.023 | 142.6 | 6.4446 | 134.329 | 6.01 | 119.7 | 14.18 | 982.274 | 55.0843 | 17.1884
2020-11-16 08:30:00 | 4.89 | 106.5 | 5.046 | 132.3 | 5.3992 | 124.627 | 5.564 | 111.7 | 14.66 | 982.312 | 56.0998 | 14.155
2020-11-16 08:45:00 | 4.239 | 106.3 | 4.977 | 125.8 | 5.3254 | 118.504 | 5.765 | 114 | 14.89 | 982.567 | 56.1959 | 9.9835
2020-11-16 09:00:00 | 3.57 | 114.6 | 4.177 | 141.5 | 4.4694 | 133.293 | 4.123 | 110.8 | 15.46 | 982.864 | 51.4427 | 9.9539
2020-11-16 09:15:00 | 3.746 | 111.5 | 4.146 | 128.8 | 4.4362 | 121.33 | 4.125 | 119.4 | 15.89 | 983.013 | 52.0212 | 7.4119
2020-11-16 09:30:00 | 3.111 | 131.9 | 4.08 | 152.5 | 4.3656 | 143.655 | 3.208 | 130.7 | 16.17 | 982.621 | 50.4179 | 5.6605
2020-11-16 09:45:00 | 3.273 | 136.4 | 3.656 | 162.1 | 3.9119 | 152.698 | 3.124 | 132.6 | 16.61 | 982.861 | 47.4769 | 3.669
2020-11-16 10:00:00 | 3.937 | 139.9 | 4.31 | 158.3 | 4.6117 | 149.119 | 3.601 | 141.6 | 16.57 | 982.86 | 49.6249 | 3.0741
2020-11-16 10:15:00 | 4.267 | 145.7 | 4.446 | 165.4 | 4.7572 | 155.807 | 4.12 | 148.1 | 16.37 | 982.86 | 50.7445 | 3.2256
2020-11-16 10:30:00 | 5.492 | 142.8 | 5.443 | 160.9 | 5.824 | 151.568 | 4.443 | 145.7 | 16.05 | 982.561 | 52.7569 | 3.0778
2020-11-16 10:45:00 | 5.574 | 135.8 | 5.335 | 158.5 | 5.7085 | 149.307 | 4.543 | 134.5 | 16.21 | 982.563 | 50.0656 | 2.6492
2020-11-16 11:00:00 | 5.357 | 141.8 | 5.192 | 159.1 | 5.5554 | 149.872 | 4.637 | 144.5 | 16.03 | 982.267 | 52.2845 | 2.5827
2020-11-16 11:15:00 | 4.673 | 152 | 4.328 | 166.7 | 4.631 | 157.031 | 3.529 | 152.9 | 16.69 | 981.97 | 48.9764 | 2.4571
2020-11-16 11:30:00 | 3.963 | 139 | 4.088 | 159.9 | 4.3742 | 150.626 | 3.374 | 145.4 | 16.64 | 981.97 | 46.1782 | 1.3006
2020-11-16 11:45:00 | 3.703 | 145.7 | 3.801 | 165.7 | 4.0671 | 156.089 | 3.611 | 151.6 | 17.14 | 981.525 | 44.4386 | 0.96435
2020-11-16 12:00:00 | 4.351 | 148.8 | 4.755 | 165.8 | 5.0879 | 156.184 | 4.472 | 156.1 | 17.36 | 981.342 | 43.3763 | 1.4742
2020-11-16 12:15:00 | 4.017 | 140.1 | 4.284 | 161.7 | 4.5839 | 152.321 | 4.242 | 141.4 | 17.61 | 981.302 | 39.4886 | 2.1689
2020-11-16 12:30:00 | 4.569 | 134.7 | 5.138 | 158.4 | 5.4977 | 149.213 | 4.754 | 140.2 | 17.86 | 981.273 | 41.3981 | 2.4497
2020-11-16 12:45:00 | 2.983 | 99.5 | 4.599 | 120.4 | 4.9209 | 113.417 | 4.673 | 103.8 | 18.57 | 981.08 | 39.7272 | 2.2834
2020-11-16 13:00:00 | 2.269 | 81.4 | 3.475 | 99.2 | 3.7182 | 93.4464 | 4.059 | 85.9 | 18.26 | 981.079 | 38.2609 | 3.7687
2020-11-16 13:15:00 | 3.345 | 98.5 | 3.924 | 118.2 | 4.1987 | 111.344 | 3.883 | 104.4 | 17.87 | 980.799 | 39.0793 | 2.2132
2020-11-16 13:30:00 | 3.698 | 138.7 | 4.499 | 159.6 | 4.8139 | 150.343 | 3.438 | 138.1 | 18.56 | 980.816 | 36.9651 | 2.3943
2020-11-16 13:45:00 | 3.892 | 110.7 | 4.538 | 130.8 | 4.8557 | 123.214 | 4.584 | 114.1 | 18.58 | 980.685 | 39.0111 | 2.9411
2020-11-16 14:00:00 | 4.795 | 140.9 | 5.427 | 160.6 | 5.8069 | 151.285 | 5.016 | 146.7 | 17.93 | 980.688 | 39.1475 | 3.6801
2020-11-16 14:15:00 | 4.867 | 151.1 | 5.19 | 167.1 | 5.5533 | 157.408 | 4.477 | 156 | 17.79 | 980.428 | 40.5803 | 3.3327
2020-11-16 14:30:00 | 3.986 | 123 | 4.481 | 140.6 | 4.7947 | 132.445 | 4.482 | 124.8 | 17.53 | 980.338 | 41.2667 | 4.9954
2020-11-16 14:45:00 | 3.662 | 110.8 | 4.07 | 134.5 | 4.3549 | 126.699 | 4.255 | 113.7 | 18.14 | 980.338 | 41.541 | 8.524
2020-11-16 15:00:00 | 3.243 | 108.4 | 3.489 | 127.6 | 3.7332 | 120.199 | 3.41 | 111.7 | 17.67 | 980.041 | 40.4502 | 7.7481
2020-11-16 15:15:00 | 3.225 | 113.7 | 3.717 | 130.1 | 3.9772 | 122.554 | 3.949 | 117.9 | 17.87 | 979.893 | 41.8827 | 7.992
2020-11-16 15:30:00 | 3.455 | 111.4 | 3.934 | 126.7 | 4.2094 | 119.351 | 3.697 | 116.3 | 17.32 | 979.299 | 42.1557 | 9.0413
2020-11-16 15:45:00 | 2.776 | 106.6 | 3.269 | 120 | 3.4978 | 113.04 | 2.862 | 118.5 | 17.16 | 979.018 | 41.6167 | 8.4206
2020-11-16 16:00:00 | 4.354 | 111.6 | 4.786 | 125 | 5.121 | 117.75 | 4.894 | 116.4 | 16.83 | 978.696 | 41.2758 | 9.3775
2020-11-16 16:15:00 | 3.12 | 116.1 | 3.643 | 133.7 | 3.898 | 125.945 | 4.375 | 123.3 | 16.61 | 978.114 | 41.958 | 6.9833
2020-11-16 16:30:00 | 3.863 | 119.6 | 4.338 | 135.5 | 4.6417 | 127.641 | 4.474 | 126.8 | 16.46 | 977.817 | 41.79 | 4.7774
2020-11-16 16:45:00 | 3.087 | 113.1 | 3.581 | 130.9 | 3.8317 | 123.308 | 3.916 | 120.1 | 16.44 | 977.52 | 41.9715 | 2.4792
2020-11-16 17:00:00 | 2.773 | 106.8 | 3.096 | 124.5 | 3.3127 | 117.279 | 3.445 | 111.7 | 16.44 | 977.372 | 41.6994 | 1.441
2020-11-16 17:15:00 | 2.268 | 92 | 2.335 | 103.9 | 2.4985 | 97.8738 | 3.127 | 99.3 | 16.37 | 977.223 | 41.5629 | 0.081287
2020-11-16 17:30:00 | 2.298 | 101 | 2.666 | 114 | 2.8526 | 107.388 | 2.742 | 107.4 | 16.31 | 977.389 | 41.2899 | 0.11824
2020-11-16 17:45:00 | 2.158 | 86.7 | 2.779 | 96.1 | 2.9735 | 90.5262 | 3.234 | 96.7 | 16.26 | 977.461 | 40.3383 | 0.2143
2020-11-16 18:00:00 | 2.63 | 92.2 | 3.287 | 100.6 | 3.5171 | 94.7652 | 4.041 | 103 | 16.3 | 977.225 | 39.5874 | 0.47663
2020-11-16 18:15:00 | 2.735 | 102.8 | 3.54 | 111.4 | 3.7878 | 104.939 | 4.428 | 110.8 | 16.3 | 977.225 | 39.2139 | 1.6738
2020-11-16 18:30:00 | 3.807 | 109.5 | 4.244 | 130 | 4.5411 | 122.46 | 4.861 | 114.9 | 16.26 | 977.225 | 39.931 | 3.4103
2020-11-16 18:45:00 | 4.103 | 109.3 | 4.942 | 125.4 | 5.2879 | 118.127 | 5.381 | 114.9 | 16.05 | 977.225 | 40.6818 | 6.6507
2020-11-16 19:00:00 | 3.95 | 109.5 | 4.532 | 124.7 | 4.8492 | 117.467 | 5.457 | 114.9 | 15.88 | 977.225 | 43.3438 | 9.1337
2020-11-16 19:15:00 | 3.309 | 115.3 | 4.001 | 127.5 | 4.2811 | 120.105 | 4.008 | 119.2 | 15.67 | 977.225 | 45.1866 | 12.9763
2020-11-16 19:30:00 | 3.7 | 124.5 | 3.96 | 140.7 | 4.2372 | 132.539 | 4.418 | 129.5 | 15.48 | 977.225 | 47.5768 | 14.5909
2020-11-16 19:45:00 | 5.612 | 131 | 5.816 | 148.6 | 6.2231 | 139.981 | 5.546 | 135.2 | 15.48 | 976.928 | 49.0444 | 20.5729
2020-11-16 20:00:00 | 6.228 | 135.5 | 6.381 | 150.5 | 6.8277 | 141.771 | 6.949 | 140.5 | 15.33 | 976.631 | 51.1945 | 22.3686
2020-11-16 20:15:00 | 7.405 | 136.1 | 7.808 | 154.5 | 8.3546 | 145.539 | 7.65 | 138.3 | 15.21 | 976.631 | 52.8319 | 23.3958
2020-11-16 20:30:00 | 6.675 | 136.5 | 7.171 | 154.1 | 7.673 | 145.162 | 7.202 | 140.3 | 15.05 | 976.631 | 54.1294 | 18.0456
2020-11-16 20:45:00 | 4.762 | 146.6 | 5.361 | 163.6 | 5.7363 | 154.111 | 5.452 | 149.3 | 14.2 | 976.631 | 55.4938 | 13.4788
2020-11-16 21:00:00 | 5.459 | 138.1 | 5.982 | 152.8 | 6.4007 | 143.938 | 6.611 | 145.7 | 13.98 | 976.78 | 56.5174 | 11.321
2020-11-16 21:15:00 | 5.191 | 139.8 | 6.005 | 153.4 | 6.4253 | 144.503 | 6.756 | 146.3 | 13.83 | 976.631 | 57.1334 | 10.0278
2020-11-16 21:30:00 | 5.109 | 131.2 | 6.046 | 143.8 | 6.4692 | 135.46 | 6.252 | 140.9 | 13.92 | 976.631 | 58.1621 | 9.6177
2020-11-16 21:45:00 | 4.668 | 130.6 | 5.005 | 145.1 | 5.3553 | 136.684 | 4.932 | 135.3 | 13.84 | 976.483 | 59.5996 | 10.4786
2020-11-16 22:00:00 | 4.777 | 129.2 | 5.121 | 142.7 | 5.4795 | 134.423 | 4.637 | 133.6 | 13.4 | 976.334 | 63.4233 | 8.4279
2020-11-16 22:15:00 | 5.309 | 121.2 | 5.918 | 132.5 | 6.0648 | 128.771 | 5.546 | 128.3 | 12.76 | 976.334 | 68.0662 | 10.5857
2020-11-16 22:30:00 | 4.566 | 111.2 | 5.207 | 126.3 | 5.5533 | 122.837 | 5.752 | 120.7 | 12.42 | 976.186 | 72.5038 | 13.9887
2020-11-16 22:45:00 | 5.602 | 115.1 | 6.207 | 133.2 | 5.6378 | 124.438 | 6.848 | 118.3 | 12.07 | 975.889 | 75.3029 | 19.7342
2020-11-16 23:00:00 | 5.492 | 118.8 | 6.054 | 134.6 | 7.5028 | 127.829 | 7.097 | 125.9 | 12.06 | 975.74 | 75.6443 | 19.409
2020-11-16 23:15:00 | 4.737 | 109.9 | 5.23 | 127.7 | 5.5961 | 120.293 | 5.643 | 113.9 | 11.81 | 975.467 | 77.4876 | 27.9219
2020-11-16 23:30:00 | 5.469 | 114 | 5.599 | 132.8 | 5.1617 | 121.047 | 6.295 | 115.1 | 11.38 | 975.549 | 80.0136 | 34.6024
2020-11-16 23:45:00 | 5.385 | 105.5 | 5.888 | 123.7 | 6.3002 | 116.525 | 6.784 | 112.4 | 11.26 | 975.01 | 81.3111 | 26.0302