## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-17 00:00:00 | 6.603 | 98.3 | 7.529 | 112.3 | 8.056 | 105.787 | 7.477 | 105.5 | 11.1 | 974.866 | 83.9747 | 23.7616
2020-11-17 00:15:00 | 6.92 | 96.7 | 7.71 | 109.7 | 8.2497 | 103.337 | 8.27 | 101.1 | 10.88 | 975.005 | 86.5076 | 26.8394
2020-11-17 00:30:00 | 6.521 | 104.9 | 7.613 | 117.8 | 8.1459 | 110.968 | 8.71 | 111.3 | 10.91 | 974.804 | 86.0334 | 30.3162
2020-11-17 00:45:00 | 5.002 | 102.7 | 5.545 | 117.4 | 5.9332 | 110.591 | 6.995 | 109.4 | 10.8 | 974.31 | 87.4017 | 27.5857
2020-11-17 01:00:00 | 6.429 | 103.1 | 6.926 | 117.1 | 7.4108 | 110.308 | 8.08 | 110.2 | 10.68 | 973.94 | 87.2996 | 33.1428
2020-11-17 01:15:00 | 6.496 | 114.5 | 6.57 | 135.3 | 7.0299 | 127.453 | 7.512 | 116.3 | 11.03 | 974.553 | 82.8954 | 32.2117
2020-11-17 01:30:00 | 5.334 | 113.1 | 5.772 | 132.3 | 6.176 | 124.627 | 7.069 | 114.1 | 10.87 | 974.196 | 85.012 | 34.9828
2020-11-17 01:45:00 | 6.207 | 113.7 | 7.012 | 129.3 | 7.5028 | 121.801 | 8.07 | 119 | 11.01 | 974.09 | 81.8027 | 34.8054
2020-11-17 02:00:00 | 4.823 | 109.6 | 5.637 | 124.5 | 6.0316 | 117.279 | 6.881 | 111.6 | 10.86 | 973.883 | 84.1943 | 36.8598
2020-11-17 02:15:00 | 6.432 | 110.7 | 7 | 127 | 7.49 | 119.634 | 8.42 | 116.2 | 10.82 | 973.638 | 84.19 | 35.9582
2020-11-17 02:30:00 | 7.51 | 116.3 | 8.36 | 133.4 | 8.9452 | 125.663 | 8.99 | 119.1 | 11.1 | 973.803 | 83.9877 | 32.9322
2020-11-17 02:45:00 | 6.996 | 120.8 | 7.915 | 134.2 | 8.469 | 126.416 | 8.53 | 124.3 | 11.06 | 973.444 | 85.0392 | 37.0889
2020-11-17 03:00:00 | 6.588 | 128.3 | 7.452 | 143.3 | 7.9736 | 134.989 | 7.624 | 128.5 | 11.24 | 973.442 | 84.4572 | 38.3857
2020-11-17 03:15:00 | 7.098 | 117.9 | 7.813 | 134 | 8.3599 | 126.228 | 8.46 | 121 | 11.14 | 973.142 | 85.7534 | 39.5496
2020-11-17 03:30:00 | 7.28 | 118.4 | 7.534 | 132 | 8.0614 | 124.344 | 7.387 | 123.4 | 11.19 | 973.415 | 85.991 | 33.9039
2020-11-17 03:45:00 | 8.91 | 114.4 | 9.65 | 128.4 | 10.3255 | 120.953 | 9.82 | 119.3 | 11.28 | 972.832 | 85.8185 | 38.068
2020-11-17 04:00:00 | 8.4 | 123.6 | 8.91 | 136.9 | 9.5337 | 128.96 | 8.72 | 127.2 | 11.41 | 973.082 | 84.0417 | 46.4405
2020-11-17 04:15:00 | 7.76 | 116.2 | 8.32 | 134.2 | 8.9024 | 126.416 | 9.61 | 120.6 | 11.56 | 972.976 | 83.6321 | 44.8148
2020-11-17 04:30:00 | 8.08 | 118.2 | 8.56 | 135.7 | 9.1592 | 127.829 | 9.96 | 122.2 | 11.57 | 972.845 | 82.6763 | 49.0158
2020-11-17 04:45:00 | 7.586 | 117.6 | 8.25 | 134.4 | 8.8275 | 126.605 | 9.61 | 124.4 | 11.85 | 972.653 | 82.0618 | 52.149
2020-11-17 05:00:00 | 7.277 | 113.2 | 8.01 | 132.4 | 8.5707 | 124.721 | 8.87 | 116.3 | 11.5 | 972.693 | 83.4272 | 53.0506
2020-11-17 05:15:00 | 7.111 | 115.2 | 7.621 | 131.4 | 8.1545 | 123.779 | 9.33 | 119 | 11.49 | 972.516 | 82.6763 | 50.575
2020-11-17 05:30:00 | 6.866 | 112.8 | 7.623 | 127.6 | 8.1566 | 120.199 | 9.34 | 118.2 | 11.66 | 972.837 | 82.7445 | 43.311
2020-11-17 05:45:00 | 5.531 | 107.1 | 5.977 | 130 | 6.3954 | 122.46 | 6.965 | 109.1 | 11.55 | 972.878 | 84.2465 | 43.2223
2020-11-17 06:00:00 | 6.611 | 109.3 | 6.9 | 131.4 | 7.383 | 123.779 | 8.13 | 114.4 | 11.7 | 972.684 | 82.5739 | 44.8702
2020-11-17 06:15:00 | 5.909 | 110.1 | 6.445 | 128 | 6.8961 | 120.576 | 8.22 | 113.4 | 11.95 | 972.861 | 81.6522 | 41.4894
2020-11-17 06:30:00 | 7.073 | 114.6 | 7.329 | 129.1 | 7.842 | 121.612 | 8.63 | 117.1 | 11.94 | 972.818 | 82.5397 | 46.9615
2020-11-17 06:45:00 | 6.261 | 110.1 | 7.414 | 123.6 | 7.933 | 116.431 | 8.86 | 115.2 | 12.08 | 973.095 | 82.608 | 48.336
2020-11-17 07:00:00 | 7.821 | 110.8 | 8.87 | 124.7 | 9.4909 | 117.467 | 10.29 | 119.1 | 12.18 | 972.787 | 83.1542 | 55.1653
2020-11-17 07:15:00 | 6.519 | 108.2 | 7.531 | 122.1 | 8.0582 | 115.018 | 9.8 | 116.5 | 12.35 | 972.92 | 84.0758 | 55.7774
2020-11-17 07:30:00 | 7.875 | 107.6 | 8.33 | 121.7 | 8.9131 | 114.641 | 10.4 | 114.3 | 12.24 | 972.771 | 84.8609 | 54.6468
2020-11-17 07:45:00 | 7.839 | 107.9 | 8.61 | 126.5 | 9.2127 | 119.163 | 10.35 | 112.3 | 12.73 | 973.068 | 83.0859 | 55.3451
2020-11-17 08:00:00 | 9.28 | 110.7 | 10.02 | 127.2 | 10.7214 | 119.822 | 11.61 | 115.4 | 12.7 | 973.068 | 82.9493 | 56.2377
2020-11-17 08:15:00 | 7.599 | 109.8 | 8.08 | 130.5 | 8.6456 | 122.931 | 9.77 | 114.4 | 12.78 | 972.92 | 83.9051 | 56.8511
2020-11-17 08:30:00 | 8.69 | 108.7 | 9.59 | 126.4 | 10.2613 | 119.069 | 10.79 | 109.1 | 12.76 | 973.068 | 85.8167 | 54.7317
2020-11-17 08:45:00 | 7.504 | 112.8 | 8.27 | 130.8 | 8.8489 | 123.214 | 9.29 | 106.2 | 12.56 | 973.365 | 89.2303 | 52.9582
2020-11-17 09:00:00 | 7.078 | 113.9 | 7.989 | 130.9 | 8.5482 | 123.308 | 9.18 | 111.5 | 12.22 | 973.068 | 92.439 | 54.8648
2020-11-17 09:15:00 | 6.601 | 118 | 7.186 | 136.2 | 7.689 | 128.3 | 8.24 | 117.5 | 12.23 | 972.92 | 92.3025 | 49.7991
2020-11-17 09:30:00 | 7.658 | 117.2 | 8.65 | 131.5 | 9.2555 | 123.873 | 10.65 | 124.7 | 12.66 | 972.474 | 91.415 | 58.1147
2020-11-17 09:45:00 | 9.44 | 120.5 | 10.23 | 135.7 | 10.9461 | 127.829 | 10.39 | 126.6 | 12.88 | 972.771 | 92.7121 | 65.0404
2020-11-17 10:00:00 | 7.916 | 119.6 | 8.64 | 134.8 | 9.2448 | 126.982 | 9.55 | 126.2 | 12.75 | 972.771 | 93.4631 | 54.1923
2020-11-17 10:15:00 | 6.271 | 107.4 | 6.943 | 120.9 | 7.429 | 113.888 | 7.907 | 114.4 | 12.66 | 972.474 | 92.8486 | 42.4353
2020-11-17 10:30:00 | 6.174 | 112.5 | 7.053 | 125.9 | 7.5467 | 118.598 | 8.82 | 120.2 | 12.82 | 972.474 | 90.2543 | 39.7418
2020-11-17 10:45:00 | 8.34 | 115.8 | 9.4 | 130.5 | 10.058 | 122.931 | 10.81 | 124.8 | 13.24 | 972.326 | 91.8929 | 53.7748
2020-11-17 11:00:00 | 6.286 | 109.1 | 7.493 | 123.9 | 8.0175 | 116.714 | 8.74 | 116.9 | 12.98 | 972.177 | 92.9169 | 50.2351
2020-11-17 11:15:00 | 5.477 | 115.3 | 6.575 | 125.3 | 7.0352 | 118.033 | 7.52 | 119.7 | 12.89 | 972.029 | 94.7944 | 35.4853
2020-11-17 11:30:00 | 5.26 | 117.3 | 5.645 | 138.2 | 6.0401 | 130.184 | 6.746 | 114.2 | 12.45 | 971.583 | 97.0132 | 39.158
2020-11-17 11:45:00 | 6.202 | 98.4 | 7.268 | 112.7 | 7.7768 | 106.163 | 7.662 | 101.8 | 12.24 | 971.286 | 98.1055 | 35.3301
2020-11-17 12:00:00 | 6.468 | 94.5 | 7.409 | 106.5 | 7.9276 | 100.323 | 8.27 | 101.8 | 12.36 | 971.138 | 98.8565 | 39.4277
2020-11-17 12:15:00 | 6.276 | 100.2 | 7.399 | 111.7 | 7.9169 | 105.221 | 7.283 | 109.6 | 12.44 | 970.692 | 99.5051 | 33.4642
2020-11-17 12:30:00 | 7.535 | 100.6 | 8.75 | 113.1 | 9.3625 | 106.54 | 8.84 | 106.9 | 12.75 | 970.395 | 99.2661 | 42.1212
2020-11-17 12:45:00 | 6.529 | 97.9 | 7.823 | 113 | 8.3706 | 106.446 | 7.955 | 104 | 12.71 | 970.098 | 99.9488 | 27.2901
2020-11-17 13:00:00 | 6.407 | 94.5 | 7.516 | 108.9 | 8.0421 | 102.584 | 8.33 | 101.3 | 12.77 | 970.098 | 99.9488 | 25.7892
2020-11-17 13:15:00 | 5.623 | 90.9 | 6.496 | 107.9 | 6.9507 | 101.642 | 7.415 | 97 | 12.92 | 970.098 | 99.9488 | 26.4625
2020-11-17 13:30:00 | 5.056 | 96.3 | 6.35 | 111.1 | 6.7945 | 104.656 | 7.163 | 103.4 | 13 | 970.098 | 99.9488 | 22.7972
2020-11-17 13:45:00 | 4.537 | 88.6 | 4.954 | 104.1 | 5.3008 | 98.0622 | 5.875 | 98 | 13.13 | 969.801 | 99.9488 | 15.2856
2020-11-17 14:00:00 | 2.375 | 81.9 | 2.986 | 93 | 3.195 | 87.606 | 4.125 | 91.9 | 13.19 | 969.801 | 99.9488 | 14.118
2020-11-17 14:15:00 | 1.706 | 71.51 | 2.839 | 79.97 | 3.0377 | 75.3317 | 2.944 | 81.5 | 13.25 | 969.801 | 99.9488 | 13.0687
2020-11-17 14:30:00 | 2.593 | 83.5 | 3.341 | 94.1 | 3.5749 | 88.6422 | 3.972 | 93.2 | 13.16 | 969.801 | 99.9488 | 9.7692
2020-11-17 14:45:00 | 1.765 | 86.2 | 2.331 | 98.8 | 2.4942 | 93.0696 | 3.058 | 86.7 | 13.15 | 970.098 | 99.9488 | 7.7703
2020-11-17 15:00:00 | 1.881 | 74.31 | 3.254 | 81.1 | 3.4818 | 76.3962 | 3.588 | 87.2 | 13.1 | 969.801 | 99.9488 | 7.12
2020-11-17 15:15:00 | 1.885 | 85 | 2.449 | 104.8 | 2.6204 | 98.7216 | 3.135 | 91.3 | 13.09 | 969.801 | 99.9488 | 6.6618
2020-11-17 15:30:00 | 2.737 | 64.06 | 3.881 | 74.93 | 4.1527 | 70.5841 | 4.859 | 78.22 | 13.17 | 969.504 | 99.9488 | 6.8355
2020-11-17 15:45:00 | 2.719 | 58.48 | 4.343 | 65.34 | 4.647 | 61.5503 | 5.019 | 71.5 | 13.18 | 969.356 | 99.9488 | 5.0472
2020-11-17 16:00:00 | 2.157 | 43.96 | 3.75 | 54.55 | 4.0125 | 51.3861 | 3.766 | 56.87 | 13.18 | 968.911 | 99.9488 | 5.291
2020-11-17 16:15:00 | 1.664 | 74.62 | 2.563 | 89.6 | 2.7424 | 84.4032 | 3.499 | 86.1 | 13.25 | 969.059 | 99.9488 | 7.5116
2020-11-17 16:30:00 | 3.531 | 81.7 | 4.394 | 99 | 4.7016 | 93.258 | 5.786 | 92.6 | 13.33 | 969.059 | 99.9488 | 12.496
2020-11-17 16:45:00 | 5.727 | 90.1 | 6.527 | 105 | 6.9839 | 98.91 | 7.268 | 95.9 | 13.45 | 968.911 | 99.9471 | 16.2573
2020-11-17 17:00:00 | 4.361 | 86 | 5.473 | 99.9 | 5.8561 | 94.1058 | 6.776 | 94.6 | 13.48 | 968.911 | 99.9482 | 25.2062
2020-11-17 17:15:00 | 7.359 | 95.3 | 8.78 | 109.9 | 9.3946 | 103.526 | 9.22 | 99.4 | 13.55 | 968.911 | 99.9488 | 23.9204
2020-11-17 17:30:00 | 5.618 | 92.9 | 6.997 | 108.3 | 7.4868 | 102.019 | 8.19 | 98.7 | 13.6 | 969.207 | 99.9461 | 14.4432
2020-11-17 17:45:00 | 5.579 | 93.8 | 6.731 | 108.4 | 7.2022 | 102.113 | 8.12 | 99.7 | 13.7 | 968.911 | 99.9451 | 21.7442
2020-11-17 18:00:00 | 4.834 | 84.8 | 5.56 | 99.8 | 5.9492 | 94.0116 | 6.669 | 93 | 13.73 | 968.911 | 99.9769 | 21.9067
2020-11-17 18:15:00 | 5.653 | 96.8 | 6.808 | 112 | 7.2846 | 105.504 | 7.759 | 103.4 | 13.81 | 969.059 | 99.9438 | 17.739
2020-11-17 18:30:00 | 5.278 | 83.7 | 5.913 | 97.7 | 6.3269 | 92.0334 | 7.074 | 92.5 | 13.81 | 968.465 | 99.9387 | 28.4024
2020-11-17 18:45:00 | 5.403 | 90.1 | 5.634 | 104.2 | 6.0284 | 98.1564 | 6.878 | 95.4 | 13.94 | 968.168 | 99.9333 | 25.7346
2020-11-17 19:00:00 | 4.287 | 78.68 | 5.187 | 89.8 | 5.5501 | 84.5916 | 6.106 | 86.5 | 14.14 | 967.574 | 99.9322 | 29.7789
2020-11-17 19:15:00 | 3.5 | 66.3 | 4.407 | 72.4 | 4.7155 | 68.2008 | 5.167 | 76.02 | 14.15 | 967.277 | 99.9317 | 24.6298
2020-11-17 19:30:00 | 3.592 | 76.36 | 4.062 | 85.7 | 4.3463 | 80.7294 | 5.185 | 84 | 14.15 | 967.426 | 99.9301 | 18.2858
2020-11-17 19:45:00 | 2.487 | 61.35 | 3.716 | 73.61 | 3.9761 | 69.3406 | 4.693 | 70.28 | 14.33 | 967.426 | 99.9304 | 12.629
2020-11-17 20:00:00 | 3.057 | 48.98 | 3.964 | 51.53 | 4.2415 | 48.5413 | 4.349 | 67.57 | 13.93 | 967.129 | 99.9306 | 10.4601
2020-11-17 20:15:00 | 2.273 | 52.93 | 3.454 | 56.16 | 3.6958 | 52.9027 | 3.83 | 68.59 | 13.99 | 967.426 | 99.9307 | 7.2899
2020-11-17 20:30:00 | 3.183 | 73.6 | 3.988 | 85.3 | 4.2672 | 80.3526 | 4.571 | 82.6 | 14.26 | 967.277 | 99.9297 | 15.9359
2020-11-17 20:45:00 | 3.895 | 79.83 | 4.862 | 88.3 | 5.2023 | 83.1786 | 6.774 | 88.4 | 14.58 | 967.277 | 99.9306 | 14.3619
2020-11-17 21:00:00 | 3.889 | 75.45 | 4.696 | 93.3 | 5.0247 | 87.8886 | 6.328 | 85.1 | 14.72 | 967.129 | 99.9305 | 13.4751
2020-11-17 21:15:00 | 5.656 | 83.6 | 6.465 | 100.4 | 6.9176 | 94.5768 | 7.553 | 90.7 | 14.81 | 966.832 | 99.9305 | 23.8096
2020-11-17 21:30:00 | 5.878 | 81.5 | 6.463 | 101.2 | 6.9154 | 95.3304 | 7.471 | 89.4 | 14.97 | 966.683 | 99.9293 | 39.8193
2020-11-17 21:45:00 | 6.585 | 100.8 | 7.741 | 116.9 | 8.2829 | 110.12 | 9.31 | 106.7 | 14.93 | 966.832 | 99.9317 | 35.5335
2020-11-17 22:00:00 | 7.162 | 101 | 8.97 | 117.4 | 9.5979 | 110.591 | 9.88 | 108.4 | 14.79 | 966.832 | 99.9315 | 38.8625
2020-11-17 22:15:00 | 7.538 | 97.6 | 8.72 | 111.7 | 9.3304 | 105.221 | 9.57 | 104.3 | 14.67 | 966.386 | 99.9314 | 42.5018
2020-11-17 22:30:00 | 8.94 | 98 | 11 | 112.1 | 11.77 | 105.598 | 11.92 | 102.8 | 14.76 | 966.089 | 99.9314 | 48.6648
2020-11-17 22:45:00 | 7.39 | 92.1 | 8.86 | 109.7 | 9.4802 | 103.337 | 10.21 | 98.2 | 14.91 | 965.644 | 99.9307 | 41.4857
2020-11-17 23:00:00 | 9.27 | 97.4 | 11.29 | 112.1 | 12.0803 | 105.598 | 11.8 | 101.2 | 15.1 | 965.347 | 99.9314 | 39.5607
2020-11-17 23:15:00 | 7.535 | 92 | 9.09 | 105.9 | 9.7263 | 99.7578 | 10.98 | 101.2 | 15.35 | 965.347 | 99.9317 | 29.2595
2020-11-17 23:30:00 | 8.44 | 92.4 | 9.86 | 108.2 | 10.5502 | 101.924 | 10.2 | 100.2 | 15.36 | 965.347 | 99.9657 | 24.5042
2020-11-17 23:45:00 | 6.182 | 87.6 | 6.943 | 101.2 | 7.429 | 95.3304 | 8.51 | 93 | 15.32 | 965.05 | 99.9299 | 10.4823