## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-18 00:00:00 | 4.397 | 68.51 | 6.074 | 77.2 | 6.4992 | 72.7224 | 6.297 | 80.2 | 14.83 | 964.456 | 99.9299 | 14.1771
2020-11-18 00:15:00 | 3.586 | 74.17 | 4.04 | 95.2 | 4.3228 | 89.6784 | 5.327 | 86.8 | 15.09 | 964.604 | 99.93 | 6.3108
2020-11-18 00:30:00 | 2.529 | 95.5 | 3.166 | 103.9 | 3.3876 | 97.8738 | 4.505 | 97.2 | 15.1 | 964.159 | 99.9312 | 3.8279
2020-11-18 00:45:00 | 3.073 | 94 | 4.095 | 110 | 4.3816 | 103.62 | 5.628 | 106.1 | 14.65 | 964.159 | 99.928 | 5.3686
2020-11-18 01:00:00 | 3.344 | 140 | 3.523 | 163.7 | 3.7696 | 154.205 | 4.825 | 141.8 | 14.96 | 964.604 | 99.9291 | 0.42121
2020-11-18 01:15:00 | 4.315 | 85.6 | 4.967 | 95.5 | 5.3147 | 89.961 | 5.602 | 94 | 14.78 | 963.12 | 99.9317 | 5.1913
2020-11-18 01:30:00 | 2.317 | 104.5 | 3.14 | 121.2 | 3.3598 | 114.17 | 5.101 | 108 | 14.6 | 963.565 | 99.9313 | 5.9783
2020-11-18 01:45:00 | 3.856 | 107.4 | 4.74 | 125.7 | 5.0718 | 118.409 | 5.358 | 113 | 15.25 | 963.417 | 99.9317 | 7.4377
2020-11-18 02:00:00 | 3.249 | 95.7 | 4.407 | 105.1 | 4.7155 | 99.0042 | 5.933 | 104 | 15.14 | 962.971 | 99.9646 | 4.7405
2020-11-18 02:15:00 | 3.269 | 101.2 | 4.061 | 118.4 | 4.3453 | 111.533 | 5.577 | 107.5 | 15.05 | 962.971 | 99.93 | 6.5214
2020-11-18 02:30:00 | 3.696 | 116.6 | 4.223 | 135.4 | 4.5186 | 127.547 | 5.05 | 114.8 | 15.25 | 962.823 | 99.9311 | 7.4821
2020-11-18 02:45:00 | 1.928 | 105.4 | 2.698 | 118.5 | 2.8869 | 111.627 | 4.27 | 111.9 | 15.25 | 962.674 | 99.999 | 4.3156
2020-11-18 03:00:00 | 3.777 | 112.4 | 3.506 | 129 | 3.7514 | 121.518 | 4.128 | 118.3 | 15.47 | 962.377 | 99.9275 | 4.6888
2020-11-18 03:15:00 | 4.195 | 116.2 | 4.635 | 127.8 | 4.9595 | 120.388 | 6.01 | 121.7 | 15.31 | 962.199 | 99.9236 | 8.221
2020-11-18 03:30:00 | 6.902 | 121.8 | 7.514 | 139.7 | 8.04 | 131.597 | 7.591 | 127.8 | 15.77 | 961.922 | 99.9168 | 16.1392
2020-11-18 03:45:00 | 7.91 | 132.5 | 7.797 | 144.8 | 8.3428 | 136.402 | 8.06 | 137 | 15.86 | 961.998 | 99.9149 | 16.1465
2020-11-18 04:00:00 | 7.198 | 137.8 | 6.959 | 155.9 | 7.4461 | 146.858 | 7.232 | 143.7 | 15.84 | 961.596 | 99.9147 | 15.0269
2020-11-18 04:15:00 | 6.759 | 137.3 | 6.652 | 155.1 | 7.1176 | 146.104 | 6.527 | 142.4 | 15.83 | 961.543 | 99.9147 | 9.3849
2020-11-18 04:30:00 | 6.478 | 139.8 | 6.504 | 158 | 6.9593 | 148.836 | 7.14 | 145.5 | 15.81 | 961.508 | 99.9488 | 8.657
2020-11-18 04:45:00 | 5.426 | 144.1 | 5.997 | 163 | 6.4168 | 153.546 | 7.311 | 148 | 15.78 | 961.229 | 99.9147 | 4.6592
2020-11-18 05:00:00 | 5.04 | 146.2 | 5.039 | 164.6 | 5.3917 | 155.053 | 5.663 | 150 | 15.7 | 961.074 | 99.9147 | 3.8057
2020-11-18 05:15:00 | 4.913 | 143.9 | 5.036 | 159.6 | 5.3885 | 150.343 | 5.533 | 151.2 | 15.7 | 961.066 | 99.9147 | 3.3327
2020-11-18 05:30:00 | 3.991 | 141.6 | 4.067 | 166.3 | 4.3517 | 156.655 | 4.894 | 142.5 | 15.68 | 960.939 | 99.9147 | 1.9102
2020-11-18 05:45:00 | 2.862 | 151.9 | 3.04 | 173.9 | 3.2528 | 163.814 | 4.497 | 155.3 | 15.49 | 960.95 | 99.9147 | 2.2169
2020-11-18 06:00:00 | 1.529 | 148.5 | 2.053 | 169.7 | 2.1967 | 159.857 | 3.448 | 151.5 | 15.02 | 960.635 | 99.9147 | 1.4299
2020-11-18 06:15:00 | 2.62 | 151 | 3.382 | 171.6 | 3.6187 | 161.647 | 4.492 | 153.7 | 15.16 | 960.62 | 99.9177 | 1.4779
2020-11-18 06:30:00 | 2.697 | 165.2 | 3.51 | 185.3 | 3.7557 | 174.553 | 4.571 | 166 | 15.08 | 960.576 | 99.9197 | 3.5655
2020-11-18 06:45:00 | 3.304 | 150.1 | 3.564 | 166.9 | 3.8135 | 157.22 | 5.009 | 151.9 | 15.07 | 960.591 | 99.9247 | 1.5518
2020-11-18 07:00:00 | 3.202 | 155.9 | 3.564 | 174.3 | 3.8135 | 164.191 | 4.978 | 157.1 | 15.09 | 960.59 | 99.9578 | 1.8548
2020-11-18 07:15:00 | 1.462 | 155 | 0.592 | 190 | 0.63344 | 178.98 | 2.574 | 167.8 | 13.51 | 960.447 | 99.9608 | 0.87937
2020-11-18 07:30:00 | 4.272 | 243.4 | 3.973 | 267.2 | 4.2511 | 251.702 | 3.387 | 220.4 | 12.06 | 960.595 | 99.9317 | 10.3054
2020-11-18 07:45:00 | 6.557 | 252.2 | 6.437 | 263.4 | 6.8876 | 248.123 | 6.331 | 255.7 | 11.78 | 960.595 | 99.9673 | 19.8635
2020-11-18 08:00:00 | 3.991 | 263 | 3.942 | 279.8 | 4.2179 | 263.572 | 3.766 | 268 | 11.71 | 960.595 | 99.9486 | 11.8863
2020-11-18 08:15:00 | 2.806 | 277.6 | 3.116 | 292.6 | 3.3341 | 275.629 | 2.839 | 278 | 11.68 | 960.447 | 99.9488 | 11.5686
2020-11-18 08:30:00 | 3.09 | 283.1 | 3.377 | 297.4 | 3.6134 | 280.151 | 3.654 | 280.5 | 11.62 | 960.298 | 99.9488 | 6.3293
2020-11-18 08:45:00 | 2.349 | 297.9 | 2.825 | 310.8 | 3.0227 | 292.774 | 2.972 | 301.1 | 11.65 | 960.595 | 99.9488 | 5.0324
2020-11-18 09:00:00 | 3.593 | 316.5 | 3.013 | 319.2 | 3.2239 | 300.686 | 3.117 | 308.9 | 11.62 | 960.025 | 99.9488 | 7.7555
2020-11-18 09:15:00 | 7.042 | 252.7 | 6.882 | 264.2 | 7.3637 | 248.876 | 6.466 | 256.4 | 11.59 | 960.298 | 99.9488 | 26.9059
2020-11-18 09:30:00 | 6.491 | 260.8 | 6.675 | 270.4 | 7.1422 | 254.717 | 6.412 | 264.3 | 10.99 | 960.001 | 99.9488 | 34.0221
2020-11-18 09:45:00 | 6.853 | 256.6 | 6.46 | 266.8 | 6.9122 | 251.326 | 5.202 | 261 | 10.47 | 960.037 | 99.9488 | 30.1573
2020-11-18 10:00:00 | 5.63 | 281.5 | 5.698 | 296.7 | 6.0969 | 279.491 | 5.218 | 280.3 | 9.93 | 959.726 | 99.9488 | 19.7342
2020-11-18 10:15:00 | 5.5 | 278.7 | 5.448 | 296.2 | 5.8294 | 279.02 | 5.358 | 281.9 | 9.81 | 959.765 | 99.9538 | 11.587
2020-11-18 10:30:00 | 4.229 | 278.4 | 4.338 | 291.6 | 4.6417 | 274.687 | 4.642 | 280 | 9.87 | 959.959 | 99.9662 | 16.6305
2020-11-18 10:45:00 | 4.417 | 270.5 | 4.775 | 285.9 | 5.1093 | 269.318 | 4.93 | 272.3 | 9.83 | 959.726 | 99.9668 | 11.6572
2020-11-18 11:00:00 | 3.925 | 273.9 | 4.18 | 293 | 4.4726 | 276.006 | 3.725 | 274.4 | 9.82 | 959.788 | 99.9318 | 13.331
2020-11-18 11:15:00 | 3.907 | 284.1 | 4.492 | 297 | 4.8064 | 279.774 | 4.436 | 284.2 | 9.79 | 959.684 | 99.9318 | 14.07
2020-11-18 11:30:00 | 4.553 | 284.2 | 4.798 | 297.5 | 5.1339 | 280.245 | 4.739 | 285.1 | 9.66 | 959.697 | 99.9659 | 8.0548
2020-11-18 11:45:00 | 3.32 | 284.7 | 3.934 | 297.9 | 4.2094 | 280.622 | 3.784 | 283.9 | 9.75 | 959.106 | 99.9333 | 13.2719
2020-11-18 12:00:00 | 5.852 | 300.4 | 6.977 | 313.1 | 7.4654 | 294.94 | 6.756 | 301.2 | 9.64 | 958.512 | 99.9368 | 22.025
2020-11-18 12:15:00 | 5.168 | 289.6 | 5.941 | 301.4 | 6.3569 | 283.919 | 5.961 | 292.2 | 9.67 | 958.809 | 99.9356 | 19.2343
2020-11-18 12:30:00 | 6.629 | 280.5 | 6.652 | 295.6 | 7.1176 | 278.455 | 6.598 | 279.1 | 9.69 | 958.809 | 99.9342 | 22.9709
2020-11-18 12:45:00 | 5.983 | 281.5 | 6.547 | 297.5 | 7.0053 | 280.245 | 6.292 | 278.9 | 9.64 | 958.512 | 99.9363 | 25.8307
2020-11-18 13:00:00 | 6.999 | 282.5 | 7.396 | 297.4 | 7.9137 | 280.151 | 7.599 | 282.3 | 9.54 | 958.512 | 99.976 | 28.3653
2020-11-18 13:15:00 | 5.153 | 275.1 | 5.739 | 290.6 | 6.1407 | 273.745 | 6.058 | 274.9 | 9.53 | 958.809 | 99.9774 | 21.9326
2020-11-18 13:30:00 | 4.397 | 267.9 | 4.98 | 283.6 | 5.3286 | 267.151 | 5.149 | 270.1 | 9.53 | 958.809 | 99.9472 | 23.8207
2020-11-18 13:45:00 | 4.668 | 263.7 | 4.576 | 274.8 | 4.8963 | 258.862 | 4.764 | 268.8 | 9.49 | 958.809 | 99.9824 | 31.2325
2020-11-18 14:00:00 | 5.638 | 277 | 6.031 | 292.6 | 6.4532 | 275.629 | 5.719 | 275 | 9.45 | 959.106 | 99.9804 | 29.8765
2020-11-18 14:15:00 | 4.875 | 270 | 4.806 | 281.9 | 5.1424 | 265.55 | 5.658 | 272.6 | 9.37 | 959.106 | 99.9829 | 24.1036
2020-11-18 14:30:00 | 5.628 | 272.7 | 5.969 | 284.8 | 6.3868 | 268.282 | 6.025 | 273.9 | 9.34 | 959.254 | 99.9827 | 29.6918
2020-11-18 14:45:00 | 4.854 | 269.7 | 5.253 | 284.1 | 5.6207 | 267.622 | 5.63 | 270.6 | 9.34 | 959.403 | 99.9829 | 33.3334
2020-11-18 15:00:00 | 5.893 | 282.6 | 6.844 | 297.2 | 7.3231 | 279.962 | 7.026 | 283.3 | 9.31 | 959.7 | 99.9488 | 26.6066
2020-11-18 15:15:00 | 6.45 | 283.7 | 6.665 | 294.7 | 7.1315 | 277.607 | 7.054 | 284.4 | 9.3 | 959.551 | 99.9829 | 26.7063
2020-11-18 15:30:00 | 6.478 | 276.9 | 6.718 | 289.4 | 7.1883 | 272.615 | 7.191 | 277.7 | 9.31 | 959.7 | 99.9829 | 25.8824
2020-11-18 15:45:00 | 6.943 | 285.5 | 7.491 | 299.6 | 8.0154 | 282.223 | 7.502 | 285.6 | 9.3 | 959.7 | 99.9488 | 27.5266
2020-11-18 16:00:00 | 7.04 | 281.1 | 7.644 | 295.1 | 8.1791 | 277.984 | 7.846 | 282.3 | 9.31 | 959.7 | 99.9488 | 28.8383
2020-11-18 16:15:00 | 5.357 | 290.2 | 6.289 | 302.5 | 6.7292 | 284.955 | 6.593 | 291.1 | 9.31 | 959.7 | 99.9829 | 26.3147
2020-11-18 16:30:00 | 5.658 | 294.3 | 6.1 | 307.6 | 6.527 | 289.759 | 6.152 | 294 | 9.31 | 960.294 | 99.9488 | 22.472
2020-11-18 16:45:00 | 5.015 | 305.9 | 6.271 | 319.4 | 6.71 | 300.875 | 6.972 | 307 | 9.31 | 960.146 | 99.9488 | 19.7379
2020-11-18 17:00:00 | 5.005 | 304.5 | 5.954 | 318.2 | 6.3708 | 299.744 | 6.595 | 305.3 | 9.3 | 960.294 | 99.9488 | 16.9778
2020-11-18 17:15:00 | 4.849 | 302.3 | 5.409 | 316.8 | 5.7876 | 298.426 | 5.954 | 302.8 | 9.31 | 960.888 | 99.9488 | 12.1339
2020-11-18 17:30:00 | 5.217 | 297.6 | 6.504 | 309.9 | 6.9593 | 291.926 | 7.059 | 298.3 | 9.31 | 960.888 | 99.9829 | 12.2632
2020-11-18 17:45:00 | 4.244 | 287.2 | 4.878 | 301.9 | 5.2195 | 284.39 | 5.569 | 288.9 | 9.31 | 961.185 | 99.9488 | 7.3232
2020-11-18 18:00:00 | 2.746 | 309.1 | 3.152 | 319.2 | 3.3726 | 300.686 | 3.942 | 308 | 9.32 | 961.482 | 99.9829 | 6.9685
2020-11-18 18:15:00 | 4.767 | 283 | 5.276 | 294.9 | 5.6453 | 277.796 | 6.188 | 286.7 | 9.31 | 961.631 | 99.9146 | 8.6275
2020-11-18 18:30:00 | 3.689 | 283.1 | 3.847 | 289.3 | 4.1163 | 272.521 | 4.553 | 285.5 | 9.31 | 962.077 | 99.9488 | 9.0487
2020-11-18 18:45:00 | 4.267 | 272.2 | 4.333 | 281.6 | 4.6363 | 265.267 | 4.596 | 278.3 | 9.31 | 962.225 | 99.9488 | 10.0278
2020-11-18 19:00:00 | 3.94 | 278.1 | 4.338 | 289.2 | 4.6417 | 272.426 | 4.685 | 280 | 9.33 | 962.225 | 99.9488 | 8.8455
2020-11-18 19:15:00 | 3.621 | 267.9 | 4.09 | 279.5 | 4.3763 | 263.289 | 4.428 | 270.6 | 9.32 | 962.374 | 99.9488 | 7.2936
2020-11-18 19:30:00 | 3.087 | 272.2 | 3.356 | 287.5 | 3.5909 | 270.825 | 4.095 | 271.7 | 9.37 | 962.671 | 99.9829 | 7.8996
2020-11-18 19:45:00 | 3.24 | 262.7 | 3.564 | 275.8 | 3.8135 | 259.804 | 4.143 | 265.4 | 9.31 | 962.374 | 99.9829 | 6.1113
2020-11-18 20:00:00 | 3.891 | 257.7 | 3.85 | 266 | 4.1195 | 250.572 | 4.362 | 259.2 | 9.25 | 962.671 | 99.9488 | 3.8907
2020-11-18 20:15:00 | 2.64 | 261.7 | 2.873 | 277.4 | 3.0741 | 261.311 | 3.478 | 261.9 | 9.24 | 962.671 | 99.9488 | 2.5162
2020-11-18 20:30:00 | 3.539 | 259.2 | 3.502 | 271.6 | 3.7471 | 255.847 | 4.087 | 262.5 | 9.24 | 962.671 | 99.9488 | 2.8229
2020-11-18 20:45:00 | 3.519 | 251 | 3.466 | 262 | 3.7086 | 246.804 | 3.868 | 253.4 | 9.27 | 962.671 | 99.9829 | 4.3119
2020-11-18 21:00:00 | 3.715 | 257.6 | 3.893 | 268.2 | 4.1655 | 252.644 | 4.232 | 258.8 | 9.31 | 963.116 | 99.9829 | 3.7392
2020-11-18 21:15:00 | 2.461 | 243.3 | 2.488 | 255.3 | 2.6622 | 240.493 | 3.213 | 239.2 | 9.35 | 962.968 | 99.9829 | 1.4927
2020-11-18 21:30:00 | 3.69 | 249.9 | 3.73 | 261.2 | 3.9911 | 246.05 | 4.232 | 252.9 | 9.32 | 963.265 | 99.9829 | 2.058
2020-11-18 21:45:00 | 3.068 | 252.3 | 3.428 | 263.7 | 3.668 | 248.405 | 3.606 | 259.5 | 9.32 | 963.265 | 99.9829 | 2.4312
2020-11-18 22:00:00 | 3.171 | 260.8 | 3.229 | 272 | 3.455 | 256.224 | 3.667 | 262.4 | 9.3 | 963.265 | 99.9488 | 1.1048
2020-11-18 22:15:00 | 2.196 | 258.9 | 2.569 | 270.7 | 2.7488 | 254.999 | 3.463 | 262 | 9.24 | 962.968 | 99.9488 | 0.46925
2020-11-18 22:30:00 | 2.431 | 253.3 | 2.29 | 264.2 | 2.4503 | 248.876 | 3.163 | 261.2 | 9.17 | 962.968 | 99.9488 | 0.48033
2020-11-18 22:45:00 | 2.375 | 263 | 2.963 | 273.5 | 3.1704 | 257.637 | 3.71 | 264.4 | 9.23 | 963.116 | 99.9829 | 0.29559
2020-11-18 23:00:00 | 3.003 | 257.9 | 3.39 | 271.6 | 3.6273 | 255.847 | 3.736 | 261.1 | 9.24 | 963.265 | 99.9488 | 0.58379
2020-11-18 23:15:00 | 2.405 | 253.2 | 2.707 | 264 | 2.8965 | 248.688 | 3.593 | 260.1 | 9.25 | 963.265 | 99.9488 | 0.53575
2020-11-18 23:30:00 | 2.582 | 251.6 | 2.791 | 262.9 | 2.9864 | 247.652 | 3.382 | 256.9 | 9.31 | 963.265 | 99.9829 | 0.51358
2020-11-18 23:45:00 | 2.62 | 255.6 | 2.832 | 264.9 | 3.0302 | 249.536 | 3.595 | 257.9 | 9.31 | 963.413 | 99.9488 | 0.97174