## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-19 00:00:00 | 2.811 | 263.3 | 3.267 | 275.2 | 3.4957 | 259.238 | 4.617 | 262.3 | 9.44 | 963.265 | 99.9829 | 0.62812
2020-11-19 00:15:00 | 2.26 | 276.5 | 2.377 | 289.4 | 2.5434 | 272.615 | 3.494 | 274.9 | 9.37 | 963.265 | 99.9829 | -0.10346
2020-11-19 00:30:00 | 0.659 | 282.3 | 1.093 | 292 | 1.1695 | 275.064 | 2.521 | 281.7 | 9.38 | 963.265 | 99.9488 | -0.22169
2020-11-19 00:45:00 | 0.623 | 276.4 | 1.146 | 286.7 | 1.2262 | 270.071 | 2.786 | 281.9 | 9.38 | 963.265 | 99.9488 | -0.20322
2020-11-19 01:00:00 | 1.279 | 283.4 | 1.578 | 298.7 | 1.6885 | 281.375 | 2.821 | 282.8 | 9.45 | 963.413 | 99.9488 | -0.16627
2020-11-19 01:15:00 | 1.043 | 279.4 | 1.473 | 294.2 | 1.5761 | 277.136 | 2.913 | 281.3 | 9.45 | 963.265 | 99.9488 | -0.16627
2020-11-19 01:30:00 | 1.268 | 279.4 | 1.976 | 295 | 2.1143 | 277.89 | 2.979 | 281.4 | 9.52 | 963.413 | 99.9488 | -0.16627
2020-11-19 01:45:00 | 1.489 | 273 | 2.168 | 282.5 | 2.3198 | 266.115 | 3.221 | 277.4 | 9.65 | 963.413 | 99.9488 | -0.20322
2020-11-19 02:00:00 | 1.492 | 269.6 | 2.076 | 282.2 | 2.2213 | 265.832 | 2.875 | 273.2 | 9.65 | 963.859 | 99.9488 | -0.073897
2020-11-19 02:15:00 | 1.43 | 294.6 | 1.774 | 306.4 | 1.8982 | 288.629 | 2.887 | 286.6 | 9.65 | 964.007 | 99.9485 | -0.18474
2020-11-19 02:30:00 | 1.148 | 294.7 | 1.628 | 308.5 | 1.742 | 290.607 | 2.572 | 292.9 | 9.65 | 964.156 | 99.9829 | -0.22169
2020-11-19 02:45:00 | 0 | 294.7 | 0.199 | 308.5 | 0.21293 | 290.607 | 2.022 | 295 | 9.59 | 964.156 | 99.9481 | -0.25125
2020-11-19 03:00:00 | 1.241 | 300 | 2.119 | 311.1 | 2.2673 | 293.056 | 3.191 | 295 | 9.63 | 963.859 | 99.9465 | -0.20322
2020-11-19 03:15:00 | 1.503 | 298.3 | 2.288 | 321.3 | 2.4482 | 302.665 | 3.17 | 294.8 | 9.76 | 964.453 | 99.9486 | -0.24016
2020-11-19 03:30:00 | 1.418 | 298.5 | 1.906 | 320.3 | 2.0394 | 301.723 | 2.862 | 292.8 | 9.79 | 964.453 | 99.4351 | -0.27711
2020-11-19 03:45:00 | 1.665 | 314.2 | 2.418 | 337.2 | 2.5873 | 317.642 | 3.061 | 307.9 | 9.84 | 964.453 | 99.9827 | -0.27711
2020-11-19 04:00:00 | 0.665 | 306.9 | 1.466 | 330.8 | 1.5686 | 311.614 | 2.067 | 307.2 | 9.79 | 964.305 | 99.6742 | -0.26972
2020-11-19 04:15:00 | 0.232 | 299.6 | 0.233 | 329.3 | 0.24931 | 310.201 | 1.78 | 301.9 | 9.79 | 964.453 | 99.1626 | -0.26972
2020-11-19 04:30:00 | 1.616 | 307.6 | 1.981 | 327.7 | 2.1197 | 308.693 | 2.661 | 295.5 | 9.79 | 964.453 | 99.3 | -0.26972
2020-11-19 04:45:00 | 2.431 | 314.6 | 3.257 | 337.8 | 3.485 | 318.208 | 4.059 | 310.6 | 9.66 | 964.453 | 99.9488 | -0.26972
2020-11-19 05:00:00 | 1.362 | 321.8 | 1.535 | 338 | 1.6424 | 318.396 | 2.409 | 317.1 | 9.58 | 964.75 | 99.9829 | -0.26972
2020-11-19 05:15:00 | 0.372 | 304.2 | 0.396 | 310.5 | 0.42372 | 292.491 | 1.395 | 314.7 | 9.52 | 965.047 | 99.9488 | -0.25864
2020-11-19 05:30:00 | 0 | 304 | 0 | 310.1 | 0 | 292.114 | 0.665 | 314.6 | 9.45 | 965.344 | 99.9488 | -0.25864
2020-11-19 05:45:00 | 1.179 | 255.3 | 1.103 | 255.5 | 1.1802 | 240.681 | 1.701 | 255.4 | 9.45 | 965.344 | 99.9488 | -0.25864
2020-11-19 06:00:00 | 0.857 | 255.5 | 1.334 | 254.2 | 1.4274 | 239.456 | 2.162 | 258.3 | 9.39 | 965.641 | 99.9488 | -0.25864
2020-11-19 06:15:00 | 1.199 | 249.4 | 1.42 | 244.7 | 1.5194 | 230.507 | 2.546 | 257.3 | 9.44 | 965.79 | 99.9488 | -0.2882
2020-11-19 06:30:00 | 2.02 | 243.1 | 2.625 | 250.4 | 2.8087 | 235.877 | 3.427 | 254.4 | 9.45 | 966.235 | 99.9829 | 0.6466
2020-11-19 06:45:00 | 2.372 | 251 | 2.628 | 262.1 | 2.812 | 246.898 | 3.46 | 254.2 | 9.45 | 966.533 | 99.9488 | 1.6073
2020-11-19 07:00:00 | 2.564 | 248.7 | 2.878 | 251.5 | 3.0795 | 236.913 | 3.636 | 257.1 | 9.41 | 966.83 | 99.9829 | 1.2895
2020-11-19 07:15:00 | 3.588 | 243.7 | 3.727 | 250.4 | 3.9879 | 235.877 | 4.515 | 248.6 | 9.47 | 966.83 | 99.9488 | 2.5347
2020-11-19 07:30:00 | 4.29 | 247.3 | 4.622 | 257.8 | 4.9455 | 242.848 | 5.309 | 248.6 | 9.5 | 967.127 | 99.9488 | 9.4145
2020-11-19 07:45:00 | 4.905 | 260 | 4.814 | 269.2 | 5.151 | 253.586 | 5.304 | 265 | 9.43 | 967.424 | 98.7195 | 14.2215
2020-11-19 08:00:00 | 3.626 | 282.9 | 3.768 | 293.3 | 4.0318 | 276.289 | 3.921 | 284.1 | 9.52 | 967.572 | 89.6618 | 16.1095
2020-11-19 08:15:00 | 4.905 | 292.7 | 5.655 | 303.5 | 6.0508 | 285.897 | 5.602 | 294.4 | 9.52 | 967.808 | 87.3286 | 22.8848
2020-11-19 08:30:00 | 5.827 | 305.9 | 6.442 | 316.6 | 6.8929 | 298.237 | 6.071 | 306.8 | 9.57 | 967.762 | 89.2303 | 29.1951
2020-11-19 08:45:00 | 6.013 | 312.1 | 6.187 | 323.2 | 6.6201 | 304.454 | 5.505 | 315.2 | 9.17 | 967.75 | 93.941 | 37.5808
2020-11-19 09:00:00 | 4.133 | 359.6 | 4.632 | 14.86 | 4.9562 | 13.9981 | 5.243 | 351.9 | 8.94 | 967.751 | 99.9488 | 40.3108
2020-11-19 09:15:00 | 5.222 | 3.793 | 6.389 | 30.95 | 6.8362 | 29.1549 | 6.983 | 356.5 | 7.704 | 967.662 | 99.9651 | 48.5207
2020-11-19 09:30:00 | 6.458 | 357.1 | 7.329 | 21.9 | 7.842 | 20.6298 | 8.77 | 353.1 | 7.158 | 967.721 | 99.9822 | 53.8589
2020-11-19 09:45:00 | 6.887 | 2.788 | 7.851 | 26.75 | 8.4006 | 25.1985 | 8.73 | 359.4 | 6.89 | 968.122 | 99.9829 | 60.9604
2020-11-19 10:00:00 | 7.637 | 355.3 | 8.34 | 24.74 | 8.9238 | 23.3051 | 10.17 | 353.6 | 6.654 | 968.016 | 99.9488 | 62.4911
2020-11-19 10:15:00 | 8.67 | 4.65 | 10.79 | 27.68 | 11.5453 | 26.0746 | 9.63 | 3.186 | 6.228 | 967.422 | 99.9767 | 67.3449
2020-11-19 10:30:00 | 8.6 | 7.014 | 10.95 | 27.62 | 11.7165 | 26.018 | 9.3 | 6.801 | 6.052 | 968.017 | 99.9828 | 53.0173
2020-11-19 10:45:00 | 5.347 | 14.65 | 8.45 | 30.68 | 9.0415 | 28.9006 | 7.484 | 17.97 | 6.649 | 968.76 | 98.4458 | 22.4425
2020-11-19 11:00:00 | 4.446 | 17 | 6.442 | 35.18 | 6.8929 | 33.1396 | 5.819 | 18.65 | 7.379 | 969.205 | 88.465 | 17.7611
2020-11-19 11:15:00 | 4.933 | 10.24 | 6.309 | 31.58 | 6.7506 | 29.7484 | 5.656 | 6.055 | 8.3 | 969.26 | 82.8412 | 24.2234
2020-11-19 11:30:00 | 3.547 | 12.93 | 3.942 | 16.66 | 4.2179 | 15.6937 | 4.443 | 12 | 9.43 | 969.711 | 87.4687 | 27.1571
2020-11-19 11:45:00 | 2.301 | 15.08 | 4.368 | 28.9 | 4.6738 | 27.2238 | 4.981 | 10.89 | 7.948 | 969.263 | 95.7843 | 22.9487
2020-11-19 12:00:00 | 4.448 | 10.34 | 5.87 | 33.43 | 6.2809 | 31.4911 | 5.434 | 359.3 | 7.263 | 968.973 | 96.8141 | 20.7687
2020-11-19 12:15:00 | 5.081 | 1.054 | 5.831 | 26.53 | 6.2392 | 24.9913 | 6.893 | 356 | 6.943 | 969.2 | 96.1487 | 22.0656
2020-11-19 12:30:00 | 5.518 | 6.664 | 6.307 | 29.36 | 6.7485 | 27.6571 | 5.938 | 357.3 | 6.977 | 969.206 | 90.6264 | 22.679
2020-11-19 12:45:00 | 4.831 | 12.89 | 7.299 | 36.23 | 7.8099 | 34.1287 | 5.299 | 8.34 | 7.451 | 969.8 | 90.6937 | 21.9215
2020-11-19 13:00:00 | 6.519 | 2.459 | 6.578 | 22.68 | 7.0385 | 21.3646 | 7.512 | 357.1 | 7.512 | 969.503 | 84.6052 | 37.0471
2020-11-19 13:15:00 | 6.754 | 2.517 | 7.483 | 27.23 | 8.0068 | 25.6507 | 8.1 | 358.9 | 7.478 | 969.447 | 79.891 | 38.8144
2020-11-19 13:30:00 | 6.427 | 358.9 | 7.102 | 31.43 | 7.5991 | 29.6071 | 7.846 | 351.2 | 7.604 | 969.497 | 77.9106 | 36.9226
2020-11-19 13:45:00 | 5.794 | 359.3 | 7.058 | 27.67 | 7.5521 | 26.0651 | 7.719 | 352.7 | 7.594 | 969.711 | 79.1403 | 33.878
2020-11-19 14:00:00 | 6.874 | 357.5 | 7.703 | 25.5 | 8.2422 | 24.021 | 8.28 | 355.1 | 7.393 | 970.024 | 73.8138 | 30.0095
2020-11-19 14:15:00 | 6.853 | 3.882 | 7.567 | 25.92 | 8.0967 | 24.4166 | 7.994 | 3.015 | 7.455 | 969.864 | 70.2641 | 43.1004
2020-11-19 14:30:00 | 6.557 | 0.904 | 7.662 | 27.22 | 8.1983 | 25.6412 | 8.64 | 357.1 | 7.431 | 970.023 | 74.4281 | 41.1717
2020-11-19 14:45:00 | 6.363 | 2.215 | 7.148 | 25.17 | 7.6484 | 23.7101 | 7.79 | 357.9 | 7.402 | 970.348 | 75.8956 | 52.234
2020-11-19 15:00:00 | 7.009 | 355.2 | 7.191 | 18.51 | 7.6944 | 17.4364 | 8.62 | 351.4 | 7.162 | 970.093 | 77.3643 | 55.7257
2020-11-19 15:15:00 | 7.829 | 5.46 | 8.87 | 27.52 | 9.4909 | 25.9238 | 9 | 4.385 | 6.724 | 970.097 | 80.3441 | 44.6477
2020-11-19 15:30:00 | 7.201 | 9.29 | 8.79 | 29.08 | 9.4053 | 27.3934 | 6.888 | 8.4 | 6.619 | 969.355 | 80.7922 | 33.9208
2020-11-19 15:45:00 | 6.417 | 9.25 | 7.646 | 27.48 | 8.1812 | 25.8862 | 6.455 | 7.887 | 6.441 | 969.935 | 80.7239 | 25.9378
2020-11-19 16:00:00 | 4.563 | 16.02 | 8.61 | 33.4 | 9.2127 | 31.4628 | 7.724 | 19.39 | 6.371 | 969.8 | 80.7443 | 25.2986
2020-11-19 16:15:00 | 4.806 | 16.5 | 8.22 | 31.39 | 8.7954 | 29.5694 | 7.576 | 19.15 | 6.27 | 969.651 | 80.6148 | 25.2247
2020-11-19 16:30:00 | 4.982 | 19.85 | 8.24 | 35.87 | 8.8168 | 33.7895 | 7.533 | 23.79 | 6.181 | 969.8 | 80.8881 | 21.4264
2020-11-19 16:45:00 | 5.196 | 17.37 | 7.856 | 32.32 | 8.4059 | 30.4454 | 7.375 | 23.05 | 6.123 | 970.097 | 80 | 18.2341
2020-11-19 17:00:00 | 4.818 | 19.55 | 8.03 | 34.2 | 8.5921 | 32.2164 | 7.828 | 24.59 | 6.135 | 969.8 | 77.2673 | 19.5457
2020-11-19 17:15:00 | 5.589 | 18.18 | 8.83 | 33.5 | 9.4481 | 31.557 | 8.38 | 21.97 | 6.143 | 970.097 | 75.1153 | 20.669
2020-11-19 17:30:00 | 5.975 | 18.35 | 9.74 | 34.28 | 10.4218 | 32.2918 | 9.32 | 22.77 | 6.118 | 970.245 | 74.9445 | 22.158
2020-11-19 17:45:00 | 5.786 | 20.54 | 9.19 | 36.8 | 9.8333 | 34.6656 | 8.97 | 24.47 | 6.087 | 970.691 | 72.6558 | 20.2662
2020-11-19 18:00:00 | 5.985 | 18.92 | 9.63 | 34.74 | 10.3041 | 32.7251 | 9.51 | 23.43 | 5.918 | 971.137 | 72.69 | 17.2734
2020-11-19 18:15:00 | 4.642 | 20.12 | 7.664 | 35.63 | 8.2005 | 33.5635 | 7.584 | 24.17 | 5.877 | 971.137 | 73.5781 | 14.7387
2020-11-19 18:30:00 | 5.183 | 19.54 | 7.956 | 32.46 | 8.5129 | 30.5773 | 7.879 | 25.84 | 5.832 | 971.331 | 72.4167 | 16.9926
2020-11-19 18:45:00 | 4.754 | 21.78 | 7.565 | 36.96 | 8.0945 | 34.8163 | 7.499 | 25.81 | 5.779 | 971.293 | 73.7148 | 17.8572
2020-11-19 19:00:00 | 4.591 | 19.78 | 8.1 | 34.73 | 8.667 | 32.7157 | 7.971 | 24.93 | 5.638 | 971.368 | 75.491 | 19.9669
2020-11-19 19:15:00 | 4.887 | 20.98 | 8.65 | 37.34 | 9.2555 | 35.1743 | 8.57 | 24.89 | 5.44 | 971.359 | 74.3309 | 22.7566
2020-11-19 19:30:00 | 5.263 | 17.08 | 9.17 | 31.75 | 9.8119 | 29.9085 | 8.58 | 21.69 | 5.506 | 971.753 | 73.0321 | 21.2638
2020-11-19 19:45:00 | 4.77 | 18.42 | 8.84 | 36.58 | 9.4588 | 34.4584 | 8.57 | 22.98 | 5.424 | 971.901 | 71.256 | 17.7426
2020-11-19 20:00:00 | 4.854 | 19.76 | 8.72 | 33.96 | 9.3304 | 31.9903 | 8.48 | 25.11 | 5.324 | 972.148 | 72.4867 | 19.2945
2020-11-19 20:15:00 | 4.432 | 22.79 | 7.969 | 36.65 | 8.5268 | 34.5243 | 7.543 | 27.8 | 5.25 | 972.147 | 72.7653 | 17.3695
2020-11-19 20:30:00 | 4.358 | 21.53 | 7.866 | 37 | 8.4166 | 34.854 | 8.15 | 25.34 | 5.254 | 972.594 | 72.0154 | 12.0748
2020-11-19 20:45:00 | 3.392 | 22.81 | 6.233 | 33.69 | 6.6693 | 31.736 | 6.486 | 29.48 | 5.217 | 973.217 | 72.5005 | 6.5029
2020-11-19 21:00:00 | 2.364 | 24.81 | 5.44 | 39.71 | 5.8208 | 37.4068 | 5.694 | 27.34 | 5.108 | 973.366 | 72.3664 | 4.94
2020-11-19 21:15:00 | 2.705 | 20.9 | 4.921 | 34.44 | 5.2655 | 32.4425 | 5.452 | 25.93 | 5.092 | 973.961 | 71.9584 | 2.5716
2020-11-19 21:30:00 | 2.655 | 20.28 | 4.407 | 37.06 | 4.7155 | 34.9105 | 5.342 | 25.36 | 5.07 | 974.109 | 73.1515 | 2.9743
2020-11-19 21:45:00 | 2.571 | 24.65 | 4.172 | 36.38 | 4.464 | 34.27 | 4.912 | 32.13 | 4.904 | 974.079 | 72.8445 | 2.8783
2020-11-19 22:00:00 | 2.849 | 22.04 | 4.343 | 36.58 | 4.647 | 34.4584 | 5.225 | 28.82 | 4.865 | 974.258 | 71.5485 | 3.5507
2020-11-19 22:15:00 | 2.86 | 23.76 | 4.74 | 37.67 | 5.0718 | 35.4851 | 5.197 | 25.93 | 4.839 | 974.258 | 70.8607 | 2.7379
2020-11-19 22:30:00 | 3.138 | 27.4 | 4.949 | 44.78 | 5.2954 | 42.1828 | 5.462 | 31.75 | 4.711 | 974.258 | 72.2288 | 3.717
2020-11-19 22:45:00 | 2.908 | 29.18 | 4.796 | 42.46 | 5.1317 | 39.9973 | 5.732 | 35.97 | 4.601 | 973.8 | 69.3589 | 4.5151
2020-11-19 23:00:00 | 2.267 | 29.16 | 4.425 | 42.73 | 4.7348 | 40.2517 | 5.452 | 35.94 | 4.785 | 974.254 | 66.179 | 1.1934
2020-11-19 23:15:00 | 2.288 | 24.52 | 3.916 | 38.68 | 4.1901 | 36.4366 | 4.563 | 28.67 | 4.937 | 974.548 | 64.4384 | 0.19213
2020-11-19 23:30:00 | 0.48 | 17.7 | 2.398 | 31 | 2.5659 | 29.202 | 3.305 | 20.56 | 4.925 | 974.703 | 63.14 | -0.16627
2020-11-19 23:45:00 | 0.108 | 11.78 | 1.112 | 33.4 | 1.1898 | 31.4628 | 2.335 | 21.43 | 5.035 | 974.684 | 61.2266 | -0.14779