## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-20 00:00:00 | 1.895 | 24.13 | 3.221 | 32.19 | 3.4465 | 30.323 | 4.242 | 30.76 | 4.638 | 974.816 | 69.7031 | 0.036949
2020-11-20 00:15:00 | 2.221 | 18.3 | 3.223 | 27.79 | 3.4486 | 26.1782 | 4.028 | 22.41 | 4.65 | 974.977 | 65.672 | -0.055423
2020-11-20 00:30:00 | 2.36 | 10.47 | 2.566 | 17.78 | 2.7456 | 16.7488 | 2.992 | 16.5 | 4.627 | 975.445 | 67.179 | -0.073897
2020-11-20 00:45:00 | 2.168 | 10.02 | 2.85 | 11.95 | 3.0495 | 11.2569 | 2.633 | 14.21 | 4.544 | 975.744 | 68.9556 | -0.12193
2020-11-20 01:00:00 | 2.526 | 9.67 | 2.569 | 15.48 | 2.7488 | 14.5822 | 2.933 | 11.24 | 4.352 | 975.744 | 72.3388 | -0.073897
2020-11-20 01:15:00 | 3.003 | 6.485 | 3.932 | 14.17 | 4.2072 | 13.3481 | 3.636 | 10.16 | 4.17 | 975.596 | 83.7177 | 0.66507
2020-11-20 01:30:00 | 2.625 | 4.288 | 2.858 | 16.2 | 3.0581 | 15.2604 | 3.529 | 7.419 | 3.742 | 975.297 | 87.784 | 1.8881
2020-11-20 01:45:00 | 2.283 | 1.422 | 2.329 | 20.14 | 2.492 | 18.9719 | 3.068 | 3.506 | 3.342 | 975.447 | 92.7387 | 1.7624
2020-11-20 02:00:00 | 2.778 | 5.733 | 3.489 | 23.47 | 3.7332 | 22.1087 | 4.077 | 5.472 | 3.036 | 975.298 | 95.4382 | 3.0076
2020-11-20 02:15:00 | 2.056 | 12.93 | 3.328 | 35.52 | 3.561 | 33.4598 | 3.41 | 15.23 | 3.007 | 975.298 | 95.6774 | 4.8735
2020-11-20 02:30:00 | 2.454 | 16.36 | 4.244 | 36.03 | 4.5411 | 33.9403 | 4.711 | 17.98 | 3.06 | 975.15 | 90.2785 | 6.7726
2020-11-20 02:45:00 | 2.595 | 14.7 | 4.75 | 33.4 | 5.0825 | 31.4628 | 4.693 | 18.47 | 3.235 | 975.447 | 84.7429 | 6.2849
2020-11-20 03:00:00 | 3.059 | 13.5 | 4.279 | 29.4 | 4.5785 | 27.6948 | 4.301 | 16.98 | 3.268 | 975.596 | 86.5197 | 5.2023
2020-11-20 03:15:00 | 2.464 | 17.17 | 3.673 | 37.1 | 3.9301 | 34.9482 | 4.403 | 19.15 | 3.3 | 975.744 | 82.7268 | 3.7983
2020-11-20 03:30:00 | 2.356 | 12.76 | 3.326 | 32.71 | 3.5588 | 30.8128 | 3.43 | 15.55 | 3.458 | 976.042 | 79.8906 | 1.8881
2020-11-20 03:45:00 | 2.048 | 10.2 | 3.285 | 27.11 | 3.5149 | 25.5376 | 3.305 | 10.87 | 3.374 | 975.893 | 79.3439 | 1.7366
2020-11-20 04:00:00 | 2.211 | 11.61 | 3.2 | 28.87 | 3.424 | 27.1955 | 2.961 | 11.34 | 3.48 | 976.042 | 76.952 | 0.85351
2020-11-20 04:15:00 | 1.299 | 8.63 | 2.814 | 21.75 | 3.011 | 20.4885 | 3.096 | 7.53 | 3.467 | 976.636 | 76.3027 | 0.86459
2020-11-20 04:30:00 | 3.544 | 8.14 | 2.74 | 13.48 | 2.9318 | 12.6982 | 2.536 | 4.774 | 3.773 | 976.636 | 78.3188 | 2.6566
2020-11-20 04:45:00 | 2.421 | 4.387 | 3.722 | 23.77 | 3.9825 | 22.3913 | 4.344 | 6.72 | 3.109 | 976.636 | 82.1459 | 4.2565
2020-11-20 05:00:00 | 2.684 | 6.625 | 3.988 | 20.99 | 4.2672 | 19.7726 | 4.128 | 7.75 | 2.978 | 976.785 | 83.9228 | 7.0276
2020-11-20 05:15:00 | 3.669 | 6.775 | 4.354 | 19.87 | 4.6588 | 18.7175 | 3.932 | 7.549 | 2.845 | 976.933 | 87.6473 | 7.7629
2020-11-20 05:30:00 | 3.756 | 8.73 | 4.942 | 21.51 | 5.2879 | 20.2624 | 4.128 | 8.53 | 2.677 | 976.636 | 92.3287 | 10.3456
2020-11-20 05:45:00 | 3.419 | 9.92 | 5.276 | 29.05 | 5.6453 | 27.3651 | 4.805 | 10.72 | 2.262 | 976.339 | 92.7447 | 11.236
2020-11-20 06:00:00 | 3.24 | 13.88 | 6 | 30.5 | 6.42 | 28.731 | 5.373 | 17.71 | 2.187 | 976.339 | 94.7329 | 13.5157
2020-11-20 06:15:00 | 3.013 | 22.07 | 5.213 | 38.9 | 5.5779 | 36.6438 | 5.806 | 24.02 | 2.04 | 976.349 | 91.2547 | 10.9885
2020-11-20 06:30:00 | 2.781 | 24.72 | 4.576 | 42.78 | 4.8963 | 40.2988 | 5.747 | 29.48 | 2.207 | 976.339 | 90.71 | 10.5673
2020-11-20 06:45:00 | 3.091 | 21.77 | 5.371 | 40.49 | 5.747 | 38.1416 | 6.117 | 26.94 | 2.412 | 976.641 | 87.4238 | 9.6177
2020-11-20 07:00:00 | 2.68 | 23.94 | 5.164 | 39.07 | 5.5255 | 36.8039 | 6.066 | 28.27 | 2.523 | 976.934 | 83.6497 | 7.7185
2020-11-20 07:15:00 | 2.525 | 23.67 | 4.146 | 41.52 | 4.4362 | 39.1118 | 4.739 | 27.03 | 2.781 | 977.083 | 82.1801 | 5.679
2020-11-20 07:30:00 | 2.458 | 23.05 | 4.456 | 40.19 | 4.7679 | 37.859 | 5.075 | 29.06 | 2.923 | 977.619 | 78.9648 | 4.1235
2020-11-20 07:45:00 | 2.638 | 23.17 | 4.348 | 38.63 | 4.6524 | 36.3895 | 4.436 | 26.17 | 3.233 | 978.122 | 79.2703 | 2.5014
2020-11-20 08:00:00 | 2.424 | 23.09 | 4.269 | 38.73 | 4.5678 | 36.4837 | 4.408 | 24.82 | 3.455 | 978.505 | 77.5072 | 1.5112
2020-11-20 08:15:00 | 3.003 | 20.89 | 4.538 | 31.84 | 4.8557 | 29.9933 | 4.736 | 28.01 | 3.656 | 979.013 | 74.7054 | 1.9139
2020-11-20 08:30:00 | 2.69 | 17.96 | 3.625 | 34.39 | 3.8788 | 32.3954 | 4.003 | 25.8 | 3.925 | 979.607 | 71.392 | 0.28081
2020-11-20 08:45:00 | 3.705 | 20.24 | 4.159 | 31.29 | 4.4501 | 29.4752 | 3.977 | 26.92 | 4.061 | 979.755 | 67.9702 | 0.0036948
2020-11-20 09:00:00 | 2.227 | 11.84 | 2.634 | 29.84 | 2.8184 | 28.1093 | 2.724 | 11.33 | 4.515 | 980.201 | 72.6313 | -0.15888
2020-11-20 09:15:00 | 2.453 | 14.85 | 3.494 | 38.84 | 3.7386 | 36.5873 | 2.999 | 4.188 | 4.985 | 980.202 | 72.5969 | -0.11084
2020-11-20 09:30:00 | 2.141 | 20.18 | 4.274 | 36.14 | 4.5732 | 34.0439 | 3.412 | 18.26 | 4.813 | 980.198 | 67.9442 | 0.84981
2020-11-20 09:45:00 | 4.195 | 13.2 | 6.856 | 29.26 | 7.3359 | 27.5629 | 5.816 | 18.33 | 4.611 | 980.198 | 70.4753 | 0.94219
2020-11-20 10:00:00 | 2.372 | 22.34 | 4.612 | 35.71 | 4.9348 | 33.6388 | 4.316 | 16.19 | 5.207 | 980.792 | 65.5905 | 0.83873
2020-11-20 10:15:00 | 2.063 | 23.18 | 3.872 | 42.56 | 4.143 | 40.0915 | 3.463 | 23.43 | 5.326 | 980.644 | 64.7333 | 1.5814
2020-11-20 10:30:00 | 4.3 | 8.28 | 4.791 | 22.8 | 5.1264 | 21.4776 | 4.734 | 8.21 | 4.96 | 980.106 | 63.6014 | 1.9952
2020-11-20 10:45:00 | 2.687 | 8.21 | 3.011 | 34.42 | 3.2218 | 32.4236 | 3.356 | 2.336 | 5.452 | 979.778 | 64.689 | 2.9633
2020-11-20 11:00:00 | 3.654 | 17.55 | 5.517 | 35.2 | 5.9032 | 33.1584 | 5.167 | 20.04 | 5.316 | 979.621 | 64.2432 | 3.1332
2020-11-20 11:15:00 | 4.124 | 17.03 | 5.928 | 34.41 | 6.343 | 32.4142 | 5.437 | 20.16 | 5.642 | 979.632 | 64.721 | 3.5286
2020-11-20 11:30:00 | 3.242 | 8.66 | 4.86 | 32.27 | 5.2002 | 30.3983 | 4.311 | 4.27 | 6.025 | 979.533 | 63.6628 | 4.3969
2020-11-20 11:45:00 | 2.851 | 26.71 | 4.852 | 43.5 | 5.1916 | 40.977 | 4.665 | 21.24 | 6.006 | 979.699 | 64.2431 | 5.1211
2020-11-20 12:00:00 | 4.527 | 7.964 | 5.154 | 25.93 | 5.5148 | 24.4261 | 4.953 | 4.721 | 5.811 | 979.018 | 64.2431 | 6.8096
2020-11-20 12:15:00 | 5.201 | 16.71 | 6.903 | 30.95 | 7.3862 | 29.1549 | 6.478 | 20.9 | 5.641 | 978.788 | 65.7174 | 7.4414
2020-11-20 12:30:00 | 5.171 | 12.17 | 5.21 | 24.1 | 5.5747 | 22.7022 | 5.169 | 1.952 | 5.615 | 978.708 | 65.8963 | 12.9615
2020-11-20 12:45:00 | 3.962 | 20.46 | 5.565 | 37.72 | 5.9546 | 35.5322 | 5.213 | 17.21 | 6.079 | 979.307 | 62.7273 | 14.1328
2020-11-20 13:00:00 | 4.465 | 7.672 | 5.798 | 29.38 | 6.2039 | 27.676 | 5.816 | 1.725 | 6.183 | 979.009 | 59.6161 | 15.4001
2020-11-20 13:15:00 | 4.77 | 14.45 | 6.355 | 30.19 | 6.7999 | 28.439 | 5.572 | 4.268 | 6.039 | 978.712 | 56.1664 | 16.734
2020-11-20 13:30:00 | 4.877 | 6.484 | 5.89 | 35.73 | 6.3023 | 33.6577 | 5.449 | 0.106 | 5.964 | 979.009 | 58.3188 | 13.5231
2020-11-20 13:45:00 | 3.077 | 11.12 | 5.218 | 37.22 | 5.5833 | 35.0612 | 4.999 | 356.9 | 6.318 | 979.307 | 58.216 | 16.0578
2020-11-20 14:00:00 | 5.181 | 11.2 | 6.833 | 31.54 | 7.3113 | 29.7107 | 5.91 | 8.18 | 6.153 | 979.307 | 57.2949 | 14.3212
2020-11-20 14:15:00 | 2.975 | 354.3 | 4.545 | 21.05 | 4.8632 | 19.8291 | 5.503 | 353.7 | 6.208 | 979.604 | 57.0221 | 12.9911
2020-11-20 14:30:00 | 2.437 | 13.76 | 3.929 | 29.13 | 4.204 | 27.4405 | 3.588 | 359.8 | 6.144 | 980.198 | 57.9082 | 8.3799
2020-11-20 14:45:00 | 2.427 | 348.7 | 3.5 | 12.31 | 3.745 | 11.596 | 3.438 | 340.3 | 6.391 | 980.049 | 58.5211 | 10.9072
2020-11-20 15:00:00 | 3.115 | 356.7 | 4.169 | 18.75 | 4.4608 | 17.6625 | 4.461 | 349.6 | 5.851 | 979.158 | 60.9851 | 17.3177
2020-11-20 15:15:00 | 5.748 | 1.516 | 6.368 | 29.05 | 6.8138 | 27.3651 | 6.926 | 352 | 5.544 | 978.415 | 60.6112 | 23.6692
2020-11-20 15:30:00 | 4.544 | 354.5 | 5.266 | 14.86 | 5.6346 | 13.9981 | 6.376 | 354.9 | 5.441 | 978.669 | 59.9624 | 32.0121
2020-11-20 15:45:00 | 5.092 | 356.8 | 5.317 | 23.99 | 5.6892 | 22.5986 | 6.259 | 352 | 5.29 | 978.566 | 60.5877 | 26.6214
2020-11-20 16:00:00 | 5.309 | 0.218 | 5.732 | 22.4 | 6.1332 | 21.1008 | 6.781 | 355.5 | 5.109 | 978.418 | 61.7589 | 20.5175
2020-11-20 16:15:00 | 5.658 | 0.966 | 6.148 | 16.62 | 6.5784 | 15.656 | 7.428 | 0.402 | 4.925 | 977.823 | 62.0666 | 21.0237
2020-11-20 16:30:00 | 5.066 | 4.607 | 5.443 | 18.56 | 5.824 | 17.4835 | 6.608 | 2.075 | 4.768 | 977.823 | 63.1938 | 21.0569
2020-11-20 16:45:00 | 5.717 | 9.83 | 6.164 | 25.5 | 6.5955 | 24.021 | 5.241 | 11.29 | 4.617 | 977.652 | 65.4492 | 19.6381
2020-11-20 17:00:00 | 4.841 | 10.88 | 5.2 | 22.76 | 5.564 | 21.4399 | 4.767 | 8.88 | 4.498 | 977.949 | 65.3937 | 19.7748
2020-11-20 17:15:00 | 4.272 | 9.23 | 5.011 | 24.56 | 5.3618 | 23.1355 | 4.291 | 6.627 | 4.351 | 977.823 | 66.2156 | 16.3497
2020-11-20 17:30:00 | 4.213 | 10.13 | 6.156 | 28.36 | 6.5869 | 26.7151 | 5.233 | 13.75 | 4.284 | 977.823 | 66.3531 | 17.3547
2020-11-20 17:45:00 | 3.575 | 15.26 | 6.013 | 33.08 | 6.4339 | 31.1614 | 5.826 | 18.65 | 4.284 | 977.521 | 67.1052 | 20.8722
2020-11-20 18:00:00 | 4.032 | 15.04 | 5.696 | 30 | 6.0947 | 28.26 | 5.663 | 19.34 | 4.022 | 977.456 | 67.9953 | 21.6075
2020-11-20 18:15:00 | 3.562 | 15.2 | 5.724 | 31.01 | 6.1247 | 29.2114 | 5.373 | 18.55 | 4.032 | 977.507 | 67.996 | 17.3177
2020-11-20 18:30:00 | 3.087 | 21.81 | 4.688 | 40.09 | 5.0162 | 37.7648 | 5.095 | 25.08 | 3.904 | 977.231 | 68.1342 | 17.5431
2020-11-20 18:45:00 | 3.823 | 23.11 | 5.417 | 37.13 | 5.7962 | 34.9765 | 5.694 | 29.06 | 4.018 | 977.219 | 66.974 | 14.1365
2020-11-20 19:00:00 | 3.843 | 19.08 | 5.325 | 32.62 | 5.6978 | 30.728 | 5.381 | 24.82 | 4.08 | 977.525 | 66.0174 | 7.9254
2020-11-20 19:15:00 | 3.388 | 27.17 | 4.402 | 43.12 | 4.7101 | 40.619 | 4.889 | 33 | 4.093 | 977.485 | 67.6575 | 5.158
2020-11-20 19:30:00 | 3.57 | 31.99 | 5.184 | 49.71 | 5.5469 | 46.8268 | 5.185 | 38.85 | 3.925 | 976.933 | 66.9395 | 8.8676
2020-11-20 19:45:00 | 3.851 | 34.23 | 5.877 | 48.62 | 6.2884 | 45.8 | 6.341 | 38.96 | 3.896 | 976.93 | 66.3572 | 8.8455
2020-11-20 20:00:00 | 3.736 | 38.64 | 5.269 | 52.55 | 5.6378 | 49.5021 | 5.47 | 42.92 | 4.002 | 976.926 | 66.3926 | 7.253
2020-11-20 20:15:00 | 3.528 | 40.63 | 5.218 | 49.5 | 5.5833 | 46.629 | 5.444 | 46.14 | 3.947 | 976.623 | 67.7236 | 6.9352
2020-11-20 20:30:00 | 3.422 | 38.92 | 4.451 | 48.32 | 4.7626 | 45.5174 | 4.833 | 45.54 | 3.952 | 976.631 | 66.7666 | 2.058
2020-11-20 20:45:00 | 4.379 | 55.08 | 4.824 | 67.28 | 5.1617 | 63.3778 | 4.698 | 62.35 | 4.074 | 976.902 | 66.5632 | 0.44338
2020-11-20 21:00:00 | 2.962 | 80.3 | 2.63 | 93.8 | 2.8141 | 88.3596 | 3.389 | 83.9 | 4.022 | 976.931 | 65.9477 | -0.022169
2020-11-20 21:15:00 | 2.105 | 89.2 | 2.11 | 93.8 | 2.2577 | 88.3596 | 4.046 | 98.1 | 4.086 | 976.933 | 66.6985 | -0.19583
2020-11-20 21:30:00 | 2.28 | 120.5 | 2.433 | 136 | 2.6033 | 128.112 | 2.758 | 120.3 | 4.382 | 977.67 | 64.513 | -0.17735
2020-11-20 21:45:00 | 1.608 | 151.1 | 1.84 | 167.1 | 1.9688 | 157.408 | 2.123 | 143.2 | 4.495 | 977.824 | 65.1262 | -0.25125
2020-11-20 22:00:00 | 1.201 | 205.7 | 1.009 | 228.8 | 1.0796 | 215.53 | 1.387 | 156.2 | 4.076 | 978.094 | 70.1133 | -0.26972
2020-11-20 22:15:00 | 2.411 | 278.1 | 2.423 | 305.3 | 2.5926 | 287.593 | 1.048 | 241.4 | 3.654 | 978.716 | 73.1216 | -0.29189
2020-11-20 22:30:00 | 1.233 | 239.9 | 1.286 | 276.6 | 1.376 | 260.557 | 0.936 | 265.5 | 3.647 | 978.71 | 69.7756 | -0.25864
2020-11-20 22:45:00 | 0.347 | 288.5 | 1.09 | 272.9 | 1.1663 | 257.072 | 0.293 | 265.1 | 3.564 | 978.717 | 72.8173 | -0.24016
2020-11-20 23:00:00 | 1.027 | 0.389 | 0.986 | 25.57 | 1.055 | 24.0869 | 0 | 265.1 | 3.398 | 978.271 | 74.1158 | -0.26972
2020-11-20 23:15:00 | 2.038 | 5.057 | 1.866 | 22.01 | 1.9966 | 20.7334 | 0.972 | 290 | 3.28 | 978.42 | 76.747 | -0.26972
2020-11-20 23:30:00 | 1.859 | 312.2 | 2.175 | 345.2 | 2.3272 | 325.178 | 1.361 | 289.9 | 3.285 | 978.42 | 77.7721 | -0.25125
2020-11-20 23:45:00 | 2.033 | 10.06 | 2.868 | 27.11 | 3.0688 | 25.5376 | 2.299 | 356.9 | 3.133 | 977.974 | 80.6424 | 0.029559