## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-21 00:00:00 | 2.063 | 17.3 | 2.572 | 30.61 | 2.752 | 28.8346 | 2.984 | 11.41 | 2.965 | 977.825 | 81.3258 | 0.8609
2020-11-21 00:15:00 | 1.396 | 19.61 | 2.295 | 35.35 | 2.0672 | 34.2134 | 2.758 | 29.41 | 2.822 | 977.825 | 80.7791 | -0.014779
2020-11-21 00:30:00 | 0.227 | 24.61 | 1.551 | 35.69 | 1.6596 | 33.62 | 1.334 | 32.99 | 3.015 | 977.825 | 77.7721 | -0.2143
2020-11-21 00:45:00 | 0 | 26.12 | 0.622 | 37.08 | 0.55212 | 34.9765 | 0.165 | 32.99 | 3.31 | 978.122 | 75.4826 | -0.22539
2020-11-21 01:00:00 | 0 | 58.06 | 0.524 | 62.51 | 0.56068 | 58.8844 | 0.698 | 33.77 | 3.268 | 977.974 | 74.2867 | -0.24016
2020-11-21 01:15:00 | 0.891 | 97 | 1.866 | 104.1 | 1.9966 | 98.0622 | 2.223 | 105.1 | 3.527 | 977.974 | 71.9973 | -0.24016
2020-11-21 01:30:00 | 2.183 | 71.95 | 2.666 | 84.9 | 2.8526 | 79.9758 | 2.803 | 80.4 | 3.54 | 977.528 | 74.0133 | -0.25864
2020-11-21 01:45:00 | 1.592 | 92.7 | 2.155 | 102.4 | 2.3058 | 96.4608 | 2.317 | 94.8 | 3.471 | 977.677 | 72.8515 | -0.25125
2020-11-21 02:00:00 | 1.197 | 87.5 | 1.92 | 102.2 | 2.0544 | 96.2724 | 1.894 | 106 | 3.47 | 977.231 | 73.3982 | -0.26972
2020-11-21 02:15:00 | 3.051 | 81.2 | 3.755 | 93.2 | 4.0179 | 87.7944 | 3.639 | 93.4 | 3.287 | 976.487 | 74.6967 | 1.9435
2020-11-21 02:30:00 | 1.958 | 91.7 | 3.223 | 105.4 | 3.4486 | 99.2868 | 3.646 | 98.9 | 3.295 | 976.636 | 74.7651 | 2.3499
2020-11-21 02:45:00 | 3.028 | 112.9 | 3.269 | 132 | 3.4978 | 124.344 | 3.31 | 115.6 | 3.459 | 976.339 | 73.945 | 1.7957
2020-11-21 03:00:00 | 0.159 | 73.51 | 0.667 | 70.18 | 0.71369 | 66.1096 | 0.427 | 108 | 3.465 | 976.339 | 74.2183 | -0.21061
2020-11-21 03:15:00 | 0.213 | 149.3 | 0.53 | 147.5 | 0.5671 | 138.945 | 0.608 | 65.51 | 3.403 | 976.487 | 74.2867 | -0.24016
2020-11-21 03:30:00 | 0.268 | 153.3 | 0.794 | 163.8 | 0.84958 | 154.3 | 0.236 | 126.2 | 3.394 | 976.636 | 75.7218 | -0.24016
2020-11-21 03:45:00 | 1.266 | 193.6 | 1.101 | 207.6 | 1.1781 | 195.559 | 0.65 | 159.7 | 3.357 | 976.785 | 75.346 | -0.25125
2020-11-21 04:00:00 | 2.648 | 191.4 | 2.49 | 206.4 | 2.6643 | 194.429 | 2.047 | 177.1 | 3.325 | 976.933 | 78.3188 | -0.26972
2020-11-21 04:15:00 | 1.606 | 149 | 1.784 | 167.4 | 1.9089 | 157.691 | 1.591 | 159.4 | 3.179 | 976.933 | 78.5922 | -0.24016
2020-11-21 04:30:00 | 1.451 | 114.4 | 1.665 | 134.3 | 1.7815 | 126.511 | 1.877 | 117.9 | 3.258 | 977.082 | 77.2595 | -0.26972
2020-11-21 04:45:00 | 0.007 | 142.3 | 0.366 | 139.4 | 0.39162 | 131.315 | 0.527 | 125.4 | 3.237 | 977.082 | 78.1138 | -0.25864
2020-11-21 05:00:00 | 1.958 | 188.6 | 1.946 | 217.9 | 2.0822 | 205.262 | 0.723 | 177.4 | 2.806 | 977.231 | 84.8112 | -0.26972
2020-11-21 05:15:00 | 0.015 | 153 | 0.286 | 164.1 | 0.30602 | 154.582 | 0 | 173 | 1.835 | 976.933 | 92.6021 | -0.24016
2020-11-21 05:30:00 | 0.807 | 90.7 | 1.129 | 90.3 | 1.208 | 85.0626 | 0.616 | 157.1 | 1.349 | 976.339 | 94.994 | -0.24016
2020-11-21 05:45:00 | 0.182 | 65.5 | 0.982 | 69.19 | 1.0507 | 65.177 | 1.097 | 64.67 | 1.229 | 976.042 | 96.8439 | -0.24016
2020-11-21 06:00:00 | 2.132 | 62.2 | 2.96 | 78.98 | 3.1672 | 74.3992 | 2.969 | 63.21 | 1.027 | 975.774 | 99.2921 | -0.24016
2020-11-21 06:15:00 | 0.033 | 68.44 | 1.33 | 76.07 | 1.4231 | 71.6579 | 1.563 | 64.16 | 1.02 | 976.075 | 100 | -0.25864
2020-11-21 06:30:00 | 0 | 65.59 | 0 | 83.2 | 0 | 78.3744 | 0.006 | 64.16 | 1.126 | 976.6 | 100 | -0.25864
2020-11-21 06:45:00 | 0.165 | 137.7 | 0.222 | 104 | 0.23754 | 97.968 | 0.311 | 64.23 | 1.07 | 976.621 | 100 | -0.25125
2020-11-21 07:00:00 | 0.158 | 79.25 | 0.008 | 70.22 | 0.00856 | 66.1472 | 0.459 | 64.24 | 1.16 | 976.599 | 100 | -0.25864
2020-11-21 07:15:00 | 0 | 98.4 | 0 | 70.25 | 0 | 66.1755 | 0 | 64.24 | 1.089 | 976.9 | 100 | -0.25864
2020-11-21 07:30:00 | 1.772 | 140.8 | 1.444 | 155.1 | 1.5451 | 146.104 | 1 | 65.07 | 1.077 | 977.2 | 100 | -0.24016
2020-11-21 07:45:00 | 2.125 | 134.2 | 2.001 | 158.7 | 2.1411 | 149.495 | 2.045 | 140.3 | 1.02 | 976.905 | 100 | -0.17366
2020-11-21 08:00:00 | 2.006 | 151 | 1.853 | 172 | 1.9827 | 162.024 | 1.886 | 150 | 1.01 | 977.224 | 100 | -0.24016
2020-11-21 08:15:00 | 1.921 | 148.8 | 1.609 | 158 | 1.7216 | 148.836 | 1.899 | 150.1 | 1.038 | 977.66 | 100 | -0.25864
2020-11-21 08:30:00 | 0.223 | 142 | 0 | 168 | 0 | 158.256 | 0.426 | 150.3 | 1.135 | 977.527 | 100 | -0.24016
2020-11-21 08:45:00 | 1.889 | 173.6 | 1.258 | 183 | 1.3461 | 172.386 | 1.586 | 150.6 | 1.07 | 977.742 | 100 | -0.25864
2020-11-21 09:00:00 | 1.775 | 202.7 | 1.193 | 222.8 | 1.2765 | 209.878 | 1.084 | 204.8 | 1.163 | 977.986 | 100 | -0.24016
2020-11-21 09:15:00 | 1.68 | 192.2 | 1.286 | 207 | 1.376 | 194.994 | 1.652 | 204.6 | 1.226 | 977.708 | 100 | -0.25864
2020-11-21 09:30:00 | 1.708 | 204.6 | 1.142 | 202.4 | 1.2219 | 190.661 | 1.329 | 202 | 1.283 | 977.576 | 100 | -0.25864
2020-11-21 09:45:00 | 0.227 | 206 | 0.086 | 202.4 | 0.09202 | 190.661 | 0.377 | 204.5 | 1.29 | 977.576 | 100 | -0.24016
2020-11-21 10:00:00 | 2.505 | 207.8 | 2.277 | 221.1 | 2.4364 | 208.276 | 2.123 | 205.8 | 1.439 | 977.41 | 100 | -0.24016
2020-11-21 10:15:00 | 0.509 | 256.5 | 0.499 | 244 | 0.53393 | 229.848 | 1.048 | 243.9 | 1.555 | 977.232 | 99.9995 | -0.24016
2020-11-21 10:30:00 | 1.688 | 263 | 1.704 | 275.6 | 1.8233 | 259.615 | 1.852 | 270.3 | 1.337 | 976.934 | 99.9891 | -0.32884
2020-11-21 10:45:00 | 3.256 | 284.4 | 3.538 | 298.6 | 3.7857 | 281.281 | 3.432 | 287 | 1.325 | 976.934 | 99.9872 | -0.25494
2020-11-21 11:00:00 | 2.5 | 313.6 | 2.6 | 323 | 2.782 | 304.266 | 2.34 | 302.1 | 1.376 | 976.934 | 99.9918 | -0.070202
2020-11-21 11:15:00 | 2.349 | 309.2 | 2.605 | 322.3 | 2.7873 | 303.607 | 2.526 | 311.6 | 1.346 | 976.637 | 99.992 | -0.029559
2020-11-21 11:30:00 | 2.135 | 349.9 | 2.534 | 7.815 | 2.7114 | 7.3617 | 3.448 | 337.8 | 1.484 | 976.042 | 99.9908 | 0.16996
2020-11-21 11:45:00 | 0.867 | 335.6 | 1.205 | 342.1 | 1.2893 | 322.258 | 1.803 | 339.7 | 1.545 | 976.339 | 99.9899 | 0.33623
2020-11-21 12:00:00 | 1.375 | 329.2 | 1.046 | 349 | 1.1192 | 328.758 | 2.013 | 326.8 | 1.442 | 976.339 | 99.9882 | 0.14779
2020-11-21 12:15:00 | 1.374 | 336.4 | 1.42 | 355.7 | 1.5194 | 335.069 | 2.48 | 334 | 1.436 | 976.042 | 99.9832 | 0.34731
2020-11-21 12:30:00 | 3.608 | 0.734 | 3.691 | 26.93 | 3.9494 | 25.3681 | 4.023 | 353.7 | 1.242 | 975.596 | 99.9848 | 2.3536
2020-11-21 12:45:00 | 2.965 | 11.77 | 3.602 | 33.37 | 3.8541 | 31.4345 | 3.702 | 358.3 | 1.27 | 975.448 | 99.9848 | 2.1467
2020-11-21 13:00:00 | 3.476 | 7.654 | 4.042 | 31.66 | 4.3249 | 29.8237 | 3.221 | 8.36 | 1.22 | 975.448 | 100 | 2.1763
2020-11-21 13:15:00 | 2.541 | 0.751 | 3.052 | 28.95 | 3.2656 | 27.2709 | 3.77 | 351.5 | 1.331 | 975.745 | 99.9982 | 1.9841
2020-11-21 13:30:00 | 2.368 | 5.531 | 2.383 | 34.71 | 2.5498 | 32.6968 | 2.666 | 1.056 | 1.354 | 975.894 | 100 | 1.271
2020-11-21 13:45:00 | 2.76 | 9.15 | 3.28 | 28.15 | 3.5096 | 26.5173 | 2.582 | 7.714 | 1.382 | 975.745 | 100 | 0.56901
2020-11-21 14:00:00 | 3.552 | 1.975 | 3.768 | 21 | 4.0318 | 19.782 | 4.125 | 359 | 1.49 | 975.745 | 99.9948 | 3.1
2020-11-21 14:15:00 | 2.991 | 359.3 | 4.428 | 28.66 | 4.738 | 26.9977 | 4.311 | 345 | 1.616 | 975.745 | 99.9902 | 8.9415
2020-11-21 14:30:00 | 3.876 | 355.3 | 4.085 | 18.28 | 4.3709 | 17.2198 | 5.083 | 353.6 | 1.512 | 975.745 | 99.9922 | 10.4269
2020-11-21 14:45:00 | 4.05 | 2.275 | 5.095 | 30.05 | 5.4516 | 28.3071 | 5.083 | 351.9 | 1.49 | 975.745 | 99.9938 | 15.8878
2020-11-21 15:00:00 | 3.6 | 3.9 | 4.63 | 33.29 | 4.9541 | 31.3592 | 4.645 | 355.9 | 1.424 | 976.061 | 99.9987 | 18.2045
2020-11-21 15:15:00 | 2.835 | 12.24 | 4.059 | 34.12 | 4.3431 | 32.141 | 3.176 | 0.877 | 1.4 | 976.339 | 100 | 15.4703
2020-11-21 15:30:00 | 4.497 | 359.7 | 5.412 | 25.1 | 5.7908 | 23.6442 | 5.592 | 359.8 | 1.294 | 976.346 | 100 | 17.8313
2020-11-21 15:45:00 | 5.768 | 358.3 | 6.499 | 21.69 | 6.9539 | 20.432 | 7.1 | 354.7 | 1.217 | 975.792 | 100 | 32.6846
2020-11-21 16:00:00 | 5.542 | 359 | 5.849 | 22.44 | 6.2584 | 21.1385 | 6.901 | 356.7 | 1.156 | 975.881 | 100 | 32.3912
2020-11-21 16:15:00 | 5.541 | 357.1 | 6.245 | 21.99 | 6.6822 | 20.7146 | 7.074 | 358.6 | 1.16 | 976.411 | 100 | 26.0708
2020-11-21 16:30:00 | 6.276 | 0.26 | 6.747 | 24.33 | 7.2193 | 22.9189 | 7.836 | 359.9 | 1.091 | 976.319 | 100 | 33.0393
2020-11-21 16:45:00 | 5.477 | 355.2 | 6.056 | 20.12 | 6.4799 | 18.953 | 7.326 | 355.6 | 1.09 | 976.604 | 100 | 30.3642
2020-11-21 17:00:00 | 5.217 | 353.2 | 5.78 | 21.2 | 6.1846 | 19.9704 | 6.552 | 348.2 | 1.082 | 977.19 | 100 | 22.6716
2020-11-21 17:15:00 | 5.092 | 357.9 | 5.356 | 19.72 | 5.7309 | 18.5762 | 5.182 | 351.4 | 1.032 | 977.075 | 100 | 31.6009
2020-11-21 17:30:00 | 5.891 | 353.6 | 6.739 | 18.18 | 7.2107 | 17.1256 | 8.42 | 352.3 | 0.953 | 976.638 | 100 | 36.4644
2020-11-21 17:45:00 | 7.676 | 356.8 | 8.04 | 21.07 | 8.6028 | 19.8479 | 10.66 | 358.9 | 0.749 | 976.189 | 100 | 50.8617
2020-11-21 18:00:00 | 7.065 | 2.159 | 8.05 | 28.3 | 8.6135 | 26.6586 | 8.5 | 357.5 | 0.823 | 976.043 | 100 | 58.0571
2020-11-21 18:15:00 | 7.111 | 4.061 | 8.17 | 29.42 | 8.7419 | 27.7136 | 8.63 | 1.574 | 0.928 | 976.34 | 100 | 46.9689
2020-11-21 18:30:00 | 7.321 | 7.351 | 8.55 | 29.48 | 9.1485 | 27.7702 | 7.517 | 2.957 | 0.923 | 976.638 | 100 | 36.7378
2020-11-21 18:45:00 | 6.557 | 359.8 | 7.483 | 24.47 | 8.0068 | 23.0507 | 8.94 | 358.7 | 1.019 | 976.935 | 100 | 31.0884
2020-11-21 19:00:00 | 6.432 | 4.209 | 7.749 | 26.48 | 8.2914 | 24.9442 | 7.851 | 3.981 | 1.022 | 977.53 | 100 | 26.8578
2020-11-21 19:15:00 | 4.931 | 1.077 | 5.752 | 30.67 | 6.1546 | 28.8911 | 6.939 | 357 | 1.112 | 977.827 | 100 | 19.2132
2020-11-21 19:30:00 | 4.134 | 352.9 | 4.548 | 18.8 | 4.8664 | 17.7096 | 5.416 | 348.5 | 1.192 | 978.422 | 100 | 18.622
2020-11-21 19:45:00 | 5.03 | 354.4 | 5.392 | 17.82 | 5.7694 | 16.7864 | 7.13 | 353.1 | 1.217 | 978.571 | 100 | 19.276
2020-11-21 20:00:00 | 4.938 | 356.8 | 5.481 | 25.51 | 5.8647 | 24.0304 | 6.236 | 353.4 | 1.224 | 978.422 | 100 | 22.6198
2020-11-21 20:15:00 | 4.489 | 351.7 | 5.491 | 19.21 | 5.8754 | 18.0958 | 6.985 | 350.1 | 1.225 | 978.71 | 100 | 24.4599
2020-11-21 20:30:00 | 5.886 | 4.404 | 6.882 | 31.86 | 7.3637 | 30.0121 | 6.69 | 0.169 | 1.225 | 978.698 | 100 | 21.1087
2020-11-21 20:45:00 | 5.125 | 0.977 | 6.44 | 24.79 | 6.8908 | 23.3522 | 7.726 | 1.253 | 1.225 | 979.008 | 100 | 22.3427
2020-11-21 21:00:00 | 5.518 | 4.213 | 6.363 | 25.77 | 6.8084 | 24.2753 | 6.544 | 3.384 | 1.207 | 979.15 | 100 | 19.6714
2020-11-21 21:15:00 | 5.352 | 2.952 | 5.798 | 27.61 | 6.2039 | 26.0086 | 5.758 | 0.86 | 1.224 | 979.314 | 100 | 18.5333
2020-11-21 21:30:00 | 4.836 | 8.21 | 6.222 | 29.4 | 6.6575 | 27.6948 | 5.332 | 6.507 | 1.225 | 979.6 | 100 | 16.3903
2020-11-21 21:45:00 | 3.05 | 353.6 | 3.854 | 23.66 | 4.1238 | 22.2877 | 4.482 | 345.9 | 1.292 | 979.581 | 100 | 16.1908
2020-11-21 22:00:00 | 3.912 | 352.8 | 4.509 | 21.57 | 4.8246 | 20.3189 | 5.388 | 350.3 | 1.227 | 980.012 | 100 | 20.2958
2020-11-21 22:15:00 | 2.706 | 359.4 | 3.258 | 27.68 | 3.4861 | 26.0746 | 3.577 | 343 | 1.205 | 980.176 | 100 | 26.1004
2020-11-21 22:30:00 | 3.087 | 355.1 | 3.034 | 14.82 | 3.2464 | 13.9604 | 3.253 | 346.6 | 0.954 | 980.316 | 100 | 27.6892
2020-11-21 22:45:00 | 3.672 | 357.3 | 3.115 | 13.9 | 3.3331 | 13.0938 | 3.942 | 344.4 | 0.751 | 980.488 | 100 | 30.597
2020-11-21 23:00:00 | 3.549 | 352.8 | 4.711 | 24.41 | 5.0408 | 22.9942 | 6.038 | 346 | 0.532 | 980.206 | 100 | 29.9098
2020-11-21 23:15:00 | 3.835 | 347.2 | 4.274 | 12.38 | 4.5732 | 11.662 | 5.584 | 341.6 | 0.522 | 980.504 | 100 | 29.3888
2020-11-21 23:30:00 | 4.137 | 348.4 | 3.858 | 10.8 | 4.1281 | 10.1736 | 5.656 | 341.8 | 0.383 | 980.355 | 100 | 33.7229
2020-11-21 23:45:00 | 3.624 | 355.7 | 4.129 | 27.22 | 4.418 | 25.6412 | 4.505 | 341.8 | 0.404 | 980.206 | 100 | 32.6624