## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-22 00:00:00 | 3.874 | 355.1 | 4.349 | 23.27 | 4.6534 | 21.9203 | 6.333 | 346.4 | 0.356 | 980.206 | 100 | 32.5811
2020-11-22 00:15:00 | 3.777 | 355.1 | 4.627 | 28.31 | 4.9509 | 26.668 | 4.759 | 347.5 | 0.475 | 980.057 | 100 | 27.1313
2020-11-22 00:30:00 | 4.535 | 355.5 | 5.409 | 28.42 | 5.7876 | 26.7716 | 6.776 | 350.1 | 0.613 | 979.76 | 100 | 23.1704
2020-11-22 00:45:00 | 4.686 | 4.98 | 5.703 | 30.74 | 6.1022 | 28.9571 | 5.936 | 2.437 | 0.806 | 979.611 | 100 | 31.0499
2020-11-22 01:00:00 | 4.995 | 354.2 | 5.021 | 22.94 | 5.3725 | 21.6095 | 6.412 | 351.8 | 0.954 | 979.611 | 100 | 32.6329
2020-11-22 01:15:00 | 4.251 | 354.6 | 5.151 | 24.38 | 5.5116 | 22.966 | 6.287 | 350.7 | 1.052 | 980.057 | 100 | 38.0312
2020-11-22 01:30:00 | 5.73 | 356.2 | 6.215 | 19.52 | 6.6501 | 18.3878 | 6.578 | 355.2 | 1.156 | 980.206 | 100 | 39.9302
2020-11-22 01:45:00 | 5.143 | 355.9 | 6.35 | 18.58 | 6.7945 | 17.5024 | 6.99 | 352.3 | 1.221 | 980.206 | 100 | 45.8715
2020-11-22 02:00:00 | 6.68 | 357.3 | 7.621 | 23.29 | 8.1545 | 21.9392 | 10.05 | 355.9 | 1.082 | 979.909 | 100 | 52.2488
2020-11-22 02:15:00 | 6.884 | 358.7 | 7.514 | 25.78 | 8.04 | 24.2848 | 8.94 | 357 | 1.088 | 980.206 | 100 | 52.0899
2020-11-22 02:30:00 | 5.875 | 357.7 | 7.289 | 20.49 | 7.7992 | 19.3016 | 8.56 | 356 | 1.106 | 980.504 | 100 | 49.3394
2020-11-22 02:45:00 | 6.177 | 355.9 | 7.225 | 20.32 | 7.7307 | 19.1414 | 8.25 | 353.2 | 1.012 | 980.206 | 100 | 47.3
2020-11-22 03:00:00 | 6.286 | 359.7 | 6.903 | 24.1 | 7.3862 | 22.7022 | 8.04 | 355.8 | 0.882 | 980.057 | 100 | 44.2701
2020-11-22 03:15:00 | 5.475 | 353.5 | 6.453 | 26.15 | 6.9047 | 24.6333 | 8.34 | 352.8 | 0.746 | 979.909 | 100 | 42.3762
2020-11-22 03:30:00 | 5.748 | 357.9 | 6.317 | 21.51 | 6.7592 | 20.2624 | 7.105 | 357.6 | 0.759 | 979.76 | 100 | 41.3245
2020-11-22 03:45:00 | 5.513 | 351.3 | 6.077 | 17.59 | 6.5024 | 16.5698 | 7.65 | 352.5 | 0.761 | 980.206 | 100 | 33.1354
2020-11-22 04:00:00 | 5.038 | 1.451 | 5.668 | 22.5 | 6.0648 | 21.195 | 6.058 | 3.393 | 0.869 | 980.652 | 100 | 27.7447
2020-11-22 04:15:00 | 4.563 | 9.32 | 6.562 | 31.98 | 7.0213 | 30.1252 | 5.174 | 7.536 | 0.951 | 980.801 | 100 | 33.2721
2020-11-22 04:30:00 | 6.233 | 354.1 | 6.289 | 19.34 | 6.7292 | 18.2183 | 8.31 | 352.3 | 0.76 | 980.801 | 100 | 37.3475
2020-11-22 04:45:00 | 5.033 | 359.2 | 6.734 | 29.21 | 7.2054 | 27.5158 | 7.11 | 354.4 | 0.721 | 981.396 | 100 | 32.2138
2020-11-22 05:00:00 | 5.799 | 356.4 | 6.767 | 24.18 | 7.2407 | 22.7776 | 8.37 | 355.4 | 0.679 | 981.247 | 100 | 34.4877
2020-11-22 05:15:00 | 6.072 | 355.1 | 6.836 | 23.74 | 7.3145 | 22.3631 | 8.62 | 351.3 | 0.614 | 981.396 | 100 | 38.6138
2020-11-22 05:30:00 | 5.439 | 358.7 | 6.337 | 25.74 | 6.7806 | 24.2471 | 7.759 | 358.9 | 0.594 | 981.693 | 100 | 32.3705
2020-11-22 05:45:00 | 6.251 | 8.5 | 7.575 | 31.83 | 8.1052 | 29.9839 | 6.532 | 4.705 | 0.606 | 981.842 | 100 | 31.0847
2020-11-22 06:00:00 | 5.957 | 6.994 | 7.056 | 27.36 | 7.5499 | 25.7731 | 6.58 | 5.22 | 0.55 | 981.99 | 100 | 34.4397
2020-11-22 06:15:00 | 5.183 | 359.9 | 6.68 | 26.49 | 7.1476 | 24.9536 | 7.871 | 357.9 | 0.606 | 981.99 | 100 | 39.121
2020-11-22 06:30:00 | 5.538 | 7.42 | 6.442 | 32.03 | 6.8929 | 30.1723 | 6.7 | 2.262 | 0.542 | 981.99 | 100 | 35.7181
2020-11-22 06:45:00 | 6.455 | 4.021 | 7.005 | 25.37 | 7.4954 | 23.8985 | 7.112 | 1.775 | 0.472 | 981.99 | 100 | 48.5434
2020-11-22 07:00:00 | 6.225 | 356.2 | 7.304 | 24.45 | 7.8153 | 23.0319 | 8.75 | 355.7 | 0.333 | 982.437 | 100 | 46.838
2020-11-22 07:15:00 | 6.483 | 355.9 | 7.309 | 21.45 | 7.8206 | 20.2059 | 9.01 | 355.7 | 0.256 | 982.883 | 100 | 39.8859
2020-11-22 07:30:00 | 5.926 | 1.091 | 6.954 | 25.27 | 7.4408 | 23.8043 | 7.848 | 0.922 | 0.201 | 982.883 | 100 | 29.8396
2020-11-22 07:45:00 | 6.113 | 11.38 | 8.74 | 30.53 | 9.3518 | 28.7593 | 7.443 | 13.8 | 0.08 | 983.18 | 100 | 22.4573
2020-11-22 08:00:00 | 6.767 | 8.24 | 8.8 | 27.76 | 9.416 | 26.1499 | 6.886 | 18.76 | 0.068 | 983.18 | 100 | 36.0947
2020-11-22 08:15:00 | 6.927 | 0.381 | 7.399 | 21.92 | 7.9169 | 20.6486 | 8.46 | 359.8 | 0.056 | 983.329 | 100 | 41.3221
2020-11-22 08:30:00 | 7.218 | 7.151 | 7.777 | 27.08 | 8.3214 | 25.5094 | 7.688 | 3.801 | -0.122 | 983.477 | 100 | 40.758
2020-11-22 08:45:00 | 5.985 | 1.061 | 7.015 | 28.82 | 7.5061 | 27.1484 | 7.431 | 0.268 | -0.013 | 983.775 | 100 | 33.2168
2020-11-22 09:00:00 | 6.121 | 9.45 | 8.21 | 26.8 | 8.7847 | 25.2456 | 6.786 | 12.04 | 0.125 | 984.369 | 100 | 31.5318
2020-11-22 09:15:00 | 6.44 | 5.846 | 7.997 | 25.56 | 8.5568 | 24.0775 | 7.762 | 6.609 | 0.194 | 984.369 | 99.3334 | 31.4838
2020-11-22 09:30:00 | 5.263 | 9.05 | 7.992 | 31.09 | 8.5514 | 29.2868 | 6.687 | 8.2 | 0.689 | 984.94 | 92.2235 | 31.0847
2020-11-22 09:45:00 | 4.004 | 16.25 | 7.191 | 33.14 | 7.6944 | 31.2179 | 6.659 | 18.39 | 1.135 | 984.965 | 82.6284 | 25.1213
2020-11-22 10:00:00 | 4.357 | 5.512 | 5.507 | 25.81 | 5.8925 | 24.313 | 6.056 | 2.599 | 1.113 | 984.96 | 83.2394 | 22.3427
2020-11-22 10:15:00 | 3.823 | 358.1 | 4.58 | 22.22 | 4.9006 | 20.9312 | 5.656 | 355.9 | 1.079 | 985.555 | 85.6313 | 24.5559
2020-11-22 10:30:00 | 5.118 | 10.77 | 6.401 | 31.94 | 6.8491 | 30.0875 | 5.75 | 9.41 | 1.234 | 985.406 | 80.4032 | 23.466
2020-11-22 10:45:00 | 3.394 | 13.46 | 4.99 | 33.68 | 5.3393 | 31.7266 | 4.767 | 6.262 | 1.664 | 985.258 | 77.4954 | 19.4238
2020-11-22 11:00:00 | 4.972 | 8.89 | 6.34 | 31.02 | 6.7838 | 29.2208 | 5.623 | 7.219 | 1.229 | 985.204 | 75.6467 | 19.6159
2020-11-22 11:15:00 | 3.841 | 19.41 | 6.458 | 34.18 | 6.9101 | 32.1976 | 5.714 | 19.48 | 1.664 | 985.254 | 70.7974 | 17.7463
2020-11-22 11:30:00 | 4.634 | 15.29 | 6.903 | 34.9 | 7.3862 | 32.8758 | 5.185 | 13.01 | 1.731 | 985.253 | 70.5917 | 19.1762
2020-11-22 11:45:00 | 4.982 | 1.425 | 5.606 | 21.89 | 5.9984 | 20.6204 | 6.066 | 358.2 | 1.883 | 984.993 | 66.9601 | 18.9028
2020-11-22 12:00:00 | 3.882 | 13.4 | 6.851 | 36.71 | 7.3306 | 34.5808 | 5.365 | 359.8 | 2.151 | 985.158 | 66.6118 | 16.5972
2020-11-22 12:15:00 | 5.536 | 7.21 | 7.041 | 29.38 | 7.5339 | 27.676 | 6.629 | 2.53 | 1.936 | 984.822 | 64.1845 | 14.8681
2020-11-22 12:30:00 | 3.129 | 21.5 | 4.713 | 35.66 | 5.0429 | 33.5917 | 4.86 | 9.75 | 3.036 | 985.401 | 63.4671 | 20.1295
2020-11-22 12:45:00 | 1.666 | 20.88 | 3.477 | 33.27 | 3.7204 | 31.3403 | 4.387 | 13.73 | 2.497 | 985.401 | 61.9642 | 13.6783
2020-11-22 13:00:00 | 3.288 | 3.363 | 4.614 | 23.78 | 4.937 | 22.4008 | 4.316 | 358.2 | 2.047 | 984.956 | 62.6815 | 10.5894
2020-11-22 13:15:00 | 3.084 | 16.01 | 5.063 | 28.59 | 5.4174 | 26.9318 | 5.393 | 14.15 | 3.546 | 985.55 | 58.7532 | 11.9935
2020-11-22 13:30:00 | 2.043 | 9.76 | 2.886 | 26.47 | 3.088 | 24.9347 | 4.711 | 14.01 | 2.925 | 985.55 | 61.6909 | 11.1067
2020-11-22 13:45:00 | 2.454 | 7.21 | 3.254 | 14.16 | 3.4818 | 13.3387 | 3.694 | 13.19 | 3.076 | 985.55 | 59.0948 | 11.6462
2020-11-22 14:00:00 | 2.71 | 8.75 | 2.906 | 1.983 | 3.1094 | 1.868 | 3.171 | 3.244 | 3.144 | 985.55 | 59.5047 | 10.5931
2020-11-22 14:15:00 | 3.015 | 13.75 | 3.025 | 347.9 | 3.2367 | 327.722 | 4.028 | 24.29 | 2.968 | 985.55 | 60.3245 | 11.8346
2020-11-22 14:30:00 | 1.965 | 21.38 | 2.962 | 28.44 | 3.1693 | 26.7905 | 3.764 | 15.8 | 2.717 | 985.55 | 61.8275 | 8.923
2020-11-22 14:45:00 | 2.231 | 355.2 | 3.085 | 17.34 | 3.3009 | 16.3343 | 3.454 | 342.4 | 2.021 | 984.956 | 63.9795 | 11.1658
2020-11-22 15:00:00 | 3.055 | 337 | 3.832 | 357.3 | 4.1002 | 336.577 | 3.468 | 329.1 | 1.98 | 984.975 | 61.8958 | 11.2508
2020-11-22 15:15:00 | 1.811 | 320.3 | 2.738 | 337.4 | 2.9297 | 317.831 | 3.056 | 319 | 1.947 | 985.219 | 62.9981 | 10.4195
2020-11-22 15:30:00 | 2.847 | 347.8 | 3.367 | 6.292 | 3.6027 | 5.9271 | 4.016 | 342.9 | 1.939 | 984.96 | 63.6898 | 11.7976
2020-11-22 15:45:00 | 1.861 | 6.012 | 2.953 | 28.6 | 3.1597 | 26.9412 | 3.017 | 351 | 1.72 | 984.479 | 65.6005 | 11.4873
2020-11-22 16:00:00 | 2.828 | 344.4 | 3.243 | 4.746 | 3.47 | 4.4707 | 3.545 | 341.1 | 1.472 | 984.068 | 61.7802 | 12.3482
2020-11-22 16:15:00 | 2.902 | 347 | 3.967 | 13.89 | 4.2447 | 13.0844 | 5.467 | 344.1 | 1.311 | 983.919 | 64.1039 | 15.8213
2020-11-22 16:30:00 | 4.481 | 346.3 | 4.865 | 0.387 | 5.2055 | 0.36455 | 5.694 | 344 | 1.189 | 984.068 | 64.3904 | 16.7487
2020-11-22 16:45:00 | 3.521 | 340.2 | 3.845 | 0.666 | 4.1142 | 0.62737 | 4.627 | 341.1 | 1.136 | 984.594 | 64.8776 | 13.3162
2020-11-22 17:00:00 | 3.347 | 342.8 | 4.354 | 1.324 | 4.6588 | 1.2472 | 5.483 | 344.8 | 1.022 | 984.369 | 64.4665 | 13.8668
2020-11-22 17:15:00 | 3.797 | 354.2 | 4.66 | 13.2 | 4.9862 | 12.4344 | 6.012 | 354.2 | 0.872 | 984.369 | 65.1512 | 18.3117
2020-11-22 17:30:00 | 4.114 | 347 | 5.018 | 5.96 | 5.3693 | 5.6143 | 6.287 | 349.3 | 0.772 | 984.667 | 64.1246 | 17.5653
2020-11-22 17:45:00 | 4.451 | 350.2 | 5.386 | 8.26 | 5.763 | 7.7809 | 6.529 | 351.2 | 0.746 | 984.518 | 65.9714 | 21.4449
2020-11-22 18:00:00 | 3.966 | 1.442 | 4.668 | 14.72 | 4.9948 | 13.8662 | 6.97 | 359.4 | 0.567 | 984.518 | 67.9542 | 20.1258
2020-11-22 18:15:00 | 4.407 | 354.3 | 4.714 | 11.62 | 5.044 | 10.946 | 6.547 | 355.3 | 0.472 | 984.815 | 65.5614 | 17.8165
2020-11-22 18:30:00 | 4.537 | 7.588 | 4.944 | 18.06 | 5.2901 | 17.0125 | 6.937 | 7.298 | 0.471 | 984.815 | 64.0574 | 21.4855
2020-11-22 18:45:00 | 3.71 | 8.07 | 4.013 | 18.31 | 4.2939 | 17.248 | 4.678 | 4.322 | 0.368 | 984.964 | 63.3054 | 15.4666
2020-11-22 19:00:00 | 4.004 | 7.314 | 5.494 | 22.51 | 5.8786 | 21.2044 | 4.915 | 10.21 | 0.268 | 985.261 | 63.9891 | 10.4823
2020-11-22 19:15:00 | 3.034 | 9.7 | 4.241 | 26.11 | 4.5379 | 24.5956 | 4.4 | 11.97 | 0.289 | 985.559 | 64.536 | 10.2828
2020-11-22 19:30:00 | 4.257 | 12.51 | 5.747 | 28.81 | 6.1493 | 27.139 | 5.009 | 15.48 | 0.188 | 985.261 | 64.912 | 10.9478
2020-11-22 19:45:00 | 4.377 | 9.32 | 4.673 | 22.59 | 5.0001 | 21.2798 | 4.533 | 8.32 | 0.364 | 985.559 | 63.3054 | 8.9304
2020-11-22 20:00:00 | 3.189 | 9.92 | 4.287 | 28.46 | 4.5871 | 26.8093 | 4.543 | 11.8 | 0.077 | 985.41 | 65.4247 | 7.0276
2020-11-22 20:15:00 | 2.672 | 10.72 | 4.803 | 26.8 | 5.1392 | 25.2456 | 4.23 | 11.57 | 0.168 | 985.559 | 63.3054 | 6.2849
2020-11-22 20:30:00 | 2.996 | 10.37 | 4.742 | 28.31 | 5.0739 | 26.668 | 4.245 | 14.24 | 0.142 | 985.559 | 65.288 | 8.5831
2020-11-22 20:45:00 | 2.783 | 16.37 | 4.448 | 34.48 | 4.7594 | 32.4802 | 4.316 | 18.1 | -0.003 | 985.559 | 64.3992 | 5.2319
2020-11-22 21:00:00 | 2.711 | 13.69 | 4.563 | 29.41 | 4.8824 | 27.7042 | 4.342 | 15.47 | 0.126 | 985.856 | 64.7069 | 4.1124
2020-11-22 21:15:00 | 2.908 | 11.05 | 4.453 | 28.22 | 4.7647 | 26.5832 | 4.005 | 14.18 | 0.195 | 985.559 | 64.16 | 6.2406
2020-11-22 21:30:00 | 3.327 | 9.98 | 4.957 | 25.61 | 5.304 | 24.1246 | 4.298 | 14.26 | 0.103 | 985.559 | 64.3992 | 7.9993
2020-11-22 21:45:00 | 3.18 | 8.65 | 4.594 | 24.32 | 4.9156 | 22.9094 | 4.171 | 14.3 | 0.069 | 985.559 | 64.8094 | 8.8011
2020-11-22 22:00:00 | 2.942 | 14.14 | 4.683 | 29.96 | 5.0108 | 28.2223 | 4.698 | 17.94 | -0.064 | 985.708 | 65.8349 | 8.6386
2020-11-22 22:15:00 | 3.034 | 15.06 | 5.034 | 30.96 | 5.3864 | 29.1643 | 4.856 | 18.73 | -0.004 | 985.559 | 65.6982 | 7.8848
2020-11-22 22:30:00 | 3.358 | 15.18 | 4.826 | 30.43 | 5.1638 | 28.6651 | 4.986 | 18.63 | -0.098 | 985.559 | 65.0487 | 6.3219
2020-11-22 22:45:00 | 3.078 | 21.45 | 5.22 | 38.22 | 5.5854 | 36.0032 | 5.732 | 25.16 | -0.061 | 985.41 | 65.1512 | 7.3343
2020-11-22 23:00:00 | 2.969 | 28.39 | 4.77 | 46.13 | 5.1039 | 43.4545 | 5.353 | 29.45 | -0.122 | 985.261 | 65.6982 | 3.7724
2020-11-22 23:15:00 | 2.523 | 19.31 | 4.837 | 36.53 | 5.1756 | 34.4113 | 4.95 | 21.82 | -0.005 | 985.113 | 64.6043 | 2.2502
2020-11-22 23:30:00 | 1.852 | 15.01 | 3.98 | 29.46 | 4.2586 | 27.7513 | 3.708 | 17.66 | -0.004 | 985.41 | 65.3222 | 0.33623
2020-11-22 23:45:00 | 2.989 | 12.41 | 4.302 | 25.95 | 4.6031 | 24.4449 | 3.87 | 13.82 | 0.199 | 985.559 | 63.8523 | 0.52467