## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-23 00:00:00 | 2.763 | 12.02 | 4.333 | 28.67 | 4.6363 | 27.0071 | 3.939 | 17.71 | 0.018 | 985.261 | 65.4247 | 0.87198
2020-11-23 00:15:00 | 3.447 | 7.045 | 4.573 | 25.66 | 4.8931 | 24.1717 | 3.899 | 7.956 | 0.023 | 985.261 | 62.9294 | 2.3388
2020-11-23 00:30:00 | 2.131 | 9.75 | 4.412 | 27.07 | 4.7208 | 25.4999 | 3.122 | 13.95 | -0.075 | 984.964 | 66.9287 | 1.925
2020-11-23 00:45:00 | 2.125 | 6.673 | 3.004 | 19.58 | 3.2143 | 18.4444 | 2.959 | 7.163 | -0.274 | 984.964 | 67.0655 | 1.6405
2020-11-23 01:00:00 | 2.434 | 11.25 | 2.536 | 17.26 | 2.7135 | 16.2589 | 2.447 | 10.81 | -0.286 | 984.815 | 66.792 | 0.58009
2020-11-23 01:15:00 | 2.05 | 5.204 | 2.809 | 19.3 | 3.0056 | 18.1806 | 3.285 | 8.33 | -0.413 | 984.964 | 68.7062 | 0.78331
2020-11-23 01:30:00 | 2.634 | 18.88 | 3.548 | 17.61 | 3.7964 | 16.5886 | 3.55 | 4.815 | -0.339 | 984.667 | 69.2531 | 1.138
2020-11-23 01:45:00 | 2.845 | 6.593 | 3.827 | 24.64 | 4.0949 | 23.2109 | 3.837 | 10.89 | -0.699 | 984.369 | 71.4781 | 1.6553
2020-11-23 02:00:00 | 1.977 | 9.95 | 3.208 | 25.86 | 3.4326 | 24.3601 | 2.742 | 12.45 | -0.653 | 984.369 | 70.9052 | 0.77961
2020-11-23 02:15:00 | 2.472 | 17.69 | 3.85 | 36.51 | 4.1195 | 34.3924 | 4.314 | 18.66 | -0.782 | 984.072 | 73.4017 | 2.3795
2020-11-23 02:30:00 | 2.85 | 12.1 | 4.169 | 29.76 | 4.4608 | 28.0339 | 3.308 | 16.91 | -0.833 | 984.072 | 70.9743 | 0.92371
2020-11-23 02:45:00 | 2.038 | 22.19 | 2.988 | 43.38 | 3.1972 | 40.864 | 3.934 | 24.74 | -0.696 | 984.221 | 68.9914 | 0.38057
2020-11-23 03:00:00 | 2.485 | 33.87 | 3.988 | 51.66 | 4.2672 | 48.6637 | 4.301 | 38.25 | -0.6 | 983.775 | 59.829 | 0.61704
2020-11-23 03:15:00 | 2.393 | 29.99 | 3.633 | 46.75 | 3.8873 | 44.0385 | 4.107 | 36.04 | -0.4 | 983.775 | 54.6325 | 0.90154
2020-11-23 03:30:00 | 3.064 | 28.54 | 4.66 | 45.45 | 4.9862 | 42.8139 | 5.368 | 32.33 | -0.509 | 983.18 | 54.5641 | 1.1897
2020-11-23 03:45:00 | 3.049 | 22.21 | 5.289 | 37.51 | 5.6592 | 35.3344 | 5.449 | 26.95 | -0.626 | 983.18 | 57.5043 | 2.0839
2020-11-23 04:00:00 | 2.523 | 23.13 | 4.423 | 38.25 | 4.7326 | 36.0315 | 4.68 | 27.95 | -0.739 | 983.031 | 54.8376 | 1.2636
2020-11-23 04:15:00 | 3.32 | 18.04 | 4.566 | 32.28 | 4.8856 | 30.4078 | 4.932 | 25.04 | -0.75 | 983.031 | 52.9231 | 1.4521
2020-11-23 04:30:00 | 2.192 | 21.64 | 3.865 | 35.58 | 4.1356 | 33.5164 | 4.24 | 25.93 | -0.693 | 983.18 | 52.6496 | 0.3584
2020-11-23 04:45:00 | 2.513 | 7.535 | 3.096 | 23.79 | 3.3127 | 22.4102 | 3.142 | 16.42 | -0.746 | 983.18 | 52.6154 | 0.062812
2020-11-23 05:00:00 | 2.661 | 11.88 | 3.643 | 24.73 | 3.898 | 23.2957 | 3.789 | 18.78 | -0.815 | 983.18 | 57.2991 | 0.43969
2020-11-23 05:15:00 | 2.962 | 17.69 | 3.881 | 29.94 | 4.1527 | 28.2035 | 4.39 | 21.32 | -0.894 | 983.18 | 59.6923 | 0.78331
2020-11-23 05:30:00 | 2.275 | 25.49 | 3.914 | 43.21 | 4.188 | 40.7038 | 4.754 | 29.39 | -0.977 | 983.18 | 53.9487 | 0.72789
2020-11-23 05:45:00 | 2.566 | 29.86 | 3.753 | 49.45 | 4.0157 | 46.5819 | 4.179 | 33.89 | -0.693 | 983.775 | 49.2991 | 0.11084
2020-11-23 06:00:00 | 0.521 | 49.65 | 1.776 | 70.84 | 1.9003 | 66.7313 | 2.269 | 44.15 | -0.594 | 983.923 | 43.1458 | -0.26233
2020-11-23 06:15:00 | 0 | 23.01 | 1.531 | 49.84 | 1.6382 | 46.9493 | 1.971 | 42.99 | -0.576 | 984.221 | 40.9573 | -0.28081
2020-11-23 06:30:00 | 1.432 | 9.63 | 2.247 | 48.57 | 2.4043 | 45.7529 | 2.709 | 22.6 | -0.38 | 984.369 | 41.3333 | -0.26972
2020-11-23 06:45:00 | 1.116 | 3.613 | 1.53 | 48.59 | 1.6371 | 45.7718 | 1.734 | 20.98 | -0.181 | 984.667 | 44.2393 | -0.26972
2020-11-23 07:00:00 | 0.824 | 13.7 | 2.618 | 48.62 | 2.8013 | 45.8 | 2.742 | 25.76 | -0.087 | 984.964 | 45.5652 | -0.25125
2020-11-23 07:15:00 | 1.297 | 34.01 | 2.224 | 49.43 | 2.3797 | 46.5631 | 2.811 | 40.19 | -0.069 | 985.261 | 43.9582 | -0.26972
2020-11-23 07:30:00 | 1.945 | 38.78 | 3.3 | 49.32 | 3.531 | 46.4594 | 3.514 | 47.52 | -0.076 | 985.285 | 42.8602 | -0.25864
2020-11-23 07:45:00 | 0.605 | 48.04 | 2.311 | 52.51 | 2.4728 | 49.4644 | 3.285 | 57.97 | 0.434 | 985.406 | 38.271 | -0.2143
2020-11-23 08:00:00 | 0.441 | 73.92 | 2.009 | 89.8 | 2.1496 | 84.5916 | 2.46 | 72.78 | 0.973 | 985.984 | 37.789 | -0.25864
2020-11-23 08:15:00 | 0.208 | 77.34 | 1.31 | 95.7 | 1.4017 | 90.1494 | 2.582 | 79.31 | 1.699 | 986.149 | 34.8501 | -0.2882
2020-11-23 08:30:00 | 1.274 | 72.28 | 2.342 | 82.7 | 2.5059 | 77.9034 | 2.569 | 76.76 | 1.319 | 986.429 | 32.9335 | -0.27711
2020-11-23 08:45:00 | 0.122 | 24.72 | 1.256 | 35.42 | 1.3439 | 33.3656 | 1.612 | 46.22 | 1.529 | 986.426 | 35.1223 | -0.25864
2020-11-23 09:00:00 | 0 | 57.08 | 0.382 | 26.3 | 0.40874 | 24.7746 | 0.714 | 33.56 | 1.487 | 986.444 | 33.8592 | -0.25864
2020-11-23 09:15:00 | 0.827 | 29.99 | 2.451 | 43.61 | 2.6226 | 41.0806 | 1.902 | 32.98 | 1.313 | 986.149 | 41.0027 | -0.26972
2020-11-23 09:30:00 | 0.43 | 53.82 | 1.54 | 55.43 | 1.6478 | 52.2151 | 1.359 | 40.82 | 1.51 | 986.149 | 38.6114 | -0.27711
2020-11-23 09:45:00 | 0.067 | 55.29 | 0.384 | 70.16 | 0.41088 | 66.0907 | 0.42 | 40.91 | 1.937 | 986.143 | 38.3027 | -0.25864
2020-11-23 10:00:00 | 0.004 | 40.63 | 0.531 | 35.42 | 0.56817 | 33.3656 | 0.694 | 39.85 | 2.44 | 986.149 | 35.594 | -0.26972
2020-11-23 10:15:00 | 0.183 | 28.07 | 1.043 | 38.86 | 1.116 | 36.6061 | 1.332 | 32.06 | 2.402 | 986.145 | 39.4193 | -0.25864
2020-11-23 10:30:00 | 0.339 | 24.52 | 1.218 | 15.31 | 1.3033 | 14.422 | 1.662 | 10.28 | 2.368 | 985.55 | 37.9163 | -0.25864
2020-11-23 10:45:00 | 0.29 | 5.355 | 1.173 | 11.16 | 1.2551 | 10.5127 | 1.469 | 338.6 | 2.375 | 985.253 | 42.9718 | -0.25864
2020-11-23 11:00:00 | 0.357 | 14.42 | 0.874 | 357.9 | 0.93518 | 337.142 | 1.385 | 11.92 | 2.373 | 984.956 | 50.5893 | -0.25864
2020-11-23 11:15:00 | 0.352 | 21.15 | 1.258 | 16.35 | 1.3461 | 15.4017 | 1.58 | 29.48 | 2.289 | 984.807 | 57.7285 | -0.25864
2020-11-23 11:30:00 | 2.63 | 308.5 | 2.812 | 312 | 3.0088 | 293.904 | 2.75 | 315 | 1.769 | 984.391 | 57.8651 | -0.25864
2020-11-23 11:45:00 | 1.61 | 314.9 | 2.766 | 316.1 | 2.9596 | 297.766 | 2.363 | 336 | 1.896 | 984.709 | 51.3069 | -0.26972
2020-11-23 12:00:00 | 2.328 | 306.5 | 2.909 | 313.9 | 3.1126 | 295.694 | 2.676 | 309 | 1.945 | 984.638 | 50.429 | -0.32145
2020-11-23 12:15:00 | 0.648 | 12.51 | 1.602 | 16.68 | 1.7141 | 15.7126 | 1.959 | 353.1 | 2.208 | 984.514 | 49.2707 | -0.30298
2020-11-23 12:30:00 | 0.849 | 7.256 | 1.981 | 20.59 | 2.1197 | 19.3958 | 2.197 | 352.2 | 2.052 | 984.514 | 48.5176 | -0.28081
2020-11-23 12:45:00 | 0.927 | 23.98 | 1.976 | 31.53 | 2.1143 | 29.7013 | 2.198 | 14.48 | 2.116 | 984.068 | 50.3646 | -0.28081
2020-11-23 13:00:00 | 0.414 | 354.2 | 1.355 | 15.54 | 1.4499 | 14.6387 | 1.579 | 0.784 | 2.036 | 984.068 | 51.2526 | -0.28081
2020-11-23 13:15:00 | 2.062 | 311.8 | 2.702 | 316.4 | 2.8911 | 298.049 | 2.472 | 313.9 | 1.906 | 983.91 | 50.0542 | -0.28081
2020-11-23 13:30:00 | 1.852 | 313.7 | 2.313 | 318.5 | 2.4749 | 300.027 | 2.264 | 321.7 | 1.691 | 983.473 | 51.1832 | -0.29928
2020-11-23 13:45:00 | 0.643 | 326.5 | 1.26 | 6.134 | 1.3482 | 5.7782 | 2.003 | 335.2 | 1.77 | 983.026 | 51.529 | -0.28081
2020-11-23 14:00:00 | 1.165 | 324.7 | 2.052 | 328 | 2.1956 | 308.976 | 2.038 | 337.2 | 1.886 | 983.325 | 51.9733 | -0.28081
2020-11-23 14:15:00 | 1.135 | 326.4 | 2.477 | 313.4 | 2.6504 | 295.223 | 2.111 | 354 | 2.05 | 983.471 | 52.8276 | -0.26972
2020-11-23 14:30:00 | 0.955 | 288.5 | 1.929 | 299 | 2.064 | 281.658 | 1.328 | 304.3 | 1.692 | 983.176 | 52.6909 | -0.26972
2020-11-23 14:45:00 | 1.837 | 308.5 | 2.303 | 326.6 | 2.4642 | 307.657 | 1.955 | 303.6 | 1.603 | 982.879 | 51.8024 | -0.26972
2020-11-23 15:00:00 | 1.091 | 293.7 | 1.943 | 307.9 | 2.079 | 290.042 | 1.856 | 295.5 | 1.487 | 982.879 | 52.8959 | -0.26972
2020-11-23 15:15:00 | 1.368 | 295.4 | 1.948 | 303.6 | 2.0844 | 285.991 | 1.522 | 295.3 | 1.485 | 982.73 | 53.6477 | -0.26972
2020-11-23 15:30:00 | 0.007 | 312.4 | 1.019 | 322.7 | 1.0903 | 303.983 | 0.823 | 295.4 | 1.478 | 982.433 | 53.7844 | -0.26972
2020-11-23 15:45:00 | 0 | 286.3 | 0 | 321.5 | 0 | 302.853 | 0.003 | 295.4 | 1.42 | 982.284 | 55.7663 | -0.28081
2020-11-23 16:00:00 | 0 | 286.3 | 0.21 | 321.4 | 0.2247 | 302.759 | 0.139 | 295.4 | 1.287 | 982.284 | 55.0172 | -0.26972
2020-11-23 16:15:00 | 0 | 286.3 | 0 | 321.5 | 0 | 302.853 | 0 | 295.4 | 1.285 | 982.136 | 56.6659 | -0.26972
2020-11-23 16:30:00 | 0.16 | 291.2 | 0.576 | 322.1 | 0.61632 | 303.418 | 0.79 | 295.4 | 1.229 | 981.991 | 57.0103 | -0.26972
2020-11-23 16:45:00 | 0.727 | 345.9 | 1.326 | 357 | 1.4188 | 336.294 | 0.967 | 295.5 | 1.218 | 982.057 | 56.0924 | -0.28081
2020-11-23 17:00:00 | 0.724 | 345 | 1.413 | 356.9 | 1.5119 | 336.2 | 1.118 | 296.1 | 1.216 | 982.368 | 57.2893 | -0.29928
2020-11-23 17:15:00 | 0 | 344.9 | 0.034 | 356.9 | 0.03638 | 336.2 | 0.336 | 296.1 | 1.161 | 982.271 | 56.2639 | -0.28081
2020-11-23 17:30:00 | 0 | 344.9 | 0.488 | 356.9 | 0.52216 | 336.2 | 0.687 | 296.1 | 1.166 | 982.258 | 55.7511 | -0.26972
2020-11-23 17:45:00 | 1.073 | 344.6 | 1.513 | 356.9 | 1.6189 | 336.2 | 1.754 | 323.9 | 1.162 | 982.276 | 57.0843 | -0.2882
2020-11-23 18:00:00 | 0.011 | 336.2 | 0.649 | 16.5 | 0.69443 | 15.543 | 1.387 | 324 | 1.099 | 982.288 | 56.0588 | -0.29928
2020-11-23 18:15:00 | 0.917 | 315.2 | 1.712 | 10.63 | 1.8318 | 10.0135 | 2.001 | 323.4 | 1.098 | 982.585 | 56.2639 | -0.28081
2020-11-23 18:30:00 | 0.872 | 330.8 | 1.737 | 339.6 | 1.8586 | 319.903 | 2.154 | 323.4 | 1.092 | 982.585 | 56.0588 | -0.26972
2020-11-23 18:45:00 | 0 | 325.9 | 1.277 | 1.095 | 1.3664 | 1.0315 | 1.314 | 323.3 | 1.152 | 982.883 | 54.0762 | -0.2882
2020-11-23 19:00:00 | 0 | 325.8 | 0.616 | 1.025 | 0.65912 | 0.96555 | 0.932 | 323.4 | 1.224 | 982.585 | 53.1191 | -0.28081
2020-11-23 19:15:00 | 0 | 327.1 | 0.327 | 1.055 | 0.34989 | 0.99381 | 1.094 | 323.4 | 1.282 | 982.734 | 55.8195 | -0.29928
2020-11-23 19:30:00 | 1.494 | 185.2 | 1.408 | 14.34 | 1.5066 | 13.5083 | 0.607 | 323.4 | 1.096 | 982.883 | 54.8966 | -0.29928
2020-11-23 19:45:00 | 0 | 185.1 | 0.308 | 14.27 | 0.32956 | 13.4423 | 0 | 323.4 | 1.325 | 982.883 | 53.1875 | -0.26972
2020-11-23 20:00:00 | 0.015 | 185.1 | 0.887 | 14.16 | 0.94909 | 13.3387 | 0 | 323.4 | 1.481 | 982.883 | 54.2813 | -0.28081
2020-11-23 20:15:00 | 0 | 185.1 | 0 | 13.61 | 0 | 12.8206 | 0 | 323.4 | 1.656 | 983.031 | 56.8108 | -0.28081
2020-11-23 20:30:00 | 0.004 | 185.1 | 0.883 | 13.04 | 0.94481 | 12.2837 | 0.831 | 323.4 | 1.868 | 983.18 | 54.2129 | -0.28081
2020-11-23 20:45:00 | 2.781 | 206.4 | 2.983 | 215 | 3.1918 | 202.53 | 2.498 | 225.9 | 1.711 | 983.177 | 55.1701 | -0.26972
2020-11-23 21:00:00 | 2.559 | 225.8 | 2.615 | 221.1 | 2.798 | 208.276 | 2.658 | 238.2 | 1.711 | 983.091 | 55.1695 | -0.28081
2020-11-23 21:15:00 | 1.496 | 219.3 | 1.866 | 225.8 | 1.9966 | 212.704 | 1.668 | 239.4 | 1.832 | 983.035 | 48.4013 | -0.29189
2020-11-23 21:30:00 | 2.717 | 230.3 | 2.74 | 230.5 | 2.9318 | 217.131 | 2.554 | 242.4 | 1.956 | 982.936 | 47.6485 | -0.29928
2020-11-23 21:45:00 | 3.406 | 229.6 | 3.479 | 241.5 | 3.7225 | 227.493 | 3.239 | 235.9 | 1.541 | 982.926 | 53.0495 | -0.29928
2020-11-23 22:00:00 | 2.303 | 209.4 | 2.341 | 206.4 | 2.5049 | 194.429 | 2.513 | 221.6 | 1.349 | 982.623 | 54.9624 | -0.26972
2020-11-23 22:15:00 | 2.102 | 220.9 | 2.748 | 229.9 | 2.9404 | 216.566 | 2.579 | 219 | 1.346 | 982.43 | 53.8017 | -0.30298
2020-11-23 22:30:00 | 3.182 | 217.7 | 3.811 | 229.3 | 4.0778 | 216.001 | 3.611 | 219.1 | 1.491 | 982.475 | 52.5722 | -0.3547
2020-11-23 22:45:00 | 3.197 | 206.7 | 3.333 | 214.8 | 3.5663 | 202.342 | 3.758 | 215.9 | 1.399 | 982.156 | 57.221 | -0.033254
2020-11-23 23:00:00 | 3.664 | 187.9 | 3.824 | 196.2 | 4.0917 | 184.82 | 3.842 | 196.5 | 1.292 | 981.999 | 57.6312 | -0.22908
2020-11-23 23:15:00 | 1.828 | 176.2 | 1.983 | 199.4 | 2.1218 | 187.835 | 2.182 | 193.4 | 1.243 | 982.114 | 58.5199 | -0.2882
2020-11-23 23:30:00 | 1.126 | 172 | 1.479 | 188.1 | 1.5825 | 177.19 | 1.526 | 188.5 | 1.227 | 981.931 | 58.4857 | -0.28081
2020-11-23 23:45:00 | 0.293 | 162.9 | 0.338 | 170.4 | 0.36166 | 160.517 | 0.219 | 188.3 | 1.232 | 981.99 | 58.4857 | -0.28081