## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-24 00:00:00 | 0.617 | 62.62 | 1.679 | 98.5 | 1.7965 | 92.787 | 1.316 | 175.4 | 1.226 | 981.989 | 57.973 | -0.25864
2020-11-24 00:15:00 | 0.748 | 25.87 | 1.396 | 41.34 | 1.4937 | 38.9423 | 0.271 | 44.54 | 1.234 | 981.838 | 54.418 | -0.25864
2020-11-24 00:30:00 | 0.67 | 29.03 | 1.789 | 41.41 | 1.9142 | 39.0082 | 1.006 | 44.43 | 1.339 | 981.693 | 55.341 | -0.26972
2020-11-24 00:45:00 | 0.679 | 30.67 | 1.603 | 42.42 | 1.7152 | 39.9596 | 1.298 | 44.13 | 1.313 | 981.811 | 55.717 | -0.27711
2020-11-24 01:00:00 | 0 | 86.5 | 0.004 | 43.93 | 0.00428 | 41.3821 | 0.334 | 45.59 | 1.506 | 981.842 | 52.3671 | -0.25864
2020-11-24 01:15:00 | 0 | 120.2 | 0.8 | 46.7 | 0.856 | 43.9914 | 1.058 | 45.66 | 1.564 | 981.842 | 55.4435 | -0.26972
2020-11-24 01:30:00 | 2.114 | 146.6 | 2.589 | 159.5 | 2.7702 | 150.249 | 2.106 | 60.02 | 1.37 | 981.693 | 57.973 | -0.30298
2020-11-24 01:45:00 | 4.129 | 153.3 | 4.052 | 171.5 | 4.3356 | 161.553 | 3.865 | 156.8 | 1.21 | 981.396 | 60.7754 | 0.36949
2020-11-24 02:00:00 | 5.212 | 154.5 | 5.617 | 171.6 | 6.0102 | 161.647 | 5.597 | 160.5 | 1.015 | 981.693 | 62.1422 | 3.754
2020-11-24 02:15:00 | 4.262 | 152.2 | 4.32 | 169.3 | 4.6224 | 159.481 | 4.912 | 154.4 | 0.96 | 981.544 | 64.2625 | 2.5162
2020-11-24 02:30:00 | 3.355 | 156.1 | 3.735 | 174.2 | 3.9964 | 164.096 | 4.219 | 158 | 0.923 | 981.693 | 66.5869 | 1.1343
2020-11-24 02:45:00 | 2.817 | 144.3 | 2.993 | 160.1 | 3.2025 | 150.814 | 3.611 | 152.7 | 0.874 | 981.396 | 68.3984 | -0.029559
2020-11-24 03:00:00 | 2.137 | 146.6 | 2.674 | 161.8 | 2.8612 | 152.416 | 2.972 | 146.7 | 0.838 | 981.396 | 68.5695 | -0.23278
2020-11-24 03:15:00 | 1.389 | 141.3 | 2.51 | 149.8 | 2.6857 | 141.112 | 3.101 | 147.3 | 0.996 | 981.396 | 61.4936 | -0.11084
2020-11-24 03:30:00 | 2.137 | 147.1 | 3.157 | 158.2 | 3.378 | 149.024 | 3.57 | 153.4 | 1.156 | 981.396 | 60.7417 | 0.10715
2020-11-24 03:45:00 | 2.194 | 153.5 | 3.134 | 167.6 | 3.3534 | 157.879 | 3.295 | 158.1 | 1.062 | 980.801 | 62.7584 | 0.073897
2020-11-24 04:00:00 | 3.187 | 161.7 | 4.18 | 174.2 | 4.4726 | 164.096 | 3.786 | 167.2 | 0.956 | 980.801 | 66.1084 | 0.41013
2020-11-24 04:15:00 | 3.871 | 155 | 4.691 | 166 | 5.0194 | 156.372 | 4.456 | 163.5 | 0.679 | 980.355 | 65.1512 | 0.18474
2020-11-24 04:30:00 | 2.336 | 157 | 3.351 | 165.4 | 3.5856 | 155.807 | 3.287 | 164.7 | 0.753 | 980.504 | 63.5784 | 0.66877
2020-11-24 04:45:00 | 4.765 | 159.3 | 5.046 | 172.1 | 5.3992 | 162.118 | 4.703 | 168.7 | 0.734 | 980.504 | 66.5527 | 0.8609
2020-11-24 05:00:00 | 3.626 | 154.7 | 4.226 | 168.9 | 4.5218 | 159.104 | 4.785 | 163.9 | 0.705 | 980.504 | 66.5869 | 0.70571
2020-11-24 05:15:00 | 4.374 | 168.2 | 5.039 | 174.4 | 5.3917 | 164.285 | 4.729 | 176.3 | 0.693 | 980.801 | 66.1425 | 1.4521
2020-11-24 05:30:00 | 3.802 | 178.4 | 4.259 | 185.9 | 4.5571 | 175.118 | 4.413 | 184.8 | 0.958 | 980.801 | 64.3992 | 0.56162
2020-11-24 05:45:00 | 2.939 | 188.1 | 3.415 | 198.6 | 3.654 | 187.081 | 3.654 | 195.4 | 0.99 | 980.801 | 64.6727 | 0.15518
2020-11-24 06:00:00 | 2.834 | 177.8 | 3.267 | 186.8 | 3.4957 | 175.966 | 3.091 | 194.4 | 1.125 | 980.801 | 64.1258 | -0.014779
2020-11-24 06:15:00 | 1.917 | 153.2 | 2.937 | 165.6 | 3.1426 | 155.995 | 3.262 | 169.5 | 0.942 | 980.801 | 64.536 | -0.29559
2020-11-24 06:30:00 | 2.528 | 173 | 3.021 | 174.8 | 3.2325 | 164.662 | 2.337 | 178.6 | 0.97 | 981.098 | 64.3992 | -0.25494
2020-11-24 06:45:00 | 2.065 | 162.3 | 3.433 | 167.4 | 3.6733 | 157.691 | 3.308 | 178.9 | 1.059 | 981.098 | 66.1084 | 0.19583
2020-11-24 07:00:00 | 3.802 | 160.8 | 4.448 | 171.4 | 4.7594 | 161.459 | 4.451 | 169.8 | 1.137 | 981.396 | 62.9636 | 1.9361
2020-11-24 07:15:00 | 4.732 | 158.4 | 4.711 | 171.2 | 5.0408 | 161.27 | 3.967 | 169.4 | 1.102 | 981.098 | 63.8523 | 3.0926
2020-11-24 07:30:00 | 5.074 | 162.8 | 4.865 | 169.2 | 5.2055 | 159.386 | 4.314 | 172.1 | 1.154 | 981.396 | 63.5789 | 2.3056
2020-11-24 07:45:00 | 4.466 | 163.4 | 4.213 | 171.6 | 4.5079 | 161.647 | 3.315 | 172 | 1.207 | 981.606 | 65.5609 | 0.84612
2020-11-24 08:00:00 | 4.272 | 168.8 | 4.116 | 181.2 | 4.4041 | 170.69 | 3.445 | 174.3 | 1.447 | 981.76 | 65.1444 | 0.29928
2020-11-24 08:15:00 | 3.22 | 167.4 | 2.917 | 192.1 | 3.1212 | 180.958 | 2.388 | 180.8 | 1.781 | 982.136 | 65.9861 | -0.20322
2020-11-24 08:30:00 | 2.536 | 168.5 | 2.479 | 178.4 | 2.6525 | 168.053 | 2.316 | 189.6 | 1.959 | 982.285 | 67.3843 | -0.26233
2020-11-24 08:45:00 | 3.299 | 186.4 | 3.034 | 203.6 | 3.2464 | 191.791 | 2.758 | 187 | 2.033 | 982.285 | 67.3159 | -0.26972
2020-11-24 09:00:00 | 3.685 | 182 | 3.684 | 190.5 | 3.9419 | 179.451 | 3.46 | 186.4 | 2.249 | 982.731 | 66.9059 | -0.22539
2020-11-24 09:15:00 | 4.088 | 182.2 | 3.819 | 198.3 | 4.0863 | 186.799 | 3.285 | 180.4 | 2.297 | 982.285 | 66.7692 | -0.17735
2020-11-24 09:30:00 | 5.076 | 176.3 | 4.686 | 192.4 | 5.014 | 181.241 | 4.443 | 180.7 | 2.243 | 982.582 | 66.8717 | -0.092371
2020-11-24 09:45:00 | 5.352 | 180.2 | 4.959 | 195 | 5.3061 | 183.69 | 4.288 | 184.1 | 2.279 | 982.285 | 67.5893 | 1.2045
2020-11-24 10:00:00 | 6.256 | 175.3 | 5.931 | 189.3 | 6.3462 | 178.321 | 5.246 | 180 | 2.485 | 982.285 | 64.9923 | 2.5347
2020-11-24 10:15:00 | 5.475 | 156.3 | 5.297 | 172.5 | 5.6678 | 162.495 | 4.395 | 166.6 | 2.597 | 982.131 | 56.6542 | 2.276
2020-11-24 10:30:00 | 5.194 | 157.1 | 5.146 | 172.7 | 5.5062 | 162.683 | 4.505 | 162.8 | 2.802 | 981.967 | 52.8911 | 3.7429
2020-11-24 10:45:00 | 5.942 | 154.8 | 5.726 | 170.4 | 6.1268 | 160.517 | 5.396 | 160.4 | 2.929 | 981.69 | 55.693 | 4.0126
2020-11-24 11:00:00 | 5.829 | 144.3 | 5.729 | 160.1 | 6.13 | 150.814 | 5.325 | 152.9 | 3.175 | 981.69 | 53.6092 | 4.807
2020-11-24 11:15:00 | 5.896 | 156.3 | 5.683 | 168.5 | 6.0808 | 158.727 | 4.767 | 168.6 | 3.334 | 981.547 | 54.2107 | 4.3932
2020-11-24 11:30:00 | 5.235 | 188.4 | 4.826 | 203.9 | 5.1638 | 192.074 | 4.558 | 186.9 | 3.609 | 981.242 | 54.7908 | 3.3882
2020-11-24 11:45:00 | 5.138 | 166.7 | 5.044 | 178.8 | 5.3971 | 168.43 | 4.268 | 172.5 | 3.909 | 981.39 | 53.9027 | 4.722
2020-11-24 12:00:00 | 5.071 | 153.7 | 4.896 | 166.7 | 5.2387 | 157.031 | 4.329 | 161.3 | 4.133 | 981.39 | 53.5952 | 3.366
2020-11-24 12:15:00 | 4.458 | 170.6 | 4.591 | 184.9 | 4.9124 | 174.176 | 3.896 | 173.1 | 4.607 | 981.39 | 51.1008 | 3.2478
2020-11-24 12:30:00 | 4.114 | 178.4 | 3.924 | 194.6 | 4.1987 | 183.313 | 3.522 | 174.2 | 4.763 | 981.39 | 51.6041 | 2.882
2020-11-24 12:45:00 | 5.597 | 173.6 | 5.297 | 188.1 | 5.6678 | 177.19 | 4.785 | 179.3 | 4.7 | 981.39 | 49.275 | 2.3573
2020-11-24 13:00:00 | 5.079 | 164 | 4.722 | 179.3 | 5.0525 | 168.901 | 4.306 | 168.3 | 5.06 | 981.39 | 48.4207 | 1.9028
2020-11-24 13:15:00 | 5.255 | 156 | 5.128 | 172.2 | 5.487 | 162.212 | 4.301 | 162.9 | 5.222 | 981.348 | 47.9768 | 3.4621
2020-11-24 13:30:00 | 5.449 | 150.8 | 5.108 | 163.5 | 5.4656 | 154.017 | 4.622 | 156.9 | 4.722 | 981.376 | 49.7866 | 5.3686
2020-11-24 13:45:00 | 4.941 | 159.8 | 4.691 | 179.1 | 5.0194 | 168.712 | 3.888 | 167.2 | 5.16 | 981.047 | 50.2647 | 5.9081
2020-11-24 14:00:00 | 5.62 | 153.7 | 5.238 | 164.9 | 5.6047 | 155.336 | 4.443 | 172.2 | 4.857 | 980.763 | 50.4012 | 4.4818
2020-11-24 14:15:00 | 4.803 | 155.4 | 4.579 | 165.3 | 4.8995 | 155.713 | 3.985 | 167 | 5.019 | 980.785 | 49.1037 | 1.2341
2020-11-24 14:30:00 | 2.796 | 139.3 | 2.618 | 158.6 | 2.8013 | 149.401 | 2.49 | 148.5 | 5.08 | 981.389 | 47.8061 | 0.18105
2020-11-24 14:45:00 | 3.23 | 149 | 3.004 | 163.1 | 3.2143 | 153.64 | 2.732 | 158 | 5.039 | 980.993 | 48.4207 | -0.077592
2020-11-24 15:00:00 | 3.634 | 141.9 | 3.316 | 159.5 | 3.5481 | 150.249 | 2.577 | 150.1 | 5.003 | 980.967 | 49.9915 | -0.26233
2020-11-24 15:15:00 | 2.651 | 150.9 | 2.459 | 166.3 | 2.6311 | 156.655 | 2.223 | 147.9 | 4.871 | 980.774 | 51.0842 | -0.13301
2020-11-24 15:30:00 | 3.521 | 145.6 | 3.551 | 158.9 | 3.7996 | 149.684 | 3.015 | 152.3 | 4.58 | 980.201 | 51.5646 | -0.059118
2020-11-24 15:45:00 | 3.56 | 160.8 | 3.528 | 170.2 | 3.775 | 160.328 | 2.875 | 171.1 | 4.444 | 979.903 | 51.9212 | 0.72789
2020-11-24 16:00:00 | 3.743 | 151.5 | 4.159 | 168.3 | 4.4501 | 158.539 | 3.797 | 157.4 | 4.263 | 979.606 | 51.3749 | 2.18
2020-11-24 16:15:00 | 3.846 | 161.7 | 3.63 | 172.2 | 3.8841 | 162.212 | 3.287 | 166.6 | 4.075 | 979.309 | 51.4432 | 1.6959
2020-11-24 16:30:00 | 3.904 | 155.8 | 4.126 | 167.6 | 4.4148 | 157.879 | 3.601 | 159.1 | 3.848 | 979.447 | 54.9384 | 2.0322
2020-11-24 16:45:00 | 4.175 | 158.2 | 4.256 | 171.2 | 4.5539 | 161.27 | 3.985 | 165.3 | 3.63 | 979.312 | 55.9672 | 2.4645
2020-11-24 17:00:00 | 4.535 | 157.7 | 4.745 | 169.8 | 5.0771 | 159.952 | 4.578 | 163.6 | 3.504 | 979.312 | 56.5157 | 2.5457
2020-11-24 17:15:00 | 3.417 | 159.2 | 3.806 | 170.9 | 4.0724 | 160.988 | 3.583 | 163.2 | 3.399 | 979.312 | 56.1762 | 0.46555
2020-11-24 17:30:00 | 2.985 | 163.2 | 3.31 | 172.4 | 3.5417 | 162.401 | 2.915 | 169.6 | 3.442 | 979.46 | 55.0829 | 0.65029
2020-11-24 17:45:00 | 3.051 | 165.5 | 3.617 | 176.8 | 3.8702 | 166.546 | 3.667 | 171.9 | 3.397 | 979.312 | 55.0145 | 0.787
2020-11-24 18:00:00 | 2.898 | 163 | 3.461 | 177.1 | 3.7033 | 166.828 | 3.557 | 170.7 | 3.328 | 979.609 | 55.6296 | 0.91632
2020-11-24 18:15:00 | 3.284 | 164.7 | 4.062 | 177.8 | 4.3463 | 167.488 | 4.125 | 170.8 | 3.151 | 979.312 | 55.9029 | 1.5334
2020-11-24 18:30:00 | 4.303 | 168.3 | 4.648 | 180.4 | 4.9734 | 169.937 | 4.668 | 174.5 | 3.121 | 979.312 | 55.2195 | 3.2478
2020-11-24 18:45:00 | 4.762 | 162.6 | 4.949 | 174.9 | 5.2954 | 164.756 | 5.157 | 167.5 | 3.182 | 979.609 | 54.0577 | 3.4436
2020-11-24 19:00:00 | 4.724 | 167.7 | 4.43 | 180.5 | 4.7401 | 170.031 | 4.51 | 170.5 | 3.187 | 979.609 | 53.101 | 3.754
2020-11-24 19:15:00 | 3.861 | 164.5 | 3.566 | 177.5 | 3.8156 | 167.205 | 3.685 | 170.8 | 3.216 | 979.609 | 54.0577 | 1.7366
2020-11-24 19:30:00 | 4.142 | 178.7 | 4.486 | 189.7 | 4.8 | 178.697 | 4.785 | 181.9 | 3.286 | 979.906 | 51.3924 | 2.1504
2020-11-24 19:45:00 | 3.7 | 174.6 | 4.177 | 183.4 | 4.4694 | 172.763 | 4.606 | 178.7 | 3.297 | 979.906 | 51.8025 | 0.63921
2020-11-24 20:00:00 | 3.225 | 168.2 | 3.466 | 178.9 | 3.7086 | 168.524 | 3.743 | 174.7 | 3.46 | 979.906 | 52.0075 | 0.19583
2020-11-24 20:15:00 | 3.138 | 164.8 | 3.523 | 176.4 | 3.7696 | 166.169 | 3.59 | 172.6 | 3.334 | 979.906 | 52.6909 | 0.21061
2020-11-24 20:30:00 | 2.012 | 180.1 | 2.61 | 183.8 | 2.7927 | 173.14 | 3.432 | 186.3 | 3.251 | 979.906 | 53.8869 | 0.55792
2020-11-24 20:45:00 | 3.506 | 178.1 | 4.241 | 186 | 4.5379 | 175.212 | 4.517 | 185.7 | 2.985 | 979.609 | 54.1944 | 1.925
2020-11-24 21:00:00 | 3.925 | 163.1 | 4.394 | 171.6 | 4.7016 | 161.647 | 4.377 | 172.6 | 3.047 | 979.46 | 54.3994 | 1.1713
2020-11-24 21:15:00 | 3.32 | 172.1 | 3.847 | 179.4 | 4.1163 | 168.995 | 3.85 | 179.9 | 2.984 | 979.609 | 55.8004 | 1.0937
2020-11-24 21:30:00 | 3.726 | 171.2 | 4.223 | 181.3 | 4.5186 | 170.785 | 4.209 | 178.3 | 2.868 | 979.757 | 54.8097 | 1.3671
2020-11-24 21:45:00 | 2.413 | 173 | 3.147 | 182.4 | 3.3673 | 171.821 | 3.463 | 180 | 2.702 | 979.609 | 55.0832 | 0.051728
2020-11-24 22:00:00 | 2.431 | 179 | 2.919 | 187.5 | 3.1233 | 176.625 | 3.147 | 187.5 | 2.781 | 979.312 | 56.0427 | 0.20691
2020-11-24 22:15:00 | 2.237 | 180.9 | 3.318 | 186.9 | 3.5503 | 176.06 | 3.44 | 191.4 | 2.483 | 979.462 | 56.6981 | 0.11084
2020-11-24 22:30:00 | 1.833 | 190.4 | 2.727 | 194.2 | 2.9179 | 182.936 | 2.806 | 201.7 | 2.59 | 979.609 | 57.5571 | 0.17366
2020-11-24 22:45:00 | 2.477 | 183.4 | 2.623 | 185.8 | 2.8066 | 175.024 | 2.826 | 195.3 | 2.715 | 979.341 | 59.13 | -0.2845
2020-11-24 23:00:00 | 2.063 | 202 | 2.554 | 215.3 | 2.7328 | 202.813 | 2.765 | 204.4 | 2.675 | 979.373 | 59.2004 | -0.25864
2020-11-24 23:15:00 | 2.395 | 210.9 | 2.518 | 219.2 | 2.6943 | 206.486 | 1.894 | 210.5 | 3.015 | 979.501 | 57.1493 | -0.27711
2020-11-24 23:30:00 | 1.864 | 203.6 | 2.436 | 216.9 | 2.6065 | 204.32 | 1.973 | 205.4 | 3.063 | 979.339 | 58.1722 | -0.27711
2020-11-24 23:45:00 | 1.867 | 188.3 | 2.175 | 192.6 | 2.3272 | 181.429 | 2.067 | 202.9 | 2.929 | 979.314 | 58.9222 | -0.27711