## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-25 00:00:00 | 1.953 | 163.9 | 2.405 | 173 | 2.5734 | 162.966 | 2.597 | 182.2 | 2.771 | 979.015 | 55.7139 | -0.25864
2020-11-25 00:15:00 | 2.365 | 163.6 | 2.909 | 172.8 | 3.1126 | 162.778 | 2.747 | 177 | 2.724 | 979.093 | 55.3716 | -0.29928
2020-11-25 00:30:00 | 2.416 | 168 | 2.932 | 174.9 | 3.1372 | 164.756 | 3.346 | 174.7 | 2.489 | 979.122 | 55.3056 | -0.28081
2020-11-25 00:45:00 | 1.294 | 165.3 | 2.354 | 173.5 | 2.5188 | 163.437 | 3.275 | 175.8 | 2.447 | 979.221 | 56.3999 | -0.28081
2020-11-25 01:00:00 | 1.818 | 157.2 | 2.495 | 164.9 | 2.6696 | 155.336 | 3.651 | 166.3 | 2.29 | 978.905 | 55.9221 | -0.22539
2020-11-25 01:15:00 | 2.188 | 161.9 | 2.873 | 169.3 | 3.0741 | 159.481 | 3.417 | 167 | 2.289 | 979.014 | 55.7853 | -0.040643
2020-11-25 01:30:00 | 2.589 | 158.9 | 3.379 | 169.2 | 3.6155 | 159.386 | 3.748 | 167 | 2.245 | 979.165 | 55.4777 | 0.025864
2020-11-25 01:45:00 | 2.293 | 166.8 | 3.083 | 174.2 | 3.2988 | 164.096 | 3.514 | 170.3 | 2.073 | 979.611 | 55.4435 | -0.088676
2020-11-25 02:00:00 | 2.423 | 187.1 | 2.756 | 195.2 | 2.9489 | 183.878 | 3.723 | 194.5 | 2.177 | 979.611 | 55.0333 | -0.20322
2020-11-25 02:15:00 | 1.979 | 185.3 | 2.185 | 185.7 | 2.338 | 174.929 | 3.012 | 193.7 | 2.305 | 979.314 | 54.4864 | -0.25494
2020-11-25 02:30:00 | 2.012 | 186.1 | 2.272 | 195.2 | 2.431 | 183.878 | 2.605 | 193.4 | 2.445 | 979.314 | 53.5977 | -0.26603
2020-11-25 02:45:00 | 2.725 | 189.7 | 2.702 | 196.2 | 2.4974 | 181.429 | 2.913 | 194.3 | 2.552 | 979.611 | 56.9475 | -0.21061
2020-11-25 03:00:00 | 2.388 | 188.4 | 2.71 | 202.2 | 2.8751 | 192.168 | 3.354 | 201.3 | 2.393 | 979.589 | 60.3657 | -0.12193
2020-11-25 03:15:00 | 2.464 | 195.7 | 2.74 | 206.1 | 3.3673 | 190.849 | 3.842 | 198.6 | 2.319 | 979.68 | 59.2719 | -0.077592
2020-11-25 03:30:00 | 2.234 | 187.3 | 2.574 | 200 | 3.0527 | 197.82 | 2.824 | 200.9 | 2.058 | 979.609 | 58.9983 | -0.16627
2020-11-25 03:45:00 | 1.915 | 195.3 | 2.377 | 203.1 | 2.5434 | 191.32 | 3.14 | 204.7 | 2.024 | 979.579 | 60.3657 | -0.25864
2020-11-25 04:00:00 | 2.5 | 188.7 | 2.937 | 198.9 | 3.0056 | 179.545 | 3.387 | 195.3 | 2.095 | 979.611 | 58.9984 | -0.23647
2020-11-25 04:15:00 | 1.781 | 170.1 | 2.587 | 174.4 | 2.7681 | 164.285 | 2.653 | 184.8 | 1.951 | 979.611 | 60.3657 | -0.24016
2020-11-25 04:30:00 | 1.783 | 175.7 | 2.063 | 177.7 | 2.2074 | 167.393 | 2.149 | 182.7 | 2.021 | 979.314 | 58.4515 | -0.25494
2020-11-25 04:45:00 | 1.935 | 157.5 | 2.679 | 173.2 | 2.8665 | 163.154 | 3.086 | 177 | 1.671 | 979.314 | 59.2718 | -0.088676
2020-11-25 05:00:00 | 2.462 | 160 | 2.423 | 164.8 | 2.5926 | 155.242 | 2.684 | 176.6 | 1.698 | 979.017 | 58.3148 | -0.073897
2020-11-25 05:15:00 | 1.606 | 154.3 | 2.127 | 163.3 | 2.2759 | 153.829 | 2.335 | 174.1 | 1.859 | 979.017 | 58.1776 | -0.1441
2020-11-25 05:30:00 | 1.515 | 137.2 | 1.669 | 153.4 | 1.7858 | 144.503 | 2.001 | 143 | 2.178 | 978.868 | 54.8278 | -0.24386
2020-11-25 05:45:00 | 0.903 | 125 | 1.512 | 148.9 | 1.6178 | 140.264 | 1.207 | 141.8 | 2.317 | 978.868 | 53.6639 | -0.26603
2020-11-25 06:00:00 | 0 | 119.7 | 0.092 | 155.6 | 0.09844 | 146.575 | 1.41 | 139.4 | 2.209 | 979.017 | 54.2809 | -0.29928
2020-11-25 06:15:00 | 1.338 | 101.5 | 1.62 | 117.8 | 1.7334 | 110.968 | 2.045 | 119 | 2.503 | 979.017 | 52.2987 | -0.29928
2020-11-25 06:30:00 | 1.493 | 100.8 | 2.001 | 117.9 | 2.1411 | 111.062 | 2.371 | 107.4 | 2.794 | 979.314 | 51.9569 | -0.29928
2020-11-25 06:45:00 | 1.55 | 110.1 | 2.096 | 121.2 | 2.2427 | 114.17 | 2.656 | 101.2 | 2.875 | 979.314 | 51.9569 | -0.26972
2020-11-25 07:00:00 | 0.074 | 120.2 | 0.392 | 135.8 | 0.41944 | 127.924 | 1.8 | 101.3 | 3.256 | 979.622 | 50.7186 | -0.26972
2020-11-25 07:15:00 | 0 | 148.9 | 0 | 130.6 | 0 | 123.025 | 0.602 | 101.7 | 4.36 | 980.204 | 47.1212 | -0.26972
2020-11-25 07:30:00 | 1.097 | 27 | 1.079 | 43.36 | 1.1545 | 40.8451 | 1.031 | 67.28 | 3.823 | 980.473 | 51.5902 | -0.26972
2020-11-25 07:45:00 | 1.023 | 28.1 | 1.329 | 42.78 | 1.422 | 40.2988 | 0.552 | 67.15 | 3.331 | 980.798 | 52.5364 | -0.25864
2020-11-25 08:00:00 | 1.007 | 60.48 | 1.628 | 54.62 | 1.742 | 51.452 | 1.488 | 68.93 | 3.457 | 981.241 | 51.8531 | -0.26972
2020-11-25 08:15:00 | 1.166 | 34.39 | 1.463 | 71.67 | 1.5654 | 67.5131 | 1.545 | 67.1 | 3.512 | 981.39 | 52.316 | -0.26972
2020-11-25 08:30:00 | 0.453 | 20.15 | 0.282 | 71.53 | 0.30174 | 67.3813 | 0.661 | 66.99 | 3.912 | 981.741 | 50.9476 | -0.25864
2020-11-25 08:45:00 | 0.137 | 173.8 | 0.299 | 7.715 | 0.31993 | 7.2675 | 0.184 | 148 | 6.437 | 981.98 | 44.864 | -0.25864
2020-11-25 09:00:00 | 2.173 | 158 | 1.335 | 196.6 | 1.4284 | 185.197 | 0.657 | 147.2 | 6.537 | 982.039 | 48.0631 | -0.26972
2020-11-25 09:15:00 | 2.27 | 248.8 | 2.004 | 251.1 | 2.1443 | 236.536 | 1.219 | 239.7 | 5.667 | 981.978 | 49.0869 | -0.26972
2020-11-25 09:30:00 | 1.897 | 261.6 | 1.606 | 274.3 | 1.7184 | 258.391 | 1.173 | 252.8 | 5.189 | 981.68 | 51.0668 | -0.26972
2020-11-25 09:45:00 | 2.574 | 259.2 | 2.068 | 269.6 | 2.2128 | 253.963 | 1.958 | 243.5 | 5.103 | 981.68 | 52.3639 | -0.28081
2020-11-25 10:00:00 | 2.298 | 273.4 | 2.025 | 287.4 | 2.1667 | 270.731 | 1.627 | 268.6 | 5.396 | 981.829 | 50.691 | -0.26972
2020-11-25 10:15:00 | 2.773 | 314.1 | 3.027 | 322.3 | 3.2389 | 303.607 | 2.605 | 311 | 5.544 | 981.68 | 51.4762 | -0.28081
2020-11-25 10:30:00 | 2.079 | 287.5 | 1.768 | 297.7 | 1.8918 | 280.433 | 1.414 | 303.9 | 5.531 | 981.68 | 50.9981 | -0.28081
2020-11-25 10:45:00 | 4.359 | 185.3 | 3.883 | 196.2 | 4.1548 | 184.82 | 2.811 | 204 | 6.006 | 981.68 | 50.4506 | -0.28081
2020-11-25 11:00:00 | 4.346 | 203.1 | 3.957 | 209.9 | 4.234 | 197.726 | 3.611 | 213.7 | 5.59 | 981.383 | 50.9302 | 0.048033
2020-11-25 11:15:00 | 5.183 | 186.8 | 4.842 | 195.7 | 5.1809 | 184.349 | 4.275 | 194 | 5.427 | 981.386 | 51.7494 | 0.022169
2020-11-25 11:30:00 | 4.852 | 196.4 | 4.379 | 204.2 | 4.6855 | 192.356 | 3.891 | 202.8 | 5.421 | 981.16 | 52.7131 | 0.044338
2020-11-25 11:45:00 | 3.096 | 217.7 | 2.827 | 228.2 | 3.0249 | 214.964 | 2.62 | 218.3 | 5.67 | 981.372 | 51.69 | -0.2882
2020-11-25 12:00:00 | 1.274 | 233.5 | 1.627 | 255.4 | 1.7409 | 240.587 | 1.397 | 214.5 | 6.069 | 981.678 | 50.8706 | -0.28081
2020-11-25 12:15:00 | 2.41 | 212.6 | 2.295 | 225.5 | 2.4556 | 212.421 | 1.535 | 244.5 | 6.615 | 981.437 | 50.6598 | -0.26972
2020-11-25 12:30:00 | 1.065 | 210.2 | 1.399 | 233.9 | 1.4969 | 220.334 | 1.196 | 273.7 | 7.078 | 981.573 | 48.8485 | -0.26972
2020-11-25 12:45:00 | 2.557 | 337.9 | 2.488 | 332.9 | 2.6622 | 313.592 | 1.962 | 353.6 | 6.809 | 981.424 | 52.0225 | -0.26972
2020-11-25 13:00:00 | 3.162 | 312.8 | 3.85 | 314.5 | 4.1195 | 296.259 | 3.473 | 326.2 | 6.231 | 981.096 | 53.5587 | -0.28081
2020-11-25 13:15:00 | 2.135 | 345.5 | 2.221 | 358.2 | 2.3765 | 337.424 | 2.431 | 347.5 | 6.669 | 980.864 | 54.2755 | -0.28081
2020-11-25 13:30:00 | 2.214 | 353.8 | 2.538 | 331.2 | 2.7157 | 311.99 | 2.542 | 18.16 | 6.393 | 980.844 | 54.2072 | -0.30667
2020-11-25 13:45:00 | 1.801 | 29.74 | 2.825 | 26.01 | 3.0227 | 24.5014 | 2.878 | 17.4 | 6.173 | 980.206 | 55.4369 | -0.18844
2020-11-25 14:00:00 | 2.363 | 9.19 | 3.599 | 28.28 | 3.8509 | 26.6398 | 3.017 | 0.96 | 5.622 | 980.127 | 57.1532 | 0.50619
2020-11-25 14:15:00 | 2.936 | 355.3 | 3.326 | 22.58 | 3.5588 | 21.2704 | 3.478 | 341.1 | 5.111 | 979.901 | 58.9378 | 2.1615
2020-11-25 14:30:00 | 3.316 | 2.899 | 3.939 | 29.69 | 4.2147 | 27.968 | 3.83 | 354.7 | 5.176 | 979.89 | 58.9722 | 2.8894
2020-11-25 14:45:00 | 3.488 | 11.84 | 4.596 | 28.48 | 4.9177 | 26.8282 | 4.077 | 11.38 | 5.238 | 979.755 | 59.363 | 2.1467
2020-11-25 15:00:00 | 3.616 | 12.33 | 4.269 | 33.34 | 4.5678 | 31.4063 | 3.72 | 10.31 | 4.989 | 979.458 | 59.8462 | 2.2428
2020-11-25 15:15:00 | 3.437 | 357.5 | 3.957 | 23.96 | 4.234 | 22.5703 | 4.512 | 359.7 | 4.845 | 979.458 | 59.573 | 2.0469
2020-11-25 15:30:00 | 2.962 | 349.4 | 3.129 | 20.42 | 3.348 | 19.2356 | 3.965 | 345.6 | 4.82 | 979.458 | 59.9829 | 3.7724
2020-11-25 15:45:00 | 3.335 | 355.9 | 4.157 | 23.98 | 4.448 | 22.5892 | 5.36 | 349.8 | 4.817 | 979.309 | 60.871 | 4.4892
2020-11-25 16:00:00 | 4.285 | 359.6 | 4.737 | 23.11 | 5.0686 | 21.7696 | 5.167 | 353.2 | 4.753 | 979.013 | 60.9394 | 6.3403
2020-11-25 16:15:00 | 4.749 | 4.467 | 5.131 | 24.02 | 5.4902 | 22.6268 | 5.989 | 2.823 | 4.69 | 979.099 | 61.6571 | 8.7753
2020-11-25 16:30:00 | 4.903 | 9.47 | 5.31 | 26.2 | 5.6817 | 24.6804 | 5.167 | 7.489 | 4.613 | 979.552 | 62.7845 | 8.9157
2020-11-25 16:45:00 | 4.816 | 5.323 | 5.23 | 23.82 | 5.5961 | 22.4384 | 6.162 | 1.656 | 4.549 | 979.885 | 63.9863 | 5.982
2020-11-25 17:00:00 | 4.652 | 7.97 | 5.167 | 24.55 | 5.5287 | 23.1261 | 4.825 | 6.995 | 4.559 | 979.757 | 63.1393 | 7.3121
2020-11-25 17:15:00 | 4.517 | 10.73 | 5.1 | 25.58 | 5.457 | 24.0964 | 4.484 | 9.28 | 4.557 | 979.905 | 62.3567 | 7.785
2020-11-25 17:30:00 | 4.423 | 10 | 4.829 | 26.32 | 5.167 | 24.7934 | 4.377 | 8.17 | 4.549 | 980.203 | 63.346 | 7.0904
2020-11-25 17:45:00 | 5.051 | 7.851 | 4.783 | 19.46 | 5.1178 | 18.3313 | 4.902 | 7.496 | 4.493 | 980.501 | 62.9388 | 7.0461
2020-11-25 18:00:00 | 4.757 | 8.02 | 5.583 | 23.19 | 5.9738 | 21.845 | 4.899 | 11.88 | 4.436 | 980.501 | 63.0055 | 4.5003
2020-11-25 18:15:00 | 4.89 | 11.8 | 4.77 | 17.22 | 5.1039 | 16.2212 | 4.94 | 5.19 | 4.417 | 980.649 | 63.5522 | 8.4169
2020-11-25 18:30:00 | 5.209 | 11.36 | 5.228 | 21 | 5.594 | 19.782 | 4.846 | 8.94 | 4.429 | 980.649 | 63.757 | 9.795
2020-11-25 18:45:00 | 4.956 | 9.47 | 4.947 | 18.28 | 5.2933 | 17.2198 | 5.134 | 8.24 | 4.339 | 980.501 | 65.1245 | 11.1547
2020-11-25 19:00:00 | 3.868 | 11.21 | 5.077 | 28.32 | 5.4324 | 26.6774 | 4.179 | 14.92 | 4.255 | 981.095 | 65.8407 | 7.338
2020-11-25 19:15:00 | 4.078 | 10.75 | 6 | 27.29 | 6.42 | 25.7072 | 5.215 | 15.29 | 4.066 | 980.798 | 67.1076 | 10.6153
2020-11-25 19:30:00 | 3.343 | 12.49 | 5.389 | 28.09 | 5.7662 | 26.4608 | 4.584 | 17.22 | 4.109 | 981.094 | 66.6282 | 11.3173
2020-11-25 19:45:00 | 4.114 | 14.78 | 6.578 | 29.03 | 7.0385 | 27.3463 | 5.918 | 20.53 | 4.107 | 981.094 | 67.8904 | 12.9061
2020-11-25 20:00:00 | 3.094 | 17.17 | 5.568 | 29.63 | 5.9578 | 27.9115 | 5.205 | 22.03 | 4.078 | 981.095 | 67.6864 | 12.0711
2020-11-25 20:15:00 | 3.922 | 11.52 | 6.064 | 25.18 | 6.4885 | 23.7196 | 5.755 | 20.29 | 4.079 | 981.088 | 68.5724 | 11.3801
2020-11-25 20:30:00 | 4.41 | 8.8 | 5.246 | 22.12 | 5.6132 | 20.837 | 4.955 | 13.31 | 4.077 | 981.095 | 68.0619 | 11.6018
2020-11-25 20:45:00 | 4.402 | 10.11 | 5.637 | 24.68 | 6.0316 | 23.2486 | 5.108 | 15.9 | 4.078 | 981.236 | 68.5399 | 9.4957
2020-11-25 21:00:00 | 4.351 | 14.25 | 6.153 | 27.4 | 6.5837 | 25.8108 | 5.78 | 21.15 | 4.078 | 981.244 | 68.7437 | 8.4575
2020-11-25 21:15:00 | 4.402 | 10.36 | 5.962 | 24.87 | 6.3793 | 23.4275 | 5.144 | 15.39 | 4.092 | 981.356 | 69.0515 | 9.008
2020-11-25 21:30:00 | 4.647 | 10.66 | 4.965 | 17.01 | 5.3125 | 16.0234 | 4.808 | 6.812 | 3.869 | 981.391 | 75.8519 | 12.1043
2020-11-25 21:45:00 | 4.959 | 10.12 | 6.148 | 23.68 | 6.5784 | 22.3066 | 5.393 | 17.11 | 3.532 | 981.095 | 78.9961 | 9.9761
2020-11-25 22:00:00 | 4.083 | 11.45 | 5.169 | 25.75 | 5.5308 | 24.2565 | 4.889 | 20.13 | 3.537 | 981.344 | 78.6184 | 6.732
2020-11-25 22:15:00 | 4.226 | 14.03 | 5.051 | 26.05 | 5.4046 | 24.5391 | 4.731 | 21.88 | 3.553 | 981.671 | 79.818 | 5.0878
2020-11-25 22:30:00 | 4.2 | 8.78 | 4.522 | 23.6 | 4.8385 | 22.2312 | 4.179 | 12.56 | 3.534 | 981.674 | 80.1617 | 4.8587
2020-11-25 22:45:00 | 4.198 | 10.38 | 3.788 | 13.48 | 4.0532 | 12.6982 | 3.534 | 12.13 | 3.531 | 981.838 | 80.8461 | 3.9018
2020-11-25 23:00:00 | 3.853 | 10.88 | 3.679 | 15.02 | 3.9365 | 14.1488 | 2.979 | 10.63 | 3.511 | 981.982 | 82.1453 | 5.4314
2020-11-25 23:15:00 | 3.636 | 10.35 | 4.261 | 23.95 | 4.5593 | 22.5609 | 4.166 | 16.16 | 3.318 | 981.676 | 85.3553 | 5.0176
2020-11-25 23:30:00 | 3.616 | 10.21 | 4.203 | 24.3 | 4.4972 | 22.8906 | 4.077 | 14.76 | 3.097 | 981.69 | 87.0661 | 5.1617
2020-11-25 23:45:00 | 4.193 | 11.67 | 4.555 | 23.85 | 4.8739 | 22.4667 | 4.408 | 19.76 | 2.847 | 981.69 | 88.2966 | 5.413