## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-26 00:00:00 | 4.006 | 15.89 | 4.241 | 19.94 | 4.5379 | 18.7835 | 3.855 | 23.41 | 2.788 | 981.69 | 87.9891 | 4.9954
2020-11-26 00:15:00 | 4.093 | 5.898 | 3.906 | 14.82 | 4.1794 | 13.9604 | 3.764 | 20.07 | 2.707 | 981.69 | 88.1941 | 3.9091
2020-11-26 00:30:00 | 4.229 | 8.82 | 3.587 | 17.7 | 3.8381 | 16.6734 | 3.937 | 19.88 | 2.583 | 981.69 | 88.2966 | 4.5853
2020-11-26 00:45:00 | 4.239 | 5.422 | 4.001 | 15.49 | 4.2811 | 14.5916 | 4.214 | 15.8 | 2.53 | 981.69 | 88.98 | 3.5877
2020-11-26 01:00:00 | 3.748 | 7.466 | 3.602 | 18.64 | 3.8541 | 17.5589 | 3.708 | 17.21 | 2.461 | 981.69 | 89.8343 | 3.4584
2020-11-26 01:15:00 | 3.376 | 346.2 | 3.507 | 6.524 | 3.7525 | 6.1456 | 4.148 | 351.1 | 2.333 | 981.838 | 92.397 | 7.4303
2020-11-26 01:30:00 | 4.246 | 358.6 | 4.103 | 21.54 | 4.3902 | 20.2907 | 4.415 | 0.535 | 2.197 | 981.69 | 94.1397 | 8.3873
2020-11-26 01:45:00 | 4.476 | 13.37 | 4.857 | 23.15 | 5.197 | 21.8073 | 4.927 | 4.307 | 2.022 | 981.095 | 96.7025 | 7.4377
2020-11-26 02:00:00 | 4.634 | 8.35 | 5.363 | 26.49 | 5.7384 | 24.9536 | 4.629 | 6.537 | 1.874 | 981.392 | 98.001 | 6.8909
2020-11-26 02:15:00 | 4.463 | 13.57 | 4.269 | 17.11 | 4.5678 | 16.1176 | 4.405 | 3.707 | 1.758 | 981.095 | 99.0262 | 6.9426
2020-11-26 02:30:00 | 5.278 | 10.84 | 4.975 | 14.91 | 5.3232 | 14.0452 | 4.326 | 10.8 | 1.585 | 980.501 | 97.9352 | 7.3638
2020-11-26 02:45:00 | 5.778 | 10.23 | 5.399 | 10.17 | 5.7769 | 9.5801 | 4.174 | 8.3 | 1.492 | 980.501 | 97.1256 | 9.4847
2020-11-26 03:00:00 | 5.801 | 5.577 | 5.422 | 11.22 | 5.8015 | 10.5692 | 6.03 | 1.385 | 1.425 | 980.501 | 96.4457 | 11.4282
2020-11-26 03:15:00 | 5.051 | 7.999 | 4.921 | 19.27 | 5.2655 | 18.1523 | 4.629 | 5.877 | 1.357 | 980.39 | 96.3153 | 10.3567
2020-11-26 03:30:00 | 4.517 | 14.46 | 4.919 | 17.42 | 5.2633 | 16.4096 | 5.011 | 4.446 | 1.306 | 980.509 | 96.1508 | 9.8652
2020-11-26 03:45:00 | 4.291 | 13.55 | 4.824 | 19.89 | 5.1617 | 18.7364 | 4.968 | 4.243 | 1.361 | 980.628 | 95.778 | 6.4808
2020-11-26 04:00:00 | 4.328 | 12.03 | 4.543 | 28.71 | 4.861 | 27.0448 | 4.138 | 14.46 | 1.392 | 980.342 | 95.4336 | 4.7811
2020-11-26 04:15:00 | 3.71 | 9.14 | 3.983 | 25.73 | 4.2618 | 24.2377 | 3.87 | 14.2 | 1.428 | 980.477 | 95.6402 | 1.1306
2020-11-26 04:30:00 | 2.49 | 23.21 | 3.443 | 34.4 | 3.684 | 32.4048 | 3.282 | 32.65 | 1.438 | 980.32 | 95.9152 | 1.3671
2020-11-26 04:45:00 | 2.188 | 25.18 | 2.566 | 29.72 | 2.7456 | 27.9962 | 2.987 | 29.21 | 1.43 | 980.457 | 95.8443 | 1.4595
2020-11-26 05:00:00 | 3.003 | 6.265 | 2.715 | 16.59 | 2.9051 | 15.6278 | 3.466 | 20.84 | 1.502 | 980.585 | 95.5049 | 1.9472
2020-11-26 05:15:00 | 2.786 | 5.404 | 2.924 | 23.46 | 3.1287 | 22.0993 | 2.847 | 7.916 | 1.522 | 980.612 | 95.9462 | 1.9693
2020-11-26 05:30:00 | 2.394 | 18.14 | 3.075 | 30.71 | 3.2902 | 28.9288 | 3.063 | 20.04 | 1.614 | 980.605 | 95.3624 | 2.5716
2020-11-26 05:45:00 | 2.768 | 23.76 | 2.886 | 30.75 | 3.088 | 28.9665 | 3.583 | 27.11 | 1.507 | 980.518 | 95.9433 | 2.4756
2020-11-26 06:00:00 | 2.778 | 10.77 | 2.546 | 18.6 | 2.7242 | 17.5212 | 2.46 | 14.92 | 1.555 | 981.171 | 96.3199 | 2.8524
2020-11-26 06:15:00 | 2.781 | 16.38 | 3.055 | 31.15 | 3.2689 | 29.3433 | 3.078 | 23.72 | 1.554 | 981.135 | 96.5282 | 1.6073
2020-11-26 06:30:00 | 3.281 | 11.25 | 3.07 | 9.78 | 3.2849 | 9.2128 | 3.043 | 21.22 | 1.551 | 981.44 | 97.0704 | 2.1873
2020-11-26 06:45:00 | 1.462 | 358.5 | 2.463 | 27.52 | 2.6354 | 25.9238 | 2.941 | 345.2 | 1.536 | 981.716 | 97.4419 | 2.4275
2020-11-26 07:00:00 | 2.679 | 4.328 | 2.275 | 21.99 | 2.4343 | 20.7146 | 2.844 | 2.511 | 1.492 | 981.703 | 97.8849 | 1.1454
2020-11-26 07:15:00 | 0.805 | 17.16 | 1.972 | 27.58 | 2.11 | 25.9804 | 1.789 | 28.37 | 1.494 | 981.99 | 98.7067 | 0.55792
2020-11-26 07:30:00 | 0.749 | 21.41 | 0.189 | 10.82 | 0.20223 | 10.1924 | 0.418 | 26.94 | 1.501 | 982.286 | 98.9063 | 0.4286
2020-11-26 07:45:00 | 0.263 | 356.9 | 0.12 | 357 | 0.1284 | 336.294 | 0.399 | 29.19 | 1.548 | 982.601 | 98.4621 | 1.0235
2020-11-26 08:00:00 | 1.885 | 354.8 | 1.432 | 346.5 | 1.5322 | 326.403 | 1.143 | 356.6 | 1.484 | 982.582 | 98.1517 | 0.77222
2020-11-26 08:15:00 | 1.315 | 342.6 | 0.861 | 334.4 | 0.92127 | 315.005 | 0.938 | 22.96 | 1.552 | 982.879 | 97.2248 | 0.60596
2020-11-26 08:30:00 | 1.701 | 7.843 | 1.327 | 17.61 | 1.4199 | 16.5886 | 1.422 | 34.2 | 1.582 | 982.879 | 97.2557 | 0.0036948
2020-11-26 08:45:00 | 2.454 | 15.34 | 2.733 | 33.78 | 2.9243 | 31.8208 | 2.559 | 24.62 | 1.473 | 982.879 | 97.6939 | 0.18474
2020-11-26 09:00:00 | 2.242 | 346.7 | 2.074 | 2.75 | 2.2192 | 2.5905 | 2.034 | 340.8 | 1.652 | 983.177 | 96.2926 | 0.17366
2020-11-26 09:15:00 | 1.379 | 1.021 | 1.325 | 14.93 | 1.4178 | 14.0641 | 1.576 | 355.3 | 1.861 | 983.177 | 95.0282 | 0.47294
2020-11-26 09:30:00 | 1.64 | 352.8 | 1.547 | 11.11 | 1.6553 | 10.4656 | 1.703 | 356.1 | 1.866 | 983.177 | 94.994 | 0.38426
2020-11-26 09:45:00 | 2.28 | 12.36 | 2.51 | 33.99 | 2.6857 | 32.0186 | 1.91 | 359.8 | 1.732 | 983.177 | 95.5408 | 0.3547
2020-11-26 10:00:00 | 2.296 | 14.71 | 2.262 | 28.76 | 2.4203 | 27.0919 | 2.144 | 5.33 | 1.799 | 983.177 | 95.1991 | 0.41752
2020-11-26 10:15:00 | 1.828 | 9.75 | 2.127 | 31.59 | 2.2759 | 29.7578 | 1.925 | 8.8 | 1.748 | 983.177 | 95.7116 | 0.218
2020-11-26 10:30:00 | 2.546 | 17.93 | 2.111 | 18.86 | 2.2588 | 17.7661 | 2.432 | 8.46 | 1.943 | 983.177 | 94.994 | 0.51358
2020-11-26 10:45:00 | 2.022 | 16.04 | 2.244 | 28.16 | 2.4011 | 26.5267 | 2.302 | 18.16 | 2.042 | 982.879 | 94.8915 | 0.23647
2020-11-26 11:00:00 | 2.03 | 10.9 | 2.114 | 28.86 | 2.262 | 27.1861 | 1.938 | 17.38 | 2.033 | 982.731 | 95.0624 | 0.062812
2020-11-26 11:15:00 | 1.909 | 14.05 | 2.091 | 27.19 | 2.2374 | 25.613 | 2.154 | 23.63 | 2.091 | 982.879 | 94.5157 | -0.070202
2020-11-26 11:30:00 | 1.133 | 359 | 1.519 | 25.13 | 1.6253 | 23.6725 | 1.561 | 21.14 | 2.326 | 982.879 | 93.6614 | 0.20691
2020-11-26 11:45:00 | 1.436 | 351.4 | 1.445 | 18.15 | 1.5461 | 17.0973 | 1.838 | 340.2 | 2.462 | 982.879 | 92.8755 | 0.34731
2020-11-26 12:00:00 | 1.3 | 3.638 | 1.438 | 13.28 | 1.5387 | 12.5098 | 1.422 | 354.3 | 2.509 | 982.879 | 92.4654 | 0.077592
2020-11-26 12:15:00 | 1.9 | 14.59 | 1.876 | 21.42 | 2.0073 | 20.1776 | 1.564 | 356.7 | 2.509 | 982.582 | 92.3971 | 0.24016
2020-11-26 12:30:00 | 2.224 | 17.79 | 2.487 | 38.34 | 2.6611 | 36.1163 | 1.95 | 5.38 | 2.38 | 982.279 | 93.6956 | 0.12932
2020-11-26 12:45:00 | 2.398 | 19.33 | 2.572 | 34.04 | 2.752 | 32.0657 | 2.241 | 33.42 | 2.309 | 981.986 | 93.2171 | 0.073897
2020-11-26 13:00:00 | 2.311 | 30.72 | 2.758 | 39.89 | 2.9511 | 37.5764 | 2.386 | 44.09 | 2.514 | 981.685 | 92.4641 | 0.018474
2020-11-26 13:15:00 | 2.38 | 28.97 | 2.638 | 36.56 | 2.8227 | 34.4395 | 2.386 | 46.03 | 2.592 | 981.667 | 92.3956 | -0.10346
2020-11-26 13:30:00 | 1.864 | 49.72 | 2.129 | 40.12 | 2.278 | 37.793 | 1.915 | 50.67 | 2.712 | 981.689 | 91.776 | -0.20322
2020-11-26 13:45:00 | 1.95 | 56.74 | 2.26 | 50.28 | 2.4182 | 47.3638 | 1.82 | 51.62 | 2.881 | 981.388 | 91.2957 | -0.27342
2020-11-26 14:00:00 | 1.77 | 55.6 | 2.27 | 57.72 | 2.4289 | 54.3722 | 1.904 | 52.82 | 3.01 | 981.468 | 90.8823 | -0.25125
2020-11-26 14:15:00 | 1.795 | 69.09 | 2.313 | 67.64 | 2.4749 | 63.7169 | 2.118 | 83.4 | 3.103 | 981.676 | 90.4738 | -0.24016
2020-11-26 14:30:00 | 1.839 | 29.49 | 1.815 | 39.62 | 1.9421 | 37.322 | 1.899 | 78.55 | 3.208 | 981.659 | 90.4072 | -0.25864
2020-11-26 14:45:00 | 1.854 | 2.762 | 1.687 | 26.15 | 1.8051 | 24.6333 | 1.586 | 42.94 | 3.223 | 981.838 | 91.0557 | -0.28081
2020-11-26 15:00:00 | 1.271 | 345.6 | 1.586 | 12.9 | 1.697 | 12.1518 | 1.506 | 34.18 | 3.318 | 981.826 | 90.6107 | -0.31037
2020-11-26 15:15:00 | 1.105 | 344.1 | 0.909 | 21.77 | 0.97263 | 20.5073 | 1.171 | 347.1 | 3.256 | 981.983 | 91.3639 | -0.29189
2020-11-26 15:30:00 | 2.148 | 344.8 | 2.157 | 4.137 | 2.308 | 3.8971 | 2.274 | 347.9 | 3.044 | 981.687 | 92.6992 | -0.12193
2020-11-26 15:45:00 | 1.678 | 344.5 | 1.792 | 0.459 | 1.9174 | 0.43238 | 2.243 | 348.4 | 2.948 | 981.673 | 93.623 | -0.022169
2020-11-26 16:00:00 | 2.012 | 333.6 | 2.185 | 348.8 | 2.338 | 328.57 | 2.488 | 343.9 | 2.856 | 981.987 | 94.1737 | 0.062812
2020-11-26 16:15:00 | 2.104 | 3.518 | 2.124 | 18.73 | 2.2727 | 17.6437 | 2.483 | 356.7 | 2.821 | 981.987 | 93.9689 | -0.099761
2020-11-26 16:30:00 | 1.806 | 16.14 | 2.469 | 33.82 | 2.6418 | 31.8584 | 2.742 | 27.22 | 2.813 | 982.284 | 94.1739 | 0.051728
2020-11-26 16:45:00 | 1.597 | 35.7 | 2.152 | 41.9 | 2.3026 | 39.4698 | 2.811 | 27.1 | 2.781 | 982.136 | 94.5156 | -0.24386
2020-11-26 17:00:00 | 1.613 | 9.8 | 2.145 | 30.17 | 2.2952 | 28.4201 | 2.434 | 21.05 | 3.038 | 982.879 | 92.7387 | -0.14779
2020-11-26 17:15:00 | 1.717 | 9.78 | 2.29 | 29.86 | 2.4503 | 28.1281 | 3.086 | 20.75 | 3.029 | 982.582 | 93.4905 | -0.19952
2020-11-26 17:30:00 | 2.012 | 16.68 | 2.886 | 35.23 | 3.088 | 33.1867 | 3.486 | 23.48 | 2.9 | 982.582 | 93.9347 | -0.10715
2020-11-26 17:45:00 | 1.731 | 15.13 | 2.837 | 35.98 | 3.0356 | 33.8932 | 3.252 | 23.3 | 3.191 | 982.582 | 91.7136 | -0.099761
2020-11-26 18:00:00 | 1.895 | 17.05 | 2.359 | 36.05 | 2.5241 | 33.9591 | 2.933 | 16.84 | 3.329 | 982.879 | 90.0393 | -0.11084
2020-11-26 18:15:00 | 2.02 | 4.977 | 2.687 | 33.01 | 2.8751 | 31.0954 | 2.172 | 11.13 | 3.39 | 982.879 | 89.1167 | -0.21061
2020-11-26 18:30:00 | 1.322 | 14.54 | 2.224 | 37.37 | 2.3797 | 35.2025 | 3.017 | 18.64 | 3.362 | 983.027 | 88.98 | -0.26972
2020-11-26 18:45:00 | 1.685 | 22.68 | 2.421 | 37.2 | 2.5905 | 35.0424 | 3.033 | 33.76 | 3.587 | 983.176 | 87.9549 | -0.26603
2020-11-26 19:00:00 | 1.872 | 21.73 | 2.679 | 35.03 | 2.8665 | 32.9983 | 2.915 | 33.85 | 3.602 | 983.146 | 88.4333 | -0.26972
2020-11-26 19:15:00 | 2.556 | 21.61 | 2.894 | 28.56 | 3.0966 | 26.9035 | 2.717 | 29.35 | 3.6 | 983.325 | 88.8091 | -0.29928
2020-11-26 19:30:00 | 1.757 | 27.56 | 2.29 | 28.88 | 2.4503 | 27.205 | 2.539 | 41.47 | 3.553 | 983.324 | 89.3217 | -0.29928
2020-11-26 19:45:00 | 1.064 | 47.84 | 1.904 | 41.01 | 2.0373 | 38.6314 | 2.549 | 50.04 | 3.554 | 983.325 | 89.5609 | -0.2882
2020-11-26 20:00:00 | 1.565 | 54.88 | 2.641 | 61.55 | 2.8259 | 57.9801 | 2.859 | 51.53 | 3.7 | 983.32 | 89.0825 | -0.28081
2020-11-26 20:15:00 | 0.293 | 54.77 | 0.75 | 62.34 | 0.8025 | 58.7243 | 1.749 | 51.54 | 4.068 | 983.473 | 86.1097 | -0.28081
2020-11-26 20:30:00 | 0 | 54.76 | 0 | 355.5 | 0 | 334.881 | 0.842 | 51.53 | 3.645 | 983.458 | 86.7231 | -0.26972
2020-11-26 20:45:00 | 0.052 | 65.68 | 1.254 | 24.34 | 1.3418 | 22.9283 | 1.698 | 51.54 | 3.793 | 983.473 | 88.2282 | -0.26972
2020-11-26 21:00:00 | 0.993 | 102.1 | 1.534 | 76.7 | 1.6414 | 72.2514 | 1.403 | 51.67 | 3.891 | 983.473 | 84.2303 | -0.29928
2020-11-26 21:15:00 | 0 | 112.4 | 0.714 | 96.2 | 0.76398 | 90.6204 | 0.985 | 51.67 | 4.08 | 983.771 | 84.6745 | -0.29928
2020-11-26 21:30:00 | 0 | 121.5 | 0.874 | 96.2 | 0.93518 | 90.6204 | 1.474 | 51.68 | 4.094 | 983.766 | 83.8885 | -0.28081
2020-11-26 21:45:00 | 0.007 | 121.7 | 0.417 | 143.6 | 0.44619 | 135.271 | 1.021 | 51.67 | 3.935 | 984.049 | 83.5127 | -0.26972
2020-11-26 22:00:00 | 1.025 | 163.2 | 1.296 | 262.2 | 1.3867 | 246.992 | 0.585 | 51.64 | 3.304 | 984.04 | 91.3708 | -0.27711
2020-11-26 22:15:00 | 1.41 | 179.1 | 0.831 | 277.7 | 0.88917 | 261.593 | 0 | 51.57 | 3.058 | 984.207 | 92.567 | -0.29928
2020-11-26 22:30:00 | 0.683 | 179.6 | 0 | 275.6 | 0 | 259.615 | 0 | 51.57 | 3.029 | 984.068 | 92.8754 | -0.24386
2020-11-26 22:45:00 | 1.581 | 179.6 | 0.724 | 277.9 | 0.77468 | 261.782 | 0.576 | 49.34 | 3.033 | 984.068 | 94.1739 | -0.13671
2020-11-26 23:00:00 | 0.019 | 18.58 | 0.165 | 356.8 | 0.17655 | 336.106 | 0.062 | 48.59 | 3.181 | 984.365 | 93.2513 | -0.14779
2020-11-26 23:15:00 | 0.499 | 336.6 | 1.042 | 3.132 | 1.1149 | 2.9503 | 1.441 | 48.52 | 3.013 | 984.217 | 93.9005 | -0.27711
2020-11-26 23:30:00 | 1.703 | 331.2 | 1.909 | 2.456 | 2.0426 | 2.3136 | 1.576 | 48.18 | 3.346 | 984.068 | 90.8252 | -0.26603
2020-11-26 23:45:00 | 2.045 | 334.6 | 1.81 | 4.698 | 1.9367 | 4.4255 | 1.339 | 48.18 | 3.543 | 984.068 | 87.4765 | -0.26972