## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-27 00:00:00 | 0.713 | 341.8 | 1.084 | 5.469 | 1.1599 | 5.1518 | 0.012 | 48.21 | 3.945 | 984.217 | 85.5629 | -0.2882
2020-11-27 00:15:00 | 1.315 | 320.5 | 0.278 | 5.54 | 0.29746 | 5.2187 | 1.484 | 48.05 | 4.029 | 984.514 | 85.5629 | -0.25864
2020-11-27 00:30:00 | 1.382 | 356 | 1.551 | 32.3 | 1.6596 | 30.4266 | 1.533 | 359.1 | 3.934 | 984.217 | 86.3147 | -0.29928
2020-11-27 00:45:00 | 2.03 | 352.2 | 1.643 | 26.04 | 1.758 | 24.5297 | 2.111 | 350.9 | 3.866 | 984.34 | 87.065 | -0.28081
2020-11-27 01:00:00 | 2.051 | 2.518 | 1.863 | 21.37 | 1.9934 | 20.1305 | 2.073 | 345.3 | 3.776 | 984.3 | 88.4305 | -0.29928
2020-11-27 01:15:00 | 2.689 | 13.01 | 2.912 | 357.8 | 3.1158 | 337.048 | 1.757 | 356.7 | 3.631 | 984.36 | 90.6164 | -0.29928
2020-11-27 01:30:00 | 3.069 | 355.3 | 3.349 | 6.687 | 3.5834 | 6.2992 | 2.47 | 356.7 | 3.397 | 984.044 | 91.6427 | -0.11454
2020-11-27 01:45:00 | 1.808 | 5.702 | 2.855 | 25.3 | 3.0549 | 23.8326 | 2.113 | 9.17 | 3.037 | 984.068 | 95.3345 | -0.16627
2020-11-27 02:00:00 | 2.988 | 10.59 | 3.244 | 28.33 | 3.4711 | 26.6869 | 2.121 | 10.44 | 3.026 | 983.917 | 94.2422 | -0.13671
2020-11-27 02:15:00 | 2.719 | 48.53 | 2.62 | 17 | 2.8034 | 16.014 | 3.606 | 4.32 | 2.921 | 984.068 | 95.5407 | 0.029559
2020-11-27 02:30:00 | 2.293 | 5.161 | 3.484 | 9.87 | 3.7279 | 9.2975 | 4.456 | 1.824 | 2.417 | 984.068 | 99.5387 | 0.72789
2020-11-27 02:45:00 | 3.447 | 1.207 | 3.152 | 16.07 | 3.3726 | 15.1379 | 4.115 | 0.195 | 2.309 | 984.068 | 100 | 1.6405
2020-11-27 03:00:00 | 2.508 | 3.388 | 3.241 | 23.19 | 3.4679 | 21.845 | 2.921 | 2.157 | 2.107 | 983.622 | 99.9829 | 1.8918
2020-11-27 03:15:00 | 2.28 | 6.78 | 2.866 | 27.25 | 3.0666 | 25.6695 | 2.949 | 2.263 | 2.028 | 983.473 | 99.9829 | 1.9657
2020-11-27 03:30:00 | 2.737 | 4.479 | 3.021 | 25.17 | 3.2325 | 23.7101 | 3.157 | 5.972 | 2.031 | 983.622 | 99.9829 | 1.4447
2020-11-27 03:45:00 | 2.773 | 3.71 | 3.51 | 24.1 | 3.7557 | 22.7022 | 3.224 | 6.441 | 2.171 | 983.919 | 99.9829 | 1.1565
2020-11-27 04:00:00 | 2.919 | 5.489 | 3.502 | 22.09 | 3.7471 | 20.8088 | 3.402 | 6.432 | 2.267 | 983.771 | 99.9847 | 1.9693
2020-11-27 04:15:00 | 2.444 | 4.778 | 2.891 | 20.12 | 3.0934 | 18.953 | 3.611 | 4.978 | 2.291 | 984.068 | 99.9847 | 1.1048
2020-11-27 04:30:00 | 1.953 | 4.343 | 2.226 | 18.32 | 2.3818 | 17.2574 | 3.611 | 6.56 | 2.114 | 983.919 | 99.9838 | 1.1639
2020-11-27 04:45:00 | 2.408 | 11.36 | 2.94 | 24.45 | 3.1458 | 23.0319 | 3.585 | 9.92 | 1.943 | 983.919 | 100 | 1.1824
2020-11-27 05:00:00 | 2.426 | 13.66 | 2.786 | 31.1 | 2.981 | 29.2962 | 3.952 | 11.86 | 1.741 | 984.068 | 99.9956 | 1.8511
2020-11-27 05:15:00 | 2.443 | 6.703 | 3.712 | 24 | 3.9718 | 22.608 | 3.817 | 11.61 | 1.58 | 984.103 | 100 | 2.2391
2020-11-27 05:30:00 | 2.602 | 2.568 | 2.63 | 16.27 | 2.8141 | 15.3263 | 3.379 | 11.56 | 1.635 | 984.706 | 100 | 2.7637
2020-11-27 05:45:00 | 2.852 | 3.304 | 2.63 | 17.66 | 2.8141 | 16.6357 | 4.675 | 9.65 | 1.77 | 985.017 | 100 | 2.7674
2020-11-27 06:00:00 | 3.077 | 2.978 | 3.461 | 23.83 | 3.7033 | 22.4479 | 5.279 | 8.33 | 1.607 | 985.066 | 100 | 4.4006
2020-11-27 06:15:00 | 3.131 | 9.49 | 3.208 | 20.62 | 3.4326 | 19.424 | 4.986 | 7.136 | 1.555 | 985.64 | 99.7429 | 3.7355
2020-11-27 06:30:00 | 2.602 | 11.3 | 3.448 | 32.9 | 3.6894 | 30.9918 | 4.606 | 10.85 | 1.509 | 985.333 | 99.7436 | 5.9856
2020-11-27 06:45:00 | 2.972 | 6.866 | 3.021 | 19.83 | 3.2325 | 18.6799 | 4.258 | 8.45 | 1.272 | 985.849 | 100 | 2.6898
2020-11-27 07:00:00 | 3.297 | 0.847 | 3.638 | 7.867 | 3.8927 | 7.4107 | 4.298 | 1.191 | 1.201 | 986.123 | 100 | 3.5951
2020-11-27 07:15:00 | 3.131 | 11.74 | 3.377 | 27.9 | 3.6134 | 26.2818 | 3.404 | 11.18 | 1.031 | 986.153 | 100 | 3.0815
2020-11-27 07:30:00 | 2.505 | 13.58 | 3.344 | 32.37 | 3.5781 | 30.4925 | 3.537 | 11.82 | 1.046 | 986.441 | 100 | 1.755
2020-11-27 07:45:00 | 2.717 | 8.26 | 3.778 | 26.75 | 4.0425 | 25.1985 | 4.79 | 8.44 | 1.328 | 986.648 | 100 | 3.2367
2020-11-27 08:00:00 | 2.977 | 4.411 | 3.177 | 22.1 | 3.3994 | 20.8182 | 4.14 | 5.465 | 1.566 | 986.518 | 99.0514 | 3.9055
2020-11-27 08:15:00 | 3.174 | 12.82 | 4.343 | 32.52 | 4.647 | 30.6338 | 4.545 | 14.33 | 2.024 | 986.744 | 93.6276 | 3.8537
2020-11-27 08:30:00 | 3.792 | 12.24 | 5.632 | 29.54 | 6.0262 | 27.8267 | 5.228 | 16.04 | 2.579 | 987.636 | 86.5881 | 4.7405
2020-11-27 08:45:00 | 4.665 | 14.15 | 6.767 | 31.27 | 7.2407 | 29.4563 | 5.964 | 16.09 | 2.885 | 987.9 | 82.3453 | 7.5116
2020-11-27 09:00:00 | 5.171 | 12.68 | 6.45 | 30.32 | 6.9015 | 28.5614 | 5.806 | 12.23 | 3.103 | 988.099 | 80.7536 | 8.0437
2020-11-27 09:15:00 | 4.736 | 15.69 | 6.601 | 34.44 | 7.0631 | 32.4425 | 5.243 | 14.35 | 3.314 | 987.633 | 78.7703 | 11.321
2020-11-27 09:30:00 | 5.291 | 13.48 | 7.048 | 30.68 | 7.5414 | 28.9006 | 6.259 | 12.76 | 3.525 | 987.482 | 76.6525 | 14.3249
2020-11-27 09:45:00 | 5.533 | 3.882 | 6.243 | 25.03 | 6.68 | 23.5783 | 6.786 | 0.713 | 3.614 | 987.63 | 76.4134 | 16.4642
2020-11-27 10:00:00 | 4.465 | 14.97 | 6.793 | 31.9 | 7.2685 | 30.0498 | 6.562 | 10.81 | 3.674 | 987.482 | 76.1742 | 20.0889
2020-11-27 10:15:00 | 5.296 | 3.182 | 5.939 | 27.21 | 6.3547 | 25.6318 | 6.323 | 354.8 | 3.48 | 987.927 | 78.497 | 18.3006
2020-11-27 10:30:00 | 4.317 | 13.41 | 5.448 | 38.99 | 5.8294 | 36.7286 | 4.897 | 5.196 | 3.907 | 987.927 | 76.0376 | 17.5099
2020-11-27 10:45:00 | 4.114 | 18.03 | 5.563 | 35.73 | 5.9524 | 33.6577 | 4.451 | 10.52 | 3.645 | 987.927 | 72.6559 | 13.7485
2020-11-27 11:00:00 | 4.517 | 7.307 | 5.77 | 36.43 | 6.1739 | 34.3171 | 5.572 | 356.9 | 3.706 | 987.927 | 71.1187 | 13.5305
2020-11-27 11:15:00 | 3.398 | 3.693 | 4.832 | 20.96 | 5.1702 | 19.7443 | 5.253 | 353.9 | 4.616 | 987.63 | 69.4791 | 14.6575
2020-11-27 11:30:00 | 4.961 | 13.98 | 6.087 | 31.5 | 6.5131 | 29.673 | 5.452 | 9.38 | 4.184 | 987.333 | 68.1811 | 17.3325
2020-11-27 11:45:00 | 5.114 | 13.16 | 6.031 | 28.68 | 6.4532 | 27.0166 | 6.626 | 4.685 | 4.224 | 987.036 | 62.8864 | 17.6096
2020-11-27 12:00:00 | 3.035 | 16.05 | 4.667 | 40.25 | 4.9937 | 37.9155 | 4.683 | 2.748 | 4.386 | 987.333 | 68.7276 | 17.4766
2020-11-27 12:15:00 | 4.682 | 10.9 | 6.591 | 32.65 | 7.0524 | 30.7563 | 5.796 | 9.9 | 4.001 | 986.887 | 65.0385 | 14.6242
2020-11-27 12:30:00 | 3.741 | 19.81 | 5.939 | 37.82 | 6.3547 | 35.6264 | 5.607 | 17.54 | 4.451 | 987.036 | 70.0251 | 16.4864
2020-11-27 12:45:00 | 4.479 | 12.49 | 5.936 | 34.33 | 6.3515 | 32.3389 | 5.852 | 5.411 | 3.763 | 986.887 | 72.7241 | 16.8817
2020-11-27 13:00:00 | 4.237 | 4.347 | 5.632 | 30.48 | 6.0262 | 28.7122 | 6.142 | 357.1 | 3.783 | 986.441 | 70.0256 | 18.1565
2020-11-27 13:15:00 | 3.387 | 7.915 | 3.775 | 30.89 | 4.0393 | 29.0984 | 4.971 | 355.6 | 4.107 | 986.887 | 67.5662 | 18.9693
2020-11-27 13:30:00 | 4.144 | 10.36 | 5.739 | 30.59 | 6.1407 | 28.8158 | 5.302 | 3.43 | 4.015 | 987.036 | 67.2246 | 15.4592
2020-11-27 13:45:00 | 1.862 | 18.75 | 3.447 | 24.05 | 3.6883 | 22.6551 | 4.283 | 14.32 | 4.63 | 987.333 | 63.7404 | 15.7216
2020-11-27 14:00:00 | 2.653 | 12.61 | 5.65 | 35.39 | 6.0455 | 33.3374 | 5.368 | 0.456 | 4.391 | 987.333 | 70.6405 | 18.6848
2020-11-27 14:15:00 | 4.199 | 4.895 | 5.154 | 26.54 | 5.5148 | 25.0007 | 5.393 | 355.5 | 3.583 | 987.036 | 67.9761 | 24.5116
2020-11-27 14:30:00 | 3.636 | 0.451 | 5.167 | 27.72 | 5.5287 | 26.1122 | 5.923 | 353.1 | 3.335 | 986.739 | 72.9291 | 22.5496
2020-11-27 14:45:00 | 4.596 | 10.96 | 6.105 | 30.09 | 6.5324 | 28.3448 | 4.871 | 3.304 | 3.223 | 986.739 | 71.6652 | 17.8535
2020-11-27 15:00:00 | 3.618 | 358.2 | 3.95 | 23.47 | 4.2265 | 22.1087 | 5.07 | 350.8 | 3.054 | 986.537 | 70.5728 | 16.2499
2020-11-27 15:15:00 | 3.34 | 350.7 | 3.855 | 14.91 | 4.1249 | 14.0452 | 4.52 | 344.5 | 2.868 | 986.589 | 70.7291 | 14.4099
2020-11-27 15:30:00 | 3.164 | 349.2 | 3.494 | 20.49 | 3.7386 | 19.3016 | 4.561 | 342.1 | 2.755 | 986.446 | 69.6349 | 14.8237
2020-11-27 15:45:00 | 3.457 | 346.3 | 3.944 | 10.98 | 4.2201 | 10.3432 | 5.045 | 344 | 2.556 | 986.446 | 68.4777 | 13.0687
2020-11-27 16:00:00 | 3.343 | 348.4 | 3.937 | 13.15 | 4.2126 | 12.3873 | 5.391 | 346.6 | 2.401 | 986.595 | 65.8124 | 13.3273
2020-11-27 16:15:00 | 4.54 | 352.1 | 4.957 | 11.85 | 5.304 | 11.1627 | 6.03 | 349.5 | 2.308 | 986.446 | 63.8647 | 14.2658
2020-11-27 16:30:00 | 4.254 | 353.7 | 4.952 | 12.49 | 5.2986 | 11.7656 | 5.885 | 357.2 | 2.109 | 986.743 | 65.9502 | 13.7374
2020-11-27 16:45:00 | 3.787 | 2.657 | 4.141 | 17.06 | 4.4309 | 16.0705 | 5.74 | 358.6 | 1.935 | 986.595 | 68.0101 | 12.9837
2020-11-27 17:00:00 | 3.194 | 7.821 | 3.607 | 18.4 | 3.8595 | 17.3328 | 4.044 | 7.821 | 1.767 | 986.615 | 69.1107 | 11.1695
2020-11-27 17:15:00 | 3.155 | 8.76 | 4.911 | 23.8 | 5.2548 | 22.4196 | 4.003 | 8.73 | 1.637 | 986.904 | 66.7917 | 9.9946
2020-11-27 17:30:00 | 3.6 | 9.05 | 4.898 | 23.04 | 5.2409 | 21.7037 | 4.161 | 7.245 | 1.692 | 987.025 | 65.1505 | 10.1017
2020-11-27 17:45:00 | 3.521 | 7.787 | 4.898 | 24.05 | 5.2409 | 22.6551 | 4.382 | 8.92 | 1.5 | 987.046 | 63.7156 | 10.0278
2020-11-27 18:00:00 | 3.45 | 10.88 | 5.067 | 29.32 | 5.4217 | 27.6194 | 4.606 | 13.19 | 1.435 | 987.046 | 62.7243 | 8.3947
2020-11-27 18:15:00 | 3.917 | 10.56 | 5.931 | 27.61 | 6.3462 | 26.0086 | 4.915 | 14.13 | 1.225 | 987.343 | 59.8872 | 10.3493
2020-11-27 18:30:00 | 3.966 | 10.17 | 5.872 | 25.74 | 6.283 | 24.2471 | 4.958 | 12.94 | 1.265 | 987.194 | 59.6821 | 9.481
2020-11-27 18:45:00 | 3.784 | 8.07 | 5.542 | 24.51 | 5.9299 | 23.0884 | 4.78 | 12.73 | 1.191 | 987.046 | 59.9211 | 10.05
2020-11-27 19:00:00 | 3.51 | 13.36 | 5.333 | 25.96 | 5.7063 | 24.4543 | 5.088 | 18.7 | 1.092 | 987.046 | 61.1178 | 9.7248
2020-11-27 19:15:00 | 3.667 | 18.99 | 5.407 | 38.42 | 5.7855 | 36.1916 | 5.9 | 22.59 | 0.992 | 987.194 | 60.5022 | 7.8811
2020-11-27 19:30:00 | 3.314 | 25.36 | 5.215 | 42.18 | 5.58 | 39.7336 | 5.493 | 29.76 | 0.849 | 986.897 | 59.135 | 6.7874
2020-11-27 19:45:00 | 3.215 | 22.94 | 5.149 | 41.78 | 5.5094 | 39.3568 | 5.671 | 28.76 | 0.972 | 987.194 | 57.5962 | 7.6003
2020-11-27 20:00:00 | 2.937 | 24.27 | 4.755 | 42.38 | 5.0879 | 39.922 | 5.032 | 26.85 | 0.877 | 987.343 | 56.1954 | 7.1237
2020-11-27 20:15:00 | 3.243 | 23.76 | 5.172 | 38.6 | 5.534 | 36.3612 | 5.342 | 29.74 | 0.97 | 987.343 | 56.2639 | 7.6372
2020-11-27 20:30:00 | 3.786 | 19.33 | 5.706 | 31.37 | 6.1054 | 29.5505 | 5.778 | 24.02 | 0.95 | 987.343 | 56.7766 | 8.8898
2020-11-27 20:45:00 | 3.286 | 15.73 | 5.399 | 29.59 | 5.7769 | 27.8738 | 5.526 | 20.48 | 0.822 | 987.343 | 57.5622 | 8.1767
2020-11-27 21:00:00 | 3.222 | 15.64 | 5.361 | 29.18 | 5.7363 | 27.4876 | 5.195 | 21.55 | 0.747 | 987.641 | 57.7679 | 5.2023
2020-11-27 21:15:00 | 3.483 | 12.55 | 4.637 | 27.01 | 4.9616 | 25.4434 | 4.545 | 18.1 | 0.807 | 987.641 | 57.0843 | 5.1691
2020-11-27 21:30:00 | 3.363 | 8.29 | 4.837 | 23.58 | 5.1756 | 22.2124 | 4.176 | 11.15 | 0.654 | 987.641 | 58.1781 | 6.0041
2020-11-27 21:45:00 | 4.129 | 10.58 | 3.878 | 18.01 | 4.1495 | 16.9654 | 3.679 | 7.892 | 0.449 | 987.641 | 60.1948 | 7.9772
2020-11-27 22:00:00 | 3.207 | 8.46 | 4.947 | 23.67 | 5.2933 | 22.2971 | 4.054 | 14.58 | 0.249 | 987.492 | 60.3657 | 8.5129
2020-11-27 22:15:00 | 3.22 | 12.66 | 4.558 | 27.45 | 4.8771 | 25.8579 | 4.927 | 17.57 | 0.267 | 987.492 | 61.9723 | 12.0082
2020-11-27 22:30:00 | 4.142 | 12.76 | 5.576 | 28.68 | 5.9663 | 27.0166 | 5.162 | 15.66 | 0.348 | 987.641 | 61.5963 | 12.0895
2020-11-27 22:45:00 | 3.738 | 14.08 | 5.397 | 28.9 | 5.7748 | 27.2238 | 5.503 | 19.07 | 0.209 | 987.492 | 63.9207 | 12.762
2020-11-27 23:00:00 | 3.036 | 23.27 | 4.862 | 37.43 | 5.2023 | 35.2591 | 5.432 | 24.72 | 0.075 | 987.343 | 64.3309 | 10.8998
2020-11-27 23:15:00 | 3.409 | 20.81 | 5.108 | 38.68 | 5.4656 | 36.4366 | 5.378 | 22.47 | 0.203 | 987.343 | 63.3738 | 8.0548
2020-11-27 23:30:00 | 3.394 | 14.94 | 4.773 | 31.5 | 5.1071 | 29.673 | 4.497 | 17.15 | 0.277 | 987.789 | 63.4421 | 7.7518
2020-11-27 23:45:00 | 3.263 | 9.95 | 4.906 | 26.05 | 5.2494 | 24.5391 | 4.166 | 9.87 | 0.323 | 987.789 | 63.032 | 7.7481