## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-28 00:00:00 | 3.343 | 7.337 | 4.655 | 23.32 | 4.9809 | 21.9674 | 3.998 | 8.57 | 0.37 | 987.343 | 62.8269 | 10.0019
2020-11-28 00:15:00 | 3.327 | 10.48 | 5.108 | 26.33 | 5.4656 | 24.8029 | 4.553 | 13.2 | 0.205 | 987.492 | 63.6472 | 10.8074
2020-11-28 00:30:00 | 4.19 | 9.86 | 6.552 | 25.84 | 7.0106 | 24.3413 | 5.197 | 13.05 | 0.264 | 987.194 | 63.3738 | 15.74
2020-11-28 00:45:00 | 5.413 | 9.56 | 6.414 | 23.56 | 6.863 | 22.1935 | 5.162 | 10.68 | 0.149 | 986.748 | 65.5956 | 26.2962
2020-11-28 01:00:00 | 5.365 | 8.97 | 7.646 | 25.92 | 8.1812 | 24.4166 | 6.17 | 11.71 | -0.275 | 986.748 | 68.296 | 27.8887
2020-11-28 01:15:00 | 5.143 | 10.64 | 7.808 | 28.21 | 8.3546 | 26.5738 | 5.992 | 14.28 | -0.387 | 986.748 | 66.792 | 30.0723
2020-11-28 01:30:00 | 5.273 | 13.38 | 8.71 | 30.35 | 9.3197 | 28.5897 | 6.985 | 16.82 | -0.33 | 986.302 | 63.8523 | 26.3406
2020-11-28 01:45:00 | 5.314 | 15.76 | 8.34 | 30.3 | 8.9238 | 28.5426 | 8.06 | 20.55 | -0.284 | 986.748 | 61.1178 | 17.8683
2020-11-28 02:00:00 | 5.002 | 12.14 | 8.37 | 29 | 8.9559 | 27.318 | 7.12 | 14.19 | -0.279 | 986.451 | 59.956 | 17.7279
2020-11-28 02:15:00 | 5.222 | 13.06 | 7.831 | 28.56 | 8.3792 | 26.9035 | 6.876 | 16.4 | -0.354 | 986.451 | 61.5303 | 20.015
2020-11-28 02:30:00 | 3.983 | 15.05 | 7.375 | 31.92 | 7.8913 | 30.0686 | 6.761 | 18 | -0.532 | 986.451 | 59.2057 | 15.3669
2020-11-28 02:45:00 | 4.065 | 15.46 | 6.603 | 31.76 | 7.0652 | 29.9179 | 6.651 | 18.96 | -0.591 | 986.302 | 58.2526 | 18.5444
2020-11-28 03:00:00 | 5.023 | 13.45 | 7.938 | 29.89 | 8.4937 | 28.1564 | 6.654 | 16.59 | -0.419 | 986.154 | 58.2559 | 20.2995
2020-11-28 03:15:00 | 5.132 | 12.2 | 7.887 | 27.87 | 8.4391 | 26.2535 | 6.336 | 15.87 | -0.593 | 986.154 | 60.3759 | 24.3601
2020-11-28 03:30:00 | 5.132 | 11.53 | 7.884 | 29.09 | 8.4359 | 27.4028 | 5.814 | 15.35 | -0.739 | 986.005 | 62.0841 | 19.3647
2020-11-28 03:45:00 | 4.494 | 15.61 | 7.258 | 31.41 | 7.7661 | 29.5882 | 7.054 | 21.04 | -0.849 | 986.005 | 61.4017 | 15.3816
2020-11-28 04:00:00 | 4.106 | 18.23 | 6.596 | 35.67 | 7.0577 | 33.6011 | 6.86 | 22.19 | -0.984 | 985.559 | 59.4872 | 15.9876
2020-11-28 04:15:00 | 4.458 | 19.1 | 6.534 | 33.51 | 6.9914 | 31.5664 | 6.667 | 24.66 | -1.058 | 985.559 | 58.3248 | 12.943
2020-11-28 04:30:00 | 4.083 | 15.5 | 5.726 | 31.86 | 6.1268 | 30.0121 | 6.017 | 21.11 | -0.992 | 985.856 | 58.9402 | 10.6929
2020-11-28 04:45:00 | 3.777 | 18.54 | 5.706 | 33.67 | 6.1054 | 31.7171 | 5.758 | 24.42 | -1.121 | 985.559 | 60.8547 | 12.156
2020-11-28 05:00:00 | 4.223 | 15.85 | 6.192 | 30.64 | 6.6254 | 28.8629 | 6.112 | 20.5 | -1.092 | 986.154 | 58.3248 | 11.1917
2020-11-28 05:15:00 | 4.29 | 17.03 | 6.568 | 31.96 | 7.0278 | 30.1063 | 6.679 | 21.56 | -1.059 | 986.154 | 59.0769 | 9.3775
2020-11-28 05:30:00 | 4.068 | 16.63 | 6.107 | 32.09 | 6.5345 | 30.2288 | 6.201 | 21.28 | -1.003 | 986.154 | 58.9402 | 9.0043
2020-11-28 05:45:00 | 3.06 | 18.13 | 5.606 | 33.15 | 5.9984 | 31.2273 | 5.89 | 23.79 | -0.967 | 986.748 | 56.4786 | 4.722
2020-11-28 06:00:00 | 3.307 | 18.83 | 5.046 | 34.64 | 5.3992 | 32.6309 | 5.261 | 22.84 | -0.856 | 986.897 | 56.8205 | 4.0865
2020-11-28 06:15:00 | 3.598 | 21.11 | 5.614 | 35.82 | 6.007 | 33.7424 | 6.106 | 25.01 | -0.931 | 986.748 | 57.9145 | 4.8365
2020-11-28 06:30:00 | 3.468 | 25.14 | 5.767 | 40.34 | 6.1707 | 38.0003 | 6.183 | 30.08 | -1.015 | 987.046 | 53.5385 | 4.201
2020-11-28 06:45:00 | 3.023 | 28.67 | 4.752 | 40.66 | 5.0846 | 38.3017 | 4.978 | 33.46 | -0.883 | 987.343 | 53.7436 | 2.0137
2020-11-28 07:00:00 | 3.064 | 20.49 | 4.998 | 33.57 | 5.3479 | 31.6229 | 4.693 | 25.99 | -0.757 | 987.194 | 52.1709 | 2.6492
2020-11-28 07:15:00 | 2.444 | 20.14 | 4.504 | 28.94 | 4.8193 | 27.2615 | 4.691 | 26.99 | -0.679 | 987.343 | 51.007 | 3.0224
2020-11-28 07:30:00 | 3.634 | 19.97 | 5.325 | 30.81 | 5.6978 | 29.023 | 5.207 | 26.07 | -0.708 | 987.343 | 53.6682 | 5.1395
2020-11-28 07:45:00 | 3.505 | 14.18 | 5.657 | 26.85 | 6.053 | 25.2927 | 5.373 | 21.09 | -0.558 | 987.343 | 52.6064 | 4.3414
2020-11-28 08:00:00 | 3.072 | 19.66 | 5.489 | 32.94 | 5.8732 | 31.0295 | 5.187 | 26.52 | -0.484 | 987.789 | 54.8966 | 2.6455
2020-11-28 08:15:00 | 2.27 | 24.77 | 3.845 | 36.3 | 4.1142 | 34.1946 | 3.771 | 32.94 | -0.248 | 988.087 | 52.9823 | -0.11824
2020-11-28 08:30:00 | 1.878 | 35.47 | 2.656 | 40.47 | 2.8419 | 38.1227 | 2.877 | 49.23 | -0.276 | 987.868 | 55.9904 | -0.15888
2020-11-28 08:45:00 | 0.947 | 43.92 | 2.058 | 53.63 | 2.2021 | 50.5195 | 2.055 | 51.31 | 0.465 | 988.539 | 51.7431 | -0.25864
2020-11-28 09:00:00 | 1.36 | 58.61 | 2.157 | 72.54 | 2.308 | 68.3327 | 2.541 | 66.23 | 1.149 | 988.825 | 44.2167 | -0.25864
2020-11-28 09:15:00 | 1.191 | 41.11 | 1.905 | 42.61 | 2.0383 | 40.1386 | 1.384 | 49 | 0.961 | 988.825 | 44.285 | -0.16627
2020-11-28 09:30:00 | 1.139 | 33.21 | 2.12 | 49.15 | 2.2684 | 46.2993 | 2.136 | 38.38 | 1.175 | 989.121 | 42.1651 | -0.25864
2020-11-28 09:45:00 | 2.008 | 20.78 | 2.303 | 28.85 | 2.4642 | 27.1767 | 1.576 | 31.46 | 1.252 | 988.799 | 45.1355 | -0.24016
2020-11-28 10:00:00 | 1.896 | 28.7 | 2.313 | 39.02 | 2.4749 | 36.7568 | 1.81 | 25.79 | 1.196 | 988.823 | 45.341 | -0.24016
2020-11-28 10:15:00 | 0.607 | 73.32 | 0.821 | 100.8 | 0.87847 | 94.9536 | 1.275 | 76.74 | 1.637 | 988.522 | 43.8022 | -0.24016
2020-11-28 10:30:00 | 0.861 | 19.18 | 0.948 | 347.7 | 1.0144 | 327.533 | 0.83 | 30.93 | 1.964 | 988.229 | 55.8312 | -0.25864
2020-11-28 10:45:00 | 1.902 | 330.7 | 2.232 | 323.9 | 2.3882 | 305.114 | 1.937 | 330.2 | 1.666 | 987.932 | 59.2451 | -0.25864
2020-11-28 11:00:00 | 2.359 | 299.5 | 2.321 | 306.6 | 2.4835 | 288.817 | 0.808 | 316.8 | 1.37 | 987.92 | 57.4357 | -0.26972
2020-11-28 11:15:00 | 1.219 | 275.7 | 1.35 | 287.8 | 1.4445 | 271.108 | 0.257 | 304.3 | 1.368 | 987.635 | 56.3759 | -0.25864
2020-11-28 11:30:00 | 1.04 | 255.7 | 1.428 | 276.3 | 1.528 | 260.275 | 1.203 | 255 | 1.649 | 987.17 | 55.8983 | -0.26972
2020-11-28 11:45:00 | 1.982 | 269.6 | 1.835 | 294.1 | 1.9634 | 277.042 | 0.945 | 284.1 | 1.479 | 986.446 | 56.1031 | -0.26972
2020-11-28 12:00:00 | 1.994 | 306.1 | 2.025 | 299.9 | 2.1667 | 282.506 | 1.757 | 292.7 | 1.66 | 986.415 | 55.9648 | -0.26972
2020-11-28 12:15:00 | 1.941 | 306.3 | 2.193 | 308.3 | 2.3465 | 290.419 | 1.637 | 303.6 | 1.718 | 986.445 | 55.0767 | -0.26972
2020-11-28 12:30:00 | 1.999 | 287.6 | 1.992 | 296 | 2.1314 | 278.832 | 1.8 | 293.3 | 1.479 | 986.147 | 55.212 | -0.25864
2020-11-28 12:45:00 | 1.756 | 283.7 | 1.793 | 296 | 1.9185 | 278.832 | 1.596 | 288.6 | 1.491 | 985.827 | 54.941 | -0.25864
2020-11-28 13:00:00 | 2.513 | 290.7 | 2.318 | 303.3 | 2.4803 | 285.709 | 1.567 | 285.2 | 1.527 | 985.554 | 54.5324 | -0.24016
2020-11-28 13:15:00 | 2.16 | 311.2 | 2.428 | 319.4 | 2.598 | 300.875 | 1.823 | 313.3 | 1.444 | 984.957 | 52.827 | -0.25864
2020-11-28 13:30:00 | 0.354 | 25.76 | 1.135 | 50.98 | 1.2145 | 48.0232 | 0.734 | 40.1 | 1.484 | 984.662 | 52.0075 | -0.25864
2020-11-28 13:45:00 | 1.311 | 9.39 | 1.573 | 9.56 | 1.6831 | 9.0055 | 1.414 | 17.89 | 1.684 | 984.365 | 51.0507 | -0.25864
2020-11-28 14:00:00 | 1.354 | 18.4 | 2.065 | 33.19 | 2.2096 | 31.265 | 1.7 | 0.394 | 1.621 | 984.068 | 49.8889 | -0.26972
2020-11-28 14:15:00 | 1.336 | 14.83 | 2.612 | 26.8 | 2.7948 | 25.2456 | 2.187 | 18.5 | 1.302 | 984.068 | 49.5814 | -0.25864
2020-11-28 14:30:00 | 1.481 | 16.6 | 2.738 | 32.06 | 2.9297 | 30.2005 | 2.065 | 13.49 | 1.248 | 983.622 | 51.8367 | -0.26972
2020-11-28 14:45:00 | 1.261 | 351.8 | 1.69 | 14.18 | 1.8083 | 13.3576 | 1.882 | 340.6 | 1.377 | 983.325 | 51.7341 | -0.25864
2020-11-28 15:00:00 | 2.775 | 12.25 | 3.088 | 22.18 | 3.3042 | 20.8936 | 2.918 | 358.6 | 1.253 | 983.325 | 51.0507 | -0.25864
2020-11-28 15:15:00 | 1.882 | 339.8 | 2.086 | 354.1 | 2.232 | 333.562 | 2.202 | 350.3 | 1.206 | 983.771 | 52.0075 | -0.25864
2020-11-28 15:30:00 | 2.75 | 316.1 | 2.753 | 325.2 | 2.9457 | 306.338 | 2.327 | 322.2 | 1.138 | 983.622 | 54.472 | -0.25864
2020-11-28 15:45:00 | 3.046 | 320.3 | 2.883 | 324.2 | 3.0848 | 305.396 | 2.979 | 327 | 0.899 | 983.623 | 57.2837 | 0.096066
2020-11-28 16:00:00 | 1.793 | 5.55 | 2.016 | 27.33 | 2.1571 | 25.7449 | 2.266 | 5.358 | 0.637 | 983.009 | 57.9044 | -0.26972
2020-11-28 16:15:00 | 2.084 | 19.7 | 2.416 | 36.73 | 2.5851 | 34.5997 | 2.307 | 32.49 | 0.503 | 982.88 | 57.2893 | -0.2882
2020-11-28 16:30:00 | 1.915 | 43.67 | 2.134 | 49.54 | 2.2834 | 46.6667 | 1.698 | 69.77 | 0.542 | 982.883 | 55.5802 | -0.26972
2020-11-28 16:45:00 | 1.406 | 69.03 | 1.761 | 69.49 | 1.8843 | 65.4596 | 2.024 | 77.93 | 0.565 | 982.585 | 55.1701 | -0.28081
2020-11-28 17:00:00 | 2.891 | 115.8 | 2.965 | 128.9 | 3.1726 | 121.424 | 2.546 | 120.8 | 1.106 | 982.585 | 50.2136 | -0.26972
2020-11-28 17:15:00 | 1.625 | 144.8 | 2.032 | 154.9 | 2.1742 | 145.916 | 1.736 | 136.9 | 1.07 | 982.883 | 51.5467 | -0.25864
2020-11-28 17:30:00 | 2.51 | 164.6 | 2.855 | 177.9 | 3.0549 | 167.582 | 2.564 | 159.8 | 1.092 | 982.585 | 52.162 | -0.26972
2020-11-28 17:45:00 | 2.227 | 164.9 | 2.687 | 174.5 | 2.8751 | 164.379 | 2.493 | 163.6 | 0.868 | 982.883 | 53.7344 | -0.2882
2020-11-28 18:00:00 | 1.025 | 179.9 | 1.705 | 186.8 | 1.8243 | 175.966 | 1.826 | 170.7 | 0.756 | 982.883 | 53.2558 | -0.26972
2020-11-28 18:15:00 | 1.468 | 182.1 | 1.769 | 194.6 | 1.8928 | 183.313 | 2.233 | 173.1 | 0.892 | 982.734 | 51.8202 | -0.29928
2020-11-28 18:30:00 | 1.586 | 193.4 | 2.311 | 211.1 | 2.4728 | 198.856 | 2.355 | 182.3 | 0.833 | 983.18 | 52.3671 | -0.29928
2020-11-28 18:45:00 | 2.398 | 210.9 | 2.592 | 219.8 | 2.7734 | 207.052 | 2.421 | 209.4 | 0.777 | 983.18 | 52.9824 | -0.29928
2020-11-28 19:00:00 | 1.448 | 190.2 | 2.165 | 218.4 | 2.3165 | 205.733 | 2.467 | 195.9 | 0.884 | 983.18 | 52.4355 | -0.28081
2020-11-28 19:15:00 | 2.577 | 153.6 | 2.661 | 163.3 | 2.8473 | 153.829 | 2.498 | 158.4 | 0.814 | 982.883 | 50.6922 | -0.28081
2020-11-28 19:30:00 | 2.786 | 157.4 | 3.254 | 164.7 | 3.4818 | 155.147 | 3.407 | 165.2 | 0.766 | 982.883 | 51.8886 | -0.33623
2020-11-28 19:45:00 | 3.705 | 164 | 3.811 | 173.9 | 4.0778 | 163.814 | 3.842 | 169.6 | 0.682 | 982.883 | 49.7351 | 0.11084
2020-11-28 20:00:00 | 4.052 | 161.3 | 4.121 | 176.3 | 4.4095 | 166.075 | 4.288 | 166.2 | 0.722 | 982.585 | 51.3416 | 1.9989
2020-11-28 20:15:00 | 4.484 | 162.5 | 4.752 | 177.5 | 5.0846 | 167.205 | 4.894 | 168.6 | 0.69 | 982.585 | 52.9824 | 2.4608
2020-11-28 20:30:00 | 3.958 | 170.5 | 4.057 | 184.1 | 4.341 | 173.422 | 4.479 | 176.5 | 0.672 | 982.883 | 53.1875 | 2.4275
2020-11-28 20:45:00 | 4.282 | 163 | 4.323 | 177.6 | 4.6256 | 167.299 | 4.087 | 170.2 | 0.645 | 982.585 | 53.8711 | 2.6344
2020-11-28 21:00:00 | 4.147 | 156.3 | 4.098 | 171 | 4.3849 | 161.082 | 4.227 | 162.1 | 0.466 | 982.139 | 54.6231 | 2.1098
2020-11-28 21:15:00 | 4.343 | 159.8 | 4.763 | 170.8 | 5.0964 | 160.894 | 5.113 | 167.1 | 0.299 | 981.99 | 54.965 | 3.414
2020-11-28 21:30:00 | 4.384 | 168.7 | 4.397 | 179.4 | 4.7048 | 168.995 | 4.502 | 170.2 | 0.433 | 981.99 | 52.8457 | 3.8205
2020-11-28 21:45:00 | 4.262 | 165.5 | 4.594 | 180.8 | 4.9156 | 170.314 | 4.963 | 168.7 | 0.583 | 982.288 | 52.6406 | 5.0841
2020-11-28 22:00:00 | 4.509 | 159.7 | 4.811 | 171.7 | 5.1478 | 161.741 | 4.861 | 165.4 | 0.379 | 982.288 | 56.1272 | 4.0865
2020-11-28 22:15:00 | 4.07 | 150.6 | 4.816 | 162.5 | 5.1531 | 153.075 | 5.516 | 159.7 | 0.265 | 981.99 | 55.9221 | 7.1754
2020-11-28 22:30:00 | 4.308 | 150.1 | 4.847 | 170.5 | 5.1863 | 160.611 | 6.201 | 154.8 | 0.15 | 981.99 | 57.0843 | 13.15
2020-11-28 22:45:00 | 4.775 | 146.1 | 5.256 | 161.4 | 5.6239 | 152.039 | 6.407 | 153.1 | 0.034 | 981.99 | 55.9904 | 13.9148
2020-11-28 23:00:00 | 4.19 | 152.2 | 4.655 | 167.5 | 4.9809 | 157.785 | 5.651 | 157.9 | 0.133 | 981.99 | 57.1526 | 13.0798
2020-11-28 23:15:00 | 4.619 | 153.6 | 4.975 | 171.9 | 5.3232 | 161.93 | 5.837 | 159.6 | 0.034 | 981.693 | 57.1526 | 15.2228
2020-11-28 23:30:00 | 5.395 | 153.7 | 5.813 | 169.1 | 6.2199 | 159.292 | 6 | 159.8 | -0.024 | 981.842 | 60.4341 | 14.5577
2020-11-28 23:45:00 | 4.581 | 153.6 | 4.586 | 175.8 | 4.907 | 165.604 | 5.355 | 158.6 | -0.131 | 981.693 | 62.5535 | 13.6081