## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-29 00:00:00 | 5.556 | 151.6 | 6.064 | 166 | 6.4885 | 156.372 | 6.18 | 158.9 | -0.252 | 981.544 | 63.9551 | 12.1006
2020-11-29 00:15:00 | 5.635 | 155.2 | 6.069 | 168.4 | 6.4938 | 158.633 | 6.056 | 162.8 | -0.372 | 981.396 | 65.4264 | 14.166
2020-11-29 00:30:00 | 4.956 | 154.4 | 5.826 | 167.6 | 6.2338 | 157.879 | 6.659 | 161.1 | -0.489 | 981.098 | 66.5248 | 15.9765
2020-11-29 00:45:00 | 5.955 | 156.3 | 6.524 | 169.3 | 6.9807 | 159.481 | 6.641 | 163.3 | -0.44 | 981.098 | 67.485 | 13.8187
2020-11-29 01:00:00 | 5.398 | 157.3 | 6.238 | 170.1 | 6.6747 | 160.234 | 6.303 | 163 | -0.553 | 981.247 | 68.6837 | 15.0454
2020-11-29 01:15:00 | 4.974 | 156.1 | 5.601 | 170.4 | 5.9931 | 160.517 | 6.249 | 164 | -0.394 | 981.396 | 69.6752 | 12.2041
2020-11-29 01:30:00 | 5.556 | 158.2 | 6.23 | 169.3 | 6.6661 | 159.481 | 6.313 | 165.1 | -0.433 | 981.247 | 68.8889 | 10.6522
2020-11-29 01:45:00 | 5.258 | 155.2 | 5.808 | 167.4 | 6.2146 | 157.691 | 6.193 | 163.3 | -0.409 | 981.247 | 70.0855 | 9.7655
2020-11-29 02:00:00 | 5.515 | 152.1 | 6.064 | 163.6 | 6.4885 | 154.111 | 6.868 | 161.5 | -0.436 | 980.95 | 71.1795 | 10.1128
2020-11-29 02:15:00 | 5.153 | 150.4 | 5.709 | 161 | 6.1086 | 151.662 | 6.361 | 159.5 | -0.453 | 980.801 | 72.4786 | 10.3123
2020-11-29 02:30:00 | 4.744 | 148.5 | 5.179 | 165 | 5.5415 | 155.43 | 6.127 | 157.3 | -0.675 | 980.801 | 73.7778 | 10.837
2020-11-29 02:45:00 | 5.071 | 148.2 | 5.519 | 161.3 | 5.9053 | 151.945 | 6.096 | 155.2 | -0.629 | 980.801 | 75.3504 | 12.2632
2020-11-29 03:00:00 | 4.923 | 148 | 5.425 | 163 | 5.8048 | 153.546 | 6.282 | 156.1 | -0.622 | 980.801 | 75.9658 | 9.6546
2020-11-29 03:15:00 | 3.654 | 150.8 | 4.287 | 165.9 | 4.5871 | 156.278 | 4.629 | 158.6 | -0.554 | 980.801 | 77.3333 | 7.6151
2020-11-29 03:30:00 | 3.703 | 159.4 | 4.034 | 174.4 | 4.3164 | 164.285 | 4.51 | 166.2 | -0.54 | 980.95 | 77.1624 | 5.2762
2020-11-29 03:45:00 | 3.353 | 160.3 | 3.732 | 173.8 | 3.9932 | 163.72 | 3.853 | 166.5 | -0.46 | 981.098 | 77.0591 | 6.0337
2020-11-29 04:00:00 | 4.371 | 153 | 4.903 | 165.2 | 5.2462 | 155.618 | 5.2 | 161 | -0.406 | 980.95 | 78.6274 | 9.6251
2020-11-29 04:15:00 | 5.513 | 150.7 | 5.806 | 166.1 | 6.2124 | 156.466 | 6.129 | 159.4 | -0.368 | 980.801 | 77.7313 | 13.8224
2020-11-29 04:30:00 | 5.378 | 147 | 5.553 | 163.9 | 5.9417 | 154.394 | 6.058 | 155 | -0.385 | 980.801 | 79.851 | 18.1491
2020-11-29 04:45:00 | 5.891 | 145.2 | 6.169 | 160.1 | 6.6008 | 150.814 | 6.529 | 152.2 | -0.561 | 980.801 | 80.7421 | 22.509
2020-11-29 05:00:00 | 6.195 | 143.6 | 6.225 | 158.5 | 6.9069 | 151.568 | 6.506 | 152.4 | -0.578 | 980.801 | 79.9903 | 14.6796
2020-11-29 05:15:00 | 4.8 | 145.1 | 4.901 | 160.6 | 5.2441 | 151.285 | 5.452 | 154.5 | -0.581 | 981.396 | 80.4026 | 9.529
2020-11-29 05:30:00 | 4.453 | 148.5 | 5.016 | 162.3 | 5.3671 | 152.887 | 5.707 | 159.2 | -0.599 | 981.396 | 79.8899 | 12.6955
2020-11-29 05:45:00 | 6.095 | 153.5 | 6.616 | 167.1 | 7.0791 | 157.408 | 7.166 | 161.9 | -0.602 | 981.098 | 80.4687 | 18.1971
2020-11-29 06:00:00 | 6.613 | 150.3 | 6.667 | 163.7 | 7.1337 | 154.205 | 7.375 | 158.4 | -0.557 | 981.247 | 80.0567 | 20.366
2020-11-29 06:15:00 | 4.836 | 148.7 | 5.348 | 164.8 | 5.7224 | 155.242 | 5.964 | 156.4 | -0.556 | 981.693 | 80.3305 | 11.8678
2020-11-29 06:30:00 | 4.522 | 153.4 | 4.967 | 171.5 | 5.3147 | 161.553 | 5.409 | 160.9 | -0.556 | 981.99 | 79.9191 | 7.6705
2020-11-29 06:45:00 | 3.914 | 152.7 | 4.295 | 170.2 | 4.5957 | 160.328 | 5.103 | 159.9 | -0.483 | 982.139 | 80.3295 | 11.2693
2020-11-29 07:00:00 | 4.816 | 146.4 | 5.197 | 161 | 5.5608 | 151.662 | 4.864 | 155.6 | -0.351 | 982.288 | 82.2435 | 9.4921
2020-11-29 07:15:00 | 4.532 | 149.4 | 4.806 | 162.5 | 5.1424 | 153.075 | 5.238 | 154.6 | -0.28 | 982.288 | 82.7893 | 11.6314
2020-11-29 07:30:00 | 4.111 | 144.9 | 4.558 | 160.9 | 4.8771 | 151.568 | 4.856 | 152.2 | -0.268 | 982.437 | 83.4046 | 8.8861
2020-11-29 07:45:00 | 3.958 | 146.6 | 4.453 | 162.1 | 4.7647 | 152.698 | 4.507 | 155 | -0.206 | 982.585 | 84.0199 | 7.2271
2020-11-29 08:00:00 | 3.886 | 152.1 | 4.141 | 170.5 | 4.4309 | 160.611 | 3.893 | 159.4 | -0.142 | 982.734 | 84.2933 | 7.7481
2020-11-29 08:15:00 | 3.789 | 152.8 | 3.84 | 167.1 | 4.1088 | 157.408 | 3.603 | 158.2 | -0.113 | 982.883 | 83.0628 | 5.9524
2020-11-29 08:30:00 | 3.925 | 157.9 | 4.121 | 174.3 | 4.4095 | 164.191 | 4.059 | 166.2 | -0.034 | 983.18 | 82.6526 | 5.4868
2020-11-29 08:45:00 | 4.336 | 166.1 | 4.476 | 180.1 | 4.7893 | 169.654 | 4.11 | 174.1 | 0 | 983.329 | 81.5929 | 6.4032
2020-11-29 09:00:00 | 4.869 | 163.3 | 4.826 | 175.9 | 5.1638 | 165.698 | 4.4 | 171.4 | 0.062 | 983.775 | 81.5587 | 6.3773
2020-11-29 09:15:00 | 4.267 | 171.8 | 4.039 | 179.4 | 4.3217 | 168.995 | 3.641 | 175.1 | 0.217 | 983.775 | 81.9689 | 5.1174
2020-11-29 09:30:00 | 4.67 | 164 | 4.775 | 174.6 | 5.1093 | 164.473 | 4.418 | 170.5 | 0.33 | 983.775 | 81.832 | 5.7972
2020-11-29 09:45:00 | 4.463 | 161.4 | 4.484 | 173.8 | 4.7979 | 163.72 | 4.212 | 170.7 | 0.429 | 983.923 | 82.0026 | 6.1039
2020-11-29 10:00:00 | 4.545 | 164.5 | 4.486 | 176.5 | 4.8 | 166.263 | 3.87 | 174.9 | 0.55 | 984.369 | 83.0621 | 6.0189
2020-11-29 10:15:00 | 4.76 | 160.8 | 4.619 | 174.5 | 4.9423 | 164.379 | 4.298 | 169.7 | 0.534 | 984.072 | 82.174 | 5.4166
2020-11-29 10:30:00 | 4.126 | 160.1 | 4.244 | 175.9 | 4.5411 | 165.698 | 3.771 | 167.8 | 0.613 | 984.047 | 81.0118 | 3.8907
2020-11-29 10:45:00 | 4.476 | 155.5 | 4.231 | 172.3 | 4.5272 | 162.307 | 4.176 | 162.8 | 0.697 | 983.681 | 81.4866 | 4.9696
2020-11-29 11:00:00 | 4.338 | 154 | 4.18 | 171.1 | 4.4726 | 161.176 | 3.87 | 164.9 | 0.79 | 983.626 | 82.2631 | 3.6579
2020-11-29 11:15:00 | 4.034 | 152.8 | 3.87 | 165.4 | 4.1409 | 155.807 | 3.096 | 162.9 | 1.016 | 983.771 | 81.8441 | 2.0728
2020-11-29 11:30:00 | 4.157 | 153.3 | 4.077 | 165.9 | 4.3624 | 156.278 | 3.038 | 162.8 | 1.156 | 983.92 | 82.1461 | 2.0248
2020-11-29 11:45:00 | 3.618 | 155.5 | 3.656 | 170.2 | 3.9119 | 160.328 | 2.933 | 168.4 | 1.194 | 983.92 | 82.2826 | 1.1306
2020-11-29 12:00:00 | 2.931 | 140.6 | 2.763 | 160.6 | 2.9564 | 151.285 | 2.36 | 156.4 | 1.517 | 984.068 | 80.7791 | -0.23278
2020-11-29 12:15:00 | 2.548 | 160.3 | 2.418 | 163.7 | 2.5873 | 154.205 | 1.756 | 190 | 1.733 | 983.771 | 79.959 | -0.30298
2020-11-29 12:30:00 | 2.285 | 186.8 | 2.318 | 209.1 | 2.4803 | 196.972 | 2.25 | 185.2 | 2.098 | 983.771 | 76.4053 | -0.26972
2020-11-29 12:45:00 | 2.359 | 191.5 | 1.986 | 190.7 | 2.125 | 179.639 | 1.521 | 201.1 | 2.247 | 984.062 | 76.5369 | -0.28081
2020-11-29 13:00:00 | 2.314 | 199.8 | 1.848 | 210.1 | 1.9774 | 197.914 | 1.584 | 206.2 | 2.47 | 984.052 | 75.7141 | -0.28081
2020-11-29 13:15:00 | 1.552 | 163.5 | 1.083 | 198.6 | 1.1588 | 187.081 | 0.723 | 191.2 | 2.688 | 984.067 | 74.8287 | -0.28081
2020-11-29 13:30:00 | 2.051 | 225.9 | 2.235 | 220.1 | 2.3914 | 207.334 | 1.863 | 215.4 | 2.861 | 984.353 | 75.3275 | -0.26972
2020-11-29 13:45:00 | 2.714 | 190.7 | 2.316 | 199.1 | 2.4781 | 187.552 | 1.915 | 212.3 | 2.899 | 984.2 | 75.1846 | -0.25864
2020-11-29 14:00:00 | 2.348 | 215.3 | 2.049 | 203.8 | 2.1924 | 191.98 | 1.628 | 238.2 | 2.826 | 984.095 | 75.4227 | -0.25864
2020-11-29 14:15:00 | 1.756 | 201.5 | 1.686 | 222 | 1.804 | 209.124 | 1.067 | 231.1 | 2.908 | 984.228 | 73.6806 | -0.26972
2020-11-29 14:30:00 | 0.969 | 268.4 | 0.965 | 281.6 | 1.0326 | 265.267 | 0.67 | 258.7 | 3.15 | 984.545 | 71.9385 | -0.25864
2020-11-29 14:45:00 | 1.494 | 299 | 1.789 | 304.1 | 1.9142 | 286.462 | 1.614 | 299.9 | 2.868 | 984.658 | 72.4168 | -0.25864
2020-11-29 15:00:00 | 1.259 | 316.5 | 1.591 | 309.8 | 1.7024 | 291.832 | 1.191 | 303.1 | 2.808 | 984.51 | 74.1247 | -0.25864
2020-11-29 15:15:00 | 0.155 | 307.2 | 0.419 | 329.7 | 0.44833 | 310.577 | 0.699 | 303.2 | 2.571 | 984.367 | 76.7891 | -0.24016
2020-11-29 15:30:00 | 0.946 | 0.1 | 1.056 | 356.9 | 1.1299 | 336.2 | 0.893 | 303.4 | 2.288 | 984.195 | 79.0611 | -0.25864
2020-11-29 15:45:00 | 1.138 | 0.098 | 1.582 | 3.111 | 1.6927 | 2.9306 | 1.009 | 303.8 | 1.967 | 983.919 | 80.976 | -0.26972
2020-11-29 16:00:00 | 0.71 | 7.597 | 1.569 | 18.55 | 1.6788 | 17.4741 | 1.143 | 314.6 | 1.757 | 983.768 | 80.9156 | -0.25864
2020-11-29 16:15:00 | 0.513 | 26.15 | 0.888 | 28.89 | 0.95016 | 27.2144 | 0.071 | 328.5 | 1.817 | 983.473 | 80.5741 | -0.26972
2020-11-29 16:30:00 | 0 | 26.15 | 0 | 28.89 | 0 | 27.2144 | 0.228 | 328.5 | 1.759 | 983.489 | 81.4799 | -0.26972
2020-11-29 16:45:00 | 0.294 | 144.2 | 0.274 | 150.1 | 0.29318 | 141.394 | 0.049 | 328.4 | 1.614 | 983.768 | 81.9688 | -0.26972
2020-11-29 17:00:00 | 0 | 144.2 | 0 | 150.1 | 0 | 141.394 | 0.453 | 328.4 | 1.673 | 984.072 | 82.2418 | -0.25864
2020-11-29 17:15:00 | 0.945 | 144.1 | 0.913 | 150.1 | 0.97691 | 141.394 | 1.026 | 328.4 | 1.742 | 984.072 | 81.8322 | -0.26972
2020-11-29 17:30:00 | 2.206 | 132.3 | 2.183 | 149.4 | 2.3358 | 140.735 | 2.027 | 328.6 | 1.703 | 984.369 | 81.2169 | -0.2882
2020-11-29 17:45:00 | 2.385 | 134.1 | 2.487 | 150 | 2.6611 | 141.3 | 2.355 | 134.8 | 1.578 | 984.369 | 80.67 | -0.26972
2020-11-29 18:00:00 | 2.699 | 129.8 | 2.993 | 146.9 | 3.2025 | 138.38 | 3.03 | 131.9 | 1.745 | 984.369 | 77.5936 | -0.2882
2020-11-29 18:15:00 | 1.933 | 123.4 | 2.485 | 136.8 | 2.6589 | 128.866 | 2.215 | 129.7 | 1.824 | 984.667 | 77.4568 | -0.26972
2020-11-29 18:30:00 | 0.835 | 124.7 | 1.499 | 135.1 | 1.6039 | 127.264 | 1.296 | 129.4 | 1.968 | 984.815 | 75.4059 | -0.25864
2020-11-29 18:45:00 | 0.267 | 137.3 | 1.324 | 139.4 | 1.4167 | 131.315 | 1.422 | 129.5 | 1.723 | 984.964 | 76.8416 | -0.2882
2020-11-29 19:00:00 | 0 | 136.3 | 0.327 | 139.3 | 0.34989 | 131.221 | 1.097 | 129.5 | 1.787 | 984.964 | 76.2946 | -0.27711
2020-11-29 19:15:00 | 0 | 136.3 | 0 | 138.1 | 0 | 130.09 | 0.397 | 129.5 | 1.772 | 985.261 | 73.8335 | -0.27711
2020-11-29 19:30:00 | 0 | 136.3 | 0 | 138.1 | 0 | 130.09 | 0.721 | 129.5 | 1.885 | 985.261 | 74.1753 | -0.2882
2020-11-29 19:45:00 | 0.052 | 148.1 | 0.789 | 138.1 | 0.84423 | 130.09 | 0.87 | 129.5 | 1.643 | 985.559 | 75.3717 | -0.27711
2020-11-29 20:00:00 | 0.022 | 177 | 0.714 | 139.5 | 0.76398 | 131.409 | 1.489 | 130.4 | 1.698 | 985.559 | 75.2008 | -0.29928
2020-11-29 20:15:00 | 0.316 | 181.1 | 1.135 | 139.5 | 1.2145 | 131.409 | 1.296 | 130.4 | 1.77 | 985.856 | 75.5426 | -0.28081
2020-11-29 20:30:00 | 0.774 | 181.2 | 0.988 | 139.5 | 1.0572 | 131.409 | 1.074 | 130.4 | 1.705 | 986.154 | 77.0808 | -0.26972
2020-11-29 20:45:00 | 0.052 | 232.6 | 0.992 | 139.5 | 1.0614 | 131.409 | 1.227 | 130.4 | 1.653 | 986.154 | 74.3804 | -0.29928
2020-11-29 21:00:00 | 0.123 | 246.3 | 0.818 | 260.6 | 0.87526 | 245.485 | 1.281 | 130.8 | 1.776 | 986.154 | 76.4656 | -0.26972
2020-11-29 21:15:00 | 0.536 | 246.3 | 0.06 | 261.3 | 0.0642 | 246.145 | 0.797 | 130.8 | 1.571 | 986.154 | 77.7987 | -0.28081
2020-11-29 21:30:00 | 0.94 | 293.1 | 1.01 | 326 | 1.0807 | 307.092 | 1.293 | 130.8 | 1.5 | 986.302 | 78.0038 | -0.2882
2020-11-29 21:45:00 | 1.604 | 334.7 | 1.477 | 345.5 | 1.5804 | 325.461 | 1.441 | 130.5 | 1.435 | 986.451 | 78.2772 | -0.27711
2020-11-29 22:00:00 | 1.573 | 327.4 | 1.679 | 345.4 | 1.7965 | 325.367 | 1.489 | 130.5 | 1.499 | 986.451 | 78.8241 | -0.29928
2020-11-29 22:15:00 | 1.678 | 325.8 | 1.485 | 344.7 | 1.589 | 324.707 | 1.808 | 130.5 | 1.408 | 986.451 | 80.5674 | -0.29928
2020-11-29 22:30:00 | 2.158 | 320.8 | 2.088 | 345.2 | 2.2342 | 325.178 | 2.029 | 130.3 | 1.309 | 986.451 | 81.3536 | -0.29928
2020-11-29 22:45:00 | 2.388 | 322.2 | 2.51 | 346.3 | 2.6857 | 326.215 | 2.472 | 323.6 | 1.363 | 986.451 | 80.7383 | -0.29928
2020-11-29 23:00:00 | 2.98 | 330.9 | 3.257 | 355.7 | 3.485 | 335.069 | 3.438 | 324.1 | 1.194 | 986.154 | 83.6096 | -0.29928
2020-11-29 23:15:00 | 3.128 | 331.1 | 3.443 | 353.4 | 3.684 | 332.903 | 3.715 | 325.6 | 1.071 | 986.154 | 84.0198 | -0.29928
2020-11-29 23:30:00 | 2.926 | 333.2 | 3.234 | 354 | 3.4604 | 333.468 | 3.46 | 326.7 | 1.021 | 986.154 | 85.2504 | -0.29928
2020-11-29 23:45:00 | 2.939 | 329.6 | 3.321 | 351.3 | 3.5535 | 330.925 | 3.517 | 328.6 | 1.089 | 986.451 | 84.1565 | -0.29928