## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-30 00:00:00 | 3.327 | 336 | 3.732 | 14.88 | 3.9932 | 14.017 | 3.906 | 336.1 | 0.965 | 986.451 | 85.6606 | -0.24016
2020-11-30 00:15:00 | 3.437 | 352.9 | 3.254 | 12.12 | 3.4818 | 11.417 | 3.87 | 340.4 | 0.788 | 986.451 | 87.6431 | -0.18105
2020-11-30 00:30:00 | 3.046 | 0.239 | 3.699 | 19.39 | 3.9579 | 18.2654 | 3.766 | 354.2 | 0.609 | 986.302 | 89.0788 | -0.2143
2020-11-30 00:45:00 | 2.865 | 5.597 | 3.584 | 25.41 | 3.8349 | 23.9362 | 3.15 | 356.5 | 0.601 | 986.302 | 88.9421 | -0.23278
2020-11-30 01:00:00 | 2.038 | 18.08 | 3.262 | 35.38 | 3.4903 | 33.328 | 3.539 | 15.36 | 0.49 | 986.302 | 89.0104 | -0.18844
2020-11-30 01:15:00 | 2.028 | 24.48 | 3.339 | 43.09 | 3.5727 | 40.5908 | 3.888 | 22.45 | 0.448 | 986.154 | 89.6941 | -0.088676
2020-11-30 01:30:00 | 1.971 | 26.21 | 3.154 | 42.38 | 3.3748 | 39.922 | 3.758 | 25.69 | 0.42 | 986.154 | 89.0788 | -0.12932
2020-11-30 01:45:00 | 1.775 | 23.54 | 2.6 | 42.49 | 2.782 | 40.0256 | 3.402 | 25.65 | 0.291 | 986.154 | 89.6599 | -0.23278
2020-11-30 02:00:00 | 2.63 | 16.69 | 3.308 | 32.72 | 3.5396 | 30.8222 | 3.679 | 19.72 | 0.39 | 986.154 | 88.8737 | -0.15888
2020-11-30 02:15:00 | 2.605 | 15.29 | 3.512 | 32.97 | 3.7578 | 31.0577 | 3.822 | 18.21 | 0.401 | 986.154 | 89.5231 | 3.7253e-09
2020-11-30 02:30:00 | 2.783 | 13.8 | 3.699 | 32.13 | 3.9579 | 30.2665 | 3.634 | 17.82 | 0.325 | 986.154 | 89.8992 | 0.036949
2020-11-30 02:45:00 | 2.952 | 12.27 | 4.031 | 30.82 | 4.3132 | 29.0324 | 3.771 | 14.8 | 0.269 | 985.856 | 90.3777 | 0.63551
2020-11-30 03:00:00 | 3.245 | 8.69 | 4.013 | 27.37 | 4.2939 | 25.7825 | 4.14 | 13.4 | 0.213 | 985.856 | 89.489 | 1.223
2020-11-30 03:15:00 | 3.021 | 9.48 | 4.423 | 26.82 | 4.7326 | 25.2644 | 4.105 | 12.86 | 0.297 | 985.856 | 86.4809 | 1.3966
2020-11-30 03:30:00 | 3.08 | 10.34 | 4.144 | 28.26 | 4.4341 | 26.6209 | 4.008 | 13.65 | 0.341 | 985.856 | 84.1566 | 1.1971
2020-11-30 03:45:00 | 2.37 | 24.22 | 3.725 | 39.06 | 3.9857 | 36.7945 | 4.344 | 24.38 | 0.366 | 986.005 | 80.6701 | 0.73158
2020-11-30 04:00:00 | 2.483 | 25.88 | 3.75 | 41.63 | 4.0125 | 39.2155 | 4.301 | 27.71 | 0.431 | 986.154 | 81.1144 | -0.088676
2020-11-30 04:15:00 | 1.235 | 41.06 | 1.853 | 54.31 | 1.9827 | 51.16 | 2.264 | 32.43 | 0.404 | 986.154 | 79.9522 | -0.31776
2020-11-30 04:30:00 | 1.29 | 67.77 | 1.899 | 84.4 | 2.0319 | 79.5048 | 2.294 | 55.97 | 0.417 | 986.154 | 77.4599 | -0.31776
2020-11-30 04:45:00 | 3.036 | 43.26 | 3.558 | 61.06 | 3.8071 | 57.5185 | 3.532 | 46.1 | 0.406 | 986.451 | 80.471 | -0.29928
2020-11-30 05:00:00 | 1.067 | 33.18 | 3.316 | 44.88 | 3.5481 | 42.277 | 3.606 | 40.32 | 0.129 | 986.748 | 84.0922 | -0.29928
2020-11-30 05:15:00 | 2.122 | 38.43 | 2.403 | 56.56 | 2.5712 | 53.2795 | 2.742 | 45 | 0.267 | 986.897 | 82.7948 | -0.29928
2020-11-30 05:30:00 | 1.701 | 84.1 | 1.776 | 90.6 | 1.9003 | 85.3452 | 2.271 | 77.68 | 0.271 | 987.046 | 81.9455 | -0.29928
2020-11-30 05:45:00 | 1.979 | 64.09 | 2.684 | 81.8 | 2.8719 | 77.0556 | 3.443 | 68.35 | 0.265 | 987.046 | 80.6818 | -0.29928
2020-11-30 06:00:00 | 2.628 | 46.66 | 3.5 | 56.99 | 3.745 | 53.6846 | 3.753 | 51.99 | 0.242 | 987.046 | 81.0915 | -0.26233
2020-11-30 06:15:00 | 1.707 | 42.81 | 3.904 | 51.31 | 4.1773 | 48.334 | 4.321 | 52.51 | -0.207 | 987.046 | 85.1279 | 0.18474
2020-11-30 06:30:00 | 2.651 | 47.26 | 3.86 | 59.7 | 4.1302 | 56.2374 | 4.303 | 56.52 | 0 | 987.046 | 83.3493 | 0.084981
2020-11-30 06:45:00 | 2.201 | 50.66 | 3.479 | 60.57 | 3.7225 | 57.0569 | 4.158 | 60.44 | -0.255 | 987.343 | 83.2738 | 0.53945
2020-11-30 07:00:00 | 1.628 | 64.33 | 2.344 | 84.1 | 2.5081 | 79.2222 | 3.086 | 72.22 | 0.034 | 987.641 | 80.877 | 0.11084
2020-11-30 07:15:00 | 1.162 | 46.79 | 1.72 | 58.77 | 1.8404 | 55.3613 | 2.312 | 55.19 | 0.221 | 987.938 | 79.3027 | -0.096066
2020-11-30 07:30:00 | 1.452 | 63.01 | 1.833 | 63.18 | 1.9613 | 59.5156 | 2.618 | 75.81 | 0.547 | 988.384 | 76.7049 | -0.2882
2020-11-30 07:45:00 | 2.237 | 63.99 | 2.791 | 76.45 | 2.9864 | 72.0159 | 3.313 | 69.15 | 0.742 | 988.443 | 77.5922 | -0.11084
2020-11-30 08:00:00 | 0.705 | 60.13 | 1.546 | 51.88 | 1.6542 | 48.871 | 1.749 | 53.66 | 1.049 | 988.677 | 74.9368 | -0.1404
2020-11-30 08:15:00 | 1.415 | 51.44 | 2.367 | 58.71 | 2.5327 | 55.3048 | 2.485 | 64.45 | 1.08 | 988.974 | 74.4896 | -0.24016
2020-11-30 08:30:00 | 1.418 | 54.12 | 1.815 | 63.92 | 1.9421 | 60.2126 | 2.284 | 69.04 | 1.587 | 989.382 | 73.7276 | -0.18844
2020-11-30 08:45:00 | 2.215 | 63.58 | 2.467 | 78.13 | 2.6397 | 73.5985 | 2.605 | 67.36 | 1.881 | 989.716 | 68.796 | -0.26603
2020-11-30 09:00:00 | 0.744 | 59.44 | 1.519 | 79.8 | 1.6253 | 75.1716 | 2.293 | 69.97 | 2.765 | 989.859 | 61.8275 | -0.29928
2020-11-30 09:15:00 | 0.709 | 12.46 | 0.604 | 13.29 | 0.64628 | 12.5192 | 0.252 | 91 | 3.61 | 990.305 | 56.3503 | -0.29928
2020-11-30 09:30:00 | 1.653 | 266.2 | 1.614 | 271.5 | 1.727 | 255.753 | 1.039 | 303.9 | 3.266 | 990.043 | 64.2309 | -0.26972
2020-11-30 09:45:00 | 1.462 | 265.9 | 0.874 | 305.2 | 0.93518 | 287.498 | 0.31 | 270.4 | 2.89 | 990.002 | 67.4065 | -0.28081
2020-11-30 10:00:00 | 2.1 | 207.2 | 1.891 | 219.4 | 2.0234 | 206.675 | 0.864 | 239.4 | 3.03 | 990.058 | 66.2455 | -0.28081
2020-11-30 10:15:00 | 1.688 | 297.1 | 1.894 | 297.5 | 2.0266 | 280.245 | 1.537 | 291.3 | 2.844 | 990.293 | 73.1091 | -0.25864
2020-11-30 10:30:00 | 1.311 | 5.072 | 1.752 | 336.6 | 1.8746 | 317.077 | 1.966 | 10.13 | 3.159 | 990.007 | 73.1491 | -0.2882
2020-11-30 10:45:00 | 0.833 | 3.896 | 1.436 | 343.7 | 1.5365 | 323.765 | 1.195 | 6.87 | 3.058 | 989.859 | 73.4405 | -0.26972
2020-11-30 11:00:00 | 1.663 | 16.24 | 1.819 | 352.2 | 1.9463 | 331.772 | 1.519 | 6.067 | 3.31 | 989.71 | 76.5158 | -0.26972
2020-11-30 11:15:00 | 1.142 | 11.26 | 1.76 | 31.87 | 1.8832 | 30.0215 | 1.484 | 10.63 | 2.949 | 989.561 | 78.8727 | -0.26972
2020-11-30 11:30:00 | 0.906 | 33.23 | 1.518 | 19.81 | 1.6243 | 18.661 | 1.012 | 10.2 | 2.849 | 989.116 | 72.6217 | -0.25125
2020-11-30 11:45:00 | 0.484 | 20.07 | 1.449 | 27.13 | 1.5504 | 25.5565 | 0.578 | 16.34 | 3.019 | 989.116 | 75.2861 | -0.26972
2020-11-30 12:00:00 | 0.719 | 1.188 | 1.619 | 24.45 | 1.7323 | 23.0319 | 1.078 | 338.5 | 2.735 | 988.67 | 70.5038 | -0.24016
2020-11-30 12:15:00 | 1.18 | 1.709 | 1.558 | 351.6 | 1.6671 | 331.207 | 1.486 | 359.5 | 3.411 | 988.818 | 68.1127 | -0.26972
2020-11-30 12:30:00 | 2.428 | 346.9 | 2.142 | 347.5 | 2.2919 | 327.345 | 1.986 | 340.4 | 3.028 | 988.521 | 63.9453 | -0.26972
2020-11-30 12:45:00 | 1.895 | 321.4 | 2.03 | 320.6 | 2.1721 | 302.005 | 1.427 | 324.2 | 2.633 | 988.373 | 62.7839 | -0.26972
2020-11-30 13:00:00 | 1.749 | 312.2 | 2.129 | 320.3 | 2.278 | 301.723 | 1.612 | 332 | 2.827 | 988.1 | 60.1937 | -0.26972
2020-11-30 13:15:00 | 1.96 | 296.3 | 1.833 | 303 | 1.9613 | 285.426 | 1.3 | 323.6 | 2.552 | 988.228 | 60.4771 | -0.26972
2020-11-30 13:30:00 | 1.51 | 292.1 | 1.425 | 314.3 | 1.5248 | 296.071 | 0.674 | 322.8 | 2.519 | 987.932 | 59.5204 | -0.26972
2020-11-30 13:45:00 | 0.748 | 333.8 | 1.287 | 315.3 | 1.3771 | 297.013 | 1.114 | 323.9 | 2.719 | 987.932 | 58.9053 | -0.26972
2020-11-30 14:00:00 | 1.609 | 308.4 | 1.871 | 305 | 2.002 | 287.31 | 1.303 | 323.5 | 2.655 | 988.209 | 58.3586 | -0.26972
2020-11-30 14:15:00 | 1.283 | 332.3 | 1.033 | 305.4 | 1.1053 | 287.687 | 0.609 | 323.6 | 2.706 | 987.626 | 58.3568 | -0.2882
2020-11-30 14:30:00 | 0.375 | 357.1 | 0.41 | 348.6 | 0.4387 | 328.381 | 0.467 | 324.3 | 2.766 | 987.617 | 56.9932 | -0.26972
2020-11-30 14:45:00 | 0.571 | 4.381 | 1.066 | 9.55 | 1.1406 | 8.9961 | 1.01 | 324.5 | 2.577 | 987.578 | 57.4401 | -0.28081
2020-11-30 15:00:00 | 0.451 | 15.95 | 0.475 | 28.83 | 0.50825 | 27.1579 | 1.167 | 345.6 | 2.57 | 987.635 | 58.773 | -0.28081
2020-11-30 15:15:00 | 1.936 | 357.4 | 2.175 | 23.21 | 2.3272 | 21.8638 | 2.304 | 348.4 | 2.456 | 987.635 | 58.3632 | -0.31037
2020-11-30 15:30:00 | 3.524 | 353.7 | 3.5 | 10.22 | 3.745 | 9.6272 | 3.741 | 353.5 | 2.188 | 987.635 | 59.2517 | -0.044338
2020-11-30 15:45:00 | 3.641 | 15.01 | 3.402 | 17.21 | 3.6401 | 16.2118 | 3.883 | 3.019 | 2.031 | 987.635 | 59.0808 | 0.044338
2020-11-30 16:00:00 | 3.554 | 8.83 | 3.088 | 16.14 | 3.3042 | 15.2039 | 3.048 | 5.283 | 1.959 | 987.635 | 59.3883 | -0.11824
2020-11-30 16:15:00 | 1.548 | 9.85 | 2.771 | 24.78 | 2.965 | 23.3428 | 2.612 | 17.79 | 1.839 | 987.635 | 57.9532 | -0.21061
2020-11-30 16:30:00 | 1.172 | 17.25 | 2.528 | 26.04 | 2.705 | 24.5297 | 2.572 | 18.43 | 1.826 | 987.635 | 58.6413 | -0.18844
2020-11-30 16:45:00 | 1.269 | 12.64 | 1.856 | 25.63 | 1.9859 | 24.1435 | 2.368 | 18.5 | 1.819 | 987.635 | 57.8964 | -0.25494
2020-11-30 17:00:00 | 1.971 | 6.047 | 1.756 | 25.17 | 1.8789 | 23.7101 | 2.279 | 18.51 | 2.026 | 987.932 | 54.9592 | -0.26603
2020-11-30 17:15:00 | 2.112 | 16.75 | 2.579 | 27.64 | 2.7595 | 26.0369 | 2.223 | 26.15 | 2.046 | 987.965 | 53.5938 | -0.26972
2020-11-30 17:30:00 | 2.117 | 29.6 | 2.51 | 37.55 | 2.6857 | 35.3721 | 2.111 | 41.49 | 2.038 | 987.971 | 55.3027 | -0.26972
2020-11-30 17:45:00 | 2.056 | 44.64 | 2.635 | 52.69 | 2.8194 | 49.634 | 2.202 | 61.3 | 1.965 | 988.2 | 53.8014 | -0.29928
2020-11-30 18:00:00 | 2.16 | 54.37 | 2.306 | 65.07 | 2.4674 | 61.2959 | 2.406 | 62.94 | 2.26 | 988.193 | 52.297 | -0.29928
2020-11-30 18:15:00 | 1.798 | 39.75 | 2.446 | 52.03 | 2.6172 | 49.0123 | 2.393 | 52.14 | 2.359 | 988.374 | 53.2187 | -0.29928
2020-11-30 18:30:00 | 2.783 | 17.88 | 2.781 | 31.62 | 2.9757 | 29.786 | 3.089 | 23.98 | 2.061 | 988.291 | 56.4673 | -0.31037
2020-11-30 18:45:00 | 2.125 | 27.93 | 2.958 | 31.78 | 3.1651 | 29.9368 | 3.18 | 31.57 | 2.006 | 988.034 | 55.373 | -0.29928
2020-11-30 19:00:00 | 1.54 | 34.78 | 2.924 | 44.94 | 3.1287 | 42.3335 | 2.997 | 39.33 | 2.149 | 988.385 | 51.0682 | -0.29928
2020-11-30 19:15:00 | 1.543 | 28.79 | 2.339 | 48.69 | 2.5027 | 45.866 | 2.121 | 35.31 | 2.522 | 988.388 | 49.7351 | -0.29928
2020-11-30 19:30:00 | 1.839 | 21.7 | 2.173 | 39.54 | 2.3251 | 37.2467 | 1.693 | 35.01 | 2.563 | 988.622 | 49.9735 | -0.28081
2020-11-30 19:45:00 | 1.851 | 24.28 | 2.053 | 35.97 | 2.1967 | 33.8837 | 1.497 | 42.49 | 2.507 | 988.851 | 47.7828 | -0.2882
2020-11-30 20:00:00 | 2.239 | 15.77 | 2.584 | 35.32 | 2.7649 | 33.2714 | 1.716 | 26.79 | 2.603 | 988.825 | 48.4637 | -0.26972
2020-11-30 20:15:00 | 2.566 | 7.837 | 2.004 | 34.86 | 2.1443 | 32.8381 | 1.624 | 10.33 | 2.587 | 989.122 | 46.8877 | -0.28081
2020-11-30 20:30:00 | 2.089 | 5.222 | 2.096 | 34.45 | 2.2427 | 32.4519 | 1.517 | 12.09 | 2.416 | 988.974 | 47.8433 | -0.2882
2020-11-30 20:45:00 | 1.994 | 10.42 | 2.464 | 34.94 | 2.6365 | 32.9135 | 1.41 | 15.79 | 2.196 | 989.122 | 46.1352 | -0.2882
2020-11-30 21:00:00 | 2.262 | 10.4 | 2.331 | 34.94 | 2.4942 | 32.9135 | 1.127 | 13.91 | 2.847 | 988.974 | 45.9265 | -0.28081
2020-11-30 21:15:00 | 1.877 | 18.1 | 2.919 | 35.84 | 3.1233 | 33.7613 | 2.46 | 21.87 | 2.607 | 988.825 | 47.6349 | -0.2882
2020-11-30 21:30:00 | 2.27 | 23.35 | 3.459 | 40.06 | 3.7011 | 37.7365 | 2.987 | 27.43 | 2.444 | 988.825 | 48.7272 | -0.2882
2020-11-30 21:45:00 | 1.839 | 25.39 | 2.958 | 38.94 | 3.1651 | 36.6815 | 2.829 | 27.8 | 2.472 | 988.825 | 48.8638 | -0.29928
2020-11-30 22:00:00 | 0.654 | 57.25 | 1.748 | 90.3 | 1.8704 | 85.0626 | 2.108 | 43.37 | 2.412 | 988.825 | 49.4106 | -0.29928
2020-11-30 22:15:00 | 1.897 | 53.08 | 1.7 | 72.83 | 1.819 | 68.6059 | 1.413 | 62.38 | 2.821 | 988.825 | 47.6337 | -0.28081
2020-11-30 22:30:00 | 1.03 | 38.33 | 1.587 | 53.32 | 1.6981 | 50.2274 | 0.989 | 59.25 | 3.02 | 988.825 | 46.472 | -0.26972
2020-11-30 22:45:00 | 0.625 | 24.75 | 0.661 | 51.45 | 0.70727 | 48.4659 | 0.151 | 59.29 | 2.989 | 988.825 | 46.5402 | -0.2882
2020-11-30 23:00:00 | 0 | 80.4 | 0.023 | 52.49 | 0.02461 | 49.4456 | 0.398 | 59.44 | 3.057 | 988.974 | 46.5402 | -0.2882
2020-11-30 23:15:00 | 0 | 134.1 | 0.15 | 142.5 | 0.1605 | 134.235 | 0.456 | 59.7 | 3.056 | 989.122 | 47.1553 | -0.28081
2020-11-30 23:30:00 | 0.51 | 134.1 | 0.612 | 142.5 | 0.65484 | 134.235 | 1.288 | 59.8 | 2.993 | 988.825 | 47.6679 | -0.29928
2020-11-30 23:45:00 | 0 | 122.2 | 0.019 | 142.5 | 0.02033 | 134.235 | 1.309 | 61.69 | 2.927 | 988.825 | 48.1804 | -0.2882