## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-01 00:00:00 | 0 | 112.8 | 0.015 | 142.5 | 0.01605 | 134.235 | 1.418 | 61.67 | 2.925 | 988.825 | 48.0438 | -0.31037
2020-12-01 00:15:00 | 1.169 | 128.7 | 1.643 | 139.2 | 1.758 | 131.126 | 1.367 | 61.71 | 2.84 | 988.528 | 48.8638 | -0.35101
2020-12-01 00:30:00 | 0.874 | 118.6 | 0.955 | 137.7 | 1.0218 | 129.713 | 0.965 | 63.27 | 2.647 | 988.379 | 50.0256 | 1.2747
2020-12-01 00:45:00 | 0.821 | 116.7 | 0.995 | 119.1 | 1.0647 | 112.192 | 1.254 | 73.37 | 2.33 | 988.23 | 51.0508 | 2.5494
2020-12-01 01:00:00 | 2.603 | 110 | 3.405 | 126.9 | 3.6433 | 119.54 | 3.779 | 110.7 | 2.457 | 988.23 | 47.703 | 3.717
2020-12-01 01:15:00 | 2.79 | 97.1 | 3.99 | 106.9 | 4.2693 | 100.7 | 3.85 | 105.3 | 2.195 | 987.933 | 45.2432 | 3.4547
2020-12-01 01:30:00 | 3.274 | 100.5 | 3.817 | 112.9 | 4.0842 | 106.352 | 4.039 | 108.5 | 2.311 | 987.933 | 43.1255 | 4.6333
2020-12-01 01:45:00 | 4.32 | 98.3 | 4.972 | 113 | 5.32 | 106.446 | 5.169 | 106.6 | 2.468 | 987.784 | 44.9692 | 4.7442
2020-12-01 02:00:00 | 2.841 | 122.2 | 3.091 | 139.3 | 3.3074 | 131.221 | 3.509 | 124.5 | 2.292 | 987.784 | 44.6633 | 4.2084
2020-12-01 02:15:00 | 4.134 | 131.2 | 4.359 | 149.8 | 4.6641 | 141.112 | 4.647 | 134.9 | 2.516 | 987.784 | 44.2173 | 3.196
2020-12-01 02:30:00 | 4.2 | 130 | 4.438 | 147.1 | 4.7487 | 138.568 | 4.856 | 133.8 | 2.516 | 987.933 | 44.8666 | 2.095
2020-12-01 02:45:00 | 4.262 | 128.1 | 4.29 | 145.7 | 4.5903 | 137.249 | 4.115 | 132.5 | 2.437 | 987.636 | 45.2418 | 4.4227
2020-12-01 03:00:00 | 3.868 | 126.7 | 4.231 | 146.4 | 4.5272 | 137.909 | 4.387 | 129.9 | 2.285 | 987.636 | 46.2669 | 9.3923
2020-12-01 03:15:00 | 4.714 | 122.2 | 5.397 | 136.8 | 5.7748 | 128.866 | 5.686 | 127.4 | 2.186 | 987.339 | 46.4037 | 13.4936
2020-12-01 03:30:00 | 5.434 | 126 | 5.959 | 137.9 | 6.3761 | 129.902 | 5.816 | 135.7 | 2.032 | 987.041 | 47.1216 | 15.7105
2020-12-01 03:45:00 | 6.057 | 121.4 | 6.821 | 135.3 | 7.2985 | 127.453 | 7.156 | 129.2 | 2.091 | 986.447 | 49.9614 | 14.7609
2020-12-01 04:00:00 | 6.618 | 128 | 6.874 | 141.8 | 7.3552 | 133.576 | 6.707 | 136.1 | 2.3 | 986.744 | 53.0381 | 11.1215
2020-12-01 04:15:00 | 5.972 | 132.1 | 6.041 | 147.2 | 6.4639 | 138.662 | 5.432 | 140 | 2.307 | 986.744 | 55.1559 | 6.4253
2020-12-01 04:30:00 | 4.517 | 125.5 | 5.121 | 140 | 5.4795 | 131.88 | 5.123 | 132.6 | 2.381 | 986.744 | 55.4974 | 3.6801
2020-12-01 04:45:00 | 2.599 | 125.3 | 3.129 | 142.9 | 3.348 | 134.612 | 3.85 | 128.8 | 2.175 | 987.041 | 57.2738 | 2.5605
2020-12-01 05:00:00 | 3.325 | 116.7 | 3.858 | 127.9 | 4.1281 | 120.482 | 4.018 | 128.8 | 2.184 | 986.893 | 59.9418 | 2.0876
2020-12-01 05:15:00 | 3.994 | 127.4 | 4.282 | 142.1 | 4.5817 | 133.858 | 4.39 | 135.1 | 2.23 | 987.339 | 57.6164 | 3.6136
2020-12-01 05:30:00 | 4.032 | 138.1 | 3.875 | 154.4 | 4.1463 | 145.445 | 3.87 | 143.6 | 2.128 | 987.339 | 56.5934 | 7.1458
2020-12-01 05:45:00 | 4.264 | 138.6 | 4.701 | 155.9 | 5.0301 | 146.858 | 4.884 | 143.5 | 2.081 | 987.636 | 57.344 | 6.9722
2020-12-01 06:00:00 | 3.516 | 142.2 | 3.809 | 155.8 | 4.0756 | 146.764 | 4.787 | 147.4 | 2.035 | 987.636 | 56.7996 | 5.9856
2020-12-01 06:15:00 | 3.22 | 150.9 | 3.379 | 171.1 | 3.6155 | 161.176 | 3.728 | 153 | 1.967 | 987.933 | 56.3213 | 5.1211
2020-12-01 06:30:00 | 3.674 | 142.2 | 4.131 | 160.9 | 4.4202 | 151.568 | 5.032 | 144.7 | 1.972 | 988.082 | 56.0494 | 3.7503
2020-12-01 06:45:00 | 3.554 | 138.7 | 3.829 | 155.7 | 4.097 | 146.669 | 3.876 | 145.1 | 1.965 | 988.086 | 55.9127 | 3.4214
2020-12-01 07:00:00 | 2.73 | 137.5 | 3.239 | 157.6 | 3.4657 | 148.459 | 3.453 | 143.2 | 1.911 | 988.238 | 55.9795 | 2.1356
2020-12-01 07:15:00 | 2.811 | 151.3 | 2.901 | 180.3 | 3.1041 | 169.843 | 3.081 | 151.5 | 2.014 | 988.23 | 55.9808 | 2.3093
2020-12-01 07:30:00 | 2.794 | 159.6 | 3.029 | 177.7 | 3.241 | 167.393 | 3.216 | 158.2 | 2.04 | 988.825 | 56.2168 | 1.2969
2020-12-01 07:45:00 | 3.256 | 155.6 | 3.681 | 172.5 | 3.9387 | 162.495 | 3.534 | 153.4 | 2.047 | 988.825 | 54.5402 | 1.8807
2020-12-01 08:00:00 | 4.08 | 159 | 3.901 | 179.5 | 4.1741 | 169.089 | 4.077 | 160 | 2.148 | 988.825 | 54.6056 | 2.579
2020-12-01 08:15:00 | 5.14 | 167.9 | 5.322 | 182.1 | 5.6945 | 171.538 | 4.815 | 173.6 | 2.289 | 988.825 | 56.7914 | 5.9635
2020-12-01 08:30:00 | 4.675 | 161.6 | 4.522 | 185.1 | 4.8385 | 174.364 | 4.37 | 165.4 | 2.37 | 988.825 | 54.8095 | 5.7935
2020-12-01 08:45:00 | 5.546 | 154 | 5.379 | 172.4 | 5.7555 | 162.401 | 5.704 | 160.7 | 2.045 | 989.122 | 52.7593 | 3.7577
2020-12-01 09:00:00 | 4.198 | 155.3 | 4.356 | 173.6 | 4.6609 | 163.531 | 4.278 | 159.2 | 2.031 | 989.271 | 55.0829 | 1.6738
2020-12-01 09:15:00 | 3.233 | 159.5 | 3.229 | 178.4 | 3.455 | 168.053 | 3.084 | 165 | 2.158 | 989.271 | 55.9713 | 1.0235
2020-12-01 09:30:00 | 3.378 | 158.3 | 3.5 | 173.7 | 3.745 | 163.625 | 3.231 | 164 | 2.248 | 989.122 | 58.6024 | 0.36579
2020-12-01 09:45:00 | 2.847 | 166.5 | 2.889 | 181.2 | 3.0912 | 170.69 | 2.427 | 173.4 | 2.485 | 988.974 | 57.3381 | 0.13671
2020-12-01 10:00:00 | 2.906 | 160 | 2.735 | 174 | 2.9264 | 163.908 | 2.477 | 164.2 | 2.509 | 988.825 | 56.6547 | 0.22169
2020-12-01 10:15:00 | 2.658 | 163 | 2.459 | 170.2 | 2.6311 | 160.328 | 2.205 | 178.1 | 2.576 | 988.23 | 56.0397 | -0.044338
2020-12-01 10:30:00 | 2.837 | 171.7 | 2.72 | 179.4 | 2.9104 | 168.995 | 2.289 | 179.2 | 2.708 | 988.23 | 55.3562 | 0.23647
2020-12-01 10:45:00 | 2.773 | 167.2 | 2.6 | 180.1 | 2.782 | 169.654 | 2.332 | 189.5 | 2.734 | 987.933 | 54.2628 | 0.22908
2020-12-01 11:00:00 | 2.962 | 146.8 | 2.929 | 163.8 | 3.134 | 154.3 | 2.429 | 160.1 | 2.592 | 987.635 | 57.7476 | -0.28081
2020-12-01 11:15:00 | 2.455 | 186.9 | 2.166 | 194.7 | 2.3176 | 183.407 | 1.581 | 196.1 | 2.73 | 987.635 | 55.9713 | -0.25864
2020-12-01 11:30:00 | 3.687 | 188.4 | 3.633 | 200.9 | 3.8873 | 189.248 | 3.04 | 187.8 | 2.602 | 987.33 | 58.3284 | -0.26972
2020-12-01 11:45:00 | 3.442 | 175 | 3.167 | 182.1 | 3.3887 | 171.538 | 2.646 | 183.2 | 2.702 | 987.041 | 57.9531 | -0.28081
2020-12-01 12:00:00 | 4.328 | 161.8 | 4.277 | 169.7 | 4.5764 | 159.857 | 3.481 | 174.8 | 2.707 | 986.741 | 59.32 | -0.18474
2020-12-01 12:15:00 | 5.063 | 156.4 | 4.826 | 171.1 | 5.1638 | 161.176 | 4.252 | 164.4 | 2.388 | 986.445 | 61.4386 | 0.16627
2020-12-01 12:30:00 | 4.627 | 156 | 4.561 | 168.9 | 4.8803 | 159.104 | 4.087 | 162.1 | 2.364 | 986.446 | 59.3883 | 0.33254
2020-12-01 12:45:00 | 3.031 | 161 | 2.881 | 170.5 | 3.0827 | 160.611 | 2.312 | 172.4 | 2.452 | 986.297 | 58.0899 | -0.33623
2020-12-01 13:00:00 | 0.779 | 175.9 | 0.894 | 139.2 | 0.95658 | 131.126 | 1.14 | 209.3 | 2.546 | 986.446 | 59.525 | -0.29928
2020-12-01 13:15:00 | 2.49 | 312 | 2.804 | 326.7 | 3.0003 | 307.751 | 1.92 | 294.2 | 2.377 | 986.149 | 67.2476 | -0.26972
2020-12-01 13:30:00 | 1.502 | 303.1 | 1.579 | 322.4 | 1.6895 | 303.701 | 1.326 | 304.5 | 2.032 | 985.851 | 68.136 | -0.28081
2020-12-01 13:45:00 | 3.105 | 235.3 | 2.658 | 251.8 | 2.8441 | 237.196 | 2.75 | 240.6 | 1.571 | 985.851 | 81.5992 | -0.29928
2020-12-01 14:00:00 | 1.505 | 202.6 | 1.584 | 234.4 | 1.6949 | 220.805 | 1.055 | 228.1 | 0.547 | 985.554 | 91.9187 | -0.29928
2020-12-01 14:15:00 | 0.531 | 216.2 | 1.054 | 231.1 | 1.1278 | 217.696 | 1.321 | 216.5 | -0.004 | 985.273 | 97.8493 | -0.27711
2020-12-01 14:30:00 | 0 | 246.4 | 0.376 | 238.9 | 0.40232 | 225.044 | 0.841 | 216.7 | -0.075 | 985.345 | 99.2647 | -0.29189
2020-12-01 14:45:00 | 0.004 | 246.5 | 0 | 239.2 | 0 | 225.326 | 0.071 | 216.6 | -0.106 | 985.261 | 99.982 | -0.2882
2020-12-01 15:00:00 | 0.045 | 253.2 | 0.192 | 240 | 0.20544 | 226.08 | 0 | 216.5 | -0.25 | 985.261 | 100 | -0.27711
2020-12-01 15:15:00 | 0 | 9.77 | 0 | 315.5 | 0 | 297.201 | 0 | 216.4 | -0.417 | 985.113 | 100 | -0.2882
2020-12-01 15:30:00 | 0.357 | 9.76 | 0.59 | 328.2 | 0.6313 | 309.164 | 0 | 216.5 | -0.622 | 984.964 | 100 | -0.29928
2020-12-01 15:45:00 | 0.542 | 9.76 | 1.079 | 328.5 | 1.1545 | 309.447 | 0.745 | 216.4 | -0.643 | 984.964 | 100 | -0.29928
2020-12-01 16:00:00 | 1.519 | 9.76 | 1.411 | 351.4 | 1.5098 | 331.019 | 1.128 | 216.3 | -0.668 | 984.667 | 100 | -0.29928
2020-12-01 16:15:00 | 1.289 | 9.79 | 1.725 | 353.1 | 1.8458 | 332.62 | 1.469 | 216.2 | -0.74 | 984.815 | 100 | -0.28081
2020-12-01 16:30:00 | 1.389 | 16.11 | 1.774 | 353.4 | 1.8982 | 332.903 | 1.655 | 216.2 | -0.759 | 984.815 | 100 | -0.2882
2020-12-01 16:45:00 | 1.76 | 2.536 | 1.805 | 355.2 | 1.9313 | 334.598 | 1.866 | 341.1 | -0.747 | 984.815 | 100 | -0.2882
2020-12-01 17:00:00 | 1.841 | 38 | 1.854 | 9.42 | 1.9838 | 8.8736 | 1.632 | 350.4 | -0.751 | 984.964 | 100 | -0.29928
2020-12-01 17:15:00 | 1.645 | 2.021 | 1.728 | 11.72 | 1.849 | 11.0402 | 1.512 | 350.4 | -0.757 | 984.964 | 100 | -0.29928
2020-12-01 17:30:00 | 0.886 | 11.29 | 1.937 | 12.31 | 2.0726 | 11.596 | 1.696 | 350.5 | -0.761 | 984.964 | 100 | -0.29928
2020-12-01 17:45:00 | 1.35 | 3.124 | 1.766 | 13.36 | 1.8896 | 12.5851 | 1.242 | 350.7 | -0.76 | 984.964 | 100 | -0.2882
2020-12-01 18:00:00 | 1.546 | 3.073 | 1.293 | 13.41 | 1.3835 | 12.6322 | 1.392 | 350.8 | -0.758 | 984.964 | 100 | -0.29928
2020-12-01 18:15:00 | 1.2 | 3.035 | 1.295 | 11.24 | 1.3857 | 10.5881 | 0.994 | 350.8 | -0.763 | 985.261 | 100 | -0.29928
2020-12-01 18:30:00 | 0.546 | 3.026 | 0.447 | 11.46 | 0.47829 | 10.7953 | 0.751 | 350.8 | -0.76 | 985.261 | 100 | -0.2882
2020-12-01 18:45:00 | 0.632 | 3.026 | 0.939 | 11.47 | 1.0047 | 10.8047 | 1.151 | 350.9 | -0.758 | 985.261 | 100 | -0.29928
2020-12-01 19:00:00 | 0 | 3.026 | 0.195 | 11.47 | 0.20865 | 10.8047 | 0.939 | 351 | -0.756 | 985.559 | 100 | -0.2882
2020-12-01 19:15:00 | 0 | 2.929 | 0 | 11.46 | 0 | 10.7953 | 0.413 | 350.8 | -0.701 | 985.559 | 100 | -0.29928
2020-12-01 19:30:00 | 0 | 2.929 | 0 | 11.47 | 0 | 10.8047 | 0 | 350.7 | -0.677 | 985.856 | 100 | -0.29928
2020-12-01 19:45:00 | 0 | 2.929 | 0 | 11.46 | 0 | 10.7953 | 0 | 350.8 | -0.663 | 985.856 | 100 | -0.2882
2020-12-01 20:00:00 | 0 | 2.929 | 0 | 11.47 | 0 | 10.8047 | 0 | 350.8 | -0.689 | 985.856 | 100 | -0.29928
2020-12-01 20:15:00 | 0 | 2.929 | 0 | 11.47 | 0 | 10.8047 | 0 | 350.7 | -0.693 | 985.559 | 100 | -0.2882
2020-12-01 20:30:00 | 0 | 2.929 | 0 | 11.47 | 0 | 10.8047 | 0 | 350.8 | -0.671 | 985.856 | 100 | -0.2882
2020-12-01 20:45:00 | 0 | 2.929 | 0 | 11.45 | 0 | 10.7859 | 0 | 350.8 | -0.594 | 986.005 | 100 | -0.29928
2020-12-01 21:00:00 | 0 | 2.929 | 0 | 11.45 | 0 | 10.7859 | 0 | 350.8 | -0.558 | 985.856 | 100 | -0.29928
2020-12-01 21:15:00 | 0 | 2.929 | 0 | 11.46 | 0 | 10.7953 | 0 | 350.9 | -0.552 | 985.856 | 100 | -0.29928
2020-12-01 21:30:00 | 0 | 2.929 | 0 | 11.42 | 0 | 10.7576 | 0.071 | 350.7 | -0.558 | 985.708 | 100 | -0.29928
2020-12-01 21:45:00 | 0 | 2.931 | 0 | 11.42 | 0 | 10.7576 | 0 | 350.8 | -0.61 | 985.559 | 100 | -0.29928
2020-12-01 22:00:00 | 0 | 3.034 | 0 | 62.59 | 0 | 58.9598 | 0.209 | 350.8 | -0.603 | 985.559 | 100 | -0.29928
2020-12-01 22:15:00 | 0 | 3.075 | 0 | 62.58 | 0 | 58.9504 | 0 | 350.9 | -0.597 | 985.559 | 100 | -0.29928
2020-12-01 22:30:00 | 0 | 3.026 | 0 | 62.53 | 0 | 58.9033 | 0 | 350.8 | -0.544 | 985.559 | 100 | -0.29928
2020-12-01 22:45:00 | 0 | 3.026 | 0 | 62.65 | 0 | 59.0163 | 0 | 350.8 | -0.555 | 985.559 | 100 | -0.29928
2020-12-01 23:00:00 | 0 | 3.026 | 0 | 65.16 | 0 | 61.3807 | 0.548 | 350.2 | -0.598 | 985.559 | 100 | -0.29928
2020-12-01 23:15:00 | 0 | 2.978 | 0 | 53.13 | 0 | 50.0485 | 0.049 | 350.2 | -0.507 | 985.559 | 100 | -0.29928
2020-12-01 23:30:00 | 0 | 2.929 | 0 | 355 | 0 | 334.41 | 0.16 | 350.2 | -0.465 | 985.41 | 100 | -0.29928
2020-12-01 23:45:00 | 0 | 2.895 | 0 | 355 | 0 | 334.41 | 0 | 350.2 | -0.462 | 985.261 | 100 | -0.29928