## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-02 00:00:00 | 0 | 2.831 | 0 | 355 | 0 | 334.41 | 0 | 350.2 | -0.436 | 985.261 | 100 | -0.29928
2020-12-02 00:15:00 | 0 | 2.831 | 0 | 355 | 0 | 334.41 | 0 | 350.2 | -0.483 | 984.964 | 100 | -0.31776
2020-12-02 00:30:00 | 0 | 2.831 | 0 | 355 | 0 | 334.41 | 0 | 350.2 | -0.486 | 984.815 | 100 | -0.29928
2020-12-02 00:45:00 | 0 | 2.782 | 0 | 355.1 | 0 | 334.504 | 0 | 350.2 | -0.552 | 984.667 | 100 | -0.29928
2020-12-02 01:00:00 | 0 | 2.782 | 0 | 355.1 | 0 | 334.504 | 0 | 350.2 | -0.736 | 984.369 | 100 | -0.29928
2020-12-02 01:15:00 | 0 | 2.782 | 0 | 355.1 | 0 | 334.504 | 0 | 350.1 | -0.76 | 984.369 | 100 | -0.31037
2020-12-02 01:30:00 | 0 | 2.782 | 0 | 355.1 | 0 | 334.504 | 0 | 350.2 | -0.761 | 984.369 | 100 | -0.29928
2020-12-02 01:45:00 | 0 | 2.776 | 0 | 355.1 | 0 | 334.504 | 0 | 350.2 | -0.749 | 984.221 | 100 | -0.29928
2020-12-02 02:00:00 | 0 | 2.779 | 0 | 355 | 0 | 334.41 | 0 | 350.2 | -0.702 | 984.221 | 100 | -0.29928
2020-12-02 02:15:00 | 0 | 2.781 | 0 | 355.1 | 0 | 334.504 | 0 | 350.2 | -0.695 | 984.072 | 100 | -0.29928
2020-12-02 02:30:00 | 0 | 2.782 | 0 | 355.1 | 0 | 334.504 | 0 | 350.2 | -0.69 | 983.775 | 100 | -0.6429
2020-12-02 02:45:00 | 0 | 2.782 | 0 | 355.1 | 0 | 334.504 | 0 | 350.2 | -0.69 | 983.477 | 100 | -0.29928
2020-12-02 03:00:00 | 0 | 2.782 | 0 | 355.1 | 0 | 334.504 | 0 | 350.2 | -0.736 | 983.18 | 100 | -0.29928
2020-12-02 03:15:00 | 0 | 2.782 | 0 | 355.1 | 0 | 334.504 | 0 | 350.3 | -0.831 | 983.477 | 100 | -0.29928
2020-12-02 03:30:00 | 0 | 2.705 | 0 | 354.9 | 0 | 334.316 | 0 | 350.3 | -0.85 | 983.477 | 100 | -0.29928
2020-12-02 03:45:00 | 0 | 2.481 | 0 | 301.6 | 0 | 284.107 | 0 | 350 | -1.001 | 983.477 | 100 | -0.29928
2020-12-02 04:00:00 | 0 | 2.339 | 0 | 301.2 | 0 | 283.73 | 0 | 350 | -0.955 | 983.477 | 100 | -0.29928
2020-12-02 04:15:00 | 0 | 2.245 | 0 | 302.4 | 0 | 284.861 | 0 | 350.1 | -0.891 | 983.626 | 100 | -0.29928
2020-12-02 04:30:00 | 0 | 2.154 | 0 | 326.6 | 0 | 307.657 | 0 | 350 | -0.987 | 983.775 | 100 | -0.29928
2020-12-02 04:45:00 | 0 | 2.148 | 0 | 329.8 | 0 | 310.672 | 0 | 350 | -1.004 | 983.775 | 100 | -0.31776
2020-12-02 05:00:00 | 0 | 2.148 | 0 | 18.54 | 0 | 17.4647 | 0 | 350 | -1.002 | 983.626 | 100 | -0.29928
2020-12-02 05:15:00 | 0 | 2.148 | 0 | 15.81 | 0 | 14.893 | 0 | 350 | -1.025 | 983.477 | 100 | -0.29928
2020-12-02 05:30:00 | 0 | 2.148 | 0 | 24.99 | 0 | 23.5406 | 0 | 350.2 | -1.228 | 983.477 | 100 | -0.31037
2020-12-02 05:45:00 | 0 | 2.191 | 0 | 24.99 | 0 | 23.5406 | 0 | 350.2 | -1.144 | 983.329 | 100 | -0.2845
2020-12-02 06:00:00 | 0 | 2.228 | 0 | 70.7 | 0 | 66.5994 | 0 | 350.4 | -0.954 | 983.626 | 100 | -0.16627
2020-12-02 06:15:00 | 0 | 2.208 | 0 | 70.24 | 0 | 66.1661 | 0 | 350.5 | -0.959 | 984.072 | 100 | -0.18474
2020-12-02 06:30:00 | 0 | 2.183 | 0 | 312.2 | 0 | 294.092 | 0 | 350.6 | -0.96 | 984.369 | 100 | -0.18474
2020-12-02 06:45:00 | 0 | 2.095 | 0 | 313.1 | 0 | 294.94 | 0 | 350.5 | -0.988 | 984.369 | 100 | -0.18474
2020-12-02 07:00:00 | 0 | 2.05 | 0 | 341.8 | 0 | 321.976 | 0 | 350.4 | -0.875 | 984.518 | 100 | -0.18474
2020-12-02 07:15:00 | 0 | 2.05 | 0 | 21.04 | 0 | 19.8197 | 0 | 350.4 | -0.759 | 984.964 | 100 | -0.18474
2020-12-02 07:30:00 | 0 | 2.05 | 0 | 350.6 | 0 | 330.265 | 0 | 350.4 | -0.727 | 985.261 | 100 | -0.18474
2020-12-02 07:45:00 | 0 | 2.05 | 0 | 356.9 | 0 | 336.2 | 0 | 350.4 | -0.624 | 985.41 | 100 | -0.18474
2020-12-02 08:00:00 | 0 | 2.05 | 0 | 25.86 | 0 | 24.3601 | 0 | 350.4 | -0.633 | 985.559 | 100 | -0.18474
2020-12-02 08:15:00 | 0 | 2.05 | 0 | 33.19 | 0 | 31.265 | 0 | 350.3 | -0.76 | 985.559 | 100 | -0.18474
2020-12-02 08:30:00 | 0 | 2.05 | 0 | 27.11 | 0 | 25.5376 | 0 | 350.4 | -0.691 | 985.559 | 100 | -0.18474
2020-12-02 08:45:00 | 1.849 | 2.039 | 2.145 | 27.06 | 2.2952 | 25.4905 | 0 | 350.4 | -0.756 | 985.856 | 100 | -0.18474
2020-12-02 09:00:00 | 1.716 | 1.818 | 1.983 | 36.64 | 2.1218 | 34.5149 | 0 | 350.4 | -0.649 | 985.559 | 100 | -0.18474
2020-12-02 09:15:00 | 1.897 | 1.66 | 2.081 | 25.35 | 2.2267 | 23.8797 | 0 | 350.4 | -0.553 | 985.559 | 100 | -0.18474
2020-12-02 09:30:00 | 1.797 | 1.652 | 1.738 | 14.98 | 1.8597 | 14.1112 | 0 | 350.8 | -0.553 | 985.559 | 100 | -0.18474
2020-12-02 09:45:00 | 0.856 | 1.236 | 1.57 | 33.84 | 1.6799 | 31.8773 | 0 | 350.8 | -0.515 | 985.559 | 100 | -0.18474
2020-12-02 10:00:00 | 0 | 357.6 | 0.536 | 20.67 | 0.57352 | 19.4711 | 0 | 350.9 | -0.284 | 985.559 | 100 | -0.18474
2020-12-02 10:15:00 | 0 | 333.6 | 1.283 | 5.94 | 1.3728 | 5.5955 | 1.354 | 350.8 | -0.316 | 984.964 | 100 | -0.18474
2020-12-02 10:30:00 | 0 | 346 | 0.936 | 30.98 | 1.0015 | 29.1832 | 1.707 | 350.8 | -0.295 | 984.667 | 100 | -0.18474
2020-12-02 10:45:00 | 0 | 348.8 | 0.523 | 32.85 | 0.55961 | 30.9447 | 0.279 | 350.7 | -0.298 | 984.667 | 100 | -0.18474
2020-12-02 11:00:00 | 0 | 327.8 | 0 | 329.1 | 0 | 310.012 | 1.632 | 350.6 | -0.243 | 984.369 | 100 | -0.18474
2020-12-02 11:15:00 | 0 | 303.7 | 0 | 315.1 | 0 | 296.824 | 2.457 | 350.4 | -0.312 | 984.369 | 100 | -0.18474
2020-12-02 11:30:00 | 2.167 | 314.6 | 2.142 | 329.8 | 2.2919 | 310.672 | 2.828 | 350.4 | -0.337 | 984.369 | 100 | -0.18474
2020-12-02 11:45:00 | 1.11 | 333.3 | 0.84 | 347.4 | 0.8988 | 327.251 | 2.261 | 350.4 | -0.359 | 984.369 | 100 | -0.18474
2020-12-02 12:00:00 | 2.398 | 307.8 | 2.646 | 321 | 2.8312 | 302.382 | 2.87 | 350.4 | -0.482 | 984.369 | 100 | -0.18474
2020-12-02 12:15:00 | 0.93 | 326.1 | 0.588 | 341.5 | 0.62916 | 321.693 | 1.409 | 350.4 | -0.309 | 984.072 | 100 | -0.18474
2020-12-02 12:30:00 | 1.155 | 337.1 | 0.978 | 334.8 | 1.0465 | 315.382 | 1.233 | 350.3 | -0.332 | 984.072 | 100 | -0.18474
2020-12-02 12:45:00 | 1.059 | 305.9 | 1.595 | 316.9 | 1.7067 | 298.52 | 1.73 | 350.4 | -0.277 | 983.923 | 100 | -0.18474
2020-12-02 13:00:00 | 0.103 | 298.3 | 0 | 309.4 | 0 | 291.455 | 1.649 | 350.4 | -0.268 | 984.369 | 100 | -0.18474
2020-12-02 13:15:00 | 2.397 | 295.7 | 0.674 | 309.1 | 0.72118 | 291.172 | 2.467 | 350.4 | -0.379 | 984.072 | 100 | -0.18474
2020-12-02 13:30:00 | 2.14 | 302.5 | 2.426 | 317.2 | 2.5958 | 298.802 | 2.737 | 350.3 | -0.357 | 984.221 | 100 | -0.18474
2020-12-02 13:45:00 | 1.877 | 302 | 2.54 | 314.4 | 2.7178 | 296.165 | 2.9 | 350.3 | -0.317 | 984.072 | 100 | -0.18474
2020-12-02 14:00:00 | 3.074 | 306.6 | 3.525 | 321.4 | 3.7717 | 302.759 | 3.924 | 350.3 | -0.461 | 984.221 | 100 | -0.18474
2020-12-02 14:15:00 | 1.169 | 300.4 | 1.897 | 313.9 | 2.0298 | 295.694 | 2.337 | 350.3 | -0.484 | 984.072 | 100 | -0.18474
2020-12-02 14:30:00 | 2.822 | 308.6 | 0.474 | 318.5 | 0.50718 | 300.027 | 2.147 | 350.3 | -0.458 | 984.072 | 100 | -0.20322
2020-12-02 14:45:00 | 1.311 | 340 | 1.211 | 1.818 | 1.2958 | 1.7126 | 2.714 | 350.3 | -0.417 | 984.072 | 100 | -0.18474
2020-12-02 15:00:00 | 1.948 | 336.3 | 1.358 | 351.5 | 1.4531 | 331.113 | 3.384 | 350.3 | -0.484 | 984.221 | 100 | -0.21061
2020-12-02 15:15:00 | 1.161 | 342.2 | 0.797 | 2.223 | 0.85279 | 2.0941 | 2.895 | 350.3 | -0.525 | 983.923 | 100 | -0.45077
2020-12-02 15:30:00 | 2.492 | 334.3 | 1.589 | 349.2 | 1.7002 | 328.946 | 3.682 | 350.3 | -0.564 | 984.072 | 100 | -0.27342
2020-12-02 15:45:00 | 1.945 | 340 | 1.363 | 2.633 | 1.4584 | 2.4803 | 2.788 | 350.3 | -0.635 | 984.221 | 100 | 0.55423
2020-12-02 16:00:00 | 2.496 | 342 | 2.1 | 353.3 | 2.247 | 332.809 | 3.122 | 350.3 | -0.698 | 984.221 | 100 | 1.0974
2020-12-02 16:15:00 | 1.335 | 2.783 | 0.98 | 26.62 | 1.0486 | 25.076 | 3.01 | 350.3 | -0.767 | 984.221 | 100 | 0.29189
2020-12-02 16:30:00 | 0.336 | 354.3 | 0.425 | 30.96 | 0.45475 | 29.1643 | 1.684 | 350.3 | -0.849 | 984.369 | 100 | 0.69463
2020-12-02 16:45:00 | 0.842 | 5.176 | 0.898 | 32.35 | 0.96086 | 30.4737 | 2.245 | 350.3 | -0.915 | 984.369 | 100 | 0.6466
2020-12-02 17:00:00 | 1.344 | 354.4 | 0.194 | 26.9 | 0.20758 | 25.3398 | 1.271 | 350.3 | -1.083 | 984.667 | 100 | 0.29928
2020-12-02 17:15:00 | 1.946 | 349.6 | 1.914 | 2.317 | 2.048 | 2.1826 | 3.24 | 350.3 | -1.165 | 984.964 | 100 | 0.32515
2020-12-02 17:30:00 | 1.744 | 348.3 | 1.502 | 8.09 | 1.6071 | 7.6208 | 3.061 | 350.3 | -1.174 | 985.261 | 100 | 0.67985
2020-12-02 17:45:00 | 0.888 | 357.8 | 0.958 | 27.85 | 1.0251 | 26.2347 | 3.089 | 350.3 | -1.126 | 985.261 | 100 | 0.94588
2020-12-02 18:00:00 | 2.517 | 351.4 | 2.111 | 14.86 | 2.2588 | 13.9981 | 3.81 | 350.3 | -1.18 | 985.41 | 100 | 3.3919
2020-12-02 18:15:00 | 2.201 | 357.2 | 2.359 | 23.98 | 2.5241 | 22.5892 | 3.702 | 350.3 | -1.256 | 985.559 | 100 | 3.1185
2020-12-02 18:30:00 | 2.265 | 353.7 | 2.084 | 18.37 | 2.2299 | 17.3045 | 3.341 | 350.4 | -1.3 | 985.708 | 100 | 4.7737
2020-12-02 18:45:00 | 2.542 | 359.7 | 3.215 | 28.68 | 3.44 | 27.0166 | 4.268 | 350.4 | -1.429 | 985.559 | 100 | 4.0163
2020-12-02 19:00:00 | 3.355 | 1.768 | 3.535 | 19.95 | 3.7824 | 18.7929 | 4.395 | 350.4 | -1.547 | 985.559 | 100 | 2.616
2020-12-02 19:15:00 | 3.682 | 356.3 | 3.778 | 17.8 | 4.0425 | 16.7676 | 5.648 | 350.4 | -1.465 | 985.708 | 100 | 3.3549
2020-12-02 19:30:00 | 3.692 | 356.4 | 3.861 | 24.03 | 4.1313 | 22.6363 | 4.792 | 350.4 | -1.524 | 985.708 | 100 | 4.4301
2020-12-02 19:45:00 | 4.16 | 357.4 | 3.944 | 20.06 | 4.2201 | 18.8965 | 5.129 | 350.4 | -1.584 | 986.005 | 100 | 4.1087
2020-12-02 20:00:00 | 4.537 | 356.7 | 3.832 | 22.01 | 4.1002 | 20.7334 | 5.439 | 350.4 | -1.719 | 986.154 | 100 | 4.9696
2020-12-02 20:15:00 | 4.714 | 1.836 | 4.277 | 15.27 | 4.5764 | 14.3843 | 5.75 | 350.4 | -1.775 | 986.154 | 100 | 3.972
2020-12-02 20:30:00 | 4.116 | 358.8 | 3.794 | 21.28 | 4.0596 | 20.0458 | 5.223 | 350.4 | -1.782 | 986.154 | 100 | 4.1124
2020-12-02 20:45:00 | 4.022 | 0.134 | 3.858 | 23.39 | 4.1281 | 22.0334 | 5.314 | 350.4 | -1.844 | 986.154 | 100 | 4.7442
2020-12-02 21:00:00 | 4.147 | 358.7 | 3.929 | 18.79 | 4.204 | 17.7002 | 5.126 | 350.4 | -1.899 | 986.154 | 100 | 5.1469
2020-12-02 21:15:00 | 4.18 | 4.342 | 3.96 | 21.43 | 4.2372 | 20.1871 | 4.265 | 350.4 | -2.035 | 986.154 | 100 | 3.6801
2020-12-02 21:30:00 | 4.234 | 10.79 | 4.354 | 23.47 | 4.6588 | 22.1087 | 3.555 | 350.4 | -2.235 | 986.154 | 100 | 4.0052
2020-12-02 21:45:00 | 4.384 | 8.67 | 4.561 | 24.5 | 4.8803 | 23.079 | 3.565 | 350.4 | -2.419 | 986.451 | 100 | 3.0039
2020-12-02 22:00:00 | 4.04 | 7.656 | 3.055 | 16.3 | 3.2689 | 15.3546 | 3.448 | 350.4 | -2.525 | 986.157 | 100 | 3.972
2020-12-02 22:15:00 | 3.978 | 3.715 | 3.246 | 12.91 | 3.4732 | 12.1612 | 4.976 | 350.4 | -2.585 | 986.303 | 100 | 4.6444
2020-12-02 22:30:00 | 3.958 | 355.8 | 3.579 | 12.69 | 3.8295 | 11.954 | 4.927 | 350.4 | -2.59 | 986.452 | 100 | 5.5053
2020-12-02 22:45:00 | 4.336 | 6.79 | 3.584 | 17.82 | 3.8349 | 16.7864 | 5.406 | 350.5 | -2.685 | 986.308 | 100 | 5.6531
2020-12-02 23:00:00 | 3.526 | 1.595 | 3.116 | 16.56 | 3.3341 | 15.5995 | 4.67 | 350.5 | -2.746 | 986.303 | 100 | 4.6075
2020-12-02 23:15:00 | 3.139 | 359.2 | 3.102 | 15.42 | 3.3191 | 14.5256 | 4.678 | 350.4 | -2.774 | 986.462 | 100 | 4.0459
2020-12-02 23:30:00 | 3.258 | 359.7 | 2.795 | 16.11 | 2.9907 | 15.1756 | 4.53 | 350.4 | -2.755 | 986.177 | 100 | 4.7848
2020-12-02 23:45:00 | 3.386 | 4.652 | 3.083 | 22.16 | 3.2988 | 20.8747 | 4.545 | 350.5 | -2.828 | 986.157 | 100 | 4.3747