## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-03 00:00:00 | 3.575 | 6.49 | 3.016 | 21.29 | 3.2271 | 20.0552 | 3.616 | 350.5 | -2.933 | 986.154 | 100 | 4.286
2020-12-03 00:15:00 | 3.828 | 6.012 | 3.134 | 19.45 | 3.3534 | 18.3219 | 3.863 | 350.5 | -2.934 | 986.156 | 100 | 3.8168
2020-12-03 00:30:00 | 3.699 | 3.714 | 3.029 | 16.82 | 3.241 | 15.8444 | 4.833 | 350.5 | -2.977 | 986.173 | 100 | 4.5151
2020-12-03 00:45:00 | 3.09 | 355.2 | 2.84 | 20.03 | 3.0388 | 18.8683 | 4.721 | 350.5 | -2.935 | 986.329 | 100 | 4.5225
2020-12-03 01:00:00 | 3.114 | 353.6 | 2.723 | 21.99 | 2.9136 | 20.7146 | 4.479 | 350.5 | -2.933 | 986.188 | 100 | 4.6592
2020-12-03 01:15:00 | 3.42 | 356.5 | 2.545 | 15.1 | 2.7231 | 14.2242 | 4.663 | 350.5 | -2.896 | 986.185 | 100 | 3.9055
2020-12-03 01:30:00 | 3.33 | 355.7 | 2.505 | 22.12 | 2.6803 | 20.837 | 4.263 | 350.5 | -2.983 | 986.173 | 100 | 3.6468
2020-12-03 01:45:00 | 3.222 | 357.8 | 2.451 | 20.02 | 2.6226 | 18.8588 | 4.441 | 350.5 | -3.011 | 986.185 | 100 | 2.7563
2020-12-03 02:00:00 | 3.046 | 0.854 | 2.377 | 19.38 | 2.5434 | 18.256 | 4.214 | 350.5 | -3.063 | 986.338 | 100 | 2.2834
2020-12-03 02:15:00 | 2.028 | 356.3 | 1.753 | 21.88 | 1.8757 | 20.611 | 4.222 | 350.5 | -3.061 | 986.189 | 100 | 2.7157
2020-12-03 02:30:00 | 3.24 | 0.006 | 2.762 | 23.88 | 2.9553 | 22.495 | 4.421 | 350.5 | -3.083 | 986.04 | 100 | 2.8709
2020-12-03 02:45:00 | 2.725 | 353.1 | 2.485 | 22.82 | 2.6589 | 21.4964 | 4.067 | 350.5 | -3.138 | 986.234 | 100 | 2.2539
2020-12-03 03:00:00 | 2.681 | 1.851 | 2.469 | 22.45 | 2.6418 | 21.1479 | 3.988 | 350.5 | -3.138 | 986.241 | 100 | 2.3758
2020-12-03 03:15:00 | 2.582 | 2.241 | 2.2 | 20.39 | 2.354 | 19.2074 | 3.789 | 350.5 | -3.128 | 986.195 | 100 | 1.574
2020-12-03 03:30:00 | 3.233 | 3.207 | 2.5 | 20.14 | 2.675 | 18.9719 | 3.532 | 350.5 | -3.068 | 986.193 | 100 | 1.4964
2020-12-03 03:45:00 | 3.123 | 354.2 | 2.108 | 21.03 | 2.2556 | 19.8103 | 4.393 | 350.5 | -3.07 | 985.871 | 100 | 2.5568
2020-12-03 04:00:00 | 3.95 | 3.065 | 3.47 | 23.33 | 3.7129 | 21.9769 | 4.665 | 350.5 | -3.179 | 986.173 | 100 | 2.5642
2020-12-03 04:15:00 | 3.651 | 355.9 | 2.812 | 20.86 | 3.0088 | 19.6501 | 3.56 | 350.5 | -3.272 | 986.217 | 100 | 3.3401
2020-12-03 04:30:00 | 3.812 | 358.8 | 3.308 | 15.93 | 3.5396 | 15.0061 | 3.947 | 350.5 | -3.373 | 986.507 | 100 | 4.1863
2020-12-03 04:45:00 | 3.1 | 358.2 | 3.223 | 25.12 | 3.4486 | 23.663 | 3.468 | 350.5 | -3.551 | 986.583 | 100 | 3.3512
2020-12-03 05:00:00 | 4.144 | 1.994 | 3.464 | 16.94 | 3.7065 | 15.9575 | 4.339 | 350.5 | -3.742 | 986.625 | 100 | 3.8537
2020-12-03 05:15:00 | 4.331 | 6.358 | 3.817 | 20.87 | 4.0842 | 19.6595 | 3.995 | 350.5 | -3.92 | 986.748 | 100 | 5.1506
2020-12-03 05:30:00 | 3.835 | 3.905 | 3.755 | 23.63 | 4.0179 | 22.2595 | 3.975 | 350.5 | -4.104 | 986.965 | 99.9997 | 5.3464
2020-12-03 05:45:00 | 4.05 | 7.94 | 3.988 | 23.67 | 4.2672 | 22.2971 | 3.998 | 350.6 | -4.294 | 987.003 | 99.9316 | 6.429
2020-12-03 06:00:00 | 4.726 | 10.37 | 5.069 | 24.47 | 5.4238 | 23.0507 | 4.079 | 350.6 | -4.398 | 987.031 | 99.5212 | 8.4575
2020-12-03 06:15:00 | 4.244 | 18.17 | 6.018 | 30.82 | 6.4393 | 29.0324 | 6.269 | 350.6 | -4.709 | 987.056 | 98.0164 | 10.3567
2020-12-03 06:30:00 | 4.31 | 21.9 | 6.598 | 32.22 | 7.0599 | 30.3512 | 7.054 | 350.6 | -5.027 | 987.056 | 94.8358 | 10.9183
2020-12-03 06:45:00 | 4.305 | 19.2 | 7.168 | 30.88 | 7.6698 | 29.089 | 7.176 | 350.6 | -4.863 | 987.354 | 87.6881 | 12.374
2020-12-03 07:00:00 | 4.425 | 18 | 8.2 | 34.78 | 8.774 | 32.7628 | 8.17 | 350.6 | -4.38 | 987.354 | 67.5103 | 11.2102
2020-12-03 07:15:00 | 4.366 | 14.94 | 7.337 | 31.31 | 7.8506 | 29.494 | 7.26 | 350.6 | -3.938 | 987.354 | 56.2928 | 10.8887
2020-12-03 07:30:00 | 5.265 | 15.2 | 8.26 | 30.28 | 8.8382 | 28.5238 | 7.823 | 350.6 | -3.859 | 987.449 | 59.1313 | 10.837
2020-12-03 07:45:00 | 5.112 | 17.15 | 7.36 | 34.09 | 7.8484 | 30.8128 | 7.074 | 350.6 | -3.783 | 987.464 | 55.8046 | 9.9244
2020-12-03 08:00:00 | 5.227 | 18.62 | 7.299 | 31.1 | 7.8099 | 29.2962 | 7.133 | 22.23 | -3.477 | 987.649 | 51.1482 | 6.0559
2020-12-03 08:15:00 | 4.476 | 16.26 | 6.601 | 30.4 | 7.0631 | 28.6368 | 6.629 | 21.9 | -3.124 | 987.938 | 50.5983 | 6.7616
2020-12-03 08:30:00 | 4.356 | 14.68 | 6.069 | 30.2 | 6.4938 | 28.4484 | 5.865 | 17.09 | -2.898 | 987.938 | 50.0513 | 6.3477
2020-12-03 08:45:00 | 4.484 | 19.09 | 6.782 | 34.03 | 7.2567 | 32.0563 | 6.585 | 21.62 | -2.57 | 988.236 | 49.2308 | 6.7985
2020-12-03 09:00:00 | 4.507 | 13.41 | 6.335 | 28.83 | 6.7785 | 27.1579 | 5.64 | 17.07 | -2.33 | 988.087 | 49.9406 | 6.8318
2020-12-03 09:15:00 | 5.669 | 10.9 | 7.549 | 29.3 | 8.0774 | 27.6006 | 5.938 | 11.3 | -2.241 | 987.938 | 47.6842 | 9.8542
2020-12-03 09:30:00 | 5.49 | 12.21 | 7.299 | 30.45 | 7.8099 | 28.6839 | 5.918 | 11.33 | -2.011 | 988.236 | 48.6755 | 7.035
2020-12-03 09:45:00 | 5.283 | 10.76 | 6.054 | 27.59 | 6.4778 | 25.9898 | 5.37 | 10.51 | -1.739 | 988.236 | 49.1878 | 7.7813
2020-12-03 10:00:00 | 4.093 | 18.9 | 6.343 | 36.3 | 6.787 | 34.1946 | 5.225 | 19.18 | -1.417 | 988.087 | 50.6575 | 7.2752
2020-12-03 10:15:00 | 3.792 | 14.96 | 6.793 | 34.67 | 7.2685 | 32.6591 | 5.146 | 12.58 | -1.019 | 988.158 | 51.956 | 8.1028
2020-12-03 10:30:00 | 5.265 | 13.09 | 5.655 | 25.94 | 6.0508 | 24.4355 | 5.113 | 7.134 | -0.991 | 987.933 | 48.6966 | 6.987
2020-12-03 10:45:00 | 4.234 | 13.99 | 5.813 | 33.69 | 6.2199 | 31.736 | 4.785 | 10.14 | -0.797 | 987.933 | 49.6156 | 8.2506
2020-12-03 11:00:00 | 3.348 | 18.04 | 5.946 | 33.29 | 6.3622 | 31.3592 | 5.024 | 8.93 | -0.536 | 987.636 | 49.0005 | 9.0856
2020-12-03 11:15:00 | 2.772 | 9.28 | 4.034 | 34.39 | 4.3164 | 32.3954 | 3.87 | 359 | -0.513 | 987.636 | 48.6588 | 5.9561
2020-12-03 11:30:00 | 2.65 | 18.09 | 5.317 | 31.69 | 5.6892 | 29.852 | 4.227 | 14.35 | -0.303 | 987.63 | 48.1784 | 6.4549
2020-12-03 11:45:00 | 1.974 | 11.39 | 2.851 | 19.62 | 3.0506 | 18.482 | 3.29 | 11.11 | 0.254 | 987.634 | 48.3804 | 6.1113
2020-12-03 12:00:00 | 2.033 | 346.2 | 2.24 | 9.33 | 2.3968 | 8.7889 | 2.589 | 344.4 | 0.9 | 987.908 | 46.6716 | 4.7479
2020-12-03 12:15:00 | 2.524 | 17.39 | 3.404 | 22.55 | 3.6423 | 21.2421 | 3.629 | 18.91 | 0.633 | 987.722 | 49.5305 | 5.9413
2020-12-03 12:30:00 | 3.623 | 345.4 | 4.059 | 351.1 | 4.3431 | 330.736 | 4.533 | 344.5 | 0.681 | 987.336 | 46.1144 | 5.1174
2020-12-03 12:45:00 | 4.285 | 339.8 | 4.489 | 352.8 | 4.8032 | 332.338 | 4.772 | 341.4 | 0.487 | 987.333 | 44.8847 | 7.8552
2020-12-03 13:00:00 | 2.755 | 12.32 | 2.641 | 13.39 | 2.8259 | 12.6134 | 3.253 | 4.91 | 0.607 | 987.343 | 46.7293 | 9.9576
2020-12-03 13:15:00 | 3.409 | 344.5 | 3.564 | 345.9 | 3.8135 | 325.838 | 3.412 | 343.9 | 0.618 | 987.374 | 48.3689 | 9.3701
2020-12-03 13:30:00 | 3.154 | 8.8 | 2.996 | 1.886 | 3.2057 | 1.7766 | 3.353 | 6.076 | 0.325 | 987.398 | 49.7356 | 8.258
2020-12-03 13:45:00 | 3.562 | 358.9 | 3.722 | 11.55 | 3.9825 | 10.8801 | 4.599 | 355.4 | 0.155 | 987.229 | 50.6941 | 11.6425
2020-12-03 14:00:00 | 3.506 | 351.3 | 3.714 | 8.98 | 3.974 | 8.4592 | 4.349 | 344 | 0.059 | 987.572 | 49.6746 | 9.7766
2020-12-03 14:15:00 | 3.04 | 330.1 | 3.602 | 352.1 | 3.8541 | 331.678 | 3.837 | 325.4 | 0.232 | 987.784 | 49.8178 | 6.4549
2020-12-03 14:30:00 | 2.866 | 327.6 | 3.313 | 345.5 | 3.5449 | 325.461 | 2.693 | 327.1 | 0.081 | 987.76 | 50.0228 | 6.078
2020-12-03 14:45:00 | 3.217 | 332.1 | 3.101 | 345.8 | 3.3181 | 325.744 | 1.845 | 330 | -0.193 | 987.605 | 52.0045 | 5.727
2020-12-03 15:00:00 | 4.402 | 303.3 | 5.591 | 316.5 | 5.9824 | 298.143 | 5.241 | 305.7 | -0.428 | 987.335 | 53.0294 | 5.6827
2020-12-03 15:15:00 | 3.251 | 325.8 | 3.298 | 341.2 | 3.5289 | 321.41 | 2.528 | 323.6 | -0.764 | 986.595 | 53.8527 | 3.8796
2020-12-03 15:30:00 | 1.635 | 333.9 | 1.722 | 4.435 | 1.8425 | 4.1778 | 1.995 | 329.7 | -0.947 | 986.572 | 54.6885 | 3.3438
2020-12-03 15:45:00 | 2.375 | 328.8 | 2.211 | 341.4 | 2.3658 | 321.599 | 1.795 | 327.3 | -0.963 | 986.599 | 55.5796 | 3.0335
2020-12-03 16:00:00 | 2.308 | 333.9 | 2.63 | 348 | 2.8141 | 327.816 | 1.945 | 327.7 | -1.098 | 986.451 | 56.3322 | 2.1282
2020-12-03 16:15:00 | 2.566 | 332.3 | 2.681 | 347.2 | 2.8687 | 327.062 | 1.745 | 335.7 | -1.166 | 986.154 | 56.8792 | 0.56162
2020-12-03 16:30:00 | 2.359 | 328.7 | 1.945 | 338.9 | 2.0812 | 319.244 | 1.3 | 327.2 | -1.231 | 986.005 | 57.5009 | 0.52836
2020-12-03 16:45:00 | 2.661 | 331.2 | 2.607 | 356.9 | 2.7895 | 336.2 | 1.967 | 339.4 | -1.248 | 986.005 | 56.6154 | 0.2845
2020-12-03 17:00:00 | 2.513 | 327.5 | 3.101 | 339.1 | 3.3181 | 319.432 | 3.351 | 327.7 | -1.232 | 986.154 | 56.4786 | 0.79809
2020-12-03 17:15:00 | 2.104 | 337.8 | 2.848 | 0.519 | 3.0474 | 0.4889 | 3.417 | 336.4 | -1.38 | 986.451 | 58.0171 | 1.6553
2020-12-03 17:30:00 | 2.707 | 340 | 2.945 | 1.363 | 3.1511 | 1.2839 | 3.921 | 341.1 | -1.394 | 986.154 | 58.8718 | 3.2441
2020-12-03 17:45:00 | 2.612 | 345 | 3.119 | 6.069 | 3.3373 | 5.717 | 4.306 | 345.7 | -1.568 | 986.154 | 60.5812 | 3.6062
2020-12-03 18:00:00 | 2.324 | 341.5 | 2.996 | 3.46 | 3.2057 | 3.2593 | 3.955 | 338.6 | -1.588 | 986.154 | 61.1966 | 3.8242
2020-12-03 18:15:00 | 2.594 | 339.6 | 3.275 | 4.457 | 3.5042 | 4.1985 | 3.038 | 337.7 | -1.573 | 986.451 | 60.3419 | 3.8057
2020-12-03 18:30:00 | 2.602 | 335.5 | 2.771 | 350.4 | 2.965 | 330.077 | 2.351 | 336.5 | -1.503 | 986.748 | 58.8378 | 2.8746
2020-12-03 18:45:00 | 2.431 | 331.5 | 2.462 | 347.7 | 2.6343 | 327.533 | 1.478 | 343.8 | -1.5 | 986.748 | 58.0513 | 1.5666
2020-12-03 19:00:00 | 2.691 | 337.9 | 3.137 | 352.1 | 3.3566 | 331.678 | 1.865 | 342 | -1.501 | 986.748 | 59.0769 | 1.1528
2020-12-03 19:15:00 | 2.125 | 330.6 | 2.306 | 345.2 | 2.4674 | 325.178 | 1.227 | 346.8 | -1.455 | 986.748 | 57.0945 | -0.092371
2020-12-03 19:30:00 | 1.101 | 322.6 | 1.15 | 331.8 | 1.2305 | 312.556 | 1.122 | 313.9 | -1.373 | 986.897 | 57.1624 | -0.21061
2020-12-03 19:45:00 | 1.917 | 332.8 | 2.725 | 351 | 2.9158 | 330.642 | 1.547 | 324 | -1.347 | 986.748 | 58.5983 | -0.12193
2020-12-03 20:00:00 | 2.375 | 331.9 | 2.497 | 350.8 | 2.6718 | 330.454 | 0.962 | 327.9 | -1.299 | 987.046 | 57.641 | -0.16257
2020-12-03 20:15:00 | 2.275 | 335.2 | 2.876 | 355.8 | 3.0773 | 335.164 | 1.372 | 331.7 | -1.414 | 986.748 | 57.094 | -0.19213
2020-12-03 20:30:00 | 2.811 | 336.3 | 3.477 | 1.903 | 3.7204 | 1.7926 | 1.884 | 341.6 | -1.493 | 986.6 | 56.8205 | -0.055423
2020-12-03 20:45:00 | 2.63 | 353.2 | 2.689 | 16.51 | 2.8772 | 15.5524 | 3.883 | 349.9 | -1.602 | 986.154 | 60.2393 | 0.062812
2020-12-03 21:00:00 | 2.354 | 84.6 | 2.679 | 20.97 | 2.8665 | 19.7537 | 3.623 | 353.1 | -1.644 | 986.154 | 60.5128 | -0.011085
2020-12-03 21:15:00 | 2.684 | 0.672 | 3.193 | 20.17 | 3.4165 | 19.0001 | 3.888 | 355.4 | -1.606 | 986.154 | 57.9145 | 0.018474
2020-12-03 21:30:00 | 2.809 | 52.84 | 2.986 | 25.39 | 3.195 | 23.9174 | 3.514 | 353.5 | -1.521 | 986.154 | 57.2992 | -0.0073897
2020-12-03 21:45:00 | 3.087 | 34.88 | 2.891 | 19.32 | 3.0934 | 18.1994 | 3.776 | 353.5 | -1.503 | 986.005 | 57.1624 | 0.040643
2020-12-03 22:00:00 | 2.691 | 356.2 | 2.881 | 19.2 | 3.0827 | 18.0864 | 3.417 | 353.7 | -1.503 | 985.857 | 57.1624 | -0.070202
2020-12-03 22:15:00 | 2.98 | 347.7 | 3.336 | 9.03 | 3.5695 | 8.5063 | 3.55 | 343.1 | -1.438 | 985.857 | 56.1368 | 0.033254
2020-12-03 22:30:00 | 3.105 | 347.6 | 3.494 | 6.357 | 3.7386 | 5.9883 | 3.891 | 342.3 | -1.384 | 985.857 | 55.5898 | 0.11084
2020-12-03 22:45:00 | 2.538 | 349.7 | 2.914 | 3.834 | 3.118 | 3.6116 | 3.315 | 344.3 | -1.393 | 985.857 | 55.453 | -0.11084
2020-12-03 23:00:00 | 2.252 | 348.1 | 2.699 | 2.848 | 2.8879 | 2.6828 | 2.722 | 341.9 | -1.36 | 985.561 | 54.5641 | -0.31776
2020-12-03 23:15:00 | 2.451 | 345.1 | 2.96 | 4.302 | 3.1672 | 4.0525 | 2.406 | 339 | -1.298 | 985.559 | 53.0598 | -0.29928
2020-12-03 23:30:00 | 2.431 | 346.2 | 2.689 | 4.554 | 2.8772 | 4.2899 | 2.462 | 339.7 | -1.297 | 985.559 | 53.1966 | -0.29928
2020-12-03 23:45:00 | 2.533 | 336.7 | 2.745 | 1.967 | 2.9371 | 1.8529 | 2.941 | 330.5 | -1.297 | 985.559 | 52.5813 | -0.29928