## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-04 00:00:00 | 2.875 | 343.6 | 2.981 | 11.33 | 3.1897 | 10.6729 | 2.931 | 335.2 | -1.299 | 985.561 | 52.7522 | -0.29928
2020-12-04 00:15:00 | 2.566 | 349.4 | 2.671 | 0.472 | 2.858 | 0.44462 | 2.623 | 339.4 | -1.367 | 985.559 | 52.9915 | -0.28081
2020-12-04 00:30:00 | 2.063 | 345.8 | 2.091 | 356.8 | 2.2374 | 336.106 | 2.108 | 339.8 | -1.499 | 985.559 | 53.4703 | -0.28081
2020-12-04 00:45:00 | 2.109 | 339.8 | 2.244 | 356 | 2.4011 | 335.352 | 2.139 | 339 | -1.555 | 985.262 | 53.917 | -0.29928
2020-12-04 01:00:00 | 2.096 | 333.6 | 2.395 | 352 | 2.5627 | 331.584 | 2.307 | 332.7 | -1.59 | 985.292 | 53.8178 | -0.29928
2020-12-04 01:15:00 | 2.367 | 328.5 | 2.462 | 341.7 | 2.6343 | 321.881 | 2.271 | 326.9 | -1.637 | 985.113 | 53.6823 | -0.29928
2020-12-04 01:30:00 | 2.367 | 321.6 | 2.502 | 337.3 | 2.6771 | 317.737 | 2.353 | 321.2 | -1.746 | 984.979 | 54.983 | -0.20691
2020-12-04 01:45:00 | 2.505 | 325.4 | 2.561 | 337.3 | 2.7403 | 317.737 | 2.536 | 321 | -1.779 | 985.034 | 55.4625 | -0.20691
2020-12-04 02:00:00 | 2.63 | 324.7 | 2.63 | 342.1 | 2.8141 | 322.258 | 2.562 | 317.9 | -1.769 | 984.972 | 54.847 | -0.15149
2020-12-04 02:15:00 | 2.753 | 322.4 | 2.781 | 341.2 | 2.9757 | 321.41 | 2.994 | 317.8 | -1.827 | 985.014 | 55.0521 | -0.13301
2020-12-04 02:30:00 | 2.931 | 312.5 | 3.039 | 331.3 | 3.2517 | 312.085 | 3.331 | 314.8 | -1.815 | 984.715 | 55.736 | -0.16257
2020-12-04 02:45:00 | 2.61 | 319.3 | 3.016 | 334.1 | 3.2271 | 314.722 | 3.69 | 316.5 | -1.972 | 984.476 | 61.0019 | -0.13301
2020-12-04 03:00:00 | 1.746 | 330.2 | 2.116 | 344.1 | 2.2641 | 324.142 | 1.878 | 310 | -1.93 | 984.481 | 59.429 | -0.13301
2020-12-04 03:15:00 | 2.306 | 331.1 | 1.682 | 339.3 | 1.7997 | 319.621 | 1.054 | 314.1 | -1.813 | 984.513 | 57.7876 | -0.077592
2020-12-04 03:30:00 | 2.365 | 323.9 | 2.28 | 338 | 2.4396 | 318.396 | 1.409 | 320.8 | -1.814 | 984.533 | 53.0005 | -0.15149
2020-12-04 03:45:00 | 1.797 | 310.9 | 2.231 | 326.5 | 2.3872 | 307.563 | 2.078 | 311.4 | -1.696 | 984.232 | 54.9154 | -0.20691
2020-12-04 04:00:00 | 2.411 | 306.5 | 2.758 | 322.3 | 2.9511 | 303.607 | 2.755 | 309.6 | -1.632 | 984.324 | 53.2057 | -0.22539
2020-12-04 04:15:00 | 1.604 | 302.9 | 2.129 | 322.6 | 2.278 | 303.889 | 2.839 | 306.8 | -1.816 | 984.419 | 58.8135 | -0.22539
2020-12-04 04:30:00 | 1.749 | 302.2 | 2.628 | 322.3 | 2.812 | 303.607 | 2.837 | 305.9 | -1.915 | 984.2 | 59.0528 | -0.25494
2020-12-04 04:45:00 | 2.03 | 302.2 | 2.487 | 322.3 | 2.6611 | 303.607 | 2.592 | 306.1 | -1.839 | 984.172 | 58.9502 | -0.22539
2020-12-04 05:00:00 | 1.45 | 302.2 | 1.738 | 322.3 | 1.8597 | 303.607 | 1.818 | 297.5 | -1.838 | 984.01 | 58.2672 | -0.24386
2020-12-04 05:15:00 | 1.101 | 297.8 | 1.459 | 322.3 | 1.5611 | 303.607 | 1.599 | 297.5 | -1.836 | 984.056 | 58.0653 | -0.28081
2020-12-04 05:30:00 | 0.971 | 295.1 | 1.654 | 322.3 | 1.7698 | 303.607 | 2.101 | 297.5 | -1.876 | 984.373 | 57.3165 | -0.29928
2020-12-04 05:45:00 | 0.011 | 295.1 | 0.945 | 322.3 | 1.0111 | 303.607 | 1.571 | 297.5 | -1.934 | 984.168 | 57.4554 | -0.31776
2020-12-04 06:00:00 | 1.226 | 295.4 | 1.316 | 322.3 | 1.4081 | 303.607 | 1.787 | 298.2 | -2.045 | 984.247 | 55.7456 | -0.31776
2020-12-04 06:15:00 | 0.984 | 312 | 1.245 | 322.3 | 1.3321 | 303.607 | 1.627 | 298.2 | -2.1 | 984.645 | 69.528 | -0.13301
2020-12-04 06:30:00 | 0.911 | 314 | 1.198 | 322.3 | 1.2819 | 303.607 | 1.586 | 298.2 | -1.812 | 984.686 | 67.6471 | -0.13301
2020-12-04 06:45:00 | 0.327 | 315.4 | 0.86 | 322.3 | 0.9202 | 303.607 | 2.169 | 299.1 | -0.945 | 984.44 | 59.5984 | -0.13301
2020-12-04 07:00:00 | 0.122 | 329.5 | 1.009 | 337 | 1.0796 | 317.454 | 2.317 | 300.3 | 0.149 | 984.816 | 48.6155 | -0.13301
2020-12-04 07:15:00 | 0 | 325.4 | 0.831 | 346 | 0.88917 | 325.932 | 1.741 | 300.4 | 0.959 | 985.262 | 42.2493 | -0.13301
2020-12-04 07:30:00 | 0.06 | 92.2 | 0.177 | 346.2 | 0.18939 | 326.12 | 0 | 300.1 | 1.921 | 985.572 | 43.4671 | -0.14779
2020-12-04 07:45:00 | 0.022 | 33.17 | 0.29 | 68.92 | 0.3103 | 64.9226 | 0.333 | 300.1 | 1.809 | 986.298 | 45.5791 | -0.13301
2020-12-04 08:00:00 | 0.283 | 55.62 | 0.452 | 99.5 | 0.48364 | 93.729 | 0.117 | 300.2 | 1.456 | 986.478 | 39.4197 | -0.14779
2020-12-04 08:15:00 | 0.089 | 6.146 | 0.131 | 68.39 | 0.14017 | 64.4234 | 0.128 | 299.8 | 1.747 | 986.739 | 34.0905 | -0.13301
2020-12-04 08:30:00 | 0.537 | 95.3 | 0.64 | 113.1 | 0.6848 | 106.54 | 0.39 | 270 | 2.593 | 987.016 | 36.7428 | -0.13301
2020-12-04 08:45:00 | 1.881 | 151.6 | 1.329 | 150.9 | 1.422 | 142.148 | 0.605 | 154.8 | 2.717 | 986.736 | 44.8694 | -0.13301
2020-12-04 09:00:00 | 1.471 | 114.3 | 0.741 | 160.3 | 0.79287 | 151.003 | 0.076 | 139.1 | 2.591 | 986.734 | 44.3163 | -0.13301
2020-12-04 09:15:00 | 1.349 | 127.5 | 0.874 | 148.4 | 0.93518 | 139.793 | 0.375 | 117.7 | 3.389 | 986.699 | 40.6282 | -0.13301
2020-12-04 09:30:00 | 1.91 | 141.7 | 1.777 | 172 | 1.9014 | 162.024 | 0.533 | 133.1 | 2.677 | 986.168 | 42.1251 | -0.13301
2020-12-04 09:45:00 | 1.846 | 161.1 | 1.535 | 161.6 | 1.6424 | 152.227 | 0.646 | 163.8 | 2.904 | 985.993 | 42.2607 | -0.13301
2020-12-04 10:00:00 | 1.038 | 198.5 | 1.077 | 226.8 | 1.1524 | 213.646 | 0.496 | 253 | 3.545 | 985.774 | 39.9386 | -0.13301
2020-12-04 10:15:00 | 2.321 | 214.3 | 2.575 | 225.5 | 2.7553 | 212.421 | 1.937 | 232.4 | 3.092 | 985.566 | 44.8541 | -0.13301
2020-12-04 10:30:00 | 3.396 | 193.1 | 2.998 | 195.9 | 3.2079 | 184.538 | 2.381 | 212.4 | 2.16 | 985.039 | 47.587 | -0.13301
2020-12-04 10:45:00 | 3.736 | 174 | 3.144 | 186.1 | 3.3641 | 175.306 | 2.502 | 190.2 | 2.393 | 984.946 | 47.2883 | -0.28081
2020-12-04 11:00:00 | 4.231 | 186.9 | 3.965 | 191.6 | 4.2425 | 180.487 | 3.45 | 206.5 | 2.472 | 984.654 | 46.9182 | -0.25494
2020-12-04 11:15:00 | 3.963 | 198.3 | 3.771 | 206.2 | 4.035 | 194.24 | 3.244 | 207.4 | 2.333 | 984.766 | 46.7475 | -0.24386
2020-12-04 11:30:00 | 3.68 | 175.4 | 3.451 | 189.4 | 3.6926 | 178.415 | 2.638 | 183.5 | 2.607 | 984.955 | 46.406 | -0.25864
2020-12-04 11:45:00 | 4.943 | 195.8 | 4.479 | 199.2 | 4.7925 | 187.646 | 3.468 | 207.8 | 2.275 | 984.51 | 48.0149 | -0.24386
2020-12-04 12:00:00 | 2.125 | 219.2 | 1.999 | 228.1 | 2.1389 | 214.87 | 1.79 | 240 | 2.714 | 984.658 | 42.6631 | -0.28081
2020-12-04 12:15:00 | 2.376 | 260.5 | 2.697 | 269.9 | 2.8858 | 254.246 | 2.424 | 261.9 | 2.75 | 984.955 | 43.6892 | -0.26233
2020-12-04 12:30:00 | 3.233 | 206.7 | 3.221 | 215.3 | 3.4465 | 202.813 | 1.968 | 244.8 | 3.122 | 984.361 | 42.527 | -0.33254
2020-12-04 12:45:00 | 3.92 | 242 | 4.042 | 257.7 | 4.3249 | 242.753 | 3.466 | 243.1 | 2.762 | 984.361 | 44.5418 | -0.26972
2020-12-04 13:00:00 | 2.177 | 278.4 | 2.52 | 285.8 | 2.6964 | 269.224 | 2.021 | 269.4 | 2.693 | 984.361 | 43.7913 | -0.29928
2020-12-04 13:15:00 | 2.898 | 273 | 3.083 | 289.3 | 3.2988 | 272.521 | 3.025 | 273.1 | 2.309 | 984.361 | 45.3971 | -0.29928
2020-12-04 13:30:00 | 4.05 | 251.8 | 4.282 | 266.4 | 4.5817 | 250.949 | 3.916 | 253.8 | 2.114 | 984.064 | 46.2852 | -0.29559
2020-12-04 13:45:00 | 3.736 | 260.9 | 3.786 | 273.2 | 4.051 | 257.354 | 3.417 | 264.3 | 2.337 | 984.361 | 48.3006 | -0.29559
2020-12-04 14:00:00 | 2.814 | 249.8 | 2.731 | 260.1 | 2.9222 | 245.014 | 2.485 | 255.2 | 1.9 | 983.767 | 48.5739 | -0.23647
2020-12-04 14:15:00 | 2.587 | 271.1 | 2.763 | 282 | 2.9564 | 265.644 | 2.429 | 269.8 | 2.093 | 983.767 | 50.1452 | -0.28081
2020-12-04 14:30:00 | 3.358 | 263.3 | 3.341 | 271.6 | 3.5749 | 255.847 | 3.04 | 264.7 | 1.993 | 983.624 | 50.3501 | -0.28081
2020-12-04 14:45:00 | 2.485 | 262.5 | 2.664 | 274 | 2.8505 | 258.108 | 2.332 | 263.3 | 1.864 | 983.753 | 51.3143 | -0.29928
2020-12-04 15:00:00 | 2.034 | 283.6 | 2.352 | 299.4 | 2.5166 | 282.035 | 1.772 | 276.6 | 1.853 | 983.473 | 51.013 | -0.28081
2020-12-04 15:15:00 | 2.579 | 272.7 | 2.837 | 285.1 | 3.0356 | 268.564 | 2.302 | 273.1 | 1.58 | 983.151 | 52.2086 | -0.29928
2020-12-04 15:30:00 | 2.245 | 270.3 | 2.362 | 283.1 | 2.5273 | 266.68 | 2.159 | 265.5 | 1.394 | 982.869 | 53.1691 | -0.29928
2020-12-04 15:45:00 | 2.051 | 265.3 | 2.773 | 278.1 | 2.9671 | 261.97 | 2.908 | 268 | 1.22 | 982.582 | 54.1944 | -0.29928
2020-12-04 16:00:00 | 2.255 | 254.2 | 2.955 | 269.6 | 3.1618 | 253.963 | 3.303 | 258 | 1.026 | 982.433 | 54.3723 | -0.26603
2020-12-04 16:15:00 | 3.08 | 239 | 3.428 | 246.8 | 3.668 | 232.486 | 3.397 | 246.8 | 1.028 | 982.685 | 53.7 | -0.24386
2020-12-04 16:30:00 | 2.906 | 231.3 | 3.346 | 239.9 | 3.5802 | 225.986 | 3.636 | 236.1 | 0.974 | 982.882 | 53.5966 | -0.088676
2020-12-04 16:45:00 | 3.337 | 232.7 | 3.612 | 243.5 | 3.8648 | 229.377 | 3.448 | 235.4 | 1.018 | 982.883 | 52.7084 | -0.2845
2020-12-04 17:00:00 | 2.916 | 234.2 | 3.303 | 244.6 | 3.5342 | 230.413 | 3.257 | 236.1 | 1.015 | 982.585 | 53.3923 | -0.31037
2020-12-04 17:15:00 | 2.947 | 228.5 | 3.326 | 237.2 | 3.5588 | 223.442 | 3.761 | 234.9 | 0.884 | 982.883 | 54.2129 | -0.28081
2020-12-04 17:30:00 | 2.472 | 220 | 3.152 | 227.6 | 3.3726 | 214.399 | 3.677 | 226.9 | 0.705 | 982.883 | 54.6915 | -0.24386
2020-12-04 17:45:00 | 2.993 | 211.3 | 3.712 | 219.6 | 3.9718 | 206.863 | 3.715 | 216.4 | 0.678 | 982.883 | 53.6319 | -0.24386
2020-12-04 18:00:00 | 2.515 | 208.6 | 3.321 | 218.4 | 3.5535 | 205.733 | 3.438 | 211.8 | 0.724 | 982.585 | 53.1875 | -0.26233
2020-12-04 18:15:00 | 2.311 | 212.2 | 2.758 | 227.4 | 2.9511 | 214.211 | 3.163 | 217.9 | 0.786 | 982.734 | 52.2987 | -0.28081
2020-12-04 18:30:00 | 1.476 | 215.1 | 2.039 | 231.1 | 2.1817 | 217.696 | 2.447 | 222.7 | 0.927 | 982.883 | 51.8886 | -0.28081
2020-12-04 18:45:00 | 2.109 | 219.6 | 2.326 | 231.8 | 2.4888 | 218.356 | 2.393 | 221.9 | 0.985 | 982.585 | 49.4958 | -0.31037
2020-12-04 19:00:00 | 1.841 | 219.6 | 2.147 | 232.1 | 2.2973 | 218.638 | 2.342 | 222.3 | 0.93 | 982.585 | 50.1795 | -0.31037
2020-12-04 19:15:00 | 1.925 | 219.6 | 2.433 | 231.1 | 2.6033 | 217.696 | 2.567 | 222.4 | 0.749 | 982.585 | 49.2907 | -0.29928
2020-12-04 19:30:00 | 1.844 | 224.1 | 2.237 | 230.9 | 2.3936 | 217.508 | 2.279 | 229.6 | 0.81 | 982.734 | 49.8376 | -0.29928
2020-12-04 19:45:00 | 2.628 | 222.1 | 2.786 | 228.3 | 2.981 | 215.059 | 2.831 | 229.3 | 0.748 | 982.585 | 50.9315 | -0.29928
2020-12-04 20:00:00 | 2.319 | 225.7 | 2.485 | 228.7 | 2.6589 | 215.435 | 2.388 | 236.3 | 0.746 | 982.585 | 51.1366 | -0.29928
2020-12-04 20:15:00 | 1.645 | 206.5 | 2.104 | 209.6 | 2.2513 | 197.443 | 1.938 | 223.2 | 0.686 | 982.734 | 51.2733 | -0.31037
2020-12-04 20:30:00 | 2.028 | 188.1 | 2.561 | 195.5 | 2.7403 | 184.161 | 2.584 | 194 | 0.568 | 982.585 | 52.9824 | -0.29928
2020-12-04 20:45:00 | 2.081 | 184.3 | 2.868 | 189.6 | 3.0688 | 178.603 | 2.528 | 193 | 0.539 | 982.585 | 51.5467 | -0.29928
2020-12-04 21:00:00 | 2.13 | 184.1 | 2.671 | 191 | 2.858 | 179.922 | 2.302 | 191.2 | 0.522 | 982.437 | 50.7264 | -0.31406
2020-12-04 21:15:00 | 3.034 | 180.2 | 3.809 | 192.9 | 4.0756 | 181.712 | 3.682 | 187.8 | 0.336 | 982.437 | 51.1366 | -0.36949
2020-12-04 21:30:00 | 3.169 | 177.6 | 4.154 | 190.2 | 4.4448 | 179.168 | 4.278 | 185.1 | 0.289 | 982.585 | 51.3427 | -0.1441
2020-12-04 21:45:00 | 2.622 | 180.2 | 3.822 | 189 | 4.0895 | 178.038 | 4.128 | 186.7 | 0.267 | 982.585 | 49.8377 | -0.15888
2020-12-04 22:00:00 | 2.957 | 176.1 | 3.916 | 188.1 | 4.1901 | 177.19 | 4.461 | 186.3 | 0.209 | 982.437 | 50.6581 | 0.1441
2020-12-04 22:15:00 | 2.462 | 173.6 | 3.732 | 185 | 3.9932 | 174.27 | 4.5 | 183.7 | 0.061 | 982.288 | 50.9332 | 0.3621
2020-12-04 22:30:00 | 3.074 | 169.7 | 4.185 | 181.8 | 4.4779 | 171.256 | 4.994 | 178.9 | -0.179 | 982.288 | 52.645 | 0.61334
2020-12-04 22:45:00 | 3.113 | 170.6 | 4.433 | 181.5 | 4.7433 | 170.973 | 5.144 | 178.1 | -0.36 | 982.139 | 53.534 | 0.92002
2020-12-04 23:00:00 | 3.233 | 173.7 | 4.484 | 183.5 | 4.7979 | 172.857 | 4.785 | 182.2 | -0.073 | 981.99 | 51.1444 | 0.93849
2020-12-04 23:15:00 | 3.085 | 176 | 4.328 | 184.9 | 4.631 | 174.176 | 4.831 | 185.8 | -0.005 | 981.99 | 49.3331 | 0.94219
2020-12-04 23:30:00 | 3.971 | 174.6 | 5.067 | 183.8 | 5.4217 | 173.14 | 5.129 | 180.6 | 0.033 | 982.139 | 48.8884 | 1.0826
2020-12-04 23:45:00 | 3.179 | 171.1 | 4.231 | 180.9 | 4.5272 | 170.408 | 4.701 | 180.4 | -0.053 | 981.99 | 50.0503 | 0.84612