## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-05 00:00:00 | 2.937 | 171.3 | 4.062 | 180.9 | 4.3463 | 170.408 | 4.487 | 182.8 | -0.057 | 981.99 | 49.4357 | 0.67985
2020-12-05 00:15:00 | 3.003 | 177.8 | 4.3 | 185.5 | 4.601 | 174.741 | 4.573 | 188.8 | 0.104 | 981.99 | 50.735 | 0.50989
2020-12-05 00:30:00 | 3.115 | 186.6 | 4.325 | 190.8 | 4.6277 | 179.734 | 4.084 | 194.4 | 0.169 | 981.99 | 55.7949 | 0.31406
2020-12-05 00:45:00 | 3.34 | 193.2 | 3.768 | 200.9 | 4.0318 | 189.248 | 4.146 | 201.5 | 0.469 | 981.99 | 59.691 | 0.54684
2020-12-05 01:00:00 | 3.715 | 186.5 | 4.136 | 196.2 | 4.4255 | 184.82 | 4.033 | 194.4 | 0.475 | 981.99 | 58.658 | 0.83134
2020-12-05 01:15:00 | 3.616 | 181.9 | 4.213 | 194.2 | 4.5079 | 182.936 | 4.339 | 193.1 | 0.333 | 981.99 | 57.4261 | 1.7033
2020-12-05 01:30:00 | 2.796 | 162.6 | 3.822 | 177 | 4.0895 | 166.734 | 4.52 | 169.7 | -0.086 | 981.396 | 57.7679 | 1.84
2020-12-05 01:45:00 | 2.972 | 166.1 | 4.172 | 179.1 | 4.464 | 168.712 | 4.828 | 173.7 | -0.433 | 981.396 | 53.8046 | 1.659
2020-12-05 02:00:00 | 3.291 | 171 | 4.466 | 181.4 | 4.7786 | 170.879 | 4.963 | 181.7 | -0.136 | 981.396 | 53.8788 | 2.0913
2020-12-05 02:15:00 | 4.213 | 166 | 5.113 | 179.8 | 5.4709 | 169.372 | 5.679 | 174.8 | -0.224 | 981.396 | 54.7691 | 2.2206
2020-12-05 02:30:00 | 3.682 | 162.1 | 4.724 | 173.4 | 5.0547 | 163.343 | 5.35 | 171.4 | -0.347 | 981.247 | 54.7692 | 1.6479
2020-12-05 02:45:00 | 3.335 | 176 | 3.99 | 183.3 | 4.2693 | 172.669 | 4.431 | 187.7 | -0.092 | 981.098 | 54.9734 | 1.0124
2020-12-05 03:00:00 | 3.779 | 181.2 | 4.489 | 192.4 | 4.8032 | 181.241 | 4.438 | 191.7 | 0.215 | 981.098 | 54.8376 | 1.4188
2020-12-05 03:15:00 | 2.675 | 164.9 | 4.254 | 180.1 | 4.5518 | 169.654 | 4.741 | 173.6 | 0 | 981.098 | 55.2468 | 1.5149
2020-12-05 03:30:00 | 2.573 | 162.4 | 3.863 | 177.6 | 4.1334 | 167.299 | 4.764 | 171.4 | -0.066 | 980.801 | 56.273 | 3.6025
2020-12-05 03:45:00 | 5.316 | 154 | 5.542 | 166.5 | 5.9299 | 156.843 | 5.814 | 162.8 | -0.266 | 980.801 | 55.3839 | 5.3464
2020-12-05 04:00:00 | 5.975 | 152.3 | 6.55 | 161.7 | 7.0085 | 152.321 | 6.593 | 163.1 | -0.415 | 980.801 | 52.9911 | 6.3403
2020-12-05 04:15:00 | 4.566 | 151.9 | 5.264 | 167 | 5.6325 | 157.314 | 6.196 | 159.3 | -0.89 | 980.801 | 55.3504 | 5.1913
2020-12-05 04:30:00 | 4.844 | 148.2 | 5.491 | 163 | 5.8754 | 153.546 | 6.247 | 157 | -0.749 | 980.504 | 53.6068 | 5.3243
2020-12-05 04:45:00 | 4.129 | 151.2 | 5.169 | 163.2 | 5.5308 | 153.734 | 6.096 | 162.8 | -0.972 | 980.652 | 52.6496 | 3.4769
2020-12-05 05:00:00 | 3.511 | 153.2 | 4.481 | 164.1 | 4.7947 | 154.582 | 5.207 | 166.3 | -0.92 | 980.504 | 53.4017 | 3.2588
2020-12-05 05:15:00 | 2.86 | 156.6 | 4.351 | 165.9 | 4.6556 | 156.278 | 4.831 | 167.7 | -0.714 | 980.504 | 53.6752 | 2.1541
2020-12-05 05:30:00 | 2.459 | 162.1 | 3.571 | 171.9 | 3.821 | 161.93 | 4.291 | 172.3 | -0.454 | 980.652 | 53.9487 | 2.2354
2020-12-05 05:45:00 | 2.569 | 160.2 | 3.783 | 173.9 | 4.0478 | 163.814 | 4.904 | 171.7 | -0.307 | 980.801 | 54.2906 | 2.4571
2020-12-05 06:00:00 | 2.622 | 160.1 | 3.622 | 174.1 | 3.8755 | 164.002 | 4.578 | 172.1 | -0.418 | 980.801 | 54.5641 | 2.5457
2020-12-05 06:15:00 | 3.008 | 162 | 3.781 | 172.3 | 4.0457 | 162.307 | 4.324 | 175.7 | -0.208 | 981.098 | 55.8974 | 5.3834
2020-12-05 06:30:00 | 1.906 | 154.5 | 2.871 | 168.6 | 3.072 | 158.821 | 4.174 | 157.9 | -0.377 | 981.396 | 56.2735 | 8.4021
2020-12-05 06:45:00 | 4.08 | 148.8 | 4.734 | 161 | 5.0654 | 151.662 | 4.405 | 157 | -0.377 | 981.247 | 53.8803 | 11.5723
2020-12-05 07:00:00 | 5.071 | 143.5 | 5.847 | 156.6 | 6.2563 | 147.517 | 5.625 | 154.4 | -0.275 | 981.396 | 53.2649 | 11.5612
2020-12-05 07:15:00 | 4.576 | 147.4 | 5.271 | 159.9 | 5.64 | 150.626 | 4.866 | 157.7 | -0.095 | 981.842 | 52.9217 | 9.0413
2020-12-05 07:30:00 | 4.111 | 152 | 4.717 | 163.7 | 5.0472 | 154.205 | 4.362 | 161.8 | 0.144 | 981.99 | 53.461 | 7.9365
2020-12-05 07:45:00 | 4.206 | 154.2 | 4.913 | 165.7 | 5.2569 | 156.089 | 5.039 | 167.2 | 0.344 | 982.437 | 54.7589 | 8.5757
2020-12-05 08:00:00 | 4.867 | 155.2 | 5.397 | 166.5 | 5.7748 | 156.843 | 5.707 | 168.3 | 0.564 | 982.668 | 55.1679 | 8.657
2020-12-05 08:15:00 | 5.245 | 155 | 5.622 | 168.1 | 6.0155 | 158.35 | 5.103 | 164.2 | 0.804 | 982.879 | 53.3751 | 9.3997
2020-12-05 08:30:00 | 5.551 | 154.9 | 5.737 | 166.3 | 6.1386 | 156.655 | 5.579 | 165.9 | 0.69 | 983.177 | 52.8276 | 9.4034
2020-12-05 08:45:00 | 5.217 | 156.3 | 5.486 | 166.8 | 5.87 | 157.126 | 4.591 | 168.2 | 0.8 | 983.177 | 52.9637 | 5.4721
2020-12-05 09:00:00 | 5.347 | 154.7 | 5.192 | 167.5 | 5.5554 | 157.785 | 3.998 | 168.1 | 1.123 | 983.428 | 52.7195 | 5.2171
2020-12-05 09:15:00 | 4.903 | 160.8 | 4.665 | 174.9 | 4.9916 | 164.756 | 4.306 | 170.1 | 1.57 | 983.473 | 52.9888 | 4.2343
2020-12-05 09:30:00 | 4.887 | 179.8 | 4.737 | 190.8 | 5.0686 | 179.734 | 4.421 | 186.6 | 2.284 | 983.216 | 51.99 | 3.403
2020-12-05 09:45:00 | 5.791 | 171.2 | 5.517 | 193.2 | 5.9032 | 181.994 | 4.983 | 174.7 | 2.309 | 982.727 | 53.2195 | 7.1569
2020-12-05 10:00:00 | 5.965 | 178.5 | 5.839 | 193.3 | 6.2477 | 182.089 | 5.05 | 179.8 | 2.257 | 982.578 | 52.7413 | 9.8024
2020-12-05 10:15:00 | 6.253 | 156.6 | 5.967 | 169.4 | 6.3847 | 159.575 | 5.437 | 159.8 | 1.991 | 982.43 | 53.0145 | 10.146
2020-12-05 10:30:00 | 5.62 | 148.5 | 5.409 | 162 | 5.7876 | 152.604 | 4.487 | 159.4 | 1.682 | 982.43 | 54.1759 | 8.0474
2020-12-05 10:45:00 | 5.86 | 144.6 | 5.801 | 161.2 | 6.2071 | 151.85 | 5.004 | 151.6 | 2.123 | 982.281 | 52.6046 | 8.5499
2020-12-05 11:00:00 | 5.812 | 153.9 | 5.803 | 166.9 | 6.2092 | 157.22 | 5.174 | 161.8 | 2.286 | 981.984 | 52.9462 | 8.5794
2020-12-05 11:15:00 | 5.858 | 149.4 | 5.711 | 167.7 | 6.1108 | 157.973 | 5.19 | 155.1 | 2.295 | 981.39 | 53.766 | 7.9698
2020-12-05 11:30:00 | 6.264 | 148 | 6.059 | 161.3 | 6.4831 | 151.945 | 5.136 | 157.5 | 2.233 | 981.39 | 55.6789 | 7.7444
2020-12-05 11:45:00 | 6.09 | 142.4 | 6.054 | 157.4 | 6.4778 | 148.271 | 5.22 | 150.5 | 2.558 | 981.39 | 56.8403 | 7.301
2020-12-05 12:00:00 | 5.375 | 143.5 | 5.1 | 164.8 | 5.457 | 155.242 | 4.678 | 148 | 2.935 | 981.39 | 57.3186 | 7.8035
2020-12-05 12:15:00 | 6.514 | 166.4 | 6.299 | 181.5 | 6.7399 | 170.973 | 5.281 | 169.1 | 3.2 | 981.39 | 58.1384 | 7.8922
2020-12-05 12:30:00 | 5.6 | 175.3 | 5.471 | 193.8 | 5.854 | 182.56 | 5.014 | 176.9 | 3.303 | 981.092 | 57.7968 | 8.5129
2020-12-05 12:45:00 | 5.183 | 170.2 | 5.136 | 187.6 | 5.4955 | 176.719 | 4.293 | 179.2 | 3.517 | 981.092 | 56.5329 | 8.8861
2020-12-05 13:00:00 | 5.074 | 172.2 | 4.908 | 188.7 | 5.2516 | 177.755 | 4.161 | 173.9 | 3.821 | 980.795 | 56.1572 | 7.2012
2020-12-05 13:15:00 | 6.325 | 166.7 | 6.023 | 183.9 | 6.4446 | 173.234 | 4.876 | 170.4 | 3.407 | 980.795 | 56.5671 | 8.088
2020-12-05 13:30:00 | 6.317 | 154.6 | 6.21 | 171.2 | 6.6447 | 161.27 | 5.34 | 161.3 | 3.264 | 980.795 | 58.1384 | 9.4994
2020-12-05 13:45:00 | 6.715 | 152.4 | 6.442 | 169.7 | 6.8929 | 159.857 | 6.086 | 159.2 | 3.292 | 980.795 | 58.8215 | 9.2741
2020-12-05 14:00:00 | 5.776 | 153.6 | 5.65 | 171.8 | 6.0455 | 161.836 | 5.33 | 158.6 | 3.384 | 980.795 | 58.8899 | 10.7779
2020-12-05 14:15:00 | 5.819 | 145.5 | 5.974 | 159.7 | 6.3922 | 150.437 | 4.981 | 155 | 3.431 | 980.795 | 59.8463 | 10.619
2020-12-05 14:30:00 | 6.271 | 154.9 | 6.12 | 168.7 | 6.5484 | 158.915 | 5.488 | 162 | 3.185 | 980.647 | 60.3928 | 8.1841
2020-12-05 14:45:00 | 5.324 | 150 | 5.274 | 167.3 | 5.6432 | 157.597 | 4.991 | 155.4 | 3.271 | 980.762 | 60.3245 | 8.0991
2020-12-05 15:00:00 | 5.349 | 149.6 | 5.202 | 166.2 | 5.5661 | 156.56 | 4.973 | 158 | 3.251 | 980.733 | 60.8786 | 7.9513
2020-12-05 15:15:00 | 5.245 | 147.4 | 5.264 | 166.9 | 5.6325 | 157.22 | 4.747 | 151.3 | 3.255 | 980.5 | 61.0932 | 7.5449
2020-12-05 15:30:00 | 5.454 | 151.6 | 5.501 | 168.6 | 5.8861 | 158.821 | 5.559 | 156.5 | 3.106 | 979.757 | 61.7751 | 8.923
2020-12-05 15:45:00 | 4.343 | 143.6 | 4.908 | 159.8 | 5.2516 | 150.532 | 5.345 | 149.2 | 2.886 | 979.443 | 62.3602 | 10.3677
2020-12-05 16:00:00 | 4.831 | 140.2 | 5.003 | 157.8 | 5.3532 | 148.648 | 5.437 | 146.6 | 2.85 | 979.312 | 61.3702 | 12.2484
2020-12-05 16:15:00 | 5.329 | 141.2 | 5.839 | 156.2 | 6.2477 | 147.14 | 6.641 | 146.2 | 2.892 | 979.014 | 60.0034 | 19.3019
2020-12-05 16:30:00 | 5.837 | 144.4 | 6.215 | 160.5 | 6.6501 | 151.191 | 6.84 | 150.1 | 2.849 | 979.014 | 60.7552 | 24.7518
2020-12-05 16:45:00 | 6.018 | 139.4 | 6.335 | 156.5 | 6.7785 | 147.423 | 6.955 | 145.5 | 2.901 | 978.866 | 59.8667 | 24.3712
2020-12-05 17:00:00 | 6.182 | 136.7 | 6.412 | 152.8 | 6.8608 | 143.938 | 6.975 | 143.3 | 3.016 | 979.014 | 61.0969 | 24.8146
2020-12-05 17:15:00 | 6.008 | 139.2 | 6.58 | 155 | 7.0406 | 146.01 | 7.095 | 145.5 | 2.938 | 979.014 | 58.7733 | 27.6227
2020-12-05 17:30:00 | 6.728 | 142.5 | 7.156 | 159.5 | 7.6569 | 150.249 | 7.617 | 148.6 | 2.949 | 979.014 | 60.2768 | 29.0267
2020-12-05 17:45:00 | 6.537 | 143.8 | 6.68 | 162.1 | 7.1476 | 152.698 | 7.52 | 148.6 | 2.757 | 979.014 | 60.2085 | 35.005
2020-12-05 18:00:00 | 5.995 | 144.7 | 6.345 | 160.4 | 6.7892 | 151.097 | 7.494 | 149.6 | 2.706 | 979.014 | 60.756 | 33.3718
2020-12-05 18:15:00 | 6.424 | 153.9 | 6.772 | 172 | 7.246 | 162.024 | 7.011 | 156.5 | 2.724 | 979.312 | 60.8933 | 35.4705
2020-12-05 18:30:00 | 5.881 | 156.3 | 5.951 | 173 | 6.3676 | 162.966 | 6.769 | 161.4 | 2.522 | 979.312 | 60.2096 | 33.5455
2020-12-05 18:45:00 | 6.235 | 155.2 | 6.396 | 170.2 | 6.8437 | 160.328 | 6.608 | 163.1 | 2.435 | 979.609 | 59.394 | 35.0382
2020-12-05 19:00:00 | 7.18 | 151.6 | 7.447 | 168.7 | 7.9683 | 158.915 | 7.739 | 159.4 | 2.423 | 979.312 | 58.8493 | 36.7785
2020-12-05 19:15:00 | 6.468 | 148.6 | 6.716 | 166.3 | 7.1861 | 156.655 | 8.2 | 154.3 | 2.305 | 979.461 | 59.4665 | 35.8032
2020-12-05 19:30:00 | 6.7 | 150 | 6.979 | 168.1 | 7.4675 | 158.35 | 7.976 | 156.6 | 2.437 | 979.758 | 59.4673 | 32.825
2020-12-05 19:45:00 | 7.098 | 148.6 | 7.299 | 164.7 | 7.8099 | 155.147 | 7.841 | 154.8 | 2.318 | 979.762 | 60.2862 | 37.8648
2020-12-05 20:00:00 | 5.978 | 147.7 | 6.266 | 167.6 | 6.7046 | 157.879 | 7.168 | 154.9 | 2.286 | 979.786 | 60.4282 | 32.995
2020-12-05 20:15:00 | 5.763 | 150.8 | 6.368 | 167.8 | 6.8138 | 158.068 | 7.561 | 156.5 | 2.268 | 979.803 | 60.1926 | 30.6192
2020-12-05 20:30:00 | 5.51 | 154.1 | 5.852 | 172.9 | 6.2616 | 162.872 | 6.876 | 161.4 | 2.302 | 979.834 | 59.9518 | 31.6205
2020-12-05 20:45:00 | 6.368 | 165.2 | 6.578 | 181.2 | 7.0385 | 170.69 | 6.756 | 167.9 | 2.445 | 979.945 | 59.4067 | 29.1412
2020-12-05 21:00:00 | 7.328 | 159.8 | 7.327 | 175.2 | 7.8399 | 165.038 | 7.24 | 165.9 | 2.315 | 979.814 | 60.3611 | 36.2095
2020-12-05 21:15:00 | 7.443 | 149.6 | 7.429 | 167.1 | 7.949 | 157.408 | 7.734 | 155.2 | 1.98 | 979.408 | 61.8669 | 53.1208
2020-12-05 21:30:00 | 7.946 | 151.1 | 7.992 | 165.8 | 8.5514 | 156.184 | 8.93 | 154.6 | 1.772 | 979.408 | 63.3388 | 44.3381
2020-12-05 21:45:00 | 5.255 | 160.6 | 5.453 | 178.5 | 5.8347 | 168.147 | 6.651 | 163.4 | 1.746 | 979.472 | 60.981 | 44.0869
2020-12-05 22:00:00 | 6.874 | 171.5 | 6.568 | 186.6 | 7.0278 | 175.777 | 5.946 | 173.8 | 1.899 | 979.588 | 59.8188 | 47.2259
2020-12-05 22:15:00 | 7.124 | 157.2 | 7.007 | 175.6 | 7.4975 | 165.415 | 7.194 | 162 | 1.98 | 979.611 | 59.7163 | 52.7291
2020-12-05 22:30:00 | 8.34 | 157 | 8.38 | 169.5 | 8.9666 | 159.669 | 8.63 | 161.9 | 1.619 | 978.987 | 62.0065 | 55.1419
2020-12-05 22:45:00 | 7.51 | 162 | 7.478 | 177.6 | 8.0015 | 167.299 | 7.685 | 167.5 | 1.658 | 979.014 | 60.8443 | 51.8904
2020-12-05 23:00:00 | 7.563 | 163.1 | 7.197 | 176.7 | 7.7008 | 166.451 | 6.781 | 168.7 | 1.72 | 978.981 | 61.5963 | 45.0143
2020-12-05 23:15:00 | 8.74 | 159.8 | 8.38 | 172.4 | 8.9666 | 162.401 | 8 | 171.3 | 1.537 | 978.984 | 61.1861 | 41.2788
2020-12-05 23:30:00 | 8.3 | 160.2 | 8.02 | 173.8 | 8.5814 | 163.72 | 7.932 | 168.9 | 1.633 | 978.686 | 60.8442 | 41.3769
2020-12-05 23:45:00 | 7.241 | 159.9 | 7.235 | 173 | 7.7415 | 162.966 | 7.077 | 166.9 | 1.505 | 978.67 | 59.8872 | 41.0017