## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-06 00:00:00 | 8.45 | 154.3 | 8.25 | 166.3 | 8.8275 | 156.655 | 7.571 | 163.6 | 1.511 | 978.526 | 60.0239 | 41.6668
2020-12-06 00:15:00 | 7.201 | 165.5 | 7.076 | 181.1 | 7.5713 | 170.596 | 6.962 | 168.2 | 1.468 | 978.506 | 58.7925 | 39.8822
2020-12-06 00:30:00 | 7.165 | 162.1 | 6.961 | 175.7 | 7.4483 | 165.509 | 6.435 | 167.6 | 1.654 | 978.703 | 57.4944 | 43.0913
2020-12-06 00:45:00 | 7.711 | 154.2 | 7.6 | 170.1 | 8.132 | 160.234 | 7.273 | 163.4 | 1.663 | 978.352 | 58.6558 | 44.4933
2020-12-06 01:00:00 | 7.775 | 157.1 | 7.8 | 170.6 | 8.346 | 160.705 | 7.408 | 163.5 | 1.674 | 978.463 | 59.101 | 41.1015
2020-12-06 01:15:00 | 8.27 | 154.9 | 8.47 | 168.5 | 9.0629 | 158.727 | 8.43 | 161.6 | 1.579 | 978.008 | 58.5198 | 37.7022
2020-12-06 01:30:00 | 7.318 | 156.4 | 7.391 | 171.3 | 7.9084 | 161.365 | 7.833 | 161.9 | 1.487 | 978.287 | 58.2464 | 40.4586
2020-12-06 01:45:00 | 7.308 | 154.8 | 7.409 | 170.6 | 7.9276 | 160.705 | 7.744 | 158.9 | 1.485 | 978.08 | 59.5454 | 38.5483
2020-12-06 02:00:00 | 6.389 | 149.9 | 6.394 | 171.5 | 6.8416 | 161.553 | 7.464 | 156.6 | 1.421 | 977.757 | 59.6821 | 40.8835
2020-12-06 02:15:00 | 6.782 | 154.8 | 6.734 | 172.7 | 7.2054 | 162.683 | 6.863 | 159.6 | 1.452 | 978.099 | 58.6566 | 41.3232
2020-12-06 02:30:00 | 7.211 | 157.4 | 7.447 | 174.1 | 7.9683 | 164.002 | 8.07 | 164.6 | 1.448 | 978.123 | 58.725 | 40.4807
2020-12-06 02:45:00 | 6.874 | 157.5 | 7.375 | 174.9 | 7.8913 | 164.756 | 8.49 | 161.9 | 1.317 | 977.53 | 58.1781 | 40.4179
2020-12-06 03:00:00 | 7.578 | 154.9 | 8.37 | 169.9 | 8.9559 | 160.046 | 8.68 | 160.7 | 1.186 | 977.53 | 60.7759 | 42.705
2020-12-06 03:15:00 | 7.469 | 149.5 | 7.35 | 167.1 | 7.8645 | 157.408 | 8.32 | 155.7 | 0.855 | 977.084 | 60.981 | 53.5568
2020-12-06 03:30:00 | 7.374 | 150.8 | 7.365 | 169.7 | 7.8806 | 159.857 | 8.26 | 155.8 | 0.785 | 977.232 | 61.0485 | 52.7911
2020-12-06 03:45:00 | 7.568 | 150.4 | 7.739 | 169.3 | 8.2807 | 159.481 | 9.36 | 155.2 | 0.778 | 976.935 | 61.0483 | 56.387
2020-12-06 04:00:00 | 8.13 | 150.1 | 8.27 | 170.4 | 8.8489 | 160.517 | 9 | 155.4 | 0.75 | 976.638 | 61.6647 | 52.6774
2020-12-06 04:15:00 | 8.42 | 152.3 | 8.79 | 169.8 | 9.4053 | 159.952 | 9.86 | 158.2 | 0.585 | 976.638 | 61.5963 | 59.003
2020-12-06 04:30:00 | 8.85 | 155.5 | 8.51 | 172 | 9.1057 | 162.024 | 8.7 | 160.3 | 0.502 | 977.084 | 61.0494 | 61.2367
2020-12-06 04:45:00 | 7.944 | 151.5 | 8.77 | 167.9 | 9.3839 | 158.162 | 9.86 | 157.5 | 0.442 | 977.084 | 62.4167 | 54.6246
2020-12-06 05:00:00 | 8.02 | 156.2 | 8.85 | 170.2 | 9.4695 | 160.328 | 9.6 | 161.7 | 0.556 | 977.232 | 62.3483 | 48.1697
2020-12-06 05:15:00 | 8.15 | 154.5 | 8.52 | 169.4 | 9.1164 | 159.575 | 9.15 | 161.9 | 0.475 | 977.232 | 63.032 | 49.9358
2020-12-06 05:30:00 | 8.02 | 154.9 | 8.19 | 172 | 8.7633 | 162.024 | 9.05 | 160 | 0.331 | 977.232 | 65.2196 | 51.6652
2020-12-06 05:45:00 | 7.525 | 153.8 | 7.687 | 172 | 8.2251 | 162.024 | 8.53 | 158.4 | 0.327 | 977.53 | 65.4247 | 52.5629
2020-12-06 06:00:00 | 7.114 | 151.5 | 7.869 | 168.2 | 8.4198 | 158.444 | 8.89 | 157.4 | 0.199 | 977.678 | 65.5614 | 53.3757
2020-12-06 06:15:00 | 7.696 | 151.9 | 8.19 | 168.9 | 8.7633 | 159.104 | 8.68 | 158.5 | 0.201 | 977.827 | 65.9374 | 52.3781
2020-12-06 06:30:00 | 7.356 | 152.3 | 7.874 | 169.3 | 8.4252 | 159.481 | 8.84 | 160.2 | 0.201 | 977.976 | 66.5185 | 49.1193
2020-12-06 06:45:00 | 7.688 | 151.8 | 8.15 | 165.1 | 8.7205 | 155.524 | 8.78 | 158 | 0.2 | 978.125 | 66.4502 | 47.9184
2020-12-06 07:00:00 | 7.07 | 148.7 | 7.81 | 163.7 | 8.3567 | 154.205 | 8.49 | 157.5 | 0.237 | 978.422 | 66.1767 | 49.1156
2020-12-06 07:15:00 | 7.908 | 149.5 | 8.27 | 163.7 | 8.8489 | 154.205 | 8.74 | 157.6 | 0.434 | 978.422 | 65.4247 | 51.6872
2020-12-06 07:30:00 | 8.75 | 151.2 | 9.36 | 168 | 10.0152 | 158.256 | 9.41 | 159.9 | 0.663 | 978.719 | 64.9803 | 49.2671
2020-12-06 07:45:00 | 7.653 | 152.9 | 7.948 | 169.7 | 8.5044 | 159.857 | 8.55 | 160.3 | 0.817 | 979.017 | 64.536 | 42.5905
2020-12-06 08:00:00 | 8.56 | 154.3 | 9.02 | 167.9 | 9.6514 | 158.162 | 9.2 | 162.8 | 1.01 | 979.05 | 63.9115 | 41.1347
2020-12-06 08:15:00 | 8.8 | 155.4 | 8.84 | 170.7 | 9.4588 | 160.799 | 8.92 | 163.3 | 1.195 | 979.312 | 63.216 | 36.1208
2020-12-06 08:30:00 | 8.13 | 151.6 | 8.29 | 165.1 | 8.8703 | 155.524 | 7.619 | 160.8 | 1.25 | 979.609 | 62.9763 | 35.0641
2020-12-06 08:45:00 | 8.42 | 149.9 | 8.19 | 165.2 | 8.7633 | 155.618 | 7.861 | 157.8 | 1.448 | 979.907 | 62.4295 | 26.7174
2020-12-06 09:00:00 | 7.41 | 151.3 | 7.434 | 167.3 | 7.9544 | 157.597 | 7.064 | 158.6 | 1.73 | 979.906 | 61.4999 | 23.8539
2020-12-06 09:15:00 | 6.557 | 152 | 6.66 | 167.6 | 7.1262 | 157.879 | 6.544 | 160.3 | 2.402 | 980.031 | 59.3843 | 19.0617
2020-12-06 09:30:00 | 6.636 | 149.8 | 6.713 | 165.3 | 7.1829 | 155.713 | 6.621 | 159.2 | 2.841 | 980.09 | 59.5405 | 18.2008
2020-12-06 09:45:00 | 6.315 | 149.1 | 6.281 | 166.1 | 6.7207 | 156.466 | 6.071 | 156.8 | 2.724 | 980.202 | 59.0948 | 10.3603
2020-12-06 10:00:00 | 5.355 | 156.5 | 5.269 | 168.5 | 5.6378 | 158.727 | 4.749 | 164.5 | 3.3 | 980.201 | 57.5918 | 7.6372
2020-12-06 10:15:00 | 4.854 | 158 | 4.486 | 169.3 | 4.8 | 159.481 | 3.708 | 173.6 | 4.268 | 980.201 | 57.4202 | 3.5618
2020-12-06 10:30:00 | 3.483 | 183.3 | 3.556 | 200.2 | 3.8049 | 188.588 | 2.872 | 184.9 | 4.464 | 980.201 | 54.9103 | 1.3043
2020-12-06 10:45:00 | 4.131 | 181 | 3.75 | 192.8 | 4.0125 | 181.618 | 3.351 | 193.2 | 4.809 | 979.75 | 55.7282 | -0.084981
2020-12-06 11:00:00 | 3.715 | 178.8 | 3.533 | 191.5 | 3.7803 | 180.393 | 2.628 | 188.3 | 4.816 | 979.606 | 55.6941 | -0.029559
2020-12-06 11:15:00 | 2.725 | 195.6 | 2.757 | 208.2 | 2.95 | 196.124 | 2.584 | 205 | 4.991 | 979.752 | 54.5331 | -0.25494
2020-12-06 11:30:00 | 3.511 | 165.2 | 3.18 | 183.9 | 3.4026 | 173.234 | 2.404 | 175.7 | 5.434 | 979.307 | 54.7711 | -0.073897
2020-12-06 11:45:00 | 1.842 | 156.7 | 2.25 | 165.7 | 2.4075 | 156.089 | 1.967 | 166.3 | 5.831 | 979.594 | 53.3299 | -0.29559
2020-12-06 12:00:00 | 1.599 | 169.2 | 1.353 | 168.9 | 1.4477 | 159.104 | 1.237 | 141.2 | 6.964 | 979.637 | 51.3807 | -0.28081
2020-12-06 12:15:00 | 2.341 | 187.3 | 2.343 | 188.1 | 2.507 | 177.19 | 1.23 | 171.1 | 7.052 | 979.649 | 51.7495 | -0.28081
2020-12-06 12:30:00 | 3.544 | 189.1 | 2.986 | 202.7 | 3.195 | 190.943 | 2.024 | 203.7 | 7.267 | 979.603 | 51.6471 | -0.28081
2020-12-06 12:45:00 | 4.795 | 189 | 4.407 | 204 | 4.7155 | 192.168 | 3.432 | 192.7 | 6.532 | 979.344 | 54.2072 | -0.34362
2020-12-06 13:00:00 | 5.237 | 191 | 4.898 | 207.9 | 5.2409 | 195.842 | 4.245 | 192.1 | 6.11 | 979.03 | 55.9154 | 1.2378
2020-12-06 13:15:00 | 4.65 | 197.4 | 4.269 | 209.1 | 4.5678 | 196.972 | 3.05 | 192.1 | 6.101 | 979.437 | 56.2652 | 0.8609
2020-12-06 13:30:00 | 4.652 | 191.9 | 4.093 | 205.3 | 4.3795 | 193.393 | 3.318 | 199.7 | 5.92 | 979.307 | 57.9806 | 0.066507
2020-12-06 13:45:00 | 3.166 | 187.2 | 2.784 | 200.6 | 2.9789 | 188.965 | 2.202 | 196.2 | 5.848 | 979.604 | 57.1624 | -0.26233
2020-12-06 14:00:00 | 3.263 | 189.3 | 3.277 | 204.2 | 3.5064 | 192.356 | 2.87 | 195.8 | 5.841 | 979.604 | 58.1185 | -0.29928
2020-12-06 14:15:00 | 3.932 | 195.6 | 3.533 | 209.1 | 3.7803 | 196.972 | 2.91 | 200.5 | 5.884 | 979.968 | 58.7673 | -0.218
2020-12-06 14:30:00 | 3.169 | 185.9 | 2.942 | 203.1 | 3.1479 | 191.32 | 2.317 | 187.7 | 5.653 | 980.002 | 59.3478 | -0.24755
2020-12-06 14:45:00 | 2.868 | 163.3 | 2.771 | 178.2 | 2.965 | 167.864 | 2.103 | 173.9 | 5.503 | 980.198 | 60.7137 | -0.30298
2020-12-06 15:00:00 | 3.105 | 166.6 | 2.942 | 176.9 | 3.1479 | 166.64 | 2.381 | 174.6 | 5.281 | 980.201 | 61.5466 | -0.28081
2020-12-06 15:15:00 | 3.194 | 158.7 | 3.075 | 175.7 | 3.2902 | 165.509 | 2.579 | 173.2 | 5.156 | 979.606 | 61.7591 | -0.28081
2020-12-06 15:30:00 | 2.788 | 161.7 | 3.083 | 173.1 | 3.2988 | 163.06 | 2.549 | 177.2 | 5.008 | 979.458 | 62.5107 | -0.28081
2020-12-06 15:45:00 | 2.434 | 158.7 | 2.945 | 171.6 | 3.1511 | 161.647 | 2.702 | 169.4 | 4.795 | 979.309 | 62.1691 | -0.28081
2020-12-06 16:00:00 | 2.214 | 192.6 | 2.492 | 189.6 | 2.6664 | 178.603 | 2.449 | 203.6 | 4.882 | 979.309 | 62.9206 | -0.28081
2020-12-06 16:15:00 | 2.171 | 188.5 | 2.249 | 197.6 | 2.4064 | 186.139 | 2.416 | 197.4 | 4.755 | 979.553 | 63.0658 | -0.28081
2020-12-06 16:30:00 | 2.561 | 186.1 | 2.804 | 193.6 | 3.0003 | 182.371 | 2.48 | 196 | 4.835 | 979.748 | 62.4602 | -0.28081
2020-12-06 16:45:00 | 2.411 | 188.8 | 2.684 | 195.1 | 2.8719 | 183.784 | 2.679 | 197.8 | 4.82 | 979.906 | 62.9383 | -0.26972
2020-12-06 17:00:00 | 2.704 | 181.8 | 2.97 | 195.6 | 3.1779 | 184.255 | 3.267 | 188.5 | 4.835 | 980.203 | 63.5505 | -0.28081
2020-12-06 17:15:00 | 3.286 | 192.6 | 3.5 | 204.3 | 3.745 | 192.451 | 3.16 | 200.1 | 4.788 | 980.501 | 63.5163 | -0.28081
2020-12-06 17:30:00 | 3.151 | 195.4 | 3.047 | 203.8 | 3.2603 | 191.98 | 2.628 | 205.3 | 4.87 | 980.798 | 63.4852 | -0.28081
2020-12-06 17:45:00 | 1.739 | 218.1 | 1.925 | 210.5 | 2.0598 | 198.291 | 1.935 | 227.4 | 4.833 | 981.095 | 64.1669 | -0.28081
2020-12-06 18:00:00 | 1.353 | 253.7 | 1.651 | 252 | 1.7666 | 237.384 | 1.494 | 241 | 4.847 | 981.095 | 64.0662 | -0.28081
2020-12-06 18:15:00 | 0.922 | 265.4 | 1.425 | 259.6 | 1.5248 | 244.543 | 1.612 | 242.4 | 4.736 | 981.095 | 63.7584 | -0.28081
2020-12-06 18:30:00 | 1.133 | 283.7 | 1.628 | 281.9 | 1.742 | 265.55 | 2.034 | 243.4 | 4.692 | 981.095 | 63.6896 | -0.28081
2020-12-06 18:45:00 | 0.186 | 300.8 | 1.08 | 298 | 1.1556 | 280.716 | 1.749 | 243.9 | 4.643 | 981.087 | 64.5076 | -0.28081
2020-12-06 19:00:00 | 0.234 | 300.8 | 1.178 | 298 | 1.2605 | 280.716 | 1.655 | 243.9 | 4.626 | 981.08 | 65.8723 | -0.29928
2020-12-06 19:15:00 | 1.67 | 313.1 | 1.963 | 300.8 | 2.1004 | 283.354 | 2.164 | 244 | 4.609 | 981.089 | 65.9418 | -0.28081
2020-12-06 19:30:00 | 2.301 | 320.8 | 2.656 | 333.1 | 2.8419 | 313.78 | 2.213 | 323.9 | 4.555 | 981.064 | 66.4887 | -0.29189
2020-12-06 19:45:00 | 2.817 | 325.6 | 2.927 | 337.2 | 3.1319 | 317.642 | 3.394 | 329 | 4.437 | 981.392 | 67.2426 | -0.092371
2020-12-06 20:00:00 | 2.901 | 333 | 3.147 | 346.8 | 3.3673 | 326.686 | 3.537 | 333.6 | 4.225 | 981.35 | 68.4021 | 0.74266
2020-12-06 20:15:00 | 3.32 | 340.6 | 3.684 | 353.2 | 3.9419 | 332.714 | 4.151 | 342.7 | 4.077 | 981.392 | 69.6317 | 1.9509
2020-12-06 20:30:00 | 3.81 | 359.9 | 4.356 | 5.509 | 4.6609 | 5.1895 | 4.701 | 351.7 | 4.024 | 981.383 | 69.9082 | 3.451
2020-12-06 20:45:00 | 3.085 | 6.479 | 3.875 | 22.11 | 4.1463 | 20.8276 | 4.202 | 353.7 | 3.857 | 981.369 | 70.1826 | 3.0889
2020-12-06 21:00:00 | 3.125 | 12.8 | 3.904 | 27.79 | 4.1773 | 26.1782 | 4.433 | 15.13 | 3.798 | 981.385 | 69.9085 | 3.8168
2020-12-06 21:15:00 | 2.995 | 20.02 | 4.182 | 34.42 | 4.4747 | 32.4236 | 4.515 | 22.66 | 3.785 | 981.379 | 69.6363 | 3.9941
2020-12-06 21:30:00 | 2.88 | 17.85 | 3.768 | 32.99 | 4.0318 | 31.0766 | 4.293 | 23.11 | 3.843 | 981.534 | 69.9117 | 2.1837
2020-12-06 21:45:00 | 2.556 | 21.98 | 3.433 | 37.44 | 3.6733 | 35.2685 | 3.799 | 24.52 | 3.827 | 981.69 | 69.8753 | 1.2858
2020-12-06 22:00:00 | 3.445 | 13.17 | 3.589 | 28.01 | 3.8402 | 26.3854 | 3.937 | 18.21 | 3.809 | 981.675 | 70.4254 | 2.5421
2020-12-06 22:15:00 | 3.294 | 5.92 | 3.906 | 19.51 | 4.1794 | 18.3784 | 3.942 | 11.93 | 3.766 | 981.673 | 71.689 | 4.6186
2020-12-06 22:30:00 | 3.197 | 10.52 | 3.957 | 23.25 | 4.234 | 21.9015 | 4.382 | 14.03 | 3.208 | 981.688 | 75.7898 | 5.9967
2020-12-06 22:45:00 | 3.034 | 8.98 | 4.113 | 21.71 | 4.4009 | 20.4508 | 4.291 | 15.37 | 2.827 | 981.69 | 78.2505 | 5.993
2020-12-06 23:00:00 | 2.574 | 7.815 | 3.474 | 23.25 | 3.7172 | 21.9015 | 3.46 | 10.77 | 2.873 | 981.69 | 77.2937 | 4.4745
2020-12-06 23:15:00 | 2.781 | 9.82 | 3.431 | 22.51 | 3.6712 | 21.2044 | 4.352 | 14.71 | 2.369 | 981.69 | 79.6856 | 3.0593
2020-12-06 23:30:00 | 2.998 | 5.15 | 2.998 | 16.04 | 3.2079 | 15.1097 | 2.918 | 14.66 | 2.496 | 981.838 | 78.4555 | 5.2541
2020-12-06 23:45:00 | 3.577 | 7.589 | 3.385 | 19.34 | 3.622 | 18.2183 | 3.058 | 8.32 | 2.559 | 981.69 | 80.4374 | 5.6642