## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-07 00:00:00 | 3.294 | 7.181 | 3.663 | 22.22 | 3.9194 | 20.9312 | 3.412 | 9.74 | 2.325 | 981.838 | 80.9841 | 5.5829
2020-12-07 00:15:00 | 3.628 | 6.342 | 3.31 | 19 | 3.5417 | 17.898 | 3.145 | 8.53 | 2.306 | 982.284 | 81.2575 | 5.8859
2020-12-07 00:30:00 | 3.891 | 8.6 | 3.671 | 21.4 | 3.928 | 20.1588 | 3.967 | 11.7 | 2.117 | 981.987 | 84.4011 | 7.0461
2020-12-07 00:45:00 | 4.024 | 6.134 | 3.988 | 20.71 | 4.2672 | 19.5088 | 4.184 | 8.89 | 1.436 | 981.69 | 87.7512 | 10.7409
2020-12-07 01:00:00 | 4.841 | 9.37 | 4.66 | 22.28 | 4.9862 | 20.9878 | 4.688 | 9.11 | 1.306 | 981.99 | 89.1331 | 14.6427
2020-12-07 01:15:00 | 4.785 | 8.04 | 4.428 | 20.79 | 4.738 | 19.5842 | 4.698 | 8.03 | 0.985 | 982.086 | 89.3168 | 16.5751
2020-12-07 01:30:00 | 5.212 | 8.7 | 5.688 | 24.95 | 6.0862 | 23.5029 | 5.327 | 9.8 | 1.079 | 982.113 | 88.4976 | 19.8228
2020-12-07 01:45:00 | 5.37 | 10.63 | 7.023 | 27.49 | 7.5146 | 25.8956 | 6.468 | 15.38 | 1.101 | 982.129 | 88.2584 | 21.7294
2020-12-07 02:00:00 | 5.388 | 11.38 | 7.483 | 25.81 | 8.0068 | 24.313 | 6.427 | 17.06 | 0.994 | 982.139 | 88.4635 | 24.4081
2020-12-07 02:15:00 | 5.189 | 11.55 | 7.347 | 27.56 | 7.8613 | 25.9615 | 6.544 | 17.63 | 0.922 | 981.99 | 89.6257 | 20.3401
2020-12-07 02:30:00 | 4.488 | 17.96 | 7.056 | 29.76 | 7.5499 | 28.0339 | 7.082 | 24.25 | 0.545 | 981.99 | 90.3777 | 17.9496
2020-12-07 02:45:00 | 4.438 | 16.62 | 6.974 | 29.22 | 7.4622 | 27.5252 | 7.357 | 23.45 | 0.751 | 981.99 | 89.2839 | 19.01
2020-12-07 03:00:00 | 4.172 | 22.22 | 6.276 | 33.47 | 6.7153 | 31.5287 | 6.674 | 28.74 | 0.662 | 981.693 | 88.599 | 19.7379
2020-12-07 03:15:00 | 4.606 | 23.85 | 6.813 | 38.32 | 7.2899 | 36.0974 | 7.105 | 29.14 | 0.959 | 981.842 | 85.8293 | 21.7035
2020-12-07 03:30:00 | 4.481 | 23.84 | 6.859 | 37.85 | 7.3391 | 35.6547 | 7.005 | 30.32 | 1.073 | 981.99 | 84.7024 | 17.3658
2020-12-07 03:45:00 | 4.721 | 21.14 | 6.787 | 33.9 | 7.2621 | 31.9338 | 6.845 | 28.28 | 1.05 | 981.99 | 83.0626 | 14.3138
2020-12-07 04:00:00 | 4.49 | 21.36 | 7.37 | 34.29 | 7.8859 | 32.3012 | 7.1 | 27.19 | 1.135 | 981.99 | 78.7193 | 13.6672
2020-12-07 04:15:00 | 4.049 | 17.47 | 7.381 | 30.38 | 7.8977 | 28.618 | 6.939 | 24.71 | 1.003 | 981.99 | 73.8333 | 15.7253
2020-12-07 04:30:00 | 4.54 | 15.26 | 7.373 | 28.8 | 7.8891 | 27.1296 | 6.985 | 23.02 | 0.925 | 982.288 | 71.6459 | 17.8055
2020-12-07 04:45:00 | 4.647 | 16.14 | 7.301 | 28.3 | 7.8121 | 26.6586 | 6.962 | 21.45 | 0.675 | 982.585 | 69.2526 | 21.2121
2020-12-07 05:00:00 | 4.438 | 11.91 | 7.248 | 25.67 | 7.7554 | 24.1811 | 6.376 | 17.84 | 0.555 | 982.585 | 64.7403 | 21.3303
2020-12-07 05:15:00 | 4.612 | 11.24 | 7.603 | 25.88 | 8.1352 | 24.379 | 6.229 | 17.05 | 0.223 | 982.437 | 62.8949 | 27.9515
2020-12-07 05:30:00 | 5.178 | 12.67 | 8.32 | 28.08 | 8.9024 | 26.4514 | 7.589 | 18.13 | 0.246 | 982.437 | 61.7672 | 27.0463
2020-12-07 05:45:00 | 4.714 | 15.83 | 7.831 | 28.01 | 8.3792 | 26.3854 | 7.887 | 21.88 | -0.248 | 982.585 | 61.8698 | 29.0563
2020-12-07 06:00:00 | 4.956 | 13.31 | 8.55 | 26.36 | 9.1485 | 24.8311 | 7.749 | 19.64 | -0.544 | 982.585 | 58.6908 | 31.2177
2020-12-07 06:15:00 | 5.842 | 13.47 | 9.3 | 27.73 | 9.951 | 26.1217 | 8.72 | 20.01 | -0.684 | 982.585 | 54.8966 | 30.9037
2020-12-07 06:30:00 | 5.245 | 17.73 | 9.23 | 30.69 | 9.8761 | 28.91 | 8.91 | 23.98 | -0.539 | 982.585 | 53.5306 | 32.282
2020-12-07 06:45:00 | 6.041 | 13.37 | 9.01 | 25.69 | 9.6407 | 24.2 | 8.71 | 20.9 | -0.482 | 982.883 | 52.7103 | 35.5481
2020-12-07 07:00:00 | 5.743 | 14.48 | 9.21 | 27.52 | 9.8547 | 25.9238 | 8.86 | 21.47 | -0.667 | 983.18 | 52.1621 | 31.6907
2020-12-07 07:15:00 | 6.228 | 14.74 | 9.15 | 29.12 | 9.7905 | 27.431 | 8.67 | 21.44 | -0.709 | 983.18 | 49.53 | 29.5883
2020-12-07 07:30:00 | 6.516 | 12.27 | 9.52 | 27.57 | 10.1864 | 25.9709 | 8.53 | 19.39 | -0.681 | 983.626 | 48.7438 | 32.862
2020-12-07 07:45:00 | 6.516 | 12.66 | 9.65 | 27.44 | 10.3255 | 25.8485 | 8.52 | 20.34 | -0.583 | 984.072 | 45.8041 | 27.4416
2020-12-07 08:00:00 | 6.32 | 9.93 | 8.53 | 25.82 | 9.1271 | 24.3224 | 7.308 | 14.21 | -0.553 | 984.518 | 45.1889 | 28.1104
2020-12-07 08:15:00 | 7.152 | 12.21 | 9.1 | 28.72 | 9.737 | 27.0542 | 7.757 | 16.3 | -0.505 | 984.964 | 42.7612 | 34.8609
2020-12-07 08:30:00 | 7.89 | 10.3 | 9.32 | 28.32 | 9.9724 | 26.6774 | 7.624 | 14.2 | -0.434 | 985.113 | 39.9932 | 40.4725
2020-12-07 08:45:00 | 7.492 | 14.75 | 9.84 | 30.46 | 10.5288 | 28.6933 | 8.39 | 17.36 | -0.224 | 985.235 | 38.8993 | 40.0669
2020-12-07 09:00:00 | 7.285 | 10.33 | 9.55 | 28.7 | 10.2185 | 27.0354 | 7.747 | 13.93 | -0.144 | 985.191 | 36.5737 | 48.8976
2020-12-07 09:15:00 | 8 | 11.77 | 9.98 | 28.29 | 10.6786 | 26.6492 | 8.19 | 14.08 | -0.135 | 985.109 | 35.4051 | 58.8589
2020-12-07 09:30:00 | 7.801 | 15 | 10.57 | 30.16 | 11.3099 | 28.4107 | 8.98 | 16.12 | -0.04 | 985.258 | 33.8633 | 55.5483
2020-12-07 09:45:00 | 8.07 | 12.25 | 9.81 | 26.29 | 10.4967 | 24.7652 | 7.988 | 13.16 | -0.025 | 985.109 | 33.4192 | 52.8806
2020-12-07 10:00:00 | 7.499 | 13.79 | 9.73 | 30.48 | 10.4111 | 28.7122 | 8.04 | 17.3 | 0.036 | 985.258 | 33.7946 | 53.4066
2020-12-07 10:15:00 | 6.779 | 7.624 | 8.03 | 28.12 | 8.6777 | 29.1361 | 7.151 | 8.77 | 0.154 | 985.555 | 33.6921 | 45.6794
2020-12-07 10:30:00 | 6.119 | 4.81 | 7.902 | 25.78 | 8.4551 | 24.2848 | 8.49 | 0.662 | 0.138 | 985.258 | 33.7263 | 41.5507
2020-12-07 10:45:00 | 6.795 | 11.62 | 8.23 | 28.53 | 8.8061 | 26.8753 | 6.965 | 11.77 | 0.258 | 984.936 | 33.7946 | 38.8171
2020-12-07 11:00:00 | 6.981 | 10.4 | 7.567 | 25.56 | 8.0967 | 24.0775 | 6.998 | 7.84 | 0.13 | 984.956 | 33.2137 | 30.2666
2020-12-07 11:15:00 | 6.325 | 9.12 | 7.355 | 26.48 | 7.8698 | 24.9442 | 6.774 | 7.142 | 0.242 | 984.662 | 33.4184 | 32.4914
2020-12-07 11:30:00 | 6.442 | 10.66 | 8 | 29.6 | 8.56 | 27.8832 | 7.112 | 8.51 | 0.489 | 984.631 | 32.802 | 24.3712
2020-12-07 11:45:00 | 4.654 | 10.19 | 7.296 | 34.76 | 7.8067 | 32.7439 | 6.28 | 0.73 | 0.755 | 984.662 | 34.064 | 23.2849
2020-12-07 12:00:00 | 4.172 | 5.684 | 5.683 | 32.73 | 6.0808 | 30.8317 | 5.77 | 358 | 0.714 | 985.246 | 34.0315 | 27.8583
2020-12-07 12:15:00 | 5.934 | 5.641 | 6.882 | 31.84 | 7.3637 | 29.9933 | 7.329 | 357.7 | 0.53 | 984.662 | 33.9631 | 32.2634
2020-12-07 12:30:00 | 6.486 | 3.983 | 7.347 | 24.94 | 7.8613 | 23.4935 | 8.46 | 5.144 | 0.463 | 984.334 | 35.1238 | 38.7959
2020-12-07 12:45:00 | 6.118 | 11.36 | 7.255 | 32.26 | 7.7629 | 30.3889 | 6.448 | 5.439 | 0.417 | 984.365 | 35.6056 | 33.7894
2020-12-07 13:00:00 | 4.99 | 11.33 | 6.77 | 33.45 | 7.2439 | 31.5099 | 5.826 | 5.818 | 0.676 | 984.365 | 36.6991 | 29.6437
2020-12-07 13:15:00 | 5.212 | 7.592 | 6.897 | 30.76 | 7.3798 | 28.9759 | 6.325 | 4.279 | 0.524 | 984.662 | 37.1775 | 27.1312
2020-12-07 13:30:00 | 6.1 | 11.62 | 7.483 | 32.25 | 8.0068 | 30.3795 | 6.206 | 9.48 | 0.371 | 984.217 | 38.4076 | 26.1632
2020-12-07 13:45:00 | 4.977 | 352.2 | 5.657 | 21.6 | 6.053 | 20.3472 | 6.814 | 350.5 | 0.495 | 984.365 | 37.1775 | 29.3223
2020-12-07 14:00:00 | 4.831 | 1.017 | 6.097 | 26.16 | 6.5238 | 24.6427 | 6.687 | 355.3 | 0.38 | 984.068 | 36.0841 | 26.88
2020-12-07 14:15:00 | 4.941 | 354.9 | 5.21 | 19.86 | 5.5747 | 18.7081 | 5.416 | 349.4 | -0.016 | 984.068 | 37.9976 | 26.0804
2020-12-07 14:30:00 | 4.255 | 357.4 | 5.481 | 28.24 | 5.8647 | 26.6021 | 6.109 | 348.2 | -0.087 | 983.771 | 38.207 | 20.7207
2020-12-07 14:45:00 | 4.77 | 1.733 | 4.916 | 20.57 | 5.2601 | 19.3769 | 5.806 | 2.35 | -0.328 | 983.611 | 38.6589 | 17.3362
2020-12-07 15:00:00 | 4.877 | 7.555 | 5.87 | 31.3 | 6.2809 | 29.4846 | 5.136 | 6.396 | -0.452 | 983.774 | 39.3779 | 13.0834
2020-12-07 15:15:00 | 4.972 | 9.86 | 5.282 | 24.19 | 5.6517 | 22.787 | 4.874 | 5.124 | -0.523 | 983.775 | 40.4026 | 11.2065
2020-12-07 15:30:00 | 4.535 | 8.79 | 4.908 | 24.28 | 5.2516 | 22.8718 | 5.08 | 5.896 | -0.682 | 983.477 | 39.8222 | 11.3838
2020-12-07 15:45:00 | 4.632 | 9.21 | 5.238 | 26.99 | 5.6047 | 25.4246 | 4.711 | 7.907 | -0.891 | 983.18 | 41.3604 | 9.0709
2020-12-07 16:00:00 | 5.355 | 9.22 | 5.195 | 21.8 | 5.5587 | 20.5356 | 5.648 | 8.35 | -1.001 | 983.18 | 41.087 | 10.0056
2020-12-07 16:15:00 | 4.109 | 10.61 | 5.946 | 28.21 | 6.3622 | 26.5738 | 4.976 | 12.91 | -1.117 | 983.18 | 42.8677 | 10.6005
2020-12-07 16:30:00 | 3.81 | 13.19 | 6.054 | 29.46 | 6.4778 | 27.7513 | 4.828 | 16.08 | -1.329 | 983.18 | 44.4443 | 12.6696
2020-12-07 16:45:00 | 3.478 | 15.53 | 6.688 | 33.24 | 7.1562 | 31.3121 | 5.679 | 18.24 | -1.372 | 983.031 | 43.9658 | 13.5453
2020-12-07 17:00:00 | 4.198 | 22.15 | 6.805 | 36.32 | 7.2813 | 34.2134 | 6.883 | 26.63 | -1.433 | 982.883 | 43.4872 | 14.2954
2020-12-07 17:15:00 | 5.237 | 15 | 7.958 | 30.71 | 8.5151 | 28.9288 | 7.212 | 21.77 | -1.304 | 982.585 | 39.2479 | 13.2682
2020-12-07 17:30:00 | 5.14 | 14.04 | 7.309 | 30.39 | 7.8206 | 28.6274 | 6.593 | 18.85 | -1.456 | 982.883 | 36.9231 | 14.203
2020-12-07 17:45:00 | 4.772 | 11.53 | 7.283 | 27.08 | 7.7928 | 25.5094 | 6.091 | 16.29 | -1.607 | 983.031 | 38.4273 | 15.9211
2020-12-07 18:00:00 | 4.208 | 15.56 | 7.099 | 28.97 | 7.5959 | 27.2897 | 6.59 | 20.44 | -1.823 | 982.883 | 39.1795 | 13.2312
2020-12-07 18:15:00 | 4.762 | 19.33 | 7.478 | 34.12 | 8.0015 | 32.141 | 7.24 | 25.63 | -1.802 | 982.888 | 39.282 | 11.8678
2020-12-07 18:30:00 | 3.986 | 21.62 | 6.327 | 34.24 | 6.7699 | 32.2541 | 6.555 | 27.66 | -1.872 | 982.907 | 38.5641 | 10.5192
2020-12-07 18:45:00 | 4.185 | 19.23 | 6.836 | 32.16 | 7.3145 | 30.2947 | 6.626 | 23.98 | -1.89 | 983.042 | 36.7179 | 9.6805
2020-12-07 19:00:00 | 3.651 | 23.03 | 6.304 | 37.26 | 6.7453 | 35.0989 | 6.494 | 26.2 | -1.808 | 983.181 | 35.4188 | 8.6533
2020-12-07 19:15:00 | 3.639 | 25.11 | 5.251 | 34.7 | 5.6186 | 32.6874 | 5.727 | 30.76 | -2.071 | 983.181 | 38.906 | 3.8537
2020-12-07 19:30:00 | 3.013 | 24.7 | 4.438 | 37.75 | 4.7487 | 35.5605 | 4.678 | 32.35 | -1.852 | 983.19 | 35.282 | 2.3462
2020-12-07 19:45:00 | 2.508 | 28.87 | 4.671 | 43.83 | 4.998 | 41.2879 | 5.187 | 35.82 | -1.919 | 983.181 | 39.1795 | 2.2428
2020-12-07 20:00:00 | 2.937 | 25.13 | 4.325 | 39.66 | 4.6277 | 37.3597 | 4.925 | 32.25 | -1.782 | 983.181 | 32.684 | 1.9509
2020-12-07 20:15:00 | 2.574 | 15.4 | 3.661 | 27.42 | 3.9173 | 25.8296 | 3.43 | 21 | -1.773 | 983.508 | 31.9319 | 0.32145
2020-12-07 20:30:00 | 2.796 | 23.98 | 4.287 | 36.12 | 4.5871 | 34.025 | 4.782 | 30.32 | -1.78 | 983.488 | 33.9829 | 0.78331
2020-12-07 20:45:00 | 2.449 | 27.18 | 3.914 | 36.97 | 4.188 | 34.8257 | 4.428 | 31.76 | -2.051 | 983.188 | 37.4701 | 1.0272
2020-12-07 21:00:00 | 2.896 | 19.71 | 3.737 | 27.14 | 3.9986 | 25.5659 | 4.408 | 24.37 | -2.005 | 983.483 | 35.8974 | 0.84242
2020-12-07 21:15:00 | 2.262 | 28.02 | 3.814 | 37.35 | 4.081 | 35.1837 | 4.161 | 29.32 | -2.16 | 983.48 | 34.4615 | 0.65029
2020-12-07 21:30:00 | 1.915 | 16.8 | 2.73 | 22.96 | 2.9211 | 21.6283 | 3.211 | 18.34 | -1.956 | 983.627 | 34.9402 | 0.23278
2020-12-07 21:45:00 | 2.745 | 19.13 | 3.558 | 30.23 | 3.8071 | 28.4767 | 4.535 | 22.22 | -2.13 | 983.478 | 37.1288 | 0.52097
2020-12-07 22:00:00 | 2.582 | 20.27 | 4.264 | 36.57 | 4.5625 | 34.4489 | 5.006 | 25.76 | -2.431 | 983.486 | 40.2069 | 0.96066
2020-12-07 22:15:00 | 2.153 | 21.95 | 4.062 | 39.88 | 4.3463 | 37.567 | 4.856 | 24.18 | -2.601 | 983.479 | 41.9189 | 1.1269
2020-12-07 22:30:00 | 2.311 | 20.4 | 4.095 | 36.96 | 4.3816 | 34.8163 | 4.769 | 23.59 | -2.212 | 983.182 | 32.894 | 0.91263
2020-12-07 22:45:00 | 1.836 | 22.45 | 3.234 | 39.8 | 3.4604 | 37.4916 | 3.827 | 24.13 | -2.022 | 983.5 | 31.3216 | 0.55053
2020-12-07 23:00:00 | 0.238 | 19.66 | 1.62 | 34.68 | 1.7334 | 32.6686 | 2.146 | 20.47 | -2.04 | 983.628 | 36.724 | -0.26233
2020-12-07 23:15:00 | 0.019 | 14.73 | 0.919 | 337.6 | 0.98333 | 318.019 | 2.62 | 35.43 | -2.68 | 983.592 | 44.9991 | -0.31776
2020-12-07 23:30:00 | 1.128 | 10.35 | 0.774 | 229.8 | 0.82818 | 216.472 | 0.548 | 336 | -3.836 | 983.448 | 55.328 | -0.31406
2020-12-07 23:45:00 | 0.048 | 10.12 | 0.086 | 227.3 | 0.09202 | 214.117 | 0.416 | 342.4 | -3.642 | 983.747 | 54.6511 | -0.29928