## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-08 00:00:00 | 0.052 | 9.82 | 0.96 | 308.1 | 1.0272 | 290.23 | 0.942 | 344.3 | -3.295 | 983.783 | 48.632 | -0.29928
2020-12-08 00:15:00 | 0.933 | 9.73 | 1.213 | 295.9 | 1.2979 | 278.738 | 1.805 | 345.1 | -3.261 | 983.634 | 47.606 | -0.29928
2020-12-08 00:30:00 | 1.259 | 9.23 | 1.815 | 339 | 1.9421 | 319.338 | 2.312 | 345.8 | -3.045 | 983.485 | 43.2979 | -0.29928
2020-12-08 00:45:00 | 0.447 | 2.413 | 1.549 | 339 | 1.6574 | 319.338 | 2.21 | 354.5 | -3.048 | 983.634 | 43.4348 | -0.29928
2020-12-08 01:00:00 | 0.774 | 2.595 | 1.278 | 20.44 | 1.3675 | 19.2545 | 2.006 | 355.1 | -3.023 | 983.485 | 41.5876 | -0.29928
2020-12-08 01:15:00 | 1.642 | 2.796 | 1.807 | 21.98 | 1.9335 | 20.7052 | 1.94 | 0.709 | -2.82 | 983.337 | 42.5107 | -0.25494
2020-12-08 01:30:00 | 2.612 | 2.689 | 2.456 | 13.77 | 2.6279 | 12.9713 | 1.994 | 6.324 | -2.776 | 983.188 | 39.6034 | 0.15518
2020-12-08 01:45:00 | 2.485 | 6.723 | 2.735 | 18.07 | 2.9264 | 17.0219 | 3.002 | 17.4 | -2.79 | 982.89 | 40.7661 | 0.52097
2020-12-08 02:00:00 | 2.704 | 8.9 | 3.285 | 27.41 | 3.5149 | 25.8202 | 3.534 | 21.35 | -2.837 | 982.593 | 41.3475 | 1.2636
2020-12-08 02:15:00 | 2.362 | 14.78 | 3.543 | 41.41 | 3.791 | 39.0082 | 4.24 | 23.72 | -3.021 | 982.593 | 41.9289 | 1.1121
2020-12-08 02:30:00 | 2.796 | 20.27 | 4.113 | 39.47 | 4.4009 | 37.1807 | 4.642 | 27.21 | -2.959 | 982.146 | 41.1765 | 1.8881
2020-12-08 02:45:00 | 2.62 | 21.37 | 3.998 | 44.67 | 4.2779 | 42.0791 | 4.706 | 27.92 | -3.071 | 981.998 | 39.1245 | 2.797
2020-12-08 03:00:00 | 2.38 | 30.63 | 3.441 | 47.45 | 3.6819 | 44.6979 | 4.342 | 35.93 | -3.032 | 981.7 | 36.1149 | 3.0446
2020-12-08 03:15:00 | 2.487 | 35.18 | 2.906 | 58.64 | 3.1094 | 55.2389 | 3.308 | 46.03 | -2.987 | 981.7 | 32.4898 | 1.8253
2020-12-08 03:30:00 | 2.875 | 57.52 | 3.372 | 75.01 | 3.608 | 70.6594 | 3.985 | 56.15 | -2.934 | 981.402 | 33.2421 | 1.5297
2020-12-08 03:45:00 | 3.44 | 59.38 | 2.791 | 76.46 | 2.9864 | 72.0253 | 2.964 | 64.22 | -2.351 | 981.543 | 27.7702 | 1.4706
2020-12-08 04:00:00 | 3.899 | 52.14 | 4.619 | 65.05 | 4.9423 | 61.2771 | 4.26 | 61.1 | -2.149 | 981.372 | 25.2394 | 2.4645
2020-12-08 04:15:00 | 3.307 | 46.06 | 5.813 | 59.15 | 6.2199 | 55.7193 | 6.695 | 52.23 | -2.62 | 981.032 | 25.0342 | 3.4214
2020-12-08 04:30:00 | 3.817 | 51.42 | 5.289 | 63.09 | 5.6592 | 59.4308 | 6.017 | 53.31 | -2.531 | 980.921 | 24.1449 | 2.7896
2020-12-08 04:45:00 | 3.886 | 55.84 | 4.622 | 72.49 | 4.9455 | 68.2856 | 4.734 | 59.17 | -2.422 | 980.585 | 20.5194 | 1.6553
2020-12-08 05:00:00 | 3.605 | 61.06 | 3.078 | 82.3 | 3.2935 | 77.5266 | 2.783 | 61.7 | -2.221 | 980.601 | 19.6979 | 1.5223
2020-12-08 05:15:00 | 1.545 | 74.38 | 1.783 | 86.9 | 1.9078 | 81.8598 | 1.138 | 74.86 | -2.204 | 980.968 | 18.0558 | -0.088676
2020-12-08 05:30:00 | 0.776 | 77.07 | 2.228 | 100 | 2.384 | 94.2 | 2.872 | 77.22 | -2.036 | 981.078 | 17.3728 | -0.29928
2020-12-08 05:45:00 | 0.948 | 68.23 | 1.705 | 91.3 | 1.8243 | 86.0046 | 2.185 | 74.35 | -2.072 | 981.225 | 17.5102 | -0.31037
2020-12-08 06:00:00 | 1.858 | 79.26 | 2.288 | 99.2 | 2.4482 | 93.4464 | 2.386 | 79.39 | -1.926 | 981.224 | 17.6471 | 0.34362
2020-12-08 06:15:00 | 0.773 | 93.3 | 1.737 | 111.6 | 1.8586 | 105.127 | 2.467 | 96.4 | -1.935 | 981.249 | 17.1683 | 0.50989
2020-12-08 06:30:00 | 0.194 | 119.1 | 1.236 | 134.7 | 1.3225 | 126.887 | 1.524 | 103.2 | -1.808 | 981.77 | 17.5784 | 0.97544
2020-12-08 06:45:00 | 1.596 | 98.4 | 2.408 | 115.4 | 2.5766 | 108.707 | 3.048 | 96.9 | -1.416 | 981.513 | 16.755 | 2.361
2020-12-08 07:00:00 | 2.434 | 87.8 | 3.359 | 106.5 | 3.5941 | 100.323 | 4.311 | 86.3 | -1.276 | 981.396 | 18.8035 | 5.6051
2020-12-08 07:15:00 | 0.373 | 121.5 | 1.04 | 130.2 | 1.1128 | 122.648 | 2.424 | 113.5 | -0.972 | 981.991 | 22.2887 | 9.359
2020-12-08 07:30:00 | 2.384 | 130.9 | 3.083 | 152.7 | 3.2988 | 143.843 | 4.067 | 130.6 | -1.022 | 981.991 | 26.2517 | 10.9959
2020-12-08 07:45:00 | 4.078 | 138.3 | 4.213 | 156.8 | 4.5079 | 147.706 | 4.153 | 141.2 | -1.516 | 981.836 | 27.4825 | 12.0526
2020-12-08 08:00:00 | 5.066 | 134.4 | 5.067 | 153.3 | 5.4217 | 144.409 | 5.001 | 138.1 | -1.324 | 981.99 | 25.9046 | 16.9224
2020-12-08 08:15:00 | 4.604 | 118 | 5.164 | 138.7 | 5.5255 | 130.655 | 5.001 | 124.1 | -1.118 | 981.839 | 23.2019 | 12.7103
2020-12-08 08:30:00 | 1.931 | 144 | 1.783 | 165.3 | 1.9078 | 155.713 | 1.02 | 91 | 1.045 | 982.433 | 21.9375 | 13.8446
2020-12-08 08:45:00 | 4.326 | 132.4 | 4.244 | 158.8 | 4.5411 | 149.59 | 3.275 | 133.5 | -0.38 | 982.282 | 21.3902 | 10.667
2020-12-08 09:00:00 | 3.986 | 114.9 | 3.61 | 137.3 | 3.8627 | 129.337 | 3.425 | 120 | -0.016 | 982.571 | 20.0902 | 8.7494
2020-12-08 09:15:00 | 3.177 | 126.6 | 3.408 | 146.1 | 3.6466 | 137.626 | 3.005 | 129.9 | 0.447 | 982.582 | 21.185 | 6.0632
2020-12-08 09:30:00 | 2.836 | 115.3 | 3.221 | 145.4 | 3.4465 | 136.967 | 2.923 | 112.8 | 2.013 | 982.7 | 20.2932 | 5.8046
2020-12-08 09:45:00 | 3.994 | 134.6 | 3.796 | 158.1 | 4.0617 | 148.93 | 2.511 | 134.5 | 0.886 | 982.432 | 21.2468 | 3.8057
2020-12-08 10:00:00 | 3.422 | 138.7 | 3.175 | 163.4 | 3.3973 | 153.923 | 1.958 | 136.7 | 0.927 | 982.281 | 23.228 | 2.9189
2020-12-08 10:15:00 | 3.6 | 145.4 | 3.52 | 166.9 | 3.7664 | 157.22 | 2.666 | 150.9 | 1.789 | 982.289 | 24.8335 | 2.6603
2020-12-08 10:30:00 | 3.365 | 129.4 | 3.213 | 148.9 | 3.4379 | 140.264 | 2.949 | 131.6 | 0.758 | 981.687 | 22.8864 | 2.3314
2020-12-08 10:45:00 | 3.391 | 154.5 | 3.185 | 170.4 | 3.408 | 160.517 | 2.559 | 153.4 | 1.546 | 981.687 | 21.8617 | 1.5445
2020-12-08 11:00:00 | 3.703 | 161 | 3.469 | 172.9 | 3.7118 | 162.872 | 2.559 | 164.9 | 1.75 | 981.39 | 22.7498 | 1.3117
2020-12-08 11:15:00 | 4.52 | 163.1 | 3.911 | 178.2 | 4.1848 | 167.864 | 2.903 | 159.8 | 1.997 | 981.39 | 23.7404 | 1.3671
2020-12-08 11:30:00 | 3.978 | 153.5 | 3.962 | 167 | 4.2393 | 157.314 | 2.989 | 158.2 | 1.77 | 981.39 | 24.4919 | 0.036949
2020-12-08 11:45:00 | 4.006 | 142.6 | 3.599 | 157.4 | 3.8509 | 148.271 | 3.254 | 153.7 | 2.396 | 981.687 | 22.3399 | -0.15149
2020-12-08 12:00:00 | 3.823 | 146.3 | 3.801 | 161.9 | 4.0671 | 152.51 | 2.987 | 157.8 | 2.335 | 981.835 | 22.4765 | -0.044338
2020-12-08 12:15:00 | 3.38 | 161 | 3.195 | 177.2 | 3.4186 | 166.922 | 2.852 | 167.3 | 2.553 | 981.538 | 23.8087 | -0.16257
2020-12-08 12:30:00 | 4.088 | 157.7 | 3.374 | 173.7 | 3.6102 | 163.625 | 2.694 | 160 | 2.483 | 981.39 | 24.8676 | -0.059118
2020-12-08 12:45:00 | 3.754 | 183.7 | 3.671 | 200 | 3.928 | 188.4 | 3.333 | 192.1 | 2.562 | 980.795 | 23.3647 | 0.077592
2020-12-08 13:00:00 | 3.891 | 153.3 | 3.842 | 170.5 | 4.1109 | 160.611 | 3.43 | 162.1 | 2.153 | 980.201 | 23.9112 | 1.6627
2020-12-08 13:15:00 | 3.567 | 180.2 | 3.28 | 210.3 | 3.5096 | 198.103 | 2.768 | 173.1 | 2.02 | 980.209 | 25.4825 | 2.4423
2020-12-08 13:30:00 | 3.817 | 158.8 | 3.76 | 173.3 | 4.0232 | 163.249 | 3.269 | 161.6 | 1.826 | 980.18 | 26.4448 | 2.664
2020-12-08 13:45:00 | 4.098 | 151.3 | 3.939 | 168.5 | 4.2147 | 158.727 | 3.677 | 157.8 | 1.718 | 979.906 | 28.7009 | 3.4953
2020-12-08 14:00:00 | 4.354 | 139.6 | 4.504 | 156.1 | 4.8193 | 147.046 | 4.12 | 145.8 | 1.759 | 979.586 | 28.9078 | 3.5988
2020-12-08 14:15:00 | 3.547 | 142.6 | 3.459 | 158.8 | 3.7011 | 149.59 | 3.46 | 144.4 | 1.749 | 979.31 | 32.3936 | 1.574
2020-12-08 14:30:00 | 3.585 | 144.3 | 3.443 | 164.4 | 3.684 | 154.865 | 2.905 | 144.5 | 1.599 | 979.312 | 33.7605 | 1.053
2020-12-08 14:45:00 | 3.243 | 136.2 | 3.374 | 155.3 | 3.6102 | 146.293 | 2.837 | 134.4 | 1.695 | 979.312 | 34.2388 | 1.1158
2020-12-08 15:00:00 | 3.432 | 134.6 | 3.676 | 155.8 | 3.9333 | 146.764 | 3.292 | 133.3 | 1.69 | 979.014 | 34.1363 | 1.3301
2020-12-08 15:15:00 | 3.041 | 128.6 | 2.96 | 143.4 | 3.1672 | 135.083 | 2.857 | 128.1 | 1.687 | 978.717 | 34.1705 | 1.4484
2020-12-08 15:30:00 | 3.108 | 121.4 | 3.362 | 136.4 | 3.5973 | 128.489 | 3.287 | 127.2 | 1.673 | 978.717 | 34.1023 | 2.5014
2020-12-08 15:45:00 | 3.508 | 135.4 | 3.76 | 151 | 4.0232 | 142.242 | 3.886 | 140.8 | 1.641 | 978.717 | 32.8405 | 2.712
2020-12-08 16:00:00 | 3.56 | 133.1 | 4.08 | 149.4 | 4.3656 | 140.735 | 3.914 | 137.2 | 1.675 | 978.568 | 31.3054 | 4.4966
2020-12-08 16:15:00 | 3.756 | 132.8 | 3.95 | 148.9 | 4.2265 | 140.264 | 4.202 | 136.5 | 1.62 | 978.439 | 31.3062 | 7.0165
2020-12-08 16:30:00 | 3.508 | 117.9 | 3.515 | 139.4 | 3.7611 | 131.315 | 3.542 | 125.8 | 1.606 | 978.332 | 31.1033 | 7.0276
2020-12-08 16:45:00 | 3.636 | 133.7 | 3.891 | 146.1 | 4.1634 | 137.626 | 4.082 | 137.6 | 1.565 | 978.741 | 31.3785 | 6.7283
2020-12-08 17:00:00 | 4.451 | 129.4 | 4.522 | 144.7 | 4.8385 | 136.307 | 4.767 | 134.3 | 1.565 | 978.543 | 30.3533 | 7.3638
2020-12-08 17:15:00 | 4.834 | 128 | 5.067 | 144.8 | 5.4217 | 136.402 | 5.134 | 136.7 | 1.593 | 978.362 | 30.0801 | 11.8272
2020-12-08 17:30:00 | 6.302 | 137.3 | 6.493 | 149.7 | 6.9475 | 141.017 | 6.784 | 142.3 | 1.716 | 978.373 | 29.0544 | 19.0654
2020-12-08 17:45:00 | 6.501 | 135.7 | 6.956 | 150.1 | 7.4429 | 141.394 | 7.306 | 142.2 | 1.803 | 978.208 | 30.4216 | 27.7113
2020-12-08 18:00:00 | 5.707 | 138.5 | 5.959 | 155.6 | 6.3761 | 146.575 | 6.058 | 144.1 | 1.775 | 978.628 | 30.011 | 25.0437
2020-12-08 18:15:00 | 5.753 | 140.8 | 6.414 | 157.9 | 6.863 | 148.742 | 6.234 | 147.1 | 1.851 | 978.792 | 31.0365 | 24.253
2020-12-08 18:30:00 | 6.092 | 141.2 | 6.619 | 158.4 | 7.0823 | 149.213 | 6.988 | 146.7 | 1.981 | 979.054 | 30.9324 | 16.6785
2020-12-08 18:45:00 | 5.007 | 137.5 | 5.381 | 157.8 | 5.7577 | 148.648 | 6.165 | 142.4 | 1.815 | 979.025 | 31.2393 | 21.2823
2020-12-08 19:00:00 | 6.358 | 143.7 | 6.458 | 159.3 | 6.9101 | 150.061 | 6.87 | 147.6 | 1.926 | 979.237 | 30.862 | 24.0091
2020-12-08 19:15:00 | 6.527 | 142.5 | 6.995 | 159.1 | 7.4847 | 149.872 | 7.716 | 148.9 | 1.965 | 979.061 | 31.1013 | 29.2817
2020-12-08 19:30:00 | 7.344 | 144.7 | 7.524 | 159.7 | 8.0507 | 150.437 | 7.904 | 150.5 | 1.978 | 978.729 | 31.5795 | 35.7957
2020-12-08 19:45:00 | 6.994 | 146.5 | 7.056 | 163.2 | 7.5499 | 153.734 | 7.734 | 152.1 | 1.972 | 978.869 | 31.9223 | 40.3183
2020-12-08 20:00:00 | 7.571 | 145.5 | 7.997 | 162.6 | 8.5568 | 153.169 | 8.15 | 151.9 | 1.981 | 978.718 | 31.6488 | 40.3071
2020-12-08 20:15:00 | 6.588 | 147.9 | 7.012 | 166.2 | 7.5028 | 156.56 | 8.26 | 151.9 | 1.878 | 978.719 | 32.1954 | 43.8061
2020-12-08 20:30:00 | 7.556 | 146.9 | 7.892 | 161.1 | 8.4444 | 151.756 | 8.12 | 154 | 1.903 | 978.463 | 33.7001 | 51.4729
2020-12-08 20:45:00 | 8.33 | 146 | 8.85 | 163.8 | 9.4695 | 154.3 | 9.61 | 151.9 | 1.905 | 978.44 | 36.3663 | 54.2958
2020-12-08 21:00:00 | 8.04 | 149 | 8.09 | 166.7 | 8.6563 | 157.031 | 8.28 | 152.9 | 1.767 | 978.126 | 33.3587 | 52.3486
2020-12-08 21:15:00 | 8.72 | 149.9 | 8.9 | 167.5 | 9.523 | 157.785 | 9.22 | 153.8 | 1.715 | 978.499 | 37.7354 | 54.3844
2020-12-08 21:30:00 | 8.22 | 149.9 | 8.4 | 165.4 | 8.988 | 155.807 | 9.06 | 154.5 | 1.615 | 978.171 | 40.4706 | 54.2958
2020-12-08 21:45:00 | 9.26 | 149.8 | 9.41 | 164.6 | 10.0687 | 155.053 | 9.2 | 156 | 1.626 | 977.966 | 49.0156 | 58.9328
2020-12-08 22:00:00 | 10.37 | 148.5 | 10.63 | 163.7 | 11.3741 | 154.205 | 10.25 | 155 | 1.532 | 977.96 | 51.2723 | 59.5387
2020-12-08 22:15:00 | 9.07 | 151.9 | 9.51 | 165.9 | 10.1757 | 156.278 | 8.83 | 158.4 | 1.477 | 978.021 | 53.392 | 52.4171
2020-12-08 22:30:00 | 7.852 | 149.4 | 8.38 | 166.5 | 8.9666 | 156.843 | 8.88 | 153.5 | 1.42 | 977.596 | 54.1446 | 55.1883
2020-12-08 22:45:00 | 8.75 | 148.8 | 8.93 | 166.6 | 9.5551 | 156.937 | 8.96 | 155.8 | 1.361 | 977.76 | 53.1875 | 50.1834
2020-12-08 23:00:00 | 8.57 | 151.9 | 8.12 | 167.4 | 8.6884 | 157.691 | 8.45 | 157.3 | 1.301 | 977.614 | 52.0253 | 52.7607
2020-12-08 23:15:00 | 8.84 | 149.3 | 8.81 | 168 | 9.4267 | 158.256 | 8.69 | 154.7 | 1.357 | 977.376 | 51.6835 | 46.0378
2020-12-08 23:30:00 | 7.589 | 151.2 | 7.787 | 165.8 | 8.3321 | 156.184 | 7.731 | 156.2 | 1.331 | 977.198 | 52.5038 | 52.4135
2020-12-08 23:45:00 | 7.576 | 155 | 7.378 | 166.1 | 7.8945 | 156.466 | 7.464 | 161.4 | 1.293 | 977.232 | 53.0849 | 53.0395