## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-09 00:00:00 | 7.489 | 147 | 7.795 | 163.2 | 8.3407 | 153.734 | 8.7 | 152.8 | 1.294 | 976.935 | 52.4697 | 52.8732
2020-12-09 00:15:00 | 7.877 | 147 | 7.843 | 164.2 | 8.392 | 154.676 | 8.28 | 154 | 1.316 | 976.638 | 51.7517 | 62.4716
2020-12-09 00:30:00 | 7.801 | 149.6 | 8.2 | 168 | 8.774 | 158.256 | 9.52 | 153 | 1.292 | 976.043 | 52.0253 | 68.7188
2020-12-09 00:45:00 | 7.678 | 143 | 8.47 | 162.9 | 9.0629 | 153.452 | 9.82 | 150.5 | 1.275 | 975.894 | 51.6835 | 71.2782
2020-12-09 01:00:00 | 8.84 | 144.9 | 9.53 | 162.9 | 10.1971 | 153.452 | 9.96 | 148.3 | 1.303 | 975.448 | 52.0937 | 66.2293
2020-12-09 01:15:00 | 9.09 | 144.4 | 9.76 | 162.5 | 10.4432 | 153.075 | 10.34 | 150.9 | 1.362 | 975.746 | 52.914 | 63.9984
2020-12-09 01:30:00 | 9.37 | 147.5 | 9.58 | 161.4 | 10.2506 | 152.039 | 9.97 | 152.1 | 1.293 | 975.269 | 52.9824 | 66.8841
2020-12-09 01:45:00 | 8.81 | 142.8 | 8.72 | 159.7 | 9.3304 | 150.437 | 9.34 | 150 | 1.227 | 975.3 | 52.5722 | 63.4795
2020-12-09 02:00:00 | 7.755 | 146.8 | 8.62 | 161.4 | 9.2234 | 152.039 | 9.11 | 150.7 | 1.292 | 975.448 | 52.2987 | 55.77
2020-12-09 02:15:00 | 7.724 | 151.6 | 7.802 | 170.8 | 8.3481 | 160.894 | 8.42 | 152.9 | 1.295 | 975.448 | 52.0937 | 56.2171
2020-12-09 02:30:00 | 7.566 | 153.7 | 8.35 | 170.1 | 8.9345 | 160.234 | 9.14 | 157.2 | 1.302 | 975.745 | 52.3671 | 55.4765
2020-12-09 02:45:00 | 8.56 | 152.7 | 8.86 | 169.6 | 9.4802 | 159.763 | 9.3 | 156.7 | 1.3 | 975.151 | 51.9569 | 61.0832
2020-12-09 03:00:00 | 8.48 | 148.7 | 8.85 | 166.9 | 9.4695 | 157.22 | 9.96 | 152 | 1.177 | 974.854 | 51.8886 | 60.8061
2020-12-09 03:15:00 | 7.183 | 146.7 | 7.488 | 164 | 8.0122 | 154.488 | 8.37 | 150.7 | 1.232 | 975.002 | 51.9227 | 46.6844
2020-12-09 03:30:00 | 6.233 | 149.6 | 6.279 | 173.3 | 6.7185 | 163.249 | 7.125 | 155.3 | 1.363 | 975.448 | 51.41 | 48.3471
2020-12-09 03:45:00 | 7.903 | 150.5 | 7.572 | 169.5 | 8.102 | 159.669 | 8.27 | 154.6 | 1.43 | 975.448 | 51.2049 | 57.4105
2020-12-09 04:00:00 | 7.614 | 153.4 | 7.621 | 171.5 | 8.1545 | 161.553 | 8.24 | 155.2 | 1.405 | 975.713 | 51.5467 | 59.6644
2020-12-09 04:15:00 | 7.773 | 153.3 | 8.39 | 171.8 | 8.9773 | 161.836 | 8.98 | 155.8 | 1.42 | 975.743 | 52.0937 | 57.2295
2020-12-09 04:30:00 | 8.26 | 149 | 8.49 | 166.7 | 9.0843 | 157.031 | 8.75 | 155.9 | 1.43 | 975.441 | 52.9824 | 54.9276
2020-12-09 04:45:00 | 7.691 | 151.1 | 7.716 | 169.3 | 8.2561 | 159.481 | 8.43 | 157.6 | 1.498 | 975.737 | 52.914 | 57.4918
2020-12-09 05:00:00 | 7.877 | 144 | 8.41 | 161.4 | 8.9987 | 152.039 | 8.79 | 151.5 | 1.504 | 975.029 | 53.7344 | 52.5666
2020-12-09 05:15:00 | 8.09 | 152 | 8.18 | 169.9 | 8.7526 | 160.046 | 8.27 | 156.1 | 1.498 | 975.488 | 54.4174 | 53.604
2020-12-09 05:30:00 | 8.51 | 150.9 | 8.48 | 167.7 | 9.0736 | 157.973 | 8.47 | 157.3 | 1.257 | 975.065 | 62.8952 | 51.6502
2020-12-09 05:45:00 | 8.63 | 153 | 8.78 | 169.1 | 9.3946 | 159.292 | 8.48 | 158.6 | 1.192 | 975.723 | 64.0574 | 44.3788
2020-12-09 06:00:00 | 7.867 | 153.2 | 7.802 | 170 | 8.3481 | 160.14 | 8.02 | 156.3 | 1.228 | 975.421 | 64.8776 | 41.9365
2020-12-09 06:15:00 | 7.167 | 142 | 7.278 | 162.9 | 7.7875 | 153.452 | 7.146 | 148.5 | 1.224 | 974.396 | 68.5695 | 46.8617
2020-12-09 06:30:00 | 7.328 | 148 | 7.47 | 166 | 7.9929 | 156.372 | 7.968 | 152.1 | 1.387 | 975.087 | 65.4247 | 42.8676
2020-12-09 06:45:00 | 6.835 | 149.2 | 7.02 | 165 | 7.5114 | 155.43 | 7.67 | 155.4 | 1.572 | 976.002 | 63.6467 | 36.5716
2020-12-09 07:00:00 | 6.46 | 149.4 | 6.506 | 172.7 | 6.9614 | 162.683 | 7.128 | 149.6 | 1.569 | 975.729 | 61.3228 | 50.8928
2020-12-09 07:15:00 | 7.497 | 147.3 | 7.455 | 167.4 | 7.9768 | 157.691 | 7.634 | 150.4 | 1.573 | 975.787 | 61.3211 | 53.941
2020-12-09 07:30:00 | 7.55 | 154.2 | 7.606 | 175.4 | 8.1384 | 165.227 | 8.15 | 156.8 | 1.708 | 975.868 | 59.9535 | 40.4844
2020-12-09 07:45:00 | 8.09 | 148.7 | 8.54 | 164.5 | 9.1378 | 154.959 | 9.1 | 153.7 | 1.654 | 975.826 | 59.7473 | 52.8769
2020-12-09 08:00:00 | 7.918 | 151 | 8.23 | 170.4 | 8.8061 | 160.517 | 8.91 | 154.3 | 1.7 | 975.805 | 59.6765 | 56.1727
2020-12-09 08:15:00 | 7.681 | 150.2 | 7.657 | 168.2 | 8.193 | 158.444 | 8.42 | 155.2 | 1.767 | 975.76 | 59.9852 | 56.5681
2020-12-09 08:30:00 | 7.831 | 149.2 | 8.08 | 164.1 | 8.6456 | 154.582 | 8.62 | 155.9 | 1.764 | 975.75 | 59.9463 | 53.3425
2020-12-09 08:45:00 | 8.14 | 151.9 | 7.6 | 172.3 | 8.132 | 162.307 | 8.17 | 153.7 | 1.816 | 976.37 | 60.6637 | 50.9741
2020-12-09 09:00:00 | 8.74 | 145.7 | 8.71 | 165.2 | 9.3197 | 155.618 | 9.25 | 150.1 | 1.885 | 975.795 | 60.7655 | 56.1949
2020-12-09 09:15:00 | 7.956 | 152.5 | 7.836 | 166.9 | 8.3845 | 157.22 | 8.22 | 155 | 1.618 | 975.753 | 62.3391 | 41.2123
2020-12-09 09:30:00 | 6.292 | 148 | 6.212 | 165.9 | 6.6468 | 156.278 | 6.58 | 151.7 | 1.991 | 975.745 | 60.0808 | 27.6744
2020-12-09 09:45:00 | 6.961 | 151.2 | 7.053 | 170.6 | 7.5467 | 160.705 | 7.387 | 153.5 | 2.316 | 975.894 | 58.6418 | 27.4231
2020-12-09 10:00:00 | 7.898 | 146.4 | 8.15 | 164.7 | 8.7205 | 155.147 | 8.82 | 153.1 | 2.268 | 975.745 | 61.8145 | 36.1615
2020-12-09 10:15:00 | 8.31 | 145.9 | 8.7 | 160.8 | 9.309 | 151.474 | 8.7 | 153 | 2.126 | 975.448 | 62.122 | 39.4757
2020-12-09 10:30:00 | 8.54 | 144.7 | 8.81 | 162.3 | 9.4267 | 152.887 | 8.76 | 150.6 | 2.218 | 975.002 | 62.1904 | 39.7491
2020-12-09 10:45:00 | 9.14 | 146.4 | 9.11 | 161.7 | 9.7477 | 152.321 | 8.8 | 152.4 | 2.306 | 974.556 | 61.7803 | 38.2564
2020-12-09 11:00:00 | 6.991 | 143.7 | 7.174 | 161.1 | 7.6762 | 151.756 | 6.944 | 150.2 | 2.525 | 974.556 | 62.0195 | 31.7202
2020-12-09 11:15:00 | 8.06 | 145.2 | 8.08 | 161.7 | 8.6456 | 152.321 | 7.805 | 149.3 | 2.603 | 974.556 | 63.1129 | 32.3705
2020-12-09 11:30:00 | 8.01 | 145.1 | 8.02 | 161.4 | 8.5814 | 152.039 | 7.739 | 153 | 2.573 | 974.407 | 63.6255 | 34.3362
2020-12-09 11:45:00 | 7.481 | 143.6 | 7.833 | 159.3 | 8.3813 | 150.061 | 7.306 | 150.2 | 2.577 | 974.259 | 63.4888 | 28.8346
2020-12-09 12:00:00 | 6.588 | 141.8 | 6.936 | 158.3 | 7.4215 | 149.119 | 7.044 | 151.6 | 2.619 | 973.961 | 62.8054 | 35.7957
2020-12-09 12:15:00 | 8.21 | 144.3 | 8.16 | 161.6 | 8.7312 | 152.227 | 7.95 | 151.5 | 2.73 | 973.367 | 62.6687 | 42.2497
2020-12-09 12:30:00 | 6.166 | 153.2 | 6.1 | 170.6 | 6.527 | 160.705 | 6.394 | 156.8 | 2.828 | 973.664 | 62.2587 | 37.6246
2020-12-09 12:45:00 | 7.79 | 147.4 | 7.933 | 162.6 | 8.4883 | 153.169 | 7.703 | 153.1 | 2.827 | 973.501 | 62.9421 | 35.3781
2020-12-09 13:00:00 | 7.872 | 144.8 | 7.958 | 161.1 | 8.5151 | 151.756 | 7.622 | 150.3 | 2.784 | 973.336 | 63.8305 | 39.158
2020-12-09 13:15:00 | 7.775 | 148.3 | 7.57 | 165.7 | 8.0999 | 156.089 | 7.662 | 152.8 | 2.653 | 973.366 | 64.1722 | 31.8865
2020-12-09 13:30:00 | 6.136 | 147.8 | 6.337 | 162.1 | 6.7806 | 152.698 | 7.13 | 154 | 2.768 | 973.366 | 64.4456 | 35.9878
2020-12-09 13:45:00 | 7.658 | 149.1 | 7.406 | 165 | 7.9244 | 155.43 | 7.242 | 154 | 2.667 | 973.366 | 64.9582 | 37.2995
2020-12-09 14:00:00 | 8.12 | 145 | 8.43 | 159.6 | 9.0201 | 150.343 | 8.26 | 149.5 | 2.728 | 973.366 | 65.4707 | 39.6605
2020-12-09 14:15:00 | 8.09 | 143 | 8.27 | 159.5 | 8.8489 | 150.249 | 8.07 | 148.9 | 2.76 | 973.366 | 65.9491 | 43.4699
2020-12-09 14:30:00 | 7.701 | 143.6 | 7.948 | 158.5 | 8.5044 | 149.307 | 7.82 | 148.1 | 2.784 | 973.366 | 66.0174 | 38.5003
2020-12-09 14:45:00 | 7.129 | 145 | 6.757 | 164.8 | 7.23 | 155.242 | 6.573 | 149.5 | 2.722 | 973.366 | 66.4958 | 35.755
2020-12-09 15:00:00 | 6.692 | 142.1 | 6.721 | 160.5 | 7.1915 | 151.191 | 6.636 | 147.6 | 2.732 | 973.515 | 66.6325 | 30.3347
2020-12-09 15:15:00 | 6.994 | 145.2 | 7.133 | 162.3 | 7.6323 | 152.887 | 7.044 | 148.6 | 2.715 | 973.515 | 67.1792 | 25.6718
2020-12-09 15:30:00 | 6.414 | 147.1 | 6.626 | 164.4 | 7.0898 | 154.865 | 6.641 | 152.4 | 2.714 | 973.663 | 67.3843 | 17.7611
2020-12-09 15:45:00 | 5.663 | 145.9 | 5.578 | 162.8 | 5.9685 | 153.358 | 6.445 | 149.5 | 2.706 | 973.961 | 67.6918 | 12.326
2020-12-09 16:00:00 | 5.709 | 145.7 | 6.033 | 163.4 | 6.4553 | 153.923 | 6.343 | 150.7 | 2.663 | 973.812 | 68.5461 | 12.1487
2020-12-09 16:15:00 | 4.956 | 151.8 | 5.034 | 170.5 | 5.3864 | 160.611 | 5.116 | 153.1 | 2.696 | 974.406 | 69.0245 | 8.7198
2020-12-09 16:30:00 | 6.085 | 152 | 6.164 | 167.3 | 6.5955 | 157.597 | 5.752 | 157.3 | 2.714 | 974.258 | 69.6395 | 13.4529
2020-12-09 16:45:00 | 5.265 | 151.3 | 5.051 | 172.2 | 5.4046 | 162.212 | 5.05 | 152.4 | 2.696 | 973.961 | 70.5963 | 20.5877
2020-12-09 17:00:00 | 5.444 | 149.4 | 5.657 | 165.7 | 6.053 | 156.089 | 5.78 | 155 | 2.585 | 974.555 | 71.9973 | 21.4966
2020-12-09 17:15:00 | 5.393 | 150.2 | 5.384 | 168.8 | 5.7609 | 159.01 | 5.587 | 156 | 2.52 | 974.258 | 74.2867 | 23.0891
2020-12-09 17:30:00 | 6.927 | 155.5 | 7.005 | 171.4 | 7.4954 | 161.459 | 7.095 | 160.1 | 2.478 | 974.555 | 75.4485 | 22.0065
2020-12-09 17:45:00 | 7.032 | 150.2 | 7.419 | 165.5 | 7.9383 | 155.901 | 7.438 | 154.3 | 2.502 | 974.406 | 76.8495 | 31.4838
2020-12-09 18:00:00 | 6.943 | 149.9 | 6.67 | 169.7 | 7.1369 | 159.857 | 7.275 | 154.4 | 2.241 | 974.258 | 77.9088 | 32.9876
2020-12-09 18:15:00 | 6.567 | 151.6 | 6.542 | 168.9 | 6.9999 | 159.104 | 6.71 | 155.6 | 2.178 | 974.555 | 77.9797 | 22.2725
2020-12-09 18:30:00 | 6.516 | 153.7 | 6.476 | 172.3 | 6.9293 | 162.307 | 7.005 | 156.4 | 2.148 | 974.555 | 77.8145 | 23.1002
2020-12-09 18:45:00 | 5.206 | 147.1 | 5.236 | 164.1 | 5.6025 | 154.582 | 5.956 | 150.7 | 1.925 | 974.563 | 78.5395 | 23.7837
2020-12-09 19:00:00 | 5.801 | 143.9 | 6.205 | 162.3 | 6.6394 | 152.887 | 7.143 | 149.9 | 1.974 | 974.593 | 78.7173 | 20.6135
2020-12-09 19:15:00 | 5.5 | 150.1 | 5.629 | 166.8 | 6.023 | 157.126 | 6.425 | 153.3 | 2.043 | 975.128 | 77.6944 | 19.409
2020-12-09 19:30:00 | 6.238 | 152.5 | 6.77 | 169.3 | 7.2439 | 159.481 | 7.084 | 158.8 | 2.164 | 975.292 | 77.4561 | 15.5701
2020-12-09 19:45:00 | 5.288 | 154.5 | 5.507 | 173.4 | 5.8925 | 163.343 | 5.61 | 159.8 | 2.191 | 975.401 | 76.9771 | 13.3125
2020-12-09 20:00:00 | 5.081 | 151.6 | 5.56 | 166.1 | 5.9492 | 156.466 | 6 | 158.6 | 2.178 | 975.451 | 76.8992 | 11.055
2020-12-09 20:15:00 | 5.97 | 156.6 | 6.046 | 170.7 | 6.4692 | 160.799 | 5.928 | 166.4 | 2.309 | 975.448 | 75.6626 | 11.1991
2020-12-09 20:30:00 | 5.303 | 160.2 | 5.225 | 171.8 | 5.5907 | 161.836 | 4.734 | 171.4 | 2.319 | 975.596 | 75.7924 | 13.6155
2020-12-09 20:45:00 | 5.722 | 154.4 | 5.593 | 168.9 | 5.9845 | 159.104 | 4.93 | 163.4 | 2.3 | 975.596 | 76.0645 | 10.2052
2020-12-09 21:00:00 | 5.745 | 163.7 | 5.466 | 172.6 | 5.8486 | 162.589 | 4.912 | 171.9 | 2.251 | 975.596 | 76.4056 | 8.9046
2020-12-09 21:15:00 | 6.552 | 161.5 | 6.003 | 171.9 | 6.4232 | 161.93 | 5.121 | 170.3 | 2.172 | 975.15 | 76.9533 | 11.3062
2020-12-09 21:30:00 | 5.875 | 163 | 6.02 | 176.5 | 6.4414 | 166.263 | 5.518 | 171.4 | 2.153 | 975.15 | 77.6358 | 16.3423
2020-12-09 21:45:00 | 6.343 | 170.4 | 5.997 | 187.4 | 6.4168 | 176.531 | 5.455 | 172.4 | 2.038 | 975.15 | 78.9351 | 15.8731
2020-12-09 22:00:00 | 5.224 | 168.4 | 5.312 | 184.4 | 5.6838 | 173.705 | 5.388 | 172.9 | 1.972 | 975.002 | 83.5146 | 10.8924
2020-12-09 22:15:00 | 5.102 | 159.1 | 5.067 | 174.6 | 5.4217 | 164.473 | 4.917 | 166.3 | 1.786 | 974.853 | 86.496 | 9.7396
2020-12-09 22:30:00 | 5.084 | 156.1 | 5.159 | 170 | 5.5201 | 160.14 | 5.396 | 162.7 | 1.763 | 974.853 | 87.9711 | 5.7861
2020-12-09 22:45:00 | 5.094 | 155.2 | 5.389 | 167.7 | 5.7662 | 157.973 | 5.498 | 165.3 | 1.744 | 974.784 | 86.8878 | 8.3393
2020-12-09 23:00:00 | 4.729 | 152.4 | 5.568 | 165.9 | 5.9578 | 156.278 | 5.811 | 161.9 | 1.695 | 974.743 | 88.5279 | 6.1408
2020-12-09 23:15:00 | 4.609 | 155.1 | 5.19 | 167.5 | 5.5533 | 157.785 | 5.297 | 165.8 | 1.791 | 974.87 | 89.899 | 5.3612
2020-12-09 23:30:00 | 4.729 | 165.2 | 4.919 | 175.9 | 5.2633 | 165.698 | 4.752 | 176.1 | 1.996 | 974.973 | 87.947 | 4.5927
2020-12-09 23:45:00 | 5.092 | 174.8 | 4.865 | 184.9 | 5.2055 | 174.176 | 4.691 | 183.8 | 2.045 | 974.594 | 87.701 | 4.3414