## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-10 00:00:00 | 3.914 | 163.1 | 4.108 | 173.1 | 4.3956 | 163.06 | 3.949 | 173.3 | 1.87 | 974.868 | 87.7011 | 2.0469
2020-12-10 00:15:00 | 3.057 | 167.4 | 3.208 | 174.8 | 3.4326 | 164.662 | 3.081 | 173.7 | 1.77 | 974.863 | 88.1782 | 1.0789
2020-12-10 00:30:00 | 2.025 | 156.7 | 2.559 | 164.4 | 2.7381 | 154.865 | 3.063 | 167.5 | 1.777 | 974.84 | 89.0408 | 0.38796
2020-12-10 00:45:00 | 3.245 | 160.3 | 3.62 | 173.9 | 3.8734 | 163.814 | 3.753 | 167.9 | 1.758 | 974.968 | 88.8705 | 0.49511
2020-12-10 01:00:00 | 3.235 | 157.2 | 3.643 | 166.9 | 3.898 | 157.22 | 4.095 | 170.4 | 1.852 | 975.047 | 89.0084 | 0.31406
2020-12-10 01:15:00 | 2.334 | 152.7 | 2.525 | 163.8 | 2.7018 | 154.3 | 2.824 | 164 | 2.035 | 974.878 | 89.3507 | -0.22908
2020-12-10 01:30:00 | 2.388 | 167.8 | 2.623 | 173.5 | 2.8066 | 163.437 | 2.91 | 175.4 | 1.942 | 974.711 | 88.9382 | -0.20322
2020-12-10 01:45:00 | 3.695 | 172 | 3.901 | 180.5 | 4.1741 | 170.031 | 3.73 | 181.7 | 2.021 | 975.322 | 88.5986 | -0.16996
2020-12-10 02:00:00 | 2.467 | 176 | 3.267 | 184.6 | 3.4957 | 173.893 | 3.371 | 182.9 | 1.974 | 975.399 | 89.1456 | -0.17366
2020-12-10 02:15:00 | 2.194 | 187 | 2.812 | 194 | 3.0088 | 182.748 | 3.14 | 197.5 | 1.958 | 975.1 | 88.3943 | -0.24016
2020-12-10 02:30:00 | 1.589 | 170 | 2.088 | 181.1 | 2.2342 | 170.596 | 2.658 | 180.8 | 2.006 | 974.672 | 88.9331 | -0.25864
2020-12-10 02:45:00 | 0.881 | 194.5 | 1.715 | 202 | 1.8351 | 190.284 | 2.159 | 197.7 | 1.885 | 974.793 | 88.1185 | -0.26972
2020-12-10 03:00:00 | 0.996 | 193.6 | 1.493 | 193.8 | 1.5975 | 182.56 | 1.59 | 200.2 | 2.044 | 974.609 | 87.4311 | -0.26972
2020-12-10 03:15:00 | 2.602 | 180.9 | 2.855 | 187.2 | 3.0549 | 176.342 | 2.602 | 196.3 | 2.057 | 974.474 | 87.6047 | -0.26972
2020-12-10 03:30:00 | 3.682 | 169.7 | 3.507 | 178.4 | 3.7525 | 168.053 | 3.165 | 182 | 1.886 | 974.328 | 88.2164 | -0.25864
2020-12-10 03:45:00 | 1.082 | 184.5 | 1.86 | 194.5 | 1.9902 | 183.219 | 2.215 | 186.1 | 1.805 | 974.645 | 88.9384 | -0.26972
2020-12-10 04:00:00 | 2.012 | 202.5 | 2.285 | 214.2 | 2.4449 | 201.776 | 2.126 | 208.7 | 1.909 | 974.7 | 87.8465 | -0.26972
2020-12-10 04:15:00 | 1.472 | 185.6 | 1.686 | 195.4 | 1.804 | 184.067 | 1.884 | 202.2 | 1.996 | 974.938 | 87.573 | -0.26972
2020-12-10 04:30:00 | 2.331 | 162.3 | 2.441 | 174.6 | 2.6119 | 164.473 | 2.174 | 192.5 | 1.984 | 974.687 | 88.7349 | -0.25864
2020-12-10 04:45:00 | 3.146 | 156.4 | 2.958 | 166.5 | 3.1651 | 156.843 | 2.574 | 177.4 | 1.91 | 974.677 | 88.3224 | -0.27711
2020-12-10 05:00:00 | 3.506 | 163.2 | 3.395 | 178.3 | 3.6326 | 167.959 | 3.086 | 174.7 | 1.792 | 974.76 | 88.5317 | -0.25125
2020-12-10 05:15:00 | 2.536 | 158.4 | 2.579 | 169.1 | 2.7595 | 159.292 | 2.437 | 172.4 | 1.797 | 974.542 | 89.0783 | -0.11084
2020-12-10 05:30:00 | 2.883 | 156.4 | 3.229 | 173.3 | 3.455 | 163.249 | 3.455 | 158.1 | 1.672 | 974.704 | 89.8308 | -0.29559
2020-12-10 05:45:00 | 2.464 | 166.6 | 2.776 | 185.7 | 2.9703 | 174.929 | 2.455 | 162.3 | 1.625 | 974.854 | 89.2155 | -0.26972
2020-12-10 06:00:00 | 2.543 | 163.4 | 2.871 | 182.4 | 3.072 | 171.821 | 2.885 | 161.8 | 1.733 | 974.854 | 89.5573 | -0.26972
2020-12-10 06:15:00 | 2.901 | 160.1 | 3.356 | 174.2 | 3.5909 | 164.096 | 3.226 | 162.4 | 1.537 | 974.854 | 90.3765 | -0.28081
2020-12-10 06:30:00 | 2.622 | 165.4 | 2.669 | 178.2 | 2.8558 | 167.864 | 2.747 | 162.3 | 1.573 | 974.854 | 89.7624 | -0.28081
2020-12-10 06:45:00 | 2.929 | 163.3 | 3.039 | 182.7 | 3.2517 | 172.103 | 3.183 | 162.2 | 1.568 | 975.002 | 89.6235 | -0.29928
2020-12-10 07:00:00 | 3.598 | 176.3 | 3.712 | 190.7 | 3.9718 | 179.639 | 3.466 | 176.3 | 1.602 | 975.448 | 89.5231 | -0.31776
2020-12-10 07:15:00 | 4.54 | 173.2 | 4.489 | 189.2 | 4.8032 | 178.226 | 4.09 | 174.1 | 1.727 | 976.043 | 89.2839 | 1.4779
2020-12-10 07:30:00 | 4.617 | 171.9 | 4.44 | 191.7 | 4.7508 | 180.581 | 3.664 | 175.8 | 1.771 | 975.98 | 88.9411 | 3.7909
2020-12-10 07:45:00 | 3.876 | 173 | 3.883 | 184.8 | 4.1548 | 174.082 | 3.697 | 171.5 | 1.885 | 976.391 | 88.4863 | 1.9915
2020-12-10 08:00:00 | 4.382 | 161.7 | 4.287 | 172.5 | 4.5871 | 162.495 | 3.733 | 171.1 | 1.972 | 976.042 | 87.9627 | 0.97913
2020-12-10 08:15:00 | 4.407 | 154.2 | 4.287 | 167.4 | 4.5871 | 157.691 | 3.848 | 162.3 | 2.046 | 976.339 | 87.7841 | 0.98283
2020-12-10 08:30:00 | 5.469 | 153.9 | 5.021 | 163.2 | 5.3725 | 153.734 | 4.163 | 165.8 | 2.036 | 976.339 | 87.5449 | 0.84981
2020-12-10 08:45:00 | 5.025 | 150.7 | 4.939 | 165.1 | 5.2847 | 155.524 | 4.367 | 157.4 | 2.02 | 976.339 | 86.2464 | 1.0863
2020-12-10 09:00:00 | 4.583 | 154 | 4.2 | 164.6 | 4.494 | 155.053 | 3.501 | 161 | 2.445 | 976.488 | 84.4354 | 2.4312
2020-12-10 09:15:00 | 4.267 | 162.8 | 4.075 | 177.2 | 4.3602 | 166.922 | 3.919 | 167.7 | 2.494 | 976.628 | 85.0086 | 2.8857
2020-12-10 09:30:00 | 3.876 | 161.2 | 3.684 | 173.3 | 3.9419 | 163.249 | 3.354 | 163.5 | 2.842 | 976.636 | 82.4442 | 4.0643
2020-12-10 09:45:00 | 4.525 | 157.9 | 4.269 | 168.1 | 4.5678 | 158.35 | 3.733 | 163.7 | 2.623 | 976.495 | 82.8018 | 3.4731
2020-12-10 10:00:00 | 4.305 | 160.5 | 4.18 | 179 | 4.4726 | 168.618 | 3.764 | 166.2 | 3.149 | 976.043 | 80.6832 | 4.4375
2020-12-10 10:15:00 | 5.334 | 151.9 | 4.972 | 168.8 | 5.32 | 159.01 | 4.563 | 159.6 | 3.036 | 976.041 | 82.1862 | 5.3649
2020-12-10 10:30:00 | 5.403 | 152.4 | 5.156 | 166.7 | 5.5169 | 157.031 | 4.263 | 160.5 | 3.258 | 975.743 | 79.4876 | 3.632
2020-12-10 10:45:00 | 5.528 | 166.3 | 5.425 | 179.6 | 5.8048 | 169.183 | 4.876 | 176.8 | 4.103 | 975.743 | 77.3356 | 4.4227
2020-12-10 11:00:00 | 6.493 | 180.8 | 5.852 | 198.2 | 6.2616 | 186.704 | 4.831 | 184.2 | 3.841 | 975.446 | 77.2655 | 3.9055
2020-12-10 11:15:00 | 4.788 | 172.9 | 4.535 | 194.8 | 4.8525 | 183.502 | 3.893 | 177.7 | 3.964 | 975.446 | 76.6499 | 1.0826
2020-12-10 11:30:00 | 4.068 | 170.4 | 3.832 | 189.8 | 4.1002 | 178.792 | 3.132 | 173.2 | 4.369 | 975.446 | 74.9352 | 0.42121
2020-12-10 11:45:00 | 4.941 | 175.5 | 4.471 | 192.2 | 4.784 | 181.052 | 3.511 | 181.4 | 4.588 | 975.446 | 74.4794 | 0.20691
2020-12-10 12:00:00 | 3.884 | 188.9 | 3.487 | 204.4 | 3.7311 | 192.545 | 2.714 | 194.6 | 4.721 | 975.446 | 72.8702 | -0.20691
2020-12-10 12:15:00 | 4.297 | 189.7 | 4.016 | 205.1 | 4.2971 | 193.204 | 3.247 | 190.8 | 4.856 | 974.994 | 74.0994 | 0.025864
2020-12-10 12:30:00 | 4.18 | 181.5 | 3.788 | 196.9 | 4.0532 | 185.48 | 3.219 | 185.6 | 4.798 | 974.849 | 74.0994 | 0.37318
2020-12-10 12:45:00 | 4.216 | 193.2 | 3.822 | 210.2 | 4.0895 | 198.008 | 3.196 | 189.5 | 4.786 | 974.851 | 74.8165 | 0.80917
2020-12-10 13:00:00 | 4.836 | 179.6 | 4.74 | 199.4 | 5.0718 | 187.835 | 3.977 | 181 | 4.636 | 974.703 | 74.715 | 0.75005
2020-12-10 13:15:00 | 4.599 | 180.2 | 4.451 | 193.1 | 4.7626 | 181.9 | 4.1 | 183.6 | 4.886 | 974.852 | 75.1699 | 0.43599
2020-12-10 13:30:00 | 3.174 | 164.2 | 3.379 | 179.6 | 3.6155 | 169.183 | 3.333 | 167.3 | 5.035 | 974.703 | 74.0467 | 0.73158
2020-12-10 13:45:00 | 3.978 | 156.8 | 3.676 | 173.9 | 3.9333 | 163.814 | 3.147 | 164.3 | 4.797 | 974.554 | 74.2561 | 0.30298
2020-12-10 14:00:00 | 3.937 | 148.8 | 3.574 | 169.6 | 3.8242 | 159.763 | 2.984 | 157.9 | 5 | 974.852 | 75.5567 | 0.19952
2020-12-10 14:15:00 | 3.394 | 146.2 | 3.41 | 161.8 | 3.6487 | 152.416 | 2.915 | 153.1 | 4.811 | 974.257 | 74.9783 | -0.11084
2020-12-10 14:30:00 | 2.768 | 134.4 | 2.886 | 153.6 | 3.088 | 144.691 | 2.671 | 145.1 | 4.523 | 974.257 | 75.6277 | -0.26972
2020-12-10 14:45:00 | 2.324 | 142.7 | 2.306 | 161.3 | 2.4674 | 151.945 | 1.744 | 169.9 | 4.553 | 973.96 | 75.3544 | -0.26603
2020-12-10 15:00:00 | 2.385 | 143.5 | 2.283 | 166.2 | 2.4428 | 156.56 | 1.894 | 157.1 | 4.476 | 973.663 | 77.1307 | -0.23647
2020-12-10 15:15:00 | 2.737 | 146.8 | 2.866 | 167.3 | 3.0666 | 157.597 | 2.661 | 157.7 | 4.342 | 973.663 | 78.3604 | -0.21061
2020-12-10 15:30:00 | 3.192 | 132.5 | 3.328 | 151.4 | 3.561 | 142.619 | 3.323 | 146 | 4.201 | 973.262 | 79.4239 | 0.32884
2020-12-10 15:45:00 | 3.789 | 129.1 | 3.753 | 146.4 | 4.0157 | 137.909 | 3.636 | 139.2 | 4.073 | 973.216 | 80.1555 | 0.29928
2020-12-10 16:00:00 | 2.546 | 132.2 | 2.393 | 157.7 | 2.5605 | 148.553 | 2.75 | 143.3 | 3.974 | 973.069 | 80.8433 | 0.77222
2020-12-10 16:15:00 | 2.888 | 143.8 | 3.032 | 164.7 | 3.2442 | 155.147 | 3.239 | 147 | 3.678 | 972.772 | 82.4121 | 0.74636
2020-12-10 16:30:00 | 2.49 | 145.5 | 3.142 | 169.7 | 3.3619 | 159.857 | 3.213 | 150.4 | 3.588 | 973.366 | 83.4441 | 0.41382
2020-12-10 16:45:00 | 3.194 | 156.7 | 3.617 | 174.8 | 3.8702 | 164.662 | 3.613 | 158.6 | 3.533 | 973.365 | 83.2393 | 0.0036948
2020-12-10 17:00:00 | 2.829 | 165.2 | 3.331 | 190 | 3.5642 | 178.98 | 3.196 | 173.3 | 3.449 | 973.366 | 82.8976 | 0.40643
2020-12-10 17:15:00 | 3.611 | 165.2 | 3.768 | 178.9 | 4.0318 | 168.524 | 3.952 | 174.6 | 3.402 | 973.515 | 83.7861 | 1.0678
2020-12-10 17:30:00 | 3.649 | 159 | 4.031 | 176.1 | 4.3132 | 165.886 | 4.194 | 171.4 | 3.256 | 973.663 | 84.2645 | 2.1763
2020-12-10 17:45:00 | 3.516 | 166.4 | 3.75 | 184.8 | 4.0125 | 174.082 | 3.817 | 174.1 | 3.309 | 973.961 | 84.2645 | 3.3623
2020-12-10 18:00:00 | 3.999 | 165.8 | 4.075 | 180.1 | 4.3602 | 169.654 | 3.886 | 173.5 | 3.296 | 974.109 | 84.1961 | 3.9683
2020-12-10 18:15:00 | 3.664 | 166.6 | 3.794 | 179.4 | 4.0596 | 168.995 | 3.588 | 169.6 | 3.385 | 974.109 | 83.7861 | 2.8007
2020-12-10 18:30:00 | 3.787 | 172.5 | 3.794 | 185.1 | 4.0596 | 174.364 | 3.733 | 178.5 | 3.266 | 974.258 | 84.1278 | 2.0839
2020-12-10 18:45:00 | 3.973 | 167.7 | 3.773 | 181.9 | 4.0371 | 171.35 | 3.942 | 170.1 | 3.361 | 974.109 | 84.4011 | 3.281
2020-12-10 19:00:00 | 4.149 | 156.5 | 4.706 | 171.8 | 5.0354 | 161.836 | 4.825 | 163 | 3.342 | 973.961 | 84.6745 | 6.8133
2020-12-10 19:15:00 | 4.701 | 157 | 4.709 | 172 | 5.0386 | 162.024 | 4.497 | 157.1 | 3.476 | 973.663 | 83.9228 | 10.3936
2020-12-10 19:30:00 | 4.578 | 152.9 | 4.543 | 168.7 | 4.861 | 158.915 | 4.337 | 154.3 | 3.466 | 973.961 | 83.9911 | 11.0439
2020-12-10 19:45:00 | 4.785 | 160.3 | 4.962 | 177 | 5.3093 | 166.734 | 4.724 | 164.2 | 3.534 | 974.258 | 82.8293 | 7.1717
2020-12-10 20:00:00 | 5.686 | 167.4 | 5.885 | 182.5 | 6.2969 | 171.915 | 5.62 | 173.3 | 3.536 | 974.555 | 83.0343 | 5.6383
2020-12-10 20:15:00 | 4.788 | 165.3 | 4.788 | 179.6 | 5.1232 | 169.183 | 4.64 | 171.1 | 3.537 | 974.555 | 83.9911 | 4.9954
2020-12-10 20:30:00 | 5.589 | 174.5 | 5.276 | 189 | 5.6453 | 178.038 | 5.134 | 176.1 | 3.483 | 974.555 | 82.966 | 4.0015
2020-12-10 20:45:00 | 5.801 | 174.7 | 5.739 | 185.2 | 6.1407 | 174.458 | 5.775 | 180 | 3.579 | 974.704 | 83.4102 | 5.6088
2020-12-10 21:00:00 | 5.349 | 170.2 | 5.599 | 181.7 | 5.9909 | 171.161 | 5.918 | 178.2 | 3.453 | 974.555 | 84.7429 | 9.6953
2020-12-10 21:15:00 | 6.414 | 161.8 | 6.539 | 173.1 | 6.9967 | 163.06 | 6.944 | 169.1 | 3.082 | 974.555 | 86.5881 | 16.1243
2020-12-10 21:30:00 | 5.903 | 159.7 | 6.412 | 170.8 | 6.8608 | 160.894 | 6.407 | 168.3 | 2.892 | 974.555 | 88.0916 | 16.5381
2020-12-10 21:45:00 | 5.771 | 158.5 | 6.018 | 172.2 | 6.4393 | 162.212 | 6.667 | 165.4 | 2.689 | 974.406 | 89.2534 | 17.3806
2020-12-10 22:00:00 | 5.416 | 156.2 | 6.189 | 168.4 | 6.6222 | 158.633 | 6.053 | 164.1 | 2.71 | 974.555 | 87.8182 | 14.8644
2020-12-10 22:15:00 | 4.913 | 161 | 5.719 | 174.5 | 6.1193 | 164.379 | 6.124 | 167.7 | 2.599 | 974.555 | 89.1167 | 14.0663
2020-12-10 22:30:00 | 4.941 | 170.7 | 5.522 | 180.5 | 5.9085 | 170.031 | 5.656 | 175.5 | 2.802 | 974.555 | 88.9824 | 12.156
2020-12-10 22:45:00 | 5.909 | 168.7 | 6.079 | 180 | 6.5045 | 169.56 | 6.147 | 174.1 | 2.879 | 974.555 | 88.9122 | 11.1917
2020-12-10 23:00:00 | 4.9 | 168.6 | 5.381 | 179.7 | 5.7577 | 169.277 | 5.5 | 174.6 | 2.85 | 974.406 | 90.2813 | 7.9328
2020-12-10 23:15:00 | 4.045 | 166.1 | 4.857 | 177.2 | 5.197 | 166.922 | 5.029 | 172.3 | 2.759 | 973.961 | 89.7331 | 7.035
2020-12-10 23:30:00 | 1.956 | 159.1 | 3.29 | 172.7 | 3.5203 | 162.683 | 4.176 | 167.7 | 2.439 | 973.961 | 90.4169 | 4.4523
2020-12-10 23:45:00 | 3.48 | 171.7 | 3.909 | 180.7 | 4.1826 | 170.219 | 4.224 | 176.5 | 2.83 | 973.961 | 88.846 | 2.4164