## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-11 00:00:00 | 3.031 | 176.4 | 3.362 | 187.3 | 3.5973 | 176.437 | 3.636 | 178.4 | 2.938 | 973.961 | 88.9826 | 1.6775
2020-12-11 00:15:00 | 3.409 | 176.5 | 3.581 | 189.3 | 3.8317 | 178.321 | 3.868 | 180.2 | 2.971 | 973.961 | 90.689 | 2.4349
2020-12-11 00:30:00 | 2.421 | 159.5 | 3.737 | 171.9 | 3.9986 | 161.93 | 4.382 | 165.5 | 2.778 | 973.366 | 91.7151 | 4.6333
2020-12-11 00:45:00 | 3.953 | 158.8 | 4.658 | 174.7 | 4.9841 | 164.567 | 4.828 | 162.4 | 2.73 | 973.366 | 91.3756 | 4.4486
2020-12-11 01:00:00 | 3.028 | 156.9 | 3.574 | 169.3 | 3.8242 | 159.481 | 4.123 | 160.9 | 2.739 | 973.366 | 91.5846 | 2.8598
2020-12-11 01:15:00 | 2.745 | 154.8 | 3.103 | 160.8 | 3.3202 | 151.474 | 3.471 | 163.4 | 2.873 | 973.069 | 91.9618 | 2.5938
2020-12-11 01:30:00 | 2.04 | 156.4 | 3.068 | 169.9 | 3.2828 | 160.046 | 3.443 | 158.9 | 2.995 | 972.772 | 91.7925 | 2.8376
2020-12-11 01:45:00 | 2.612 | 162.2 | 3.034 | 173.3 | 3.2464 | 163.249 | 2.977 | 174.8 | 3.082 | 972.772 | 90.7693 | 2.3388
2020-12-11 02:00:00 | 2.508 | 172.9 | 2.436 | 171.7 | 2.6065 | 161.741 | 2.075 | 174.8 | 2.976 | 972.772 | 91.3835 | 1.3966
2020-12-11 02:15:00 | 3.182 | 162.4 | 3.367 | 173.6 | 3.6027 | 163.531 | 3.129 | 173.5 | 2.663 | 972.623 | 92.7576 | 3.3143
2020-12-11 02:30:00 | 3.628 | 145.2 | 4.131 | 159.1 | 4.4202 | 149.872 | 3.269 | 150.1 | 2.531 | 972.49 | 93.0295 | 1.3486
2020-12-11 02:45:00 | 2.92 | 147.4 | 3.088 | 159.6 | 3.3042 | 150.343 | 2.123 | 156.4 | 2.827 | 972.208 | 92.2824 | 3.5249
2020-12-11 03:00:00 | 2.645 | 140.3 | 3.05 | 155 | 3.2635 | 146.01 | 1.707 | 153.5 | 2.677 | 972.198 | 92.6935 | 2.0026
2020-12-11 03:15:00 | 1.751 | 138 | 1.967 | 147.8 | 2.1047 | 139.228 | 0.391 | 153.6 | 2.858 | 972.239 | 92.6294 | 2.797
2020-12-11 03:30:00 | 2.674 | 147.7 | 3.292 | 162.3 | 3.5224 | 152.887 | 2.781 | 153.5 | 2.469 | 972.275 | 95.501 | 3.9756
2020-12-11 03:45:00 | 3.136 | 143.7 | 3.418 | 160.1 | 3.6573 | 150.814 | 2.75 | 150.1 | 2.189 | 972.445 | 96.2536 | 2.1061
2020-12-11 04:00:00 | 2.622 | 150.2 | 2.952 | 168.4 | 3.1586 | 158.633 | 2.488 | 154.4 | 2.106 | 972.692 | 97.009 | 2.0063
2020-12-11 04:15:00 | 3.011 | 150.9 | 3.517 | 166.7 | 3.7632 | 157.031 | 2.941 | 150.4 | 2.004 | 972.298 | 97.5558 | 3.3771
2020-12-11 04:30:00 | 2.648 | 141.6 | 3.047 | 154.3 | 3.2603 | 145.351 | 1.817 | 147.1 | 2.052 | 972.321 | 94.9923 | 2.5975
2020-12-11 04:45:00 | 0.443 | 126.9 | 0.696 | 154.7 | 0.74472 | 145.727 | 0 | 146.9 | 2.126 | 972.462 | 94.8214 | 0.91263
2020-12-11 05:00:00 | 0 | 156.2 | 0.064 | 160.7 | 0.06848 | 151.379 | 0 | 146.8 | 2.047 | 972.623 | 94.5479 | 0.41382
2020-12-11 05:15:00 | 1.582 | 146 | 1.878 | 162.6 | 2.0095 | 153.169 | 0.352 | 146.8 | 2.104 | 973.069 | 95.6416 | -0.37318
2020-12-11 05:30:00 | 0 | 130.3 | 0 | 162.1 | 0 | 152.698 | 0 | 146.8 | 2.045 | 973.069 | 94.8214 | -0.29189
2020-12-11 05:45:00 | 0 | 17.52 | 0.252 | 63.55 | 0.26964 | 59.8641 | 0.348 | 38.12 | 2.251 | 973.367 | 93.5908 | -0.26972
2020-12-11 06:00:00 | 0.164 | 1.129 | 0.694 | 63.55 | 0.74258 | 59.8641 | 0.454 | 38.12 | 2.091 | 973.367 | 94.8898 | -0.25864
2020-12-11 06:15:00 | 0.454 | 8.29 | 1.007 | 52.43 | 1.0775 | 49.3891 | 1.306 | 36.97 | 2.092 | 973.367 | 94.8898 | -0.28081
2020-12-11 06:30:00 | 0.841 | 347.3 | 1.13 | 2.518 | 1.2091 | 2.372 | 1.533 | 5.062 | 1.814 | 973.597 | 95.7785 | -0.25864
2020-12-11 06:45:00 | 1.144 | 334.5 | 1.063 | 339.2 | 1.1374 | 319.526 | 0.499 | 0.195 | 2.181 | 973.926 | 93.5533 | -0.26972
2020-12-11 07:00:00 | 0 | 10.87 | 0.004 | 31.43 | 0.00428 | 29.6071 | 0.031 | 0.195 | 2.299 | 974.305 | 93.6496 | -0.26972
2020-12-11 07:15:00 | 0.938 | 323.2 | 0 | 314.6 | 0 | 296.353 | 0.006 | 0.195 | 2.167 | 974.556 | 92.4025 | -0.26972
2020-12-11 07:30:00 | 0 | 323.2 | 0.041 | 314.5 | 0.04387 | 296.259 | 0.108 | 0.195 | 2.306 | 974.704 | 93.5598 | -0.25864
2020-12-11 07:45:00 | 0.067 | 24.18 | 0.821 | 17.37 | 0.87847 | 16.3625 | 0.963 | 0.195 | 2.048 | 974.853 | 92.2262 | -0.26972
2020-12-11 08:00:00 | 0.026 | 19.78 | 0.008 | 16.79 | 0.00856 | 15.8162 | 0.24 | 0.195 | 2.058 | 975.15 | 90.7911 | -0.26972
2020-12-11 08:15:00 | 1.331 | 98.8 | 0.552 | 98.8 | 0.59064 | 93.0696 | 0 | 0.195 | 2.349 | 975.15 | 89.2534 | -0.25864
2020-12-11 08:30:00 | 1.539 | 145.1 | 1.421 | 154.3 | 1.5205 | 145.351 | 0.837 | 0.621 | 2.484 | 975.735 | 88.2271 | -0.25864
2020-12-11 08:45:00 | 2.186 | 145.1 | 2.237 | 160.8 | 2.3936 | 151.474 | 2.21 | 129.1 | 2.579 | 975.447 | 89.4861 | -0.26972
2020-12-11 09:00:00 | 1.991 | 129.5 | 1.654 | 156.4 | 1.7698 | 147.329 | 1.359 | 133.9 | 2.802 | 975.893 | 84.1186 | -0.25125
2020-12-11 09:15:00 | 0.097 | 53.17 | 0.401 | 146 | 0.42907 | 137.532 | 0.512 | 66.96 | 4.052 | 975.9 | 81.3665 | -0.26972
2020-12-11 09:30:00 | 1.621 | 186.5 | 1.401 | 205.9 | 1.4991 | 193.958 | 0.441 | 285.3 | 4.582 | 975.892 | 84.509 | -0.25864
2020-12-11 09:45:00 | 1.221 | 214.5 | 0.847 | 222.9 | 0.90629 | 209.972 | 0.524 | 241.9 | 3.244 | 975.743 | 85.0552 | -0.26972
2020-12-11 10:00:00 | 2.428 | 213.1 | 1.686 | 244.6 | 1.804 | 230.413 | 0.717 | 197.8 | 3.242 | 975.446 | 87.9248 | -0.26972
2020-12-11 10:15:00 | 3.036 | 196.6 | 2.398 | 214.3 | 2.5659 | 201.871 | 1.925 | 214 | 3.548 | 975.446 | 85.8753 | -0.26972
2020-12-11 10:30:00 | 2.651 | 170.3 | 1.958 | 202.6 | 2.0951 | 190.849 | 1.462 | 178.2 | 3.508 | 974.852 | 83.4159 | -0.26972
2020-12-11 10:45:00 | 2.229 | 209.3 | 1.961 | 226.8 | 2.0983 | 213.646 | 0.675 | 175.9 | 4.163 | 974.852 | 80.5465 | -0.28081
2020-12-11 11:00:00 | 1.627 | 175.6 | 1.332 | 182.6 | 1.4252 | 172.009 | 0.717 | 198.7 | 4.889 | 975 | 81.7931 | -0.28081
2020-12-11 11:15:00 | 1.405 | 206.1 | 1.248 | 232.2 | 1.3354 | 218.732 | 1.048 | 206.9 | 4.029 | 974.703 | 84.6168 | -0.29928
2020-12-11 11:30:00 | 1.722 | 176 | 1.5 | 215.3 | 1.605 | 202.813 | 1.35 | 199.6 | 4.32 | 974.257 | 80.5874 | -0.28081
2020-12-11 11:45:00 | 2.883 | 221.4 | 2.452 | 244.7 | 2.6236 | 230.507 | 2.495 | 214.2 | 4.091 | 974.245 | 90.2852 | -0.26972
2020-12-11 12:00:00 | 2.817 | 236.8 | 2.285 | 284 | 2.4449 | 267.528 | 1.892 | 210.7 | 2.323 | 973.959 | 97.6065 | -0.29189
2020-12-11 12:15:00 | 2.086 | 223.6 | 1.07 | 303.2 | 1.1449 | 285.614 | 0.248 | 214.2 | 1.968 | 973.366 | 99.1287 | -0.28081
2020-12-11 12:30:00 | 1.512 | 22.28 | 1.624 | 34.56 | 1.7377 | 32.5555 | 0.299 | 324.7 | 1.909 | 973.068 | 98.9923 | -0.28081
2020-12-11 12:45:00 | 0.876 | 80.2 | 0.884 | 45.93 | 1.3054 | 43.2378 | 0.126 | 345.5 | 1.807 | 973.068 | 99.9829 | -0.28081
2020-12-11 13:00:00 | 0.526 | 335.4 | 0.885 | 338.5 | 0.94695 | 318.867 | 0.38 | 344.2 | 3.215 | 973.217 | 96.4646 | -0.26972
2020-12-11 13:15:00 | 0.907 | 120 | 0.744 | 200.2 | 0.79608 | 188.588 | 0.365 | 344.8 | 4.052 | 973.366 | 87.9248 | -0.2882
2020-12-11 13:30:00 | 0.963 | 139.5 | 0.862 | 161.7 | 0.92234 | 152.321 | 1.304 | 105.8 | 4.337 | 973.217 | 85.4654 | -0.25864
2020-12-11 13:45:00 | 0.964 | 198 | 1.038 | 222.5 | 1.1107 | 209.595 | 0.274 | 105.8 | 4.523 | 973.663 | 84.8505 | -0.25864
2020-12-11 14:00:00 | 0.534 | 156 | 0.286 | 178.1 | 0.30602 | 167.77 | 0.593 | 105.9 | 3.97 | 973.068 | 88.0266 | -0.26972
2020-12-11 14:15:00 | 0.31 | 101 | 0 | 177.5 | 0 | 167.205 | 0.369 | 105.7 | 4.243 | 973.068 | 86.8318 | -0.26972
2020-12-11 14:30:00 | 0.54 | 113.5 | 0.804 | 162 | 0.86028 | 152.604 | 2.136 | 105.7 | 3.577 | 972.474 | 91.3407 | -0.26972
2020-12-11 14:45:00 | 0.32 | 143.8 | 1.086 | 162 | 1.162 | 152.604 | 1.973 | 107 | 3.53 | 972.177 | 91.4774 | -0.24016
2020-12-11 15:00:00 | 0.79 | 130.2 | 0 | 162 | 0 | 152.604 | 0.66 | 107.3 | 2.825 | 971.731 | 96.0205 | -0.25864
2020-12-11 15:15:00 | 1.854 | 72.81 | 0.961 | 45.93 | 1.0283 | 43.2661 | 1.141 | 107.2 | 2.278 | 972.016 | 98.5995 | -0.26972
2020-12-11 15:30:00 | 2.413 | 72.98 | 2.308 | 48.55 | 2.4696 | 45.7341 | 0.022 | 106.3 | 1.859 | 971.583 | 100 | -0.26972
2020-12-11 15:45:00 | 2.234 | 72.96 | 1.278 | 48.64 | 1.3675 | 45.8189 | 0.089 | 105.7 | 2.872 | 971.879 | 95.7454 | -0.28081
2020-12-11 16:00:00 | 1.637 | 83.7 | 1.415 | 48.61 | 1.514 | 45.7906 | 0.843 | 105.8 | 3.925 | 972.177 | 87.2031 | -0.26972
2020-12-11 16:15:00 | 2.007 | 115.2 | 2.091 | 116.7 | 2.2374 | 109.931 | 1.292 | 106.3 | 3.997 | 972.177 | 82.761 | -0.26972
2020-12-11 16:30:00 | 1.865 | 148.8 | 2.18 | 154.3 | 2.3326 | 145.351 | 1.917 | 110.4 | 3.747 | 972.474 | 79.9931 | -0.28081
2020-12-11 16:45:00 | 1.532 | 147.2 | 2.464 | 157.6 | 2.6365 | 148.459 | 2.004 | 141 | 3.713 | 972.623 | 83.7177 | -0.26972
2020-12-11 17:00:00 | 3.102 | 151.9 | 3.484 | 169.1 | 3.7279 | 159.292 | 3.341 | 152.4 | 3.512 | 972.772 | 85.768 | -0.28081
2020-12-11 17:15:00 | 3.177 | 154 | 3.768 | 171.8 | 4.0318 | 161.836 | 3.955 | 157.7 | 3.37 | 973.069 | 85.2212 | -0.28081
2020-12-11 17:30:00 | 3.092 | 158.4 | 3.305 | 178 | 3.5364 | 167.676 | 3.822 | 158.3 | 3.609 | 973.217 | 80.5741 | 0.11084
2020-12-11 17:45:00 | 3.999 | 152.1 | 4.259 | 167.8 | 4.5571 | 158.068 | 4.879 | 157.1 | 3.433 | 973.366 | 83.4444 | 1.622
2020-12-11 18:00:00 | 5.25 | 158.6 | 5.287 | 171.6 | 5.6571 | 161.647 | 5.32 | 162.5 | 3.27 | 973.366 | 86.8614 | 5.8379
2020-12-11 18:15:00 | 6.417 | 161 | 6.516 | 177.2 | 6.9721 | 166.922 | 6.59 | 165.2 | 3.144 | 973.366 | 88.2282 | 10.6707
2020-12-11 18:30:00 | 6.189 | 163.6 | 6.123 | 180.6 | 6.5516 | 170.125 | 6.394 | 166.7 | 3.174 | 973.812 | 90.0734 | 10.9885
2020-12-11 18:45:00 | 6.297 | 163.2 | 6.184 | 178.7 | 6.6169 | 168.335 | 6.29 | 168.2 | 3.162 | 973.961 | 90.2101 | 13.2386
2020-12-11 19:00:00 | 6.578 | 164.8 | 6.445 | 182 | 6.8961 | 171.444 | 6.142 | 167.6 | 3.089 | 974.109 | 91.2352 | 15.0602
2020-12-11 19:15:00 | 7.185 | 161.9 | 7.066 | 178 | 7.5606 | 167.676 | 7.148 | 165.8 | 2.805 | 973.961 | 96.2925 | 17.048
2020-12-11 19:30:00 | 7.566 | 160.5 | 7.572 | 175.4 | 8.102 | 165.227 | 7.769 | 164.9 | 2.505 | 973.961 | 98.4452 | 20.5286
2020-12-11 19:45:00 | 7.29 | 159.3 | 7.058 | 174.1 | 7.5521 | 164.002 | 7.28 | 161.9 | 2.461 | 973.961 | 98.7528 | 21.637
2020-12-11 20:00:00 | 7.267 | 163.1 | 7.061 | 178.4 | 7.5553 | 168.053 | 7.138 | 164.3 | 2.577 | 973.961 | 96.7367 | 19.1282
2020-12-11 20:15:00 | 7.093 | 162.7 | 7.337 | 178.3 | 7.8506 | 167.959 | 7.64 | 165.9 | 2.506 | 974.258 | 96.2241 | 19.882
2020-12-11 20:30:00 | 6.749 | 162.9 | 6.877 | 178.1 | 7.3584 | 167.77 | 7.161 | 170.6 | 2.646 | 974.109 | 95.338 | 20.9313
2020-12-11 20:45:00 | 6.133 | 164.2 | 6.442 | 175.8 | 6.8929 | 165.604 | 7.059 | 169.2 | 2.667 | 974.555 | 95.1996 | 13.8335
2020-12-11 21:00:00 | 5.837 | 169.2 | 6.355 | 181.3 | 6.7999 | 170.785 | 6.213 | 182.2 | 2.858 | 974.555 | 91.4421 | 10.9922
2020-12-11 21:15:00 | 5.582 | 171.1 | 6.138 | 177.2 | 6.5677 | 166.922 | 5.966 | 184.7 | 2.446 | 974.258 | 92.7415 | 8.7125
2020-12-11 21:30:00 | 5.464 | 169.1 | 5.683 | 174.5 | 6.0808 | 164.379 | 6.219 | 183.8 | 2.27 | 973.961 | 92.2715 | 9.6214
2020-12-11 21:45:00 | 5.303 | 165.8 | 5.576 | 173 | 5.9663 | 162.966 | 5.419 | 181.8 | 1.967 | 973.961 | 96.0744 | 12.6622
2020-12-11 22:00:00 | 4.655 | 167.4 | 5.466 | 171.9 | 5.8486 | 161.93 | 5.595 | 182.2 | 1.77 | 973.815 | 94.9906 | 10.8222
2020-12-11 22:15:00 | 4.297 | 180.6 | 5.085 | 184.9 | 5.4409 | 174.176 | 5.424 | 192.1 | 2.27 | 973.908 | 80.3623 | 10.9367
2020-12-11 22:30:00 | 4.234 | 182.7 | 4.965 | 189.6 | 5.3125 | 178.603 | 5.141 | 192 | 2.593 | 973.502 | 77.5936 | 11.3432
2020-12-11 22:45:00 | 4.277 | 179.4 | 5.184 | 185.1 | 5.5469 | 174.364 | 5.48 | 188.6 | 2.638 | 973.591 | 76.1576 | 12.3814
2020-12-11 23:00:00 | 4.285 | 178 | 5.072 | 184.6 | 5.427 | 173.893 | 5.559 | 189.3 | 2.652 | 973.288 | 69.5266 | 12.8433
2020-12-11 23:15:00 | 5.053 | 186.3 | 5.691 | 192.9 | 6.0894 | 181.712 | 6.038 | 194 | 3.489 | 973.194 | 56.3979 | 13.0945
2020-12-11 23:30:00 | 4.251 | 185.7 | 4.965 | 194.4 | 5.3125 | 183.125 | 5.903 | 193.9 | 3.386 | 973.411 | 53.9318 | 13.1056
2020-12-11 23:45:00 | 4.56 | 182.6 | 6.026 | 188.6 | 6.4478 | 177.661 | 6.435 | 192.6 | 3.902 | 973.367 | 49.1078 | 14.0884