## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-12 00:00:00 | 4.555 | 181.7 | 5.376 | 188.6 | 5.7523 | 177.661 | 5.786 | 192.2 | 4.208 | 973.069 | 42.645 | 13.028
2020-12-12 00:15:00 | 3.626 | 182.3 | 4.934 | 190.3 | 5.2794 | 179.263 | 5.139 | 192.4 | 4.962 | 973.218 | 40.5946 | 11.927
2020-12-12 00:30:00 | 4.624 | 182.9 | 5.496 | 192.5 | 5.8807 | 181.335 | 5.709 | 191.5 | 4.965 | 973.367 | 36.2891 | 14.8459
2020-12-12 00:45:00 | 3.577 | 174.6 | 4.89 | 181.2 | 5.2323 | 170.69 | 5.612 | 187 | 5.034 | 973.069 | 34.3755 | 15.2597
2020-12-12 01:00:00 | 4.351 | 171.1 | 5.161 | 179 | 5.5223 | 168.618 | 5.658 | 183.2 | 5.312 | 973.053 | 35.946 | 17.3953
2020-12-12 01:15:00 | 4.481 | 172.4 | 5.417 | 178.8 | 5.7962 | 168.43 | 5.663 | 184 | 5.039 | 972.76 | 35.7409 | 16.3275
2020-12-12 01:30:00 | 5.04 | 177.8 | 5.716 | 185.8 | 6.1161 | 175.024 | 6.348 | 188.9 | 5.093 | 972.763 | 36.3553 | 20.5433
2020-12-12 01:45:00 | 4.954 | 168.5 | 6.089 | 177.3 | 6.5152 | 167.017 | 6.112 | 179.9 | 4.606 | 972.619 | 37.3794 | 21.5188
2020-12-12 02:00:00 | 4.854 | 173.8 | 5.985 | 180.6 | 6.404 | 170.125 | 6.323 | 185 | 4.323 | 972.145 | 40.5231 | 21.4042
2020-12-12 02:15:00 | 4.326 | 162.7 | 5.57 | 174.3 | 5.9599 | 164.191 | 6.427 | 177.2 | 4.463 | 972.168 | 45.0341 | 18.8548
2020-12-12 02:30:00 | 4.739 | 174.8 | 6.059 | 186.7 | 6.4831 | 175.871 | 6.72 | 182.9 | 4.46 | 972.143 | 46.1975 | 24.9106
2020-12-12 02:45:00 | 5.076 | 172.4 | 6.148 | 178.6 | 6.5784 | 168.241 | 6.868 | 180.8 | 3.53 | 972.177 | 52.4175 | 24.9624
2020-12-12 03:00:00 | 5.017 | 171.3 | 5.918 | 179.8 | 6.3323 | 169.372 | 6.909 | 179.4 | 2.715 | 971.731 | 60.516 | 22.8748
2020-12-12 03:15:00 | 5.597 | 176.9 | 6.601 | 186.3 | 7.0631 | 175.495 | 6.802 | 186.4 | 3.199 | 971.583 | 56.8597 | 21.892
2020-12-12 03:30:00 | 5.329 | 179.8 | 6.683 | 190.1 | 7.1508 | 179.074 | 7.156 | 187.7 | 3.207 | 971.285 | 47.0186 | 26.7729
2020-12-12 03:45:00 | 5.439 | 175.3 | 6.532 | 185.1 | 6.9892 | 174.364 | 7.543 | 184.6 | 2.821 | 971.583 | 57.0647 | 25.2247
2020-12-12 04:00:00 | 4.936 | 180.4 | 6.281 | 189.5 | 6.7207 | 178.509 | 7.293 | 190 | 2.324 | 971.137 | 56.8939 | 22.1321
2020-12-12 04:15:00 | 4.663 | 187.9 | 5.765 | 197.2 | 6.1685 | 185.762 | 6.756 | 200.5 | 2.585 | 971.285 | 51.3962 | 19.0506
2020-12-12 04:30:00 | 5.863 | 181 | 6.555 | 189.9 | 7.0138 | 178.886 | 7.033 | 190.8 | 2.699 | 970.988 | 52.8296 | 23.2849
2020-12-12 04:45:00 | 5.663 | 182.1 | 6.555 | 189.1 | 7.0138 | 178.132 | 6.926 | 194.1 | 2.508 | 970.988 | 50.6431 | 18.0641
2020-12-12 05:00:00 | 5.37 | 189.2 | 5.803 | 194 | 6.2092 | 182.748 | 6.618 | 198.3 | 2.504 | 971.285 | 52.3558 | 19.0765
2020-12-12 05:15:00 | 5.303 | 193.8 | 6.21 | 205.7 | 6.6447 | 193.769 | 7.089 | 202.4 | 2.652 | 971.583 | 48.3585 | 18.3856
2020-12-12 05:30:00 | 5.666 | 208.4 | 6.064 | 216.1 | 6.4885 | 203.566 | 7.685 | 219.1 | 3.173 | 971.88 | 47.639 | 14.9272
2020-12-12 05:45:00 | 4.877 | 197.1 | 5.693 | 204.4 | 6.0915 | 192.545 | 6.779 | 208.9 | 2.433 | 972.028 | 52.8299 | 12.06
2020-12-12 06:00:00 | 4.668 | 215.3 | 5.098 | 214.9 | 5.4549 | 202.436 | 6.669 | 227.3 | 2.521 | 972.041 | 51.4642 | 7.4858
2020-12-12 06:15:00 | 4.571 | 203.3 | 4.936 | 208.6 | 5.2815 | 196.501 | 5.821 | 218.2 | 2.581 | 972.178 | 49.4848 | 9.2888
2020-12-12 06:30:00 | 5.15 | 217.1 | 5.645 | 216.9 | 6.0401 | 204.32 | 7.072 | 231.2 | 2.85 | 972.475 | 50.4372 | 12.1597
2020-12-12 06:45:00 | 5.12 | 204.8 | 5.415 | 203.8 | 5.7941 | 191.98 | 6.55 | 224.4 | 2.393 | 972.772 | 53.9211 | 8.5573
2020-12-12 07:00:00 | 3.358 | 232 | 4.134 | 228.8 | 4.4234 | 215.53 | 5.567 | 247.3 | 2.318 | 973.069 | 51.6658 | 3.4584
2020-12-12 07:15:00 | 1.515 | 233 | 2.001 | 235.7 | 2.1411 | 222.029 | 2.475 | 243.7 | 2.559 | 973.664 | 55.6979 | 0.84612
2020-12-12 07:30:00 | 0.385 | 227.9 | 0.878 | 211.1 | 0.93946 | 198.856 | 2.409 | 228.8 | 2.809 | 973.64 | 56.1708 | 0.16996
2020-12-12 07:45:00 | 2.145 | 213.2 | 2.502 | 209.9 | 2.6771 | 197.726 | 4.617 | 231.9 | 3.858 | 974.097 | 53.563 | 1.4484
2020-12-12 08:00:00 | 3.409 | 221.1 | 3.96 | 214.5 | 4.2372 | 202.059 | 6.081 | 238.3 | 2.052 | 973.812 | 55.3032 | 3.7466
2020-12-12 08:15:00 | 3.233 | 208.8 | 3.561 | 200.5 | 3.8103 | 188.871 | 3.147 | 234.5 | 2.614 | 974.257 | 54.8591 | 1.4114
2020-12-12 08:30:00 | 2.127 | 212.7 | 2.272 | 192.3 | 2.431 | 181.147 | 1.63 | 249.2 | 2.85 | 974.257 | 56.4646 | 0.029559
2020-12-12 08:45:00 | 0.381 | 279.2 | 1.001 | 267 | 1.0711 | 251.514 | 1.846 | 284.2 | 4.364 | 974.406 | 45.6256 | -0.28081
2020-12-12 09:00:00 | 1.859 | 319.2 | 1.772 | 319 | 1.896 | 300.498 | 1.792 | 321.9 | 5.548 | 974.268 | 42.9913 | -0.29189
2020-12-12 09:15:00 | 2.239 | 308.2 | 2.321 | 325.7 | 2.4835 | 306.809 | 2.712 | 308.7 | 5.233 | 974.014 | 45.4713 | -0.15518
2020-12-12 09:30:00 | 1.135 | 341.4 | 1.061 | 331.2 | 1.1353 | 311.99 | 0.955 | 332.1 | 5.012 | 973.694 | 48.2676 | -0.25125
2020-12-12 09:45:00 | 1.128 | 335.8 | 0.712 | 338.3 | 0.76184 | 318.679 | 0.163 | 355.3 | 5.732 | 974.107 | 48.609 | -0.24016
2020-12-12 10:00:00 | 1.079 | 207 | 0.486 | 268.3 | 0.52002 | 252.739 | 0.083 | 233.2 | 5.186 | 973.959 | 48.0628 | -0.25125
2020-12-12 10:15:00 | 2.299 | 190.5 | 1.807 | 219.2 | 1.9335 | 206.486 | 1.279 | 206.3 | 4.772 | 973.662 | 61.8877 | -0.26233
2020-12-12 10:30:00 | 3.274 | 201 | 3.134 | 233.5 | 3.3534 | 219.957 | 2.251 | 200.7 | 4.592 | 973.365 | 71.3774 | -0.24016
2020-12-12 10:45:00 | 2.554 | 143.7 | 2.135 | 169.3 | 2.2845 | 159.481 | 0.75 | 172 | 5.828 | 973.217 | 64.4137 | -0.24016
2020-12-12 11:00:00 | 3.276 | 162.2 | 2.707 | 188.8 | 2.8965 | 177.85 | 1.953 | 154.5 | 5.251 | 972.771 | 69.4317 | -0.16257
2020-12-12 11:15:00 | 1.277 | 120.7 | 0.794 | 152.2 | 0.84958 | 143.372 | 0.631 | 146.5 | 4.93 | 972.517 | 66.4277 | -0.20691
2020-12-12 11:30:00 | 2.079 | 150.5 | 1.486 | 172.3 | 1.59 | 162.307 | 0.813 | 143.1 | 4.705 | 972.216 | 71.5846 | -0.19952
2020-12-12 11:45:00 | 2.224 | 154 | 1.998 | 168.6 | 2.1379 | 158.821 | 0.488 | 143.1 | 5.38 | 972.355 | 72.2698 | -0.18844
2020-12-12 12:00:00 | 1.306 | 124.5 | 1.469 | 154.9 | 1.5718 | 145.916 | 1.178 | 131.9 | 4.844 | 972.05 | 72.3719 | -0.22169
2020-12-12 12:15:00 | 1.859 | 103.7 | 1.584 | 147.2 | 1.6949 | 138.662 | 0.38 | 119.2 | 5.292 | 972.359 | 70.2648 | -0.25494
2020-12-12 12:30:00 | 0.577 | 32.99 | 1.082 | 59.87 | 1.1577 | 56.3975 | 0.35 | 37.74 | 6.398 | 972.525 | 66.5671 | -0.28081
2020-12-12 12:45:00 | 1.354 | 42.54 | 1.078 | 349.7 | 1.1535 | 329.417 | 0.667 | 68.16 | 6.495 | 971.898 | 69.9779 | -0.26972
2020-12-12 13:00:00 | 1.397 | 322.2 | 0.41 | 287.9 | 0.4387 | 271.202 | 0.028 | 71.13 | 5.067 | 971.202 | 73.7772 | -0.26972
2020-12-12 13:15:00 | 1.989 | 182.8 | 1.893 | 198.3 | 2.0255 | 186.799 | 0.541 | 309.5 | 5.117 | 970.984 | 74.5735 | -0.26603
2020-12-12 13:30:00 | 1.825 | 151.4 | 1.825 | 165.6 | 1.9527 | 155.995 | 1.94 | 151.6 | 5.039 | 970.989 | 73.6896 | -0.092371
2020-12-12 13:45:00 | 2.671 | 152.8 | 2.329 | 171.5 | 2.492 | 161.553 | 1.566 | 152.5 | 5.197 | 970.862 | 67.4407 | 0.25125
2020-12-12 14:00:00 | 4.029 | 146.8 | 3.517 | 169.5 | 3.7632 | 159.669 | 3.091 | 147.1 | 4.662 | 970.986 | 64.743 | 2.5679
2020-12-12 14:15:00 | 4.558 | 154.8 | 4.333 | 171.7 | 4.6363 | 161.741 | 3.906 | 159.4 | 4.648 | 970.691 | 64.1357 | 4.6998
2020-12-12 14:30:00 | 3.537 | 153.5 | 3.42 | 176.5 | 3.6594 | 166.263 | 3.132 | 154.6 | 4.59 | 970.097 | 68.4881 | 4.9252
2020-12-12 14:45:00 | 3.225 | 151.4 | 3.3 | 165.5 | 3.531 | 155.901 | 3.384 | 155.9 | 4.612 | 970.097 | 70.5722 | 5.5718
2020-12-12 15:00:00 | 3.598 | 158.7 | 3.418 | 172.8 | 3.6573 | 162.778 | 3.147 | 158.8 | 4.312 | 969.502 | 70.4014 | 8.9785
2020-12-12 15:15:00 | 4.652 | 154.6 | 4.936 | 167.2 | 5.2815 | 157.502 | 4.408 | 158.3 | 4.129 | 969.229 | 72.3143 | 12.2891
2020-12-12 15:30:00 | 6.026 | 146.3 | 5.857 | 163.4 | 6.267 | 153.923 | 5.307 | 150.8 | 4.033 | 969.124 | 74.5396 | 16.5972
2020-12-12 15:45:00 | 7.724 | 145.2 | 7.905 | 161.8 | 8.4583 | 152.416 | 7.576 | 148.6 | 3.876 | 969.203 | 78.2443 | 18.3375
2020-12-12 16:00:00 | 7.696 | 144.5 | 7.8 | 162.8 | 8.346 | 153.358 | 6.825 | 149 | 3.783 | 968.758 | 79.8142 | 23.0263
2020-12-12 16:15:00 | 8.22 | 145.6 | 8.09 | 164.3 | 8.6563 | 154.771 | 7.876 | 149.5 | 3.492 | 968.604 | 83.5082 | 26.0782
2020-12-12 16:30:00 | 8.01 | 147.8 | 7.958 | 165.1 | 8.5151 | 155.524 | 7.996 | 149.7 | 3.09 | 968.608 | 86.9977 | 29.0267
2020-12-12 16:45:00 | 8.06 | 148.4 | 8.07 | 168.2 | 8.6349 | 158.444 | 7.698 | 149.5 | 2.832 | 968.312 | 88.0232 | 33.7894
2020-12-12 17:00:00 | 9.27 | 151.9 | 9.13 | 171.7 | 9.7691 | 161.741 | 8.59 | 152.7 | 2.587 | 968.312 | 88.6725 | 42.3355
2020-12-12 17:15:00 | 7.466 | 146.3 | 7.961 | 164.3 | 8.5183 | 154.771 | 8.35 | 148 | 2.578 | 968.312 | 88.5016 | 40.7911
2020-12-12 17:30:00 | 6.547 | 143.4 | 6.701 | 164.3 | 7.1701 | 154.771 | 8.36 | 146.1 | 2.598 | 968.312 | 86.9981 | 45.7348
2020-12-12 17:45:00 | 5.817 | 140.9 | 5.898 | 162.9 | 6.3109 | 153.452 | 8.02 | 145.9 | 2.899 | 968.312 | 78.7288 | 48.6685
2020-12-12 18:00:00 | 6.189 | 142.2 | 6.57 | 160.3 | 7.0299 | 151.003 | 7.596 | 148.2 | 3.49 | 968.312 | 73.6033 | 51.2771
2020-12-12 18:15:00 | 7.065 | 150.7 | 7.547 | 165.6 | 8.0753 | 155.995 | 8.27 | 157.2 | 3.535 | 968.758 | 66.9742 | 41.9993
2020-12-12 18:30:00 | 5.293 | 151.4 | 5.624 | 169.3 | 6.0177 | 159.481 | 7.184 | 156.4 | 3.286 | 968.61 | 71.8264 | 33.2462
2020-12-12 18:45:00 | 6.744 | 157.4 | 6.818 | 174.2 | 7.2953 | 164.096 | 7.477 | 160.9 | 3.212 | 968.907 | 72.9199 | 30.6155
2020-12-12 19:00:00 | 8.64 | 151.7 | 8.9 | 166.5 | 9.523 | 156.843 | 9.25 | 160 | 3.129 | 968.907 | 73.3982 | 37.3438
2020-12-12 19:15:00 | 7.206 | 151.8 | 7.736 | 165.5 | 8.2775 | 155.901 | 8.44 | 159.5 | 2.914 | 968.907 | 78.2505 | 38.0975
2020-12-12 19:30:00 | 6.695 | 154.1 | 6.938 | 172.2 | 7.4237 | 162.212 | 8.12 | 158.9 | 2.755 | 968.907 | 77.9771 | 31.0478
2020-12-12 19:45:00 | 8.1 | 155.2 | 8.55 | 168.7 | 9.1485 | 158.915 | 8.94 | 163.1 | 2.793 | 969.056 | 79.754 | 30.6155
2020-12-12 20:00:00 | 7.382 | 158.3 | 7.894 | 172.7 | 8.4466 | 162.683 | 8.42 | 168 | 2.561 | 969.204 | 81.5992 | 28.7865
2020-12-12 20:15:00 | 6.815 | 164.1 | 7.557 | 173.9 | 8.086 | 163.814 | 8.14 | 176.6 | 2.669 | 969.204 | 79.2072 | 24.0719
2020-12-12 20:30:00 | 6.792 | 163.6 | 7.171 | 174.9 | 7.673 | 164.756 | 7.599 | 174.6 | 2.778 | 969.502 | 79.6527 | 22.8046
2020-12-12 20:45:00 | 6.353 | 159.1 | 7.043 | 170.5 | 7.536 | 160.611 | 7.482 | 168.8 | 2.535 | 969.799 | 80.3733 | 22.679
2020-12-12 21:00:00 | 5.574 | 158.7 | 6.573 | 170.3 | 7.0331 | 160.423 | 7.117 | 170 | 2.375 | 969.799 | 82.2578 | 22.7602
2020-12-12 21:15:00 | 6.445 | 165.2 | 7.015 | 174 | 7.5061 | 163.908 | 7.645 | 179.5 | 2.758 | 969.799 | 78.4001 | 23.817
2020-12-12 21:30:00 | 6.407 | 170.9 | 6.954 | 178.3 | 7.4408 | 167.959 | 6.995 | 183 | 2.831 | 969.799 | 78.3973 | 23.0743
2020-12-12 21:45:00 | 6.144 | 172.3 | 6.826 | 181.9 | 7.3038 | 171.35 | 6.002 | 181.4 | 3.039 | 969.799 | 78.9436 | 26.6805
2020-12-12 22:00:00 | 6.113 | 174.7 | 6.66 | 188 | 7.1262 | 177.096 | 6.142 | 183.6 | 2.937 | 969.799 | 80.374 | 27.9995
2020-12-12 22:15:00 | 6.644 | 172.5 | 6.974 | 185.3 | 7.4622 | 174.553 | 6.764 | 182.7 | 3.097 | 969.948 | 80.1651 | 31.3655
2020-12-12 22:30:00 | 6.818 | 172.4 | 7.337 | 183.3 | 7.8506 | 172.669 | 6.965 | 186.4 | 3.066 | 969.799 | 80.0285 | 30.2645
2020-12-12 22:45:00 | 6.253 | 185.7 | 6.557 | 195.3 | 7.016 | 183.973 | 6.448 | 193.8 | 3.443 | 969.948 | 77.4987 | 23.4549
2020-12-12 23:00:00 | 5.446 | 191.5 | 5.783 | 202.3 | 6.1878 | 190.567 | 6.173 | 197.5 | 3.358 | 970.096 | 76.8837 | 18.9139
2020-12-12 23:15:00 | 5.607 | 194.3 | 6.013 | 201.5 | 6.4339 | 189.813 | 6.84 | 202.9 | 3.556 | 969.948 | 76.1319 | 17.4286
2020-12-12 23:30:00 | 5.199 | 198.4 | 5.463 | 208 | 5.8454 | 195.936 | 5.982 | 210.5 | 3.653 | 970.096 | 74.7651 | 11.1473
2020-12-12 23:45:00 | 4.793 | 215.1 | 5.358 | 219.6 | 5.7331 | 206.863 | 6.784 | 224 | 3.525 | 970.245 | 76.0977 | 12.193