## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-13 00:00:00 | 3.692 | 230.3 | 4.502 | 232.4 | 4.8171 | 218.921 | 5.9 | 236 | 3.476 | 970.839 | 75.6535 | 9.784
2020-12-13 00:15:00 | 4.818 | 246.2 | 5.553 | 256.6 | 5.9417 | 241.717 | 6.448 | 250.7 | 3.783 | 970.988 | 73.1591 | 11.8198
2020-12-13 00:30:00 | 6.049 | 279.2 | 6.841 | 290.5 | 7.3199 | 273.651 | 8.58 | 281.4 | 3.68 | 972.177 | 73.1249 | 21.178
2020-12-13 00:45:00 | 6.253 | 325.7 | 6.862 | 343.5 | 7.3423 | 323.577 | 8.23 | 321.2 | 1.536 | 971.583 | 92.3971 | 28.0291
2020-12-13 01:00:00 | 5.579 | 356.4 | 6.041 | 24.74 | 6.4639 | 23.3051 | 8.84 | 340.7 | 0.021 | 971.285 | 99.2995 | 27.3973
2020-12-13 01:15:00 | 5.837 | 1.862 | 8.5 | 31.4 | 9.095 | 29.5788 | 9.9 | 342.3 | -0.757 | 971.07 | 100 | 27.5635
2020-12-13 01:30:00 | 9.84 | 359.9 | 10.57 | 24.86 | 11.3099 | 23.4181 | 12.96 | 353.1 | -0.945 | 971.431 | 100 | 26.7063
2020-12-13 01:45:00 | 13.24 | 1.273 | 13.37 | 21.32 | 14.3059 | 20.0834 | 14.83 | 2.143 | -1.39 | 971.136 | 100 | 27.5525
2020-12-13 02:00:00 | 14.18 | 5.619 | 15.2 | 22.94 | 16.264 | 21.6095 | 14.93 | 7.137 | -1.72 | 970.69 | 93.3213 | 21.722
2020-12-13 02:15:00 | 15.28 | 8.57 | 17.74 | 25.78 | 18.9818 | 24.2848 | 15.83 | 10.14 | -1.552 | 970.393 | 77.846 | 21.9215
2020-12-13 02:30:00 | 12.95 | 7.265 | 15.61 | 25.54 | 16.7027 | 24.0587 | 13.43 | 10.64 | -1.711 | 971.285 | 78.7008 | 21.4523
2020-12-13 02:45:00 | 12.68 | 8.34 | 15.11 | 25.29 | 16.1677 | 23.8232 | 13.37 | 9.96 | -1.841 | 971.434 | 76.4444 | 21.4523
2020-12-13 03:00:00 | 13.54 | 6.368 | 14.6 | 23.07 | 15.622 | 21.7319 | 13.5 | 7.973 | -1.774 | 971.582 | 73.3675 | 21.1271
2020-12-13 03:15:00 | 13.05 | 4.844 | 13.43 | 23 | 14.3701 | 21.666 | 13.61 | 4.097 | -1.777 | 972.028 | 72.6154 | 13.985
2020-12-13 03:30:00 | 12.73 | 3.98 | 12.24 | 20.88 | 13.0968 | 19.669 | 14.17 | 2.671 | -2.011 | 973.069 | 75.6923 | 19.3905
2020-12-13 03:45:00 | 12.19 | 2.906 | 12.67 | 21.57 | 13.5569 | 20.3189 | 14.39 | 1.784 | -2.132 | 972.923 | 73.4359 | 25.9083
2020-12-13 04:00:00 | 10.96 | 355.5 | 11.33 | 24.93 | 12.1231 | 23.4841 | 15.07 | 353.8 | -2.175 | 973.665 | 69.1282 | 25.3503
2020-12-13 04:15:00 | 9.21 | 353.8 | 11.19 | 25 | 11.9733 | 23.55 | 13.19 | 348.4 | -2.147 | 973.813 | 62.8376 | 25.2136
2020-12-13 04:30:00 | 8.09 | 0.627 | 9.36 | 25.3 | 10.0152 | 23.8326 | 11.37 | 348 | -2.154 | 974.111 | 56.8889 | 31.1623
2020-12-13 04:45:00 | 6.338 | 357.1 | 8.74 | 31.8 | 9.3518 | 29.9556 | 11.48 | 343.8 | -2.274 | 974.855 | 56.9573 | 31.9309
2020-12-13 05:00:00 | 6.695 | 356.6 | 8.94 | 27.41 | 9.5658 | 25.8202 | 10.92 | 344.1 | -2.473 | 974.854 | 59.8294 | 37.3179
2020-12-13 05:15:00 | 5.446 | 352.1 | 7.728 | 28.15 | 8.269 | 26.5173 | 10.72 | 343.8 | -2.679 | 975.003 | 59.9677 | 43.1004
2020-12-13 05:30:00 | 6.269 | 351.3 | 7.754 | 22.37 | 8.2968 | 21.0725 | 10.99 | 343.5 | -2.793 | 975.175 | 61.4102 | 43.1373
2020-12-13 05:45:00 | 6.164 | 351.5 | 8.01 | 21.2 | 8.5707 | 19.9704 | 10.71 | 346.3 | -2.865 | 975.777 | 59.6341 | 41.1199
2020-12-13 06:00:00 | 6.501 | 353.8 | 8.67 | 20.87 | 9.2769 | 19.6595 | 11.76 | 347 | -2.987 | 975.517 | 57.3773 | 46.5661
2020-12-13 06:15:00 | 7.727 | 359.5 | 9.64 | 27.5 | 10.3148 | 25.905 | 11.2 | 347.5 | -3.171 | 975.085 | 52.385 | 52.7402
2020-12-13 06:30:00 | 10.15 | 353.5 | 11.79 | 28.18 | 12.6153 | 26.5456 | 13.69 | 346.3 | -3.323 | 975.121 | 47.9766 | 52.6479
2020-12-13 06:45:00 | 9.54 | 359.6 | 10.92 | 25.12 | 11.6844 | 23.663 | 13.05 | 350.3 | -3.477 | 975.569 | 44.8635 | 52.8991
2020-12-13 07:00:00 | 10.38 | 355.2 | 12.13 | 27.04 | 12.9791 | 25.4717 | 12.78 | 351.8 | -3.434 | 975.563 | 43.3579 | 58.4451
2020-12-13 07:15:00 | 8.82 | 358.1 | 11.23 | 25.01 | 12.0161 | 23.5594 | 12.57 | 349.5 | -3.409 | 976.375 | 43.836 | 63.5033
2020-12-13 07:30:00 | 7.081 | 359.3 | 9.49 | 29.81 | 10.1543 | 28.081 | 11.05 | 351.2 | -3.33 | 977.233 | 44.3421 | 53.7009
2020-12-13 07:45:00 | 7.405 | 3.207 | 10.12 | 30.37 | 10.8284 | 28.6085 | 10.44 | 351.4 | -3.269 | 977.531 | 43.1795 | 58.5744
2020-12-13 08:00:00 | 8.9 | 359.3 | 11.87 | 23.84 | 12.7009 | 22.4573 | 14.49 | 352 | -3.279 | 977.53 | 42.4616 | 53.4275
2020-12-13 08:15:00 | 11.59 | 358.1 | 13.1 | 27.74 | 14.017 | 26.1311 | 14.57 | 352.3 | -3.33 | 977.828 | 40.8889 | 50.1021
2020-12-13 08:30:00 | 9.15 | 357 | 12.18 | 27.86 | 13.0326 | 26.2441 | 14.01 | 348.7 | -3.201 | 979.017 | 39.8633 | 50.2499
2020-12-13 08:45:00 | 10.09 | 359.3 | 12.04 | 28.18 | 12.8828 | 26.5456 | 11.99 | 357.1 | -3.304 | 978.72 | 41.2594 | 38.7616
2020-12-13 09:00:00 | 7.132 | 360 | 9.99 | 29.69 | 10.6893 | 27.968 | 11.7 | 347.7 | -3.042 | 979.166 | 38.0106 | 33.3903
2020-12-13 09:15:00 | 9.48 | 3.163 | 12.16 | 32.08 | 13.0112 | 30.2194 | 12.12 | 352 | -3.044 | 978.72 | 34.7975 | 41.3527
2020-12-13 09:30:00 | 9.85 | 354.1 | 12.16 | 27.92 | 13.0112 | 26.3006 | 14.72 | 350.1 | -3.088 | 978.72 | 34.2506 | 41.9808
2020-12-13 09:45:00 | 10.99 | 357.8 | 13.09 | 26.81 | 14.0063 | 25.255 | 14.33 | 353.5 | -2.871 | 979.017 | 34.524 | 40.6322
2020-12-13 10:00:00 | 10.66 | 358.9 | 11.88 | 30.04 | 12.7116 | 28.2977 | 12.09 | 351.1 | -2.807 | 979.017 | 31.7894 | 40.6137
2020-12-13 10:15:00 | 10.24 | 356.7 | 12.22 | 28.18 | 13.0754 | 26.5456 | 13.73 | 352.5 | -2.924 | 979.612 | 32.6098 | 39.605
2020-12-13 10:30:00 | 9.94 | 359 | 11.69 | 27.22 | 12.5083 | 25.6412 | 12.72 | 353.4 | -2.785 | 979.315 | 32.6098 | 31.9678
2020-12-13 10:45:00 | 5.309 | 1.023 | 8.41 | 30.9 | 8.9987 | 29.1078 | 9.89 | 351.2 | -2.441 | 978.869 | 32.3013 | 30.5933
2020-12-13 11:00:00 | 8.78 | 6.574 | 12.41 | 29 | 13.2787 | 27.318 | 11.14 | 1.676 | -2.839 | 979.017 | 33.3615 | 31.6464
2020-12-13 11:15:00 | 10.34 | 6.309 | 13.08 | 30.29 | 13.9956 | 28.5332 | 12.75 | 357.9 | -2.871 | 978.571 | 30.7639 | 31.166
2020-12-13 11:30:00 | 8.44 | 5.407 | 11.59 | 29.06 | 12.4013 | 27.3745 | 11.18 | 357.8 | -2.829 | 979.315 | 31.7894 | 31.5133
2020-12-13 11:45:00 | 7.43 | 5.131 | 10.51 | 31.22 | 11.2457 | 29.4092 | 10.54 | 359.4 | -2.625 | 979.612 | 31.4474 | 38.9289
2020-12-13 12:00:00 | 7.052 | 7.436 | 9.8 | 33.72 | 10.486 | 31.7642 | 9.94 | 353.9 | -2.736 | 979.909 | 35.857 | 37.2662
2020-12-13 12:15:00 | 9.58 | 0.746 | 10.67 | 27.45 | 11.4169 | 25.8579 | 11.72 | 355.1 | -2.883 | 979.612 | 32.3358 | 40.8243
2020-12-13 12:30:00 | 9.73 | 7.786 | 10.73 | 25.02 | 11.4811 | 23.5688 | 11.48 | 356.8 | -2.664 | 979.612 | 31.3791 | 44.3381
2020-12-13 12:45:00 | 9.49 | 9.66 | 11.41 | 27.89 | 12.2087 | 26.2724 | 10.87 | 3.398 | -2.98 | 979.612 | 31.4476 | 45.6261
2020-12-13 13:00:00 | 8.16 | 1.412 | 10.07 | 28.5 | 10.7749 | 26.847 | 10.26 | 351 | -2.691 | 980.207 | 30.6956 | 46.3408
2020-12-13 13:15:00 | 7.793 | 8.39 | 9.78 | 29.47 | 10.4646 | 27.7607 | 10.03 | 358.7 | -2.645 | 980.504 | 30.4905 | 53.8572
2020-12-13 13:30:00 | 5.004 | 13.12 | 8.28 | 36.77 | 8.8596 | 34.6373 | 7.525 | 359.5 | -2.714 | 980.802 | 29.6013 | 66.6698
2020-12-13 13:45:00 | 7.502 | 2.772 | 11.2 | 23.94 | 11.984 | 22.5515 | 10.47 | 3.82 | -2.872 | 980.504 | 30.2512 | 72.5725
2020-12-13 14:00:00 | 7.898 | 8.22 | 10.89 | 31.04 | 11.6523 | 29.2397 | 9.8 | 0.395 | -3.141 | 980.207 | 28.8498 | 72.5668
2020-12-13 14:15:00 | 9.44 | 11.53 | 12.24 | 29.79 | 13.0968 | 28.0622 | 9.84 | 10.09 | -3.297 | 980.504 | 28.5763 | 59.4575
2020-12-13 14:30:00 | 9.13 | 11.47 | 11.02 | 29.85 | 11.7914 | 28.1187 | 9.48 | 9.81 | -3.223 | 980.802 | 27.7906 | 61.8722
2020-12-13 14:45:00 | 7.065 | 11.36 | 8.84 | 33.02 | 9.4588 | 31.1048 | 6.952 | 5.025 | -3.28 | 980.802 | 28.1024 | 64.5922
2020-12-13 15:00:00 | 7.111 | 11.83 | 10.11 | 28.38 | 10.8177 | 26.734 | 8.32 | 10.66 | -3.33 | 980.802 | 28.2393 | 64.0058
2020-12-13 15:15:00 | 7.009 | 357.9 | 8.49 | 24.58 | 9.0843 | 23.1544 | 9.99 | 357.7 | -3.375 | 980.802 | 28.1367 | 62.9935
2020-12-13 15:30:00 | 6.802 | 2.23 | 8.27 | 27.77 | 8.8489 | 26.1593 | 9.1 | 356 | -3.555 | 980.656 | 28.1026 | 65.9456
2020-12-13 15:45:00 | 7.497 | 359.9 | 8.63 | 25.64 | 9.2341 | 24.1529 | 10.4 | 358 | -3.736 | 980.231 | 28.4488 | 66.4602
2020-12-13 16:00:00 | 6.424 | 357.5 | 7.979 | 25.21 | 8.5375 | 23.7478 | 9.5 | 354.1 | -3.821 | 980.219 | 29.6119 | 62.9565
2020-12-13 16:15:00 | 6.996 | 2.513 | 7.979 | 26.28 | 8.5375 | 24.7558 | 9.08 | 357.5 | -3.933 | 981.157 | 30.8466 | 54.8446
2020-12-13 16:30:00 | 6.848 | 2.683 | 7.439 | 25.74 | 7.9597 | 24.2471 | 8.26 | 359.2 | -4.019 | 981.349 | 31.8057 | 52.5544
2020-12-13 16:45:00 | 5.771 | 4.768 | 7.161 | 26.38 | 7.6623 | 24.85 | 7.449 | 2.699 | -4.123 | 981.696 | 31.6347 | 42.5388
2020-12-13 17:00:00 | 6.332 | 9.58 | 8.82 | 30.11 | 9.4374 | 28.3636 | 7.102 | 9.71 | -4.09 | 982.295 | 30.5062 | 40.913
2020-12-13 17:15:00 | 6.583 | 11.46 | 8.23 | 27.63 | 8.8061 | 26.0275 | 6.776 | 10.73 | -4.218 | 981.998 | 29.7196 | 44.6342
2020-12-13 17:30:00 | 6.82 | 14.01 | 10.39 | 31.54 | 11.1173 | 29.7107 | 7.93 | 14.14 | -4.296 | 981.998 | 26.2654 | 38.942
2020-12-13 17:45:00 | 6.103 | 10.51 | 7.066 | 30.03 | 7.5606 | 28.2883 | 6.099 | 6.84 | -4.362 | 982.89 | 27.0178 | 31.2288
2020-12-13 18:00:00 | 4.272 | 10.13 | 7.071 | 26.33 | 7.566 | 24.8029 | 5.449 | 14.18 | -4.47 | 983.188 | 26.9494 | 27.6929
2020-12-13 18:15:00 | 5.03 | 13.1 | 9.05 | 31.84 | 9.6835 | 29.9933 | 7.031 | 15.59 | -4.528 | 983.485 | 25.0342 | 19.8192
2020-12-13 18:30:00 | 5.015 | 13.52 | 7.879 | 32.09 | 8.4305 | 30.2288 | 6.679 | 15.75 | -4.568 | 983.485 | 25.0342 | 20.3734
2020-12-13 18:45:00 | 4.984 | 11.85 | 6.984 | 30.4 | 7.4729 | 28.6368 | 5.62 | 12.47 | -4.634 | 983.485 | 25.855 | 21.1789
2020-12-13 19:00:00 | 4.557 | 11.03 | 6.698 | 28.79 | 7.1669 | 27.1202 | 5.574 | 13.71 | -4.771 | 983.634 | 25.8897 | 19.9337
2020-12-13 19:15:00 | 4.532 | 16.96 | 7.439 | 34.79 | 7.9597 | 32.7722 | 6.28 | 18.49 | -4.811 | 983.783 | 26.197 | 17.2956
2020-12-13 19:30:00 | 3.579 | 19.55 | 6.982 | 35.25 | 7.4707 | 33.2055 | 6.382 | 22.6 | -4.841 | 983.783 | 26.7457 | 15.7548
2020-12-13 19:45:00 | 3.579 | 12.63 | 6.468 | 28.23 | 6.9208 | 26.5927 | 5.409 | 18.11 | -4.981 | 984.378 | 28.1146 | 14.0958
2020-12-13 20:00:00 | 3.968 | 16.34 | 7.199 | 32.04 | 7.7029 | 30.1817 | 6.392 | 20.92 | -5.042 | 984.378 | 26.439 | 15.7216
2020-12-13 20:15:00 | 3.934 | 13.44 | 6.34 | 28.07 | 6.7838 | 26.4419 | 5.653 | 18.82 | -5.093 | 984.527 | 25.9606 | 17.3769
2020-12-13 20:30:00 | 4.42 | 11.43 | 6.174 | 28.44 | 6.6062 | 26.7905 | 5.289 | 17.12 | -5.131 | 984.676 | 25.2429 | 17.835
2020-12-13 20:45:00 | 4.425 | 9.89 | 6.023 | 27.58 | 6.4446 | 25.9804 | 4.988 | 12.86 | -5.254 | 984.973 | 26.2012 | 13.6266
2020-12-13 21:00:00 | 5.089 | 9.47 | 6.202 | 24.97 | 6.6361 | 23.5217 | 5.195 | 10.44 | -5.312 | 984.973 | 25.8594 | 17.8165
2020-12-13 21:15:00 | 5.043 | 11.29 | 7.47 | 28.16 | 7.9929 | 26.5267 | 6.31 | 15.05 | -5.328 | 984.676 | 24.97 | 21.7294
2020-12-13 21:30:00 | 5.158 | 12.03 | 7.043 | 30.32 | 7.536 | 28.5614 | 5.992 | 14.68 | -5.438 | 984.676 | 24.4912 | 20.4473
2020-12-13 21:45:00 | 4.969 | 10.18 | 6.9 | 28.35 | 7.383 | 26.7057 | 5.936 | 14.74 | -5.519 | 984.527 | 24.286 | 18.5629
2020-12-13 22:00:00 | 4.908 | 9.4 | 6.097 | 21.81 | 6.5238 | 20.545 | 6.155 | 13.03 | -5.649 | 984.378 | 24.286 | 17.8941
2020-12-13 22:15:00 | 5.04 | 12.12 | 6.721 | 25.33 | 7.1915 | 23.8609 | 5.747 | 14.21 | -5.789 | 983.783 | 24.6964 | 18.7033
2020-12-13 22:30:00 | 6.394 | 9.3 | 7.046 | 25.45 | 7.5392 | 23.9739 | 5.982 | 10.99 | -5.862 | 983.783 | 25.3805 | 23.6692
2020-12-13 22:45:00 | 5.646 | 12.67 | 7.427 | 27.83 | 7.9469 | 26.2159 | 6.634 | 13.07 | -6.124 | 983.634 | 25.7917 | 27.1239
2020-12-13 23:00:00 | 5.763 | 9.76 | 7.066 | 24.63 | 7.5606 | 23.2015 | 6.099 | 11.66 | -6.258 | 983.188 | 24.9052 | 31.3324
2020-12-13 23:15:00 | 6.621 | 7.733 | 8.05 | 26.21 | 8.6135 | 24.6898 | 6.891 | 11.22 | -6.335 | 983.337 | 23.469 | 28.587
2020-12-13 23:30:00 | 6.021 | 9.45 | 7.45 | 25.9 | 7.9715 | 24.3978 | 6.178 | 11.01 | -6.526 | 983.485 | 24.0848 | 25.8972
2020-12-13 23:45:00 | 5.189 | 10.82 | 7.191 | 26.59 | 7.6944 | 25.0478 | 5.821 | 11.88 | -6.719 | 983.188 | 24.9743 | 22.993