## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-14 00:00:00 | 5.086 | 8.85 | 6.46 | 24.06 | 6.9122 | 22.6645 | 5.238 | 10.68 | -6.944 | 983.485 | 25.9323 | 18.0087
2020-12-14 00:15:00 | 5.201 | 9.48 | 5.867 | 24.74 | 6.2777 | 23.3051 | 5.106 | 10.16 | -7.02 | 983.783 | 27.1639 | 10.1867
2020-12-14 00:30:00 | 2.672 | 10.2 | 3.939 | 22.48 | 4.2147 | 21.1762 | 3.893 | 10.27 | -7.088 | 983.932 | 27.4376 | 4.9622
2020-12-14 00:45:00 | 4.249 | 12.05 | 3.98 | 17.86 | 4.2586 | 16.8241 | 3.794 | 7.917 | -7.159 | 983.783 | 28.0534 | 7.1828
2020-12-14 01:00:00 | 3.761 | 7.527 | 4.965 | 21.87 | 5.3125 | 20.6015 | 5.024 | 8.29 | -7.363 | 983.783 | 29.5587 | 6.6138
2020-12-14 01:15:00 | 3.966 | 10.35 | 3.431 | 14.87 | 3.6712 | 14.0075 | 2.854 | 7.386 | -7.18 | 983.932 | 28.9433 | 2.3019
2020-12-14 01:30:00 | 3.948 | 5.771 | 3.944 | 8.12 | 4.2201 | 7.649 | 3.723 | 6.807 | -7.226 | 983.783 | 29.4218 | 3.1369
2020-12-14 01:45:00 | 3.514 | 13.67 | 3.226 | 13.31 | 3.4518 | 12.538 | 2.923 | 6.695 | -7.492 | 983.783 | 31.0648 | 0.77592
2020-12-14 02:00:00 | 3.917 | 8.14 | 3.842 | 11.85 | 4.1109 | 11.1627 | 3.399 | 7.84 | -7.508 | 984.081 | 30.861 | 0.94219
2020-12-14 02:15:00 | 3.271 | 7.62 | 4.215 | 21.61 | 4.51 | 20.3566 | 4.286 | 9.51 | -7.668 | 983.485 | 31.8197 | 4.3377
2020-12-14 02:30:00 | 4.514 | 7.621 | 6.051 | 22.36 | 6.4746 | 21.0631 | 5.633 | 7.818 | -7.927 | 982.89 | 31.8894 | 8.6607
2020-12-14 02:45:00 | 3.547 | 7.587 | 4.648 | 23.4 | 4.9734 | 22.0428 | 4.596 | 11.79 | -7.868 | 983.188 | 34.9347 | 5.0767
2020-12-14 03:00:00 | 3.562 | 10.87 | 4.586 | 28.06 | 4.907 | 26.4325 | 4.884 | 15.22 | -7.974 | 982.901 | 32.9854 | 4.6998
2020-12-14 03:15:00 | 2.694 | 18.84 | 3.748 | 37.15 | 4.0104 | 34.9953 | 4.214 | 23.47 | -8.12 | 982.978 | 33.1223 | 2.3795
2020-12-14 03:30:00 | 2.268 | 31.69 | 3.021 | 51.54 | 3.2325 | 48.5507 | 3.539 | 34.86 | -7.953 | 983.041 | 31.5483 | 0.45077
2020-12-14 03:45:00 | 4.371 | 19.28 | 5.409 | 32.2 | 5.7876 | 30.3324 | 5.638 | 25.84 | -7.938 | 982.836 | 31.8221 | 1.3338
2020-12-14 04:00:00 | 2.204 | 33.54 | 3.259 | 48.07 | 3.4871 | 45.2819 | 3.916 | 37 | -7.76 | 983.138 | 29.872 | -0.11454
2020-12-14 04:15:00 | 2.288 | 37.36 | 2.766 | 54.25 | 2.9596 | 51.1035 | 3.295 | 43.21 | -7.605 | 982.84 | 27.7848 | 0.29189
2020-12-14 04:30:00 | 1.904 | 31.3 | 3.454 | 49.39 | 3.6958 | 46.5254 | 4.092 | 36.93 | -7.771 | 982.869 | 28.1272 | 0.83503
2020-12-14 04:45:00 | 1.841 | 36.42 | 2.633 | 56.41 | 2.8173 | 53.1382 | 3.514 | 40.75 | -7.705 | 982.901 | 26.0747 | 0.29928
2020-12-14 05:00:00 | 2.039 | 37.57 | 3.188 | 59.26 | 3.4112 | 55.8229 | 3.55 | 42.15 | -7.65 | 982.897 | 24.9792 | 0.20691
2020-12-14 05:15:00 | 2.691 | 48.51 | 3.198 | 64.31 | 3.4219 | 60.58 | 3.771 | 51.9 | -7.451 | 983.141 | 24.8082 | -0.040643
2020-12-14 05:30:00 | 2.298 | 61.92 | 2.63 | 78.5 | 2.8141 | 73.947 | 2.689 | 64.68 | -7.355 | 983.111 | 23.7469 | 0.096066
2020-12-14 05:45:00 | 2.947 | 47.38 | 4.187 | 64.17 | 4.4801 | 60.4481 | 4.077 | 50.65 | -7.472 | 983.011 | 23.7812 | 0.46555
2020-12-14 06:00:00 | 2.25 | 45.42 | 3.643 | 57.17 | 3.898 | 53.8541 | 4.168 | 53.83 | -7.6 | 983.1 | 23.0625 | 0.3547
2020-12-14 06:15:00 | 2.357 | 60.51 | 3.149 | 76.15 | 3.3694 | 71.7333 | 3.634 | 58.67 | -7.392 | 983.103 | 22.4465 | -0.051728
2020-12-14 06:30:00 | 0.403 | 64.13 | 1.828 | 88.7 | 1.956 | 83.5554 | 2.411 | 66.4 | -7.002 | 983.233 | 20.941 | -0.34731
2020-12-14 06:45:00 | 0 | 76.64 | 0.507 | 101.3 | 0.54249 | 95.4246 | 1.851 | 72.4 | -6.621 | 983.486 | 22.2034 | -0.23647
2020-12-14 07:00:00 | 0.694 | 68.3 | 1.735 | 82.8 | 1.8564 | 77.9976 | 2.248 | 72.06 | -5.675 | 984.081 | 20.7982 | -0.218
2020-12-14 07:15:00 | 0.187 | 73.17 | 0.056 | 77.03 | 0.05992 | 72.5623 | 0.715 | 72.69 | -4.582 | 984.974 | 20.0412 | -0.29928
2020-12-14 07:30:00 | 0.268 | 73.04 | 1.522 | 93 | 1.6285 | 87.606 | 2.052 | 79.79 | -4.775 | 984.981 | 20.103 | -0.29928
2020-12-14 07:45:00 | 0.462 | 112.2 | 0.322 | 156.7 | 0.34454 | 147.611 | 0.958 | 76.62 | -3.943 | 985.559 | 19.8601 | -0.34731
2020-12-14 08:00:00 | 0.765 | 78.53 | 1.016 | 95.9 | 1.0871 | 90.3378 | 1.165 | 81.8 | -4.104 | 985.352 | 20.6454 | -0.29928
2020-12-14 08:15:00 | 0.996 | 82.4 | 1.246 | 100.5 | 1.3332 | 94.671 | 1.292 | 73.38 | -4.062 | 985.555 | 18.9989 | -0.28081
2020-12-14 08:30:00 | 0.03 | 22.62 | 0.638 | 29.06 | 0.68266 | 27.3745 | 0.458 | 48.87 | -3.971 | 985.848 | 19.6802 | -0.33623
2020-12-14 08:45:00 | 1.538 | 248.4 | 1.347 | 266.2 | 1.4413 | 250.76 | 0.845 | 281.2 | -4.365 | 985.807 | 23.0265 | -0.29928
2020-12-14 09:00:00 | 3.835 | 189.2 | 3.356 | 198.7 | 3.5909 | 187.175 | 2.628 | 199 | -4.174 | 985.585 | 22.4779 | -0.29928
2020-12-14 09:15:00 | 3.953 | 201.4 | 3.39 | 207.9 | 3.6273 | 195.842 | 2.526 | 218 | -4.464 | 985.552 | 21.9013 | -0.36949
2020-12-14 09:30:00 | 4.119 | 192 | 3.881 | 196.4 | 4.1527 | 185.009 | 2.984 | 207.1 | -4.596 | 985.553 | 22.5866 | -0.34362
2020-12-14 09:45:00 | 2.305 | 193.6 | 2.321 | 214.9 | 2.4835 | 202.436 | 2.441 | 197.8 | -4.392 | 985.257 | 21.9375 | -0.33254
2020-12-14 10:00:00 | 2.383 | 221.4 | 2.721 | 241.9 | 2.9115 | 227.87 | 2.844 | 228.5 | -4.124 | 985.257 | 20.0239 | -0.36579
2020-12-14 10:15:00 | 3.817 | 199.2 | 3.321 | 204.9 | 3.5535 | 193.016 | 3.236 | 206.2 | -3.717 | 984.96 | 20.2289 | -0.25864
2020-12-14 10:30:00 | 1.946 | 166.5 | 1.636 | 183 | 1.7505 | 172.386 | 0.759 | 180.9 | -3.363 | 984.662 | 20.434 | -0.31776
2020-12-14 10:45:00 | 3.238 | 185.3 | 3.101 | 197.1 | 3.3181 | 185.668 | 2.432 | 201.9 | -3.024 | 984.662 | 20.2289 | -0.31776
2020-12-14 11:00:00 | 2.556 | 213.3 | 2.874 | 213.7 | 3.0752 | 201.305 | 2.045 | 222.8 | -3.151 | 984.662 | 20.0239 | -0.29928
2020-12-14 11:15:00 | 2.99 | 259.6 | 2.799 | 276.3 | 2.9949 | 260.275 | 2.564 | 261.9 | -3.536 | 984.068 | 19.7506 | -0.29928
2020-12-14 11:30:00 | 2.46 | 181.5 | 2.343 | 184.2 | 2.507 | 173.516 | 1.12 | 225 | -2.528 | 984.068 | 18.076 | -0.29928
2020-12-14 11:45:00 | 2.727 | 292.5 | 2.566 | 306.9 | 2.7456 | 289.1 | 2.16 | 297.4 | -2.356 | 984.062 | 19.1334 | -0.32145
2020-12-14 12:00:00 | 3.432 | 259 | 3.227 | 271.6 | 3.4529 | 255.847 | 2.869 | 257.5 | -3.033 | 984.065 | 19.0656 | -0.31776
2020-12-14 12:15:00 | 2.222 | 227.2 | 2.096 | 236 | 2.2427 | 222.312 | 1.706 | 237.5 | -2.971 | 984.186 | 17.3234 | -0.35101
2020-12-14 12:30:00 | 1.963 | 281 | 2.104 | 290.6 | 2.2513 | 273.745 | 1.96 | 282.6 | -2.582 | 984.068 | 17.2903 | -0.31776
2020-12-14 12:45:00 | 3.161 | 260.6 | 3.165 | 272.9 | 3.3866 | 257.072 | 2.791 | 260.5 | -2.656 | 984.068 | 17.7687 | -0.32884
2020-12-14 13:00:00 | 1.406 | 278.3 | 1.656 | 298.7 | 1.7719 | 281.375 | 2.349 | 273.5 | -2.658 | 984.068 | 16.8119 | -0.29928
2020-12-14 13:15:00 | 2.523 | 287.6 | 2.822 | 292.1 | 3.0195 | 275.158 | 2.243 | 292.3 | -2.184 | 984.068 | 16.9486 | -0.31406
2020-12-14 13:30:00 | 2.467 | 302.8 | 2.482 | 311.6 | 2.6557 | 293.527 | 1.683 | 289.1 | -2.272 | 983.919 | 17.0511 | -0.31776
2020-12-14 13:45:00 | 2.977 | 256.6 | 3.244 | 270.9 | 3.4711 | 255.188 | 2.775 | 255.9 | -2.642 | 983.919 | 17.5979 | -0.29928
2020-12-14 14:00:00 | 2.977 | 256.6 | 3.244 | 270.9 | 3.4711 | 255.188 | 2.775 | 255.9 | -2.642 | 983.919 | 17.5979 | -0.29928
2020-12-14 14:15:00 | 2.977 | 256.6 | 3.244 | 270.9 | 3.4711 | 255.188 | 2.775 | 255.9 | -2.642 | 983.919 | 17.5979 | -0.29928
2020-12-14 14:30:00 | 2.977 | 256.6 | 3.244 | 270.9 | 3.4711 | 255.188 | 2.775 | 255.9 | -2.642 | 983.919 | 17.5979 | -0.29928
2020-12-14 14:45:00 | 2.977 | 256.6 | 3.244 | 270.9 | 3.4711 | 255.188 | 2.775 | 255.9 | -2.642 | 983.919 | 17.5979 | -0.29928
2020-12-14 15:00:00 | 1.922 | 255.3 | 2.068 | 264.3 | 2.2128 | 248.971 | 1.882 | 254.4 | -2.565 | 983.798 | 18.0118 | -0.29928
2020-12-14 15:15:00 | 1.922 | 255.3 | 2.068 | 264.3 | 2.2128 | 248.971 | 1.882 | 254.4 | -2.565 | 983.798 | 18.0118 | -0.29928
2020-12-14 15:30:00 | 1.922 | 255.3 | 2.068 | 264.3 | 2.2128 | 248.971 | 1.882 | 254.4 | -2.565 | 983.798 | 18.0118 | -0.29928
2020-12-14 15:45:00 | 1.922 | 255.3 | 2.068 | 264.3 | 2.2128 | 248.971 | 1.882 | 254.4 | -2.565 | 983.798 | 18.0118 | -0.29928
2020-12-14 16:00:00 | 1.887 | 293 | 2.166 | 306.5 | 2.3176 | 288.723 | 1.71 | 296.4 | -2.42 | 983.571 | 17.91 | -0.29928
2020-12-14 16:15:00 | 1.212 | 293.9 | 1.807 | 310.9 | 1.9335 | 292.868 | 2.088 | 295.5 | -2.441 | 983.601 | 18.3216 | -0.29928
2020-12-14 16:30:00 | 0.871 | 306.1 | 1.451 | 309.9 | 1.5526 | 291.926 | 1.034 | 297.1 | -2.664 | 983.619 | 19.2788 | -0.29928
2020-12-14 16:45:00 | 0.655 | 299.6 | 1.461 | 306.8 | 1.5633 | 289.006 | 1.665 | 301.9 | -2.866 | 983.18 | 20.0307 | -0.31776
2020-12-14 17:00:00 | 0.425 | 289.1 | 1.365 | 311.8 | 1.4606 | 293.716 | 1.152 | 301.4 | -3.319 | 982.585 | 20.5777 | -0.32884
2020-12-14 17:15:00 | 0 | 287.4 | 0.515 | 311.8 | 0.55105 | 293.716 | 0.148 | 301.3 | -3.524 | 981.99 | 20.7863 | -0.31037
2020-12-14 17:30:00 | 0 | 287.3 | 0 | 311.8 | 0 | 293.716 | 0.194 | 301.3 | -3.551 | 982.046 | 20.9941 | -0.31776
2020-12-14 17:45:00 | 0 | 287.3 | 0 | 311.8 | 0 | 293.716 | 0.311 | 301.3 | -3.682 | 982.39 | 21.0327 | -0.32884
2020-12-14 18:00:00 | 0 | 268.3 | 0.008 | 311.8 | 0.00856 | 293.716 | 0 | 301.3 | -3.67 | 982.295 | 21.3406 | -0.29928
2020-12-14 18:15:00 | 0 | 268.3 | 0.12 | 311.8 | 0.1284 | 293.716 | 0.022 | 301.3 | -3.769 | 982.295 | 21.481 | -0.32145
2020-12-14 18:30:00 | 0.056 | 256.4 | 0.462 | 311.8 | 0.49434 | 293.716 | 0.518 | 301.3 | -3.909 | 982.444 | 21.8916 | -0.32884
2020-12-14 18:45:00 | 0 | 238.9 | 0.139 | 230.6 | 0.14873 | 217.225 | 0.339 | 257.8 | -3.642 | 982.593 | 21.3101 | -0.31037
2020-12-14 19:00:00 | 0.393 | 232.6 | 1.075 | 197.4 | 1.1502 | 185.951 | 0.986 | 228.5 | -3.589 | 982.444 | 21.4811 | -0.40274
2020-12-14 19:15:00 | 2.01 | 197.7 | 2.173 | 200.6 | 2.3251 | 188.965 | 2.202 | 206.4 | -3.605 | 982.593 | 22.4389 | -0.37318
2020-12-14 19:30:00 | 2.589 | 201.7 | 3.057 | 214.2 | 3.271 | 201.776 | 3.425 | 207.7 | -3.621 | 983.039 | 22.5073 | -0.36949
2020-12-14 19:45:00 | 3.136 | 193.7 | 3.673 | 203.3 | 3.9301 | 191.509 | 4.227 | 201.1 | -3.805 | 982.89 | 23.3282 | 0.94219
2020-12-14 20:00:00 | 2.205 | 185.3 | 3.157 | 192.8 | 3.378 | 181.618 | 3.853 | 196.3 | -3.871 | 983.188 | 23.7044 | 1.0124
2020-12-14 20:15:00 | 2.658 | 186.3 | 3.047 | 194.7 | 3.2603 | 183.407 | 3.603 | 192.4 | -3.745 | 983.039 | 23.9429 | 1.5075
2020-12-14 20:30:00 | 3.243 | 179.4 | 4.223 | 188.2 | 4.5186 | 177.284 | 4.202 | 191 | -3.857 | 983.188 | 24.5571 | 0.90893
2020-12-14 20:45:00 | 2.015 | 178.6 | 2.513 | 180.2 | 2.6889 | 169.748 | 3.007 | 191.2 | -3.794 | 983.337 | 24.4887 | 0.029559
2020-12-14 21:00:00 | 1.678 | 171.1 | 2.615 | 181.2 | 2.798 | 170.69 | 3.318 | 180.6 | -3.812 | 983.485 | 24.0112 | -0.0073897
2020-12-14 21:15:00 | 2.077 | 165.9 | 2.671 | 175.5 | 2.858 | 165.321 | 3.382 | 179.4 | -3.937 | 983.485 | 23.9438 | -0.044338
2020-12-14 21:30:00 | 2.157 | 169.9 | 3.331 | 178.5 | 3.5642 | 168.147 | 3.822 | 176.5 | -3.804 | 983.485 | 24.286 | 0.94219
2020-12-14 21:45:00 | 2.635 | 169.6 | 3.579 | 182.8 | 3.8295 | 172.198 | 3.947 | 175.6 | -3.982 | 983.188 | 23.7387 | 1.5592
2020-12-14 22:00:00 | 2.306 | 168.3 | 3.354 | 176.6 | 3.5888 | 166.357 | 4.079 | 175.3 | -4.127 | 983.188 | 24.3544 | 1.9472
2020-12-14 22:15:00 | 2.344 | 167.1 | 3.331 | 175.4 | 3.5642 | 165.227 | 4.14 | 175.8 | -4.248 | 983.188 | 24.4228 | 2.3869
2020-12-14 22:30:00 | 2.926 | 169.1 | 3.783 | 179.5 | 4.0478 | 169.089 | 4.51 | 176.9 | -4.238 | 983.188 | 24.286 | 2.4275
2020-12-14 22:45:00 | 2.901 | 166.2 | 3.95 | 174.3 | 4.2265 | 164.191 | 4.612 | 174.7 | -4.26 | 983.039 | 24.2175 | 2.8672
2020-12-14 23:00:00 | 3.69 | 171 | 4.775 | 180.4 | 5.1093 | 169.937 | 5.195 | 177.8 | -4.336 | 983.188 | 23.9439 | 4.286
2020-12-14 23:15:00 | 3.113 | 169.7 | 4.392 | 181 | 4.6994 | 170.502 | 5.011 | 177.2 | -4.179 | 983.039 | 24.0807 | 4.0791
2020-12-14 23:30:00 | 3.672 | 174.5 | 5.039 | 186.3 | 5.3917 | 175.495 | 4.787 | 184.3 | -4.088 | 983.188 | 23.8071 | 4.4818
2020-12-14 23:45:00 | 3.511 | 169.9 | 4.737 | 182.2 | 5.0686 | 171.632 | 5.223 | 178 | -4.248 | 982.89 | 24.4228 | 5.2578