## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-15 00:00:00 | 3.455 | 171.7 | 5.057 | 184.6 | 5.411 | 173.893 | 5.424 | 180 | -4.256 | 983.188 | 24.9017 | 6.3403
2020-12-15 00:15:00 | 4.2 | 170.8 | 5.399 | 184.5 | 5.7769 | 173.799 | 5.638 | 177.5 | -4.289 | 983.188 | 24.6964 | 7.9772
2020-12-15 00:30:00 | 4.131 | 168.6 | 5.328 | 181.9 | 5.701 | 171.35 | 5.444 | 176.7 | -4.42 | 982.89 | 24.5589 | 8.343
2020-12-15 00:45:00 | 4.885 | 172.6 | 5.555 | 185.8 | 5.9439 | 175.024 | 5.493 | 179.6 | -4.247 | 982.89 | 24.628 | 8.2912
2020-12-15 01:00:00 | 4.124 | 167 | 5.468 | 179.2 | 5.8508 | 168.806 | 5.724 | 175.6 | -4.358 | 982.741 | 24.9701 | 8.8085
2020-12-15 01:15:00 | 4.532 | 168 | 5.65 | 180.7 | 6.0455 | 170.219 | 5.923 | 175.4 | -4.335 | 982.741 | 24.97 | 9.1928
2020-12-15 01:30:00 | 5.39 | 164.8 | 6.325 | 179.6 | 6.7678 | 169.183 | 6.448 | 172.3 | -4.384 | 982.89 | 24.6962 | 10.6892
2020-12-15 01:45:00 | 4.405 | 162 | 5.08 | 174 | 5.4356 | 163.908 | 5.465 | 171.1 | -4.489 | 982.741 | 25.5857 | 9.6916
2020-12-15 02:00:00 | 5.035 | 162.9 | 5.729 | 175.9 | 6.13 | 165.698 | 6.015 | 171.8 | -4.582 | 982.741 | 25.791 | 11.6979
2020-12-15 02:15:00 | 5.4 | 163.3 | 5.821 | 174.5 | 6.2285 | 164.379 | 6.654 | 171.4 | -4.645 | 982.593 | 25.791 | 13.6931
2020-12-15 02:30:00 | 5.704 | 159.4 | 6.274 | 171.2 | 6.7132 | 161.27 | 6.552 | 168.4 | -4.698 | 982.593 | 25.8594 | 12.1597
2020-12-15 02:45:00 | 5.656 | 159.3 | 6.118 | 171.9 | 6.5463 | 161.93 | 6.69 | 168.5 | -4.655 | 982.593 | 25.5516 | 12.5255
2020-12-15 03:00:00 | 5.411 | 160.7 | 5.974 | 174.5 | 6.3922 | 164.379 | 6.629 | 169.7 | -4.906 | 982.593 | 25.791 | 13.5675
2020-12-15 03:15:00 | 6.274 | 159.1 | 6.501 | 171.2 | 6.9561 | 161.27 | 6.909 | 168.5 | -4.855 | 982.593 | 25.4147 | 12.8655
2020-12-15 03:30:00 | 6.013 | 156.9 | 6.11 | 168.2 | 6.5377 | 158.444 | 6.42 | 165.7 | -4.768 | 982.593 | 25.9278 | 13.9517
2020-12-15 03:45:00 | 5.656 | 157.6 | 6.02 | 169.2 | 6.4414 | 159.386 | 6.555 | 166.7 | -4.77 | 982.444 | 25.5858 | 13.8741
2020-12-15 04:00:00 | 5.176 | 156.7 | 5.726 | 168.7 | 6.1268 | 158.915 | 5.666 | 166.4 | -4.83 | 982.444 | 26.2015 | 11.9898
2020-12-15 04:15:00 | 5.385 | 159.4 | 5.821 | 170.7 | 6.2285 | 160.799 | 6.213 | 168 | -4.763 | 982.593 | 25.4489 | 12.8174
2020-12-15 04:30:00 | 5.383 | 153.7 | 5.732 | 167.1 | 6.1332 | 157.408 | 5.539 | 163.5 | -4.637 | 982.593 | 25.7226 | 12.6955
2020-12-15 04:45:00 | 4.17 | 153 | 4.906 | 168.8 | 5.2494 | 159.01 | 5.101 | 157.7 | -4.815 | 982.295 | 25.791 | 9.3849
2020-12-15 05:00:00 | 3.621 | 155.1 | 4.658 | 171 | 4.9841 | 161.082 | 4.525 | 162.6 | -4.685 | 982.295 | 25.7226 | 8.1139
2020-12-15 05:15:00 | 3.991 | 156.2 | 4.87 | 171.2 | 5.2109 | 161.27 | 5.241 | 164.1 | -4.76 | 981.998 | 25.5174 | 9.0228
2020-12-15 05:30:00 | 4.438 | 156.3 | 5.026 | 171.4 | 5.3778 | 161.459 | 5.264 | 165.1 | -4.649 | 981.998 | 25.791 | 10.1202
2020-12-15 05:45:00 | 4.211 | 159 | 5.381 | 172.9 | 5.7577 | 162.872 | 5.016 | 166.8 | -4.571 | 982.146 | 27.4329 | 8.9489
2020-12-15 06:00:00 | 2.99 | 153.9 | 4.231 | 170.4 | 4.5272 | 160.517 | 5.409 | 162.8 | -4.768 | 981.998 | 26.8856 | 8.923
2020-12-15 06:15:00 | 4.849 | 157.8 | 5.655 | 171 | 6.0508 | 161.082 | 5.19 | 165.5 | -4.269 | 982.593 | 25.3805 | 9.6953
2020-12-15 06:30:00 | 3.897 | 155.3 | 4.512 | 174.3 | 4.8278 | 164.191 | 4.698 | 163.4 | -4.68 | 982.593 | 25.9962 | 10.1978
2020-12-15 06:45:00 | 3.445 | 153.7 | 4.862 | 170.8 | 5.2023 | 160.894 | 5.597 | 160.6 | -4.794 | 982.593 | 26.6119 | 11.7348
2020-12-15 07:00:00 | 4.246 | 154.3 | 4.809 | 172.6 | 5.1456 | 162.589 | 4.892 | 159.6 | -4.969 | 982.593 | 26.8172 | 11.0365
2020-12-15 07:15:00 | 4.54 | 153.3 | 6.146 | 167.4 | 6.5762 | 157.691 | 6.28 | 164.5 | -4.871 | 982.593 | 26.8172 | 15.4703
2020-12-15 07:30:00 | 4.783 | 154.1 | 5.22 | 169.7 | 5.5854 | 159.857 | 5.954 | 159.6 | -4.88 | 982.89 | 27.5697 | 21.2047
2020-12-15 07:45:00 | 5.452 | 152.2 | 6.222 | 167.1 | 6.6575 | 157.408 | 6.336 | 160.3 | -5.086 | 982.89 | 27.296 | 22.7085
2020-12-15 08:00:00 | 5.699 | 151.8 | 6.519 | 165.8 | 6.9753 | 156.184 | 6.646 | 162.2 | -4.69 | 983.188 | 27.2276 | 22.509
2020-12-15 08:15:00 | 5.357 | 151.4 | 5.882 | 168.9 | 6.2937 | 159.104 | 6.42 | 160 | -4.664 | 983.485 | 27.2919 | 19.4829
2020-12-15 08:30:00 | 5.452 | 156.2 | 5.918 | 168.9 | 6.3323 | 159.104 | 6.203 | 166.2 | -4.42 | 983.783 | 26.8126 | 15.6846
2020-12-15 08:45:00 | 5.337 | 163.3 | 5.299 | 174.3 | 5.6699 | 164.191 | 5.561 | 171 | -3.787 | 984 | 26.5349 | 14.602
2020-12-15 09:00:00 | 4.997 | 161.8 | 4.896 | 175.8 | 5.2387 | 165.604 | 4.897 | 167.1 | -3.473 | 984.371 | 26.2566 | 12.9948
2020-12-15 09:15:00 | 5.252 | 158.7 | 5.195 | 171.5 | 5.5587 | 161.553 | 5.039 | 167.4 | -3.475 | 984.37 | 26.5983 | 9.9317
2020-12-15 09:30:00 | 5.217 | 157.7 | 5.192 | 171.3 | 5.5554 | 161.365 | 4.37 | 167.7 | -3.22 | 984.816 | 27.278 | 11.2249
2020-12-15 09:45:00 | 5.449 | 160.3 | 5.392 | 176.3 | 5.7694 | 166.075 | 4.864 | 168.2 | -2.957 | 985.113 | 26.9356 | 11.5612
2020-12-15 10:00:00 | 5.543 | 156.9 | 5.427 | 170.9 | 5.8069 | 160.988 | 5.004 | 165 | -2.731 | 985.113 | 27.4137 | 10.1645
2020-12-15 10:15:00 | 5.37 | 162.3 | 5.409 | 175.7 | 5.7876 | 165.509 | 5.07 | 170.4 | -2.605 | 985.238 | 27.0039 | 10.0389
2020-12-15 10:30:00 | 5.891 | 165.3 | 5.785 | 180.8 | 6.1899 | 170.314 | 5.22 | 170.7 | -2.448 | 984.783 | 28.2343 | 10.486
2020-12-15 10:45:00 | 6.202 | 157.4 | 5.678 | 170.8 | 6.0755 | 160.894 | 5.006 | 170.4 | -2.501 | 984.963 | 30.2477 | 14.118
2020-12-15 11:00:00 | 6.429 | 161.2 | 6.391 | 174.1 | 6.8384 | 164.002 | 5.516 | 168.9 | -2.361 | 984.96 | 31.1683 | 12.4221
2020-12-15 11:15:00 | 5.602 | 163 | 5.386 | 178.9 | 5.763 | 168.524 | 4.94 | 165 | -2.284 | 984.663 | 31.1003 | 7.5449
2020-12-15 11:30:00 | 5.104 | 178.7 | 4.676 | 190.7 | 5.0033 | 179.639 | 4.573 | 181.2 | -2.174 | 984.663 | 30.6864 | 4.02
2020-12-15 11:45:00 | 5.166 | 182.4 | 4.865 | 197.3 | 5.2055 | 185.857 | 4.474 | 186.7 | -1.514 | 984.366 | 30.7535 | 2.5347
2020-12-15 12:00:00 | 5.873 | 180.4 | 5.404 | 193.3 | 5.7823 | 182.089 | 4.67 | 186.5 | -1.308 | 984.217 | 32.257 | 2.3758
2020-12-15 12:15:00 | 5.789 | 183.9 | 5.384 | 197 | 5.7609 | 185.574 | 4.431 | 190.6 | -1.152 | 984.068 | 32.5303 | 1.8659
2020-12-15 12:30:00 | 5.13 | 188.9 | 4.696 | 201.5 | 5.0247 | 189.813 | 4.168 | 189.7 | -1.004 | 984.068 | 32.3253 | 1.4225
2020-12-15 12:45:00 | 4.022 | 172.6 | 3.471 | 185.5 | 3.714 | 174.741 | 3.664 | 181.1 | -0.717 | 984.068 | 32.872 | 3.3623
2020-12-15 13:00:00 | 5.097 | 188.1 | 4.806 | 202 | 5.1424 | 190.284 | 4.385 | 194.3 | -0.267 | 983.771 | 32.3595 | 2.6714
2020-12-15 13:15:00 | 4.67 | 168.7 | 4.535 | 182.2 | 4.8525 | 171.632 | 4.314 | 170.2 | -0.379 | 983.623 | 32.3249 | 3.2699
2020-12-15 13:30:00 | 5.155 | 195.4 | 4.962 | 206.2 | 5.3093 | 194.24 | 4.347 | 201.6 | -0.156 | 983.397 | 30.3762 | 2.3019
2020-12-15 13:45:00 | 3.69 | 164 | 3.944 | 177 | 4.2201 | 166.734 | 3.43 | 164.9 | 0.146 | 983.703 | 29.59 | 2.228
2020-12-15 14:00:00 | 4.53 | 161.1 | 4.589 | 179 | 4.9102 | 168.618 | 3.848 | 165.2 | 0.468 | 983.452 | 31.1612 | 2.6233
2020-12-15 14:15:00 | 5.176 | 148.2 | 5.121 | 163.1 | 5.4795 | 153.64 | 5.348 | 154.9 | 0.196 | 983.46 | 30.9896 | 3.3327
2020-12-15 14:30:00 | 5.436 | 190 | 4.954 | 201.6 | 5.3008 | 189.907 | 4.614 | 196.5 | 0.365 | 983.176 | 30.4429 | 4.2675
2020-12-15 14:45:00 | 4.494 | 159.5 | 4.489 | 172.6 | 4.8032 | 162.589 | 3.909 | 167.8 | 0.139 | 983.325 | 30.3092 | 4.4708
2020-12-15 15:00:00 | 5.829 | 183.7 | 5.179 | 198.5 | 5.5415 | 186.987 | 4.337 | 183.5 | 0.158 | 982.879 | 31.2318 | 5.1358
2020-12-15 15:15:00 | 5.117 | 181.4 | 4.942 | 198.8 | 5.2879 | 187.27 | 4.645 | 180.1 | 0.05 | 982.879 | 31.3002 | 6.3071
2020-12-15 15:30:00 | 4.537 | 172.4 | 4.387 | 187.1 | 4.6941 | 176.248 | 3.977 | 180 | -0.022 | 982.879 | 31.2318 | 5.7344
2020-12-15 15:45:00 | 4.688 | 184.7 | 4.346 | 197.5 | 4.6502 | 186.045 | 3.537 | 186.5 | -0.188 | 982.73 | 31.7786 | 5.727
2020-12-15 16:00:00 | 4.811 | 181.8 | 4.474 | 199.2 | 4.7872 | 187.646 | 4.214 | 183.3 | -0.079 | 982.582 | 32.3253 | 4.6001
2020-12-15 16:15:00 | 4.213 | 159.7 | 4.407 | 168.1 | 4.7155 | 158.35 | 4.044 | 170 | -0.232 | 982.433 | 33.0774 | 2.9743
2020-12-15 16:30:00 | 4.683 | 169.9 | 4.453 | 187.5 | 4.7647 | 176.625 | 4.237 | 174.1 | -0.293 | 982.011 | 33.6981 | 1.973
2020-12-15 16:45:00 | 4.282 | 174.8 | 4.172 | 189.1 | 4.464 | 178.132 | 4.191 | 180.2 | -0.49 | 981.962 | 34.3871 | 0.82764
2020-12-15 17:00:00 | 2.868 | 170.7 | 3.165 | 186.2 | 3.3866 | 175.4 | 2.946 | 176.1 | -0.683 | 981.99 | 35.207 | 0.2882
2020-12-15 17:15:00 | 2.362 | 155.5 | 2.536 | 170.6 | 2.7135 | 160.705 | 2.442 | 167.6 | -0.781 | 981.693 | 35.6862 | -0.29928
2020-12-15 17:30:00 | 2.257 | 161.8 | 3.021 | 175.2 | 3.2325 | 165.038 | 3.163 | 172.6 | -0.923 | 981.842 | 35.6207 | -0.17735
2020-12-15 17:45:00 | 1.819 | 176.1 | 2.768 | 186.1 | 2.9618 | 175.306 | 2.816 | 181 | -0.948 | 981.99 | 35.6239 | -0.2845
2020-12-15 18:00:00 | 1.24 | 173.8 | 2.134 | 180.3 | 2.2834 | 169.843 | 2.602 | 178.6 | -0.99 | 981.99 | 35.8974 | -0.24755
2020-12-15 18:15:00 | 1.141 | 174.6 | 2.372 | 184.8 | 2.538 | 174.082 | 2.64 | 180.9 | -0.926 | 982.288 | 35.6923 | -0.28081
2020-12-15 18:30:00 | 1.375 | 168.1 | 2.513 | 179.3 | 2.6889 | 168.901 | 2.6 | 175.5 | -0.952 | 982.585 | 35.8974 | -0.28081
2020-12-15 18:45:00 | 1.78 | 179.6 | 2.664 | 186.6 | 2.8505 | 175.777 | 2.475 | 191.3 | -0.981 | 982.586 | 35.3508 | -0.29928
2020-12-15 19:00:00 | 1.203 | 190.1 | 2.06 | 189.5 | 2.2042 | 178.509 | 1.96 | 192.3 | -0.865 | 982.735 | 35.0086 | -0.29928
2020-12-15 19:15:00 | 1.408 | 182.8 | 2.086 | 189 | 2.232 | 178.038 | 2.136 | 192.3 | -0.871 | 982.586 | 35.556 | -0.29928
2020-12-15 19:30:00 | 1.328 | 183.1 | 2.139 | 187 | 2.2887 | 176.154 | 2.668 | 193.3 | -0.868 | 982.586 | 35.4877 | -0.29928
2020-12-15 19:45:00 | 1.667 | 172.9 | 2.983 | 185 | 3.1918 | 174.27 | 3.178 | 186.4 | -1.249 | 982.586 | 36.3077 | -0.29928
2020-12-15 20:00:00 | 2.107 | 168.3 | 2.853 | 176.9 | 3.0527 | 166.64 | 3.45 | 177.4 | -1.227 | 982.288 | 36.3082 | -0.29928
2020-12-15 20:15:00 | 2.495 | 160.4 | 3.538 | 169.7 | 3.7857 | 159.857 | 3.634 | 172.5 | -1.351 | 982.616 | 37.0605 | 0.10346
2020-12-15 20:30:00 | 2.633 | 168.5 | 3.681 | 179.8 | 3.9387 | 169.372 | 4.12 | 176.1 | -1.503 | 982.458 | 37.1984 | 0.77222
2020-12-15 20:45:00 | 1.959 | 166.7 | 3.395 | 177.8 | 3.6326 | 167.488 | 4.281 | 176.2 | -1.538 | 982.456 | 37.5397 | 2.0691
2020-12-15 21:00:00 | 3.069 | 169.4 | 4.405 | 179.4 | 4.7134 | 168.995 | 4.622 | 177.2 | -1.686 | 982.586 | 37.5436 | 3.9165
2020-12-15 21:15:00 | 2.554 | 169.4 | 3.778 | 179.9 | 4.0425 | 169.466 | 4.082 | 177 | -1.559 | 982.746 | 37.1339 | 3.1147
2020-12-15 21:30:00 | 2.638 | 177.3 | 3.671 | 188.5 | 3.928 | 177.567 | 4.55 | 184.1 | -1.499 | 983.181 | 37.1339 | 3.3697
2020-12-15 21:45:00 | 3.113 | 184.5 | 3.901 | 195.9 | 4.1741 | 184.538 | 4.12 | 192.1 | -1.483 | 983.207 | 36.6542 | 2.5531
2020-12-15 22:00:00 | 3.36 | 190.2 | 3.937 | 197.3 | 4.2126 | 185.857 | 3.891 | 196.5 | -1.36 | 983.181 | 36.8586 | 2.9374
2020-12-15 22:15:00 | 3.414 | 191.6 | 3.51 | 201.8 | 3.7557 | 190.096 | 4.005 | 198.7 | -1.415 | 983.33 | 37.7099 | 3.2293
2020-12-15 22:30:00 | 2.645 | 192.8 | 3.285 | 202.9 | 3.5149 | 191.132 | 4.265 | 197.6 | -1.432 | 983.48 | 40.3426 | 2.0174
2020-12-15 22:45:00 | 2.298 | 193.1 | 2.901 | 204.2 | 3.1041 | 192.356 | 3.924 | 201.1 | -1.419 | 983.478 | 41.5731 | 1.1934
2020-12-15 23:00:00 | 2.242 | 194.5 | 2.802 | 198 | 2.9981 | 186.516 | 4.11 | 200.5 | -1.413 | 983.627 | 41.7098 | 0.31776
2020-12-15 23:15:00 | 1.851 | 202.1 | 2.487 | 216.5 | 2.6611 | 203.943 | 3.858 | 206.8 | -1.502 | 983.775 | 42.2566 | 0.062812
2020-12-15 23:30:00 | 1.91 | 206.3 | 2.791 | 212.8 | 2.9864 | 200.458 | 3.157 | 221.7 | -1.362 | 983.627 | 42.1203 | -0.31776
2020-12-15 23:45:00 | 2.321 | 233.4 | 2.858 | 222.8 | 3.0581 | 209.878 | 2.849 | 247.7 | -1.35 | 983.478 | 40.1374 | -0.33623