## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-16 00:00:00 | 1.696 | 237.8 | 2.456 | 224.9 | 2.6279 | 211.856 | 2.661 | 251.5 | -1.439 | 983.775 | 40.0689 | -0.31776
2020-12-16 00:15:00 | 1.762 | 243.7 | 2.129 | 235.1 | 2.278 | 221.464 | 2.437 | 254.5 | -1.5 | 983.478 | 40.0003 | -0.29928
2020-12-16 00:30:00 | 1.396 | 251.2 | 2.329 | 253.2 | 2.492 | 238.514 | 2.424 | 259.6 | -1.501 | 983.478 | 39.1129 | -0.29928
2020-12-16 00:45:00 | 1.549 | 253.8 | 2.413 | 259.5 | 2.5819 | 244.449 | 2.556 | 262.2 | -1.304 | 983.775 | 36.8578 | -0.29928
2020-12-16 01:00:00 | 1.19 | 264.9 | 2.035 | 268.3 | 2.1774 | 252.739 | 2.775 | 271.3 | -1.089 | 983.775 | 36.7199 | -0.29928
2020-12-16 01:15:00 | 1.047 | 270.4 | 2.185 | 277.8 | 2.338 | 261.688 | 2.788 | 275.1 | -1.273 | 983.775 | 37.1308 | -0.31776
2020-12-16 01:30:00 | 1.026 | 273.1 | 2.042 | 281 | 2.1849 | 264.702 | 2.521 | 277.2 | -1.411 | 983.775 | 37.063 | -0.29928
2020-12-16 01:45:00 | 1.163 | 275.8 | 1.605 | 282.2 | 1.7173 | 265.832 | 2.584 | 280.9 | -1.488 | 983.776 | 37.0652 | -0.29928
2020-12-16 02:00:00 | 0.208 | 272.9 | 1.37 | 282.2 | 1.4659 | 265.832 | 2.342 | 280.8 | -1.552 | 983.796 | 37.75 | -0.29928
2020-12-16 02:15:00 | 1.215 | 286.8 | 1.802 | 287.8 | 1.9281 | 271.108 | 2.213 | 283.7 | -1.693 | 983.532 | 37.9552 | -0.29928
2020-12-16 02:30:00 | 1.149 | 286.2 | 1.771 | 301.2 | 1.895 | 283.73 | 2.197 | 294.1 | -1.769 | 983.993 | 38.5717 | -0.29928
2020-12-16 02:45:00 | 1.256 | 294.5 | 2.07 | 303.1 | 2.2149 | 285.52 | 2.325 | 299 | -1.839 | 983.732 | 38.5027 | -0.29928
2020-12-16 03:00:00 | 0 | 293.7 | 1.369 | 303.3 | 1.4648 | 285.709 | 2.073 | 299.1 | -2.039 | 983.736 | 39.2592 | -0.29928
2020-12-16 03:15:00 | 0.108 | 299.8 | 1.04 | 303.3 | 1.1128 | 285.709 | 2.169 | 299.9 | -2.082 | 983.834 | 38.9192 | -0.29928
2020-12-16 03:30:00 | 0.052 | 299 | 1.34 | 303.3 | 1.4338 | 285.709 | 1.866 | 299.9 | -2.241 | 983.948 | 39.6033 | -0.31776
2020-12-16 03:45:00 | 0 | 276.8 | 0.342 | 302.7 | 0.36594 | 285.143 | 1.487 | 299.1 | -2.182 | 983.895 | 40.0479 | -0.29928
2020-12-16 04:00:00 | 0 | 246.8 | 0 | 301.3 | 0 | 283.825 | 0.885 | 299 | -2.444 | 983.783 | 41.5527 | -0.29928
2020-12-16 04:15:00 | 0.037 | 310.2 | 0.558 | 302 | 0.59706 | 284.484 | 1.66 | 300.1 | -2.521 | 983.783 | 43.5704 | -0.31037
2020-12-16 04:30:00 | 2.068 | 337.8 | 2.293 | 355 | 2.4535 | 334.41 | 2.317 | 337.2 | -2.202 | 983.783 | 42.5445 | -0.32884
2020-12-16 04:45:00 | 1.458 | 339.1 | 2.334 | 358.2 | 2.4974 | 337.424 | 2.223 | 338.1 | -2.105 | 983.783 | 41.7237 | -0.31776
2020-12-16 05:00:00 | 2.257 | 348.7 | 2.715 | 8.08 | 2.9051 | 7.6114 | 3.03 | 347 | -2.113 | 983.783 | 41.7921 | -0.32884
2020-12-16 05:15:00 | 2.449 | 79.5 | 3.093 | 19.38 | 3.3095 | 18.256 | 3.42 | 355 | -2.173 | 983.783 | 41.0397 | -0.31776
2020-12-16 05:30:00 | 1.765 | 3.712 | 3.009 | 28.21 | 3.2196 | 26.5738 | 2.541 | 0.951 | -2.037 | 983.624 | 39.6033 | -0.32884
2020-12-16 05:45:00 | 2.367 | 6.307 | 3.241 | 29.08 | 3.4679 | 27.3934 | 3.086 | 1.318 | -2.041 | 983.849 | 40.082 | -0.34731
2020-12-16 06:00:00 | 2.814 | 8.36 | 3.617 | 28.82 | 3.8702 | 27.1484 | 2.747 | 4.429 | -2.235 | 983.844 | 40.5602 | -0.32884
2020-12-16 06:15:00 | 3.631 | 9.47 | 4.169 | 28.14 | 4.4608 | 26.5079 | 3.483 | 10.94 | -2.304 | 983.794 | 40.7647 | 0.073897
2020-12-16 06:30:00 | 2.508 | 12.58 | 3.725 | 31.17 | 3.9857 | 29.3621 | 3.539 | 12.4 | -2.474 | 983.75 | 40.8308 | -0.014779
2020-12-16 06:45:00 | 3.192 | 10.41 | 4.075 | 29.68 | 4.3602 | 27.9586 | 4.026 | 13.78 | -2.399 | 983.936 | 41.1748 | 0.3621
2020-12-16 07:00:00 | 2.796 | 10.45 | 3.875 | 30.32 | 4.1463 | 28.5614 | 3.883 | 13.5 | -2.281 | 984.07 | 40.968 | 0.79439
2020-12-16 07:15:00 | 3.062 | 8.79 | 4.42 | 27.48 | 4.7294 | 25.8862 | 4.087 | 12.54 | -2.314 | 984.219 | 39.9421 | 0.96066
2020-12-16 07:30:00 | 3.332 | 9.69 | 3.965 | 27.88 | 4.2425 | 26.263 | 3.672 | 11.21 | -2.241 | 984.513 | 38.2311 | 0.69094
2020-12-16 07:45:00 | 2.911 | 8.22 | 3.742 | 26.46 | 4.0039 | 24.9253 | 3.28 | 7.403 | -2.17 | 984.552 | 38.2291 | 0.11824
2020-12-16 08:00:00 | 2.314 | 9.15 | 3.139 | 27.44 | 3.3587 | 25.8485 | 3.078 | 11.39 | -2.104 | 984.416 | 37.3397 | 0.15149
2020-12-16 08:15:00 | 3 | 4.792 | 3.842 | 26.52 | 4.1109 | 24.9818 | 3.379 | 10.3 | -1.99 | 984.667 | 35.8978 | 0.45816
2020-12-16 08:30:00 | 2.462 | 10.33 | 4.077 | 28.05 | 4.3624 | 26.4231 | 3.173 | 10.42 | -2.008 | 985.262 | 34.5641 | 0.096066
2020-12-16 08:45:00 | 2.758 | 11.26 | 4.195 | 30.85 | 4.4886 | 29.0607 | 3.392 | 10.98 | -1.711 | 985.559 | 32.5423 | -0.051728
2020-12-16 09:00:00 | 2.494 | 14.62 | 4.244 | 32.08 | 4.5411 | 30.2194 | 3.517 | 13.58 | -1.712 | 986.154 | 33.6353 | -0.20691
2020-12-16 09:15:00 | 2.635 | 14.57 | 4.057 | 35.87 | 4.341 | 33.7895 | 3.231 | 14.13 | -1.583 | 986.452 | 31.9262 | -0.28081
2020-12-16 09:30:00 | 2.822 | 16.89 | 4.187 | 38.32 | 4.4801 | 36.0974 | 3.239 | 15.82 | -1.51 | 986.458 | 30.3496 | -0.11454
2020-12-16 09:45:00 | 2.462 | 20.97 | 3.653 | 41.01 | 3.9087 | 38.6314 | 3.3 | 17.72 | -1.378 | 986.447 | 30.0018 | -0.20691
2020-12-16 10:00:00 | 3.202 | 17.36 | 4.203 | 35.76 | 4.4972 | 33.6859 | 3.639 | 11.2 | -1.319 | 986.447 | 29.3183 | -0.13301
2020-12-16 10:15:00 | 3.925 | 10.25 | 4.655 | 31.47 | 4.9809 | 29.6447 | 4.135 | 7.261 | -1.285 | 986.44 | 30.0696 | 0.20691
2020-12-16 10:30:00 | 2.957 | 20.77 | 3.96 | 38.59 | 4.2372 | 36.3518 | 3.641 | 19.51 | -1.221 | 986.422 | 31.2285 | 0.048033
2020-12-16 10:45:00 | 2.833 | 13.79 | 3.54 | 31.81 | 3.7878 | 29.965 | 3.201 | 16.95 | -0.958 | 986.742 | 30.0678 | -0.2882
2020-12-16 11:00:00 | 1.72 | 15.37 | 2.418 | 24.93 | 2.5873 | 23.4841 | 2.737 | 18.19 | -0.262 | 986.822 | 28.9687 | -0.32884
2020-12-16 11:15:00 | 0.488 | 24.03 | 1.403 | 41.15 | 1.5012 | 38.7633 | 1.209 | 20.7 | 0.287 | 986.889 | 28.5568 | -0.29928
2020-12-16 11:30:00 | 2.331 | 328.7 | 2.315 | 328.7 | 2.4771 | 309.635 | 2.063 | 332 | 0.852 | 987.036 | 31.933 | -0.29928
2020-12-16 11:45:00 | 2.55 | 303.5 | 3.19 | 303 | 3.4133 | 285.426 | 3.191 | 319.8 | 0.434 | 986.666 | 31.1422 | -0.29928
2020-12-16 12:00:00 | 1.962 | 312.5 | 2.251 | 310.9 | 2.4086 | 292.868 | 2.098 | 322.4 | 0.605 | 986.41 | 29.0934 | -0.29928
2020-12-16 12:15:00 | 1.915 | 336.6 | 2.139 | 324.5 | 2.2887 | 305.679 | 1.766 | 356.5 | 0.961 | 986.359 | 27.386 | -0.29928
2020-12-16 12:30:00 | 2.204 | 317.2 | 2.426 | 310.4 | 2.5958 | 292.397 | 1.961 | 323 | 1.143 | 986.199 | 26.3616 | -0.31037
2020-12-16 12:45:00 | 3.102 | 297.7 | 3.137 | 307.1 | 3.3566 | 289.288 | 2.185 | 302.5 | 1.025 | 985.931 | 26.3616 | -0.31776
2020-12-16 13:00:00 | 1.774 | 290.5 | 2.019 | 305.6 | 2.1603 | 287.875 | 1.724 | 293.8 | 1.169 | 986.107 | 23.1518 | -0.29928
2020-12-16 13:15:00 | 2.742 | 279.1 | 2.61 | 288.8 | 2.7927 | 272.05 | 2.215 | 280.7 | 0.943 | 986.283 | 22.9469 | -0.29928
2020-12-16 13:30:00 | 2.661 | 285.3 | 2.598 | 290.9 | 2.7799 | 274.028 | 2.401 | 287.4 | 1.322 | 986.438 | 25.269 | -0.31037
2020-12-16 13:45:00 | 2.829 | 290.6 | 2.886 | 303.8 | 3.088 | 286.18 | 2.408 | 286.4 | 1.225 | 986.144 | 21.9948 | -0.29928
2020-12-16 14:00:00 | 1.557 | 313.7 | 1.772 | 307 | 1.896 | 289.194 | 1.652 | 301.1 | 1.688 | 986.144 | 22.2027 | -0.29928
2020-12-16 14:15:00 | 2.663 | 304.3 | 2.599 | 306.5 | 2.7809 | 288.723 | 2.572 | 302.6 | 1.443 | 986.144 | 22.4424 | -0.29928
2020-12-16 14:30:00 | 2.283 | 296.2 | 2.494 | 307.7 | 2.6686 | 289.853 | 2.551 | 300.9 | 1.194 | 986.144 | 21.4176 | -0.29928
2020-12-16 14:45:00 | 3.062 | 293.6 | 3.425 | 296.1 | 3.6648 | 278.926 | 2.852 | 298.4 | 1.236 | 985.847 | 23.7062 | -0.2882
2020-12-16 15:00:00 | 3.148 | 293.2 | 2.922 | 299.2 | 3.1265 | 281.846 | 2.439 | 289.5 | 1.021 | 985.847 | 21.3834 | -0.29928
2020-12-16 15:15:00 | 1.736 | 276.3 | 1.511 | 273.2 | 1.6168 | 257.354 | 1.401 | 283.8 | 1.063 | 985.847 | 24.3894 | -0.28081
2020-12-16 15:30:00 | 1.349 | 295.8 | 1.942 | 299.8 | 2.0779 | 282.412 | 1.679 | 296.6 | 1.311 | 985.698 | 25.6874 | -0.28081
2020-12-16 15:45:00 | 1.807 | 303.9 | 1.724 | 302.5 | 1.8447 | 284.955 | 1.763 | 292.4 | 1.183 | 985.55 | 26.3023 | -0.28081
2020-12-16 16:00:00 | 1.394 | 304.1 | 1.761 | 300.9 | 1.8843 | 283.448 | 1.729 | 307.3 | 1.048 | 985.252 | 25.3117 | -0.26972
2020-12-16 16:15:00 | 2.077 | 307.3 | 2.137 | 312.7 | 2.2866 | 294.563 | 1.607 | 292.5 | 0.882 | 985.07 | 26.3023 | -0.28081
2020-12-16 16:30:00 | 1.842 | 304 | 1.812 | 312.8 | 1.9388 | 294.658 | 1.522 | 296.9 | 0.575 | 984.94 | 26.855 | -0.29928
2020-12-16 16:45:00 | 2.113 | 310.2 | 2.124 | 315.8 | 2.2727 | 297.484 | 1.8 | 309.2 | 0.244 | 984.068 | 27.1989 | -0.29928
2020-12-16 17:00:00 | 2.079 | 322.8 | 2.244 | 339.5 | 2.4011 | 319.809 | 2.093 | 321.9 | -0.119 | 983.622 | 29.0449 | -0.29928
2020-12-16 17:15:00 | 2.107 | 330 | 2.27 | 348 | 2.4289 | 327.816 | 1.808 | 326.1 | -0.33 | 983.685 | 29.4644 | -0.31776
2020-12-16 17:30:00 | 2.569 | 345.2 | 2.405 | 7.964 | 2.5734 | 7.5021 | 1.943 | 342.9 | -0.359 | 983.626 | 28.2344 | -0.29928
2020-12-16 17:45:00 | 2.061 | 344.8 | 1.843 | 34.76 | 1.972 | 32.7439 | 1.431 | 344.9 | -0.409 | 983.477 | 28.2345 | -0.31776
2020-12-16 18:00:00 | 1.78 | 351.7 | 1.651 | 14.02 | 1.7666 | 13.2068 | 1.482 | 344.9 | -0.687 | 983.18 | 28.9218 | -0.31037
2020-12-16 18:15:00 | 2.306 | 356.9 | 1.748 | 20.31 | 1.8704 | 19.132 | 1.614 | 347.4 | -0.614 | 983.18 | 28.9914 | -0.32884
2020-12-16 18:30:00 | 2.388 | 356.9 | 2.116 | 19.79 | 2.2641 | 18.6422 | 1.619 | 348.8 | -0.568 | 983.18 | 28.9914 | -0.31037
2020-12-16 18:45:00 | 1.107 | 356.9 | 1.142 | 20.5 | 1.2219 | 19.311 | 0 | 349.8 | -0.533 | 983.18 | 29.0256 | -0.31037
2020-12-16 19:00:00 | 0.231 | 332.1 | 0.008 | 38 | 0.00856 | 35.796 | 0.299 | 349.8 | -0.53 | 983.18 | 28.9914 | -0.29928
2020-12-16 19:15:00 | 0.067 | 328.7 | 0 | 37.49 | 0 | 35.3156 | 0 | 349.8 | -0.553 | 982.736 | 24.2735 | -0.31776
2020-12-16 19:30:00 | 0.007 | 232.9 | 0.704 | 37.13 | 0.75328 | 34.9765 | 1.069 | 349.3 | -0.433 | 983.032 | 22.1538 | -0.34731
2020-12-16 19:45:00 | 1.091 | 232.8 | 1.659 | 246.1 | 1.7751 | 231.826 | 1.652 | 319.2 | -0.312 | 983.181 | 22.2907 | -0.33623
2020-12-16 20:00:00 | 1.496 | 211.6 | 1.83 | 222 | 1.9581 | 209.124 | 2.08 | 218.5 | -0.415 | 983.181 | 23.9318 | -0.32884
2020-12-16 20:15:00 | 1.507 | 210 | 1.674 | 222.6 | 1.7912 | 209.689 | 1.889 | 209.9 | -0.479 | 983.181 | 25.8462 | -0.33993
2020-12-16 20:30:00 | 1.254 | 206.7 | 1.927 | 222.5 | 2.0619 | 209.595 | 1.734 | 207.9 | -0.546 | 983.183 | 26.8034 | -0.32884
2020-12-16 20:45:00 | 1.425 | 182.1 | 1.756 | 220 | 1.8789 | 207.24 | 1.945 | 195.2 | -0.497 | 983.181 | 26.4615 | -0.32884
2020-12-16 21:00:00 | 1.28 | 177.5 | 1.677 | 199 | 1.7944 | 187.458 | 1.741 | 186.6 | -0.429 | 982.883 | 28.1709 | -0.31037
2020-12-16 21:15:00 | 1.021 | 175.4 | 1.741 | 190 | 1.8629 | 178.98 | 1.357 | 186.5 | -0.359 | 982.884 | 27.1453 | -0.31776
2020-12-16 21:30:00 | 1.018 | 174.7 | 1.325 | 188.1 | 1.4178 | 177.19 | 0.974 | 186.5 | -0.269 | 982.734 | 26.325 | -0.33623
2020-12-16 21:45:00 | 0.585 | 174.5 | 0.763 | 186.1 | 0.81641 | 175.306 | 0.225 | 186.5 | -0.274 | 982.586 | 28.7867 | -0.34731
2020-12-16 22:00:00 | 0.949 | 181.5 | 1.806 | 186.6 | 1.9324 | 175.777 | 1.782 | 186.6 | -0.44 | 983.181 | 28.9922 | -0.34731
2020-12-16 22:15:00 | 3.051 | 180.9 | 3.354 | 195.1 | 3.5888 | 183.784 | 3.073 | 187.2 | -0.541 | 983.181 | 29.8804 | -0.34362
2020-12-16 22:30:00 | 3.695 | 191.1 | 4.103 | 203.8 | 4.3902 | 191.98 | 3.682 | 192.5 | -0.618 | 983.181 | 31.1112 | -0.33993
2020-12-16 22:45:00 | 2.914 | 182.5 | 3.494 | 190.3 | 3.7386 | 179.263 | 3.761 | 191.1 | -0.781 | 983.181 | 31.0769 | -0.033254
2020-12-16 23:00:00 | 2.485 | 173.8 | 3.06 | 180 | 3.2742 | 169.56 | 3.896 | 181.6 | -1.148 | 983.181 | 33.5043 | 1.4151
2020-12-16 23:15:00 | 2.868 | 175.7 | 3.303 | 181.9 | 3.5342 | 171.35 | 3.983 | 184.2 | -1.2 | 983.032 | 32.4786 | 1.5149
2020-12-16 23:30:00 | 2.436 | 178.2 | 3.587 | 183.2 | 3.8381 | 172.574 | 4.199 | 188.5 | -1.276 | 982.883 | 32.2735 | 2.2723
2020-12-16 23:45:00 | 2.283 | 174.1 | 3.553 | 179.5 | 3.8017 | 169.089 | 4.64 | 185 | -1.392 | 982.883 | 32 | 3.3549