## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-17 00:00:00 | 2.393 | 181.4 | 3.589 | 188.3 | 3.8402 | 177.379 | 4.93 | 191.3 | -1.362 | 982.734 | 33.3676 | 4.6481
2020-12-17 00:15:00 | 3.044 | 182.5 | 4.131 | 192.1 | 4.4202 | 180.958 | 4.497 | 191.2 | -1.278 | 982.586 | 34.462 | 4.7072
2020-12-17 00:30:00 | 2.949 | 183.3 | 4.187 | 191.1 | 4.4801 | 180.016 | 4.675 | 191 | -1.25 | 982.592 | 34.1881 | 5.5829
2020-12-17 00:45:00 | 3.322 | 181.4 | 4.681 | 189.4 | 5.0087 | 178.415 | 5.174 | 190.1 | -1.251 | 982.586 | 34.1881 | 6.3921
2020-12-17 01:00:00 | 2.901 | 172.4 | 4.246 | 180.8 | 4.5432 | 170.314 | 4.95 | 184.6 | -1.314 | 982.442 | 32.8205 | 7.1865
2020-12-17 01:15:00 | 3.927 | 165.8 | 5.087 | 175.9 | 5.4431 | 165.698 | 5.602 | 179 | -1.498 | 982.296 | 29.7096 | 8.9932
2020-12-17 01:30:00 | 4.41 | 168.9 | 5.394 | 177.2 | 5.7716 | 166.922 | 5.638 | 181.6 | -1.328 | 982.143 | 29.5385 | 10.5894
2020-12-17 01:45:00 | 5.066 | 166 | 5.668 | 174.5 | 6.0648 | 164.379 | 6.076 | 176.7 | -1.25 | 982.01 | 28.3761 | 12.1782
2020-12-17 02:00:00 | 4.772 | 161.5 | 5.604 | 172.1 | 5.9963 | 162.118 | 6.106 | 171.9 | -1.397 | 981.991 | 29.9488 | 12.3703
2020-12-17 02:15:00 | 4.887 | 160.9 | 5.565 | 169.8 | 5.9546 | 159.952 | 6.387 | 172.1 | -1.512 | 981.844 | 31.6582 | 12.4258
2020-12-17 02:30:00 | 5.056 | 166.2 | 5.895 | 176.3 | 6.3076 | 166.075 | 6.544 | 175.5 | -1.48 | 982.001 | 31.2479 | 14.0109
2020-12-17 02:45:00 | 5.388 | 165.7 | 5.88 | 175.3 | 6.2916 | 165.133 | 5.938 | 176.8 | -1.377 | 981.991 | 33.641 | 13.1684
2020-12-17 03:00:00 | 4.443 | 164.7 | 5.013 | 172.7 | 5.3639 | 162.683 | 5.587 | 176 | -1.622 | 982.006 | 35.4188 | 12.81
2020-12-17 03:15:00 | 4.331 | 164.8 | 5.663 | 173.9 | 6.0594 | 163.814 | 6.185 | 175.1 | -1.832 | 981.694 | 35.8292 | 12.7805
2020-12-17 03:30:00 | 3.953 | 163.5 | 5.243 | 173.6 | 5.61 | 163.531 | 6.078 | 174.5 | -2.012 | 981.396 | 37.5389 | 12.2558
2020-12-17 03:45:00 | 4.137 | 158.4 | 5.136 | 168.9 | 5.4955 | 159.104 | 5.651 | 169.7 | -1.776 | 981.396 | 38.292 | 11.6794
2020-12-17 04:00:00 | 4.272 | 165.2 | 5.512 | 174.3 | 5.8978 | 164.191 | 6.287 | 176.6 | -1.922 | 981.248 | 39.1845 | 12.1191
2020-12-17 04:15:00 | 3.932 | 161.9 | 5.271 | 172.5 | 5.64 | 162.495 | 6.035 | 173.1 | -1.885 | 980.81 | 41.5103 | 10.0721
2020-12-17 04:30:00 | 3.736 | 160.6 | 4.704 | 171.3 | 5.0333 | 161.365 | 5.373 | 169.6 | -1.992 | 980.803 | 42.2628 | 10.0758
2020-12-17 04:45:00 | 3.96 | 157 | 5.131 | 166.5 | 5.4902 | 156.843 | 5.483 | 169.3 | -1.997 | 980.222 | 42.2631 | 8.0695
2020-12-17 05:00:00 | 3.072 | 163.2 | 3.975 | 169.8 | 4.2533 | 159.952 | 4.502 | 178.6 | -1.72 | 980.225 | 45.1359 | 5.6753
2020-12-17 05:15:00 | 2.799 | 166.4 | 3.525 | 173.1 | 3.7717 | 163.06 | 4.566 | 178.7 | -1.531 | 980.519 | 45.0671 | 5.9598
2020-12-17 05:30:00 | 2.577 | 160.7 | 3.607 | 169.1 | 3.8595 | 159.292 | 4.568 | 170.2 | -1.753 | 980.225 | 45.7513 | 6.1704
2020-12-17 05:45:00 | 2.139 | 160.9 | 3.604 | 171.9 | 3.8563 | 161.93 | 4.752 | 173.6 | -1.997 | 980.22 | 44.9307 | 9.6916
2020-12-17 06:00:00 | 2.957 | 155.4 | 4.356 | 168.7 | 4.6609 | 158.915 | 5.258 | 164.7 | -2.07 | 980.003 | 45.7514 | 10.0019
2020-12-17 06:15:00 | 3.771 | 159.1 | 4.88 | 171.8 | 5.2216 | 161.836 | 5.23 | 170 | -1.715 | 980.361 | 44.5546 | 11.6535
2020-12-17 06:30:00 | 5.043 | 164.3 | 5.967 | 174.2 | 6.3847 | 164.096 | 5.923 | 173.4 | -2.131 | 980.22 | 44.623 | 15.729
2020-12-17 06:45:00 | 5.217 | 161.4 | 5.872 | 171.5 | 6.283 | 161.553 | 6.226 | 171.8 | -2.273 | 980.276 | 45.2727 | 17.7648
2020-12-17 07:00:00 | 5.554 | 158.2 | 6.483 | 169.1 | 6.9368 | 159.292 | 6.883 | 169.1 | -2.212 | 980.261 | 44.4178 | 19.1282
2020-12-17 07:15:00 | 6.082 | 156.5 | 6.933 | 167.4 | 7.4183 | 157.691 | 7.568 | 168.7 | -2.578 | 980.422 | 43.2211 | 23.2923
2020-12-17 07:30:00 | 6.815 | 156 | 7.23 | 167.9 | 7.7361 | 158.162 | 7.268 | 165.6 | -2.65 | 980.325 | 44.9315 | 26.8615
2020-12-17 07:45:00 | 6.618 | 158.7 | 7.092 | 170.6 | 7.5884 | 160.705 | 7.884 | 169.7 | -2.985 | 980.402 | 46.1276 | 26.7396
2020-12-17 08:00:00 | 6.664 | 162.4 | 7.237 | 172.5 | 7.7436 | 162.495 | 7.471 | 173.3 | -2.788 | 980.451 | 46.2985 | 28.3284
2020-12-17 08:15:00 | 6.151 | 162.9 | 6.897 | 171.9 | 7.3798 | 161.93 | 6.957 | 172.7 | -2.683 | 980.809 | 47.3235 | 25.6238
2020-12-17 08:30:00 | 5.842 | 161.5 | 6.363 | 171.7 | 6.8084 | 161.741 | 6.799 | 171.7 | -2.338 | 981.099 | 47.1795 | 24.2567
2020-12-17 08:45:00 | 6.274 | 157.4 | 6.327 | 168.8 | 6.7699 | 159.01 | 6.654 | 169.3 | -2.239 | 981.396 | 47.3163 | 21.2897
2020-12-17 09:00:00 | 6.261 | 159.9 | 6.657 | 170.4 | 7.123 | 160.517 | 6.718 | 170.6 | -1.862 | 981.694 | 47.174 | 19.0321
2020-12-17 09:15:00 | 5.947 | 163 | 6.046 | 173.3 | 6.4692 | 163.249 | 5.457 | 174.9 | -1.519 | 982.288 | 46.8638 | 19.2723
2020-12-17 09:30:00 | 6.294 | 159.2 | 6.258 | 170.1 | 6.6961 | 160.234 | 6.28 | 170.1 | -1.246 | 982.437 | 47.6499 | 17.8904
2020-12-17 09:45:00 | 6.572 | 156.3 | 6.667 | 167.4 | 7.1337 | 157.691 | 5.969 | 169.9 | -1.184 | 982.49 | 46.4878 | 13.9333
2020-12-17 10:00:00 | 6.583 | 158.6 | 6.463 | 171.7 | 6.9154 | 161.741 | 6.282 | 166.9 | -0.941 | 982.584 | 44.7344 | 13.4012
2020-12-17 10:15:00 | 6.149 | 157.1 | 5.936 | 169.4 | 6.3515 | 159.575 | 5.19 | 167.5 | -0.601 | 982.879 | 42.7474 | 15.3077
2020-12-17 10:30:00 | 7.208 | 157.6 | 6.854 | 167.5 | 7.3338 | 157.785 | 5.765 | 168 | -0.618 | 982.731 | 43.7383 | 19.0358
2020-12-17 10:45:00 | 6.034 | 156.6 | 6.018 | 167.2 | 6.4393 | 157.502 | 5.241 | 166.4 | -0.354 | 982.731 | 44.2167 | 15.6033
2020-12-17 11:00:00 | 6.442 | 171.1 | 6.028 | 183.9 | 6.45 | 173.234 | 5.809 | 177.3 | -0.249 | 982.675 | 41.2077 | 14.4542
2020-12-17 11:15:00 | 6.846 | 170.7 | 6.281 | 184.1 | 6.7207 | 173.422 | 5.236 | 171.3 | 0.028 | 982.567 | 39.3608 | 15.6957
2020-12-17 11:30:00 | 7.464 | 153.8 | 7.37 | 172.3 | 7.8859 | 162.307 | 6.02 | 162.9 | 0.262 | 982.277 | 39.8387 | 15.9396
2020-12-17 11:45:00 | 6.846 | 166.2 | 6.532 | 181.2 | 6.9892 | 170.69 | 6.066 | 171.6 | 0.497 | 982.271 | 38.6761 | 15.8213
2020-12-17 12:00:00 | 6.473 | 170.2 | 5.985 | 192.8 | 6.404 | 181.618 | 5.559 | 172.7 | 0.692 | 981.987 | 38.1989 | 15.3669
2020-12-17 12:15:00 | 6.881 | 165.1 | 6.327 | 177 | 6.7699 | 166.734 | 5.541 | 172.9 | 0.646 | 981.987 | 39.601 | 16.7376
2020-12-17 12:30:00 | 6.304 | 168.7 | 6.125 | 182.3 | 6.5537 | 171.727 | 6.168 | 175.4 | 1.094 | 981.838 | 39.4296 | 15.7918
2020-12-17 12:45:00 | 6.378 | 174.7 | 5.877 | 193.5 | 6.2884 | 182.277 | 5.531 | 175.3 | 1.391 | 981.69 | 41.7866 | 15.1341
2020-12-17 13:00:00 | 6.256 | 163.5 | 6.258 | 180.2 | 6.6961 | 169.748 | 5.472 | 171 | 1.487 | 981.623 | 40.6234 | 13.3347
2020-12-17 13:15:00 | 5.965 | 171.8 | 5.645 | 191.9 | 6.0401 | 180.77 | 5.307 | 176.9 | 1.733 | 981.473 | 39.4921 | 14.8607
2020-12-17 13:30:00 | 6.593 | 162 | 6.478 | 175 | 6.9315 | 164.85 | 5.276 | 169.6 | 2.021 | 981.177 | 39.694 | 15.7548
2020-12-17 13:45:00 | 5.771 | 160.7 | 5.752 | 174.1 | 6.1546 | 164.002 | 5.36 | 166.7 | 1.574 | 981.202 | 39.1473 | 13.501
2020-12-17 14:00:00 | 6.57 | 155.4 | 6.539 | 166.9 | 6.9967 | 157.22 | 5.758 | 164.5 | 1.714 | 981.067 | 37.3037 | 15.4149
2020-12-17 14:15:00 | 5.564 | 167.2 | 5.617 | 176.7 | 6.0102 | 166.451 | 4.818 | 175 | 1.85 | 980.456 | 36.9655 | 17.6096
2020-12-17 14:30:00 | 5.985 | 174.7 | 5.936 | 187 | 6.3515 | 176.154 | 5.266 | 178.1 | 1.672 | 980.5 | 38.4709 | 14.6907
2020-12-17 14:45:00 | 6.45 | 177 | 6.01 | 195.6 | 6.4307 | 184.255 | 5.052 | 176.2 | 1.49 | 980.471 | 39.497 | 15.0639
2020-12-17 15:00:00 | 5.722 | 171.8 | 5.353 | 192.2 | 5.7277 | 181.052 | 5.004 | 171.9 | 1.628 | 980.334 | 38.8479 | 15.0824
2020-12-17 15:15:00 | 5.191 | 163.2 | 5.113 | 177.3 | 5.4709 | 167.017 | 4.301 | 172.1 | 1.773 | 980.5 | 39.7024 | 10.5008
2020-12-17 15:30:00 | 5.995 | 142.5 | 6.143 | 158.1 | 6.573 | 148.93 | 5.322 | 148.6 | 1.518 | 980.501 | 38.8818 | 10.1202
2020-12-17 15:45:00 | 5.212 | 157.8 | 5.197 | 175.7 | 5.5608 | 165.509 | 5.141 | 165.6 | 1.529 | 979.866 | 39.7703 | 14.1254
2020-12-17 16:00:00 | 6.555 | 153.6 | 6.504 | 170.4 | 6.9593 | 160.517 | 6.252 | 158.5 | 1.215 | 979.905 | 40.6627 | 13.3753
2020-12-17 16:15:00 | 5.99 | 161.5 | 5.624 | 176.1 | 6.0177 | 165.886 | 5.134 | 167.6 | 1.048 | 979.312 | 40.5262 | 12.4442
2020-12-17 16:30:00 | 5.086 | 170.3 | 4.796 | 191.5 | 5.1317 | 180.393 | 4.787 | 173.4 | 0.954 | 979.312 | 40.937 | 10.7963
2020-12-17 16:45:00 | 4.984 | 161.2 | 4.919 | 176.1 | 5.2633 | 165.886 | 4.721 | 166.4 | 0.75 | 979.315 | 41.4242 | 9.4514
2020-12-17 17:00:00 | 4.53 | 159.7 | 4.66 | 173 | 4.9862 | 162.966 | 4.487 | 164.9 | 0.539 | 979.554 | 42.1807 | 9.1078
2020-12-17 17:15:00 | 4.167 | 148.7 | 4.747 | 164.7 | 5.0793 | 155.147 | 5.554 | 154.9 | 0.285 | 979.165 | 43.4114 | 8.7161
2020-12-17 17:30:00 | 4.389 | 146.1 | 4.862 | 162.3 | 5.2023 | 152.887 | 5.803 | 152.5 | 0.178 | 979.314 | 43.0011 | 10.5081
2020-12-17 17:45:00 | 4.17 | 148.7 | 4.809 | 163.5 | 5.1456 | 154.017 | 5.867 | 154.4 | 0.267 | 979.314 | 43.0012 | 8.8381
2020-12-17 18:00:00 | 4.31 | 156.7 | 4.379 | 175.9 | 4.6855 | 165.698 | 5.185 | 159.7 | 0.459 | 979.314 | 42.3175 | 11.1954
2020-12-17 18:15:00 | 4.331 | 160 | 4.492 | 180.2 | 4.8064 | 169.748 | 4.968 | 163.3 | 0.439 | 979.314 | 42.1808 | 14.4616
2020-12-17 18:30:00 | 6.072 | 161 | 6.028 | 177.1 | 6.45 | 166.828 | 6.017 | 165.8 | 0.445 | 979.314 | 41.5655 | 13.5527
2020-12-17 18:45:00 | 5.508 | 168.6 | 5.297 | 189.3 | 5.6678 | 178.321 | 4.752 | 168.3 | 0.555 | 979.611 | 41.6339 | 10.9183
2020-12-17 19:00:00 | 4.098 | 163 | 4.167 | 178.4 | 4.4587 | 168.053 | 4.721 | 162.4 | 0.376 | 979.611 | 41.9757 | 9.699
2020-12-17 19:15:00 | 5.413 | 158.7 | 5.325 | 174.9 | 5.6978 | 164.756 | 5.551 | 164 | 0.443 | 979.611 | 42.5226 | 10.9811
2020-12-17 19:30:00 | 5.388 | 162.3 | 5.284 | 180 | 5.6539 | 169.56 | 5.256 | 168.9 | 0.168 | 979.611 | 43.1379 | 14.0219
2020-12-17 19:45:00 | 5.166 | 165.5 | 5.228 | 175 | 5.594 | 164.85 | 5.045 | 172 | 0.044 | 979.611 | 43.8899 | 11.2065
2020-12-17 20:00:00 | 4.859 | 167.6 | 4.458 | 176.7 | 4.7701 | 166.451 | 5.024 | 176 | -0.032 | 979.611 | 43.6848 | 8.1176
2020-12-17 20:15:00 | 5.301 | 175.7 | 5.453 | 189.9 | 5.8347 | 178.886 | 5.842 | 181.9 | 0.066 | 979.611 | 42.3175 | 8.609
2020-12-17 20:30:00 | 4.706 | 178 | 5.087 | 188.2 | 5.4431 | 177.284 | 6.089 | 185.9 | 0.134 | 980.206 | 43.7532 | 8.1841
2020-12-17 20:45:00 | 3.937 | 182.4 | 4.719 | 193.4 | 5.0493 | 182.183 | 4.966 | 188.9 | -0.144 | 980.057 | 44.5053 | 9.8837
2020-12-17 21:00:00 | 4.9 | 180.4 | 5.496 | 187.5 | 5.8807 | 176.625 | 5.893 | 188.8 | -0.088 | 980.206 | 45.8048 | 11.7053
2020-12-17 21:15:00 | 5.189 | 171.9 | 5.524 | 179.6 | 5.9107 | 169.183 | 5.786 | 182.6 | -0.007 | 979.909 | 44.6428 | 11.7237
2020-12-17 21:30:00 | 5.957 | 173.2 | 6.335 | 184 | 6.7785 | 173.328 | 6.369 | 182 | 0.269 | 980.057 | 43.2065 | 11.236
2020-12-17 21:45:00 | 4.803 | 177.7 | 5.011 | 189.3 | 5.3618 | 178.321 | 5.498 | 186.2 | 0.22 | 980.355 | 43.9583 | 9.2519
2020-12-17 22:00:00 | 4.821 | 181.1 | 5.121 | 190.5 | 5.4795 | 179.451 | 5.457 | 189.5 | 0.097 | 980.504 | 44.3001 | 8.4132
2020-12-17 22:15:00 | 3.705 | 188.7 | 4.377 | 200.8 | 4.6834 | 189.154 | 4.869 | 193.8 | -0.075 | 980.652 | 45.1889 | 6.6433
2020-12-17 22:30:00 | 3.746 | 185 | 4.264 | 194.2 | 4.5625 | 182.936 | 4.622 | 192.9 | -0.215 | 980.652 | 45.5317 | 6.6249
2020-12-17 22:45:00 | 3.981 | 185 | 4.878 | 191 | 5.2195 | 179.922 | 4.533 | 194.1 | -0.138 | 980.504 | 45.4638 | 5.9487
2020-12-17 23:00:00 | 3.105 | 175.1 | 4.371 | 184.4 | 4.677 | 173.705 | 4.843 | 187.7 | -0.363 | 980.355 | 46.0116 | 5.4462
2020-12-17 23:15:00 | 2.937 | 174.9 | 4.579 | 183.2 | 4.8995 | 172.574 | 4.785 | 187.4 | -0.392 | 980.206 | 46.2883 | 5.5534
2020-12-17 23:30:00 | 2.579 | 170.4 | 3.909 | 183.6 | 4.1826 | 172.951 | 4.757 | 179.9 | -0.558 | 980.504 | 46.2562 | 4.6555
2020-12-17 23:45:00 | 3.787 | 181.9 | 4.443 | 193.2 | 4.754 | 181.994 | 4.568 | 188.7 | -0.303 | 980.504 | 46.2906 | 6.2665