## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-18 00:00:00 | 4.512 | 180.2 | 5.271 | 190.4 | 5.64 | 179.357 | 4.91 | 188.2 | -0.423 | 980.504 | 46.6325 | 6.9463
2020-12-18 00:15:00 | 4.114 | 182.5 | 4.773 | 191.5 | 5.1071 | 180.393 | 4.443 | 191.4 | -0.407 | 980.504 | 47.521 | 5.509
2020-12-18 00:30:00 | 4.297 | 189.8 | 4.226 | 197.3 | 4.5218 | 185.857 | 4.38 | 196.8 | -0.419 | 980.504 | 47.7265 | 4.1456
2020-12-18 00:45:00 | 3.271 | 191.8 | 3.433 | 204.9 | 3.6733 | 193.016 | 3.83 | 201.1 | -0.325 | 980.652 | 48 | 2.2797
2020-12-18 01:00:00 | 2.64 | 196.7 | 2.822 | 207.4 | 3.0195 | 195.371 | 3.616 | 207.3 | -0.277 | 980.652 | 47.6581 | 2.095
2020-12-18 01:15:00 | 3.46 | 215.4 | 3.645 | 219.1 | 3.9002 | 206.392 | 4.202 | 224.8 | -0.006 | 980.801 | 47.0427 | 1.4225
2020-12-18 01:30:00 | 3.021 | 226.2 | 3.374 | 227.9 | 3.6102 | 214.682 | 4.138 | 236.2 | 0.001 | 980.652 | 47.5211 | 1.1084
2020-12-18 01:45:00 | 2.814 | 237.7 | 3.52 | 240.4 | 3.7664 | 226.457 | 3.578 | 245 | 0.003 | 980.801 | 46.7337 | 0.44338
2020-12-18 02:00:00 | 2.408 | 238.5 | 2.743 | 239.9 | 2.935 | 225.986 | 3.275 | 246.2 | -0.038 | 980.801 | 47.3138 | 0.018474
2020-12-18 02:15:00 | 2.651 | 249.5 | 3.006 | 251.8 | 3.2164 | 237.196 | 3.376 | 255.6 | -0.002 | 980.801 | 46.6997 | 0.048033
2020-12-18 02:30:00 | 2.804 | 251.9 | 3.167 | 257.8 | 3.3887 | 242.848 | 3.473 | 259.6 | 0.011 | 981.098 | 46.871 | 0.13671
2020-12-18 02:45:00 | 1.645 | 263.9 | 2.676 | 273.5 | 2.8633 | 257.637 | 3.679 | 270 | -0.106 | 981.247 | 47.4521 | 0.38426
2020-12-18 03:00:00 | 2.612 | 276.6 | 3.257 | 284.7 | 3.485 | 268.187 | 3.621 | 279.4 | -0.045 | 981.396 | 47.2473 | 0.31037
2020-12-18 03:15:00 | 2.577 | 279.3 | 2.84 | 291.8 | 3.0388 | 274.876 | 3.392 | 280.6 | -0.074 | 981.098 | 47.5214 | 0.033254
2020-12-18 03:30:00 | 2.063 | 278.3 | 2.533 | 292.2 | 2.7103 | 275.252 | 3.096 | 282.9 | -0.228 | 981.098 | 47.9315 | -0.0036948
2020-12-18 03:45:00 | 2.03 | 282.9 | 2.469 | 291.7 | 2.6418 | 274.781 | 3.02 | 285.4 | -0.273 | 981.098 | 48.2393 | 0.033254
2020-12-18 04:00:00 | 3.011 | 302.1 | 3.246 | 312.8 | 3.4732 | 294.658 | 3.32 | 304.8 | -0.39 | 981.098 | 48.3419 | 0.20691
2020-12-18 04:15:00 | 3.266 | 303.2 | 3.264 | 315.9 | 3.4925 | 297.578 | 3.236 | 306.2 | -0.535 | 981.098 | 48.6154 | 0.25494
2020-12-18 04:30:00 | 3.253 | 321.2 | 2.62 | 322.3 | 2.8034 | 303.607 | 1.825 | 311.9 | -0.648 | 981.098 | 49.5385 | 0.95327
2020-12-18 04:45:00 | 2.569 | 329.4 | 2.091 | 337.1 | 2.2374 | 317.548 | 1.249 | 317.1 | -0.898 | 980.801 | 50.8718 | 0.80548
2020-12-18 05:00:00 | 2.753 | 336.1 | 2.574 | 345.7 | 2.7542 | 325.649 | 3.45 | 340.2 | -1.095 | 980.801 | 51.6239 | 0.98283
2020-12-18 05:15:00 | 2.515 | 335.6 | 2.145 | 343.4 | 2.2952 | 323.483 | 2.997 | 334 | -1.223 | 981.098 | 52.3761 | 2.4017
2020-12-18 05:30:00 | 2.474 | 341 | 2.398 | 346.6 | 2.5659 | 326.497 | 3.761 | 339.5 | -1.255 | 981.098 | 52.5128 | 2.0469
2020-12-18 05:45:00 | 3.427 | 342 | 3.921 | 353.6 | 4.1955 | 333.091 | 5.131 | 344.5 | -1.233 | 981.247 | 52.9231 | 2.8598
2020-12-18 06:00:00 | 3.835 | 349.8 | 4.663 | 10.19 | 4.9894 | 9.599 | 5.541 | 350.1 | -1.43 | 981.098 | 53.7094 | 4.2343
2020-12-18 06:15:00 | 4.114 | 357.5 | 4.458 | 8.83 | 4.7701 | 8.3179 | 6.438 | 357.1 | -1.57 | 980.801 | 54.359 | 6.3773
2020-12-18 06:30:00 | 3.271 | 5.734 | 3.477 | 16.98 | 3.7204 | 15.9952 | 4.382 | 6.672 | -1.68 | 981.098 | 54.4957 | 7.6299
2020-12-18 06:45:00 | 3.69 | 8.87 | 3.666 | 18.95 | 3.9226 | 17.8509 | 4.52 | 6.175 | -1.802 | 981.396 | 54.7692 | 9.2851
2020-12-18 07:00:00 | 4.236 | 8.39 | 5.417 | 24.25 | 5.7962 | 22.8435 | 4.387 | 8.14 | -1.625 | 981.396 | 54.6325 | 9.4625
2020-12-18 07:15:00 | 3.256 | 7.222 | 5.409 | 25.21 | 5.7876 | 23.7478 | 5.37 | 9.2 | -1.816 | 981.842 | 55.1795 | 9.0487
2020-12-18 07:30:00 | 3.731 | 9.01 | 3.95 | 20.36 | 4.2265 | 19.1791 | 3.784 | 9.76 | -1.805 | 981.99 | 55.5897 | 7.7666
2020-12-18 07:45:00 | 4.502 | 9.66 | 4.481 | 20.96 | 4.7947 | 19.7443 | 5.113 | 5.631 | -1.978 | 982.292 | 55.6581 | 8.6792
2020-12-18 08:00:00 | 4.2 | 6.487 | 4.031 | 17.15 | 4.3132 | 16.1553 | 4.438 | 3.389 | -2.145 | 982.586 | 56.3419 | 9.832
2020-12-18 08:15:00 | 4.31 | 10.02 | 4.407 | 19.02 | 4.7155 | 17.9168 | 5.411 | 6.146 | -2.269 | 983.181 | 56.6838 | 9.5696
2020-12-18 08:30:00 | 4.913 | 4.997 | 5.003 | 14.39 | 5.3532 | 13.5554 | 6.145 | 6.639 | -2.446 | 983.182 | 56.9573 | 12.1782
2020-12-18 08:45:00 | 4.946 | 9.74 | 5.259 | 24.6 | 5.6271 | 23.1732 | 5.258 | 11.4 | -2.323 | 983.627 | 56.9573 | 15.4038
2020-12-18 09:00:00 | 5.523 | 11.45 | 7.429 | 27.77 | 7.949 | 26.1593 | 7.466 | 15.27 | -2.093 | 983.775 | 51.9658 | 17.2069
2020-12-18 09:15:00 | 6.399 | 11.29 | 8.65 | 29.11 | 9.2555 | 27.4216 | 7.876 | 15.1 | -1.984 | 984.37 | 49.774 | 24.4008
2020-12-18 09:30:00 | 6.805 | 10.77 | 8.29 | 28.91 | 8.8703 | 27.2332 | 7.326 | 9.92 | -1.982 | 984.667 | 48.9489 | 30.3236
2020-12-18 09:45:00 | 6.713 | 11.19 | 7.828 | 29.05 | 8.376 | 27.3651 | 6.804 | 11.53 | -1.98 | 984.965 | 48.8122 | 26.0117
2020-12-18 10:00:00 | 6.493 | 10.76 | 7.539 | 26.92 | 8.0667 | 25.3586 | 6.738 | 11.58 | -1.814 | 985.262 | 46.9658 | 24.8737
2020-12-18 10:15:00 | 7.032 | 8.63 | 7.728 | 25.38 | 8.269 | 23.908 | 6.84 | 10.85 | -1.784 | 985.559 | 49.0173 | 24.7481
2020-12-18 10:30:00 | 7.282 | 10.93 | 8.27 | 27.23 | 8.8489 | 25.6507 | 7.028 | 12.68 | -1.515 | 985.113 | 45.5307 | 26.1152
2020-12-18 10:45:00 | 6.271 | 12.82 | 8.19 | 31.2 | 8.7633 | 29.3904 | 6.781 | 11.86 | -1.104 | 985.517 | 40.1983 | 29.4331
2020-12-18 11:00:00 | 6.363 | 9.77 | 7.552 | 29.82 | 8.0806 | 28.0904 | 6.494 | 7.173 | -0.975 | 985.358 | 39.9571 | 26.9724
2020-12-18 11:15:00 | 6.264 | 9.92 | 6.78 | 29.39 | 7.2546 | 27.6854 | 6.557 | 5.335 | -0.967 | 984.961 | 39.4735 | 30.393
2020-12-18 11:30:00 | 5.942 | 6.29 | 6.844 | 32.44 | 7.3231 | 30.5585 | 6.797 | 0.562 | -0.72 | 984.96 | 38.1345 | 28.8256
2020-12-18 11:45:00 | 6.69 | 3.052 | 7.14 | 28.91 | 7.6398 | 27.2332 | 7.576 | 355.7 | -0.54 | 984.96 | 38.8177 | 29.9356
2020-12-18 12:00:00 | 6.468 | 6.829 | 7.005 | 26.06 | 7.4954 | 24.5485 | 7.26 | 4.186 | -0.395 | 984.663 | 39.7745 | 37.334
2020-12-18 12:15:00 | 6.846 | 1.438 | 7.12 | 24.52 | 7.6184 | 23.0978 | 7.927 | 355.1 | -0.349 | 984.663 | 39.1936 | 44.2708
2020-12-18 12:30:00 | 7.203 | 6.928 | 7.82 | 29.57 | 8.3674 | 27.8549 | 7.935 | 0.313 | -0.365 | 984.365 | 40.2529 | 47.1114
2020-12-18 12:45:00 | 6.782 | 8.87 | 8.1 | 31.81 | 8.667 | 29.965 | 7.461 | 0.823 | -0.228 | 984.065 | 39.4328 | 46.3946
2020-12-18 13:00:00 | 6.509 | 9.54 | 8.22 | 32.99 | 8.7954 | 31.0766 | 7.502 | 5.783 | -0.263 | 984.065 | 39.5694 | 39.8711
2020-12-18 13:15:00 | 6.182 | 7.736 | 6.841 | 32.85 | 7.3199 | 30.9447 | 7.151 | 0.172 | -0.065 | 984.32 | 38.3391 | 42.173
2020-12-18 13:30:00 | 5.886 | 8.98 | 7.491 | 32.92 | 8.0154 | 31.0106 | 7.395 | 3.93 | -0.012 | 984.353 | 36.8008 | 37.5829
2020-12-18 13:45:00 | 4.443 | 6.074 | 6.747 | 37.86 | 7.2193 | 35.6641 | 6.514 | 355 | 0.216 | 984.662 | 39.5687 | 39.0952
2020-12-18 14:00:00 | 5.319 | 3.496 | 6.662 | 30.72 | 7.1283 | 28.9382 | 7.138 | 352.1 | 0.327 | 985.086 | 36.834 | 42.6016
2020-12-18 14:15:00 | 6.11 | 8.72 | 7.383 | 27.42 | 7.8998 | 25.8296 | 7.428 | 8.31 | 0.212 | 984.81 | 34.784 | 43.0303
2020-12-18 14:30:00 | 6.649 | 358.7 | 7.894 | 29.15 | 8.4466 | 27.4593 | 7.68 | 348.7 | 0.186 | 984.337 | 31.1616 | 48.2473
2020-12-18 14:45:00 | 5.842 | 5.27 | 7.823 | 29.94 | 8.3706 | 28.2035 | 7.81 | 356.9 | -0.002 | 984.647 | 31.9148 | 54.174
2020-12-18 15:00:00 | 6.276 | 7.511 | 7.365 | 26.05 | 7.8806 | 24.5391 | 7.148 | 3.009 | -0.169 | 984.365 | 31.9152 | 44.5968
2020-12-18 15:15:00 | 6.075 | 10.4 | 7.501 | 28.76 | 8.0261 | 27.0919 | 7.81 | 1.738 | -0.067 | 984.514 | 31.8811 | 47.6118
2020-12-18 15:30:00 | 5.471 | 4.164 | 7.22 | 24.99 | 7.7254 | 23.5406 | 7.39 | 351 | -0.175 | 984.662 | 32.7353 | 47.6582
2020-12-18 15:45:00 | 6.315 | 1.465 | 7.127 | 24.41 | 7.6259 | 22.9942 | 8.1 | 356.2 | -0.272 | 984.662 | 33.7263 | 46.5293
2020-12-18 16:00:00 | 5.873 | 353.3 | 6.841 | 22.96 | 7.3199 | 21.6283 | 7.792 | 353.6 | -0.379 | 984.662 | 36.1182 | 44.5894
2020-12-18 16:15:00 | 6.003 | 4.289 | 6.775 | 29.93 | 7.2492 | 28.1941 | 7.477 | 355.2 | -0.501 | 984.365 | 38.4084 | 35.6131
2020-12-18 16:30:00 | 7.313 | 7.037 | 8.04 | 26.3 | 8.6028 | 24.7746 | 7.683 | 7.651 | -0.673 | 984.4 | 41.0855 | 34.92
2020-12-18 16:45:00 | 6.332 | 2.45 | 6.736 | 24.81 | 7.2075 | 23.371 | 8.02 | 2.02 | -0.869 | 984.516 | 44.0267 | 28.4688
2020-12-18 17:00:00 | 5.684 | 3.534 | 6.192 | 22.81 | 6.6254 | 21.487 | 8.19 | 359.7 | -1.027 | 984.369 | 47.65 | 28.2397
2020-12-18 17:15:00 | 6.182 | 8.78 | 6.511 | 25.91 | 6.9668 | 24.4072 | 6.769 | 4.415 | -1.293 | 984.072 | 52.4355 | 30.5675
2020-12-18 17:30:00 | 6.588 | 7.636 | 6.458 | 23.66 | 6.9101 | 22.2877 | 6.514 | 6.742 | -1.496 | 984.369 | 55.7921 | 28.5722
2020-12-18 17:45:00 | 6.072 | 9.21 | 6.268 | 23.81 | 6.7068 | 22.429 | 7.293 | 5.396 | -1.609 | 984.369 | 58.5299 | 31.7904
2020-12-18 18:00:00 | 6.624 | 7.48 | 7.365 | 24.78 | 7.8806 | 23.3428 | 6.308 | 6.139 | -1.728 | 984.369 | 61.2649 | 31.953
2020-12-18 18:15:00 | 6.307 | 7.647 | 6.767 | 25.67 | 7.2407 | 24.1811 | 6.376 | 7.277 | -1.854 | 984.369 | 63.2479 | 31.3323
2020-12-18 18:30:00 | 5.791 | 8.97 | 6.782 | 24.14 | 7.2567 | 22.7399 | 5.768 | 11.38 | -2.052 | 984.369 | 65.2308 | 24.1347
2020-12-18 18:45:00 | 6.133 | 8.89 | 7.314 | 25.06 | 7.826 | 23.6065 | 6.262 | 11.03 | -2.161 | 984.667 | 67.1795 | 21.4523
2020-12-18 19:00:00 | 5.273 | 10.03 | 7.634 | 26.82 | 8.1684 | 25.2644 | 6.356 | 14.08 | -2.315 | 984.37 | 69.7436 | 19.0137
2020-12-18 19:15:00 | 4.129 | 14.89 | 7.079 | 28.99 | 7.5745 | 27.3086 | 6.601 | 19.7 | -2.392 | 984.667 | 71.453 | 15.8878
2020-12-18 19:30:00 | 2.842 | 17.39 | 5.995 | 30.86 | 6.4146 | 29.0701 | 6.078 | 22.2 | -2.543 | 984.816 | 72.5523 | 11.9528
2020-12-18 19:45:00 | 3.135 | 19.18 | 5.167 | 33.23 | 5.5287 | 31.3027 | 5.368 | 24.75 | -2.598 | 984.816 | 73.924 | 6.3256
2020-12-18 20:00:00 | 2.265 | 25.62 | 4.29 | 38.75 | 4.5903 | 36.5025 | 4.273 | 30.8 | -2.678 | 985.138 | 75.0199 | 3.7798
2020-12-18 20:15:00 | 2.301 | 32.06 | 4.149 | 46.33 | 4.4394 | 43.6429 | 4.561 | 38.15 | -2.714 | 985.321 | 74.7478 | 2.0285
2020-12-18 20:30:00 | 2.339 | 26.83 | 3.99 | 40.58 | 4.2693 | 38.2264 | 4.247 | 31.43 | -2.64 | 985.685 | 75.5685 | 1.9546
2020-12-18 20:45:00 | 2.551 | 24.43 | 4.213 | 39.65 | 4.5079 | 37.3503 | 4.51 | 28.72 | -2.748 | 985.645 | 77.5517 | 1.4114
2020-12-18 21:00:00 | 1.62 | 24.02 | 3.121 | 41.8 | 3.3395 | 39.3756 | 3.695 | 30.49 | -2.776 | 986.004 | 79.33 | 0.93849
2020-12-18 21:15:00 | 0.419 | 21.29 | 1.973 | 30.7 | 2.1111 | 28.9194 | 2.633 | 27.21 | -2.897 | 986.382 | 80.3585 | 0.096066
2020-12-18 21:30:00 | 1.06 | 27.42 | 2.012 | 34.14 | 2.1528 | 32.1599 | 2.246 | 30.99 | -2.917 | 986.633 | 80.7756 | -0.26233
2020-12-18 21:45:00 | 0.037 | 33.8 | 1.141 | 33.9 | 1.2209 | 31.9338 | 1.109 | 31.41 | -3.004 | 986.896 | 81.5321 | -0.28081
2020-12-18 22:00:00 | 1.656 | 41.03 | 2.699 | 52.32 | 2.8879 | 49.2854 | 3.096 | 46.83 | -2.962 | 987.168 | 81.9425 | -0.26233
2020-12-18 22:15:00 | 1.449 | 42.52 | 2.638 | 52.53 | 2.8227 | 49.4833 | 2.628 | 45.18 | -3.053 | 987.353 | 81.8057 | -0.31776
2020-12-18 22:30:00 | 1.45 | 38.03 | 1.843 | 56.63 | 1.972 | 53.3455 | 1.981 | 42.64 | -3.007 | 987.354 | 81.9425 | -0.29928
2020-12-18 22:45:00 | 0.613 | 24.96 | 1.408 | 56.46 | 1.5066 | 53.1853 | 1.052 | 42.18 | -3.03 | 987.354 | 82.0793 | -0.29928
2020-12-18 23:00:00 | 1.427 | 345.8 | 1.469 | 48.78 | 1.5718 | 45.9508 | 1.614 | 35.94 | -3.132 | 987.354 | 82.4213 | -0.28081
2020-12-18 23:15:00 | 1.402 | 2.618 | 2.29 | 12.5 | 2.4503 | 11.775 | 1.734 | 12.92 | -3.229 | 987.503 | 83.0369 | -0.29928
2020-12-18 23:30:00 | 1.683 | 0.589 | 1.605 | 19.73 | 1.7173 | 18.5857 | 1.678 | 4.941 | -3.336 | 987.354 | 83.9945 | -0.29928
2020-12-18 23:45:00 | 2.298 | 3.757 | 2.607 | 19.77 | 2.7895 | 18.6233 | 2.309 | 14.46 | -3.268 | 987.354 | 83.0369 | -0.29928