## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-19 00:00:00 | 2.416 | 4.62 | 2.894 | 16.49 | 3.0966 | 15.5336 | 2.101 | 6.993 | -3.367 | 987.503 | 84.4049 | -0.29928
2020-12-19 00:15:00 | 2.737 | 1.949 | 2.712 | 20.84 | 2.9018 | 19.6313 | 2.526 | 7.01 | -3.639 | 987.354 | 85.9097 | 0.18474
2020-12-19 00:30:00 | 2.852 | 1.367 | 2.748 | 20.67 | 2.9404 | 19.4711 | 2.811 | 6.992 | -3.765 | 987.354 | 86.7989 | 0.60226
2020-12-19 00:45:00 | 2.653 | 2.65 | 3.303 | 20.86 | 3.5342 | 19.6501 | 2.455 | 5.004 | -3.811 | 987.354 | 86.7989 | 0.2143
2020-12-19 01:00:00 | 2.753 | 2.49 | 3.31 | 20.25 | 3.5417 | 19.0755 | 3.056 | 4.928 | -3.684 | 987.056 | 85.3625 | 0.099761
2020-12-19 01:15:00 | 3.131 | 0.098 | 3.037 | 18.49 | 3.2496 | 17.4176 | 3.374 | 2.151 | -3.718 | 987.056 | 84.5417 | 3.7253e-09
2020-12-19 01:30:00 | 2.737 | 49.59 | 3.216 | 16.18 | 3.4411 | 15.2416 | 3.601 | 2.149 | -3.783 | 986.908 | 85.0547 | 0.12562
2020-12-19 01:45:00 | 3.6 | 351.4 | 4.139 | 1.702 | 4.4287 | 1.6033 | 3.59 | 1.426 | -3.62 | 987.056 | 83.2421 | 0.26972
2020-12-19 02:00:00 | 3.406 | 348.9 | 4.08 | 5.642 | 4.3656 | 5.3148 | 4.314 | 355.1 | -3.712 | 986.759 | 83.3789 | 0.85351
2020-12-19 02:15:00 | 3.187 | 345.5 | 3.955 | 7.962 | 4.2318 | 7.5002 | 4.321 | 354.8 | -3.928 | 986.759 | 83.9951 | 0.79809
2020-12-19 02:30:00 | 3.268 | 339.9 | 3.988 | 8.06 | 4.2672 | 7.5925 | 4.041 | 345.3 | -3.859 | 987.056 | 83.4474 | 0.75375
2020-12-19 02:45:00 | 3.164 | 339.4 | 3.98 | 9.11 | 4.2586 | 8.5816 | 4.107 | 345.1 | -3.972 | 987.056 | 84.3375 | 0.72789
2020-12-19 03:00:00 | 3.508 | 343.3 | 4.011 | 66.26 | 4.2918 | 62.4169 | 4.056 | 345.8 | -4.118 | 986.759 | 84.4734 | 1.6257
2020-12-19 03:15:00 | 3.312 | 335.8 | 3.942 | 357.4 | 4.2179 | 336.671 | 3.761 | 339.9 | -3.968 | 986.759 | 85.0916 | 1.4373
2020-12-19 03:30:00 | 3.322 | 337.5 | 4.203 | 351.5 | 4.4972 | 331.113 | 4.309 | 338.6 | -4.157 | 986.759 | 85.3671 | 2.0839
2020-12-19 03:45:00 | 3.457 | 342.3 | 4.177 | 357.1 | 4.4694 | 336.388 | 4.535 | 339.2 | -4.265 | 986.461 | 86.1222 | 1.9878
2020-12-19 04:00:00 | 3.08 | 339.2 | 3.392 | 351.2 | 3.6294 | 330.83 | 3.163 | 340.7 | -4.152 | 986.164 | 85.7812 | 1.0826
2020-12-19 04:15:00 | 2.781 | 340.3 | 3.425 | 4.82 | 3.6648 | 4.5404 | 3.354 | 341.9 | -4.061 | 986.461 | 83.4579 | 0.062812
2020-12-19 04:30:00 | 3.008 | 347.6 | 3.725 | 0.169 | 3.9857 | 0.1592 | 3.42 | 344 | -4.035 | 986.312 | 84.2124 | -0.018474
2020-12-19 04:45:00 | 2.758 | 354.5 | 3.451 | 8.47 | 3.6926 | 7.9787 | 3.32 | 350.4 | -4.041 | 986.164 | 85.0305 | 0.12562
2020-12-19 05:00:00 | 3.174 | 356.8 | 3.236 | 14.56 | 3.4625 | 13.7155 | 3.402 | 351.8 | -4.082 | 986.312 | 84.0719 | 0.49511
2020-12-19 05:15:00 | 3.021 | 351.6 | 3.144 | 9.99 | 3.3641 | 9.4106 | 3.522 | 351.8 | -4.097 | 986.164 | 84.0373 | 1.2267
2020-12-19 05:30:00 | 3.245 | 38.77 | 3.589 | 21.38 | 3.8402 | 20.14 | 4.247 | 352.7 | -4.263 | 986.164 | 84.932 | 2.4349
2020-12-19 05:45:00 | 3.547 | 24.67 | 3.827 | 20.11 | 4.0949 | 18.9436 | 4.454 | 353.2 | -4.286 | 986.164 | 82.6397 | 2.9374
2020-12-19 06:00:00 | 3.059 | 10.16 | 4.205 | 32.22 | 4.4993 | 30.3512 | 4.326 | 353.9 | -4.404 | 986.015 | 78.3296 | 2.313
2020-12-19 06:15:00 | 2.686 | 19.4 | 3.96 | 39.84 | 4.2372 | 37.5293 | 4.836 | 354.2 | -4.333 | 985.866 | 61.5012 | 2.5014
2020-12-19 06:30:00 | 2.893 | 25.67 | 3.811 | 48.15 | 4.0778 | 45.3573 | 4.591 | 23.13 | -4.236 | 985.717 | 43.6462 | 2.2206
2020-12-19 06:45:00 | 3.697 | 30.08 | 4.581 | 54.45 | 4.9017 | 51.2919 | 4.79 | 27.83 | -3.923 | 985.568 | 31.4691 | 2.3093
2020-12-19 07:00:00 | 2.625 | 30.42 | 3.346 | 47.79 | 3.5802 | 45.0182 | 3.662 | 35.22 | -3.551 | 985.866 | 23.8747 | 1.2378
2020-12-19 07:15:00 | 2.799 | 47.1 | 3.101 | 65.94 | 3.3181 | 62.1155 | 3.634 | 51.59 | -3.354 | 986.164 | 18.6743 | 0.55792
2020-12-19 07:30:00 | 2.628 | 57.63 | 3.466 | 70.41 | 3.7086 | 66.3262 | 4.337 | 63.76 | -2.93 | 986.164 | 15.1847 | 0.38426
2020-12-19 07:45:00 | 2.617 | 73.33 | 3.548 | 91 | 3.7964 | 85.722 | 4.222 | 74.62 | -2.448 | 986.461 | 13.4747 | 0.31037
2020-12-19 08:00:00 | 1.176 | 89 | 2.371 | 113.3 | 2.537 | 106.729 | 3.361 | 87.3 | -1.867 | 986.551 | 15.0476 | 0.18105
2020-12-19 08:15:00 | 1.482 | 80.3 | 2.784 | 105 | 2.9789 | 98.91 | 3.608 | 88.6 | -1.387 | 986.759 | 16.6843 | 0.081287
2020-12-19 08:30:00 | 0.411 | 98.3 | 0.991 | 133.3 | 1.0604 | 125.569 | 2.798 | 100.9 | -1.062 | 987.195 | 18.188 | 0.073897
2020-12-19 08:45:00 | 0.887 | 123.4 | 2.091 | 159.8 | 2.2374 | 150.532 | 2.544 | 117 | -1.197 | 987.641 | 21.6032 | 0.62812
2020-12-19 09:00:00 | 1.465 | 132.8 | 2.38 | 158.2 | 2.5466 | 149.024 | 2.21 | 127.1 | -1.443 | 987.945 | 23.6492 | 0.82395
2020-12-19 09:15:00 | 1.408 | 110.6 | 1.812 | 152.9 | 1.9388 | 144.032 | 2.21 | 107.7 | -0.596 | 988.23 | 24.6711 | 1.053
2020-12-19 09:30:00 | 2.144 | 122 | 2.104 | 146.5 | 2.2513 | 138.003 | 2.083 | 115.7 | -0.912 | 988.228 | 27.3684 | 1.5555
2020-12-19 09:45:00 | 2.091 | 158.4 | 1.922 | 178.3 | 2.0565 | 167.959 | 1.904 | 146.8 | -0.43 | 988.532 | 30.1966 | 0.92741
2020-12-19 10:00:00 | 3.317 | 160.5 | 3.571 | 178.5 | 3.821 | 168.147 | 3.616 | 160.1 | -0.75 | 988.522 | 38.1213 | 1.6331
2020-12-19 10:15:00 | 4.686 | 157.4 | 4.226 | 172.3 | 4.5218 | 162.307 | 3.672 | 163.7 | -0.475 | 988.522 | 33.7148 | 2.276
2020-12-19 10:30:00 | 5.12 | 152.8 | 4.722 | 168.4 | 5.0525 | 158.633 | 4.433 | 156.7 | -1.37 | 988.224 | 42.5278 | 2.0617
2020-12-19 10:45:00 | 4.254 | 160.4 | 4.19 | 172.4 | 4.4833 | 162.401 | 3.229 | 169.1 | -1.248 | 988.132 | 38.6337 | 1.4003
2020-12-19 11:00:00 | 4.134 | 156.3 | 3.937 | 169 | 4.2126 | 159.198 | 3.096 | 164.2 | -0.904 | 988.15 | 37.4381 | 1.3117
2020-12-19 11:15:00 | 4.66 | 147.2 | 4.175 | 163.2 | 4.4672 | 153.734 | 3.137 | 157.8 | -0.913 | 987.953 | 36.6866 | 1.8474
2020-12-19 11:30:00 | 4.903 | 152.7 | 4.645 | 169.1 | 4.9702 | 159.292 | 3.955 | 162.8 | -0.519 | 987.646 | 36.0717 | 2.6418
2020-12-19 11:45:00 | 4.938 | 153.6 | 4.55 | 166.6 | 4.8685 | 156.937 | 3.792 | 161.2 | -0.573 | 987.345 | 32.0068 | 2.1578
2020-12-19 12:00:00 | 4.859 | 149.1 | 4.407 | 162.2 | 4.7155 | 152.792 | 3.621 | 156.6 | -0.308 | 987.355 | 27.3954 | 2.3388
2020-12-19 12:15:00 | 4.946 | 149.4 | 4.63 | 162.4 | 4.9541 | 152.981 | 3.708 | 155.4 | -0.171 | 987.056 | 29.7865 | 2.9374
2020-12-19 12:30:00 | 5.04 | 145.1 | 4.901 | 160.6 | 5.2441 | 151.285 | 4.028 | 151.6 | 0.089 | 986.74 | 27.737 | 2.4608
2020-12-19 12:45:00 | 4.737 | 143.6 | 4.617 | 156.9 | 4.9402 | 147.8 | 4.011 | 151.1 | 0.555 | 986.144 | 26.1657 | 1.9398
2020-12-19 13:00:00 | 4.816 | 153.7 | 4.512 | 167.5 | 4.8278 | 157.785 | 3.799 | 160.4 | 0.19 | 986.323 | 28.1816 | 1.4668
2020-12-19 13:15:00 | 5.056 | 148.3 | 4.604 | 160.4 | 4.9263 | 151.097 | 4.041 | 154.3 | 0.431 | 986.421 | 28.7682 | 3.4436
2020-12-19 13:30:00 | 5.107 | 151.7 | 4.844 | 164.2 | 5.1831 | 154.676 | 3.944 | 162.2 | 0.555 | 986.446 | 29.2487 | 4.2675
2020-12-19 13:45:00 | 4.767 | 151.2 | 4.699 | 164.6 | 5.0279 | 155.053 | 4.161 | 159.8 | 0.591 | 985.851 | 28.4271 | 3.7392
2020-12-19 14:00:00 | 5.02 | 153.7 | 5.036 | 166.6 | 5.3885 | 156.937 | 4.217 | 161.6 | 0.52 | 985.406 | 26.3083 | 3.2108
2020-12-19 14:15:00 | 5.191 | 146.7 | 4.901 | 164.4 | 5.2441 | 154.865 | 4.281 | 152.8 | 1.056 | 985.837 | 25.4892 | 2.7896
2020-12-19 14:30:00 | 5.005 | 174.6 | 4.816 | 186.6 | 5.1531 | 175.777 | 4.235 | 182.5 | 1.087 | 985.994 | 23.6429 | 4.1161
2020-12-19 14:45:00 | 4.943 | 149.8 | 4.901 | 162 | 5.2441 | 152.604 | 4.586 | 157.4 | 1.209 | 985.851 | 25.2847 | 3.4362
2020-12-19 15:00:00 | 4.895 | 155.7 | 4.504 | 172.4 | 4.8193 | 162.401 | 3.98 | 160 | 1.171 | 985.851 | 30.2043 | 3.0519
2020-12-19 15:15:00 | 4.882 | 154.2 | 4.507 | 171.8 | 4.8225 | 161.836 | 3.949 | 161.3 | 1.245 | 985.849 | 30.9569 | 2.4792
2020-12-19 15:30:00 | 4.806 | 152.3 | 4.819 | 167.3 | 5.1563 | 157.597 | 4.377 | 159.6 | 1.047 | 985.851 | 32.5281 | 2.9263
2020-12-19 15:45:00 | 4.246 | 162.5 | 4.006 | 169.1 | 4.2864 | 159.292 | 3.096 | 169.9 | 1.304 | 985.255 | 31.434 | 4.0089
2020-12-19 16:00:00 | 5.191 | 155.7 | 5.133 | 171.2 | 5.4923 | 161.27 | 4.561 | 159.8 | 0.989 | 984.808 | 32.1198 | 6.8022
2020-12-19 16:15:00 | 5.148 | 155.1 | 5.118 | 172.8 | 5.4763 | 162.778 | 4.935 | 160 | 0.979 | 984.365 | 32.872 | 11.5353
2020-12-19 16:30:00 | 5.692 | 149.9 | 5.849 | 164.5 | 6.2584 | 154.959 | 5.233 | 156.4 | 0.794 | 984.217 | 31.5735 | 12.278
2020-12-19 16:45:00 | 5.099 | 150.4 | 5.435 | 168.2 | 5.8155 | 158.444 | 5.276 | 158.9 | 0.65 | 983.919 | 32.4672 | 12.943
2020-12-19 17:00:00 | 4.502 | 154.7 | 4.829 | 171.9 | 5.167 | 161.93 | 4.904 | 159.7 | 0.516 | 984.003 | 33.3275 | 11.6498
2020-12-19 17:15:00 | 5.097 | 163.1 | 4.793 | 178.9 | 5.1285 | 168.524 | 4.385 | 165.3 | 0.316 | 983.775 | 34.6601 | 10.8296
2020-12-19 17:30:00 | 4.576 | 154.3 | 4.527 | 172.6 | 4.8439 | 162.589 | 4.642 | 159.3 | 0.2 | 983.775 | 35.2073 | 10.8185
2020-12-19 17:45:00 | 4.609 | 154.8 | 5.067 | 172.9 | 5.4217 | 162.872 | 5.078 | 158 | 0.013 | 983.775 | 35.4811 | 12.6031
2020-12-19 18:00:00 | 4.78 | 157.5 | 4.931 | 169.6 | 5.2762 | 159.763 | 4.925 | 162.6 | -0.013 | 983.775 | 34.8658 | 18.4114
2020-12-19 18:15:00 | 5.893 | 157.8 | 5.852 | 170.4 | 6.2616 | 160.517 | 5.862 | 162.1 | -0.121 | 983.775 | 35.4811 | 21.1493
2020-12-19 18:30:00 | 5.378 | 160.6 | 5.412 | 174.2 | 5.7908 | 164.096 | 5.635 | 161.1 | -0.073 | 983.775 | 35.5153 | 19.3795
2020-12-19 18:45:00 | 5.515 | 157.3 | 5.289 | 165.6 | 5.6592 | 155.995 | 4.747 | 167.1 | -0.101 | 984.221 | 36.5066 | 16.2536
2020-12-19 19:00:00 | 4.987 | 154.1 | 5.489 | 172.8 | 5.8732 | 162.778 | 6.471 | 158.8 | -0.249 | 984.221 | 37.7375 | 15.075
2020-12-19 19:15:00 | 4.637 | 160.9 | 4.755 | 178.8 | 5.0879 | 168.43 | 5.294 | 162.2 | -0.175 | 984.072 | 38.6946 | 11.5612
2020-12-19 19:30:00 | 5.04 | 156.1 | 4.819 | 177.6 | 5.1563 | 167.299 | 5.926 | 161.6 | -0.137 | 984.369 | 39.5149 | 11.273
2020-12-19 19:45:00 | 4.742 | 157.1 | 4.847 | 178.6 | 5.1863 | 168.241 | 5.745 | 162 | -0.124 | 984.369 | 40.0615 | 11.9048
2020-12-19 20:00:00 | 5.183 | 152 | 5.315 | 173.8 | 5.6871 | 163.72 | 6.267 | 160.6 | -0.147 | 984.369 | 41.0886 | 12.6659
2020-12-19 20:15:00 | 5.217 | 159.5 | 5.256 | 175.8 | 5.6239 | 165.604 | 5.582 | 163.5 | -0.083 | 984.369 | 40.5401 | 15.4962
2020-12-19 20:30:00 | 4.852 | 162.8 | 4.878 | 176.1 | 5.2195 | 165.886 | 4.752 | 165.9 | -0.094 | 984.369 | 40.1993 | 14.6944
2020-12-19 20:45:00 | 4.89 | 155.3 | 5.144 | 171.7 | 5.5041 | 161.741 | 5.707 | 157.2 | -0.217 | 984.369 | 41.2244 | 15.293
2020-12-19 21:00:00 | 5.107 | 161.4 | 5.095 | 181.4 | 5.4516 | 170.879 | 4.892 | 160.2 | -0.075 | 984.369 | 41.0198 | 14.8089
2020-12-19 21:15:00 | 4.8 | 158.9 | 5.105 | 173.7 | 5.4623 | 163.625 | 5.541 | 162.2 | -0.181 | 984.518 | 40.4731 | 13.4197
2020-12-19 21:30:00 | 4.987 | 156.1 | 5.225 | 172.9 | 5.5907 | 162.872 | 5.73 | 162.2 | -0.276 | 984.518 | 42.2494 | 12.0711
2020-12-19 21:45:00 | 5.337 | 160.5 | 5.951 | 173 | 6.3676 | 162.966 | 6.394 | 168.1 | -0.469 | 984.369 | 44.7813 | 12.145
2020-12-19 22:00:00 | 5.291 | 158.1 | 5.744 | 168.4 | 6.1461 | 158.633 | 6.061 | 168.8 | -0.553 | 984.369 | 45.6384 | 12.145
2020-12-19 22:15:00 | 4.905 | 155.3 | 5.785 | 165.6 | 6.1899 | 155.995 | 6.005 | 164.6 | -0.733 | 984.369 | 47.1105 | 13.0798
2020-12-19 22:30:00 | 5.199 | 158.8 | 5.732 | 167.8 | 6.1332 | 158.068 | 6.303 | 170.8 | -0.771 | 984.221 | 47.1795 | 12.4036
2020-12-19 22:45:00 | 5.007 | 160.2 | 5.77 | 167.7 | 6.1739 | 157.973 | 6.41 | 172.2 | -0.996 | 984.369 | 47.1795 | 14.2473
2020-12-19 23:00:00 | 4.79 | 157.8 | 5.517 | 166.7 | 5.9032 | 157.031 | 6.346 | 169.6 | -1.103 | 984.369 | 47.0427 | 15.2191
2020-12-19 23:15:00 | 5.222 | 159 | 6.248 | 168.6 | 6.6854 | 158.821 | 7.107 | 170.3 | -1.044 | 984.369 | 45.812 | 17.5875
2020-12-19 23:30:00 | 4.887 | 157.7 | 5.665 | 166.9 | 6.0616 | 157.22 | 6.206 | 167.6 | -1.021 | 984.221 | 44.9914 | 16.1502
2020-12-19 23:45:00 | 4.589 | 155.9 | 5.328 | 165.5 | 5.701 | 155.901 | 5.951 | 166.5 | -1.088 | 984.369 | 44.7179 | 14.6501