## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-20 00:00:00 | 4.177 | 160.1 | 4.857 | 167.6 | 5.197 | 157.879 | 5.826 | 172.4 | -1.081 | 984.221 | 45.2649 | 13.7485
2020-12-20 00:15:00 | 4.144 | 164.8 | 4.717 | 173.6 | 5.0472 | 163.531 | 5.676 | 174.9 | -1.028 | 984.369 | 46.906 | 13.8852
2020-12-20 00:30:00 | 4.106 | 162.9 | 4.694 | 170.2 | 5.0226 | 160.328 | 5.964 | 173 | -0.95 | 984.369 | 46.8718 | 14.9789
2020-12-20 00:45:00 | 5.074 | 154.7 | 5.65 | 165.6 | 6.0455 | 155.995 | 5.826 | 164.2 | -1.009 | 984.072 | 47.3846 | 18.5629
2020-12-20 01:00:00 | 5.127 | 155.9 | 5.645 | 166.6 | 6.0401 | 156.937 | 6.323 | 167.5 | -1.058 | 984.072 | 47.8632 | 18.3745
2020-12-20 01:15:00 | 5.531 | 156.9 | 5.854 | 167.2 | 6.2638 | 157.502 | 6.252 | 167.7 | -1.085 | 983.775 | 48 | 19.978
2020-12-20 01:30:00 | 5.801 | 155.8 | 6.143 | 165.4 | 6.573 | 155.807 | 6.318 | 166.7 | -1.054 | 983.626 | 49.094 | 20.7761
2020-12-20 01:45:00 | 5.638 | 151.4 | 6.028 | 162.3 | 6.45 | 152.887 | 6.275 | 162.6 | -1.2 | 983.775 | 49.5727 | 19.6677
2020-12-20 02:00:00 | 5.217 | 150.8 | 5.816 | 160.7 | 6.2231 | 151.379 | 6.3 | 162.7 | -1.32 | 983.775 | 51.4188 | 19.8894
2020-12-20 02:15:00 | 4.788 | 147.7 | 5.609 | 158.3 | 6.0016 | 149.119 | 5.854 | 157.3 | -1.264 | 983.775 | 52.6838 | 19.8192
2020-12-20 02:30:00 | 5.48 | 145.2 | 6.015 | 158.7 | 6.436 | 149.495 | 6.448 | 156.5 | -1.374 | 983.477 | 53.0598 | 18.8622
2020-12-20 02:45:00 | 5.201 | 147.4 | 5.847 | 159.4 | 6.2563 | 150.155 | 6.448 | 158.2 | -1.38 | 983.477 | 53.6752 | 20.0482
2020-12-20 03:00:00 | 5.181 | 147.8 | 5.813 | 161.5 | 6.2199 | 152.133 | 6.165 | 159.2 | -1.3 | 983.329 | 54.2222 | 19.8118
2020-12-20 03:15:00 | 5.04 | 144.1 | 5.642 | 159.4 | 6.0369 | 150.155 | 5.712 | 154.7 | -1.455 | 983.18 | 54.2906 | 15.9876
2020-12-20 03:30:00 | 4.77 | 149 | 5.328 | 167.1 | 5.701 | 157.408 | 5.462 | 154.9 | -1.347 | 983.18 | 54.1539 | 15.4408
2020-12-20 03:45:00 | 5.778 | 155 | 6.107 | 167.5 | 6.5345 | 157.785 | 6.155 | 162.9 | -1.538 | 983.18 | 53.1966 | 20.8611
2020-12-20 04:00:00 | 6.052 | 152.1 | 6.55 | 164.5 | 7.0085 | 154.959 | 6.412 | 160.3 | -1.314 | 982.883 | 52.4103 | 20.4916
2020-12-20 04:15:00 | 6.723 | 151.6 | 6.816 | 162.8 | 7.2931 | 153.358 | 6.46 | 160 | -1.021 | 983.031 | 50.6667 | 16.952
2020-12-20 04:30:00 | 4.788 | 155.5 | 5.174 | 167.3 | 5.5362 | 157.597 | 5.37 | 163.6 | -1.222 | 982.883 | 50.9402 | 16.6305
2020-12-20 04:45:00 | 4.849 | 156.2 | 5.363 | 169.3 | 5.7384 | 159.481 | 4.948 | 164.7 | -1.115 | 982.883 | 51.1453 | 15.6181
2020-12-20 05:00:00 | 5.921 | 154.8 | 6.499 | 165.9 | 6.9539 | 156.278 | 5.961 | 164.6 | -1.27 | 982.585 | 51.1453 | 20.3882
2020-12-20 05:15:00 | 6.705 | 149.8 | 7.189 | 160.2 | 7.6922 | 150.908 | 6.873 | 157.8 | -1.165 | 982.585 | 51.7607 | 20.414
2020-12-20 05:30:00 | 6.276 | 148.7 | 6.816 | 159.8 | 7.2931 | 150.532 | 6.557 | 158.8 | -1.405 | 982.585 | 51.7265 | 22.6346
2020-12-20 05:45:00 | 6.363 | 145 | 6.713 | 160.1 | 7.1829 | 150.814 | 6.842 | 154.4 | -1.395 | 982.307 | 52.1368 | 24.5559
2020-12-20 06:00:00 | 6.391 | 149.5 | 6.839 | 162.4 | 7.3177 | 152.981 | 6.921 | 158.6 | -1.44 | 982.437 | 52.171 | 22.4831
2020-12-20 06:15:00 | 5.934 | 155 | 6.483 | 164.4 | 6.9368 | 154.865 | 6.476 | 165.1 | -1.354 | 982.586 | 51.6239 | 19.8339
2020-12-20 06:30:00 | 5.858 | 151.7 | 6.205 | 163.8 | 6.6394 | 154.3 | 6.117 | 162 | -1.371 | 982.437 | 52.2393 | 20.8574
2020-12-20 06:45:00 | 5.651 | 152.1 | 6.038 | 166.6 | 6.4607 | 156.937 | 6.224 | 161.4 | -1.349 | 982.586 | 51.5556 | 19.095
2020-12-20 07:00:00 | 5.168 | 157 | 5.407 | 171.3 | 5.7855 | 161.365 | 5.811 | 163 | -1.467 | 982.586 | 51.4872 | 17.9865
2020-12-20 07:15:00 | 5.436 | 156.6 | 5.657 | 169 | 6.053 | 159.198 | 5.455 | 165.5 | -1.272 | 982.883 | 51.7609 | 17.4471
2020-12-20 07:30:00 | 5.406 | 152.8 | 5.734 | 168.5 | 6.1354 | 158.727 | 4.991 | 165.1 | -1.211 | 983.034 | 51.3504 | 16.0208
2020-12-20 07:45:00 | 4.517 | 158.7 | 5.279 | 171.8 | 5.6485 | 161.836 | 5.205 | 167.5 | -1.379 | 983.181 | 52.3761 | 16.1058
2020-12-20 08:00:00 | 4.678 | 156.1 | 5.172 | 171.7 | 5.534 | 161.741 | 5.21 | 163.9 | -1.336 | 983.181 | 52.7863 | 15.7105
2020-12-20 08:15:00 | 5.273 | 155.8 | 5.931 | 165.4 | 6.3462 | 155.807 | 5.264 | 165 | -0.989 | 983.478 | 52.3079 | 15.1008
2020-12-20 08:30:00 | 4.331 | 153.7 | 5.021 | 164.6 | 5.3725 | 155.053 | 4.854 | 164.2 | -0.983 | 983.775 | 51.8291 | 15.6477
2020-12-20 08:45:00 | 4.165 | 150.4 | 4.947 | 163.5 | 5.2933 | 154.017 | 4.456 | 160.5 | -0.727 | 984.37 | 51.0685 | 16.0947
2020-12-20 09:00:00 | 5.896 | 138.4 | 5.967 | 153.5 | 6.3847 | 144.597 | 5.442 | 151.4 | -0.681 | 984.37 | 51.3417 | 15.3632
2020-12-20 09:15:00 | 3.963 | 137.7 | 4.261 | 155.4 | 4.5593 | 146.387 | 4.431 | 148.4 | -0.297 | 984.816 | 50.1111 | 9.5992
2020-12-20 09:30:00 | 2.638 | 147.3 | 2.912 | 162.3 | 3.1158 | 152.887 | 2.923 | 151.9 | 0.505 | 985.124 | 48.1173 | 8.8122
2020-12-20 09:45:00 | 4.484 | 134.5 | 4.392 | 154.1 | 4.6994 | 145.162 | 4.12 | 143.3 | 0.446 | 985.258 | 49.889 | 9.178
2020-12-20 10:00:00 | 4.754 | 150.7 | 4.371 | 165.2 | 4.677 | 155.618 | 3.091 | 160.7 | 0.363 | 985.255 | 49.5438 | 9.141
2020-12-20 10:15:00 | 4.576 | 146.3 | 4.279 | 161.5 | 4.5785 | 152.133 | 3.422 | 154.9 | 0.483 | 985.257 | 48.3149 | 6.4771
2020-12-20 10:30:00 | 4.006 | 153.4 | 3.765 | 172.8 | 4.0286 | 162.778 | 3.076 | 160.6 | 1.288 | 985.505 | 47.8649 | 3.9387
2020-12-20 10:45:00 | 4.101 | 153.4 | 3.635 | 173.9 | 3.8895 | 163.814 | 3.226 | 158 | 1.087 | 985.316 | 46.2512 | 3.1111
2020-12-20 11:00:00 | 3.782 | 149.8 | 3.487 | 168.2 | 3.7311 | 158.444 | 2.628 | 156.1 | 1.533 | 985.402 | 46.3194 | 2.3462
2020-12-20 11:15:00 | 2.891 | 149.5 | 2.616 | 171.1 | 2.7991 | 161.176 | 1.924 | 155.9 | 1.986 | 985.253 | 44.8164 | 2.0285
2020-12-20 11:30:00 | 3.274 | 173.7 | 2.676 | 188.3 | 2.8633 | 177.379 | 1.678 | 153.8 | 2.135 | 985.253 | 43.1085 | 1.6405
2020-12-20 11:45:00 | 2.538 | 149.2 | 1.885 | 161.6 | 2.017 | 152.227 | 1.729 | 148.9 | 2.724 | 985.253 | 43.38 | 0.33254
2020-12-20 12:00:00 | 2.559 | 189.7 | 2.251 | 199.5 | 2.4086 | 187.929 | 1.631 | 200 | 2.572 | 984.956 | 41.933 | -0.19583
2020-12-20 12:15:00 | 3.552 | 202.9 | 2.986 | 204.6 | 3.195 | 192.733 | 2.22 | 202.9 | 2.704 | 984.924 | 42.5132 | -0.33993
2020-12-20 12:30:00 | 3.608 | 188.3 | 3.321 | 203.4 | 3.5535 | 191.603 | 2.142 | 202 | 3.127 | 984.658 | 41.7279 | -0.29928
2020-12-20 12:45:00 | 2.967 | 199.5 | 2.812 | 217.3 | 3.0088 | 204.697 | 1.978 | 196.4 | 2.977 | 984.658 | 42.3425 | -0.2882
2020-12-20 13:00:00 | 3.245 | 192.1 | 3.088 | 205.7 | 3.3042 | 193.769 | 2.334 | 196.4 | 3.265 | 984.658 | 41.3181 | -0.26972
2020-12-20 13:15:00 | 3.131 | 180.9 | 3.124 | 188.3 | 3.3427 | 177.379 | 2.121 | 182.4 | 3.534 | 984.658 | 40.8742 | -0.28081
2020-12-20 13:30:00 | 3.261 | 185 | 2.733 | 192.2 | 2.9243 | 181.052 | 1.935 | 198.6 | 3.442 | 984.658 | 40.7034 | -0.29928
2020-12-20 13:45:00 | 2.717 | 187.4 | 2.595 | 206.9 | 2.7767 | 194.9 | 1.877 | 193.9 | 3.62 | 984.658 | 39.4068 | -0.26972
2020-12-20 14:00:00 | 3.125 | 184.7 | 2.85 | 192.2 | 3.0495 | 181.052 | 2.467 | 207.9 | 3.835 | 984.658 | 38.1091 | -0.26972
2020-12-20 14:15:00 | 2.194 | 226.2 | 2.237 | 240 | 2.3936 | 226.08 | 1.747 | 229.7 | 3.799 | 984.807 | 35.241 | -0.28081
2020-12-20 14:30:00 | 2.906 | 186.3 | 2.719 | 196.7 | 2.9093 | 185.291 | 2.153 | 211.4 | 4.29 | 984.658 | 33.3295 | -0.28081
2020-12-20 14:45:00 | 2.298 | 275.8 | 1.851 | 274 | 1.9806 | 258.108 | 1.36 | 282.3 | 3.864 | 984.807 | 35.3441 | -0.26972
2020-12-20 15:00:00 | 2.245 | 245.5 | 2.418 | 247.3 | 2.5873 | 232.957 | 2.317 | 251.8 | 3.71 | 984.955 | 37.7362 | -0.26972
2020-12-20 15:15:00 | 1.321 | 270.9 | 1.664 | 280.4 | 1.7805 | 264.137 | 1.254 | 285.2 | 3.581 | 984.955 | 37.8426 | -0.29928
2020-12-20 15:30:00 | 2.537 | 283.1 | 2.395 | 293.6 | 2.5627 | 276.571 | 2.032 | 282.9 | 3.522 | 984.807 | 38.0506 | -0.28081
2020-12-20 15:45:00 | 2.446 | 299.3 | 2.702 | 312.9 | 2.8911 | 294.752 | 2.238 | 299.9 | 3.247 | 984.361 | 41.8787 | -0.26972
2020-12-20 16:00:00 | 2.839 | 297.7 | 3.101 | 311.1 | 3.3181 | 293.056 | 2.727 | 299.4 | 2.775 | 984.064 | 42.8352 | -0.26972
2020-12-20 16:15:00 | 2.168 | 304.2 | 2.492 | 314.5 | 2.6664 | 296.259 | 2.261 | 305.3 | 2.818 | 983.767 | 42.4253 | -0.30298
2020-12-20 16:30:00 | 2.5 | 305.3 | 3.004 | 314.8 | 3.2143 | 296.542 | 2.745 | 307.2 | 2.518 | 983.469 | 43.1085 | -0.26972
2020-12-20 16:45:00 | 1.487 | 316.1 | 1.861 | 335.8 | 1.9913 | 316.324 | 1.973 | 317.7 | 2.236 | 983.416 | 43.5944 | -0.29928
2020-12-20 17:00:00 | 1.734 | 317.5 | 2.242 | 332.8 | 2.3989 | 313.498 | 2.455 | 316.6 | 2.023 | 983.16 | 44.4178 | -0.2882
2020-12-20 17:15:00 | 1.869 | 329.2 | 2.339 | 348.2 | 2.5027 | 328.004 | 2.019 | 325.7 | 1.818 | 983.176 | 44.49 | -0.28081
2020-12-20 17:30:00 | 2.525 | 325.8 | 2.75 | 347 | 2.9425 | 326.874 | 2.541 | 327 | 1.822 | 983.176 | 44.7648 | -0.28081
2020-12-20 17:45:00 | 1.887 | 328.6 | 2.37 | 350.8 | 2.5359 | 330.454 | 2.225 | 330.1 | 1.777 | 983.145 | 45.3225 | -0.26972
2020-12-20 18:00:00 | 2.091 | 341.4 | 2.229 | 0.209 | 2.385 | 0.19688 | 1.94 | 332.8 | 1.636 | 983.305 | 45.4623 | -0.2882
2020-12-20 18:15:00 | 1.532 | 351.8 | 1.528 | 2.831 | 1.635 | 2.6668 | 1.112 | 336.6 | 1.612 | 983.18 | 46.214 | -0.28081
2020-12-20 18:30:00 | 2.196 | 350 | 2.093 | 2.671 | 2.2395 | 2.5161 | 1.334 | 337.1 | 1.563 | 983.18 | 46.6927 | -0.28081
2020-12-20 18:45:00 | 2.288 | 349.7 | 1.953 | 2.474 | 2.0897 | 2.3305 | 1.601 | 340.8 | 1.545 | 983.477 | 47.1372 | -0.29928
2020-12-20 19:00:00 | 2.599 | 349.7 | 2.26 | 2.441 | 2.4182 | 2.2994 | 1.663 | 341.1 | 1.499 | 983.775 | 49.0856 | -0.2882
2020-12-20 19:15:00 | 2.96 | 347.8 | 2.423 | 2.914 | 2.5926 | 2.745 | 1.963 | 342.9 | 1.43 | 983.477 | 49.3933 | -0.29928
2020-12-20 19:30:00 | 2.173 | 353.1 | 2.308 | 5.272 | 2.4696 | 4.9662 | 1.803 | 350 | 1.317 | 983.477 | 49.2907 | -0.28081
2020-12-20 19:45:00 | 1.227 | 353.1 | 1.521 | 6.235 | 1.6275 | 5.8734 | 1.191 | 350 | 1.237 | 983.477 | 49.0856 | -0.26972
2020-12-20 20:00:00 | 1.179 | 353.1 | 1.302 | 6.638 | 1.3931 | 6.253 | 1.288 | 350 | 1.179 | 983.18 | 49.4274 | -0.2882
2020-12-20 20:15:00 | 1.701 | 353.1 | 1.833 | 6.6 | 1.9613 | 6.2172 | 1.225 | 350 | 1.226 | 983.626 | 50.0085 | -0.26972
2020-12-20 20:30:00 | 2.528 | 347.4 | 2.518 | 6.863 | 2.6943 | 6.4649 | 2.062 | 348.8 | 1.244 | 983.775 | 49.0856 | -0.28081
2020-12-20 20:45:00 | 1.749 | 334.3 | 1.771 | 356.9 | 1.895 | 336.2 | 1.408 | 340.5 | 1.214 | 983.775 | 48.0602 | -0.29928
2020-12-20 21:00:00 | 0.92 | 333.2 | 1.218 | 356.9 | 1.3033 | 336.2 | 1.003 | 339.8 | 1.009 | 983.775 | 49.2907 | -0.29928
2020-12-20 21:15:00 | 0.807 | 307.4 | 1.654 | 329 | 1.7698 | 309.918 | 1.189 | 338.5 | 0.768 | 983.775 | 49.3933 | -0.29928
2020-12-20 21:30:00 | 1.473 | 302.7 | 1.743 | 328.9 | 1.865 | 309.824 | 1.599 | 337 | 0.805 | 983.775 | 49.4274 | -0.29928
2020-12-20 21:45:00 | 1.481 | 303.7 | 1.868 | 329 | 1.9988 | 309.918 | 1.599 | 308.8 | 0.807 | 983.626 | 49.3957 | -0.28081
2020-12-20 22:00:00 | 1.236 | 306 | 1.319 | 329 | 1.4113 | 309.918 | 1.179 | 308.8 | 0.769 | 983.626 | 49.4994 | -0.29928
2020-12-20 22:15:00 | 1.392 | 306.1 | 1.541 | 329 | 1.6489 | 309.918 | 1.316 | 308.8 | 0.799 | 983.477 | 50.2536 | -0.29928
2020-12-20 22:30:00 | 0.877 | 306.1 | 1.052 | 328.9 | 1.1256 | 309.824 | 1.084 | 308.8 | 0.843 | 983.477 | 49.8439 | -0.29928
2020-12-20 22:45:00 | 0 | 306.1 | 0 | 329 | 0 | 309.918 | 0 | 308.8 | 0.862 | 983.18 | 50.0511 | -0.29928
2020-12-20 23:00:00 | 0 | 306 | 0 | 329 | 0 | 309.918 | 0 | 308.8 | 0.25 | 982.883 | 51.5555 | -0.29928
2020-12-20 23:15:00 | 0 | 306 | 0 | 329 | 0 | 309.918 | 0.49 | 308.8 | 0.261 | 982.585 | 51.2137 | -0.31776
2020-12-20 23:30:00 | 0.037 | 247.8 | 0.946 | 328.3 | 1.0122 | 309.259 | 1.293 | 308.2 | 0.73 | 982.585 | 49.7436 | -0.29928
2020-12-20 23:45:00 | 1.271 | 212.5 | 1.771 | 233.6 | 1.895 | 220.051 | 1.762 | 300.3 | 0.62 | 982.61 | 49.5726 | -0.29928