## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-21 00:00:00 | 2.285 | 209.8 | 2.26 | 216.7 | 2.4182 | 204.131 | 2.271 | 217.1 | 0.616 | 982.586 | 49.9145 | -0.29928
2020-12-21 00:15:00 | 2.291 | 215.6 | 2.431 | 216.7 | 2.6012 | 204.131 | 2.299 | 226.8 | 0.598 | 982.586 | 50.2222 | -0.31776
2020-12-21 00:30:00 | 2.674 | 215.1 | 2.727 | 216.7 | 2.9179 | 204.131 | 2.753 | 220.7 | 0.617 | 982.586 | 49.7778 | -0.29928
2020-12-21 00:45:00 | 3.031 | 218.8 | 3.083 | 224.4 | 3.2988 | 211.385 | 3.05 | 228 | 0.623 | 982.288 | 50.1525 | -0.31776
2020-12-21 01:00:00 | 2.704 | 229.7 | 3.073 | 229.3 | 3.2881 | 216.001 | 2.747 | 240 | 0.545 | 982.437 | 50.6283 | -0.31776
2020-12-21 01:15:00 | 3.125 | 240.9 | 3.385 | 248.6 | 3.622 | 234.181 | 2.928 | 243.5 | 0.544 | 982.288 | 50.764 | -0.24386
2020-12-21 01:30:00 | 3.184 | 229.9 | 3.418 | 242.3 | 3.6573 | 228.247 | 3.017 | 236 | 0.284 | 982.14 | 52.5067 | -0.24386
2020-12-21 01:45:00 | 3.268 | 231 | 3.576 | 241.3 | 3.8263 | 227.305 | 3.094 | 239 | 0.086 | 981.991 | 53.5314 | -0.20691
2020-12-21 02:00:00 | 3.297 | 226.3 | 3.479 | 235.7 | 3.7225 | 222.029 | 3.048 | 231.1 | 0.145 | 981.991 | 52.9851 | -0.26233
2020-12-21 02:15:00 | 3.194 | 225.7 | 3.356 | 236.1 | 3.5909 | 222.406 | 2.831 | 225.8 | 0.207 | 981.991 | 53.6027 | -0.24386
2020-12-21 02:30:00 | 3.143 | 218.4 | 3.287 | 235.5 | 3.5171 | 221.841 | 2.928 | 224.3 | 0.213 | 981.991 | 56.9557 | -0.24386
2020-12-21 02:45:00 | 3.131 | 214.7 | 3.269 | 232.5 | 3.4978 | 219.015 | 2.791 | 219.2 | 0.156 | 981.991 | 56.5441 | -0.22539
2020-12-21 03:00:00 | 3.422 | 209.5 | 3.367 | 231 | 3.6027 | 217.602 | 3.249 | 216.5 | 0.178 | 981.991 | 52.4068 | -0.29928
2020-12-21 03:15:00 | 3.092 | 209.9 | 3.057 | 230.9 | 3.271 | 217.508 | 2.905 | 223.7 | 0.198 | 981.842 | 52.3066 | -0.29928
2020-12-21 03:30:00 | 2.625 | 210.7 | 2.848 | 218.3 | 3.0474 | 205.639 | 3.084 | 225.6 | 0.001 | 981.694 | 53.3668 | -0.29928
2020-12-21 03:45:00 | 1.373 | 210.8 | 1.96 | 216.7 | 2.0972 | 204.131 | 2.177 | 229.8 | 0.046 | 981.396 | 52.4444 | -0.29928
2020-12-21 04:00:00 | 0.357 | 228.9 | 1.341 | 217.8 | 1.4349 | 205.168 | 1.044 | 230 | 0.379 | 981.099 | 40.8205 | -0.31037
2020-12-21 04:15:00 | 0.275 | 228.9 | 1.123 | 217.8 | 1.2016 | 205.168 | 0.405 | 230.5 | 0.554 | 980.802 | 42.8034 | -0.31776
2020-12-21 04:30:00 | 0.673 | 217.5 | 1.522 | 217.7 | 1.6285 | 205.073 | 1.349 | 230.5 | 0.28 | 980.802 | 44.9231 | -0.32884
2020-12-21 04:45:00 | 1.051 | 214.1 | 1.761 | 217.2 | 1.8843 | 204.602 | 1.196 | 230 | 0.224 | 980.653 | 47.0427 | -0.31776
2020-12-21 05:00:00 | 2.434 | 216.9 | 3.011 | 220 | 3.2218 | 207.24 | 2.893 | 226.4 | -0.24 | 980.653 | 49.641 | -0.31776
2020-12-21 05:15:00 | 0.514 | 220.4 | 1.15 | 216.5 | 1.2305 | 203.943 | 1.152 | 236.5 | 0.171 | 980.207 | 44.1709 | -0.29928
2020-12-21 05:30:00 | 0 | 219.7 | 0 | 216.5 | 0 | 203.943 | 0 | 236.5 | 0.377 | 980.058 | 42.735 | -0.32884
2020-12-21 05:45:00 | 0 | 219.7 | 0.034 | 216.5 | 0.03638 | 203.943 | 0 | 236.5 | 0.21 | 979.761 | 38.9744 | -0.35101
2020-12-21 06:00:00 | 2.115 | 229.9 | 2.487 | 221.2 | 2.6611 | 208.37 | 1.808 | 236.7 | 0.323 | 979.909 | 43.4188 | -0.32884
2020-12-21 06:15:00 | 2.283 | 222.2 | 2.679 | 223.1 | 2.8665 | 210.16 | 2.004 | 229.9 | 0.117 | 979.909 | 49.4359 | -0.15518
2020-12-21 06:30:00 | 2.395 | 190.2 | 2.986 | 199.5 | 3.195 | 187.929 | 2.378 | 207 | -0.109 | 979.612 | 48.547 | 0.1441
2020-12-21 06:45:00 | 2.73 | 184.3 | 2.773 | 183 | 2.9671 | 172.386 | 2.429 | 205.6 | -0.224 | 979.612 | 49.4359 | 0.44338
2020-12-21 07:00:00 | 2.426 | 188.5 | 2.51 | 184.4 | 2.6857 | 173.705 | 2.505 | 203.1 | -0.214 | 979.612 | 48.8889 | 1.0382
2020-12-21 07:15:00 | 2.748 | 184.3 | 2.717 | 187 | 2.9072 | 176.154 | 2.938 | 196.6 | -0.167 | 979.612 | 49.4017 | 1.5962
2020-12-21 07:30:00 | 2.954 | 176.1 | 3.385 | 184.6 | 3.622 | 173.893 | 3.514 | 187.8 | -0.56 | 979.612 | 52.9231 | 2.143
2020-12-21 07:45:00 | 2.643 | 181.9 | 3.41 | 179.8 | 3.6487 | 169.372 | 3.124 | 191.7 | -0.544 | 979.612 | 51.3163 | 3.3365
2020-12-21 08:00:00 | 3.274 | 173.6 | 3.428 | 171.9 | 3.668 | 161.93 | 2.969 | 187.5 | -0.245 | 979.612 | 50.188 | 4.105
2020-12-21 08:15:00 | 2.801 | 160.2 | 3.612 | 173.2 | 3.8648 | 163.154 | 3.213 | 175.8 | -0.267 | 979.909 | 51.617 | 5.3945
2020-12-21 08:30:00 | 3.894 | 158.1 | 4.182 | 165.3 | 4.4747 | 155.713 | 3.438 | 172.4 | 0.119 | 980.207 | 47.7867 | 8.0622
2020-12-21 08:45:00 | 4.678 | 150.8 | 4.99 | 164.9 | 5.3393 | 155.336 | 4.011 | 158.7 | 0.04 | 980.653 | 52.982 | 9.6435
2020-12-21 09:00:00 | 3.419 | 151 | 4.261 | 162.7 | 4.5593 | 153.263 | 4.084 | 159.3 | 0.349 | 980.546 | 46.927 | 9.0487
2020-12-21 09:15:00 | 3.598 | 155.6 | 4.001 | 179 | 4.2811 | 168.618 | 3.82 | 156 | 0.742 | 981.096 | 46.3354 | 11.805
2020-12-21 09:30:00 | 5.362 | 145.5 | 5.305 | 163.7 | 5.6764 | 154.205 | 5.098 | 151.8 | 0.784 | 981.096 | 49.6498 | 12.5292
2020-12-21 09:45:00 | 5.275 | 146.5 | 5.435 | 162.9 | 5.8155 | 153.452 | 5.258 | 151.6 | 0.572 | 981.244 | 51.0465 | 12.7916
2020-12-21 10:00:00 | 5.612 | 144.9 | 6.11 | 162.2 | 6.5377 | 152.792 | 5.964 | 150.3 | 0.556 | 981.392 | 52.414 | 12.6216
2020-12-21 10:15:00 | 6.126 | 147.8 | 6.061 | 162.6 | 6.4853 | 153.169 | 5.539 | 153.7 | 0.72 | 981.527 | 52.138 | 12.6142
2020-12-21 10:30:00 | 6.128 | 149.9 | 6.051 | 166.5 | 6.4746 | 156.843 | 6.015 | 153.6 | 0.985 | 981.297 | 51.5484 | 16.3756
2020-12-21 10:45:00 | 6.611 | 150.6 | 6.381 | 167.4 | 6.8277 | 157.691 | 6.152 | 154.4 | 1.073 | 981.315 | 52.434 | 16.8596
2020-12-21 11:00:00 | 6.537 | 151 | 6.314 | 163.8 | 6.756 | 154.3 | 5.857 | 158.5 | 1.045 | 981.391 | 48.8813 | 17.3806
2020-12-21 11:15:00 | 6.621 | 147.2 | 6.44 | 160.4 | 6.8908 | 151.097 | 5.783 | 154.2 | 1.263 | 981.241 | 49.5987 | 17.7094
2020-12-21 11:30:00 | 6.182 | 150.5 | 5.905 | 161 | 6.3183 | 151.662 | 5.381 | 159.8 | 1.51 | 980.944 | 42.7669 | 16.6453
2020-12-21 11:45:00 | 6.955 | 152.4 | 6.603 | 164.9 | 7.0652 | 155.336 | 6.002 | 160.6 | 1.673 | 980.795 | 39.4876 | 15.9248
2020-12-21 12:00:00 | 6.869 | 151.2 | 6.701 | 166.1 | 7.1701 | 156.466 | 6.086 | 158.4 | 1.926 | 980.498 | 38.2921 | 15.0824
2020-12-21 12:15:00 | 6.769 | 149.1 | 6.77 | 164.9 | 7.2439 | 155.336 | 5.829 | 156 | 2.182 | 980.201 | 41.8788 | 14.1032
2020-12-21 12:30:00 | 6.481 | 149.4 | 6.207 | 163.1 | 6.6415 | 153.64 | 5.523 | 158.8 | 2.408 | 980.052 | 36.6524 | 14.2399
2020-12-21 12:45:00 | 7.114 | 146.7 | 6.926 | 161 | 7.4108 | 151.662 | 6.035 | 157.5 | 2.571 | 979.904 | 40.4099 | 16.7192
2020-12-21 13:00:00 | 6.772 | 146.1 | 6.603 | 161.8 | 7.0652 | 152.416 | 5.819 | 155 | 2.67 | 979.755 | 41.9812 | 16.952
2020-12-21 13:15:00 | 6.932 | 151.6 | 6.887 | 166.9 | 7.3691 | 157.22 | 6.504 | 154.5 | 2.921 | 979.607 | 37.3356 | 15.8546
2020-12-21 13:30:00 | 6.465 | 147.1 | 6.511 | 161.4 | 6.9668 | 152.039 | 6.002 | 155.5 | 3.522 | 979.755 | 33.8856 | 18.09
2020-12-21 13:45:00 | 6.483 | 149.6 | 5.808 | 166.4 | 6.2146 | 156.749 | 5.37 | 157.8 | 3.844 | 979.607 | 33.4074 | 18.0161
2020-12-21 14:00:00 | 7.379 | 155.8 | 6.81 | 169.6 | 7.2867 | 159.763 | 6.033 | 162.1 | 3.939 | 979.607 | 33.4757 | 16.7376
2020-12-21 14:15:00 | 5.858 | 156.9 | 5.701 | 167.6 | 6.1001 | 157.879 | 4.685 | 168.5 | 3.695 | 979.161 | 35.047 | 17.4249
2020-12-21 14:30:00 | 6.58 | 153.6 | 6.552 | 169.7 | 7.0106 | 159.857 | 5.923 | 160.5 | 3.754 | 979.012 | 38.3604 | 20.8352
2020-12-21 14:45:00 | 6.557 | 159 | 6.297 | 171.5 | 6.7378 | 161.553 | 5.508 | 169.3 | 3.6 | 978.864 | 39.4876 | 23.2591
2020-12-21 15:00:00 | 6.83 | 158 | 6.78 | 173.4 | 7.2546 | 163.343 | 6.468 | 164.3 | 3.73 | 978.715 | 37.848 | 26.0228
2020-12-21 15:15:00 | 7.18 | 159 | 7.25 | 172 | 7.7575 | 162.024 | 6.471 | 164.6 | 3.722 | 978.715 | 37.2332 | 28.9011
2020-12-21 15:30:00 | 6.118 | 157.9 | 6.524 | 173.9 | 6.9807 | 163.814 | 6.185 | 164 | 3.966 | 978.269 | 37.3698 | 26.6103
2020-12-21 15:45:00 | 6.649 | 157.4 | 7.212 | 170.3 | 7.7168 | 160.423 | 6.69 | 167.2 | 3.653 | 978.269 | 37.5747 | 25.4205
2020-12-21 16:00:00 | 6.552 | 157.5 | 6.488 | 171.4 | 6.9422 | 161.459 | 6.015 | 164.7 | 3.581 | 978.121 | 39.2485 | 26.3369
2020-12-21 16:15:00 | 7.525 | 151.7 | 7.575 | 168.1 | 8.1052 | 158.35 | 7.222 | 155.9 | 3.36 | 977.843 | 39.8975 | 26.6583
2020-12-21 16:30:00 | 7.17 | 149.6 | 7.355 | 164.3 | 7.8698 | 154.771 | 7.186 | 156.1 | 3.239 | 977.485 | 40.3806 | 36.3019
2020-12-21 16:45:00 | 8.2 | 150.9 | 8.16 | 167.8 | 8.7312 | 158.068 | 8.17 | 156.4 | 3.144 | 977.23 | 40.0459 | 39.4203
2020-12-21 17:00:00 | 8.1 | 152.8 | 8.11 | 168.6 | 8.6777 | 158.821 | 8.12 | 158.4 | 3.069 | 977.082 | 40.249 | 41.2809
2020-12-21 17:15:00 | 7.336 | 148.6 | 7.46 | 165.8 | 7.9822 | 156.184 | 7.482 | 155 | 2.976 | 976.932 | 40.3895 | 44.1608
2020-12-21 17:30:00 | 7.346 | 149.8 | 8.19 | 166.4 | 8.7633 | 156.749 | 9.28 | 155.7 | 2.749 | 976.933 | 41.0729 | 47.331
2020-12-21 17:45:00 | 7.19 | 148 | 7.772 | 164.9 | 8.316 | 155.336 | 8.03 | 155.3 | 2.676 | 976.785 | 41.278 | 53.3388
2020-12-21 18:00:00 | 7.372 | 151.8 | 7.81 | 167 | 8.3567 | 157.314 | 8.66 | 156.3 | 2.602 | 976.636 | 41.4489 | 56.1801
2020-12-21 18:15:00 | 7.803 | 152 | 7.946 | 168 | 8.5022 | 158.256 | 8.53 | 157.8 | 2.459 | 976.636 | 41.6214 | 56.2171
2020-12-21 18:30:00 | 7.691 | 154.4 | 7.951 | 167.9 | 8.5076 | 158.162 | 8.28 | 158.9 | 2.541 | 976.785 | 41.8991 | 55.8328
2020-12-21 18:45:00 | 7.612 | 153.1 | 7.964 | 170.1 | 8.5215 | 160.234 | 8.66 | 158.7 | 2.581 | 976.933 | 42.2419 | 52.2968
2020-12-21 19:00:00 | 8.35 | 153.8 | 8.91 | 170.2 | 9.5337 | 160.328 | 9.72 | 158.7 | 2.584 | 976.933 | 42.1053 | 47.7485
2020-12-21 19:15:00 | 7.635 | 154.3 | 7.961 | 170.5 | 8.5183 | 160.611 | 8.43 | 158.9 | 2.626 | 976.933 | 39.9857 | 41.301
2020-12-21 19:30:00 | 7.147 | 160.9 | 6.596 | 182.9 | 7.0577 | 172.292 | 6.983 | 162.1 | 2.641 | 977.231 | 41.5583 | 43.8985
2020-12-21 19:45:00 | 6.823 | 165.2 | 6.24 | 182.7 | 6.6768 | 172.103 | 6.718 | 163.8 | 2.581 | 977.38 | 44.224 | 41.6187
2020-12-21 20:00:00 | 6.601 | 164.6 | 6.616 | 185.1 | 7.0791 | 174.364 | 7.174 | 165.4 | 2.527 | 977.529 | 44.3586 | 34.7722
2020-12-21 20:15:00 | 5.309 | 162.4 | 5.305 | 180.8 | 5.6764 | 170.314 | 6.063 | 165.7 | 2.292 | 977.547 | 45.2496 | 31.3803
2020-12-21 20:30:00 | 6.115 | 160.2 | 5.964 | 174.9 | 6.3815 | 164.756 | 6.471 | 163.3 | 2.23 | 977.26 | 45.1162 | 27.5672
2020-12-21 20:45:00 | 5.605 | 151.8 | 6.176 | 169.6 | 6.6083 | 159.763 | 7.153 | 158.5 | 2.13 | 977.468 | 45.5959 | 27.8665
2020-12-21 21:00:00 | 6.506 | 150.5 | 7.092 | 166.2 | 7.5884 | 156.56 | 7.548 | 157.6 | 2.138 | 977.493 | 45.7346 | 31.8052
2020-12-21 21:15:00 | 5.771 | 148.8 | 6.404 | 167 | 6.8523 | 157.314 | 7.056 | 154 | 2.08 | 977.483 | 46.2827 | 34.5948
2020-12-21 21:30:00 | 5.727 | 148.4 | 6.33 | 166.4 | 6.7731 | 156.749 | 7.65 | 155.8 | 2.042 | 977.17 | 46.6929 | 37.9793
2020-12-21 21:45:00 | 5.878 | 149.2 | 6.642 | 163.6 | 7.1069 | 154.111 | 7.95 | 157.5 | 2.047 | 977.338 | 47.0005 | 34.5764
2020-12-21 22:00:00 | 6.774 | 152 | 7.531 | 166 | 8.0582 | 156.372 | 8.24 | 160.8 | 2.061 | 977.362 | 46.9997 | 32.8324
2020-12-21 22:15:00 | 6.588 | 151.8 | 7.046 | 165.3 | 7.5392 | 155.713 | 8.08 | 160.6 | 1.972 | 977.23 | 47.2398 | 37.3401
2020-12-21 22:30:00 | 7.093 | 153.8 | 7.621 | 167 | 8.1545 | 157.314 | 8.77 | 159.7 | 1.827 | 977.229 | 47.9234 | 51.2512
2020-12-21 22:45:00 | 6.782 | 152.4 | 7.248 | 167.9 | 7.7554 | 158.162 | 8.34 | 159.4 | 1.81 | 977.083 | 48.2652 | 43.1669
2020-12-21 23:00:00 | 6.858 | 154.7 | 7.864 | 168.4 | 8.4145 | 158.633 | 8.97 | 162.2 | 1.908 | 977.084 | 48.5387 | 44.9626
2020-12-21 23:15:00 | 6.368 | 151.4 | 6.793 | 168.2 | 7.2685 | 158.444 | 7.754 | 160 | 1.917 | 976.935 | 48.8122 | 47.0169
2020-12-21 23:30:00 | 7.185 | 153.1 | 7.498 | 168.6 | 8.0229 | 158.821 | 8.6 | 160.5 | 1.979 | 977.084 | 48.7438 | 49.4592
2020-12-21 23:45:00 | 7.063 | 154 | 7.396 | 171.5 | 7.9137 | 161.553 | 8.52 | 159 | 2.003 | 976.935 | 48.7438 | 51.6207