## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-22 00:00:00 | 7.081 | 152.5 | 7.808 | 169.9 | 8.3546 | 160.046 | 8.86 | 158.6 | 2.179 | 976.935 | 47.4449 | 53.5863
2020-12-22 00:15:00 | 6.35 | 150.5 | 6.529 | 173.1 | 6.986 | 163.06 | 8.06 | 155.9 | 2.076 | 976.616 | 47.7867 | 56.7787
2020-12-22 00:30:00 | 6.567 | 151.9 | 6.931 | 168.4 | 7.4162 | 158.633 | 8.46 | 157.3 | 1.933 | 976.601 | 48.6071 | 60.9613
2020-12-22 00:45:00 | 7.476 | 154.7 | 7.935 | 168.4 | 8.4904 | 158.633 | 8.94 | 160 | 2.017 | 976.486 | 47.9234 | 56.3612
2020-12-22 01:00:00 | 7.165 | 153.8 | 7.943 | 169.9 | 8.499 | 160.046 | 8.7 | 158.4 | 1.947 | 976.309 | 48.3336 | 56.0463
2020-12-22 01:15:00 | 7.333 | 153.6 | 7.91 | 170.3 | 8.4637 | 160.423 | 8.5 | 157.5 | 1.842 | 976.043 | 48.4703 | 51.9347
2020-12-22 01:30:00 | 7.413 | 153.2 | 8.19 | 167.9 | 8.7633 | 158.162 | 9.58 | 160.2 | 1.896 | 976.043 | 48.4703 | 53.4164
2020-12-22 01:45:00 | 7.308 | 151 | 7.641 | 167.3 | 8.1759 | 157.597 | 9.13 | 158.1 | 1.726 | 976.043 | 48.0602 | 50.9593
2020-12-22 02:00:00 | 7.367 | 150 | 7.493 | 169.4 | 8.0175 | 159.575 | 8.62 | 157.9 | 1.769 | 976.042 | 47.5132 | 50.3681
2020-12-22 02:15:00 | 7.203 | 149.2 | 7.787 | 165.7 | 8.3321 | 156.089 | 8.42 | 157.3 | 1.591 | 975.894 | 46.6929 | 52.9287
2020-12-22 02:30:00 | 8.23 | 151.7 | 8.53 | 166.8 | 9.1271 | 157.126 | 8.79 | 157.4 | 1.55 | 975.746 | 46.4194 | 55.3044
2020-12-22 02:45:00 | 8.15 | 153.9 | 8.52 | 168.1 | 9.1164 | 158.35 | 9.07 | 161.6 | 1.501 | 975.448 | 45.599 | 56.0249
2020-12-22 03:00:00 | 7.923 | 151.8 | 8.67 | 166.6 | 9.2769 | 156.937 | 9.43 | 160.9 | 1.498 | 975.151 | 46.898 | 57.7837
2020-12-22 03:15:00 | 7.887 | 155.8 | 8.5 | 170 | 9.095 | 160.14 | 9.84 | 163.8 | 1.47 | 974.854 | 46.8293 | 55.0015
2020-12-22 03:30:00 | 8.25 | 157.4 | 8.86 | 170 | 9.4802 | 160.14 | 9.68 | 165.5 | 1.55 | 974.854 | 45.667 | 54.7613
2020-12-22 03:45:00 | 8.32 | 153.9 | 8.64 | 171.5 | 9.2448 | 161.553 | 9.49 | 160.6 | 1.411 | 974.556 | 46.5561 | 59.5424
2020-12-22 04:00:00 | 8.96 | 153.6 | 9.19 | 170.3 | 9.8333 | 160.423 | 9.73 | 162.3 | 1.324 | 974.259 | 46.9658 | 58.2603
2020-12-22 04:15:00 | 7.867 | 152.7 | 8.13 | 170.9 | 8.6991 | 160.988 | 8.9 | 158 | 1.012 | 974.259 | 47.65 | 58.8109
2020-12-22 04:30:00 | 8.34 | 155.6 | 8.83 | 170.8 | 9.4481 | 160.894 | 9.31 | 161.3 | 1.034 | 974.259 | 48.2994 | 56.4092
2020-12-22 04:45:00 | 8.2 | 156 | 8.62 | 173.8 | 9.2234 | 163.72 | 9.73 | 159.7 | 0.925 | 974.259 | 48.4017 | 55.164
2020-12-22 05:00:00 | 7.596 | 157.8 | 7.112 | 179 | 7.6098 | 168.618 | 8.04 | 157.1 | 0.705 | 974.11 | 49.3933 | 58.0091
2020-12-22 05:15:00 | 7.356 | 152.9 | 7.59 | 176.1 | 8.1213 | 165.886 | 8.95 | 154.3 | 0.523 | 973.664 | 49.7693 | 60.976
2020-12-22 05:30:00 | 8.48 | 149.7 | 9.02 | 168.1 | 9.6514 | 158.35 | 9.87 | 155.1 | 0.453 | 973.664 | 50.1795 | 55.7109
2020-12-22 05:45:00 | 8.52 | 150.6 | 8.42 | 169 | 9.0094 | 159.198 | 9.58 | 155.2 | 0.477 | 973.664 | 50.7605 | 57.4475
2020-12-22 06:00:00 | 8.92 | 150 | 9.33 | 167 | 9.9831 | 157.314 | 9.73 | 155.6 | 0.357 | 973.813 | 51.3416 | 58.1458
2020-12-22 06:15:00 | 9.04 | 150.6 | 10.02 | 166.4 | 10.7214 | 156.749 | 10.26 | 156.7 | 0.304 | 973.664 | 52.2304 | 58.5633
2020-12-22 06:30:00 | 9.96 | 150.2 | 10 | 167 | 10.7 | 157.314 | 10.7 | 155 | 0.245 | 973.664 | 52.7089 | 61.8665
2020-12-22 06:45:00 | 9.43 | 151.1 | 9.68 | 167.2 | 10.3576 | 157.502 | 10.36 | 155.7 | 0.301 | 973.813 | 52.914 | 60.056
2020-12-22 07:00:00 | 10.03 | 149.9 | 10.64 | 166.5 | 11.3848 | 156.843 | 11.38 | 155.6 | 0.333 | 973.664 | 52.2304 | 67.9482
2020-12-22 07:15:00 | 9.88 | 149.7 | 10.57 | 166 | 11.3099 | 156.372 | 11.34 | 153.9 | 0.445 | 973.813 | 52.3671 | 72.4153
2020-12-22 07:30:00 | 10.66 | 149.5 | 11.45 | 166.1 | 12.2515 | 156.466 | 11.62 | 155.3 | 0.386 | 974.11 | 52.6064 | 70.0395
2020-12-22 07:45:00 | 10.31 | 149.3 | 10.81 | 165.3 | 11.5667 | 155.713 | 11.16 | 155 | 0.364 | 973.961 | 52.8457 | 75.156
2020-12-22 08:00:00 | 10.99 | 151.2 | 11.45 | 166 | 12.2515 | 156.372 | 11.32 | 156.5 | 0.342 | 974.259 | 53.1191 | 74.6507
2020-12-22 08:15:00 | 10.55 | 147.7 | 11.03 | 163.6 | 11.8021 | 154.111 | 10.65 | 155.2 | 0.408 | 974.259 | 53.4609 | 70.7785
2020-12-22 08:30:00 | 10.7 | 148.1 | 10.73 | 163.5 | 11.4811 | 154.017 | 10.14 | 154.2 | 0.465 | 974.854 | 53.5287 | 67.7191
2020-12-22 08:45:00 | 9.92 | 147.5 | 10.4 | 161.8 | 11.128 | 152.416 | 10.05 | 154 | 0.477 | 975.002 | 53.1875 | 63.3298
2020-12-22 09:00:00 | 9.43 | 146.1 | 9.48 | 161 | 10.1436 | 151.662 | 8.96 | 153.4 | 0.677 | 975.344 | 53.1185 | 56.5903
2020-12-22 09:15:00 | 8.71 | 149.6 | 8.64 | 166.7 | 9.2448 | 157.031 | 9.02 | 155.5 | 0.815 | 975.155 | 52.8316 | 66.1784
2020-12-22 09:30:00 | 9.37 | 147.9 | 9.21 | 162.7 | 9.8547 | 153.263 | 8.66 | 153.8 | 0.85 | 975.448 | 53.0327 | 59.3466
2020-12-22 09:45:00 | 9.49 | 149.6 | 8.99 | 168 | 9.6193 | 158.256 | 9.09 | 154.1 | 0.816 | 975.745 | 52.9643 | 52.4927
2020-12-22 10:00:00 | 7.905 | 148.3 | 7.905 | 165.5 | 8.4583 | 155.901 | 7.456 | 154.4 | 1.131 | 975.745 | 51.7 | 42.8824
2020-12-22 10:15:00 | 9.06 | 146.7 | 8.75 | 161.1 | 9.3625 | 151.756 | 7.94 | 153.3 | 1.181 | 975.725 | 51.7293 | 42.3429
2020-12-22 10:30:00 | 7.701 | 147 | 7.746 | 162.2 | 8.2882 | 152.792 | 7.403 | 151.3 | 1.38 | 975.596 | 50.9789 | 38.0939
2020-12-22 10:45:00 | 7.456 | 149.9 | 7.437 | 163.2 | 7.9576 | 153.734 | 7.329 | 156.3 | 1.742 | 975.705 | 50.4622 | 34.9976
2020-12-22 11:00:00 | 8.48 | 145.4 | 8.8 | 160.7 | 9.416 | 151.379 | 8.36 | 154.3 | 2.136 | 975.482 | 50.1453 | 35.271
2020-12-22 11:15:00 | 8.38 | 150.8 | 8.25 | 166.9 | 8.8275 | 157.22 | 8.09 | 156.3 | 2.477 | 975.446 | 50.9308 | 36.675
2020-12-22 11:30:00 | 7.951 | 149.5 | 7.871 | 165.2 | 8.422 | 155.618 | 7.841 | 156.3 | 2.906 | 975.446 | 49.667 | 36.8635
2020-12-22 11:45:00 | 7.719 | 152.2 | 7.455 | 166.8 | 7.9768 | 157.126 | 7.612 | 160.3 | 3.391 | 975.149 | 49.5645 | 27.7003
2020-12-22 12:00:00 | 7.752 | 153.7 | 7.161 | 166.7 | 7.6623 | 157.031 | 6.888 | 159.7 | 3.828 | 975 | 46.661 | 26.444
2020-12-22 12:15:00 | 6.838 | 150.8 | 6.726 | 164.6 | 7.1968 | 155.053 | 6.346 | 158.1 | 4.498 | 975.149 | 46.2129 | 21.8291
2020-12-22 12:30:00 | 7.321 | 146.7 | 7.427 | 161.1 | 7.9469 | 151.756 | 6.555 | 155.7 | 4.858 | 974.852 | 46.0315 | 25.0215
2020-12-22 12:45:00 | 8.23 | 144.4 | 7.813 | 159 | 8.3599 | 149.778 | 6.876 | 152.5 | 4.898 | 974.852 | 44.3913 | 26.0117
2020-12-22 13:00:00 | 8.24 | 146.4 | 7.966 | 164.5 | 8.5236 | 154.959 | 7.958 | 152.2 | 5.235 | 974.786 | 45.006 | 37.7428
2020-12-22 13:15:00 | 7.765 | 142.7 | 7.772 | 160.2 | 8.316 | 150.908 | 7.487 | 148.5 | 4.977 | 974.733 | 44.7328 | 38.8846
2020-12-22 13:30:00 | 8.43 | 147.3 | 7.918 | 166.9 | 8.4723 | 157.22 | 7.016 | 149.8 | 5.425 | 974.777 | 44.6304 | 43.7691
2020-12-22 13:45:00 | 8.98 | 146.2 | 8.9 | 163.4 | 9.523 | 153.923 | 8.36 | 150.9 | 5.486 | 974.777 | 45.1084 | 48.7904
2020-12-22 14:00:00 | 9.77 | 146.2 | 9.69 | 162.2 | 10.3683 | 152.792 | 9.15 | 151.1 | 5.402 | 974.533 | 46.5426 | 43.7913
2020-12-22 14:15:00 | 9.06 | 145.1 | 8.91 | 162.6 | 9.5337 | 153.169 | 8.67 | 150.5 | 5.43 | 974.402 | 45.8938 | 43.2666
2020-12-22 14:30:00 | 9.11 | 143.8 | 9.2 | 158.9 | 9.844 | 149.684 | 8.43 | 149.7 | 5.66 | 974.257 | 43.8108 | 47.3273
2020-12-22 14:45:00 | 8.87 | 144.8 | 8.81 | 161 | 9.4267 | 151.662 | 8.35 | 149.3 | 5.715 | 974.554 | 44.5963 | 47.2407
2020-12-22 15:00:00 | 8.72 | 146.7 | 8.63 | 164.3 | 9.2341 | 154.771 | 7.861 | 150.6 | 5.699 | 974.257 | 44.6653 | 46.0378
2020-12-22 15:15:00 | 8.64 | 147.5 | 8.6 | 163.6 | 9.202 | 154.111 | 8.12 | 155.8 | 5.932 | 974.406 | 43.3328 | 48.8015
2020-12-22 15:30:00 | 9.08 | 148.3 | 8.9 | 162.7 | 9.523 | 153.263 | 8.07 | 155.9 | 6.008 | 974.257 | 44.528 | 51.2495
2020-12-22 15:45:00 | 7.99 | 145.2 | 8.06 | 163.2 | 8.6242 | 153.734 | 8.12 | 149.6 | 5.918 | 974.257 | 45.5208 | 44.5266
2020-12-22 16:00:00 | 8.52 | 142.6 | 8.65 | 157.7 | 9.2555 | 148.553 | 8.32 | 148.5 | 6.01 | 974.406 | 45.6907 | 42.9674
2020-12-22 16:15:00 | 7.829 | 143.8 | 7.79 | 161.8 | 8.3353 | 152.416 | 7.382 | 148.2 | 5.967 | 974.257 | 46.9231 | 49.9728
2020-12-22 16:30:00 | 8.09 | 140.2 | 8.08 | 159 | 8.6456 | 149.778 | 7.966 | 145.4 | 5.915 | 973.96 | 47.615 | 59.2821
2020-12-22 16:45:00 | 9.02 | 141.9 | 9.11 | 157.6 | 9.7477 | 148.459 | 9.55 | 146.3 | 5.779 | 973.663 | 48.198 | 63.3355
2020-12-22 17:00:00 | 8.8 | 145.2 | 8.36 | 159.8 | 8.9452 | 150.532 | 9.25 | 149.2 | 5.626 | 973.366 | 49.8719 | 70.6344
2020-12-22 17:15:00 | 9.23 | 143.1 | 9.88 | 158.1 | 10.5716 | 148.93 | 9.93 | 149.8 | 5.434 | 973.068 | 50.4184 | 74.998
2020-12-22 17:30:00 | 7.767 | 145.1 | 8.07 | 164 | 8.6349 | 154.488 | 9.41 | 150.3 | 5.15 | 973.075 | 51.3749 | 74.7837
2020-12-22 17:45:00 | 10.54 | 140.4 | 11.15 | 156.1 | 11.9305 | 147.046 | 11.12 | 146.5 | 5.426 | 972.925 | 50.659 | 73.7787
2020-12-22 18:00:00 | 9.34 | 142.2 | 9.94 | 157.2 | 10.6358 | 148.082 | 10.4 | 148.4 | 5.385 | 973.021 | 50.559 | 70.8597
2020-12-22 18:15:00 | 9.23 | 142.3 | 9.53 | 158.6 | 10.1971 | 149.401 | 9.88 | 147.2 | 5.39 | 973.324 | 50.4959 | 73.387
2020-12-22 18:30:00 | 9.93 | 142.6 | 10.34 | 158.7 | 11.0638 | 149.495 | 10.52 | 149.1 | 5.511 | 973.363 | 49.3364 | 75.2603
2020-12-22 18:45:00 | 8.62 | 149.2 | 8.93 | 166 | 9.5551 | 156.372 | 10.56 | 152 | 5.266 | 973.183 | 50.772 | 78.2679
2020-12-22 19:00:00 | 9.13 | 147.2 | 9.89 | 166.6 | 10.5823 | 156.937 | 10.64 | 151.2 | 4.9 | 973.515 | 50.4317 | 78.4379
2020-12-22 19:15:00 | 9.23 | 150.1 | 9.57 | 167.4 | 10.2399 | 157.691 | 10.96 | 152.7 | 4.826 | 973.663 | 50.7751 | 80.1116
2020-12-22 19:30:00 | 9 | 152.2 | 9.37 | 168 | 10.0259 | 158.256 | 10.28 | 155.5 | 4.913 | 973.663 | 50.5012 | 75.2197
2020-12-22 19:45:00 | 9.5 | 149.4 | 9.41 | 170.6 | 10.0687 | 160.705 | 11.1 | 152.2 | 4.996 | 973.366 | 49.6116 | 76.8897
2020-12-22 20:00:00 | 10.74 | 146.1 | 10.6 | 162.5 | 11.342 | 153.075 | 11.44 | 151.7 | 5.152 | 973.366 | 47.8351 | 79.1325
2020-12-22 20:15:00 | 10.7 | 143.9 | 11.06 | 160.6 | 11.8342 | 151.285 | 11.64 | 150.3 | 5.45 | 973.366 | 47.6993 | 79.2434
2020-12-22 20:30:00 | 12.09 | 145.4 | 12.64 | 161.4 | 13.5248 | 152.039 | 12.77 | 151 | 5.657 | 973.069 | 47.835 | 77.6509
2020-12-22 20:45:00 | 11.98 | 146.6 | 12.38 | 162.7 | 13.2466 | 153.263 | 12.65 | 152.6 | 5.606 | 973.509 | 49.0634 | 77.7913
2020-12-22 21:00:00 | 11.19 | 150.8 | 11.81 | 168.1 | 12.6367 | 158.35 | 12.22 | 154.3 | 5.159 | 973.658 | 50.7359 | 78.9995
2020-12-22 21:15:00 | 9.38 | 149.7 | 9.65 | 167.5 | 10.3255 | 157.785 | 10.02 | 156.8 | 4.965 | 973.959 | 51.6628 | 76.9784
2020-12-22 21:30:00 | 10.81 | 149.9 | 11.47 | 167.9 | 12.2729 | 158.162 | 11.37 | 155.5 | 5.02 | 973.663 | 51.4909 | 75.9069
2020-12-22 21:45:00 | 9.57 | 152.8 | 10.05 | 168 | 10.7535 | 158.256 | 10.74 | 155.1 | 4.9 | 973.663 | 51.5254 | 74.5973
2020-12-22 22:00:00 | 8.34 | 151.7 | 8.31 | 173.1 | 8.8917 | 163.06 | 8.91 | 152.9 | 4.899 | 973.366 | 50.9799 | 74.041
2020-12-22 22:15:00 | 10.01 | 149.9 | 10.65 | 165.5 | 11.3955 | 155.901 | 10.95 | 155.2 | 4.831 | 973.366 | 51.0473 | 80.5378
2020-12-22 22:30:00 | 9.75 | 151.3 | 9.92 | 168.1 | 10.6144 | 158.35 | 10.64 | 155.8 | 4.744 | 973.366 | 50.7042 | 82.5022
2020-12-22 22:45:00 | 9.42 | 152.5 | 9.74 | 169.9 | 10.4218 | 160.046 | 10.43 | 155.8 | 4.647 | 973.663 | 50.3281 | 76.9932
2020-12-22 23:00:00 | 9.18 | 155.4 | 9.68 | 174.7 | 10.3576 | 164.567 | 9.57 | 160 | 4.672 | 973.812 | 50.0215 | 77.189
2020-12-22 23:15:00 | 9.89 | 160 | 10.15 | 174.6 | 10.8605 | 164.473 | 10.54 | 164.5 | 4.631 | 973.961 | 49.2689 | 77.662
2020-12-22 23:30:00 | 8.57 | 164 | 8.69 | 179.5 | 9.2983 | 169.089 | 9.46 | 165.8 | 4.557 | 973.663 | 49.8158 | 75.0608
2020-12-22 23:45:00 | 9.82 | 155.1 | 10.01 | 171.1 | 10.7107 | 161.176 | 10.22 | 159.7 | 4.297 | 973.366 | 50.909 | 79.6165