## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-23 00:00:00 | 8.98 | 152.4 | 9.13 | 171.3 | 9.7691 | 161.365 | 10.6 | 158.6 | 4.092 | 973.336 | 51.3885 | 75.0054
2020-12-23 00:15:00 | 8.88 | 152.1 | 9.35 | 168.8 | 10.0045 | 159.01 | 10.66 | 157.6 | 4.044 | 973.045 | 51.6634 | 76.7974
2020-12-23 00:30:00 | 9.65 | 159.2 | 9.84 | 171.9 | 10.5288 | 161.93 | 10.1 | 162.6 | 3.951 | 973.366 | 51.4594 | 75.7833
2020-12-23 00:45:00 | 8.14 | 162.8 | 8.21 | 182.1 | 8.7847 | 171.538 | 9.48 | 161.7 | 4.001 | 973.365 | 51.8703 | 78.4379
2020-12-23 01:00:00 | 9.06 | 163.5 | 9.2 | 178.6 | 9.844 | 168.241 | 9.66 | 165.4 | 3.846 | 973.217 | 52.6908 | 80.8802
2020-12-23 01:15:00 | 10.77 | 160.5 | 10.96 | 176.1 | 11.7272 | 165.886 | 10.65 | 167 | 3.553 | 973.069 | 53.511 | 83.1451
2020-12-23 01:30:00 | 9.89 | 164 | 9.7 | 178.8 | 10.379 | 168.43 | 9.29 | 167.7 | 3.624 | 973.217 | 53.2376 | 79.0106
2020-12-23 01:45:00 | 10.08 | 166.1 | 10.07 | 181.4 | 10.7749 | 170.879 | 10.25 | 169.7 | 3.659 | 973.069 | 52.7593 | 76.184
2020-12-23 02:00:00 | 11.08 | 168.2 | 10.73 | 183.4 | 11.4811 | 172.763 | 10.76 | 171.2 | 3.669 | 973.217 | 52.9643 | 65.9641
2020-12-23 02:15:00 | 10.32 | 165.4 | 10.15 | 184.1 | 10.8605 | 173.422 | 10.38 | 169.1 | 3.636 | 973.663 | 52.6226 | 62.5057
2020-12-23 02:30:00 | 9.81 | 165.7 | 9.7 | 179.9 | 10.379 | 169.466 | 10.07 | 169.3 | 3.381 | 973.069 | 53.7844 | 62.2212
2020-12-23 02:45:00 | 11.23 | 162.8 | 11.11 | 172.7 | 11.8877 | 162.683 | 10.23 | 168 | 3.139 | 972.474 | 54.5361 | 52.5813
2020-12-23 03:00:00 | 10.69 | 164.3 | 10.8 | 177.6 | 11.556 | 167.299 | 10.6 | 166.9 | 3.071 | 972.623 | 53.511 | 54.2329
2020-12-23 03:15:00 | 10.34 | 162.1 | 10.01 | 176.2 | 10.7107 | 165.98 | 9.42 | 167.2 | 3.006 | 972.326 | 55.3904 | 52.5333
2020-12-23 03:30:00 | 10.84 | 157.6 | 10.83 | 173.9 | 11.5881 | 163.814 | 11.09 | 161.7 | 2.835 | 972.177 | 55.1512 | 43.1632
2020-12-23 03:45:00 | 9.66 | 161.8 | 9.4 | 175.3 | 10.058 | 165.133 | 8.99 | 165.7 | 3.013 | 972.177 | 54.1944 | 42.1545
2020-12-23 04:00:00 | 9.77 | 165.3 | 9.61 | 179 | 10.2827 | 168.618 | 9.94 | 168.3 | 3.142 | 972.177 | 52.3492 | 48.1888
2020-12-23 04:15:00 | 11.03 | 157.3 | 11.35 | 173.4 | 12.1445 | 163.343 | 11.86 | 162.5 | 3.116 | 971.583 | 52.3492 | 49.1267
2020-12-23 04:30:00 | 12.09 | 156 | 11.8 | 170.4 | 12.626 | 160.517 | 11.62 | 160.1 | 3.235 | 971.285 | 52.2125 | 52.5703
2020-12-23 04:45:00 | 12.02 | 154.4 | 12.47 | 171.5 | 13.3429 | 161.553 | 13.05 | 157.8 | 3.339 | 971.285 | 51.5975 | 53.4016
2020-12-23 05:00:00 | 11.11 | 155.7 | 11.71 | 172.1 | 12.5297 | 162.118 | 12.48 | 158.9 | 3.398 | 971.434 | 51.5975 | 50.6083
2020-12-23 05:15:00 | 9.73 | 161.6 | 9.93 | 178.9 | 10.6251 | 168.524 | 10.34 | 163.7 | 3.4 | 972.177 | 51.2216 | 44.279
2020-12-23 05:30:00 | 8.54 | 153.7 | 8.96 | 170.7 | 9.5872 | 160.799 | 9.37 | 160.6 | 3.395 | 971.88 | 51.4608 | 37.1295
2020-12-23 05:45:00 | 9.11 | 154.1 | 9.42 | 168.4 | 10.0794 | 158.633 | 9.84 | 159.8 | 3.411 | 971.88 | 51.6658 | 39.7216
2020-12-23 06:00:00 | 8.06 | 163.9 | 8.15 | 175.7 | 8.7205 | 165.509 | 8.02 | 171.4 | 3.47 | 972.177 | 51.4608 | 43.1152
2020-12-23 06:15:00 | 9.63 | 157.5 | 10.39 | 169.2 | 11.1173 | 159.386 | 10.17 | 168 | 3.336 | 972.177 | 52.0417 | 47.1647
2020-12-23 06:30:00 | 9.51 | 156.9 | 10.08 | 169.9 | 10.7856 | 160.046 | 10.96 | 167.4 | 3.175 | 972.028 | 52.0075 | 48.4505
2020-12-23 06:45:00 | 9.1 | 153.5 | 10.07 | 166.2 | 10.7749 | 156.56 | 10.24 | 162.8 | 3.399 | 971.88 | 51.4608 | 57.8391
2020-12-23 07:00:00 | 9.07 | 157 | 10.03 | 169.8 | 10.7321 | 159.952 | 11.25 | 165.9 | 3.248 | 971.583 | 52.2809 | 64.2903
2020-12-23 07:15:00 | 8.39 | 154.4 | 8.86 | 170.8 | 9.4802 | 160.894 | 10.11 | 162.4 | 3.037 | 971.583 | 52.2809 | 62.4909
2020-12-23 07:30:00 | 8.58 | 154.2 | 9.08 | 168.9 | 9.7156 | 159.104 | 9.67 | 161.6 | 3.016 | 972.177 | 51.7341 | 52.3301
2020-12-23 07:45:00 | 9.1 | 155.7 | 9.2 | 170.4 | 9.844 | 160.517 | 10.12 | 162.1 | 3.119 | 972.177 | 51.8708 | 39.7824
2020-12-23 08:00:00 | 8.73 | 161 | 8.44 | 172.3 | 9.0308 | 162.307 | 8.32 | 168 | 3.207 | 972.623 | 51.5633 | 35.2858
2020-12-23 08:15:00 | 6.621 | 157.1 | 7.115 | 173.4 | 7.6131 | 163.343 | 8.03 | 165.1 | 3.072 | 973.069 | 52.2125 | 26.0154
2020-12-23 08:30:00 | 7.632 | 171.2 | 7.225 | 181 | 7.7307 | 170.502 | 6.932 | 182 | 3.503 | 973.663 | 50.9824 | 26.5659
2020-12-23 08:45:00 | 7.203 | 163.9 | 7.273 | 179.2 | 7.7821 | 168.806 | 7.647 | 172 | 3.629 | 974.109 | 51.6649 | 25.2136
2020-12-23 09:00:00 | 5.952 | 169.6 | 6.13 | 181.1 | 6.5591 | 170.596 | 5.179 | 177.6 | 3.625 | 974.555 | 51.5936 | 8.4279
2020-12-23 09:15:00 | 4.139 | 173.3 | 4.387 | 183 | 4.6941 | 172.386 | 3.7 | 183.5 | 3.737 | 974.555 | 51.457 | 3.1295
2020-12-23 09:30:00 | 3.603 | 194.1 | 3.471 | 199.3 | 3.714 | 187.741 | 4.1 | 201.1 | 4.163 | 975.12 | 50.6346 | 2.3499
2020-12-23 09:45:00 | 3.958 | 187.6 | 3.758 | 199.6 | 4.0211 | 188.023 | 3.468 | 194.9 | 4.602 | 975.179 | 49.7362 | 0.91632
2020-12-23 10:00:00 | 3.526 | 194 | 3.119 | 199.1 | 3.3373 | 187.552 | 3.073 | 209 | 5.096 | 975.447 | 49.3254 | 0.25864
2020-12-23 10:15:00 | 3.097 | 227.3 | 3.277 | 222.5 | 3.5064 | 209.595 | 3.41 | 236.9 | 5.104 | 975.446 | 51.5115 | -0.13301
2020-12-23 10:30:00 | 1.951 | 251 | 1.971 | 254.7 | 2.109 | 239.927 | 2.455 | 258.2 | 5.746 | 975.446 | 50.8949 | -0.22539
2020-12-23 10:45:00 | 2.217 | 248.9 | 2.223 | 260.6 | 2.3786 | 245.485 | 1.882 | 252.2 | 5.063 | 975.446 | 51.4944 | -0.24016
2020-12-23 11:00:00 | 1.975 | 252 | 1.958 | 258.6 | 2.0951 | 243.601 | 1.389 | 254.1 | 5.565 | 975.39 | 49.5817 | -0.24016
2020-12-23 11:15:00 | 1.345 | 299 | 1.776 | 315.9 | 1.9003 | 297.578 | 1.624 | 290.1 | 5.974 | 975.168 | 48.3524 | -0.24016
2020-12-23 11:30:00 | 1.798 | 335.2 | 2.486 | 328.8 | 2.66 | 309.73 | 2.861 | 336.1 | 6.371 | 975.148 | 40.0888 | -0.27342
2020-12-23 11:45:00 | 2.765 | 345.6 | 3.229 | 357.8 | 3.455 | 337.048 | 3.649 | 339.8 | 6.761 | 974.817 | 40.5608 | 0.73897
2020-12-23 12:00:00 | 2.615 | 6.132 | 3.119 | 8.63 | 3.3373 | 8.1295 | 3.501 | 357.9 | 6.77 | 974.447 | 42.131 | 3.1369
2020-12-23 12:15:00 | 1.962 | 18.9 | 3.618 | 26.63 | 3.8713 | 25.0855 | 3.797 | 15.46 | 6.676 | 974.128 | 40.6972 | 7.2234
2020-12-23 12:30:00 | 2.575 | 9.2 | 3.648 | 26.37 | 3.9034 | 24.8405 | 3.899 | 359.1 | 6.283 | 973.941 | 39.2627 | 9.2297
2020-12-23 12:45:00 | 2.438 | 11.37 | 3.932 | 26.91 | 4.2072 | 25.3492 | 4.548 | 4.669 | 7.129 | 973.892 | 38.0685 | 14.6575
2020-12-23 13:00:00 | 2.926 | 13.07 | 5.687 | 32.24 | 6.0851 | 30.3701 | 4.973 | 3.98 | 6.334 | 973.439 | 39.1276 | 16.1465
2020-12-23 13:15:00 | 3.13 | 16.33 | 5.108 | 34.52 | 5.4656 | 32.5178 | 4.777 | 8.63 | 5.969 | 973.358 | 39.7406 | 16.3792
2020-12-23 13:30:00 | 3.379 | 2.835 | 4.98 | 30.11 | 5.3286 | 28.3636 | 4.731 | 351.2 | 5.607 | 972.771 | 41.5911 | 17.4803
2020-12-23 13:45:00 | 3.833 | 5.404 | 4.797 | 31.11 | 5.1328 | 29.3056 | 4.38 | 354.2 | 5.369 | 972.831 | 42.8888 | 14.4025
2020-12-23 14:00:00 | 3.917 | 7.769 | 5.103 | 33.81 | 5.4602 | 31.849 | 4.596 | 352.5 | 5.311 | 973.021 | 43.7084 | 13.5194
2020-12-23 14:15:00 | 4.044 | 4.87 | 4.926 | 32.12 | 5.2708 | 30.257 | 5.36 | 349.9 | 5.339 | 972.952 | 44.323 | 11.2471
2020-12-23 14:30:00 | 4.165 | 7.559 | 4.837 | 29.05 | 5.1756 | 27.3651 | 4.754 | 4.56 | 5.191 | 972.771 | 45.2109 | 7.9587
2020-12-23 14:45:00 | 4.627 | 6.411 | 5.044 | 23.22 | 5.3971 | 21.8732 | 4.925 | 3.813 | 5.246 | 972.801 | 43.8791 | 7.737
2020-12-23 15:00:00 | 4.537 | 7.977 | 4.688 | 22.69 | 5.0162 | 21.374 | 4.26 | 10.16 | 5.326 | 972.809 | 42.5474 | 4.6777
2020-12-23 15:15:00 | 4.073 | 6.824 | 4.384 | 18.77 | 4.6909 | 17.6813 | 4.258 | 7.778 | 5.422 | 972.805 | 41.4547 | 4.6925
2020-12-23 15:30:00 | 3.955 | 1.631 | 3.886 | 14.72 | 4.158 | 13.8662 | 4.321 | 1.865 | 5.582 | 972.837 | 40.2254 | 5.1913
2020-12-23 15:45:00 | 4.323 | 356.1 | 4.348 | 16.39 | 4.6524 | 15.4394 | 4.904 | 354 | 5.563 | 972.648 | 39.8156 | 5.7344
2020-12-23 16:00:00 | 4.185 | 7.685 | 4.451 | 12.06 | 4.7626 | 11.3605 | 4.357 | 6.268 | 5.497 | 972.918 | 40.2595 | 4.6998
2020-12-23 16:15:00 | 3.886 | 13.63 | 3.755 | 12.59 | 4.0179 | 11.8598 | 3.784 | 4.478 | 5.371 | 972.917 | 40.5668 | 3.1776
2020-12-23 16:30:00 | 4.28 | 353 | 4.719 | 3.509 | 5.0493 | 3.3055 | 4.795 | 4.701 | 5.372 | 972.771 | 41.523 | 4.977
2020-12-23 16:45:00 | 5.408 | 2.463 | 5.404 | 8.41 | 5.7823 | 7.9222 | 5.108 | 10.99 | 5.153 | 972.474 | 41.6715 | 9.1447
2020-12-23 17:00:00 | 4.716 | 8.8 | 5.051 | 13.2 | 5.4046 | 12.4344 | 6.056 | 4.861 | 4.878 | 972.177 | 41.2639 | 12.5625
2020-12-23 17:15:00 | 4.435 | 8.87 | 4.42 | 19.04 | 4.7294 | 17.9357 | 4.507 | 10.59 | 4.618 | 972.028 | 41.0248 | 11.9639
2020-12-23 17:30:00 | 3.682 | 9.27 | 5.425 | 24.62 | 5.8048 | 23.192 | 4.474 | 12 | 4.29 | 972.098 | 42.6322 | 10.1424
2020-12-23 17:45:00 | 3.32 | 8.63 | 5.604 | 25.95 | 5.9963 | 24.4449 | 4.831 | 11.9 | 4.072 | 972.167 | 43.0516 | 9.1817
2020-12-23 18:00:00 | 3.001 | 12.13 | 4.906 | 27.7 | 5.2494 | 26.0934 | 4.767 | 14.65 | 4.087 | 972.326 | 43.1867 | 9.699
2020-12-23 18:15:00 | 2.806 | 13.68 | 4.658 | 30 | 4.9841 | 28.26 | 4.584 | 16.79 | 4.081 | 972.443 | 43.8059 | 6.6877
2020-12-23 18:30:00 | 3.228 | 11.2 | 4.371 | 26.3 | 4.677 | 24.7746 | 4.489 | 15.6 | 3.931 | 972.472 | 44.8314 | 4.7072
2020-12-23 18:45:00 | 2.328 | 8.42 | 4.581 | 22.16 | 4.9017 | 20.8747 | 3.188 | 14.2 | 3.748 | 972.772 | 46.6086 | 5.509
2020-12-23 19:00:00 | 2.819 | 13.69 | 3.466 | 23.63 | 3.7086 | 22.2595 | 3.792 | 21.02 | 3.562 | 972.92 | 46.3694 | 3.5323
2020-12-23 19:15:00 | 2.531 | 35.18 | 3.415 | 57.11 | 3.654 | 53.7976 | 3.929 | 37.36 | 3.73 | 972.772 | 44.5583 | 1.6922
2020-12-23 19:30:00 | 2.52 | 39.85 | 2.717 | 62.01 | 2.9072 | 58.4134 | 3.552 | 46.3 | 4.44 | 972.92 | 37.3825 | 1.3597
2020-12-23 19:45:00 | 3.422 | 46.82 | 3.783 | 67.34 | 4.0478 | 63.4343 | 3.899 | 49.37 | 4.745 | 973.069 | 35.5373 | 0.22908
2020-12-23 20:00:00 | 2.477 | 35.99 | 3.53 | 50.44 | 3.7771 | 47.5145 | 3.483 | 42.42 | 4.775 | 973.515 | 35.5373 | 0.15518
2020-12-23 20:15:00 | 2.428 | 36.79 | 3.331 | 46.13 | 3.5642 | 43.4545 | 3.708 | 45.37 | 4.593 | 973.515 | 35.3323 | 0.13301
2020-12-23 20:30:00 | 2.377 | 39.51 | 2.794 | 48.69 | 2.9896 | 45.866 | 3.124 | 50.75 | 4.692 | 973.812 | 34.6147 | 0.044338
2020-12-23 20:45:00 | 1.731 | 63.63 | 2.39 | 59.8 | 2.5573 | 56.3316 | 2.452 | 73.98 | 4.877 | 973.812 | 26.5163 | -0.36949
2020-12-23 21:00:00 | 1.77 | 97 | 1.943 | 104.7 | 2.079 | 98.6274 | 1.655 | 89.4 | 5.537 | 973.961 | 17.837 | -0.31037
2020-12-23 21:15:00 | 0.535 | 100.3 | 0.962 | 111.7 | 1.0293 | 105.221 | 0.814 | 94.8 | 6.541 | 974.406 | 14.2833 | -0.29928
2020-12-23 21:30:00 | 0 | 100.3 | 0.03 | 111.7 | 0.0321 | 105.221 | 0 | 94.8 | 6.491 | 974.406 | 13.6682 | -0.26972
2020-12-23 21:45:00 | 0 | 100.4 | 0.101 | 111.7 | 0.10807 | 105.221 | 0 | 94.8 | 5.924 | 974.406 | 24.1244 | -0.2882
2020-12-23 22:00:00 | 0.636 | 222.1 | 1.715 | 232.9 | 1.8351 | 219.392 | 1.461 | 171.9 | 4.73 | 974.554 | 29.1133 | -0.29928
2020-12-23 22:15:00 | 0.619 | 221.8 | 1.359 | 234.9 | 1.4541 | 221.276 | 1.479 | 208.6 | 4.169 | 974.555 | 33.4188 | -0.29928
2020-12-23 22:30:00 | 0.26 | 207.4 | 1.973 | 232.6 | 2.1111 | 219.109 | 1.986 | 210 | 3.911 | 974.555 | 37.5876 | -0.2882
2020-12-23 22:45:00 | 0.119 | 226.4 | 0.88 | 233.9 | 0.9416 | 220.334 | 1.703 | 223.1 | 3.983 | 974.555 | 36.4258 | -0.2882
2020-12-23 23:00:00 | 2.814 | 202.9 | 3.402 | 214.1 | 3.6401 | 201.682 | 2.857 | 205.8 | 3.59 | 974.555 | 41.4154 | -0.2882
2020-12-23 23:15:00 | 3.12 | 190.8 | 3.216 | 201.7 | 3.4411 | 190.001 | 2.574 | 214.7 | 3.87 | 974.555 | 39.4337 | -0.29928
2020-12-23 23:30:00 | 2.239 | 206.9 | 2.773 | 203.8 | 2.9671 | 191.98 | 2.353 | 236.5 | 3.803 | 974.555 | 37.6559 | -0.29928
2020-12-23 23:45:00 | 1.484 | 215 | 2.633 | 207.3 | 2.8173 | 195.277 | 2.299 | 243.1 | 3.594 | 974.555 | 39.672 | -0.2882